SECTION I:  PROJECT DESCRIPTION

(Eastern Region System Strengthening Scheme-I)

- Background

The CEA study reveals that Eastern Region will be surplus in power to the tune of 3500MW by 2009-10 due to addition of power generation. It is, therefore required to strengthen the transmission grid of Eastern Region in order to transmit the additional surplus power.

Accordingly, the following transmission system were identified to transmit surplus power from Eastern part of the Eastern Region grid to the central areas from where it would get further transmitted through the existing transmission system:

- Durgapur (PG) – Jamshedpur 400 kV D/c line

- Jamshedpur – Baripada 400 kV D/c line

- Baripada – Mendasal 400 kV D/c line

1.1	Project Highlights

| a) | Project Name | : | Eastern Region Strengthening Scheme-I |
| --- | --- | --- | --- |
| b) | Location | : | West Bengal, Jharkhand, Orissa in Eastern Region. |
| c) | Beneficiary States | : | Eastern Region constituents |
| d) | Cost | : | Rs.733.32 Crores |

1.2	Scope of work

#### The scope of work covered under the project broadly includes the construction of following transmission lines, substation and other associated works:

#### Transmission Lines

Durgapur (PG) - Jamshedpur 400 kV D/c line 			: 181 Km

Jamshedpur - Baripada 400 kV D/c line				: 135 Km

Baripada – Chandaka (Mendhasal) 400kV D/c line		: 255 Km

#### Extension of Substations

a) Jamshedpur 400/220 kV sub-station

b)  Durgapur 400/220 kV sub-station

c) Baripada 400/220/132 kV sub-station

d) Re-conductoring of 400 KV bays including dismantling & replacement of

equipment and associated work at  Siliguri and Purnea

1.3    Benefits of the project

The system will strengthen transmission system of Eastern Regions. It will facilitate inter-state trading of exportable power of State sector generation apart from bulk power from the central sector stations. It will help to maintain system stability, security of the combined grid under all operating conditions. The system will also increase the capacity of National Grid

1.4	Beneficiaries

The target beneficiaries of this project are the Constituent States of Eastern Region Grid.

A power map showing the Eastern Region System Strengthening Scheme-I, is placed as Exhibit-1.

SECTION II: BASE LINE DATA

2.0  	The project is an inter-state one and is spread/ located in the States of West Bengal, Jharkhand, Orissa; the basic details of the area under project are given below:

  - West Bengal

West Bengal is strategically placed with three international frontiers - Bangladesh, Nepal and Bhutan. A hinge between the bulk of Indian territory and the north-east of the country, West Bengal is located at 21°31' and 27°14' North Latitude at the head of the Bay of Bengal and 86°35' and 89°53' East Longitude, with the Tropic of Cancer running through it. West Bengal stretches from the Himalayas to the Bay of Bengal. Its 1600-km long frontier with Bangladesh, neither natural nor well defined, has in recent years been a source of tension. It also has borders with Nepal and Bhutan. 

The State of West Bengal situated in the eastern part of the country between the Himalayas in the north and Bay of Bengal in the south where mighty river.  Ganga meets the ocean forming well-known mangrove forests in Sundarbans, mainly embraces the fertile alluvial gangetic plains.

Physiography

Its northern part comprises the sub-Himalayan region called the Terai, while the rest of the state forms part of the Indo-Gangetic plain. The course of the river Ganga, much of which lies now in Bangladesh, has for centuries been shifting eastward. Very little of its water now goes to the sea via its western distributaries, the principal one being the Hooghly that flows by Calcutta. The deep alluvial soil of the Gangetic plain in West Bengal is very suitable for agriculture. 
The Terai region has some of the finest tea plantations in India. From the Terai, the Himalayan mountain ranges rise abruptly along the state's northern boundary. Mount Kanchenjunga overlooks Darjeeling in north-west Bengal.

Climate

West Bengal has a tropical climate. The plains are hot except during the short winter season. The mountainous region in the north is cold on account of its altitude but there humidity is high. The classical tradition speaks of six seasons-springs, summer, the Rainy, autumn, mild winter and severe winter. Only four clearly marked seasons with a brief interregnum of spring are observed, namely the hot season, the rainy season, the post monsoon season corresponding to autumn and the cold season. At nights, cool southerly breeze carrying moisture from the Bay of Bengal is usually present.

Rainfall

The average rainfall in the State is 1750 mm. In the Himalayan Region i.e in northern part the average rainfall ranges from 2500 - 6000 mm. In the southern part average rainfall ranges from 1125 - 1900 mm.

Temperature

The hot season lasts from mid-March to mid-June, with the day temperature ranging from 38o C to 45oC in different parts of the state. Winter, which lasts about three months, is mild over the plains, the average minimum temperature is15o C.

Soil

The soil patterns in the state are Tarai Soil and Gangetic Alluvium - found in northern part of the state along the border of Nepal.

Minerals

Minerals, like rock phosphate, fire clay, iron, limestone, copper, silica, quartz, manganese and sandstone are found in a considerable amount in the state

Water resources

The State of West Bengal falls under 3 major River Basins:

- The Brahmaputra Basin - Part of Darjeeling, Jalpaiguri and Coochbihar

Districts

- The Ganga Basin - Part of Darjeeling, Jalpaiguri and all the    remaining

Districts

- . The Subarnarekha Basin - Parts of Purulia, E&W Medinipur    district.

Forests

The recorded forest area is 11,879 km (sq.) which constitutes 13.4% of the geographic area of the state.. By legal status, the Reserved Forest constitutes 7,054 km2, Protected Forest 3,772 km2. and Unclassed Forest  1,053 km2. Forest Map of West Bengal   is enclosed as Map-1.

There are eight forest types in the West Bengal. These are eight forest types in the state.  They are Tropical Semi Evergreen, Tropical Moist Deciduous.  Tropical Dry Deciduous, Subtropical Broadleaved Hill, Subtropical Pine, Himalayan Moist Temperate,  Wet Temperate, Littoral and Swamp forests.  Forests are mainly distributed in the north, south west and south-east.

Protected area

There are 5 National Parks and 16 Wildlife sanctuaries covering an area of 0.28 million ha.  It constitutes 3.15% of the geographic area of the state.  The state has 2 tiger reserves namely Sundarbans and Buxa.  Sunderbans Biosphere Reserve is one of the 11 Biosphere Reserves of the country.  Sunderbans National Park is also a World Heritage site.

Human and Economic Development

The geographic area of the state is 88,752 km2 which is 2.7% of the country’s geographic area. The human population of the state is 80.22 million, constituting 7.8% of the country’s population, of which 72.0% is rural and 28.0% urban. The average population density is 904 persons per km. The tribal population is 5.6% of the state’s population. The livestock population is 47.09 million, which is 7.5% of the country’s livestock population. The State ranks 6th amongst States/UTs in terms of percentage of area under tree cover. Minerals, like rock phosphate, fire clay, iron, limestone, copper, silica, quartz, manganese and sandstone are found in a considerable amount in the state. As a result, a few industries related to these are being established in the state. Steel and alloy steel plants in Durgapur and another steel plant in Burnpur are some of the important industries of the state. Other industries include jute, tea, cotton textiles, automobiles, bicycle, footwear, leather, paper, pharmaceuticals, chemicals, aluminum, sugar, timber processing, ceramic, glass, bone metal, and dairy.

Agriculture dominates both the landscape and the economy. Fifty-five percent of the population of West Bengal depends upon agriculture. In fact, agriculture makes a substantial contribution to the state’s income. West Bengal accounts for 57.3% of the total jute and 24% of the total tea produced in the country. Pulses, oilseeds, barley, maize, betel leaf, tobacco and sugarcane are some of the other agricultural products of West Bengal. Moreover, there are several multipurpose irrigation schemes in West Bengal, namely, the Damodar Valley, Mayurakshi, Kangsbati and Subarnarekha Barrage. The irrigation schemes are Teesta-Mahananda link canal in Jalpaiguri district, Terageria and Turga irrigation scheme in Purulia, Hinlow irrigation scheme in Birbhum district and Sohajare scheme in Bankura district.

  - Jharkhand

Jharkhand, carved out from Bihar, accounts for 45% of former Bihar’s geographical area. It lies between lat 22° 00' and 24° 37' N and long. 83° 15' and 87° 01' E. The State is bordered by Bihar, Madhya Pradesh, Orissa and West Bengal to its north, south and east respectively. The geographical area of the state is 79,714 Km2.  About 28 % of the population of this area is tribal. The new State Jharkhand formerly a part of Bihar state, was formed on November 15th, 2000 with Ranchi as its capital. Jharkhand is the 28th state of the Indian Union.

Physiographically it consists of both plateau and hills.  Santhalparganas and Chhotanagpur is main plateau about 3000 feet above sea level. The highest part of the plateau is Netarhat which has an elevation of 3600 ft. The Parasnath Hill is the highest point with an elevation of 4800 feet. The plateau is full of mountain ranges covered with dense forests. A number of rivers and rivulet flow down through the hilly terrains and valleys.

Climate:  The climatic condition is generally Sub-Tropical wet and dry.

Rainfall:  The mean annual rainfall varies between 100-200 Cms.

Temperature: The annual temperature varies between 20-35 0 C.

Soil: Generally mixed red and black soil along with yellow soils in few pockets is encountered in the state.

Minerals:- Jharkhand is endowed with vast natural resources specially the vast variety of minerals ranging from Iron ore, Coal, Copper ore, Mica, Bauxite, Fire clay, Graphite, Kyanite, Sillimanite, Lime stone, Uranium & other minerals. Jharkhand is the leading producer of mineral wealth in the country.

Water Resources:- Rivers, tanks and groundwater are the main sources of water in State Jharkhand. Damodar, Mayurakshi, Barakar, Koyal, Sankh, Sone, Auranga, More, Karo, Bansloi, South Koel, Kharkai, Swarna Rekha, Ganga, Gumani, Batane are some of the perennial river veins meandering through the State.

Forest: - Total geographic area of state is 79,714   Km2.  Covered forest area is 28.4% of total geographical  area .Dense forest is 11,787 Km2 & open forest 10,850 Km2. Total forest covered area is 22637 Km2. The State has following three forest types:

- Tropical Moist Deciduous

- Tropical Dry Deciduous

- Sub Tropical Broadleaved Hill Forests

Forest covers slightly more than one third of the geographical area of Jharkhand (Map-2). The state is rich in forest resources having Sal and Teak as the two most important forest formations.

Protected area

There is 1 National Park and 10 Wildlife Sanctuaries in the state.  They cover an area of 0.21 million ha. constituting 2.58% of the total geographic area of the state.  Palamu tiger reserve is located in the state.

Human and Economic Development

Jharkhand’s economy is sustained by mining and heavy industry.  It is India’s second most important source of coal mining.  In minerals Jharkhand is probably India’s richest state.  Jharkhand has rich reserves of iron ore and coal and several industries. Minerals, forest produce and agricultural land constitute the principal resource base of Jharkhand. Other factors adding to strength of the economy are moderate climate, adequate availability of surface and ground water, presence of a number of Industrial giants, technical institutions and cheap labour. Nearly 80 per cent of the State's population depends on agriculture. With varied agro-climatic conditions, Jharkhand provides scope for production of a wide range of agricultural/horticultural crops, spices and medicinal plants

The largest four cities are Jameshedpur, Dhanbad, Ranchi and Bokaro Steel City.  The two major steel plants of India are located in Jharkhand: at Jamshedpur and Bokaro.  Road length: 4, 310 km, including 1,500 km National Highways and 2,711km State Highways.  The state has a well developed railway system. Ranchi, Bokaro, Dhanbad, Jamshedpur are some of the major railway stations.  Agriculture is poorly developed.  Irrigation is negligible.  Drought therefore is a periodic threat.

2.2	Orissa

The geographic area of Orissa is 15.57 million ha, which constitutes 4.74 % area of the country. It lies in the tropical zone between lat. 170 47’ and 220 34’ N and long. 810 22’ and 870 29’ E.

Physiography

The state can be divided into four distinct physiographic regions viz. Northern Plateau, Eastern Ghat, Central table land and coastal plains. The state is drained by three major rivers, the Mahanadi, the Brahmani and the Baitarni.

On the basis of homogeneity, continuity and physiographical characteristics, Orissa has been divided into five major morphological regions: the Orissa Coastal Plain in the east, the Middle Mountainous and Highlands Region, the Central plateaus, the western rolling uplands and the major flood plains.

Rainfall

The average annual rain fall varies between 1,200 mm to 1,600 mm.

Temperature

The average annual temperature ranges between 250 C to 27.50 C.

Climate

Orissa has an equable climate, neither too hot nor too cold. In some places, however, extremes of climate are experienced, namely in the Western district like Bolangir, Sambalpur and Sundergarh. Summer temperature varies between 20ºC-45ºC.and Winter temperature between 13ºC-32ºC.

Mineral resources

About 80% of the state's landmass is underlain by pre- cambrian rocks, the oldest rocks in the earth's crust. The remaining area is composed of rocks belonging to Gondwanas, Quarternary & Recent formations. The geological set up of the state is not only favourable for discovery of wide variety of valuable ores and minerals but there is distinct possibility of substantial increase in the resources. The main mineral resources  found in Orissa are  coal, Iron & Manganese, Limestone & Dolomite,Bauxite,Nickel, Manganese, Graphite,Chromite, Serilite Quartzite, Quartz Serilite schist, Serilite schist, Andalusite schist and genesis,Beach sand, Sand stone and decorative stone etc

Water resources

Orissa is endowed with water in abundance. As per Ground Water Board, the total ground water resources in Orissa amounted to 2,101,128 hectare meter. There are 4 groups of rivers which flow through Orissa in to bay of Bengal and thus make Orissa water rich state. The main rivers are Subarnarekha, Brahmani, Mahanadi, Budhbalanga, Salandi, Kolab and Indravati etc.

Forest resources

The recorded forest area is 58,136 km (sq.) which constitutes 37.34% of the geographic area of the state. The forests are uniformly distributed in the state except in coastal districts where they are scarce. By legal status, the Reserved Forest constitutes 26,329 km , Protected Forest 15,525 km. and  Unclassed Forest  16,282 km. Foest Map of Orissa  is enclosed as Map-3.
 The State has following forest types:

- Tropical Semi Evergreen,

- Tropical Moist Deciduous,

- Tropical Dry Deciduous,

- Littoral and Swamp Forests.

Protected areas

There are 2 National Parks and 18 Wildlife Sanctuaries covering an area of 0.80 million ha, which is 5.11% of the geographic area of the state. Similipal National Park, also a Tiger Reserve has been declared as a Biosphere Reserve. The Gahirmatha Wildlife sanctuary, a mangrove eco-system, is a famous nesting ground of the Olive Ridley sea turtle. 
 In the Orissa the actual forest cover is about 48,366 sq. km. Out of which 28170 sq. km is dense and 20,196 sq. km is open forest

Human and economic development

In Orissa about 76% population is dependent on agriculture. The major crops are rice, pulses, oil seeds, jute, sugarcane, coconut and turmeric. The state contributes about 1/10th of rice production in India. But Orissa’s agro based economy is always upset by frequent natural calamities like floods, drought, tornado and cyclone. Orissa’s vast mineral, marine and forest resources provide adequate opportunities for industrial growth. About 170 large and medium industries along with 9000 small scale industries are running in the state. Forests have an important role in the economy of the State, particularly, amongst rural Scheduled castes and Tribal masses. Forestry activities contribute a lot to their food security and day-to-day livelihood.  Forests also sustain the large sized livestock of about 29.3 million.

The infrastructure for the development of industry in Orissa is available. A combination of coal, iron ore, limestone, bauxite and a host of other minerals on the one hand and port facilities on the other are the unique features in Orissa. In addition, the bountiful forest resources and agricultural products provide ample scope for the development of forest-based and agro-based industries.

Iron and steel industry, aluminum, cement, ferromanganese, ferro-chrome, galvanised pipe units, steel rolling mills and fertilizer plants. Among the other industries beverages, tobacco, gur and molasses are important. The tobacco industry is wide spread and provides employment to large number of persons
Although Orissa has a large cattle population, it imports leather goods .The principal centres of leather products are Baudh, Bhanjanagar, Bolangir and Keonjhar. Modern tanneries have been set up at Cuttack and Khariar Road. 
Oil pressing is a traditional occupation run on caste and family line. Mustard, groundnut, castor and til seeds are the principal raw materials used.

Some villages specialize in brass products, but owing to competition from the large manufacturing concerns, especially those manufacturing aluminum utensils, this cottage industry is decaying. The high price of brass is another handicap.

Details of forest land involvement in Eastern Region Strengthening Scheme-I

Durgapur-Jamshedpur 400KV D/C transmission line will pass through following districts of WB and Jharkhand.  Details of forest cover of these districts are as follows:

Area in Km2

| S. No. | District/ State | Geographic Area | Very Dense Forest | Moderatately dense | Open dense Forest | Total Forest | Percent (%) |
| --- | --- | --- | --- | --- | --- | --- | --- |
| 1. | Burdwan/ WB | 7024 | 16 | 74 | 135 | 225 | 3.20 |
| 2. | Bankura/ WB | 6,882 | 101 | 295 | 584 | 980 | 14.24 |
| 3. | Purulia/ WB | 6,259 | 34 | 234 | 496 | 764 | 12.21 |
| 4. | East Singhbhum/ Jharkhand | 3,533 | 49 | 528 | 346 | 923 | 26.13 |
| 5. | West Singh bhum/ Jharkhand | 9,907 | 446 | 1,598 | 1,767 | 3,811 | 38.47 |
|  | Total |  |  |  |  | 6703 |  |

Source: Forest Survey Report 2003

- The Durgapur-Jamshedpur 400KV, D/C line involves  30.54 ha. in WB and 11.37 ha in Jharkhand

Jamshedpur-Baripada 400KV D/C, transmission line will pass through following districts of Jharkhand and Orissa. Details of forest cover of these districts are as follows:

Area in Km2

| S. No. | District/State | Geographic Area | Dense Forest | Moderately | Open Forest | Total Forest | Percent (%) |
| --- | --- | --- | --- | --- | --- | --- | --- |
| 1. | West Singh bhum ( Saraikela is part of West Singhbhum)/ Jharkhand | 9,907 | 446 | 1,598 | 1,767 | 3811 | 38.47 |
| 2. | East Singhbhum/ Jharkhand | 3,533 | 49 | 528 | 346 | 923 | 26.13 |
| 3. | Mayurbhanj/ Orissa | 10,418 | 99 | 2,910 | 996 | 4005 | 38.44 |
|  | Total |  |  |  |  | 8739 |  |

Source: Forest survey Report 2003

- Jamshedpur-Baripada 400 KV, D/C transmission line involves 54.39 Ha. forest in Jharkhand and 3.38 ha. forest in Orissa

Baripada-Mendhasal transmission line (Orissa portion) will pass through following districts of Orissa. Details of forest cover of these districts are as follows:

Area in Km2

| Sr. No. | District/State | Geographic Area | Dense Forest | Moderately | Open Forest | Total Forest | Percent (%) |
| --- | --- | --- | --- | --- | --- | --- | --- |
| 1. | Mayurbhanj/Orissa | 10,418 | 99 | 2,910 | 996 | 4005 | 38.44 |
| 2. | Balasore/Orissa | 3,806 | 0 | 154 | 155 | 309 | 8.12 |
| 3. | Bhadrak/Orissa | 2,505 | 0 | 22 | 7 | 29 | 1.16 |
| 4. | Jeypore/Orissa | 2,899 | 0 | 82 | 180 | 262 | 9.04 |
| 5. | Cuttack/Orissa | 3,932 | 0 | 265 | 359 | 624 | 15.87 |
| 6. | Khurda/Orissa | 2,813 | 0 | 211 | 151 | 362 | 12.87 |
|  | Total |  |  |  |  | 5591 |  |

Source: Forest survey report 2003

- Baripada-Mendhasal 400 KV, D/C line involves 20.811ha.  forest in Orissa and 0.552 ha. wild life area

SECTION III:   POLICY, LEGAL & REGULATORY

FRAMEWORK

- 3.0    POWERGRID’s activities by their inherent nature and flexibility have negligible impacts on environmental and social attributes.  Indian laws relating to environmental and social issues have strengthened in the last decade both due to local needs and international commitments.  POWERGRID undertakes its activities within the purview of Indian laws keeping in mind appropriate international obligations and directives and guidelines with respect to environmental and social considerations of Funding Agencies.

- 3.1      ENVIRONMENTAL

- 3.1.1 Constitutional Provisions

Subsequent to the first United Nations Conference on Human Environment at Stockholm in June, 1972, which emphasized the need to preserve and protect the natural environment, the Constitution of India was amended through the historical 42nd Amendment Act, 1976 by inserting Article 48-A and 51-A (g) for protection and promotion of the environment under the Directive Principles of State Policy and the Fundamental Duties respectively. The amendment, inter alia provide:

"The State shall endeavour to protect and improve the environment and to safeguard the forests and wildlife of the country". (New Article 48A)

"It shall be the duty of every citizen of India to protect and improve the natural environment including forests, lakes, rivers and wildlife and to have compassion for living creatures”. (New Article 51 A(g)

Article 21 of the constitution provides, “no person shall be deprived of his life or personal liberty except according to procedure established by law”.

Article 21 is the heart of the fundamental rights and has received expanded meaning from time to time after the decision of the Supreme Court in 1978. The Article 21 guarantee fundamental right to life – a life of dignity to be lived in a proper environment, free of danger of disease and infection. The right to live in a healthy environment as part of Article 21 of the Constitution. Recently, Supreme Court has broadly and liberally interpreted the Article 21, transgressed into the area of protection of environment, and held that the protection of environment and citizen’s right to live in eco-friendly atmosphere interpreted as the basic right guaranteed under Article 21.

Thus the Indian Constitution has now two fold provision:

(a) On the one hand, it gives directive to the State for the protection and 
        improvement of environment.

  - On the other hand the citizens owe a constitutional duty to protect and

improve natural environment.

3.1.2 	MANDATORY REQUIREMENTS (NATIONAL)

- MOP order/sanction under The Electricity Act, 2003:

Sanction of MOP, GOI is a mandatory requirement for taking up any new transmission project under the section 68(1) of The Electricity Act, 2003. The sanction authorize POWERGRID to plan and coordinate activities to commission the new project. Electricity act does not explicitly deal with environmental implications of activities related to power transmission. However, POWERGRID always integrates environmental protection within its project activities.

- Forest Clearance Under The Forest (Conservation) Act, 1980:

When transmission projects pass through forest land, clearance has to be obtained from relevant authorities under the Forest (Conservation) Act, 1980.  This Act was enacted to prevent rapid deforestation and environmental degradation.  State governments cannot de-reserve any forest land or authorize its use for any non-forest purposes without approval from the Central government.  POWERGRID projects, when involving forest areas, undergo detailed review and approval procedures to obtain a Forest Clearance certificate from MOEF, Government of India before starting any construction activity in designated forest area.

- Environmental Clearances under Environment (Protection) Act,1986:

Since transmission line projects are environmentally clean and do not involve any disposal of solid waste, effluents and hazardous substances in land, air and water they are kept out of the purview of Environment (Protection) Act, 1986.  However, the recent amendment in the Environment (Protection) Act, 1986 made it necessary to obtain clearance from MoEF for power transmission projects in two districts in the Aravalis (viz., Alwar in Rajasthan and Gurgaon in Haryana). The Aravali range, in these two areas, is heavily degraded, hence, any industrial activity there becomes critical. Environment Impact Notification, 1994 lays down specific project categories that require clearance from MoEF Power transmission projects are not included in this list.

- Batteries (Management and Handling) Rules, 2001:

MOEF vide its notification dt. 16th May, 2001 under the section of 6,8 and 25 of the Environment (Protection) Act, 1986 has put certain restriction on disposal of used batteries and its handling. As per the notification it is the responsibility of bulk consumer (POWERGRID) to ensure that used batteries are not disposed of, in any manner, other than by depositing with the dealer/manufacturer/registered recycler/importer/reconditioner or at the designated collection centres – and to file half yearly return in prescribed form to the concerned State Pollution Control Board.

- Hazardous Wastes (Management and Handling)Amendment Rules, 2003:

MOEF vide its notification dt. 20th May, 2003 under the section of 6,8 and 25 of the Environment (Protection) Act, 1986 has put used mineral oil under the category of hazardous waste which require proper handling and disposal. As per the notification, all used oil is to be auctioned/sold to registered recyclers only and file annual return on prescribed form to the concerned State Pollution Control Board.

- Ozone Depleting Substances (Regulation and Control) Rules, 2000:

MOEF vide its notification dt. 17th July, 2000 under the section of 6, 8 and 25 of the Environment (Protection) Act, 1986 has notified rules for regulation /control of Ozone Depleting Substances under Montreal Protocol adopted on 16th September 1987. As per the notification certain control and regulation has been imposed on manufacturing, import, export and use of these compound. POWERGRID is following provisions of notification and is phasing out all equipment which uses these substances and planning to achieve CFC free organisation in near future.

- The Biological Diversity Act, 2002:

Under the United Nations Convention on Biological Diversity signed at Rio de Janeiro on the 5th day of June, 1992 of which India is also a party, MoEF has enacted the Biological Diversity Act, 2002 to provide for conservation of biological diversity, sustainable use of its components and fair and equitable sharing of the benefits arising out of the use of biological resources, knowledge and for matters connected therewith. As per the provision of act certain area which are rich in biodiversity and encompasses unique and representative ecosystems are identified and designated as Biosphere Reserve to facilitate its conservation. All restrictions applicable to protected areas like National Park & Sanctuaries are also applicable to these reserves. POWERGRID will abide by the provision of act wherever applicable and try to totally avoid these biosphere reserves while finalizing the route alignment.

    - FUNDING AGENCIES:

- WB Operational Policies (OP) 4.01/ADB’s Operations Manuals (OM)- F1/BP and JBIC Environmental Guidelines: These outlines funding agencies policy and procedures for environmental assessment (EA) of different developmental projects. All these guidelines classified developmental projects into three categories (A-C) based on its possible environmental and social impacts though WB & ADB has another category F1 applicable only to projects involving a credit line through a financial intermediary.

Transmission line projects are categorized as category-B project having limited impact that can be further minimized through mitigative/management measures and would normally require only an environmental review.  POWERGRID takes remedial measures to prevent, minimize, mitigate, or compensate for adverse impact and improve environmental performance. Environment Assessment will take account the natural environment, human health and safety, and social aspects and trans- boundary and global environmental aspects. During EA process public is also informed at every stage of project execution and their views are considered during decision-making process.

- 3.1.4   PRESCRIPTIVE FRAMEWORK (NATIONAL)

- Applicable Legislations

- 3.1.4   RELEVANT POLICIES

- National Conservation Strategy and Policy Statement on Environment and

Development, 1992

- Policy statement for Abatement of pollution, 1992

- National Environment Policy, 2006

- 3.2.0   SOCIAL

- 3.2.1 Constitutional Provisions

Constitutional provisions in regard to social safeguards are well enshrined in the preamble such as JUSTICE, social, economic and political; LIBERTY of thought, expression, belief, faith and worship; EQUALITY of status and of opportunity; FRATERNITY assuring the dignity of the individual and the unity and integrity of the Nation. Fundamental Rights and Directive Principles guarantee the right to life and liberty.  Health, safety and livelihood have been interpreted as part of this larger right.  Social safeguards provisions are dealt in detail in different Article such as Article-14, 15 17, 23, 24, 25, 46, 330, 332 etc. POWERGRID, through this document, ESPP, commits itself to implementing the said constitutional provision in true sprit to fulfil its environmental and social obligations and responsibilities.

- 3.2.2    MANDATORY REQUIREMENTS (NATIONAL)

- National Rehabilitation and Resettlement Policy, 2007:

Ministry of Rural Development, Government of India has notified a National policy on R&R for  PAFs in Feb’04 applicable to all developmental projects where 500 or more families enmass in plain areas or 250 or more families enmass in hilly areas are displaced due to project activity. It essentially addresses the need to provide succour to the assetless rural poor, support the rehabilitation efforts of the resources and provide a broad canvas for an effective consultation between PAFs and authorities responsible for their R&R. It has also listed R&R measures and entitlements for different category of PAFs. Though the National policy as such is not applicable to POWERGRID because transmission projects do not involve displacement of such a large numbers of families since land required for substations is quite small. However, the entitlement benefits listed in the National policy for PAFs have been adopted by POWERGRID in its “Social Entitlement Framework” that is being implemented wherever land acquisition for substations is undertaken.

- Rights of Way And Compensation Under Electricity Act,2003:

The act has a provision for notifying transmission company under section 164 (B) to avail benefits of eminent domain provided under the Indian Telegraph Act, 1885. MOP, GOI vide gazette notification dt 23rd Dec’03 had already notified POWERGRID under this section of said act. Therefore, for the purpose of placing of any wires, poles, etc., POWERGRID has all the powers that the telegraph authority possesses.  Thus, POWERGRID can erect and construct towers without actually acquiring the land.  However, all damages due to POWERGRID activity are compensated at market rate. Power transmission schemes are always planned in such a way that the power of eminent domain is exercised responsibly.

- Provisions Under Land Acquisition Act, 1894, as amended in 1984:

- When land is acquired for sub-stations, POWERGRID will follow procedures laid down under the Land Acquisition Act (LA Act), 1894. POWERGRID sub-stations have never resulted in large scale displacement or loss of livelihoods. There have been only marginal impacts due to flexibility exercised by POWERGRID in selecting sites. The LA Act specifies that in all cases of land acquisition, no award of land can be made by the government authorities unless all compensation has been paid.

    - FUNDING AGENCIES

For POWERGRID, mandatory requirements vis-à-vis Funding Agencies are  comprehensive Resettlement and Rehabilitation (R&R) guidelines and an entitlement framework as per World Bank Operational Directives 4.30 (OP-4.12) and 4.20 and ADB’s Operations Manual OM-F2/BP.

- World Bank OD 4.30 (OP-4.12): Involuntary Resettlement:

This directive describes Bank Policy and procedures on involuntary resettlement as well as conditions that borrowers are expected to meet during operations involving resettlement of affected groups. It requires a entitlement framework aimed at restoration, replacement and participation of affected groups. A detailed social assessment and development of an action plan having list of measures for betterment/restoration of lost assets/income is required to be submitted to bank before start of project work. However where only a few people (e.g. about 100-200 individuals) are to be relocated at a particular location, appropriate compensation for assets, logistical support for moving and a relocation grant may be the only requirements but the principle on which compensation is to be based will remain same as for larger groups.

- World Bank OD 4.20: Indigenous People (IP):

This directive describes World Bank policies and procedures for projects that affect indigenous people. The objective is to ensure that development benefits are socially and culturally compatible and that the IPs are consulted. Thus, the Indigenous People Development Plan/Tribal Development Plan is to be prepared as a prerequisite.  POWERGRID will not only incorporate the IP component whenever necessary, but will also pay attention to marginalized groups such as women, children, etc.

- ADB Operations Manual –F2/BP: Involuntary Resettlement:

The OP describes Bank Policy and procedures on involuntary resettlement as well as conditions that borrowers are expected to meet during operations involving resettlement. Its objective is to avoid such resettlement as far as possible if unavoidable measures like assistance to affected persons for restoration of their assets/livelihood as would have been in the absence of project. It also classified project into three categories like category-A where resettlement is significant and involve physical displacement of more than 200 persons, which require a detailed resettlement plan. Category-B where resettlement is not that significant and requires a short resettlement plan. Category-C where no resettlement of peoples are foreseen and neither require resettlement plan nor a resettlement framework.

POWERGRID emphasizes that displacement is not an issue with transmission projects because land below tower/line is not acquired and only a small piece of land is required for substations. However, all affected persons/families shall be provided compensation and rehabilitation assistance along with other measures as per POWERGRID's social entitlement framework which is based on these directives/manuals and National R&R Policy to restore income/livelihood of all affected persons.

- 3.2.4    PRESCRIPTIVE FRAMEWORK (NATIONAL)

- National and State-wide Laws and Policies Relating to Land Acquisition and Issues of R&R

    - Madhya Pradesh Pariyojana Ke Karan Visthapit Vyakti (Punsthapan) Adhiniyam, 1985

    - Maharashtra Project Affected persons Rehabilitation Act, 1986

- 3.2.5   RELEVANT POLICIES

- Resettlement and Rehabilitation Policy- Coal India Ltd., May,2008

- Resettlement and Rehabilitation Policy- NHPC Ltd., 2007

- Policy for Rehabilitation and Resettlement of Land Owners – Land Acquisition Oustees – Haryana State, December,2007;

- The Orissa Resettlement and Rehabilitation Policy, Orissa , May, 2006;

- Resettlement and Rehabilitation Policy – NTPC Ltd., June,2005;

# SECTION-IV: MAJOR FEATURES OF FINAL ROUTE &

# ENVIRONMENTAL IMPACT

- 4.0     ROUTE SELECTION

- Environmental impact of transmission line projects are not significant and are mostly localized to Right of Way (ROW) .  However, transmission line project has some affects on natural and socio-culture resources.  These impacts can be minimized by careful route selection. To minimize these possible impact POWERGRID at the system planning stage itself try to avoid ecological sensitive areas like forest.  Wherever such infringements are substantial, different alternative options are considered to select most viable route alignment. For further optimization of route  modern survey techniques/tools like GIS, GPS aerial photography are also applied.  Introduction of GIS and GPS in route selection result in access to updated/latest information, through satellite images and further optimization of route having minimal environmental impact. In the instant project also these techniques have been used for studied of 3 alternatives route. Details of three alternative routes is enclosed as Annexure-I. .Moreover, availability of various details, constraints like topographical and geotechnical details, forest and environmental details etc. help in planning the effective mitigative measures including engineering variations depending upon the site situation/location. The route/ site selection criteria followed by POWERGRID is detailed below:

- Environmental Criteria for Route Selection

- POWERGRID’s   route selection criteria are based on the principle of

- Avoidance

- Minimisation

- Mitigation

- For selection of optimum route, the following points are taken into consideration:

- The route of the proposed transmission lines does not involve any human rehabilitation.

- Any monument of cultural or historical importance is not affected by the route of the transmission line.

- The proposed route of transmission line does not create any threat to the survival of any community with special reference to Tribal Community.

- The proposed route of transmission line does not affect any public utility services like playgrounds, schools, other establishments etc.

- The line route does not pass through any sanctuaries, National Park etc.

- The line route does not infringe with area of natural resources.

- In order to achieve this, POWERGRID undertakes route selection for individual transmission lines in close consultation with representatives from the Ministry of Environment and Forests and the Department of Revenue. Although under National law POWERGRID has right of eminent domain yet alternative alignments are considered keeping in mind the above-mentioned factors during site selection, with minor alterations often added to avoid environmentally sensitive areas and settlements at execution stage.

- As a rule, alignments are generally cited 10-15 km away from major towns,

whenever possible, to account for future urban expansion.

- Similarly, forests are avoided to the extent possible, and when it is not

possible, a route is selected in consultation with the local Divisional Forest

Officer, that causes minimum damage to existing forest resources.

- Alignments are selected to avoid wetlands and unstable areas for both

financial and environmental reasons.

- In addition, care is also taken to avoid National parks and sanctuaries and any other forest area rich in wild life to the extent possible.

- Keeping above in mind the routes of line under this transmission System has been so aligned that it takes care of above factors. As such different alternatives were studied with the help of Govt. published data like Forest atlas, Survey of India topo maps etc. to arrive at most optimum route which can be taken up for detailed survey using GIS/GPS and assessment of environmental & social impacts for their proper management.

- Similarly the TOR for detailed survey using modern tool like GIS/GPS also contained parameters to avoid/reduce environmental impact while deciding the final route alignment.  The major objectives for detailed survey that are part of contract are summarized below:

i.   The alignment of transmission line shall be most economical from the point of view of construction and maintenance.

ii.   Routing of transmission line through protected the reserved forest area should be avoided.  In case it is not possible to avoid the forest or areas having large trees completely then keeping in view of the overall economy, the route should be aligned in such a way that cutting of trees is minimum.

iii. The route should have minimum crossing of major river, railway lines, and national/state high ways, overhead EHP power lines and communication lines.

ii. The number of angle point shall be kept to a minimum.

v. The distance between the terminal points specified shall be kept shortest possible, consistent with the terrain that is encountered.

vi.    Marshy and low line areas, river beds and earth slip zones shall be

avoided to minimum risk to the foundations.

vii.    It would be preferable to utilize level ground for the alignment.

Crossing of power line shall be minimum.  Alignment will be kept at a  minimum distance of 300 meters from power lines to avoid induction problems on the lower voltage lines, crossings of communication lines shall be minimized and it shall be preferably at right angle, proximity and paralyses with telecom lines shall be eliminated to avoid danger of induction to them.

viii . Area subjected to flooding searches streams shall be avoided.

Restricted areas such as civil and military airfield shall be avoided.  Care shall also be taken to avoid the aircraft landing approaches.

ix. All alignment should be easily accessible both in dry and rainy seasons to enable maintenance throughout the year.

Certain areas such as query sites, tea, tobacco and saffron fields and rich plantation, gardens and nurseries that will present the owner problems in acquisition of right of way and way leave clearance during construction and maintenance should be avoided.

x.   Angle point should be selected such that shifting of the point within 100 m radius is possible at the time of construction of the line.

xi   The line routing should avoid large habitation densely populated areas to the extent possible

xii   The area requires special foundations and those prone to flooding should be avoided

xiii For examination of the alternatives and identification of the most appropriate route, besides making use of information/data/details available/extracted through survey of India topographical maps and computer aided processing of NRSA satellite imagery, the contractor shall also carry out reconnaissance/preliminary survey as may be required for the verification and collection of additional information/data/details.

xiv The contractor shall submit his preliminary observation and suggestion along with various information/data/details collected and also processed satellite imagery data, topographical map data marked with alternative routes etc.  The final evaluation of the alternative routes shall be conducted by the contractor in consultations with owners representatives and optimal route alignment shall be proposed by the contractor.  Digital terrain modeling using contour data from topographical maps as well as processed satellite data shall be done by the contractor for the selected route.  A flythrough perspective using suitable software(s) shall be developed or further refinement of the selected route.  If required site visit and field verification shall be conducted by the contractor jointly with the owners representatives for the proposed route alignment.

xv Final digitized route alignment drawing with the latest topographical and other details/features including all river railway lines, canals, roads etc. up to 8 Kms on both side of selected route alignment shall be submitted by the contractors for owners approval along with report containing other information / details as mentioned above.

Based on above the most optimum route alignments are finalized. In the instant project also such studies have been carried out and final route alignment has been finalized and chosen for construction. Final route alignment map of Durgapur-Jamshedpur, Jamshedpur-Baripada and Baripada- Mendhasal 400KV, D/C transmission lines are   placed as Annexure-II.

Durgapur-Jamshedpur 400 KV,D/C, Transmission line

Description of Corridor

The Latitude & Longitude of the starting point at Durgapur Sub Station point (Parulia, W.B) and end point at Jamshedpur Sub Station are given below :

Description			Latitude		                             Longitude

Starting point			23°36’12”	                                        87°19’44”

Ending point			22°50’02”	                                        86°04’02”

The length of the BEE Line from Durgapur to Jamshedpur is 156.0 Kms. The Corridor of  16 Km is covered with vast amount of vegetation that includes both forest land as well as Private Vegetation.

Road Network all along the route is very good. So many Pucca, Moorum roads are connecting this alignment.  The details are enclosed as Annexure-III. These roads are connected with State Highway NH2, NH60 are passing near the alignment.

The nearest International Airport is Kolkata which is about 130 Km from Durgapur & 450 Km from Jamshedpur

The major Railway stations all along the route are Durgapur, Andul, Raniganj, Bakura & Jamshedpur

The Corridor is also covered with mass of water bodies. The primary rivers with higher width include Damodar, Dwarakeswar, Subarnarekha.

The main rivers that exist in the corridor are Damodar, Dwarakeswar, Kasai River, Subarna Rekha & Kansabati Reservoir.

The entire State of W.B is covered by Black Soil except for a small portion is covered by Red Soil. The main crop of the State is Rice.

Post & Telegraph services are available all along the route. Private courier services are also available at Durgapur & Jamshedpur banking services are available at Durgapur, Chatna, Manbazar, Barabhum and Jamshedpur.

Jamshedpur-Baripada 400 KV D/C Transmission line

Description of Corridor

Route of 400KV D/C FJamshedpur-Baripada is passing through Seraikela-Kharsawan and East Singhbhum District of Jharkhand and Mayurbhanj District of Orissa.

The Latitude & Longitude of the starting point at Jamshedpur Sub Station point and end point at Barripada Sub Station are given below:

Description					Latitude		Longitude

Starting point					22º50’02”		86º04’02”

Ending point					21º59’06”		86º42’13”

The length of the BEE Line from Jamshedpur to Baripada is 115.0 Kms. The Corridor of 46 Km is covered with vast amount of vegetation that includes both forest land as well as Private Vegetation. The Corridor is also covered with mass of water bodies. The primary rivers with higher width include Kharkai, Burhabalanga & Subarnarekha. Utmost care has been taken to avoid forest area during routing of the transmission line. Only in the unavoidable circumstances when it was not possible to avoid the forests, route was aligned through however proper care was taken so that tree cutting is minimum. The High Tension Power Lines exiting in this corridor are :

The entire State of Jharkhand & Orissa are covered by Black Soil except for a small portion is covered by Red Soil. The main crop of the State is Rice.

Road Network all along the route is very good. So many Pucca, Moorum roads are connecting this alignment. These roads are connected with State Highway, NH 33, NH 6 & NH 5. The details are enclosed as Annexure-IV. The nearest International Airport is Kolkatta, which are about 250 Km from Jamshedpur & about 187 Km from Baripada. Airport at Jamshedpur has also now started. The major Railway stations all along the route are Gamaria, Jadugora, Ghatsila, Dhalbhumgarh

Post & Telegraph services are available all along the route. Private courier services are also available at Baripada, Ghatsila, Baharagora & Jamshedpur. Banking services are available at Jamshedpur, Ghatsila, Baharagora, Baripoda.

Baripada-Mendhasdal 400, KV, D/C Transmission line

Description of Corridor

The length of proposed route from Baripada S/S to Mendhasala S/S is 270.227 Kms.. The length of Bee Line from Baripada to Mendhasala is 219 Kms. The Corridor of 16 kms is covered with vast amount of vegetations that includes both forest and as well as Private Vegetations.

Road Network all along the route alignment is very good. The alignment is well connected with many Pucca/Moorum roads besides interconnection with Major District Roads. The details are enclosed as Annexure-V. The main National Highway passings near alignment are   NH-215, NH-200 and NH-42. The main State High way passing near alignment are SH-19,,SH-53, SH-77  The nearest Airport is Bhubaneswar which is about Km from Mendhasal.The nearest Railway Stations are described in Data Regarding Infrastructure. Post & Telegraph services are available in all section. Private courier services are also available at Baripada, Baleswar,Mendhasal, Banking services are also available at above mentioned places.

- The Topography of the area is plain (98.68%) and 1.32% hilly.

- Details of Forest involvement

- The Durgapur-Jamshedpur 400KV,D/C line involves  30.54 ha. in WB and 11.37 ha in Jharkhand. The total no. of trees coming in the entire ROW within the forest area is 2581. However, felling of trees has been restricted to barest minimum and rests are only lopped / pruned to maintain electrical clearance.

- Jamshedpur-Baripada 400 KV, D/C transmission line involves 54.39 Ha. forest in Jharkhand and 3.38 ha. Forest in Orissa. The total no. of trees coming in the entire ROW within the forest area is 4197. However, felling of trees has been restricted to barest minimum and rests are only lopped / pruned to maintain electrical clearance.

- Baripada-Mendhasal 400 KV, D/C line involves 20.811ha.  forest in Orissa and 0.552 ha. Wild life area. The total no. of trees coming in the entire ROW within the forest area is 308. However, felling of trees has been restricted to barest minimum and rests are only lopped / pruned to maintain electrical clearance.

- The details of trees and Forest area  involved in the ERSS-I is given below:

| Sr No. | Name of Line/Length | Type of forest | Forest Stretch Ha. | State | No. of Trees | Type of Trees |
| --- | --- | --- | --- | --- | --- | --- |
| 1 | Jamshedpur- Baripada, 400KV 139 Km | ProtectedForest/ReservedForest/JunglJhari ProtectedForest/ Jungle Jhari | 54.39 3.38 | Jharkhand Orissa | 4134 63 | Babul,Jam,Palash,Jamun,Neem,Kendu,Jungle Kaju,Harida,Sal,Rohini,Assam, Dhoo |
| A. | Sub-Total |  | 57.77 |  | 4197 |  |
| 2 | Durgapur-Jamshedpur 400KV 181 Km | ProtectedForest/ReservedForest/ Jungle Jhari | 30.54 11.37 2.696* ( Already diverted area for Maithon –Jamshedpur line, existing towers are being replaced by M/C tower to accommodate Durgapur-Jamshedpur line) | W.B. Jharkhand Jharkhand | 1436 1145 Nil | Pakm,Kejur,Akashmani,Arjun,Siris,Behera, Simul,Babla,Palash, Eucalyptas,Bamboo,Bel,Sal |
| B. | Sub-Total |  | 41.91 |  | 2581 |  |
| 3 | Baripada-Mendhasel, 400KV 270Km. | Revenue Forest Wild Life | 20.811 0.552 WL Sanctuary | Orissa Orissa | 308 Nil | Bel,Sunari,Kendu,Kochila,Achhu,Neem, Lata Palash, Ban Khajuri,Kurei,Baigaba, Ananta Mula |
| C. | Sub-Total |  | 21.36 |  | 308 |  |
|  | Total A+B+C |  | 121.04 |  | 7086 |  |

- A detailed compensatory afforestation scheme for carrying out afforestation in lieu of above diversion have been prepared by forest authorities. Compensatory afforestation scheme are annexed as Annexure VI. Forest clearance status of transmission lines are as follows:

- Forest clearance

- As per the requirement of Forest (Conservation) Act, 1980 prior approval of Government of India has been obtained following due process (refer flow chart of forest clearance). Compliance of condition stipulated in the clearance letter like payment towards compensatory afforestation, Net Present Value, dwarf tree plantation cost has been paid to concerned State Govt.

| Sr No. | Name of Line/Length | Forest Stretch Ha. | State | Status |
| --- | --- | --- | --- | --- |
| 1. | Durgapur-Jamshedpur 400KV 181 Km | 30.54 11.37 2.696* ( Already diverted area for Maithon –Jamshedpur line, existing towers are being replaced by M/C tower to accommodate Durgapur-Jamshedpur line) | W.B. Jhar khand Jharkhand | In-principle approval obtained Approval letter annexed as Annexure VII,a In- principle approval obtained. Annexure VII,b NPV & CA deposited. Compliance report is under process with Secretary Env.& Forests, Jharkhand. Hon’ble Supreme Court permitted POWERGRID to work in Dalma-Hills Wild Life Area on 06.02.09. In-principle approval obtained. Approval letter annexed as Annexure VII,c |
| 2. | Jamshedpur- Baripada, 400KV 139 Km | 54.39 3.38 | Jharkhand Orissa | In-principle Approval obtained on 17.04.09. Approval letter annexed as Annexure VII,d . Final approval obtained. Approval letter annexed as Annexure VII,e . |
| 3 | Baripada-Mendhasel, 400KV 270Km. | 20.811 0.552 WL Sancutary | Orissa Orissa | Forest proposal is with Principal Chief Conservator of Forests (PCCF) Bhubaneswar and same is expected to be forwarded to Principal Secretary Forest Govt. of Orissa by May 2009. Principal Chief Conservator of Forests (PCCF,WL) forwarded the proposal to Principal Secretary Forest Govt. of Orissa on 22.03.09 for onward transmission to State Wild Life Board Orissa. |

- Forest proposal for obtaining clearance from  MoEF submitted to concern State forest authorities. Forest clearance status has already mentioned above. Forest proposals are annexed as Annexure-VIII.

- Forest clearance

- As per the requirement of Forest (Conservation) Act,1980 prior approval of Government of India is being obtained following due process (refer flow chart of forest clearance). The total no. of trees coming in the entire ROW  within the forest area is 7086. However, felling of trees has been restricted to barest minimum and rests are only lopped / pruned.

(Environmental impact Matrix)

| S. No. | PARAMETERS | Extent of Impact |
| --- | --- | --- |
| 1. A. | Line length- 579 Kms. Jharkhand- 133.00Kms Orissa- 220.54 Kms | -- |
| B. | Terrain Plain 571.3Km (98.68%) Hilly 7.7Km (1.32%) |  |
| 2. | Type of line, 400 KV D/C | -- |
| 3. | Forest land traversed (Km) | 26.31 |
| 4. | Forest land traversed (Ha) | 121.01 |
| 5. | Forest type | PF ,RF& JungleJhari: 96.3 Ha PF/Jungle Jhari : 3.38Ha Revenue Forest:20.811 Ha WL: 0.552 |
| 6. | Forest density | 0.1-0.4 |
| 7. | Rare/ endangered flora | Nil |
| 8. | Rare/ endangered fauna | Nil |
| 9. | Migrating Wild life/ breeding ground | Nil |
| 10. | National Park / sanctuaries | None |
| 11. | Amt. of wet land traversed | Nil |
| 12. | Soil erodability | low |
| 13. | Historical / Cultural Monument | None |
| 14. | Relocation of villagers | None |
| 15. | Loss/ Hindrance to Public Utilities | Negligible, restricted to construction phase only only. |

# SECTION-V: POTENTIAL ENVIRONMENTAL IMPACT, EVALUATION AND ITS MANAGEMENT

- 5.0	Impact Due to Project Location and Design

Environmental impacts of transmission line projects are not far reaching and are mostly localized to ROW.  However, transmission line project has some affects on natural and socio-culture resources. To reduce environmental impacts, environmentally sensitive area like water bodies, temple, school building etc. have been avoided by putting special tower. To reduce tree cutting in orchard, extension tower has been provided at different locations.  Details of tower extension and change of tower type are annexed as Annexure-IX These impacts can be minimized by careful route selection. Although, all possible measures have been taken during the finalization of route alignment for the proposed transmission line but due to peculiarity of terrain and demography of the area where project is being implemented, some environmental impacts may be there. The explanations in brief with regard to specific environment review criteria based on preliminary survey are as follows:

- (i) Resettlement

- As described earlier all measures are undertaken by POWERGRID at line routing stage itself to avoid settlements such as cities, villages etc. It may be seen from the above description of proposed route alignment and also keeping in mind that no land is acquired for tower foundation as per existing law, the project does not require any resettlement of villagers.

The proposed project do not envisages construction of new sub-station . No fresh land acquisition is involve. Hence R&R is not issue in this project

- (ii) Land value depreciation

- Based on past experience land prices are generally expected to rise in the areas receiving power.  Further, transmission lines generally pass through uninhabited area, agriculture fields and forests, where the land-use is not going to change in foreseeable future. Therefore, the value of land will not be adversely affected to a significant degree.

- (iii) Historical/cultural monuments/value

- As per the POWERGRID’s policy of route selection only that route alignment is finalized this avoids all the historical and cultural monuments. As per the assessment carried out with State revenue authorities and ASI, no such monuments are getting affected in the instant project.

- (iv)  Encroachment into precious ecological areas

- As already explained all precautions have been taken to avoid routing of line through forest and ecological sensitive areas and National park/Sanctuaries. However, complete avoidance of forest area and wild life area was not possible in Durgapur-Jamshedpur and Baripada-Mendhasal transmission lines and wildlife area is not involved in Jamshedpur-Baripada line though some forests are involved. The routes of proposed transmission line are so finalized that it affects minimum forest area and wildlife area, which has also been certified by Forest deptt.

- Durgapur–Jamshedpur transmission line is passing (about 1.25 Kms) through Dalma Wild life Sanctuary. In this portion this line is being accommodated on multi ckt. towers in the existing Right of Way (ROW) of Maithan –Jamshedpur line. Existing towers of Maithan-Jamshedpur line in wild life area are being replaced by multi circuit tower to accommodate both new ( Durgaour-Jamshedpur) and existing line (Maithan-Jamshedpur), and therefore no fresh land is required in the wild life area.  Baripada –Mendhasal line encounters 120 meters stretch of Chandaka Wild life sanctuary (near Mendhasal) i.e. wildlife corridor. This is being crossed overhead with about 400m span and with increased tower height for more ground clearance due to safe movement of wildlife animal if there is any. As such no tower shall be constructed/ installed in this portion of wildlife sanctuary except crossing overhead.     It may be seen from the earlier description that out of the total transmission line length of about 579 Kms about 26.31 Km (4.54% only) length shall pass through forest land consisting of total 121.013 Ha. forest area  in  the  states  of   Jharkhand  (65.76) and Orissa (55.25 Ha)..

- A total of 88  towers are coming in the forest area.  Prior approval of GOI/MOEF would be obtained for affected forest under Forest (Conservation) Act, 1980. Most of the forests to be traversed by the lines are heavily degraded and the wildlife species present are those who have been adapted to open or disturbed habitat. Therefore, with provision of Compensatory Afforestation on 242 Ha. of degraded forest land, the overall forest status will in many cases improve (Refer Annexure-VI). Nonetheless, to mitigate losses to existing forests, clearing of the transmission line Right-of-way will be done under supervision of Forest Department, and some low canopy seed trees and shrubs may be kept intact if they do not interfere with tower erection and line installation. The wood will be sold by the Forest Department, who will also retain the sale proceeds. Three-meter wide strips of land under each conductor will be cleared and maintained as maintenance rows, but the remaining land will be allowed to regenerate. Lopping of trees to maintain line clearance will be done under the direction/supervision of POWERGRID & Forest Department. POWERGRID will provide construction crews with fuel wood or alternative fuels as a precaution against collection of fuel wood from nearby forest.

- Transmission lines can serve as new access routes into previously inaccessible or poorly accessible forests, thereby accelerating forest and wildlife loss. In such cases, POWERGRID cannot take action itself, but local Forest Department personnel will normally assess the dangers and take appropriate action, such as establishing guard stations at the entrance to the forest.  Given the already easy access and degraded conditions at the proposed project sites, this problem is not expected to be encountered.  Nonetheless, POWERGRID staff will report to the Forest Department any noticeable encroachment induced by the Projects.

(v) Encroachment into other valuable lands

- Impacts on agricultural land will be restricted to the construction phase and when large-scale maintenance measures are required. Some stretch of the line will pass through Agricultural fields. Agricultural land will be lost at the base of the tower, which is estimated to be 0.2-1 sq. m per average farm holding (Fig-1).

In areas where lines will traverse agricultural land, compensation will be paid to owners for any crop damage incurred as a result of construction activities. POWERGRID field staff will consult affected villagers and local revenue department and apprise him about the project and tower location, which shall be erected in the agricultural land, for compensation.  Revenue department, after evaluating the loss due to construction activity and productivity of land, arrives at the compensation cost, which is paid to farmer.  Agricultural activities will be allowed to continue following the construction period. If bunds or other on-farm works are disturbed during construction or maintenance, they will be restored to the owner’s satisfaction following cessation of construction or maintenance activities. In the event that private trees are felled during construction or maintenance operations, compensation will be paid to the owner in an amount determined by the estimated loss of products from the tree over an eight-year period (for fruit bearing trees) and for other trees depending on the timber value. Out of the total tower location of 1737, 1659 tower locations are coming either on private land or revenue land. Agricultural lands under private ownership are identified, and in accordance with normal POWERGRID procedures crop/tree compensation is paid to the affected persons.   It is estimated that total compensation towards crop/trees shall be the tune of Rs. 552.69 lakh.  Budgetary provision Rs. 2190.06 lakh is kept to meet these expenses. Crop /tree compensation payment procedure and Budget provision is annexed as  Annexure-X.

(vi.) Interference with other utilities and traffic

- As per regulations enacted by Government of India, it is mandatory for POWERGRID to seek clearance prior to construction from department of Railways, Telecommunications and wherever necessary from aviation authorities that are likely to be affected by the construction of transmission lines. The transmission lines affect nearby telecommunication circuits by causing electrical interference.  A standing committee – Power Telecom Co-ordination Committee (P.T.C.C.) has been constituted by Government of India to plan and implement the mitigating measures for the induced voltage, which may occur to nearby telecom circuit and suggest necessary protection measures to be adopted. The committee suggests measures like rerouting of the telecom circuits, conversion of overhead telecom circuits into cables etc. to minimize the interference.

- The cost of such measures is determined by the Committee and is shared by POWERGRID and Telecom Department on the basis of prevailing norms and guidelines.  Though the exact cost to mitigate the impacts of induction in neighboring telecom circuits would vary from case to case, the cost on an average works out to be Rs.50,000/- per KM.

- Wherever transmission line crosses the railways, clearance is taken from that department.  In general, the system is planned and executed in such a way that adequate clearance is maintained between transmission lines on the one hand, and railways, civil aviation and defense installations on the other.  Wherever the transmission lines pass by the airports the towers beyond specified height are painted in alternate orange and white stripes for easy visibility and warning lights are placed atop these towers. All necessary clearance have already been obtained or in the advance stage of processing with relevant authorities.

- (vii)    Interference with drainage pattern

- As the transmission lines are constructed aerially and the blockage of ground surface is limited to area of tower footings, which is very small, there is little possibility of affecting drainage pattern. Since in the instant project most of the lines is being constructed in the plain area no such impact is encountered till date and during further implementation if such instances are repotted, flow will be trained and guided to safe zones.

- 5.2	Environmental Problems Due to Design

- Escape of polluting materials

- The equipments installed on lines and substations are static in nature and do not generate any fumes or waste materials. To avoid/minimize during construction phase a clause has been included in the contract document and is being monitored regularly by site engineers.

(ii) Explosion/fire hazards

- During the survey and site selection for transmission lines and sub-stations, it has been ensured that these are kept away from oil/gas pipelines and other sites with potential for creating explosions or fires. Fires due to flashover from lines can be a more serious problem in forest. However, adequate safety measures shall be taken to avoid such incidence besides this forest authorities also incorporate measures like making fire lines to prevent spreading of fire in the affected forest area.

(iii) Erosion hazards due to inadequate provision for resurfacing of exposed

area

- Adequate measures are taken to re-surface the area where excavation works are done.  Topsoil disturbed during the development of sites will be used to restore the surface of the platform. Infertile and rocky material will be dumped at carefully selected dumping areas and used as fill for tower foundations and rest is disposed at selected dumping area  (Exhibit-II).

- (iv)	  Environmental aesthetics

- Since spacing between the towers in case of 400 KV D/C lines is approx. 300-400 meters these will not affect the visual aesthetics of the localities particularly when it is ensured to route the lines as far away from the localities as possible.   POWERGRID takes up plantation of trees to buffer the visual effect around its substations and to provide better living conditions.  Wherever POWERGRID feels it appropriate, discussions will be held with local Forest Department officials to determine feasibility of planting trees along roads running parallel to transmission lines to buffer visual effect in these areas.  In addition, towers may be painted gray or green to merge with the background.

(v) Noise/vibration nuisances

- The equipment installed at sub-station are mostly static and are so designed that the noise level always remains within permissible limits i.e. 85 dB as per Indian standards. The noise levels reported during normal operating conditions are about 60 to 70 dB at 2 m. distance from the equipment.  To contain the noise level within the permissible limits whenever noise level increases beyond permissible limits, measures like providing sound and vibration dampers and rectification of equipment are undertaken.  In addition, plantations of sound absorbing species like Casuarinas, Tamarind, and Neem are raised at the sub-stations that reduce the sound level appreciably. It is reported that 93 m3 of woodland can reduce the noise level by 8 dB.  Actual noise levels measured at perimeters of existing Substations are 20 to 30 dB.  Noise during construction phase is periodically monitored and due maintenance of equipments are ensured to keep the noise level well within the prescribed limit.

- (vi)  Blockage of wildlife passage

- Since the line is passing through mostly agricultural, wasteland and the affected forest area is also not a migration path of wild life hence, possibility of disturbance to wild life are nil/remote.

- 5.3	Environmental Problems During Construction Phase

(i)    Uncontrolled silt runoff

- The Project involves only small scale excavation for tower foundations at scattered locations that are re-filled with excavated material, as the major portion of project area  (98.68%)  is in plain hence uncontrolled silt run off is not expected.

(ii)    Nuisance to nearby properties

- As already described in preceding paras, during site selection due care is taken to keep the transmission line and substations away from settlements.  Further, all the construction activities will be undertaken through the use of small mechanical devices e.g. tractors and manual labour therefore nuisance to the nearby properties if any, is not expected. The construction activities are normally undertaken in lean period and post harvesting to avoid/minimize such impact.

(iii)  Interference with utilities and traffic and blockage of access way

- Access to the site will be along existing roads or village paths; minor improvements to paths may be made where necessary, but no major construction of roads will be necessary either during construction or as a part of maintenance procedures.  It may be noted that access road ( Metalled / Non-metalled /cart roads) are existing to access all angle points and construction of no new road is envisaged (taking 200 m as buffer zone which can always be accessed through head load) for this line. Refer Annexure-III,IV &V. Even if at some places it is found that access road is not available than existing field/path is upgraded/augmented for utilization and compensation for any damage to crop or field is paid to the owner. In many areas such improvement in access road is highly appreciated by the local population.

- As and when a transmission line crosses any road/ railways line, the short span angle (DT) towers are located at a distance so as not to cause any hindrance to the movement of traffic.  Stringing at the construction stage is carried out during lean traffic period in consultation with the concerned authorities and angle towers are planted to facilitate execution of work in different stages.

- (iv)	Inadequate resurfacing for erosion control

- Since proposed line is to be constructed in plain area where erosion problem is not anticipated. However, if due to terrain at some points transmission towers may be placed on slopes and erosion prone soils internationally accepted engineering practices will be undertaken to prevent soil erosion.  This will include cutting and filling slopes wherever necessary.  The back cut slopes and downhill slopes will be treated with revetments. As explained above adequate steps shall be taken to resurface the area after construction. Wherever sites are affected by active erosion or landslides, both biological and engineering treatment will be carried out, e.g. provision of breast walls and retaining walls, and sowing soil binding grasses around the site. Furthermore, construction is generally undertaken outside the rainy season. As the proposed line is  mostly passing through  plains ( 87.5%)  areas no such problems are anticipated.

(v)  Inadequate disposition of borrow area

- As mentioned earlier the transmission tower foundations involve excavations on small scale basis and the excavated soil is utilized for back filling.  In case of substations generally the sites are selected in such a manner that the volume of cutting is equal to volume of filling avoiding borrowing of the area. As such acquisition/opening of  borrow area is not needed.

(vi)   Protection of Worker’s health/safety

- The Safety Regulations/Safety Manual published by POWERGRID, and included in tender documents will guide provisions for workers’ health and safety. Various aspects such as, work and safety regulations, workmen’s compensation, insurance are adequately covered under the Erection Conditions of Contract (ECC), a part of bidding documents (Annexure- XI)

POWERGRID has framed guidelines/checklist for workers’ safety as its personnel are exposed to live EHV apparatus and transmission lines. This guidelines/checklist includes work permits and safety precautions for work on the transmission lines both during construction and operation (Annexure- XII) and is monitored regularly by site in-charge and corporate Operation Services. In addition training is imparted to the workers in fire fighting and safety measures Exhibit-III.  Safety tools like helmet, safety belt, gloves etc. are provided to them in accordance to the provisions of Safety Manual.  First aid facilities will be made available with the labour gangs, and doctors called in from nearby towns when necessary.  The number of outside (skilled) labourers will be quite small, of the order of 25-30 people per group. The remaining workforce of unskilled labourers will be comprised of local people.  Workers are also covered by the statutory Workmen (Compensation) Act. POWERGRID has a dedicated unit to oversee all health and safety aspects of its project under the Operation Service Deptt. Regular health checkups are conducted for construction workers. The construction sites and construction workers’ houses will be disinfected regularly if required. In order to minimize/checking of spread of socially transmitted diseases e.g. HIV/AIDS etc. POWERGRID will conduct awareness building programs on such issues for the construction workers.

- 5.3	Environmental Problems Resulting from Operation

(i) O&M Staff/Skills less than acceptable resulting in variety of adverse

effects

- The O&M program in POWERGRID is normally implemented by sub-station personnel for both, the lines as well as sub-stations.  However in respect of the long distance transmission lines there are monitoring offices that are located at various points en-route. Monitoring measures employed include patrolling and thermo-vision scanning. The supervisors and managers entrusted with O&M responsibilities are intensively trained for necessary skills and expertise for handling these aspects.

- A monthly preventive maintenance program will be carried out to disclose problems related to cooling oil, gaskets, circuit breakers, vibration measurements, contact resistance, condensers, air handling units, electrical panels and compressors. Any sign of soil erosion is also reported and rectified. Monitoring results are published monthly, including a report of corrective action taken and a schedule for future action.

POWERGRID is following the approved international standards and design, which are absolutely safe. Based on the studies carried out by different countries on the safety of EHV lines in reference to EMF affect POWERGRID have also carried out such studies with the help of PTI, USA and CPRI, Bangalore on their design. The studies inferred that the POWERGRID design are safe and follow the required international standard.  Because of issues relating to need to ensure health and safety relating to the line such as fire safety, safe voltages on metallic parts of buildings, and safety clearances to avoid flashover, the transmission lines will not pass directly over any residential properties and as such the potential for EMF effects to occur will be further diminished. Given that it will be necessary to ensure that there are no properties in the ROW beneath and to the sides of the overhead line, automatic mitigation against EMF will be provided between the source of potentially high strengths (the transmission line) and the residential properties.

Poly Chlorinated Biphenyls (PCBs) due to its high heat capacity, low flammability and low electrical conductivity was extensively used as insulating material in capacitors and transformers. But after the finding that these PCBs are non-biodegradable and has carcinogenic tendency, its use in electrical equipments as insulating medium has been banned all over the world long back. However, it has been reported in some studies that chances of contamination of oil with PCB is possible. Keeping that in mind, POWERGRID has taken all possible steps in association with NGC, UK and setup Regional testing laboratories for testing of existing oil for PCB traces and results of this suggests that PCB contamination is not an issue with POWERGRID. The World Bank has also made following comments after a detailed study on Management of PCBs in India:

“ Power Grid was the most advanced in testing for PCBs of the organizations visited for this project. They have established a procedure for identification of the presence of PCBs in transformer oil and more detailed analysis for positive identification sample. To date no significant concentrations of PCBs have been detected. Power Grid do not appear to have any significant issues regarding PCB management and have initiated a testing program. The experience & laboratories of Power Grid could be used to provide a national PCB auditing service”.

5.4   CRITICAL ENVIRONMENTAL REVIEW CRITERIA

(i)   Loss of irreplaceable resources

The transmission projects do not involve any large-scale excavation and land is lost to the extent of 0.2-1 sq m only for each foundation. As only 26.307 Km (121.013 Ha.) of the lines in the subject project are passing through forest area some loss of vegetation is anticipated but with provisions of compensatory afforestation on degraded forest area (242 Ha.)  will compensate the loss of vegetation. The forest land identified for such plantation by forest department is in various Forest Divisions of the concerned. The cost of compensatory afforestation cost will be paid to forest department.

(ii)  Accelerated use of resources for short-term gains

The project will not be making use of any natural resources occurring in the area during construction as well as maintenance phases.  The construction material such as tower members, cement etc shall come from factories while the excavated soil shall be used for backfilling to restore the surface.  Thus the project shall not cause any accelerated use of resources for short-term gains.

(iii)   Endangering of species

No endangered species of flora and fauna exist in the project area as well as no reserve forest is getting affected thus there is no possibility of endangering/causing extinction of any species.

(iv)  Promoting undesirable rural-to urban migration

The project will not cause any submergence or loss of land holdings that normally trigger migration. It also does not involve acquisition of any private land holdings.  Hence, there is no possibility of any migration.

5.6    PUBLIC CONSULTATION

Public consultation/information is an integral part of the project implementation. Public is informed about the project at every stage of execution. During survey also POWERGRID’s site officials meet people and inform them about the routing of transmission lines.  During the construction, every individual, on whose land tower is erected and people affected by ROW, are consulted.

Apart from this, public consultation using different technique like Public Meeting, Small Group Meeting, informal Meeting  as  per  Environmental Social Policy  & Procedures of POWERGRID  (ESPP) shall also be carried out during different activities of project cycle. During such consultation the public will be informed about the project in general and in particular about the following:

- complete project plan (i.e. its route and terminating point and substations, if any, in between);

- POWERGRID design standards in relation to approved international standards;

- Health impacts in relation to EMF;

- Measures taken to avoid public utilities such as school, hospitals, etc.;

- Other impacts associated with transmission lines and POWERGRID’s approach to minimizing and solving them;

- Land acquisition details, proposed R&R measures and compensation packages in line with POWERGRID’s policy;

- Trees and crop compensation process.

Apart from organising many informal group meetings in different villages (Table-5.1) public meeting were also organised in the routes of transmission lines. To get the maximum participation during the Public consultation Program a notice was served well in advance to the villagers The details of lines and its importance were explained to the villagers. The program was arranged in interactive way and queries like crop compensation, route alignment etc. were replied. Most of the participants were small farmers and were worried about their land through which the line will pass.  They were informed that POWERGRID will not acquire their land for construction of transmission lines.  Only towers will be spotted in their fields where they can do farming without any fear because the tower height is very high and even tractor can pass below the tower.  Moreover, there is no risk of passing current from the above line as there is foolproof system of earthing for tower. The consultation process was appreciated by the villagers.  They were happy to know about the transparent policy of POWERGRID for execution of the project and promised to extend their cooperation during construction of the line.  The process of such consultation and its documentation shall continue during project implementation and even during O&M stage. The details of consultation, pamphlet etc. are placed as Annexure-XIII

5.7	Conclusions

From the above discussion, it would seem that the area is rich in physical resources. But careful route selection has minimized involvement of forest area to the extent possible but could not be completely avoided due to terrain and other physiographical reasons.  Thus, routes selected for detailed survey are the most optimum alignment and involved minimum forest and no R&R issues are anticipated as no fresh land acquisition is involved and only extension of existing substations within the existing boundary is involved. The existing tower of Maithan -Jamshedpur transmission line is being upgraded to multi Ckt tower in Dalma Wild Life sanctuary.  The proposed Durgapur - Jamshedpur transmission line is being accommodated on upgraded multi ckt tower in Dalma wild life area. No extra/fresh wild life area/forest area would be required for construction of transmission line in wild life area. In case of Baripada-Mendhasal line no tower is constructed in wild life area as it is only 120 meter wide strip which would is being crossed aerially with tall towers (2 nos.-400 meters apart).   Hence, based on the criteria agreed with The Bank the project is coming under the B category or non sensitive as only 4.54 % of total length is passing through forest, which is already degraded in nature and no major impact on wild life is envisaged as the forest is not the habitat of any endangered or endemic sp. of fauna and flora.  The infrastructural constraints are very real and pose a limiting factor on the development of the area.  The above facts while on the one hand underline the need for implementation of the project for overall development of the area and on another hand suggest that a detailed E.I.A. may not be necessary.

# SECTION-VI:  MONITORING AND ORGANISATIONAL SUPPORT STRUCTURE

6.0      ENVIRONMENTAL MONITORING PROGRAM IN POWERGRID:

- Monitoring is a continuous process for POWERGRID projects at all the stages be it the site selection, construction or maintenance.

- The success of POWERGRID lies in its strong monitoring systems.  Apart from the site managers reviewing the progress on daily basis regular project review meetings are held at least on monthly basis which is chaired by Executive Director of the region wherein apart from construction issues the environmental aspects of the projects are discussed and remedial measures taken wherever required.  The exceptions of these meetings are submitted to the Directors and Chairman and Managing Director of the Corporation.  The progress of various on-going projects is also informed to the Board of Directors. Following is the organization support system for proper implementation and monitoring of Environmental & Social Management Plan :

- 6.1    Corporate Level

- An Environmental Management Cell at corporate level was created within POWERGRID in 1992 and subsequently upgraded to an Environment Management Department (EMD) in 1993 and in 1997 it has been further upgraded to Environment & Social Management Deptt. (ESMD) by incorporating social aspect of project. Briefly, the ESMD's responsibilities are as follows:

- Advising and coordinating RHQs and Site to carry out environmental and social surveys for new projects.

- Assisting RHQs and site to finalize routes of entire power transmission line considering environmental and social factors that could arise enroute.

- Help RHQs and Site to follow-up with the state forest offices and other state departments in expediting forest clearances and the land acquisition process of various ongoing and new projects

- Act as a focal point for interaction with the M0EF for expediting forest clearances and follow-ups with the Ministry of Power.

- Imparts training to POWERGRID’s RHQs & site Officials on environment and social issues and their management plan.

- 6.2     Regional Level

- At its Regional Office POWERGRID has a Environmental and Social Management cell (ESMC) to manage Environmental and Social issues and to coordinate between ESMD at the Corporate level and the Construction Area Office (CAO). The key functions envisaged for ESMC are :

- Advising and coordinating field offices to carry out environmental and social surveys for new projects envisaged in the Corporate Investment Plan

- Assisting the ESMD and CAO to finalise routes of entire power transmission lines considering the environmental and social factors that could arise en-route

- To follow-up forest clearances and land acquisition processes with state forest offices and other state departments for various ongoing and new projects

- Acting as a focal point for interaction with the ESMD and CAOs on various environmental and social aspects.

6.3      Site Office

- At the Site level , POWERGRID has made  the head of the CAOs responsible for implementing the Environmental and Social aspect of project and are termed as Environmental and Social  Management Team (ESMT) . Key functions of the ESMT are:

- Conduct surveys on environmental and social aspects to finalise the route for the power transmission projects

- Conduct surveys for the sites to being considered for land acquisition

- Interact with the Forest Departments to make the forest proposal and follow it up for MOEF clearance.

- Interact with Revenue Authorities for land acquisition and follow it up with Authorised Agencies for implementation of Social Management Plan (SMP).

- Implementation of Environment  Management Plan (EMP) and SMP

- Monitoring of EMP and SMP and producing periodic reports on the same.

It may be noted that POWERGRID is well equipped to implement and monitor its environment and Social Management plans.

- As regards monitoring of impacts on ecological resources particularly in Forest, Sanctuary or National Park , it  is generally  done by the concerned Divisional Forest Officer, Chief Wildlife Warden and their staff as a part of their normal duties. A monitoring system (done by the Forest Department) is also in place for compensatory forests established as part of the Project.  A detailed Environment Management Plan (EMP) including monitoring plan for all possible environmental and social impact and its proper management has been drawn and is being implemented at site during various stage of project execution. The updated EMP with compliance status for ERSS-I  is enclosed as Annexure-XIV

Environmental Review: Periodic review by corporate ESMD and higher management including review by POWERGRID’s CMD of all environmental and social issues is under taken to ensure that EMP and other measures are implemented at site. Besides it annual review by independent Auditor under ISO: 14001 shall also be undertaken for compliance of agreed policy and management plan. The copy of recent   annual audit report is placed as Annexure-XV.