## SOP
Standard of Performance data for the month of December-2014
Name of Transmission Licensee : POWER GRID CORPORATION OF INDIA LTD., EASTERN REGION-I
ANNEXURE - A
S.NO. | Unique ID of transmission Element | Element Name | Description (Length/Nos./MVA/MVAr/MW/etc.) | Region | Type of failure | DETAILS OF OUTAGE |  | Total outage in days (1) | OUTAGE | RESTORATION | DURATION OF OUTAGE ATTRIBUTABLE TO (in Hrs) |  |  |  | CATEGORY | Detailed Reason(s) for Outage | Restoration Time as per Regulation 5(b) (2) | Whether Restoration Time more than normative (Y/N) | Difference between Actual and Norm 1-2 | Outage Certifying Agency and Reference Document | % Availability as certified by certifying agency
[6 empty] | No. of Tower damaged | No.of insulators failed |  | DATE & TIME | DATE & TIME | ISTS Licensee | OTHERS | System constr/Natural calmity/Militancy | Deemed Available
1 | ER1L1 | 132kV ARA-ARA | 1.7 | ER1 | -- | -- | -- | -- |  |  | 0 | 0 | 0 | 0 |  |  | N/A | N/A | N/A | ERPC
[5 empty] | -- | -- | -- | -- |  |  | 0 | 0:00 | 0 | 0 |  |  | N/A | N/A | N/A |  | 100
2 | ER1L2 | 132kV Dehri-SSRM | 62 | ER1 | -- | -- | -- | -- |  |  | 0 | 0 | 0 | 0 |  |  | N/A | N/A | N/A
[5 empty] | -- | -- | -- | -- |  |  | 0 | 0:00 | 0 | 0 |  |  | N/A | N/A | N/A |  | 100
3 | ER1L3 | 132kV SSRM- KARAMNASA | 29 | ER1 | -- | -- | -- | -- |  |  | 0 | 0 | 0 | 0 |  |  | N/A | N/A | N/A
[5 empty] | -- | -- | -- | -- |  |  | 0 | 0:00 | 0 | 0 |  |  | N/A | N/A | N/A |  | 100
4 | ER1L4 | 132kV DMRN-ARA | 1.7 | ER1 | -- | -- | -- | -- |  |  | 0 | 0 | 0 | 0 |  |  | N/A | N/A | N/A
[5 empty] | -- | -- | -- | -- |  |  | 0 | 0:00 | 0 | 0 |  |  | N/A | N/A | N/A |  | 100
5 | ER1L5 | 132kV PNR-DLK (LILO PART) | 0.5 | ER1 | -- | -- | -- | -- |  |  | 0 | 0 | 0 | 0 |  |  | N/A | N/A | N/A
[5 empty] | -- | -- | -- | -- |  |  | 0 | 0:00 | 0 | 0 |  |  | N/A | N/A | N/A |  | 100
6 | ER1L6 | 132kV PNR-PRN(LILO PART) | 0.5 | ER1 | -- | -- | -- | -- |  |  | 0 | 0 | 0 | 0 |  |  | N/A | N/A | N/A
[5 empty] | -- | -- | -- | -- |  |  | 0 | 0:00 | 0 | 0 |  |  | N/A | N/A | N/A |  | 100
7 | ER1L7 | 220kV DALKHOLA-PURNEA I | 41 | ER1 | -- | -- | -- | -- | 2014-12-10 17:37 | 2014-12-10 17:55 | 0 | 0 | 0 | 0.0125 | LPRD | H/T ON ERLDC INSTRUCTION FOR POWER REGULATION. | N/A | N/A | N/A
[5 empty] | -- | -- | -- | -- |  |  | 0 | 0 | 0 | 0.0125 |  |  | N/A | N/A | N/A |  | 100
8 | ER1L8 | 220kV DALKHOLA-PURNEA II | 41 | ER1 | -- | -- | -- | -- | 2014-12-10 17:37 | 2014-12-10 17:56 | 0 | 0 | 0 | 0.013194 | LPRD | H/T ON ERLDC INSTRUCTION FOR POWER REGULATION. | N/A | N/A | N/A
[5 empty] | -- | -- | -- | -- |  |  | 0 | 0 | 0 | 0.013194 |  |  | N/A | N/A | N/A |  | 100
9 | ER1L9 | 220 kV PRN-NPRN-I | 1 | ER1 | -- | -- | -- | -- |  |  | 0 | 0 | 0 | 0 |  |  | N/A | N/A | N/A
[5 empty] | -- | -- | -- | -- |  |  | 0 | 0:00 | 0 | 0 |  |  | N/A | N/A | N/A |  | 100
10 | ER1L10 | 220 kV PRN-NPRN-II | 1 | ER1 | -- | -- | -- | -- | 2014-12-10 11:27 | 2014-12-10 18:00 | 0 | 0.27292 | 0 | 0 | OMSU | S/D TAKEN FOR PARALLELING OF 100 MVA ICT WITH 160 MVA ICT -3 AT PRN. | N/A | N/A | N/A
[9 empty] | 2014-12-16 08:53 | 2014-12-16 16:59 | 0 | 0 | 0 | 0.3375 | LCSD | S/D TAKEN FOR CONSTRUCTION WORK
[5 empty] | -- | -- | -- | -- |  |  | 0 | 0.27292 | 0 | 0.3375 |  |  | N/A | N/A | N/A |  | 100
11 | ER1L11 | 220kV SASARAM-ARRAH I | 112 | ER1 | -- | -- | -- | -- | 2014-12-08 11:23 | 2014-12-08 17:17 | 0.24583 | 0 | 0 | 0 | OSPT | S/D TAKEN BY ARA FOR AMP WORK | N/A | N/A | N/A
[5 empty] | -- | -- | -- | -- |  |  | 0.24583 | 0:00 | 0 | 0 |  |  | N/A | N/A | N/A |  | 100
12 | ER1L12 | 220kV SASARAM-ARRAH II | 112 | ER1 | -- | -- | -- | -- |  |  | 0 | 0 | 0 | 0 |  |  | N/A | N/A | N/A
[5 empty] | -- | -- | -- | -- |  |  | 0 | 0:00 | 0 | 0 |  |  | N/A | N/A | N/A |  | 100
13 | ER1L13 | 220kV ARA-KHAGOL I | 48.44 | ER1 | -- | -- | -- | -- |  |  | 0 | 0 | 0 | 0 |  |  | N/A | N/A | N/A
[5 empty] | -- | -- | -- | -- |  |  | 0 | 0 | 0 | 0 |  |  | N/A | N/A | N/A |  | 100
14 | ER1L14 | 220kV ARA-KHAGOL II | 48.44 | ER1 | -- | -- | -- | -- |  |  | 0 | 0 | 0 | 0 |  |  | N/A | N/A | N/A
[5 empty] | -- | -- | -- | -- |  |  | 0 | 0 | 0 | 0 |  |  | N/A | N/A | N/A |  | 100
15 | ER1L15 | 220kV DEHRI-PUSAULI | 4.88 | ER1 | -- | -- | -- | -- | 2014-12-25 08:42 | 2014-12-29 16:34 | 0 | 0 | 0 | 1900-01-03 07:52 | LPRD | H/T FOR POWER REGULATION. | N/A | N/A | N/A
[5 empty] | -- | -- | -- | -- |  |  | 0 | 0 | 0 | 1900-01-03 07:52 |  |  | N/A | N/A | N/A |  | 100
16 | ER1L16 | 220kV SASARAM-SAHUPURI | 4.88 | ER1 | -- | -- | -- | -- | 2014-12-01 | 2014-12-02 15:23 | 0 | 0 | 0 | 1899-12-31 15:23 | OSPD | S/D TAKEN BY SAHUPURI/UPPCL FOR MAINTENANCE WORK AT THEIR END | N/A | N/A | N/A
[9 empty] | 2014-12-06 01:27 | 2014-12-06 15:40 | 0 | 0.59236 | 0 | 0 | OMSU | TRIPPED DUE TO Y PH TO N FAULT,F.D.= 52.08KM FROM PSL(UPPCL JURISDICTION), F.C.=3.206KA
[9 empty] | 2014-12-23 10:55 | 2014-12-23 14:10 | 0 | 0 | 0 | 0.13542 | OSPD | S/D TAKEN BY UPPCL/SASHUPURI FOR MAINTAINENCE WORK AT THEI END
[5 empty] | -- | -- | -- | -- |  |  | 0 | 0.59236 | 0 | 1899-12-31 18:38 |  |  | N/A | N/A | N/A |  | 100
17 | ER1L17 | 220kV RANCHI-CHANDIL I | 8.06 | ER1 | -- | -- | -- | -- | 2014-12-03 12:30 | 2014-12-03 15:31 | 0 | 0 | 0 | 0.12569 | OSPD | S/D TAKEN BY JSEB/CHANDIL FOR ATTENDING RED HOT SPOT IN R & Y PH OF CT STUD AT CHANDIL END | N/A | N/A | N/A
[9 empty] | 2014-12-19 11:01 | 2014-12-19 17:20 | 0 | 0 | 0 | 0.26319 | OSFD | S/D TAKEN BY JSEB/CHANDIL FOR ATTENDING HOT SPOT AT THEIR END.
[5 empty] | -- | -- | -- | -- |  |  | 0 | 0 | 0 | 0.38889 |  |  | N/A | N/A | N/A |  | 100
18 | ER1L18 | 220kV RNC-CHANDIL-II (LILO) | 6.92 | ER1 | -- | -- | -- | -- |  |  | 0 | 0 | 0 | 0 |  |  | N/A | N/A | N/A
[5 empty] | -- | -- | -- | -- |  |  | 0 | 0 | 0 | 0 |  |  | N/A | N/A | N/A |  | 100
19 | ER1L19 | 220kV RNC-HATIA-I (LILO) | 8.06 | ER1 | -- | -- | -- | -- |  |  | 0 | 0 | 0 | 0 |  |  | N/A | N/A | N/A
[5 empty] | -- | -- | -- | -- |  |  | 0 | 0 | 0 | 0 |  |  | N/A | N/A | N/A |  | 100
20 | ER1L20 | 220kV RNC-HATIA-II(LILO) | 6.92 | ER1 | -- | -- | -- | -- |  |  | 0 | 0 | 0 | 0 |  |  | N/A | N/A | N/A
[5 empty] | -- | -- | -- | -- |  |  | 0 | 0 | 0 | 0 |  |  | N/A | N/A | N/A |  | 100
21 | ER1L21 | 220kV GAYA-DEHRI -I(LILO PART) | 11 | ER1 | -- | -- | -- | -- |  |  | 0 | 0 | 0 | 0 |  |  | N/A | N/A | N/A
[5 empty] | -- | -- | -- | -- |  |  | 0 | 0 | 0 | 0 |  |  | N/A | N/A | N/A |  | 100
22 | ER1L22 | 220kV GAYA-BODHGAYA(BSEB) I | 12.7 | ER1 | -- | -- | -- | -- |  |  | 0 | 0 | 0 | 0 |  |  | N/A | N/A | N/A
[5 empty] | -- | -- | -- | -- |  |  | 0 | 0 | 0 | 0 |  |  | N/A | N/A | N/A |  | 100
23 | ER1L23 | 220kV GAYA-DEHRI-II (LILO PART) | 11 | ER1 | -- | -- | -- | -- |  |  | 0 | 0 | 0 | 0 |  |  | N/A | N/A | N/A
[5 empty] | -- | -- | -- | -- |  |  | 0 | 0 | 0 | 0 |  |  | N/A | N/A | N/A |  | 100
24 | ER1L24 | 220kV GAYA-BODHGAYA(BSEB) II | 12.7 | ER1 | -- | -- | -- | -- |  |  | 0 | 0 | 0 | 0 |  |  | N/A | N/A | N/A
[5 empty] | -- | -- | -- | -- |  |  | 0 | 0 | 0 | 0 |  |  | N/A | N/A | N/A |  | 100
25 | ER1L25 | 400kV FARAKKA-KAHALGAON I | 95 | ER1 | -- | -- | -- | -- |  |  | 0 | 0 | 0 | 0 |  |  | N/A | N/A | N/A
[5 empty] | -- | -- | -- | -- |  |  | 0 | 0 | 0 | 0 |  |  | N/A | N/A | N/A |  | 100
26 | ER1L26 | 400kV FARAKKA-KAHALGAON II | 95 | ER1 | -- | -- | -- | -- |  |  | 0 | 0 | 0 | 0 |  |  | N/A | N/A | N/A
[5 empty] | -- | -- | -- | -- |  |  | 0 | 0 | 0 | 0 |  |  | N/A | N/A | N/A |  | 100
27 | ER1L27 | 400kV KAHALGAON-FARAKKA III | 95.25 | ER1 | -- | -- | -- | -- | 2014-12-11 09:45 | 2014-12-11 18:14 | 0 | 0 | 0 | 0.35347 | OSPD | S/D TAKEN BY NTPC/KHLG FOR PREVENTIVE MAINTENANCE & RELAY TESTING WORK AT KHLG | N/A | N/A | N/A
[5 empty] | -- | -- | -- | -- |  |  | 0 | 0 | 0 | 0.35347 |  |  | N/A | N/A | N/A |  | 100
28 | ER1L28 | 400kV KAHALGAON-FARAKKA IV | 95.25 | ER1 | -- | -- | -- | -- |  |  | 0 | 0 | 0 | 0 |  |  | N/A | N/A | N/A
[5 empty] | -- | -- | -- | -- |  |  | 0 | 0 | 0 | 0 |  |  | N/A | N/A | N/A |  | 100
29 | ER1L29 | 400kV KAHALGAON-LAKHISARAI I | 145 | ER1 | -- | -- | -- | -- |  |  | 0 | 0 | 0 | 0 |  |  | N/A | N/A | N/A
[5 empty] | -- | -- | -- | -- |  |  | 0 | 0 | 0 | 0 |  |  | N/A | N/A | N/A |  | 100
30 | ER1L30 | 400kV BIHARSHARIFF-LAKHISARAI I | 89 | ER1 | -- | -- | -- | -- |  |  | 0 | 0 | 0 | 0 |  |  | N/A | N/A | N/A
[5 empty] | -- | -- | -- | -- |  |  | 0 | 0 | 0 | 0 |  |  | N/A | N/A | N/A |  | 100
31 | ER1L31A | 400kV KAHALGAON-LAKHISARAI II | 145 | ER1 | -- | -- | -- | -- |  |  | 0 | 0 | 0 | 0 |  |  | N/A | N/A | N/A
[5 empty] | -- | -- | -- | -- |  |  | 0 | 0 | 0 | 0 |  |  | N/A | N/A | N/A |  | 100
32 | ER1L31B | 400kV BIHARSHARIF-LAKHISARAI II | 89 | ER1 | -- | -- | -- | -- |  |  | 0 | 0 | 0 | 0 |  |  | N/A | N/A | N/A
[5 empty] | -- | -- | -- | -- |  |  | 0 | 0 | 0 | 0 |  |  | N/A | N/A | N/A |  | 100
33 | ER1L32 | 400kV KAHALGAON-BANKA-I | 47.7 | ER1 | -- | -- | -- | -- |  |  | 0 | 0 | 0 | 0 |  |  | N/A | N/A | N/A
[5 empty] | -- | -- | -- | -- |  |  | 0 | 0 | 0 | 0 |  |  | N/A | N/A | N/A |  | 100
34 | ER1L33 | 400KV BIHARSHARIF-BANKA I | 184.54 | ER1 | -- | -- | -- | -- |  |  | 0 | 0 | 0 | 0 |  |  | N/A | N/A | N/A
[5 empty] | -- | -- | -- | -- |  |  | 0 | 0 | 0 | 0 |  |  | N/A | N/A | N/A |  | 100
35 | ER1L34 | 400kV KAHALGAON-BANKA-II | 47.7 | ER1 | -- | -- | -- | -- | 2014-12-06 03:13 | 2014-12-06 11:54 | 0 | 0.36181 | 0 | 0 | OMSU | TRIPPED ON R-B FAULT. F.D. = 44.57 KM FROM BANKA,F.C.-IR=2.274KA,IB=1.669KA CAUSED BY OPGW WORK(NEWLY CONSTRUCTED) | N/A | N/A | N/A
[5 empty] | -- | -- | -- | -- |  |  | 0 | 0.36181 | 0 | 0 |  |  | N/A | N/A | N/A |  | 100
36 | ER1L35 | 400KV BIHARSHARIF-BANKA II | 184.54 | ER1 | -- | -- | -- | -- |  |  | 0 | 0 | 0 | 0 |  |  | N/A | N/A | N/A
[5 empty] | -- | -- | -- | -- |  |  | 0 | 0 | 0 | 0 |  |  | N/A | N/A | N/A |  | 100
37 | ER1L36A | 400kV JAMSHEDPUR-CHAIBASA I | 46.14 | ER1 | -- | -- | -- | -- | 2014-12-27 11:56 | 2014-12-27 13:33 | 0.067361 | 0 | 0 | 0 | OSPT | S/D TAKEN FOR CT OIL SAMPLING WORK AT JSR S/S. | N/A | N/A | N/A
[5 empty] | -- | -- | -- | -- |  |  | 0.067361 | 0 | 0 | 0 |  |  | N/A | N/A | N/A |  | 99.78
38 | ER1L36B | 400kV CHAIBASA-ROURKELA I | 131.48 | ER1 | -- | -- | -- | -- |  |  | 0 | 0 | 0 | 0 |  |  | N/A | N/A | N/A
[5 empty] | -- | -- | -- | -- |  |  | 0 | 0 | 0 | 0 |  |  | N/A | N/A | N/A |  | 100
39 | ER1L37 | 400kV JAMSHEDPUR-ROURKELA II | 153 | ER1 | -- | -- | -- | -- | 2014-12-15 04:02 | 2014-12-15 04:07 | 0 | 0 | 0.0034722 | 0 | GOVC | TRIPPED DUE TO O/V AT JSR. | N/A | N/A | N/A
[9 empty] | 2014-12-15 04:07 | 2014-12-15 09:36 | 0 | 0 | 0 | 0.22847 | LVRD | KEPT IN OPEN CONDITION DUE TO O/V.
[5 empty] | -- | -- | -- | -- |  |  | 0 | 0 | 0.0034722 | 0.22847 |  |  | N/A | N/A | N/A |  | 100
40 | ER1L38 | 400kV MAITHON-KAHALGAON I | 172 | ER1 | -- | -- | -- | -- | 2014-12-03 09:20 | 2014-12-03 17:41 | 0 | 0 | 0 | 0.34792 | OSPD | S/D TAKEN BY NTPC/KHLG FOR PREVENTIVE MAINTENANCE & RELAY TESTING WORK AT KHLG END | N/A | N/A | N/A
[5 empty] | -- | -- | -- | -- |  |  | 0 | 0 | 0 | 0.34792 |  |  | N/A | N/A | N/A |  | 100
41 | ER1L39 | 400kV MAITHON-KAHALGAON II | 172 | ER1 | -- | -- | -- | -- |  |  | 0 | 0 | 0 | 0 |  |  | N/A | N/A | N/A
[5 empty] | -- | -- | -- | -- |  |  | 0 | 0 | 0 | 0 |  |  | N/A | N/A | N/A |  | 100
42 | ER1L40 | 400kV BIHARSHARIF-SASARAM-I | 210 | ER1 | -- | -- | -- | -- | 2014-12-09 10:18 | 2014-12-09 17:45 | 0.31042 | 0 | 0 | 0 | OSFT | EMERGENCY S/D TAKEN FOR CVT REPLACEMENT WORK AT BSF. | N/A | N/A | N/A
[5 empty] | -- | -- | -- | -- |  |  | 0.31042 | 0 | 0 | 0 |  |  | N/A | N/A | N/A |  | 98.99
43 | ER1L41 | 400kV BIHARSHARIF-SASARAM-II | 210 | ER1 | -- | -- | -- | -- |  |  | 0 | 0 | 0 | 0 |  |  | N/A | N/A | N/A
[5 empty] | -- | -- | -- | -- |  |  | 0 | 0 | 0 | 0 |  |  | N/A | N/A | N/A |  | 100
44 | ER1L42 | 400KV PATNA-BARH III | 68.66 | ER1 | -- | -- | -- | -- |  |  | 0 | 0 | 0 | 0 |  |  | N/A | N/A | N/A
[5 empty] | -- | -- | -- | -- |  |  | 0 | 0 | 0 | 0 |  |  | N/A | N/A | N/A |  | 100
45 | ER1L43 | 400KV PATNA-BARH IV | 68.66 | ER1 | -- | -- | -- | -- |  |  | 0 | 0 | 0 | 0 |  |  | N/A | N/A | N/A
[5 empty] | -- | -- | -- | -- |  |  | 0 | 0 | 0 | 0 |  |  | N/A | N/A | N/A |  | 100
46 | ER1L44 | 400KV MUZAFFARPUR-BIHARSHARIF I | 133.3 | ER1 | -- | -- | -- | -- |  |  | 0 | 0 | 0 | 0 |  |  | N/A | N/A | N/A
[5 empty] | -- | -- | -- | -- |  |  | 0 | 0 | 0 | 0 |  |  | N/A | N/A | N/A |  | 100
47 | ER1L45 | 400KV MUZAFFARPUR-BIHARSHARIF II | 133.3 | ER1 | -- | -- | -- | -- | 2014-12-01 06:05 | 2014-12-01 19:50 | 0 | 0.57292 | 0 | 0 | OMSU | S/D TAKEN BY ER-I FOR OPGW INSTALLATION WORK | N/A | N/A | N/A
[9 empty] | 2014-12-02 06:05 | 2014-12-03 20:07 | 0 | 1899-12-31 14:02 | 0 | 0 | OMSU | S/D TAKEN BY ER-I FOR OPGW INSTALLATION WORK.
[9 empty] | 2014-12-04 06:07 | 2014-12-04 20:04 | 0 | 0.58125 | 0 | 0 | OMSU | S/D TAKEN BY ER-I FOR OPGW INSTALLATION
[9 empty] | 2014-12-05 06:02 | 2014-12-05 19:26 | 0 | 0.55833 | 0 | 0 | OMSU | S/D TAKEN BY ER-I FOR OPGW INSTALLATION WORK.
[9 empty] | 2014-12-06 07:32 | 2014-12-06 20:56 | 0 | 0.55833 | 0 | 0 | OMSU | S/D TAKEN BY ER-I FOR OPGW INSTALLATION WORK.
[9 empty] | 2014-12-07 07:35 | 2014-12-07 19:28 | 0 | 0.49514 | 0 | 0 | OMSU | S/D TAKEN BY ER-I FOR OPGW INSTALLATION WORK.
[9 empty] | 2014-12-08 07:16 | 2014-12-08 20:38 | 0 | 0.55694 | 0 | 0 | OMSU | S/D TAKEN FOR OPGW ISTALLATION WORK.
[9 empty] | 2014-12-09 07:10 | 2014-12-09 18:58 | 0 | 0.49167 | 0 | 0 | OMSU | S/D TAKEN BY ER-I FOR OPGW INSTALLATION WORK.
[9 empty] | 2014-12-10 07:23 | 2014-12-10 18:56 | 0 | 0.48125 | 0 | 0 | OMSU | S/D TAKEN BY ER-I FOR OPGW INSTALLATION WORK.
[9 empty] | 2014-12-11 07:13 | 2014-12-11 18:59 | 0 | 0.49028 | 0 | 0 | OMSU | S/D TAKEN BY ER-I FOR OPGW INSTALLATION
[9 empty] | 2014-12-12 07:25 | 2014-12-12 18:57 | 0 | 0.48056 | 0 | 0 | OMSU | S/D TAKEN BY ER-I FOR OPGW INSTALLATION WORK
[9 empty] | 2014-12-13 07:20 | 2014-12-13 19:09 | 0 | 0.49236 | 0 | 0 | OMSU | S/D TAKEN BY ER-I FOR OPGW INSTALLATION WORK
[9 empty] | 2014-12-14 07:13 | 2014-12-14 19:35 | 0 | 0.51528 | 0 | 0 | OMSU | S/D TAKEN BY ER-I FOR OPGW INSTALLATION
[9 empty] | 2014-12-15 07:15 | 2014-12-15 19:11 | 0 | 0.49722 | 0 | 0 | OMSU | S/D TAKEN BY ER-I FOR OPGW INSTALLATION
[9 empty] | 2014-12-16 07:57 | 2014-12-16 18:56 | 0 | 0.45764 | 0 | 0 | OMSU | S/D TAKEN BY ER-I FOR OPGW INSTALLATION
[9 empty] | 2014-12-17 07:10 | 2014-12-17 19:33 | 0 | 0.51597 | 0 | 0 | OMSU | S/D TAKEN BY ER-I FOR OPGW INSTALLATION
[9 empty] | 2014-12-18 07:01 | 2014-12-18 18:56 | 0 | 0.49653 | 0 | 0 | OMSU | S/D TAKEN BY ER-I FOR OPGW INSTALLATION
[9 empty] | 2014-12-19 07:03 | 2014-12-19 18:54 | 0 | 0.49375 | 0 | 0 | OMSU | S/D TAKEN BY ER-I FOR OPGW INSTALLATION WORK.
[9 empty] | 2014-12-20 07:07 | 2014-12-20 19:21 | 0 | 0.50972 | 0 | 0 | OMSU | S/D TAKEN BY ER-I FOR OPGW INSTALLATION WORK
[9 empty] | 2014-12-21 07:14 | 2014-12-21 19:32 | 0 | 0.5125 | 0 | 0 | OMSU | S/D TAKEN BY ER-I FOR OPGW INSTALLATION
[9 empty] | 2014-12-22 07:28 | 2014-12-22 19:58 | 0 | 0.52083 | 0 | 0 | OMSU | S/D TAKEN BY ER-I FOR OPGW INSTALLATION WORK.
[9 empty] | 2014-12-23 07:15 | 2014-12-23 18:51 | 0 | 0.48333 | 0 | 0 | OMSU | S/D TAKEN BY ER-I FOR OPGW INSTALLATION
[9 empty] | 2014-12-24 07:06 | 2014-12-24 18:44 | 0 | 0.48472 | 0 | 0 | OMSU | S/D TAKEN BY ER-I FOR OPGW INSTALLATION | N/A | N/A | N/A
[9 empty] | 2014-12-25 07:06 | 2014-12-25 18:56 | 0 | 0.49306 | 0 | 0 | OMSU | S/D TAKEN BY ER-I FOR OPGW INSTALLATION WORK. | N/A | N/A | N/A
[9 empty] | 2014-12-26 01:04 | 2014-12-26 07:30 | 0 | 0.26806 | 0 | 0 | OMSU | TRIPPED DUE TO Y- B PH FAULT, F.D.=44.81 KM FROM BSF,F.C.- IY=8.836KA, IB=8.393KA CAUSED BY OPGW WORK(NEWLY CONSTRUCTED) | N/A | N/A | N/A
[9 empty] | 2014-12-26 07:30 | 2014-12-26 18:44 | 0 | 0.46806 | 0 | 0 | OMSU | S/D TAKEN BY ER-I FOR OPGW INSTALLATION WORK. | N/A | N/A | N/A
[9 empty] | 2014-12-27 07:17 | 2014-12-27 19:57 | 0 | 0.52778 | 0 | 0 | OMSU | S/D TAKEN BY ER-I FOR OPGW INSTALLATION WORK. | N/A | N/A | N/A
[9 empty] | 2014-12-28 07:19 | 2014-12-28 19:31 | 0 | 0.50833 | 0 | 0 | OMSU | S/D TAKEN BY ER-I FOR OPGW INSTALLATION WORK. | N/A | N/A | N/A
[9 empty] | 2014-12-29 07:20 | 2014-12-29 19:27 | 0 | 0.50486 | 0 | 0 | OMSU | S/D TAKEN BY ER-I FOR OPGW INSTALLATION WORK. | N/A | N/A | N/A
[9 empty] | 2014-12-30 07:09 | 2014-12-30 19:28 | 0 | 0.51319 | 0 | 0 | OMSU | S/D TAKEN BY ER-I FOR OPGW INSTALLATION WORK. | N/A | N/A | N/A
[9 empty] | 2014-12-31 07:10 | 2014-12-31 19:28 | 0 | 0.5125 | 0 | 0 | OMSU | S/D TAKEN FOR OPGW ISTALLATION WORK. | N/A | N/A | N/A
[5 empty] | -- | -- | -- | -- |  |  | 0 | 1900-01-15 15:03 | 0 | 0 |  |  | N/A | N/A | N/A |  | 100
48 | ER1L46 | 400kV KAHALGAON-BARH I | 217.24 | ER1 | -- | -- | -- | -- |  |  | 0 | 0 | 0 | 0 |  |  | N/A | N/A | N/A
[5 empty] | -- | -- | -- | -- |  |  | 0 | 0 | 0 | 0 |  |  | N/A | N/A | N/A |  | 100
49 | ER1L47 | 400kV KAHALGAON-BARH II | 217.24 | ER1 | -- | -- | -- | -- |  |  | 0 | 0 | 0 | 0 |  |  | N/A | N/A | N/A
[5 empty] | -- | -- | -- | -- |  |  | 0 | 0 | 0 | 0 |  |  | N/A | N/A | N/A |  | 100
50 | ER1L48 | 400kV BARH-PATNA I | 93 | ER1 | -- | -- | -- | -- |  |  | 0 | 0 | 0 | 0 |  |  | N/A | N/A | N/A
[5 empty] | -- | -- | -- | -- |  |  | 0 | 0 | 0 | 0 |  |  | N/A | N/A | N/A |  | 100
51 | ER1L49 | 400kV PATNA-BARH II | 93 | ER1 | -- | -- | -- | -- |  |  | 0 | 0 | 0 | 0 |  |  | N/A | N/A | N/A
[5 empty] | -- | -- | -- | -- |  |  | 0 | 0 | 0 | 0 |  |  | N/A | N/A | N/A |  | 100
52 | ER1L50 | 400kV MAITHON-RANCHI I | 199.81 |  | -- | -- | -- | -- |  |  | 0 | 0 | 0 | 0 |  |  | N/A | N/A | N/A
|  |  |  | ER1 | -- | -- | -- | -- |  |  | 0 | 0 | 0 | 0 |  |  | N/A | N/A | N/A |  | 100
53 | ER1L51 | 400kV RAGHUNATHPUR-MAITHON | 44.02 | ER1 | -- | -- | -- | -- |  |  | 0 | 0 | 0 | 0 |  |  | N/A | N/A | N/A
[5 empty] | -- | -- | -- | -- |  |  | 0 | 0 | 0 | 0 |  |  | N/A | N/A | N/A |  | 100
54 | ER1L52 | 400kV RANCHI-RAGHUNATHPUR I | 155.79 | ER1 | -- | -- | -- | -- |  |  | 0 | 0 | 0 | 0 |  |  | N/A | N/A | N/A
[5 empty] | -- | -- | -- | -- |  |  | 0 | 0 | 0 | 0 |  |  | N/A | N/A | N/A |  | 100
55 | ER1L53 | 400kV MAITHON RB-RANCHI I | 187.64 | ER1 | -- | -- | -- | -- |  |  | 0 | 0 | 0 | 0 |  |  | N/A | N/A | N/A
[5 empty] | -- | -- | -- | -- |  |  | 0 | 0 | 0 | 0 |  |  | N/A | N/A | N/A |  | 100
56 | ER1L54 | 400kV MAITHON RB-RANCHI II | 187.64 | ER1 | -- | -- | -- | -- |  |  | 0 | 0 | 0 | 0 |  |  | N/A | N/A | N/A
[5 empty] | -- | -- | -- | -- |  |  | 0 | 0 | 0 | 0 |  |  | N/A | N/A | N/A |  | 100
57 | ER1L55 | 400kV RANCHI-ROURKELA I | 144.45 | ER1 | -- | -- | -- | -- |  |  | 0 | 0 | 0 | 0 |  |  | N/A | N/A | N/A
[5 empty] | -- | -- | -- | -- |  |  | 0 | 0 | 0 | 0 |  |  | N/A | N/A | N/A |  | 100
58 | ER1L56 | 400kV RANCHI-ROURKELA II | 144.45 | ER1 | -- | -- | -- | -- | 2014-12-23 00:14 | 2014-12-23 00:46 | 0 | 0.022222 | 0 | 0 | OMSU | TRIPPED ONLY FROM RKL END BUT BKR. WAS CHARGED CONDITION FROM RNC END. | N/A | N/A | N/A
[5 empty] | -- | -- | -- | -- |  |  | 0 | 0.022222 | 0 | 0 |  |  | N/A | N/A | N/A |  | 100
59 | ER1L57 | 400kV BIHARSHARIF-KODERMA I | 110.69 | ER1 | -- | -- | -- | -- | 2014-12-03 12:28 | 2014-12-03 17:22 | 0 | 0 | 0.20417 | 0 | LNCC | TRIPPED ON R-B FAULT. F.D. = 38.12 KM FROM BSF DURING DENSE FOG IN THE FAULT AREA. | N/A | N/A | N/A
[5 empty] | -- | -- | -- | -- |  |  | 0 | 0 | 0.20417 | 0 |  |  | N/A | N/A | N/A |  | 100
60 | ER1L58 | 400kV BIHARSHARIF-KODERMA II | 110.69 | ER1 | -- | -- | -- | -- |  |  | 0 | 0 | 0 | 0 |  |  | N/A | N/A | N/A
[5 empty] | -- | -- | -- | -- |  |  | 0 | 0 | 0 | 0 |  |  | N/A | N/A | N/A |  | 100
61 | ER1L59 | 400kV BIHARSHARIF-SASARAM III | 198.85 | ER1 | -- | -- | -- | -- | 2014-12-22 08:08 | 2014-12-22 18:47 | 0 | 0 | 0 | 0.44375 | LCSD | S/D TAKEN FOR CHARGING OF 400 KV BSF - SSRM - III AND 765 KV GAYA BALIA LINE. | N/A | N/A | N/A
[9 empty] | 2014-12-23 08:00 | 2014-12-23 20:35 | 0 | 0 | 0 | 0.52431 | LCSD | S/D TAKEN FOR CHARGING OF 400 KV BSF - SSRM - III AND 765 KV GAYA BALIA LINE.
[5 empty] | -- | -- | -- | -- |  |  | 0 | 0 | 0 | 0.96806 |  |  | N/A | N/A | N/A |  | 100
62 | ER1L60 | 400kV BIHARSHARIF-GAYA | 188.99 | ER1 | -- | -- | -- | -- | 2014-12-21 07:52 | 2014-12-25 15:29 | 0 | 0 | 0 | 1900-01-03 07:37 | LCSD | PERMANENT S/D TAKEN BY ER-1 FOR RESTORAT ION OF SAID LINE WILL BE CHARGED AS A 400KV BSF-SSRM-4 & 765KV GAYA-BALIA | N/A | N/A | N/A
[5 empty] | -- | -- | -- | -- |  |  | 0 | 0 | 0 | 1900-01-03 07:37 |  |  | N/A | N/A | N/A |  | 100
63 | ER1L61 | 400kV SASARAM-BALLIA | 237.7 | ER1 | -- | -- | -- | -- | 2014-12-21 08:50 | 2014-12-25 15:29 | 0 | 0 | 0 | 1900-01-03 06:39 | LCSD | PERMANENT S/D TAKEN BY ER-1 FOR RESTORAT ION OF SAID LINE WILL BE CHARGED AS A 400KV BSF-SSRM-4 & 765KV GAYA-BALIA | N/A | N/A | N/A
[5 empty] | -- | -- | -- | -- |  |  | 0 | 0 | 0 | 1900-01-03 06:39 |  |  | N/A | N/A | N/A |  | 100
64 | ER1L62 | 400kV JAMSHEDPUR(DVC)-BARIPADA | 108.29 | ER1 | -- | -- | -- | -- | 2014-12-18 11:35 | 2014-12-18 13:22 | 0.074306 | 0 | 0 | 0 | OSFT | S/D TAKEN BY BRPD TO ATTEND HOT SPOT IN LINE ISOLATOR AT BRPD END. | N/A | N/A | N/A
[5 empty] | -- | -- | -- | -- |  |  | 0.074306 | 0 | 0 | 0 |  |  | N/A | N/A | N/A |  | 99.76
65 | ER1L63 | 400kV BARIPADA-JAMSHEDPUR II | 140.28 | ER1 | -- | -- | -- | -- | 2014-12-28 14:14 | 2014-12-28 15:02 | 0 | 0.033333 | 0 | 0 | OMSU | TRIPPED ON Y - N FAULT HAVING FAULT DIST 22.2 KM FROM JSR AND FC - 11.1 KA. DURING OPGW INSTALLATION WORK. | N/A | N/A | N/A
[9 empty] | 2014-12-28 16:38 | 2014-12-28 17:16 | 0 | 0.026389 | 0 | 0 | OMSU | TRIPPED ON Y - N FAULT HAVING FAULT DIST 22.67 KM FROM JSR AND FC - 11.1 KA. DURING OPGW INSTALLATION WORK.
[5 empty] | -- | -- | -- | -- |  |  | 0 | 0.059722 | 0 | 0 |  |  | N/A | N/A | N/A |  | 100
66 | ER1L64 | 400kV JAMSHEDPUR-JAMSHEDPUR(DVC) | 32 | ER1 | -- | -- | -- | -- | 2014-12-24 09:45 | 2014-12-24 17:30 | 0.32292 | 0 | 0 | 0 | OSPT | S/D TAKEN FOR AMP WORK. | N/A | N/A | N/A
[5 empty] | -- | -- | -- | -- |  |  | 0.32292 | 0 | 0 | 0 |  |  | N/A | N/A | N/A |  | 98.958
67 | ER1L65 | SSRM - NABINAGAR I | 81.65 | ER1 | -- | -- | -- | -- |  |  | 0 | 0 | 0 | 0 |  |  | N/A | N/A | N/A
[5 empty] | -- | -- | -- | -- |  |  | 0 | 0 | 0 | 0 |  |  | N/A | N/A | N/A |  | 100
68 | ER1L66 | SSRM - NABINAGAR II | 81.65 | ER1 | -- | -- | -- | -- |  |  | 0 | 0 | 0 | 0 |  |  | N/A | N/A | N/A
[5 empty] | -- | -- | -- | -- |  |  | 0 | 0 | 0 | 0 |  |  | N/A | N/A | N/A |  | 100
69 | ER1L67A | 400KV GAYA - KODERMA - II | 118.2 | ER1 | -- | -- | -- | -- | 2014-12-06 09:30 | 2014-12-07 17:41 | 0 | 0 | 1899-12-31 08:11 | 0 | LMAC | S/D TAKEN FOR RECTIFICATION OF DAMAGED CONDUCTOR DAMAGED BY MISCREANTS BETWEEN LOC. 40/1 - 40/2. | N/A | N/A | N/A
[9 empty] | 2014-12-25 09:14 | 2014-12-26 19:38 | 0 | 0 | 0 | 1899-12-31 10:24 | LCSD | S/D TAKEN FOR CHARGING OF 400 KV GAYA - KODERMA - I.(NEW LINE)
[5 empty] | -- | -- | -- | -- |  |  | 0 | 0 | 1899-12-31 08:11 | 1899-12-31 10:24 |  |  | N/A | N/A | N/A |  | 100
70 | ER1L67B | 400kV GAYA-MAITHON II | 277 | ER1 | -- | -- | -- | -- | 2014-12-25 08:39 | 2014-12-26 19:29 | 0 | 0 | 0 | 1899-12-31 10:50 | LCSD | S/D TAKEN FOR CHARGING OF 400 KV GAYA - MTN - I.(NEW LINE) | N/A | N/A | N/A
[5 empty] | -- | -- | -- | -- |  |  | 0 | 0 | 0 | 1899-12-31 10:50 |  |  | N/A | N/A | N/A |  | 100
71 | ER1L67 | 400kV MAITHON-KODERMA-II | 260 | ER1 | -- | -- | -- | -- |  |  | 0 | 0 | 0 | 0 |  |  | N/A | N/A | N/A
[5 empty] | -- | -- | -- | -- |  |  | 0 | 0 | 0 | 0 |  |  | N/A | N/A | N/A |  | 100
72 | ER1L68 | 400kV MAITHON-KODERMA-I | 260 | ER1 | -- | -- | -- | -- | 2014-12-25 09:04 | 2014-12-28 01:38 | 0 | 0 | 0 | 1900-01-01 16:34 | LCSD | PERMANENT S/D TAKEN FOR CHARGING OF 400 KVGAYA - MTN - I.(NEW LINE) AND 400 KV GAYA - KODERMA- I(NEW LINE). | N/A | N/A | N/A
[5 empty] | -- | -- | -- | -- |  |  | 0 | 0 | 0 | 1900-01-01 16:34 |  |  | N/A | N/A | N/A |  | 100
73 | ER1L69 | 400kV RANCHI-RANCHI(NEW) II | 78.6 | ER1 | -- | -- | -- | -- | 2014-12-17 07:27 | 2014-12-17 20:10 | 0 | 0 | 0.52986 | 0 | LMAC | S/D TAKEN FOR REPAIRING DAMAGED CONDUCTORS(DAMAGED BY MISCREANTS) IN DIFFERENT LOCATION | N/A | N/A | N/A
[9 empty] | 2014-12-18 07:01 | 2014-12-18 19:46 | 0 | 0 | 0.53125 | 0 | LMAC | S/D TAKEN FOR RECTIFICATION OF DAMAGED CONDUCTOR (DAMAGED BY MISCREANTS) IN DIFFERENT LOCATIONS
[9 empty] | 2014-12-19 07:16 | 2014-12-19 19:24 | 0 | 0 | 0.50556 | 0 | LMAC | S/D TAKEN FOR RECTIFICATION OF DAMAGED CONDUCTOR DAMAGED BY MISCREANTS
[5 empty] | -- | -- | -- | -- |  |  | 0 | 0 | 1899-12-31 13:36 | 0 |  |  | N/A | N/A | N/A |  | 100
74 | ER1L70 | 400kV RANCHI-RANCHI(NEW) I | 78.6 | ER1 | -- | -- | -- | -- | 2014-12-17 07:27 | 2014-12-17 19:38 | 0 | 0 | 0.50764 | 0 | LMAC | S/D TAKEN FOR REPAIRING DAMAGED CONDUCTORS(BY MISCREANTS) IN DIFFERENT LOCATIONS. | N/A | N/A | N/A
[9 empty] | 2014-12-18 07:01 | 2014-12-18 19:47 | 0 | 0 | 0.53194 | 0 | LMAC | S/D TAKEN FOR RECTIFICATION OF DAMAGED CONDUCTOR (DAMAGED BY MISCREANTS) IN DIFFERENT LOCATIONS
[9 empty] | 2014-12-19 07:16 | 2014-12-19 19:23 | 0 | 0 | 0.50486 | 0 | LMAC | S/D TAKEN FOR RECTIFICATION OF DAMAGED CONDUCTOR DAMAGED BY MISCREANTS
[5 empty] | -- | -- | -- | -- |  |  | 0 | 0 | 1899-12-31 13:04 | 0 |  |  | N/A | N/A | N/A |  | 100
75 | ER1L71 | 400kV RANCHI-RANCHI(NEW) III | 78.6 | ER1 | -- | -- | -- | -- | 2014-12-21 07:28 | 2014-12-21 18:34 | 0 | 0 | 0.4625 | 0 | LMAC | FOR REPAIRING OF DAMAGED CONDUCTOR (DAMAGED BY MISCRIENTS) | N/A | N/A | N/A
[9 empty] | 2014-12-22 07:16 | 2014-12-22 20:10 | 0 | 0 | 0.5375 | 0 | LMAC | S/D TAKEN FOR REPLACEMENT OF DAMAGED CONDUCTOR CAUSED BY MISCREANTS.
[9 empty] | 2014-12-23 07:35 | 2014-12-23 19:13 | 0 | 0 | 0.48472 | 0 | LMAC | S/D TAKEN FOR REPLACEMENT OF DAMAGED CONDUCTOR DAMAGED BY MISCREANTS
[9 empty] | 2014-12-24 07:00 | 2014-12-24 20:03 | 0 | 0 | 0.54375 | 0 | LMAC | S/D TAKEN FOR REPLACEMENT OF DAMAGED CONDUCTOR DAMAGED BY MISCREANTS
[5 empty] | -- | -- | -- | -- |  |  | 0 | 0 | 1900-01-01 00:41 | 0 |  |  | N/A | N/A | N/A |  | 100
76 | ER1L72 | 400kV RANCHI-RANCHI(NEW) IV | 78.6 | ER1 | -- | -- | -- | -- | 2014-12-21 07:28 | 2014-12-21 18:36 | 0 | 0 | 0.46389 | 0 | LMAC | FOR REPAIRING OF DAMAGED CONDUCTOR (DAMAGED BY MISCRIENTS) | N/A | N/A | N/A
[9 empty] | 2014-12-22 07:17 | 2014-12-22 21:46 | 0 | 0 | 0.60347 | 0 | LMAC | S/D TAKEN FOR REPLACEMENT OF DAMAGED CONDUCTOR CAUSED BY MISCREANTS.
[9 empty] | 2014-12-23 07:35 | 2014-12-23 19:14 | 0 | 0 | 0.48542 | 0 | LMAC | S/D TAKEN FOR REPLACEMENT OF DAMAGED CONDUCTOR DAMAGED BY MISCREANTS
[9 empty] | 2014-12-24 07:00 | 2014-12-24 20:04 | 0 | 0 | 0.54444 | 0 | LMAC | S/D TAKEN FOR REPLACEMENT OF DAMAGED CONDUCTOR DAMAGED BY MISCREANTS
|  | SUB TOTAL |  |  | -- | -- | -- | -- |  |  | 0 | 0 | 1900-01-01 02:20 | 0 |  |  | N/A | N/A | N/A |  | 100
77 | ER1T1 | 400/220kV ICT1 BIHARSHARIFF | 315 | ER1 | -- | -- | -- | -- | 2014-12-03 09:49 | 2014-12-03 17:03 | 0.30139 | 0 | 0 | 0 | OSPT | S/D TAKEN BY BSF FOR AMP WORK | N/A | N/A | N/A
[5 empty] | -- | -- | -- | -- |  |  | 0.30139 | 0 | 0 | 0 |  |  | N/A | N/A | N/A |  | 99
78 | ER1T2 | 400/220kV ICT2 BIHARSHARIFF | 315 | ER1 | -- | -- | -- | -- |  |  | 0 | 0 | 0 | 0 |  |  | N/A | N/A | N/A
[5 empty] | -- | -- | -- | -- |  |  | 0 | 0 | 0 | 0 |  |  | N/A | N/A | N/A |  | 100
79 | ER1T3 | 400/220kV ICT3 BIHARSHARIFF | 315 | ER1 | -- | -- | -- | -- |  |  | 0 | 0 | 0 | 0 |  |  | N/A | N/A | N/A
[5 empty] | -- | -- | -- | -- |  |  | 0 | 0 | 0 | 0 |  |  | N/A | N/A | N/A |  | 100
80 | ER1T4 | 400/220kV ICT1 JAMSHEDPUR | 315 | ER1 | -- | -- | -- | -- |  |  | 0 | 0 | 0 | 0 |  |  | N/A | N/A | N/A
[5 empty] | -- | -- | -- | -- |  |  | 0 | 0 | 0 | 0 |  |  | N/A | N/A | N/A |  | 100
81 | ER1T5 | 400/220kV ICT2 JAMSHEDPUR | 315 | ER1 | -- | -- | -- | -- | 2014-12-12 10:00 | 2014-12-12 17:51 | 0.32708 | 0 | 0 | 0 | OSPT | S/D TAKEN BY JSR FOR AMP WORK | N/A | N/A | N/A
[5 empty] | -- | -- | -- | -- |  |  | 0.32708 | 0 | 0 | 0 |  |  | N/A | N/A | N/A |  | 98.91
82 | ER1T6 | 400/220kV ICT1 NEW PURNEA | 315 | ER1 | -- | -- | -- | -- |  |  | 0 | 0 | 0 | 0 |  |  | N/A | N/A | N/A
[5 empty] | -- | -- | -- | -- |  |  | 0 | 0 | 0 | 0 |  |  | N/A | N/A | N/A |  | 100
83 | ER1T7 | 400/220kV ICT2 NEW PURNEA | 315 | ER1 | -- | -- | -- | -- |  |  | 0 | 0 | 0 | 0 |  |  | N/A | N/A | N/A
[5 empty] | -- | -- | -- | -- |  |  | 0 | 0 | 0 | 0 |  |  | N/A | N/A | N/A |  | 100
84 | ER1T8 | 400/220kV ICT1 SSRM | 315 | ER1 | -- | -- | -- | -- |  |  | 0 | 0 | 0 | 0 |  |  | N/A | N/A | N/A
[5 empty] | -- | -- | -- | -- |  |  | 0 | 0 | 0 | 0 |  |  | N/A | N/A | N/A |  | 100
85 | ER1T9 | 400/220kV ICT2 SSRM | 315 | ER1 | -- | -- | -- | -- |  |  | 0 | 0 | 0 | 0 |  |  | N/A | N/A | N/A
[5 empty] | -- | -- | -- | -- |  |  | 0 | 0 | 0 | 0 |  |  | N/A | N/A | N/A |  | 100
86 | ER1T10 | 400/220kV ICT1 MUZ | 315 | ER1 | -- | -- | -- | -- |  |  | 0 | 0 | 0 | 0 |  |  | N/A | N/A | N/A
[5 empty] | -- | -- | -- | -- |  |  | 0 | 0 | 0 | 0 |  |  | N/A | N/A | N/A |  | 100
87 | ER1T11 | 400/220kV ICT2 MUZ | 315 | ER1 | -- | -- | -- | -- |  |  | 0 | 0 | 0 | 0 |  |  | N/A | N/A | N/A
[5 empty] | -- | -- | -- | -- |  |  | 0 | 0 | 0 | 0 |  |  | N/A | N/A | N/A |  | 100
88 | ER1T12 | 400/220kV ICT1 PTN | 315 | ER1 | -- | -- | -- | -- |  |  | 0 | 0 | 0 | 0 |  |  | N/A | N/A | N/A
[5 empty] | -- | -- | -- | -- |  |  | 0 | 0 | 0 | 0 |  |  | N/A | N/A | N/A |  | 100
89 | ER1T13 | 400/220kV ICT2 PATNA | 315 | ER1 | -- | -- | -- | -- |  |  | 0 | 0 | 0 | 0 | OSPT |  | N/A | N/A | N/A
[5 empty] | -- | -- | -- | -- |  |  | 0 | 0 | 0 | 0 | OSPT |  | N/A | N/A | N/A
[5 empty] | -- | -- | -- | -- |  |  | 0 | 0 | 0 | 0 |  |  | N/A | N/A | N/A |  | 100
90 | ER1T14 | 400/220kV ICT1 RNC | 315 | ER1 | -- | -- | -- | -- |  |  | 0 | 0 | 0 | 0 |  |  | N/A | N/A | N/A
|  | Sub-Total= |  |  | -- | -- | -- | -- |  |  | 0 | 0 | 0 | 0 |  |  | N/A | N/A | N/A |  | 100
91 | ER1T15 | 400/220kV ICT2 RNC | 315 | ER1 | -- | -- | -- | -- | 2014-12-26 09:38 | 2015-01-01 | 1900-01-04 14:22 | 0 | 0 | 0 | OSPT | S/D TAKEN FOR AMP and 220 KV Y PH Bushing replacement due to tan delta voilation. | N/A | N/A | N/A
|  | Sub-Total= |  |  | -- | -- | -- | -- |  |  | 1900-01-04 14:22 | 0 | 0 | 0 |  |  | N/A | N/A | N/A |  | 81.33
92 | ER1T16 | 400/220kV ICT1 GAYA | 500 | ER1 | -- | -- | -- | -- |  |  | 0 | 0 | 0 | 0 |  |  | N/A | N/A | N/A
|  | Sub-Total= |  |  | -- | -- | -- | -- |  |  | 0 | 0 | 0 | 0 |  |  | N/A | N/A | N/A |  | 100
93 | ER1T17 | 400/220kV ICT2 GAYA | 315 | ER1 | -- | -- | -- | -- |  |  | 0 | 0 | 0 | 0 |  |  | N/A | N/A | N/A
|  | Sub-Total= |  |  | -- | -- | -- | -- |  |  | 0 | 0 | 0 | 0 |  |  | N/A | N/A | N/A |  | 100
94 | ER1T18 | 400/132kV ICT1 BANKA | 200 | ER1 | -- | -- | -- | -- |  |  | 0 | 0 | 0 | 0 |  |  | N/A | N/A | N/A
|  | Sub-Total= |  |  | -- | -- | -- | -- |  |  | 0 | 0 | 0 | 0 |  |  | N/A | N/A | N/A |  | 100
95 | ER1T19 | 400/132kV ICT 2 BANKA | 200 | ER1 | -- | -- | -- | -- |  |  | 0 | 0 | 0 | 0 |  |  | N/A | N/A | N/A
|  | Sub-Total= |  |  | -- | -- | -- | -- |  |  | 0 | 0 | 0 | 0 |  |  | N/A | N/A | N/A |  | 100
96 | ER1T20 | 765/400kV ICT1 GAYA | 1500 | ER1 | -- | -- | -- | -- |  |  | 0 | 0 | 0 | 0 |  |  | N/A | N/A | N/A
|  | Sub-Total= |  |  | -- | -- | -- | -- |  |  | 0 | 0 | 0 | 0 |  |  | N/A | N/A | N/A |  | 100
97 | ER1T21 | 765/400kV ICT2 GAYA | 1500 | ER1 | -- | -- | -- | -- |  |  | 0 | 0 | 0 | 0 |  |  | N/A | N/A | N/A
|  | Sub-Total= |  |  | -- | -- | -- | -- |  |  | 0 | 0 | 0 | 0 |  |  | N/A | N/A | N/A |  | 100
98 | ER1T22 | 765/400kV ICT3 GAYA | 1500 | ER1 | -- | -- | -- | -- |  |  | 0 | 0 | 0 | 0 |  |  | N/A | N/A | N/A
|  | Sub-Total= |  |  | -- | -- | -- | -- |  |  | 0 | 0 | 0 | 0 |  |  | N/A | N/A | N/A |  | 100
99 | ER1T23 | 220/132kV ICT1 PRN | 100 | ER1 | -- | -- | -- | -- | 2014-12-05 10:45 | 2014-12-05 16:49 | 0.25278 | 0 | 0 | 0 | OSFT | H/T TO ATTEND ABNORMAL SOUND IN ITS 132 KV SIDE B-PH CVT | N/A | N/A | N/A
|  | Sub-Total= |  |  | -- | -- | -- | -- |  |  | 0.25278 | 0 | 0 | 0 |  |  | N/A | N/A | N/A |  | 99.16
100 | ER1T24 | 220/132kV ICT2 PRN | 100 | ER1 | -- | -- | -- | -- |  |  | 0 | 0 | 0 | 0 |  |  | N/A | N/A | N/A
|  | Sub-Total= |  |  | -- | -- | -- | -- |  |  | 0 | 0 | 0 | 0 |  |  | N/A | N/A | N/A |  | 100
101 | ER1T25 | 220/132kV ICT3 PRN | 100 | ER1 | -- | -- | -- | -- | 2014-12-11 09:01 | 2014-12-11 17:33 | 0 | 0.35556 | 0 | 0 | OMSU | S/D TAKEN FOR ERECTION OF ERS TOWER FOR PARALLELING WORK OF 100 MVA ICT. | N/A | N/A | N/A
[9 empty] | 2014-12-12 09:34 | 2014-12-12 17:46 | 0 | 0.34167 | 0 | 0 | OMSU | S/D TAKEN FOR ERECTION OF ERS TOWER FOR PARALLELING WOK OF 100 MVA ICT AT PRN.
[9 empty] | 2014-12-22 09:50 | 2014-12-24 13:46 | 0 | 1900-01-01 03:56 | 0 | 0 | OMSU | S/D TAKEN FOR PARALLELING OF 100 MVA ICT WITH 160 MVA ICT -3 AT PRN.
|  | Sub-Total= |  |  | -- | -- | -- | -- |  |  | 0 | 1900-01-01 20:40 | 0 | 0 |  |  | N/A | N/A | N/A |  | 100
102 | ER1T26 | 220/132kV ICT1 ARRAH | 100 | ER1 | -- | -- | -- | -- |  |  | 0 | 0 | 0 | 0 |  |  | N/A | N/A | N/A
|  | Sub-Total= |  |  | -- | -- | -- | -- |  |  | 0 | 0 | 0 | 0 |  |  | N/A | N/A | N/A |  | 100
103 | ER1T27 | 220/132kV ICT2 ARRAH | 100 | ER1 | -- | -- | -- | -- |  |  | 0 | 0 | 0 | 0 |  |  | N/A | N/A | N/A
|  | Sub-Total= |  |  | -- | -- | -- | -- |  |  | 0 | 0 | 0 | 0 |  |  | N/A | N/A | N/A |  | 100
104 | ER1T28 | 765/400/220 kV ICT 1 SASARAM | 1500 | ER1 | -- | -- | -- | -- |  |  | 0 | 0 | 0 | 0 |  |  | N/A | N/A | N/A
|  | Sub-Total= |  |  | -- | -- | -- | -- |  |  | 0 | 0 | 0 | 0 |  |  | N/A | N/A | N/A |  | 100
105 | ER1T29 | 765/400kV ICT1 RANCHI(NEW) | 1500 | ER1 | -- | -- | -- | -- | 2014-12-11 03:23 | 2014-12-11 04:04 | 0 | 0 | 0.028472 | 0 | GOFC | TRIPPED ON OVER FLUXING | N/A | N/A | N/A
[5 empty] | -- | -- | -- | -- |  |  | 0 | 0 | 0.028472 | 0 |  |  | N/A | N/A | N/A |  | 100
106 | ER1T30 | 765/400kV ICT2 RANCHI(NEW) | 1500 | ER1 | -- | -- | -- | -- | 2014-12-11 03:23 | 2014-12-11 04:06 | 0 | 0 | 0.029861 | 0 | GOFC | TRIPPED ON OVER FLUXING | N/A | N/A | N/A
|  | SUB TOTAL |  |  | -- | -- | -- | -- |  |  | 0 | 0 | 0.029861 | 0 |  |  | N/A | N/A | N/A |  | 100
107 | ER1T31 | 400/132kV ICT1 LAKHISARAI | 200 | ER1 | -- | -- | -- | -- |  |  | 0 | 0 | 0 | 0 |  |  | N/A | N/A | N/A
|  | Sub-Total= |  |  | -- | -- | -- | -- |  |  | 0 | 0 | 0 | 0 |  |  | N/A | N/A | N/A |  | 100
108 | ER1T32 | 400/132kV ICT 2 LAKHISARAI | 200 | ER1 | -- | -- | -- | -- |  |  | 0 | 0 | 0 | 0 |  |  | N/A | N/A | N/A
|  | Sub-Total= |  |  | -- | -- | -- | -- |  |  | 0 | 0 | 0 | 0 |  |  | N/A | N/A | N/A |  | 100
109 | ER1T33 | 400/220kV ICT 2 CHAIBASA | 315 | ER1 | -- | -- | -- | -- |  |  | 0 | 0 | 0 | 0 |  |  | N/A | N/A | N/A
|  | Sub-Total= |  |  | -- | -- | -- | -- |  |  | 0 | 0 | 0 | 0 |  |  | N/A | N/A | N/A |  | 100
110 | ER1R1 | 50 MVAR B/R-1 AT BSF | 50 | ER1 | -- | -- | -- | -- |  |  | 0 | 0 | 0 | 0 |  |  | N/A | N/A | N/A
[5 empty] | -- | -- | -- | -- |  |  | 0 | 0 | 0 | 0 |  |  | N/A | N/A | N/A |  | 100
111 | ER1R2 | 50 MVAR B/R-1 AT JSR | 50 | ER1 | -- | -- | -- | -- | 2014-12-27 14:14 | 2014-12-27 15:22 | 0.047222 | 0 | 0 | 0 | OSPT | S/D TAKEN BY JSR FOR CT OIL SAMPLING WORK | N/A | N/A | N/A
|  | Sub-Total= |  |  | -- | -- | -- | -- |  |  | 0.047222 | 0 | 0 | 0 |  |  | N/A | N/A | N/A |  | 99.843
112 | ER1R3 | 50 MVAR BUS REACTOR-II, JAMSHEDPUR II | 50 | ER1 | -- | -- | -- | -- | 2014-12-26 09:41 | 2014-12-26 18:11 | 0.35417 | 0 | 0 | 0 | OSPT | S/D TAKEN FOR OIL SAMPLING AND AUTO SWEEP FREQUENCY MEASUREMENT. | N/A | N/A | N/A
|  | Sub-Total= |  |  | -- | -- | -- | -- |  |  | 0.35417 | 0 | 0 | 0 |  |  | N/A | N/A | N/A |  | 98.82
113 | ER1R4 | 400kV BUS REACTOR MUZAFFARPUR | 63 | ER1 | -- | -- | -- | -- | 2014-12-04 17:54 | 2014-12-05 21:20 | 0 | 0 | 0 | 1899-12-31 03:26 | SVRD | H/T FOR V/R AS PER ERLDC INSTRUCTION | N/A | N/A | N/A
[9 empty] | 2014-12-18 17:48 | 2014-12-20 01:08 | 0 | 0 | 0 | 1899-12-31 07:20 | SVRD | H/T FOR V/R AS PER ERLDC INSTRUCTION
[9 empty] | 2014-12-26 10:30 | 2014-12-27 20:34 | 0 | 0 | 0 | 1899-12-31 10:04 | SVRD | H/T FOR V/R AS PER ERLDC INSTRUCTION | N/A | N/A | N/A
[5 empty] | -- | -- | -- | -- |  |  | 0 | 0 | 0 | 1900-01-02 20:50 |  |  | N/A | N/A | N/A |  | 100
114 | ER1R5 | 80 MVAR B/R AT PTN | 80 | ER1 | -- | -- | -- | -- |  |  | 0 | 0 | 0 | 0 |  |  | N/A | N/A | N/A
|  | Sub-Total= |  |  | -- | -- | -- | -- |  |  | 0 | 0 | 0 | 0 |  |  | N/A | N/A | N/A |  | 100
115 | ER1R6 | 400kV BUS REACTOR RANCHI | 80 | ER1 | -- | -- | -- | -- | 2014-12-13 11:04 | 2014-12-13 16:33 | 0.22847 | 0 | 0 | 0 | OSPT | S/D TAKEN FOR AMP WORK. | N/A | N/A | N/A
|  | Sub-Total= |  |  | -- | -- | -- | -- |  |  | 0.22847 | 0 | 0 | 0 |  |  | N/A | N/A | N/A |  | 99.238
116 | ER1R7 | 80 MVAR B/R AT BSF | 80 | ER1 | -- | -- | -- | -- |  |  | 0 | 0 | 0 | 0 |  |  | N/A | N/A | N/A
|  | Sub-Total= |  |  | -- | -- | -- | -- |  |  | 0 | 0 | 0 | 0 |  |  | N/A | N/A | N/A |  | 100
117 | ER1R8 | 125 MVAR B/R - I AT NPRN | 125 | ER1 | -- | -- | -- | -- |  |  | 0 | 0 | 0 | 0 |  |  | N/A | N/A | N/A
|  | Sub-Total= |  |  | -- | -- | -- | -- |  |  | 0 | 0 | 0 | 0 |  |  | N/A | N/A | N/A |  | 100
118 | ER1R9 | 125 MVAR B/R - II AT NPRN | 125 | ER1 | -- | -- | -- | -- |  |  | 0 | 0 | 0 | 0 |  |  | N/A | N/A | N/A
|  | Sub-Total= |  |  | -- | -- | -- | -- |  |  | 0 | 0 | 0 | 0 |  |  | N/A | N/A | N/A |  | 100
119 | ER1R10 | 50 MVAR MTN RB-1 L/R AT RANCHI | 50 | ER1 | -- | -- | -- | -- |  |  | 0 | 0 | 0 | 0 |  |  | N/A | N/A | N/A
|  | Sub-Total= |  |  | -- | -- | -- | -- |  |  | 0 | 0 | 0 | 0 |  |  | N/A | N/A | N/A |  | 100
120 | ER1R11 | 50 MVAR MTN RB-2 L/R AT RANCHI | 50 | ER1 | -- | -- | -- | -- |  |  | 0 | 0 | 0 | 0 |  |  | N/A | N/A | N/A
|  | Sub-Total= |  |  | -- | -- | -- | -- |  |  | 0 | 0 | 0 | 0 |  |  | N/A | N/A | N/A |  | 100
121 | ER1R12 | 50 MVAR GAYA L/R AT BIHARSHARIF | 50 | ER1 | -- | -- | -- | -- |  |  | 0 | 0 | 0 | 0 |  |  | N/A | N/A | N/A
|  | Sub-Total= |  |  | -- | -- | -- | -- |  |  | 0 | 0 | 0 | 0 |  |  | N/A | N/A | N/A |  | 100
122 | ER1R13 | 50 MVAR SSRM-III L/R AT BIHARSHARIF | 50 | ER1 | -- | -- | -- | -- |  |  | 0 | 0 | 0 | 0 |  |  | N/A | N/A | N/A
|  | Sub-Total= |  |  | -- | -- | -- | -- |  |  | 0 | 0 | 0 | 0 |  |  | N/A | N/A | N/A |  | 100
123 | ER1R14 | 400kV BUS REACTOR-I, GAYA 125MVAR | 125 | ER1 | -- | -- | -- | -- | 2014-12-01 | 2014-12-03 11:47 | 0 | 0 | 0 | 1900-01-01 11:47 | SVRD | H/T FOR V/R AS PER ERLDC INSTRUCTION | N/A | N/A | N/A
[9 empty] | 2014-12-08 06:03 | 2014-12-08 23:22 | 0 | 0 | 0 | 0.72153 | SVRD | H/T FOR V/R AS PER ERLDC INSTRUCTION
[9 empty] | 2014-12-25 09:15 | 2014-12-25 23:37 | 0 | 0 | 0 | 0.59861 | SVRD | H/T FOR V/R AS PER ERLDC INSTRUCTION
[9 empty] | 2014-12-26 06:47 | 2014-12-26 19:33 | 0 | 0 | 0 | 0.53194 | SVRD | H/T FOR V/R AS PER ERLDC INSTRUCTION
[5 empty] | -- | -- | -- | -- |  |  | 0 | 0 | 0 | 1900-01-03 08:14 |  |  | N/A | N/A | N/A |  | 100
124 | ER1R15 | 400kV BUS REACTOR II,GAYA | 125 | ER1 | -- | -- | -- | -- | 2014-12-09 06:30 | 2014-12-15 23:31 | 0 | 0 | 0 | 1900-01-05 17:01 | SVRD | H/T FOR V/R AS PER ERLDC INSTRUCTION | N/A | N/A | N/A
[9 empty] | 2014-12-25 09:16 | 2014-12-26 20:02 | 0 | 0 | 0 | 1899-12-31 10:46 | SVRD | H/T FOR V/R AS PER ERLDC INSTRUCTION
[9 empty] | 2014-12-29 12:07 | 2015-01-01 | 0 | 0 | 0 | 1900-01-01 11:53 | SVRD | H/T FOR V/R AS PER ERLDC INSTRUCTION
|  | SUB TOTAL |  |  | -- | -- | -- | -- |  |  | 0 | 0 | 0 | 1900-01-09 15:40 |  |  | N/A | N/A | N/A |  | 100
125 | ER1R16 | 765kV BUS REACTOR II, GAYA | 240 | ER1 | -- | -- | -- | -- | 2014-12-15 17:16 | 2014-12-15 22:12 | 0 | 0 | 0 | 0.20556 | SVRD | H/T FOR V/R AS PER ERLDC INSTRUCTION | N/A | N/A | N/A
[9 empty] | 2014-12-16 06:54 | 2014-12-16 23:03 | 0 | 0 | 0 | 0.67292 | SVRD | H/T FOR V/R AS PER ERLDC INSTRUCTION
[9 empty] | 2014-12-17 06:20 | 2014-12-25 21:56 | 0 | 0 | 0 | 1900-01-07 15:36 | SVRD | H/T FOR V/R AS PER ERLDC INSTRUCTION
[9 empty] | 2014-12-25 22:08 | 2014-12-28 02:55 | 0 | 0 | 0 | 1900-01-01 04:47 | SVRD | H/T FOR V/R AS PER ERLDC INSTRUCTION
[5 empty] | -- | -- | -- | -- |  |  | 0 | 0 | 0 | 1900-01-10 17:28 |  |  | N/A | N/A | N/A |  | 100
126 | ER1R17 | 765kV BUS REACTOR1-GAYA | 240 | ER1 | -- | -- | -- | -- | 2014-12-03 11:35 | 2014-12-07 23:11 | 0 | 0 | 0 | 1900-01-03 11:36 | SVRD | H/T FOR V/R AS PER ERLDC INSTRUCTION | N/A | N/A | N/A
[9 empty] | 2014-12-23 09:15 | 2014-12-23 21:54 | 0 | 0 | 0 | 0.52708 | SVRD | H/T FOR V/R AS PER ERLDC INSTRUCTION
[9 empty] | 2014-12-24 07:53 | 2014-12-28 01:01 | 0 | 0 | 0 | 1900-01-02 17:08 | SVRD | H/T FOR V/R AS PER ERLDC INSTRUCTION
|  | SUB TOTAL |  |  | -- | -- | -- | -- |  |  | 0 | 0 | 0 | 1900-01-07 17:23 |  |  | N/A | N/A | N/A |  | 100
127 | ER1R18 | 125 MVAR B/R - I AT PSL | 125 | ER1 | -- | -- | -- | -- | 2014-12-04 17:29 | 2014-12-05 21:34 | 0 | 0 | 0 | 1899-12-31 04:05 | SVRD | H/T FOR V/R AS PER ERLDC INSTRUCTION | N/A | N/A | N/A
[9 empty] | 2014-12-13 08:46 | 2014-12-16 00:15 | 0 | 0 | 0 | 1900-01-01 15:29 | SVRD | H/T FOR V/R AS PER ERLDC INSTRUCTION
[9 empty] | 2014-12-16 07:14 | 2014-12-16 23:19 | 0 | 0 | 0 | 0.67014 | SVRD | H/T FOR V/R AS PER ERLDC INSTRUCTION
[9 empty] | 2014-12-17 06:51 | 2014-12-24 21:42 | 0 | 0 | 0 | 1900-01-06 14:51 | SVRD | H/T FOR V/R AS PER ERLDC INSTRUCTION
[9 empty] | 2014-12-27 10:18 | 2014-12-28 00:36 | 0 | 0 | 0 | 0.59583 | SVRD | H/T FOR V/R AS PER ERLDC INSTRUCTION
[9 empty] | 2014-12-30 10:30 | 2015-01-01 | 0 | 0 | 0 | 1899-12-31 13:30 | SVRD | H/T FOR V/R AS PER ERLDC INSTRUCTION
[5 empty] | -- | -- | -- | -- |  |  | 0 | 0 | 0 | 1900-01-13 06:18 |  |  | N/A | N/A | N/A |  | 100
128 | ER1R19 | 125 MVAR B/R - II AT PSL | 125 | ER1 | -- | -- | -- | -- | 2014-12-01 | 2014-12-05 01:52 | 0 | 0 | 0 | 1900-01-03 01:52 | SVRD | H/T FOR V/R AS PER ERLDC INSTRUCTION | N/A | N/A | N/A
[9 empty] | 2014-12-13 10:59 | 2014-12-15 22:42 | 0 | 0 | 0 | 1900-01-01 11:43 | SVRD | H/T FOR V/R AS PER ERLDC INSTRUCTION
[9 empty] | 2014-12-16 07:15 | 2014-12-21 00:13 | 0 | 0 | 0 | 1900-01-03 16:58 | SVRD | H/T FOR V/R AS PER ERLDC INSTRUCTION
[9 empty] | 2014-12-22 10:39 | 2014-12-29 00:04 | 0 | 0 | 0 | 1900-01-05 13:25 | SVRD | H/T FOR V/R AS PER ERLDC INSTRUCTION
[5 empty] | -- | -- | -- | -- |  |  | 0 | 0 | 0 | 1900-01-16 19:58 |  |  | N/A | N/A | N/A |  | 100
129 | ER1R20 | 63 MVAR GKP - I L/R AT MUZ | 63 | ER1 | -- | -- | -- | -- |  |  | 0 | 0 | 0 | 0 |  |  | N/A | N/A | N/A
|  | Sub-Total= |  |  | -- | -- | -- | -- |  |  | 0 | 0 | 0 | 0 |  |  | N/A | N/A | N/A |  | 100
130 | ER1R21 | 63 MVAR GKP - II L/R AT MUZ | 63 | ER1 | -- | -- | -- | -- |  |  | 0 | 0 | 0 | 0 |  |  | N/A | N/A | N/A
|  | Sub-Total= |  |  | -- | -- | -- | -- |  |  | 0 | 0 | 0 | 0 |  |  | N/A | N/A | N/A |  | 100
131 | ER1R22 | 63 MVAR NPRN - I L/R AT MUZ | 63 | ER1 | -- | -- | -- | -- |  |  | 0 | 0 | 0 | 0 |  |  | N/A | N/A | N/A
|  | Sub-Total= |  |  | -- | -- | -- | -- |  |  | 0 | 0 | 0 | 0 |  |  | N/A | N/A | N/A |  | 100
132 | ER1R23 | 63 MVAR NPRN - II L/R AT MUZ | 63 | ER1 | -- | -- | -- | -- |  |  | 0 | 0 | 0 | 0 |  |  | N/A | N/A | N/A
|  | Sub-Total= |  |  | -- | -- | -- | -- |  |  | 0 | 0 | 0 | 0 |  |  | N/A | N/A | N/A |  | 100
133 | ER1R24 | 63 MVAR MUZ - I L/R AT NPRN | 63 | ER1 | -- | -- | -- | -- |  |  | 0 | 0 | 0 | 0 |  |  | N/A | N/A | N/A
|  | Sub-Total= |  |  | -- | -- | -- | -- |  |  | 0 | 0 | 0 | 0 |  |  | N/A | N/A | N/A |  | 100
134 | ER1R25 | 63 MVAR MUZ- II L/R AT NPRN | 63 | ER1 | -- | -- | -- | -- |  |  | 0 | 0 | 0 | 0 |  |  | N/A | N/A | N/A
|  | Sub-Total= |  |  | -- | -- | -- | -- |  |  | 0 | 0 | 0 | 0 |  |  | N/A | N/A | N/A |  | 100
135 | ER1R26 | 63 MVAR BSF- I L/R AT PSL | 63 | ER1 | -- | -- | -- | -- |  |  | 0 | 0 | 0 | 0 |  |  | N/A | N/A | N/A
|  | Sub-Total= |  |  | -- | -- | -- | -- |  |  | 0 | 0 | 0 | 0 |  |  | N/A | N/A | N/A |  | 100
136 | ER1R27 | 63 MVAR BSF- II L/R AT PSL | 63 | ER1 | -- | -- | -- | -- |  |  | 0 | 0 | 0 | 0 |  |  | N/A | N/A | N/A
|  | Sub-Total= |  |  | -- | -- | -- | -- |  |  | 0 | 0 | 0 | 0 |  |  | N/A | N/A | N/A |  | 100
137 | ER1R28 | 50 MVAR BSF- III L/R AT PSL | 50 | ER1 | -- | -- | -- | -- |  |  | 0 | 0 | 0 | 0 |  |  | N/A | N/A | N/A
|  | Sub-Total= |  |  | -- | -- | -- | -- |  |  | 0 | 0 | 0 | 0 |  |  | N/A | N/A | N/A |  | 100
138 | ER1R29 | 50 MVAR BALIA L/R AT PSL | 500 | ER1 | -- | -- | -- | -- |  |  | 0 | 0 | 0 | 0 |  |  | N/A | N/A | N/A
|  | Sub-Total= |  |  | -- | -- | -- | -- |  |  | 0 | 0 | 0 | 0 |  |  | N/A | N/A | N/A |  | 100
139 | ER1R30 | 63 MVAR ALLAHABAD-1 L/R AT PSL | 63 | ER1 | -- | -- | -- | -- |  |  | 0 | 0 | 0 | 0 |  |  | N/A | N/A | N/A
|  | Sub-Total= |  |  | -- | -- | -- | -- |  |  | 0 | 0 | 0 | 0 |  |  | N/A | N/A | N/A |  | 100
140 | ER1R31 | 63 MVAR SARNATH-1 L/R AT PSL | 63 | ER1 | -- | -- | -- | -- |  |  | 0 | 0 | 0 | 0 |  |  | N/A | N/A | N/A
|  | Sub-Total= |  |  | -- | -- | -- | -- |  |  | 0 | 0 | 0 | 0 |  |  | N/A | N/A | N/A |  | 100
141 | ER1R32 | 50 MVAR B/R - I AT GAYA | 50 | ER1 | -- | -- | -- | -- |  |  | 0 | 0 | 0 | 0 |  |  | N/A | N/A | N/A
|  | Sub-Total= |  |  | -- | -- | -- | -- |  |  | 0 | 0 | 0 | 0 |  |  | N/A | N/A | N/A |  | 100
142 | ER1R33 | 50 MVAR B/R - II AT GAYA | 50 | ER1 | -- | -- | -- | -- |  |  | 0 | 0 | 0 | 0 |  |  | N/A | N/A | N/A
|  | Sub-Total= |  |  | -- | -- | -- | -- |  |  | 0 | 0 | 0 | 0 |  |  | N/A | N/A | N/A |  | 100
143 | ER1R34 | 50 MVAR L/R - I AT BANKA | 50 | ER1 | -- | -- | -- | -- |  |  | 0 | 0 | 0 | 0 |  |  | N/A | N/A | N/A
|  | Sub-Total= |  |  | -- | -- | -- | -- |  |  | 0 | 0 | 0 | 0 |  |  | N/A | N/A | N/A |  | 100
144 | ER1R35 | 50 MVAR L/R - 2 AT BANKA | 50 | ER1 | -- | -- | -- | -- |  |  | 0 | 0 | 0 | 0 |  |  | N/A | N/A | N/A
|  | Sub-Total= |  |  | -- | -- | -- | -- |  |  | 0 | 0 | 0 | 0 |  |  | N/A | N/A | N/A |  | 100
145 | ER1R36 | 80 MVAR B/R - 1 AT BANKA | 80 | ER1 | -- | -- | -- | -- |  |  | 0 | 0 | 0 | 0 |  |  | N/A | N/A | N/A
|  | Sub-Total= |  |  | -- | -- | -- | -- |  |  | 0 | 0 | 0 | 0 |  |  | N/A | N/A | N/A |  | 100
146 | ER1R37 | 3*110 MVAR 1 PH B/R - I AT SASARAM | 330 | ER1 | -- | -- | -- | -- | 2014-12-21 09:06 | 2014-12-23 02:01 | 0 | 0 | 0 | 1899-12-31 16:55 | SVRD | H/T FOR V/R AS PER ERLDC INSTRUCTION | N/A | N/A | N/A
[9 empty] | 2014-12-23 09:17 | 2014-12-23 21:11 | 0 | 0 | 0 | 0.49583 | SVRD | H/T FOR V/R AS PER ERLDC INSTRUCTION
[9 empty] | 2014-12-24 07:32 | 2014-12-24 21:31 | 0 | 0 | 0 | 0.58264 | SVRD | H/T FOR V/R AS PER ERLDC INSTRUCTION
[9 empty] | 2014-12-25 09:39 | 2014-12-26 00:31 | 0 | 0 | 0 | 0.61944 | SVRD | H/T FOR V/R AS PER ERLDC INSTRUCTION
[9 empty] | 2014-12-27 08:42 | 2015-01-01 | 0 | 0 | 0 | 1900-01-03 15:18 | SVRD | H/T FOR V/R AS PER ERLDC INSTRUCTION
[5 empty] | -- | -- | -- | -- |  |  | 0 | 0 | 0 | 1900-01-07 00:58 |  |  | N/A | N/A | N/A |  | 100
147 | ER1R38 | 3*110 MVAR 1 PH L/R - I AT SASARAM (AS B/R) | 330 | ER1 | -- | -- | -- | -- |  |  | 0 | 0 | 0 | 0 |  |  | N/A | N/A | N/A
|  | Sub-Total= |  |  | -- | -- | -- | -- |  |  | 0 | 0 | 0 | 0 |  |  | N/A | N/A | N/A |  | 100
148 | ER1R39 | 125 MVAR BUS REACTOR-1 RANCHI | 125 | ER1 | -- | -- | -- | -- |  |  | 0 | 0 | 0 | 0 |  |  | N/A | N/A | N/A
|  | Sub-Total= |  |  | -- | -- | -- | -- |  |  | 0 | 0 | 0 | 0 |  |  | N/A | N/A | N/A |  | 100
149 | ER1R40 | 125 MVAR BUS REACTOR-1 PATNA | 125 | ER1 | -- | -- | -- | -- |  |  | 0 | 0 | 0 | 0 |  |  | N/A | N/A | N/A
|  | Sub-Total= |  |  | -- | -- | -- | -- |  |  | 0 | 0 | 0 | 0 |  |  | N/A | N/A | N/A |  | 100
150 | ER1R41 | 80 MVAR PURNEA-1 L/R at Biharsharif | 80 | ER1 | -- | -- | -- | -- |  |  | 0 | 0 | 0 | 0 |  |  | N/A | N/A | N/A
|  | Sub-Total= |  |  | -- | -- | -- | -- |  |  | 0 | 0 | 0 | 0 |  |  | N/A | N/A | N/A |  | 100
151 | ER1R42 | 80 MVAR PURNEA-2 L/R at Biharsharif | 80 | ER1 | -- | -- | -- | -- |  |  | 0 | 0 | 0 | 0 |  |  | N/A | N/A | N/A
|  | Sub-Total= |  |  | -- | -- | -- | -- |  |  | 0 | 0 | 0 | 0 |  |  | N/A | N/A | N/A |  | 100
152 | ER1R43 | 125 MVAR BUS REACTOR-2 PATNA | 125 | ER1 | -- | -- | -- | -- |  |  | 0 | 0 | 0 | 0 |  |  | N/A | N/A | N/A
[5 empty] | -- | -- | -- | -- |  |  | 0 | 0 | 0 | 0 |  |  | N/A | N/A | N/A |  | 100
153 | ER1R44 | 125 MVAR BUS REACTOR-1 NEW RANCHI | 125 | ER1 | -- | -- | -- | -- | 2014-12-09 10:05 | 2014-12-09 19:28 | 0 | 0 | 0 | 0.39097 | SCSD | S/D TAKEN FOR CSD COMMISSIONING WORK. | N/A | N/A | N/A
[9 empty] | 2014-12-10 10:35 | 2014-12-11 16:24 | 0 | 0 | 0 | 1899-12-31 05:49 | SCSD | S/D TAKEN FOR CSD COMMISSIONING WORK.
[9 empty] | 2014-12-23 09:30 | 2014-12-25 00:27 | 0 | 0 | 0 | 1899-12-31 14:57 | SVRD | H/T FOR V/R AS PER ERLDC INSTRUCTION
|  | Sub-Total= |  |  | -- | -- | -- | -- |  |  | 0 | 0 | 0 | 1900-01-02 06:09 |  |  | N/A | N/A | N/A |  | 100
154 | ER1R45 | 125 MVAR BUS REACTOR-2 NEW RANCHI | 125 | ER1 | -- | -- | -- | -- | 2014-12-06 09:48 | 2014-12-06 20:01 | 0 | 0 | 0 | 0.42569 | SCSD | S/D TAKEN FOR CSD COMMISSIONING WORK. | N/A | N/A | N/A
|  | Sub-Total= |  |  | -- | -- | -- | -- |  |  | 0 | 0 | 0 | 0.42569 |  |  | N/A | N/A | N/A |  | 100
155 | ER1R46 | 3*80MVAR 1 PH L/R - I AT NEW RANCHI | 240 | ER1 | -- | -- | -- | -- |  |  | 0 | 0 | 0 | 0 |  |  | N/A | N/A | N/A
|  | Sub-Total= |  |  | -- | -- | -- | -- |  |  | 0 | 0 | 0 | 0 |  |  | N/A | N/A | N/A |  | 100
156 | ER1R47 | 765kV BUS REACTOR II,RANCHI(NEW) | 240 | ER1 | -- | -- | -- | -- |  |  | 0 | 0 | 0 | 0 |  |  | N/A | N/A | N/A
[5 empty] | -- | -- | -- | -- |  |  | 0 | 0 | 0 | 0 |  |  | N/A | N/A | N/A |  | 100
157 | ER1R48 | 80 MVAR B/R - 1 AT LAKHISARAI | 80 | ER1 | -- | -- | -- | -- |  |  | 0 | 0 | 0 | 0 |  |  | N/A | N/A | N/A
|  | Sub-Total= |  |  | -- | -- | -- | -- |  |  | 0 | 0 | 0 | 0 |  |  | N/A | N/A | N/A |  | 100
158 | ER1R49 | 3*80MVAR 1 PH B/R - I AT NEW RANCHI | 240 | ER1 | -- | -- | -- | -- |  |  | 0 | 0 | 0 | 0 |  |  | N/A | N/A | N/A
|  | Sub-Total= |  |  | -- | -- | -- | -- |  |  | 0 | 0 | 0 | 0 |  |  | N/A | N/A | N/A |  | 100
159 | ER1R50 | 63MVAR KISHANGANJ LR-I AS BR AT PATNA | 63 | ER1 | -- | -- | -- | -- |  |  | 0 | 0 | 0 | 0 |  |  | N/A | N/A | N/A
[5 empty] | -- | -- | -- | -- |  |  | 0 | 0 | 0 | 0 |  |  | N/A | N/A | N/A |  | 100
160 | ER1R50 | 63MVAR KISHANGANJ LR-II AS BR AT PATNA | 63 | ER1 | -- | -- | -- | -- |  |  | 0 | 0 | 0 | 0 |  |  | N/A | N/A | N/A
[5 empty] | -- | -- | -- | -- |  |  | 0 | 0 | 0 | 0 |  |  | N/A | N/A | N/A |  | 100
Formulas:
ISTS Licensee = IF(RIGHT(P10)="T",(+[DATE & TIME]-[DATE & TIME]),0)
ISTS Licensee = SUM([ISTS Licensee, row above]:[ISTS Licensee, row above])
OTHERS = IF(RIGHT(P10)="U",(+[DATE & TIME]-[DATE & TIME]),0)
OTHERS = SUM([OTHERS, row above]:[OTHERS, row above])
System constr/Natural calmity/Militancy = IF(RIGHT(P10)="C",(+[DATE & TIME]-[DATE & TIME]),0)
System constr/Natural calmity/Militancy = SUM([System constr/Natural calmity/Militancy, row above]:[System constr/Natural calmity/Militancy, row above])
Deemed Available = IF(RIGHT(P10)="D",(+[DATE & TIME]-[DATE & TIME]),0)
Deemed Available = SUM([Deemed Available, row above]:[Deemed Available, row above])