## April 21
Standard of Performance data for the month of April'2021
Name of Transmission Licensee : POWERGRID MITHILANCHAL TRANSMISSION LIMITED
'ANNEXURE - A
Sr.No. | Unique ID of transmission Element | Element Name | Description (Length/Nos./MVA/MVAr/MW/etc.) | Region | Type of failure | DETAILS OF OUTAGE |  | Total outage in days (1) | OUTAGE |  | RESTORATION |  |  | DURATION OF OUTAGE ATTRIBUTABLE TO (in Hrs) |  |  |  | Category | Restoration Time as per Regulation 5(b) (2) | Whether Restoration Time more than normative (Y/N) | Difference between Actual and Norm 1-2 | Detailed Reason(s) for Outage | Outage Certifying Agency and Reference Document | % Availability as certified by certifying agency
[6 empty] | No. of Tower damaged | No.of insulators failed |  | DATE | TIME | DATE | TIME | TOTAL | ISTS Licensee | OTHERS | System constraint/ Natural calmity/ Militancy | Deemed Available
1 | PMTLL1 | 400kV CHANDAUTI-GAYA-I (LILO PORTION) | 1.7 | ER1 | -- | -- | -- | -- | [5 empty] | 0 | 0 | 0 | 0 | [5 empty] | ERPC | 100
| TOTAL | [12 empty] | 0 | 0 | 0 | 0
2 | PMTLL2 | 400kV CHANDAUTI-GAYA-II (LILO PORTION) | 40 | ER1 | -- | -- | -- | -- | [5 empty] | 0 | 0 | 0 | 0 | [5 empty] | ERPC | 100
| TOTAL | [12 empty] | 0 | 0 | 0 | 0
3 | PMTLL3 | 400KV CHANDAUTI-NABINAGAR-I (LILO PORTION) | 17 | ER1 | -- | -- | -- | -- | [5 empty] | 0 | 0 | 0 | 0 | [5 empty] | ERPC | 100
| TOTAL | [12 empty] | 0 | 0 | 0 | 0
4 | PMTLL4 | 400KV CHANDAUTI-NABINAGAR-II (LILO PORTION) | 62 | ER1 | -- | -- | -- | -- | [5 empty] | 0 | 0 | 0 | 0 | [5 empty] | ERPC | 100
| TOTAL | [12 empty] | 0 | 0 | 0 | 0
5 | PMTLL5 | 400kV SITAMARHI-DARBHANGA-I | 29 | ER1 | -- | -- | -- | -- | [5 empty] | 0 | 0 | 0 | 0 | [5 empty] | ERPC | 100
| TOTAL | [12 empty] | 0 | 0 | 0 | 0
6 | PMTLL6 | 400kV SITAMARHI-DARBHANGA-II | 13 | ER1 | -- | -- | -- | -- | [5 empty] | 0 | 0 | 0 | 0 | [5 empty] | ERPC | 100
| TOTAL | [12 empty] | 0 | 0 | 0 | 0
7 | PMTLL7 | 400kV SITAMARHI-MOTIHARI-I | 11 | ER1 | -- | -- | -- | -- | 2021-04-20 | 11:02 | 2021-04-20 | 20:04 | 9.0333 | 0 | 0 | 0 | 9.0333 | OSPD |  |  |  | S/D TAKEN BY BSPTCL FOR DIAMOND CROSSING OF U/C 132KV SITAMARHI(PG)-RUNNISAIDPUR LINE | ERPC | 100
| TOTAL | [12 empty] | 0 | 0 | 0 | 9.0333
8 | PMTLL8 | 400kV SITAMARHI-MOTIHARI-II | 1.7 | ER1 | -- | -- | -- | -- | 2021-04-20 | 11:05 | 2021-04-20 | 20:05 | 9 | 0 | 0 | 0 | 9 | OSPD |  |  |  | S/D TAKEN BY BSPTCL FOR DIAMOND CROSSING OF U/C 132KV SITAMARHI(PG)-RUNNISAIDPUR LINE | ERPC | 100
| TOTAL | [12 empty] | 0 | 0 | 0 | 9
9 | PMTLT1 | 400/220kV ICT-I at CHANDAUTI SS | 315 | ER1 | -- | -- | -- | -- | [5 empty] | 0 | 0 | 0 | 0 | [5 empty] | ERPC | 100
| TOTAL | [12 empty] | 0 | 0 | 0 | 0
10 | PMTLT2 | 400/220kV ICT-II at CHANDAUTI SS | 315 | ER1 | -- | -- | -- | -- | [5 empty] | 0 | 0 | 0 | 0 | [5 empty] | ERPC | 100
| TOTAL | [12 empty] | 0 | 0 | 0 | 0
11 | PMTLT3 | 400/220kV ICT-III at CHANDAUTI SS | 315 | ER1 | -- | -- | -- | -- | [5 empty] | 0 | 0 | 0 | 0 | [5 empty] | ERPC | 100
| TOTAL | [12 empty] | 0 | 0 | 0 | 0
12 | PMTLT4 | 400/220kV ICT-I at SITAMARHI SS | 500 | ER1 | -- | -- | -- | -- | [5 empty] | 0 | 0 | 0 | 0 | [5 empty] | ERPC | 100
| TOTAL | [12 empty] | 0 | 0 | 0 | 0
13 | PMTLT5 | 400/220kV ICT-II at SITAMARHI SS | 315 | ER1 | -- | -- | -- | -- | [5 empty] | 0 | 0 | 0 | 0 | [5 empty] | ERPC | 100
| TOTAL | [12 empty] | 0 | 0 | 0 | 0
14 | PMTLT6 | 220/132kV ICT-I at CHANDAUTI SS | 315 | ER1 | -- | -- | -- | -- | [5 empty] | 0 | 0 | 0 | 0 | [5 empty] | ERPC | 100
| TOTAL | [12 empty] | 0 | 0 | 0 | 0
15 | PMTLT7 | 220/132kV ICT-II at CHANDAUTI SS | 500 | ER1 | -- | -- | -- | -- | [5 empty] | 0 | 0 | 0 | 0 | [5 empty] | ERPC | 100
| TOTAL | [12 empty] | 0 | 0 | 0 | 0
16 | PMTLT8 | 220/132kV ICT-III at CHANDAUTI SS | 315 | ER1 | -- | -- | -- | -- | [5 empty] | 0 | 0 | 0 | 0 | [5 empty] | ERPC | 100
| TOTAL | [12 empty] | 0 | 0 | 0 | 0
17 | PMTLT9 | 220/132kV ICT-I at SITAMARHI SS | 500 | ER1 | -- | -- | -- | -- | [5 empty] | 0 | 0 | 0 | 0 | [5 empty] | ERPC | 100
| TOTAL | [12 empty] | 0 | 0 | 0 | 0
18 | PMTLT10 | 220/132kV ICT-II at SITAMARHI SS | 500 | ER1 | -- | -- | -- | -- | [5 empty] | 0 | 0 | 0 | 0 | [5 empty] | ERPC | 100
| TOTAL | [12 empty] | 0 | 0 | 0 | 0
19 | PMTLR1 | 125MVAR BR-I at CHANDAUTI SS | 50 | ER1 | -- | -- | -- | -- | [5 empty] | 0 | 0 | 0 | 0 | [5 empty] | ERPC | 100
| TOTAL | [12 empty] | 0 | 0 | 0 | 0
20 | PMTLR2 | 125MVAR BR-II at CHANDAUTI SS | 50 | ER1 | -- | -- | -- | -- | [5 empty] | 0 | 0 | 0 | 0 | [5 empty] | ERPC | 100
| TOTAL | [12 empty] | 0 | 0 | 0 | 0
21 | PMTLR3 | 125MVAR BR-I at SITAMARHI SS | 50 | ER1 | -- | -- | -- | -- | [5 empty] | 0 | 0 | 0 | 0 | [5 empty] | ERPC | 100
| TOTAL | [12 empty] | 0 | 0 | 0 | 0
22 | PMTLR4 | 125MVAR BR-II at SITAMARHI SS | 63 | ER1 | -- | -- | -- | -- | [5 empty] | 0 | 0 | 0 | 0 | [5 empty] | ERPC | 100
| TOTAL | [12 empty] | 0 | 0 | 0 | 0

## May 21
Standard of Performance data for the month of May'2021
Name of Transmission Licensee : POWERGRID MITHILANCHAL TRANSMISSION LIMITED
'ANNEXURE - A
Sr.No. | Unique ID of transmission Element | Element Name | Description (Length/Nos./MVA/MVAr/MW/etc.) | Region | Type of failure | DETAILS OF OUTAGE |  | Total outage in days (1) | OUTAGE |  | RESTORATION |  |  | DURATION OF OUTAGE ATTRIBUTABLE TO (in Hrs) |  |  |  | Category | Restoration Time as per Regulation 5(b) (2) | Whether Restoration Time more than normative (Y/N) | Difference between Actual and Norm 1-2 | Detailed Reason(s) for Outage | Outage Certifying Agency and Reference Document | % Availability as certified by certifying agency
[6 empty] | No. of Tower damaged | No.of insulators failed |  | DATE | TIME | DATE | TIME | TOTAL | ISTS Licensee | OTHERS | System constraint/ Natural calmity/ Militancy | Deemed Available
1 | PMTLL1 | 400kV CHANDAUTI-GAYA-I (LILO PORTION) | 1.7 | ER1 | -- | -- | -- | -- | 2021-05-07 | 9:26 | 2021-05-07 | 17:44 | 8.3 | 0 | 0 | 0 | 8.3 | LCSD |  |  |  | S/D TAKEN FOR REMOVAL OF WAVE TRAP FROM TWO PHASE OF THE LINE AT GAYA END UNDER CONSTRUCTION HEAD. | ERPC | 100
| TOTAL | [12 empty] | 0 | 0 | 0 | 8.3
2 | PMTLL2 | 400kV CHANDAUTI-GAYA-II (LILO PORTION) | 40 | ER1 | -- | -- | -- | -- | 2021-05-08 | 9:25 | 2021-05-08 | 17:19 | 7.9 | 0 | 0 | 0 | 7.9 | LCSD |  |  |  | S/D TAKEN FOR REMOVAL OF WAVE TRAP FROM TWO PHASE OF THE LINE AT GAYA END UNDER CONSTRUCTION HEAD. | ERPC | 100
| TOTAL | [12 empty] | 0 | 0 | 0 | 7.9
3 | PMTLL3 | 400KV CHANDAUTI-NABINAGAR-I (LILO PORTION) | 17 | ER1 | -- | -- | -- | -- | 2021-05-05 | 13:30 | 2021-05-05 | 15:50 | 2.3333 | 0 | 0 | 2.3333 | 0 | LNCC |  |  |  | TRIPPED DUE TO R-N FAULT DUE THUNDERSTORM & RAIN . CHANDAUTI SITE DETAILS-M1-F.D.=2.05 KM,F.C.=21 KAMP.M2-F.D.=2.08 KM,F.C.=20.2 KAMP. | ERPC | 100
[9 empty] | 2021-05-24 | 10:09 | 2021-05-24 | 15:47 | 5.6333 | 0 | 0 | 0 | 5.6333 | OSPD |  |  |  | S/D TAKEN BY POWERGRID FOR REPLACEMENT OF DECAPPED INSULATOR STRINGAT TOWER LOCATION 202.
| TOTAL | [12 empty] | 0 | 0 | 2.3333 | 5.6333
4 | PMTLL4 | 400KV CHANDAUTI-NABINAGAR-II (LILO PORTION) | 62 | ER1 | -- | -- | -- | -- | [5 empty] | 0 | 0 | 0 | 0 | [5 empty] | ERPC | 100
| TOTAL | [12 empty] | 0 | 0 | 0 | 0
5 | PMTLL5 | 400kV SITAMARHI-DARBHANGA-I | 29 | ER1 | -- | -- | -- | -- | [5 empty] | 0 | 0 | 0 | 0 | [5 empty] | ERPC | 100
| TOTAL | [12 empty] | 0 | 0 | 0 | 0
6 | PMTLL6 | 400kV SITAMARHI-DARBHANGA-II | 13 | ER1 | -- | -- | -- | -- | [5 empty] | 0 | 0 | 0 | 0 | [5 empty] | ERPC | 100
| TOTAL | [12 empty] | 0 | 0 | 0 | 0
7 | PMTLL7 | 400kV SITAMARHI-MOTIHARI-I | 11 | ER1 | -- | -- | -- | -- | 2021-05-07 | 8:19 | 2021-05-07 | 8:19 | 0 | 0 | 0 | 0 | 0 | LART |  |  |  | A/R SUCCESSFUL FROM BOTH END DUE TO R-N FAULT . SITAMARHI END DETAILS: M1:FD=3.2KM, FC=9.39KA . M2: FD=3.038KM,FC= 10.26KA. MOTIHARI END DETAILS: FD=75.7KM, FC=NA. TOTAL LL:85.693KM | ERPC | 100
| TOTAL | [12 empty] | 0 | 0 | 0 | 0
8 | PMTLL8 | 400kV SITAMARHI-MOTIHARI-II | 1.7 | ER1 | -- | -- | -- | -- | [5 empty] | 0 | 0 | 0 | 0 | [5 empty] | ERPC | 100
| TOTAL | [12 empty] | 0 | 0 | 0 | 0
9 | PMTLT1 | 400/220kV ICT-I at CHANDAUTI SS | 315 | ER1 | -- | -- | -- | -- | [5 empty] | 0 | 0 | 0 | 0 | [5 empty] | ERPC | 100
| TOTAL | [12 empty] | 0 | 0 | 0 | 0
10 | PMTLT2 | 400/220kV ICT-II at CHANDAUTI SS | 315 | ER1 | -- | -- | -- | -- | [5 empty] | 0 | 0 | 0 | 0 | [5 empty] | ERPC | 100
| TOTAL | [12 empty] | 0 | 0 | 0 | 0
11 | PMTLT3 | 400/220kV ICT-III at CHANDAUTI SS | 315 | ER1 | -- | -- | -- | -- | [5 empty] | 0 | 0 | 0 | 0 | [5 empty] | ERPC | 100
| TOTAL | [12 empty] | 0 | 0 | 0 | 0
12 | PMTLT4 | 400/220kV ICT-I at SITAMARHI SS | 500 | ER1 | -- | -- | -- | -- | [5 empty] | 0 | 0 | 0 | 0 | [5 empty] | ERPC | 100
| TOTAL | [12 empty] | 0 | 0 | 0 | 0
13 | PMTLT5 | 400/220kV ICT-II at SITAMARHI SS | 315 | ER1 | -- | -- | -- | -- | [5 empty] | 0 | 0 | 0 | 0 | [5 empty] | ERPC | 100
| TOTAL | [12 empty] | 0 | 0 | 0 | 0
14 | PMTLT6 | 220/132kV ICT-I at CHANDAUTI SS | 315 | ER1 | -- | -- | -- | -- | [5 empty] | 0 | 0 | 0 | 0 | [5 empty] | ERPC | 100
| TOTAL | [12 empty] | 0 | 0 | 0 | 0
15 | PMTLT7 | 220/132kV ICT-II at CHANDAUTI SS | 500 | ER1 | -- | -- | -- | -- | [5 empty] | 0 | 0 | 0 | 0 | [5 empty] | ERPC | 100
| TOTAL | [12 empty] | 0 | 0 | 0 | 0
16 | PMTLT8 | 220/132kV ICT-III at CHANDAUTI SS | 315 | ER1 | -- | -- | -- | -- | [5 empty] | 0 | 0 | 0 | 0 | [5 empty] | ERPC | 100
| TOTAL | [12 empty] | 0 | 0 | 0 | 0
17 | PMTLT9 | 220/132kV ICT-I at SITAMARHI SS | 500 | ER1 | -- | -- | -- | -- | [5 empty] | 0 | 0 | 0 | 0 | [5 empty] | ERPC | 100
| TOTAL | [12 empty] | 0 | 0 | 0 | 0
18 | PMTLT10 | 220/132kV ICT-II at SITAMARHI SS | 500 | ER1 | -- | -- | -- | -- | [5 empty] | 0 | 0 | 0 | 0 | [5 empty] | ERPC | 100
| TOTAL | [12 empty] | 0 | 0 | 0 | 0
19 | PMTLR1 | 125MVAR BR-I at CHANDAUTI SS | 50 | ER1 | -- | -- | -- | -- | [5 empty] | 0 | 0 | 0 | 0 | [5 empty] | ERPC | 100
| TOTAL | [12 empty] | 0 | 0 | 0 | 0
20 | PMTLR2 | 125MVAR BR-II at CHANDAUTI SS | 50 | ER1 | -- | -- | -- | -- | [5 empty] | 0 | 0 | 0 | 0 | [5 empty] | ERPC | 100
| TOTAL | [12 empty] | 0 | 0 | 0 | 0
21 | PMTLR3 | 125MVAR BR-I at SITAMARHI SS | 50 | ER1 | -- | -- | -- | -- | [5 empty] | 0 | 0 | 0 | 0 | [5 empty] | ERPC | 100
| TOTAL | [12 empty] | 0 | 0 | 0 | 0
22 | PMTLR4 | 125MVAR BR-II at SITAMARHI SS | 63 | ER1 | -- | -- | -- | -- | [5 empty] | 0 | 0 | 0 | 0 | [5 empty] | ERPC | 100
| TOTAL | [12 empty] | 0 | 0 | 0 | 0

## June 21
Standard of Performance data for the month of June'2021
Name of Transmission Licensee : POWERGRID MITHILANCHAL TRANSMISSION LIMITED
'ANNEXURE - A
Sr.No. | Unique ID of transmission Element | Element Name | Description (Length/Nos./MVA/MVAr/MW/etc.) | Region | Type of failure | DETAILS OF OUTAGE |  | Total outage in days (1) | OUTAGE |  | RESTORATION |  |  | DURATION OF OUTAGE ATTRIBUTABLE TO (in Hrs) |  |  |  | Category | Restoration Time as per Regulation 5(b) (2) | Whether Restoration Time more than normative (Y/N) | Difference between Actual and Norm 1-2 | Detailed Reason(s) for Outage | Outage Certifying Agency and Reference Document | % Availability as certified by certifying agency
[6 empty] | No. of Tower damaged | No.of insulators failed |  | DATE | TIME | DATE | TIME | TOTAL | ISTS Licensee | OTHERS | System constraint/ Natural calmity/ Militancy | Deemed Available
1 | PMTLL1 | 400kV CHANDAUTI-GAYA-I (LILO PORTION) | 1.7 | ER1 | -- | -- | -- | -- | [5 empty] | 0 | 0 | 0 | 0 | [5 empty] | ERPC | 100
| TOTAL | [12 empty] | 0 | 0 | 0 | 0
2 | PMTLL2 | 400kV CHANDAUTI-GAYA-II (LILO PORTION) | 40 | ER1 | -- | -- | -- | -- | [5 empty] | 0 | 0 | 0 | 0 | [5 empty] | ERPC | 100
| TOTAL | [12 empty] | 0 | 0 | 0 | 0
3 | PMTLL3 | 400KV CHANDAUTI-NABINAGAR-I (LILO PORTION) | 17 | ER1 | -- | -- | -- | -- | [5 empty] | 0 | 0 | 0 | 0 | [5 empty] | ERPC | 100
| TOTAL | [12 empty] | 0 | 0 | 0 | 0
4 | PMTLL4 | 400KV CHANDAUTI-NABINAGAR-II (LILO PORTION) | 62 | ER1 | -- | -- | -- | -- | [5 empty] | 0 | 0 | 0 | 0 | [5 empty] | ERPC | 100
| TOTAL | [12 empty] | 0 | 0 | 0 | 0
5 | PMTLL5 | 400kV SITAMARHI-DARBHANGA-I | 29 | ER1 | -- | -- | -- | -- | [5 empty] | 0 | 0 | 0 | 0 | [5 empty] | ERPC | 100
| TOTAL | [12 empty] | 0 | 0 | 0 | 0
6 | PMTLL6 | 400kV SITAMARHI-DARBHANGA-II | 13 | ER1 | -- | -- | -- | -- | [5 empty] | 0 | 0 | 0 | 0 | [5 empty] | ERPC | 100
| TOTAL | [12 empty] | 0 | 0 | 0 | 0
7 | PMTLL7 | 400kV SITAMARHI-MOTIHARI-I | 11 | ER1 | -- | -- | -- | -- | [5 empty] | 0 | 0 | 0 | 0 | [5 empty] | ERPC | 100
| TOTAL | [12 empty] | 0 | 0 | 0 | 0
8 | PMTLL8 | 400kV SITAMARHI-MOTIHARI-II | 1.7 | ER1 | -- | -- | -- | -- | [5 empty] | 0 | 0 | 0 | 0 | [5 empty] | ERPC | 100
| TOTAL | [12 empty] | 0 | 0 | 0 | 0
9 | PMTLT1 | 400/220kV ICT-I at CHANDAUTI SS | 315 | ER1 | -- | -- | -- | -- | [5 empty] | 0 | 0 | 0 | 0 | [5 empty] | ERPC | 100
| TOTAL | [12 empty] | 0 | 0 | 0 | 0
10 | PMTLT2 | 400/220kV ICT-II at CHANDAUTI SS | 315 | ER1 | -- | -- | -- | -- | [5 empty] | 0 | 0 | 0 | 0 | [5 empty] | ERPC | 100
| TOTAL | [12 empty] | 0 | 0 | 0 | 0
11 | PMTLT3 | 400/220kV ICT-III at CHANDAUTI SS | 315 | ER1 | -- | -- | -- | -- | 2021-06-25 | 16:04 | 2021-06-25 | 17:41 | 1.6167 | 0 | 1.6167 | 0 | 0 | OMSU |  |  |  | TRIPPED DUE TO TRIPPING OF 220 KV BUS BAR-2 DUE TO LINE FAULT IN 220 KV CHANDAUTI-SONENAGAR-2(BSPTCL LINE) | ERPC | 100
| TOTAL | [12 empty] | 0 | 1.6167 | 0 | 0
12 | PMTLT4 | 400/220kV ICT-I at SITAMARHI SS | 500 | ER1 | -- | -- | -- | -- | [5 empty] | 0 | 0 | 0 | 0 | [5 empty] | ERPC | 100
| TOTAL | [12 empty] | 0 | 0 | 0 | 0
13 | PMTLT5 | 400/220kV ICT-II at SITAMARHI SS | 315 | ER1 | -- | -- | -- | -- | [5 empty] | 0 | 0 | 0 | 0 | [5 empty] | ERPC | 100
| TOTAL | [12 empty] | 0 | 0 | 0 | 0
14 | PMTLT6 | 220/132kV ICT-I at CHANDAUTI SS | 315 | ER1 | -- | -- | -- | -- | 2021-06-25 | 16:04 | 2021-06-25 | 17:42 | 1.6333 | 0 | 1.6333 | 0 | 0 | OMSU |  |  |  | TRIPPED DUE TO TRIPPING OF 220 KV BUS BAR-2 DUE TO LINE FAULT IN 220 KV CHANDAUTI-SONENAGAR-2(BSPTCL LINE) | ERPC | 100
| TOTAL | [12 empty] | 0 | 1.6333 | 0 | 0
15 | PMTLT7 | 220/132kV ICT-II at CHANDAUTI SS | 500 | ER1 | -- | -- | -- | -- | 2021-06-25 | 16:04 | 2021-06-25 | 17:43 | 1.65 | 0 | 1.65 | 0 | 0 | OMSU |  |  |  | TRIPPED DUE TO TRIPPING OF 220 KV BUS BAR-2 DUE TO LINE FAULT IN 220 KV CHANDAUTI-SONENAGAR-2(BSPTCL LINE) | ERPC | 100
| TOTAL | [12 empty] | 0 | 1.65 | 0 | 0
16 | PMTLT8 | 220/132kV ICT-III at CHANDAUTI SS | 315 | ER1 | -- | -- | -- | -- | [5 empty] | 0 | 0 | 0 | 0 | [5 empty] | ERPC | 100
| TOTAL | [12 empty] | 0 | 0 | 0 | 0
17 | PMTLT9 | 220/132kV ICT-I at SITAMARHI SS | 500 | ER1 | -- | -- | -- | -- | [5 empty] | 0 | 0 | 0 | 0 | [5 empty] | ERPC | 100
| TOTAL | [12 empty] | 0 | 0 | 0 | 0
18 | PMTLT10 | 220/132kV ICT-II at SITAMARHI SS | 500 | ER1 | -- | -- | -- | -- | 2021-06-16 | 11:52 | 2021-06-17 | 20:03 | 32.1833 | 0 | 0 | 32.1833 | 0 | SNCC |  |  |  | TRIPPED DUE TO OPERATION OF OSR RELAY DUE TO MOISTURE INGRESS DURING HEAVY THUNDERSTORM AND RAIN. | ERPC | 100
| TOTAL | [12 empty] | 0 | 0 | 32.1833 | 0
19 | PMTLR1 | 125MVAR BR-I at CHANDAUTI SS | 50 | ER1 | -- | -- | -- | -- | [5 empty] | 0 | 0 | 0 | 0 | [5 empty] | ERPC | 100
| TOTAL | [12 empty] | 0 | 0 | 0 | 0
20 | PMTLR2 | 125MVAR BR-II at CHANDAUTI SS | 50 | ER1 | -- | -- | -- | -- | [5 empty] | 0 | 0 | 0 | 0 | [5 empty] | ERPC | 100
| TOTAL | [12 empty] | 0 | 0 | 0 | 0
21 | PMTLR3 | 125MVAR BR-I at SITAMARHI SS | 50 | ER1 | -- | -- | -- | -- | [5 empty] | 0 | 0 | 0 | 0 | [5 empty] | ERPC | 100
| TOTAL | [12 empty] | 0 | 0 | 0 | 0
22 | PMTLR4 | 125MVAR BR-II at SITAMARHI SS | 63 | ER1 | -- | -- | -- | -- | [5 empty] | 0 | 0 | 0 | 0 | [5 empty] | ERPC | 100
| TOTAL | [12 empty] | 0 | 0 | 0 | 0

## July 21
Standard of Performance data for the month of July'2021
Name of Transmission Licensee : POWERGRID MITHILANCHAL TRANSMISSION LIMITED
'ANNEXURE - A
Sr.No. | Unique ID of transmission Element | Element Name | Description (Length/Nos./MVA/MVAr/MW/etc.) | Region | Type of failure | DETAILS OF OUTAGE |  | Total outage in days (1) | OUTAGE |  | RESTORATION |  |  | DURATION OF OUTAGE ATTRIBUTABLE TO (in Hrs) |  |  |  | Category | Restoration Time as per Regulation 5(b) (2) | Whether Restoration Time more than normative (Y/N) | Difference between Actual and Norm 1-2 | Detailed Reason(s) for Outage | Outage Certifying Agency and Reference Document | % Availability as certified by certifying agency
[6 empty] | No. of Tower damaged | No.of insulators failed |  | DATE | TIME | DATE | TIME | TOTAL | ISTS Licensee | OTHERS | System constraint/ Natural calmity/ Militancy | Deemed Available
1 | PMTLL1 | 400kV CHANDAUTI-GAYA-I (LILO PORTION) | 1.7 | ER1 | -- | -- | -- | -- | [5 empty] | 0 | 0 | 0 | 0 | [5 empty] | ERPC | 100
| TOTAL | [12 empty] | 0 | 0 | 0 | 0
2 | PMTLL2 | 400kV CHANDAUTI-GAYA-II (LILO PORTION) | 40 | ER1 | -- | -- | -- | -- | [5 empty] | 0 | 0 | 0 | 0 | [5 empty] | ERPC | 100
| TOTAL | [12 empty] | 0 | 0 | 0 | 0
3 | PMTLL3 | 400KV CHANDAUTI-NABINAGAR-I (LILO PORTION) | 17 | ER1 | -- | -- | -- | -- | [5 empty] | 0 | 0 | 0 | 0 | [5 empty] | ERPC | 100
| TOTAL | [12 empty] | 0 | 0 | 0 | 0
4 | PMTLL4 | 400KV CHANDAUTI-NABINAGAR-II (LILO PORTION) | 62 | ER1 | -- | -- | -- | -- | [5 empty] | 0 | 0 | 0 | 0 | [5 empty] | ERPC | 100
| TOTAL | [12 empty] | 0 | 0 | 0 | 0
5 | PMTLL5 | 400kV SITAMARHI-DARBHANGA-I | 29 | ER1 | -- | -- | -- | -- | [5 empty] | 0 | 0 | 0 | 0 | [5 empty] | ERPC | 100
| TOTAL | [12 empty] | 0 | 0 | 0 | 0
6 | PMTLL6 | 400kV SITAMARHI-DARBHANGA-II | 13 | ER1 | -- | -- | -- | -- | [5 empty] | 0 | 0 | 0 | 0 | [5 empty] | ERPC | 100
| TOTAL | [12 empty] | 0 | 0 | 0 | 0
7 | PMTLL7 | 400kV SITAMARHI-MOTIHARI-I | 11 | ER1 | -- | -- | -- | -- | [5 empty] | 0 | 0 | 0 | 0 | [5 empty] | ERPC | 100
| TOTAL | [12 empty] | 0 | 0 | 0 | 0
8 | PMTLL8 | 400kV SITAMARHI-MOTIHARI-II | 1.7 | ER1 | -- | -- | -- | -- | [5 empty] | 0 | 0 | 0 | 0 | [5 empty] | ERPC | 100
| TOTAL | [12 empty] | 0 | 0 | 0 | 0
9 | PMTLT1 | 400/220kV ICT-I at CHANDAUTI SS | 315 | ER1 | -- | -- | -- | -- | [5 empty] | 0 | 0 | 0 | 0 | [5 empty] | ERPC | 100
| TOTAL | [12 empty] | 0 | 0 | 0 | 0
10 | PMTLT2 | 400/220kV ICT-II at CHANDAUTI SS | 315 | ER1 | -- | -- | -- | -- | [5 empty] | 0 | 0 | 0 | 0 | [5 empty] | ERPC | 100
| TOTAL | [12 empty] | 0 | 0 | 0 | 0
11 | PMTLT3 | 400/220kV ICT-III at CHANDAUTI SS | 315 | ER1 | -- | -- | -- | -- | [5 empty] | 0 | 0 | 0 | 0 | [5 empty] | ERPC | 100
| TOTAL | [12 empty] | 0 | 0 | 0 | 0
12 | PMTLT4 | 400/220kV ICT-I at SITAMARHI SS | 500 | ER1 | -- | -- | -- | -- | [5 empty] | 0 | 0 | 0 | 0 | [5 empty] | ERPC | 100
| TOTAL | [12 empty] | 0 | 0 | 0 | 0
13 | PMTLT5 | 400/220kV ICT-II at SITAMARHI SS | 315 | ER1 | -- | -- | -- | -- | [5 empty] | 0 | 0 | 0 | 0 | [5 empty] | ERPC | 100
| TOTAL | [12 empty] | 0 | 0 | 0 | 0
14 | PMTLT6 | 220/132kV ICT-I at CHANDAUTI SS | 315 | ER1 | -- | -- | -- | -- | [5 empty] | 0 | 0 | 0 | 0 | [5 empty] | ERPC | 100
| TOTAL | [12 empty] | 0 | 0 | 0 | 0
15 | PMTLT7 | 220/132kV ICT-II at CHANDAUTI SS | 500 | ER1 | -- | -- | -- | -- | [5 empty] | 0 | 0 | 0 | 0 | [5 empty] | ERPC | 100
| TOTAL | [12 empty] | 0 | 0 | 0 | 0
16 | PMTLT8 | 220/132kV ICT-III at CHANDAUTI SS | 315 | ER1 | -- | -- | -- | -- | [5 empty] | 0 | 0 | 0 | 0 | [5 empty] | ERPC | 100
| TOTAL | [12 empty] | 0 | 0 | 0 | 0
17 | PMTLT9 | 220/132kV ICT-I at SITAMARHI SS | 500 | ER1 | -- | -- | -- | -- | [5 empty] | 0 | 0 | 0 | 0 | [5 empty] | ERPC | 100
| TOTAL | [12 empty] | 0 | 0 | 0 | 0
18 | PMTLT10 | 220/132kV ICT-II at SITAMARHI SS | 500 | ER1 | -- | -- | -- | -- | [5 empty] | 0 | 0 | 0 | 0 | [5 empty] | ERPC | 100
| TOTAL | [12 empty] | 0 | 0 | 0 | 0
19 | PMTLR1 | 125MVAR BR-I at CHANDAUTI SS | 50 | ER1 | -- | -- | -- | -- | 2021-07-16 | 19:08 | 2021-07-31 | 6:26 | 347.3 | 0 | 0 | 0 | 347.3 | SVRD |  |  |  | HAND TRIPPED FOR VOLTAGE REGULATION AS PER ERLDC INSTRUCTION. | ERPC | 100
| TOTAL | [12 empty] | 0 | 0 | 0 | 347.3
20 | PMTLR2 | 125MVAR BR-II at CHANDAUTI SS | 50 | ER1 | -- | -- | -- | -- | 2021-07-16 | 19:49 | 2021-07-31 | 6:33 | 346.7333 | 0 | 0 | 0 | 346.7333 | SVRD |  |  |  | HAND TRIPPED FOR VOLTAGE REGULATION AS PER ERLDC INSTRUCTION. | ERPC | 100
| TOTAL | [12 empty] | 0 | 0 | 0 | 346.7333
21 | PMTLR3 | 125MVAR BR-I at SITAMARHI SS | 50 | ER1 | -- | -- | -- | -- | 2021-07-03 | 20:21 | 2021-07-04 | 8:37 | 12.2667 | 0 | 0 | 0 | 12.2667 | SVRD |  |  |  | HAND TRIPPED FOR VOLTAGE REGULATION AS PER ERLDC INSTRUCTION. | ERPC | 100
[9 empty] | 2021-07-04 | 21:15 | 2021-07-05 | 8:39 | 11.4 | 0 | 0 | 0 | 11.4 | SVRD |  |  |  | HAND TRIPPED FOR VOLTAGE REGULATION AS PER ERLDC INSTRUCTION.
[9 empty] | 2021-07-07 | 21:07 | 2021-07-18 | 9:25 | 252.3 | 0 | 0 | 0 | 252.3 | SVRD |  |  |  | HAND TRIPPED FOR VOLTAGE REGULATION AS PER ERLDC INSTRUCTION.
[9 empty] | 2021-07-19 | 19:42 | 2021-07-20 | 9:15 | 13.55 | 0 | 0 | 0 | 13.55 | SVRD |  |  |  | HAND TRIPPED FOR VOLTAGE REGULATION AS PER ERLDC INSTRUCTION.
[9 empty] | 2021-07-23 | 21:07 | 2021-07-24 | 5:31 | 8.4 | 0 | 0 | 0 | 8.4 | SVRD |  |  |  | HAND TRIPPED FOR VOLTAGE REGULATION AS PER ERLDC INSTRUCTION.
[9 empty] | 2021-07-24 | 20:30 | 2021-07-26 | 7:37 | 35.1167 | 0 | 0 | 0 | 35.1167 | SVRD |  |  |  | HAND TRIPPED FOR VOLTAGE REGULATION AS PER ERLDC INSTRUCTION.
[9 empty] | 2021-07-26 | 20:08 | 2021-07-27 | 7:00 | 10.8667 | 0 | 0 | 0 | 10.8667 | SVRD |  |  |  | HAND TRIPPED FOR VOLTAGE REGULATION AS PER ERLDC INSTRUCTION.
[9 empty] | 2021-07-27 | 19:44 | 2021-07-28 | 6:43 | 10.9833 | 0 | 0 | 0 | 10.9833 | SVRD |  |  |  | HAND TRIPPED FOR VOLTAGE REGULATION AS PER ERLDC INSTRUCTION.
[9 empty] | 2021-07-29 | 19:57 | 2021-07-31 | 5:45 | 33.8 | 0 | 0 | 0 | 33.8 | SVRD |  |  |  | HAND TRIPPED FOR VOLTAGE REGULATION AS PER ERLDC INSTRUCTION.
| TOTAL | [12 empty] | 0 | 0 | 0 | 388.6833
22 | PMTLR4 | 125MVAR BR-II at SITAMARHI SS | 63 | ER1 | -- | -- | -- | -- | 2021-07-04 | 21:33 | 2021-07-05 | 7:51 | 10.3 | 0 | 0 | 0 | 10.3 | SVRD |  |  |  | HAND TRIPPED FOR VOLTAGE REGULATION AS PER ERLDC INSTRUCTION. | ERPC | 100
[9 empty] | 2021-07-15 | 21:13 | 2021-07-16 | 5:36 | 8.3833 | 0 | 0 | 0 | 8.3833 | SVRD |  |  |  | HAND TRIPPED FOR VOLTAGE REGULATION AS PER ERLDC INSTRUCTION.
| TOTAL | [12 empty] | 0 | 0 | 0 | 18.6833

## Aug 21
Standard of Performance data for the month of August'2021
Name of Transmission Licensee : POWERGRID MITHILANCHAL TRANSMISSION LIMITED
'ANNEXURE - A
Sr.No. | Unique ID of transmission Element | Element Name | Description (Length/Nos./MVA/MVAr/MW/etc.) | Region | Type of failure | DETAILS OF OUTAGE |  | Total outage in days (1) | OUTAGE |  | RESTORATION |  |  | DURATION OF OUTAGE ATTRIBUTABLE TO (in Hrs) |  |  |  | Category | Restoration Time as per Regulation 5(b) (2) | Whether Restoration Time more than normative (Y/N) | Difference between Actual and Norm 1-2 | Detailed Reason(s) for Outage | Outage Certifying Agency and Reference Document | % Availability as certified by certifying agency
[6 empty] | No. of Tower damaged | No.of insulators failed |  | DATE | TIME | DATE | TIME | TOTAL | ISTS Licensee | OTHERS | System constraint/ Natural calmity/ Militancy | Deemed Available
1 | PMTLL1 | 400kV CHANDAUTI-GAYA-I (LILO PORTION) | 1.7 | ER1 | -- | -- | -- | -- | [5 empty] | 0 | 0 | 0 | 0 | [5 empty] | ERPC | 100
| TOTAL | [12 empty] | 0 | 0 | 0 | 0
2 | PMTLL2 | 400kV CHANDAUTI-GAYA-II (LILO PORTION) | 40 | ER1 | -- | -- | -- | -- | [5 empty] | 0 | 0 | 0 | 0 | [5 empty] | ERPC | 100
| TOTAL | [12 empty] | 0 | 0 | 0 | 0
3 | PMTLL3 | 400KV CHANDAUTI-NABINAGAR-I (LILO PORTION) | 17 | ER1 | -- | -- | -- | -- | [5 empty] | 0 | 0 | 0 | 0 | [5 empty] | ERPC | 100
| TOTAL | [12 empty] | 0 | 0 | 0 | 0
4 | PMTLL4 | 400KV CHANDAUTI-NABINAGAR-II (LILO PORTION) | 62 | ER1 | -- | -- | -- | -- | [5 empty] | 0 | 0 | 0 | 0 | [5 empty] | ERPC | 100
| TOTAL | [12 empty] | 0 | 0 | 0 | 0
5 | PMTLL5 | 400kV SITAMARHI-DARBHANGA-I | 29 | ER1 | -- | -- | -- | -- | [5 empty] | 0 | 0 | 0 | 0 | [5 empty] | ERPC | 100
| TOTAL | [12 empty] | 0 | 0 | 0 | 0
6 | PMTLL6 | 400kV SITAMARHI-DARBHANGA-II | 13 | ER1 | -- | -- | -- | -- | [5 empty] | 0 | 0 | 0 | 0 | [5 empty] | ERPC | 100
| TOTAL | [12 empty] | 0 | 0 | 0 | 0
7 | PMTLL7 | 400kV SITAMARHI-MOTIHARI-I | 11 | ER1 | -- | -- | -- | -- | [5 empty] | 0 | 0 | 0 | 0 | [5 empty] | ERPC | 100
| TOTAL | [12 empty] | 0 | 0 | 0 | 0
8 | PMTLL8 | 400kV SITAMARHI-MOTIHARI-II | 1.7 | ER1 | -- | -- | -- | -- | [5 empty] | 0 | 0 | 0 | 0 | [5 empty] | ERPC | 100
| TOTAL | [12 empty] | 0 | 0 | 0 | 0
9 | PMTLT1 | 400/220kV ICT-I at CHANDAUTI SS | 315 | ER1 | -- | -- | -- | -- | [5 empty] | 0 | 0 | 0 | 0 | [5 empty] | ERPC | 100
| TOTAL | [12 empty] | 0 | 0 | 0 | 0
10 | PMTLT2 | 400/220kV ICT-II at CHANDAUTI SS | 315 | ER1 | -- | -- | -- | -- | [5 empty] | 0 | 0 | 0 | 0 | [5 empty] | ERPC | 100
| TOTAL | [12 empty] | 0 | 0 | 0 | 0
11 | PMTLT3 | 400/220kV ICT-III at CHANDAUTI SS | 315 | ER1 | -- | -- | -- | -- | [5 empty] | 0 | 0 | 0 | 0 | [5 empty] | ERPC | 100
| TOTAL | [12 empty] | 0 | 0 | 0 | 0
12 | PMTLT4 | 400/220kV ICT-I at SITAMARHI SS | 500 | ER1 | -- | -- | -- | -- | [5 empty] | 0 | 0 | 0 | 0 | [5 empty] | ERPC | 100
| TOTAL | [12 empty] | 0 | 0 | 0 | 0
13 | PMTLT5 | 400/220kV ICT-II at SITAMARHI SS | 315 | ER1 | -- | -- | -- | -- | [5 empty] | 0 | 0 | 0 | 0 | [5 empty] | ERPC | 100
| TOTAL | [12 empty] | 0 | 0 | 0 | 0
14 | PMTLT6 | 220/132kV ICT-I at CHANDAUTI SS | 315 | ER1 | -- | -- | -- | -- | [5 empty] | 0 | 0 | 0 | 0 | [5 empty] | ERPC | 100
| TOTAL | [12 empty] | 0 | 0 | 0 | 0
15 | PMTLT7 | 220/132kV ICT-II at CHANDAUTI SS | 500 | ER1 | -- | -- | -- | -- | [5 empty] | 0 | 0 | 0 | 0 | [5 empty] | ERPC | 100
| TOTAL | [12 empty] | 0 | 0 | 0 | 0
16 | PMTLT8 | 220/132kV ICT-III at CHANDAUTI SS | 315 | ER1 | -- | -- | -- | -- | [5 empty] | 0 | 0 | 0 | 0 | [5 empty] | ERPC | 100
| TOTAL | [12 empty] | 0 | 0 | 0 | 0
17 | PMTLT9 | 220/132kV ICT-I at SITAMARHI SS | 500 | ER1 | -- | -- | -- | -- | [5 empty] | 0 | 0 | 0 | 0 | [5 empty] | ERPC | 100
| TOTAL | [12 empty] | 0 | 0 | 0 | 0
18 | PMTLT10 | 220/132kV ICT-II at SITAMARHI SS | 500 | ER1 | -- | -- | -- | -- | [5 empty] | 0 | 0 | 0 | 0 | [5 empty] | ERPC | 100
| TOTAL | [12 empty] | 0 | 0 | 0 | 0
19 | PMTLR1 | 125MVAR BR-I at CHANDAUTI SS | 50 | ER1 | -- | -- | -- | -- | 2021-08-14 | 19:32 | 2021-09-01 | 0:00 | 412.4667 | 0 | 0 | 0 | 412.4667 | SVRD |  |  |  | HAND TRIPPED FOR VOLTAGE REGULATION AS PER ERLDC INSTRUCTION. | ERPC | 100
| TOTAL | [12 empty] | 0 | 0 | 0 | 412.4667
20 | PMTLR2 | 125MVAR BR-II at CHANDAUTI SS | 50 | ER1 | -- | -- | -- | -- | [5 empty] | 0 | 0 | 0 | 0 | [5 empty] | ERPC | 100
| TOTAL | [12 empty] | 0 | 0 | 0 | 0
21 | PMTLR3 | 125MVAR BR-I at SITAMARHI SS | 50 | ER1 | -- | -- | -- | -- | 2021-08-06 | 22:39 | 2021-08-07 | 6:30 | 7.85 | 0 | 0 | 0 | 7.85 | SVRD |  |  |  | HAND TRIPPED FOR VOLTAGE REGULATION AS PER ERLDC INSTRUCTION. | ERPC | 100
[9 empty] | 2021-08-24 | 21:02 | 2021-08-25 | 5:48 | 8.7667 | 0 | 0 | 0 | 8.7667 | SVRD |  |  |  | HAND TRIPPED FOR VOLTAGE REGULATION AS PER ERLDC INSTRUCTION.
| TOTAL | [12 empty] | 0 | 0 | 0 | 16.6167
22 | PMTLR4 | 125MVAR BR-II at SITAMARHI SS | 63 | ER1 | -- | -- | -- | -- | [5 empty] | 0 | 0 | 0 | 0 | [5 empty] | ERPC | 100
| TOTAL | [12 empty] | 0 | 0 | 0 | 0

## Sept 21
Standard of Performance data for the month of September'2021
Name of Transmission Licensee : POWERGRID MITHILANCHAL TRANSMISSION LIMITED
'ANNEXURE - A
Sr.No. | Unique ID of transmission Element | Element Name | Description (Length/Nos./MVA/MVAr/MW/etc.) | Region | Type of failure | DETAILS OF OUTAGE |  | Total outage in days (1) | OUTAGE |  | RESTORATION |  |  | DURATION OF OUTAGE ATTRIBUTABLE TO (in Hrs) |  |  |  | Category | Restoration Time as per Regulation 5(b) (2) | Whether Restoration Time more than normative (Y/N) | Difference between Actual and Norm 1-2 | Detailed Reason(s) for Outage | Outage Certifying Agency and Reference Document | % Availability as certified by certifying agency
[6 empty] | No. of Tower damaged | No.of insulators failed |  | DATE | TIME | DATE | TIME | TOTAL | ISTS Licensee | OTHERS | System constraint/ Natural calmity/ Militancy | Deemed Available
1 | PMTLL1 | 400kV CHANDAUTI-GAYA-I (LILO PORTION) | 1.7 | ER1 | -- | -- | -- | -- | [5 empty] | 0 | 0 | 0 | 0 | [5 empty] | ERPC | 100
| TOTAL | [12 empty] | 0 | 0 | 0 | 0
2 | PMTLL2 | 400kV CHANDAUTI-GAYA-II (LILO PORTION) | 40 | ER1 | -- | -- | -- | -- | [5 empty] | 0 | 0 | 0 | 0 | [5 empty] | ERPC | 100
| TOTAL | [12 empty] | 0 | 0 | 0 | 0
3 | PMTLL3 | 400KV CHANDAUTI-NABINAGAR-I (LILO PORTION) | 17 | ER1 | -- | -- | -- | -- | [5 empty] | 0 | 0 | 0 | 0 | [5 empty] | ERPC | 100
| TOTAL | [12 empty] | 0 | 0 | 0 | 0
4 | PMTLL4 | 400KV CHANDAUTI-NABINAGAR-II (LILO PORTION) | 62 | ER1 | -- | -- | -- | -- | [5 empty] | 0 | 0 | 0 | 0 | [5 empty] | ERPC | 100
| TOTAL | [12 empty] | 0 | 0 | 0 | 0
5 | PMTLL5 | 400kV SITAMARHI-DARBHANGA-I | 29 | ER1 | -- | -- | -- | -- | [5 empty] | 0 | 0 | 0 | 0 | [5 empty] | ERPC | 100
| TOTAL | [12 empty] | 0 | 0 | 0 | 0
6 | PMTLL6 | 400kV SITAMARHI-DARBHANGA-II | 13 | ER1 | -- | -- | -- | -- | [5 empty] | 0 | 0 | 0 | 0 | [5 empty] | ERPC | 100
| TOTAL | [12 empty] | 0 | 0 | 0 | 0
7 | PMTLL7 | 400kV SITAMARHI-MOTIHARI-I | 11 | ER1 | -- | -- | -- | -- | 2021-09-06 | 17:10 | 2021-09-06 | 17:10 | 0 | 0 | 0 | 0 | 0 | LART |  |  |  | A/R SUCCESSFULLY OPERATED FROM BOTH END DUE TO R-N FAULT.FD-18.5KM FROM SITAMARHI AND FC-7KA. | ERPC | 100
| TOTAL | [12 empty] | 0 | 0 | 0 | 0
8 | PMTLL8 | 400kV SITAMARHI-MOTIHARI-II | 1.7 | ER1 | -- | -- | -- | -- | [5 empty] | 0 | 0 | 0 | 0 | [5 empty] | ERPC | 100
| TOTAL | [12 empty] | 0 | 0 | 0 | 0
9 | PMTLT1 | 400/220kV ICT-I at CHANDAUTI SS | 315 | ER1 | -- | -- | -- | -- | [5 empty] | 0 | 0 | 0 | 0 | [5 empty] | ERPC | 100
| TOTAL | [12 empty] | 0 | 0 | 0 | 0
10 | PMTLT2 | 400/220kV ICT-II at CHANDAUTI SS | 315 | ER1 | -- | -- | -- | -- | [5 empty] | 0 | 0 | 0 | 0 | [5 empty] | ERPC | 100
| TOTAL | [12 empty] | 0 | 0 | 0 | 0
11 | PMTLT3 | 400/220kV ICT-III at CHANDAUTI SS | 315 | ER1 | -- | -- | -- | -- | [5 empty] | 0 | 0 | 0 | 0 | [5 empty] | ERPC | 100
| TOTAL | [12 empty] | 0 | 0 | 0 | 0
12 | PMTLT4 | 400/220kV ICT-I at SITAMARHI SS | 500 | ER1 | -- | -- | -- | -- | [5 empty] | 0 | 0 | 0 | 0 | [5 empty] | ERPC | 100
| TOTAL | [12 empty] | 0 | 0 | 0 | 0
13 | PMTLT5 | 400/220kV ICT-II at SITAMARHI SS | 315 | ER1 | -- | -- | -- | -- | [5 empty] | 0 | 0 | 0 | 0 | [5 empty] | ERPC | 100
| TOTAL | [12 empty] | 0 | 0 | 0 | 0
14 | PMTLT6 | 220/132kV ICT-I at CHANDAUTI SS | 315 | ER1 | -- | -- | -- | -- | [5 empty] | 0 | 0 | 0 | 0 | [5 empty] | ERPC | 100
| TOTAL | [12 empty] | 0 | 0 | 0 | 0
15 | PMTLT7 | 220/132kV ICT-II at CHANDAUTI SS | 500 | ER1 | -- | -- | -- | -- | [5 empty] | 0 | 0 | 0 | 0 | [5 empty] | ERPC | 100
| TOTAL | [12 empty] | 0 | 0 | 0 | 0
16 | PMTLT8 | 220/132kV ICT-III at CHANDAUTI SS | 315 | ER1 | -- | -- | -- | -- | [5 empty] | 0 | 0 | 0 | 0 | [5 empty] | ERPC | 100
| TOTAL | [12 empty] | 0 | 0 | 0 | 0
17 | PMTLT9 | 220/132kV ICT-I at SITAMARHI SS | 500 | ER1 | -- | -- | -- | -- | [5 empty] | 0 | 0 | 0 | 0 | [5 empty] | ERPC | 100
| TOTAL | [12 empty] | 0 | 0 | 0 | 0
18 | PMTLT10 | 220/132kV ICT-II at SITAMARHI SS | 500 | ER1 | -- | -- | -- | -- | [5 empty] | 0 | 0 | 0 | 0 | [5 empty] | ERPC | 100
| TOTAL | [12 empty] | 0 | 0 | 0 | 0
19 | PMTLR1 | 125MVAR BR-I at CHANDAUTI SS | 50 | ER1 | -- | -- | -- | -- | 2021-09-01 | 0:00 | 2021-10-01 | 0:00 | 720 | 0 | 0 | 0 | 720 | SVRD |  |  |  | HAND TRIPPED FOR VOLTAGE REGULATION AS PER ERLDC INSTRUCTION. | ERPC | 100
| TOTAL | [12 empty] | 0 | 0 | 0 | 720
20 | PMTLR2 | 125MVAR BR-II at CHANDAUTI SS | 50 | ER1 | -- | -- | -- | -- | 2021-09-25 | 20:16 | 2021-10-01 | 0:00 | 123.7333 | 0 | 0 | 0 | 123.7333 | SVRD |  |  |  | HAND TRIPPED FOR VOLTAGE REGULATION AS PER ERLDC INSTRUCTION. | ERPC | 100
| TOTAL | [12 empty] | 0 | 0 | 0 | 123.7333
21 | PMTLR3 | 125MVAR BR-I at SITAMARHI SS | 50 | ER1 | -- | -- | -- | -- | 2021-09-04 | 21:18 | 2021-09-07 | 12:22 | 63.0667 | 0 | 0 | 0 | 63.0667 | SVRD |  |  |  | HAND TRIPPED FOR VOLTAGE REGULATION AS PER ERLDC INSTRUCTION. | ERPC | 100
[9 empty] | 2021-09-09 | 21:19 | 2021-09-10 | 5:43 | 8.4 | 0 | 0 | 0 | 8.4 | SVRD |  |  |  | HAND TRIPPED FOR VOLTAGE REGULATION AS PER ERLDC INSTRUCTION.
[9 empty] | 2021-09-13 | 19:41 | 2021-09-14 | 7:32 | 11.85 | 0 | 0 | 0 | 11.85 | SVRD |  |  |  | HAND TRIPPED FOR VOLTAGE REGULATION AS PER ERLDC INSTRUCTION.
[9 empty] | 2021-09-18 | 21:19 | 2021-09-21 | 9:29 | 60.1667 | 0 | 0 | 0 | 60.1667 | SVRD |  |  |  | HAND TRIPPED FOR VOLTAGE REGULATION AS PER ERLDC INSTRUCTION.
| TOTAL | [12 empty] | 0 | 0 | 0 | 143.4833
22 | PMTLR4 | 125MVAR BR-II at SITAMARHI SS | 63 | ER1 | -- | -- | -- | -- | 2021-09-05 | 19:39 | 2021-09-07 | 12:26 | 40.7833 | 0 | 0 | 0 | 40.7833 | SVRD |  |  |  | HAND TRIPPED FOR VOLTAGE REGULATION AS PER ERLDC INSTRUCTION. | ERPC | 100
[9 empty] | 2021-09-09 | 21:29 | 2021-09-10 | 9:08 | 11.65 | 0 | 0 | 0 | 11.65 | SVRD |  |  |  | HAND TRIPPED FOR VOLTAGE REGULATION AS PER ERLDC INSTRUCTION.
[9 empty] | 2021-09-10 | 21:06 | 2021-09-11 | 5:55 | 8.8167 | 0 | 0 | 0 | 8.8167 | SVRD |  |  |  | HAND TRIPPED FOR VOLTAGE REGULATION AS PER ERLDC INSTRUCTION.
[9 empty] | 2021-09-25 | 21:15 | 2021-09-26 | 6:06 | 8.85 | 0 | 0 | 0 | 8.85 | SVRD |  |  |  | HAND TRIPPED FOR VOLTAGE REGULATION AS PER ERLDC INSTRUCTION.
[9 empty] | 2021-09-26 | 20:56 | 2021-09-27 | 5:58 | 9.0333 | 0 | 0 | 0 | 9.0333 | SVRD |  |  |  | HAND TRIPPED FOR VOLTAGE REGULATION AS PER ERLDC INSTRUCTION.
| TOTAL | [12 empty] | 0 | 0 | 0 | 79.1333