## Annx-V
V. Data to be compiled by the inter-State Transmission Licensees:
The restoration times for different types of failures of a transmission line and failure of Inter-Connecting Transformer (ICT) and reactor in the following format:
Sl. No. | Types of failures |  | Restoration Time (Days)
A. | Elements of the Transmission line for Single Circuit (S/C), Double Circuit (D/C) and Multi-Circuit (M/C) towers for each kV class separately
1 | Insulator failure |  | Terrain type
|  |  | Plain | River bed |  | Hilly
(i) Insulator failure in single phase
(ii) Insulator failure in two phases
(iii) Insulator failure in three phases
2 | Tower after collapse by Emergency Restoration System (ERS) for S/C, D/C and M/C separately
3 | Tower after collapse without Emergency Restoration System (ERS) for S/C, D/C and M/C Separately
4 | Tower damage (not collapse)
One arm damage
Two arms damage
5 | Snapping of phase conductor
Conductor snapping in single phase
Conductor snapping in two phases
Conductor snapping in three phases
6 | Failure of earth wire
7 | Insulator failure with conductor snapping
8 | Any other combination of failures
B. | Elements of the sub-station for each kV class separately
1 | Failure of Inter Connecting Transformers (ICTs)
Restoration of the failed ICT
| Other major failures in ICTs | Single phase unit |  |  | Three phase unit
| (i) Replacement of faulty bushings |  |  |  | < 4 Days (Hissar 315MVA ICT-II)
(ii) Replacement of failed/ blasted bushings
(iii) Replacement of faulty tap changers
2 | Failure of Reactors
Restoration of the failed reactor