## SOP
Standard of Performance data for the month of December-2016
Name of Transmission Licensee : POWER GRID CORPORATION OF INDIA LTD., SOUTHERN REGION - I
ANNEXURE - A
Sl No: | Unique ID of transmission Element | Element Name | Description (Length/Nos./MVA/MVAr/MW/etc.) | Region | Type of failure | OUTAGE |  | RESTORATION |  | Details of Outage |  | Total outage in days (1) | DURATION OF OUTAGE ATTRIBUTABLE TO (in Hrs) |  |  |  | Restoration Time as per Regulation 5(b) (2) | Whether Restoration Time more than normative (Y/N) | Difference between Actual and Norm 1-2 | Detailed Reason(s) for Outage | Outage Certifying Agency and Reference Document | % Availability as certified by certifying agency
[6 empty] | Date | Time | Date | Time | No. of towers damaged | no. of insulator failed |  | ISTS Licensee | OTHERS | System Constraints/ Natural calamity / Militancy | Deemed Available
1 | SR1L01 | KURNOOL(NEW) - NELLOREPS - I | 302.303 | SR-I | -- | 2016-11-15 | 15:08 | 2016-12-21 | 13:08 | -- | -- | -- | 0 | 0 | 0 | 862 | N/A | N/A | N/A | Hand tripped as per SRLDC instruction for voltage regulation in the system vide SRLDC code: CR11/388 | SRPC, SRPC/SE-I/PGTA/2014/10274/291, Dtd. 27.11.14 | 100 | 744
[6 empty] | 2016-12-31 | 16:11 | 2017-01-01 | 0:00 |  |  |  | 0 | 0 | 0 | 7.8167 |  |  |  | Hand tripped as per SRLDC instruction for voltage regulation in the system vide SRLDC code: CR12/1124 |  |  | 744
[6 empty] | Sub Total --> | [6 empty] | 0 | 0 | 0 | 869.8167 | [6 empty] | 744
2 | SR1L02 | KURNOOL(NEW) - NELLOREPS - II | 302.303 | SR-I | -- | 2016-12-21 | 12:52 | 2016-12-31 | 12:13 | -- | -- | -- | 0 | 0 | 0 | 239.35 | -- | -- | -- | H/T for voltage regulation vide SRLDC code 12/787 |  | 100 | 744
[6 empty] | Sub Total --> | [6 empty] | 0 | 0 | 0 | 239.35 | [6 empty] | 744
3 | SR1L03 | KURNOOL(NEW) - TIRUVALUM - I | 355.01 | SR-I | -- | 2016-12-03 | 11:48 | 2016-12-13 | 13:35 | -- | -- | -- | 0 | 0 | 0 | 241.7833 | N/A | N/A | N/A | Hand tripped as per SRLDC instruction for voltage regulation in the system vide SRLDC code: CR12/104 |  | 100 | 744
[5 empty] | -- | 2016-12-14 | 3:00 | 2016-12-14 | 6:25 | -- | -- | -- | 0 | 0 | 3.4167 | 0 | N/A | N/A | N/A | Line tripped on Operation of Over voltage at TVLM end & DT recvd at KLN end. |  |  | 744
[6 empty] | 2016-12-26 | 14:32 | 2017-01-01 | 0:00 |  |  |  | 0 | 0 | 0 | 129.4667 |  |  |  | H/T as per SRLDC instruction for voltage regulation vide SRLDC code: CR12/961 |  |  | 744
[6 empty] | Sub Total --> | [6 empty] | 0 | 0 | 3.4167 | 371.25 | [6 empty] | 744
4 | SR1L04 | KURNOOL(NEW) - TIRUVALUM - II | 355.01 | SR-I | -- | 2016-11-07 | 11:00 | 2016-12-03 | 11:35 | -- | -- | -- | 0 | 0 | 0 | 624.5833 | N/A | N/A | N/A | Hand tripped as per SRLDC instruction for voltage regulation in the system vide SRLDC code: CR11/172 |  | 100 | 744
[6 empty] | 2016-12-12 | 20:34 | 2016-12-26 | 14:15 |  |  |  | 0 | 0 | 0 | 329.6833 |  |  |  | H/T as per SRLDC instruction for voltage regulation vide SRLDC code: CR12/430 |  |  | 744
[6 empty] | Sub Total --> | [6 empty] | 0 | 0 | 0 | 954.2667 | [6 empty] | 744
5 | SR1L05 | RAICHUR(NEW) - KURNOOL(NEW) - I | 120.482 | SR-I | -- | 2016-12-12 | 17:17 | 2016-12-12 | 17:34 | -- | -- | -- | 0.28333 | 0 | 0 | 0 | -- | -- | -- | Line tripped at RCN end only |  | 99.9619 | 744
[6 empty] | Sub Total --> | [6 empty] | 0.28333 | 0 | 0 | 0 | [6 empty] | 744
6 | SR1L06 | RAICHUR(NEW) - KURNOOL(NEW) - II | 118.423 | SR-I | -- | [11 empty] | N/A | N/A | N/A |  |  | 100 | 744
[5 empty] | -- | [11 empty] | N/A | N/A | N/A |  |  |  | 744
[5 empty] | -- | [11 empty] | N/A | N/A | N/A |  |  |  | 744
[5 empty] | -- | [11 empty] | N/A | N/A | N/A |  |  |  | 744
[5 empty] | -- | [11 empty] | N/A | N/A | N/A |  |  |  | 744
[5 empty] | -- | [11 empty] | N/A | N/A | N/A |  |  |  | 744
[5 empty] | -- | [11 empty] | N/A | N/A | N/A |  |  |  | 744
[5 empty] | -- | [11 empty] | N/A | N/A | N/A |  |  |  | 744
[5 empty] | -- | [11 empty] | N/A | N/A | N/A |  |  |  | 744
[5 empty] | -- | [11 empty] | N/A | N/A | N/A |  |  |  | 744
[5 empty] | -- | [11 empty] | N/A | N/A | N/A |  |  |  | 744
[6 empty] | Sub Total --> | [6 empty] | 0 | 0 | 0 | 0 | [6 empty] | 744
7 | SR1L07 | RAICHUR(NEW) - SHOLAPUR - I | 207.754 | SR-I | -- | -- | -- | -- |  | -- | -- | -- |  |  |  |  | -- | -- | -- | -- |  | 100 | 744
[6 empty] | Sub Total --> | [6 empty] | 0 | 0 | 0 | 0 | [6 empty] | 744
8 | SR1L08 | ALMATHY - THIRUVALAM I | 40.969 |  | -- | 2016-12-11 | 21:50 | 2016-12-14 | 11:36 | -- | -- | -- | 0 | 0 | 0 | 61.7667 | -- | -- | -- | H/Tas per SRLDC instruction for voltage regulation |  | 100 | 744
[6 empty] | 2016-12-11 | 21:50 | 2016-12-15 | 17:15 | -- | -- | -- | 0 | 0 | 0 | 91.4167 |  |  |  | H/T as per SRLDC instruction for voltage regulation |  |  | 744
[6 empty] | Sub Total --> | [6 empty] | 0 | 0 | 0 | 153.1833 | [6 empty] | 744
9 | SR1L09 | ALMATHY - THIRUVALAM II | 40.969 |  | -- | -- | -- | -- |  | -- | -- | -- |  |  |  |  | -- | -- | -- | -- |  | 100 | 744
[6 empty] | Sub Total --> | [6 empty] | 0 | 0 | 0 | 0 | [6 empty] | 744
10 | SR1L10 | ALMATHY - VALLUR - I | 36.348 | SR-I | -- | 2016-12-12 | 12:04 | 2016-12-14 | 11:08 | -- | -- | -- | 0 | 0 | 47.0667 | 0 | N/A | N/A | N/A | Tripped on Line Fault due to Vardha Cyclone |  | 100 | 744
[5 empty] | -- | 2016-12-15 | 14:21 | 2016-12-19 | 16:34 | -- | -- | -- | 0 | 0 | 0 | 98.2167 | N/A | N/A | N/A | S/D availed by Vallur end. For restoration works of Vardah Cyclone |  |  | 744
[6 empty] | Sub Total --> | [6 empty] | 0 | 0 | 47.0667 | 98.22 | [6 empty] | 744
11 | SR1L11 | ALMATHY - VALLUR - II | 36.348 | SR-I | -- | 2016-12-12 | 12:31 | 2016-12-13 | 12:35 | -- | -- | -- | 0 | 0 | 24.0667 | 0 | -- | -- | -- | Tripped on Line Fault due to Vardha Cyclone |  | 100 | 744
[5 empty] | -- | 2016-12-14 | 11:44 | 2016-12-14 | 16:37 |  |  |  | 0 | 0 | 0 | 4.8833 |  |  |  | Line H/T for line maintennace works vide code CR12/504 |  |  | 744
[6 empty] | Sub Total --> | [6 empty] | 0 | 0 | 24.0667 | 4.8833 | [6 empty] | 744
12 | SR1L12 | GAJWEL - HYDERABAD | 62.496 | SR-I | -- | 2016-12-19 | 9:20 | 2016-12-20 | 1:37 | -- | -- | -- | 0 | 0 | 0 | 16.28 | N/A | N/A | N/A | H/T for replacement of CVT under ADDCAP vide SRLDC code :696 |  | 100 | 744
[6 empty] | Sub Total --> | [6 empty] | 0 | 0 | 0 | 16.28 | [6 empty] | 744
13 | SR1L13 | GOOTY - NELAMANGALA | 256.13 | SR-I | -- | 2016-12-11 | 9:45 | 2016-12-11 | 18:03 | -- | -- | -- | 8.3 | 0 | 0 | 0 | -- | -- | -- | S/D availed by SR-2 for AMP works |  | 98.8844 | 744
[6 empty] | Sub Total --> | [6 empty] | 8.3 | 0 | 0 | 0 | [6 empty] | 744
14 | SR1L14 | GOOTY - RAICHUR(NEW) - I | 128.7 | SR-I | -- | 2016-12-20 | 8:16 | 2016-12-20 | 18:06 | -- | -- | -- | 9.83 | 0 | 0 | 0 | -- | -- | -- | S/D availed for line AMP works vide SRLDC code CR12/726 |  | 98.6788 | 744
[6 empty] | Sub Total --> | [6 empty] | 9.83 | 0 | 0 | 0 | [6 empty] | 744
15 | SR1L15 | GOOTY - RAICHUR(NEW) - II | 128.7 | SR-I | -- | 2016-12-21 | 8:10 | 2016-12-21 | 20:01 | -- | -- | -- | 11.85 | 0 | 0 | 0 | -- | -- | -- | S/D availed for line AMP works vide SRLDC code CR12/773 |  | 98.4073 | 744
[6 empty] | Sub Total --> | [6 empty] | 11.85 | 0 | 0 | 0 | [6 empty] | 744
16 | SR1L16 | GOOTY - TUMKUR - I | 208.6 | SR-I | -- | 2016-12-11 | 22:02 | 2016-12-12 | 12:03 | -- | -- | -- | 0 | 0 | 0 | 14.0167 | N/A | N/A | N/A | H/T as per SRLDC instruction for voltage regulation vide SRLDC code: CR12/383 |  | 99.8275 | 744
[5 empty] | -- | 2016-12-21 | 18:18 | 2016-12-21 | 19:35 | -- | -- | -- | 1.2833 | 0 | 0 | 0 | N/A | N/A | N/A | Tripped during the charging of GTY-RCN-2 line main CB (41452). Main CB LBB optd at GTY |  |  | 744
[6 empty] | Sub Total --> | [6 empty] | 1.2833 | 0 | 0 | 14.0167 | [6 empty] | 744
17 | SR1L17 | GOOTY - TUMKUR - II | 208.6 | SR-I | -- | 2016-12-01 | 21:53 | 2016-12-09 | 12:37 | -- | -- | -- | 0 | 0 | 0 | 182.7333 | N/A | N/A | N/A | Hand tripped as per SRLDC instruction for voltage regulation in the system vide SRLDC code: CR12/33 |  | 100 | 744
[5 empty] | -- | 2016-12-12 | 23:11 | 2016-12-18 | 9:02 | -- | -- | -- | 0 | 0 | 0 | 129.85 | N/A | N/A | N/A | H/T as per SRLDC instruction for voltage regulation vide SRLDC code: CR12/439 |  |  | 744
[5 empty] | -- | [17 empty] | 744
[5 empty] | -- | [17 empty] | 744
[6 empty] | Sub Total --> | [6 empty] | 0 | 0 | 0 | 312.5833 | [6 empty] | 744
18 | SR1L18 | HYDERABAD - KURNOOL | 226.5 | SR-I | -- | 2016-12-02 | 21:48 | 2016-12-02 | 21:55 | -- | -- | -- | 0 | 0 | 0.11667 | 0 | -- | -- | -- | Line tripped on Operation of Over voltage at Nurnoor end |  | 100 | 744
[5 empty] | -- | 2016-12-02 | 21:55 | 2016-12-26 | 12:10 | -- | -- | -- | 0 | 0 | 0 | 566.25 | N/A | N/A | N/A | Line kept out under LVRD as per SRLDC instructions |  |  | 744
[6 empty] | 2016-12-26 | 23:59 | 2016-12-27 | 0:04 |  |  |  | 0 | 0 | 0.083333 | 0 |  |  |  | Line tripped on Operation of Over voltage at Kurnool end & DT recvd at HYD end. |  |  | 744
[6 empty] | 2016-12-27 | 0:04 | 2017-01-01 | 0:00 |  |  |  | 0 | 0 | 0 | 119.9333 |  |  |  | Line tripped on Operation of Over voltage at Kurnool end & DT recvd at HYD end. |  |  | 744
[6 empty] | Sub Total --> | [6 empty] | 0 | 0 | 0.2 | 686.1833 | [6 empty] | 744
19 | SR1L19 | HYDERABAD - N'SAGAR | 155.264 | SR-I | -- | 2016-12-02 | 0:00 | 2016-12-02 | 0:05 |  | -- | -- | 0 | 0 | 0.083333 | 0 | -- | -- | -- | Line tripped on Operation of Over voltage at Hyderabad end |  | 100 | 744
[5 empty] | -- | 2016-12-02 | 0:05 | 2016-12-26 | 11:36 |  | -- | -- | 0 | 0 | 0 | 587.5167 | N/A | N/A | N/A | Line kept out under LVRD as per SRLDC instructions |  |  | 744
[5 empty] | -- | 2016-12-27 | 22:49 | 2017-01-01 | 0:00 |  | -- | -- | 0 | 0 | 0 | 97.1833 | N/A | N/A | N/A | H/T as per SRLDC instruction for voltage regulation vide SRLDC code 1003. |  |  | 744
[5 empty] | -- | [17 empty] | 744
[5 empty] | -- | [17 empty] | 744
[5 empty] | -- | [17 empty] | 744
[6 empty] | Sub Total --> | [6 empty] | 0 | 0 | 0.083333 | 684.7 | [6 empty] | 744
20 | SR1L20 | JEYPORE - GAJUWAKA - I | 220 | SR-I | -- | -- | -- | -- |  | -- | -- | -- |  |  |  |  | -- | -- | -- | -- |  | 100 | 744
[6 empty] | Sub Total --> | [6 empty] | 0 | 0 | 0 | 0 | [6 empty] | 744
21 | SR1L21 | JEYPORE - GAJUWAKA - II | 220 | SR-I | -- | [11 empty] | N/A | N/A | N/A |  |  | 100 | 744
[6 empty] | Sub Total --> | [6 empty] | 0 | 0 | 0 | 0 | [6 empty] | 744
22 | SR1L22 | KADAPA - NPKUNTA | 9.512 | SR-I | -- | -- |  | -- |  | -- | -- | -- |  |  |  |  | -- | -- | -- | -- |  | 100 | 744
[6 empty] | Sub Total --> | [6 empty] | 0 | 0 | 0 | 0 | [6 empty] | 744
23 | SR1L23 | KHAMMAM - N'SAGAR I | 144.577 | SR-I | -- | -- | -- | -- |  | -- | -- | -- |  |  |  |  | -- | -- | -- | -- |  | 100 | 744
[6 empty] | Sub Total --> | [6 empty] | 0 | 0 | 0 | 0 | [6 empty] | 744
24 | SR1L24 | KHAMMAM - VIJAYAWADA | 114.775 | SR-I | -- | [11 empty] | N/A | N/A | N/A |  |  | 100 | 744
[5 empty] | -- | [11 empty] | N/A | N/A | N/A |  |  |  | 744
[6 empty] | Sub Total --> | [6 empty] | 0 | 0 | 0 | 0 | [6 empty] | 744
25 | SR1L25 | KURNOOL(PG) - GOOTY | 112.609 | SR-I | -- | -- |  | -- |  | -- | -- | -- |  |  |  |  | -- | -- | -- | -- |  | 100 | 744
[6 empty] | Sub Total --> | [6 empty] | 0 | 0 | 0 | 0 | [6 empty] | 744
26 | SR1L26 | KURNOOL(AP) - GOOTY | 84.19 | SR-I | -- | -- |  | -- |  | -- | -- | -- |  |  |  |  | -- | -- | -- | -- |  | 100 | 744
[6 empty] | Sub Total --> | [6 empty] | 0 | 0 | 0 | 0 | [6 empty] | 744
27 | SR1L27 | KURNOOL - KURNOOL(NEW) - I | 9.88 | SR-I | -- | -- |  | -- |  | -- | -- | -- |  |  |  |  | -- | -- | -- | -- |  | 100 | 744
[6 empty] | Sub Total --> | [6 empty] | 0 | 0 | 0 | 0 | [6 empty] | 744
28 | SR1L28 | KURNOOL - KURNOOL(NEW) - II | 9.88 | SR-I | -- | -- |  | -- |  | -- | -- | -- |  |  |  |  | -- | -- | -- | -- |  | 100 | 744
[6 empty] | Sub Total --> | [6 empty] | 0 | 0 | 0 | 0 | [6 empty] | 744
29 | SR1L29 | MAHBOOBNAGAR - RAICHUR | 73.68 | SR-I | -- | 2016-12-01 | 9:35 | 2016-12-02 | 19:47 | -- | -- | -- | 0 | 0 | 0 | 34.2 | N/A | N/A | N/A | Shut down availed by TS TRANSCO for equipment overhauling works at raichur end |  | 100 | 744
[6 empty] | 2016-12-14 | 0:41 | 2016-12-14 | 0:45 |  |  |  | 0 | 0 | 0.066667 | 0 |  |  |  | Line tripped on Operation of Over voltage at Raichur end |  |  | 744
[6 empty] | 2016-12-14 | 0:45 | 2016-12-14 | 1:08 |  |  |  | 0 | 0 | 0 | 0.38333 |  |  |  | Line tripped on Operation of Over voltage at Velatoor end & DT recvd at RCN end. |  |  | 744
[6 empty] | Sub Total --> | [6 empty] | 0 | 0 | 0.066667 | 34.5833 | [6 empty] | 744
30 | SR1L30 | MALKARAM - HYDERABAD | 27.87 | SR-I | -- | -- | -- | -- |  | -- | -- | -- |  |  |  |  | -- | -- | -- | -- |  | 100 | 744
[6 empty] | Sub Total --> | [6 empty] | 0 | 0 | 0 | 0 | [6 empty] | 744
31 | SR1L31 | NELLOREPS - GOOTY - I | 289.004 | SR-I | -- | [11 empty] | N/A | N/A | N/A |  |  | 100 | 744
[6 empty] | Sub Total --> | [6 empty] | 0 | 0 | 0 | 0 | [6 empty] | 744
32 | SR1L32 | NELLOREPS - GOOTY - II | 289.004 | SR-I | -- | 2016-12-24 | 9:37 | 2016-12-24 | 18:37 | -- | -- | -- | 0 | 0 | 0 | 9 | -- | -- | -- | S/D availed for errection line reactor bushing at NPS vide SRLDC codde CR12/897 |  | 100 | 744
[6 empty] | Sub Total --> | [6 empty] | 0 | 0 | 0 | 9 | [6 empty] | 744
33 | SR1L33 | NELLOREPS - MEPL | 3.83 | SR-I | -- | -- |  | -- |  | -- | -- | -- |  |  |  |  | -- | -- | -- | -- |  | 100 | 744
[6 empty] | Sub Total --> | [6 empty] | 0 | 0 | 0 | 0 | [6 empty] | 744
34 | SR1L34 | NELLOREPS - SEPL | 3.83 | SR-I | -- | 2016-12-28 | 12:43 | 2016-12-28 | 18:54 | -- | -- | -- | 0 | 0 | 0 | 6.1833 | -- | -- | -- | S/D availed by SEPL vide SRLDC code 12/1010 |  | 100 | 744
[6 empty] | Sub Total --> | [6 empty] | 0 | 0 | 0 | 6.1833 | [6 empty] | 744
35 | SR1L35 | NELLOREPS - NCC - I | 33.58 | SR-I | -- | -- |  | -- |  | -- | -- | -- |  |  |  |  | -- | -- | -- | -- |  | 100 | 744
[6 empty] | Sub Total --> | [6 empty] | 0 | 0 | 0 | 0 | [6 empty] | 744
36 | SR1L36 | NELLOREPS - NCC - II | 32.73 | SR-I | -- | -- |  | -- |  | -- | -- | -- |  |  |  |  | -- | -- | -- | -- |  | 100 | 744
[6 empty] | Sub Total --> | [6 empty] | 0 | 0 | 0 | 0 | [6 empty] | 744
37 | SR1L37 | NELLOREPS - NELLORE - I | 3.65 | SR-I | -- | [11 empty] | -- | -- | -- |  |  | 100 | 744
[6 empty] | Sub Total --> | [6 empty] | 0 | 0 | 0 | 0 | [6 empty] | 744
38 | SR1L38 | NELLOREPS - NELLORE - II | 3.65 | SR-I | -- | [11 empty] | -- | -- | -- |  |  | 100 | 744
[6 empty] | Sub Total --> | [6 empty] | 0 | 0 | 0 | 0 | [6 empty] | 744
39 | SR1L39 | NELLORE - SIRIPERUMBUDUR I | 189 | SR-I | -- | 2016-12-12 | 21:30 | 2016-12-12 | 21:35 | -- | -- | -- | 0 | 0 | 0.083333 | 0 | -- | -- | -- | Line tripped on Operation of Over voltage at sriperumbudur end |  | 100 | 744
[6 empty] | 2016-12-12 | 21:35 | 2016-12-13 | 9:33 |  |  |  | 0 | 0 | 0 | 11.9667 |  |  |  | Line kept out under LVRD as per SRLDC instructions |  |  | 744
[6 empty] | Sub Total --> | [6 empty] | 0 | 0 | 0.083333 | 11.9667 | [6 empty] | 744
40 | SR1L40 | NELLORE - SIRIPERUMBUDUR II | 189 | SR-I | -- | 2016-12-12 | 13:51 | 2016-12-12 | 13:55 | -- | -- | -- | 0 | 0 | 0.066667 | 0 | -- | -- | -- | Line tripped on Operation of Over voltage at sriperumbudur end |  | 100 | 744
[6 empty] | 2016-12-12 | 13:55 | 2016-12-14 | 6:33 |  |  |  | 0 | 0 | 0 | 40.6333 |  |  |  | Line kept out under LVRD as per SRLDC instructions |  |  | 744
[6 empty] | Sub Total --> | [6 empty] | 0 | 0 | 0.066667 | 40.6333 | [6 empty] | 744
41 | SR1L41 | NELLORE - TIRUVALUM - I | 172.964 | SR-I | -- | -- |  | -- |  | -- | -- | -- |  |  |  |  | -- | -- | -- | -- |  | 100 | 744
[6 empty] | Sub Total --> | [6 empty] | 0 | 0 | 0 | 0 | [6 empty] | 744
42 | SR1L42 | NELLORE - TIRUVALUM - II | 172.964 | SR-I | -- | -- |  | -- |  | -- | -- | -- |  |  |  |  | -- | -- | -- | -- |  | 100 | 744
[6 empty] | Sub Total --> | [6 empty] | 0 | 0 | 0 | 0 | [6 empty] | 744
43 | SR1L43 | NELLOREPS - TPCIL - I | 32.73 | SR-I | -- | 2016-12-30 | 9:05 | 2017-01-01 | 18:51 | -- | -- | -- | 0 | 0 | 0 | 33.7667 | -- | -- | -- | H/T for SEM meter relocation works by M/S TPCIL vide SR/1074 |  | 100 | 744
[6 empty] | Sub Total --> | [6 empty] | 0 | 0 | 0 | 33.7667 | [6 empty] | 744
44 | SR1L44 | NELLOREPS - TPCIL - II | 32.73 | SR-I | -- | [11 empty] | N/A | N/A | N/A |  |  | 100 | 744
[6 empty] | Sub Total --> | [6 empty] | 0 | 0 | 0 | 0 | [6 empty] | 744
45 | SR1L45 | N'SAGAR - KADAPA - I | 277.325 | SR-I | -- | 2016-12-11 | 21:56 | 2016-12-12 | 11:58 | -- | -- | -- | 0 | 0 | 0 | 14.0333 | -- | -- | -- | H/Tas per SRLDC instruction for voltage regulation vide SRLDC code: CR12/384 |  | 100 | 744
[6 empty] | Sub Total --> | [6 empty] | 0 | 0 | 0 | 14.0333 | [6 empty] | 744
46 | SR1L46 | N'SAGAR - KADAPA - II | 278.664 | SR-I | -- | -- | -- | -- |  | -- | -- | -- |  |  |  |  | -- | -- | -- | -- |  | 100 | 744
[6 empty] | Sub Total --> | [6 empty] | 0 | 0 | 0 | 0 | [6 empty] | 744
47 | SR1L47 | N'SAGAR - KURNOOL(NEW) | 264.954 | SR-I | -- | -- | -- | -- |  | -- | -- | -- |  |  |  |  | -- | -- | -- | -- |  | 100 | 744
[6 empty] | Sub Total --> | [6 empty] | 0 | 0 | 0 | 0 | [6 empty] | 744
48 | SR1L48 | N'SAGAR - MAHBOOBNAGAR | 184.35 | SR-I | -- | 2016-12-05 | 2:01 | 2016-12-05 | 2:05 |  | -- | -- | 0 | 0 | 0.066667 | 0 | -- | -- | -- | Line tripped on Operation of Over voltage at Mahaboobnagar(Veltoor) end |  | 100 | 744
[6 empty] | 2016-12-05 | 2:05 | 2016-12-06 | 8:10 |  |  |  | 0 | 0 | 0 | 30.0833 |  |  |  | Line kept out under LVRD as per SRLDC instructions |  |  | 744
[6 empty] | 2016-12-07 | 1:59 | 2016-12-07 | 2:04 |  |  |  | 0 | 0 | 0.083333 | 0 |  |  |  | Line tripped on Operation of Over voltage at Mahaboobnagar(Veltoor) end |  |  | 744
[6 empty] | 2016-12-07 | 2:04 | 2016-12-07 | 8:48 |  |  |  | 0 | 0 | 0 | 6.7333 |  |  |  | Line tripped on Operation of Over voltage at Mahaboobnagar(Veltoor) end |  |  | 744
[6 empty] | 2016-12-12 | 23:29 | 2016-12-13 | 7:10 |  |  |  | 0 | 0 | 0 | 7.6833 |  |  |  | H/T as per SRLDC instruction for voltage regulation vide SRLDC code: CR12/440 |  |  | 744
[6 empty] | 2016-12-14 | 0:41 | 2016-12-14 | 0:45 |  |  |  | 0 | 0 | 0.066667 | 0 |  |  |  | Line tripped on Operation of Over voltage at Mahaboobnagar(Veltoor) end |  |  | 744
[6 empty] | 2016-12-14 | 0:45 | 2016-12-14 | 7:46 |  |  |  | 0 | 0 | 0 | 7.0167 |  |  |  | Line tripped on Operation of Over voltage at Mahaboobnagar(Veltoor) end & DT recvd at NSR end. |  |  | 744
[6 empty] | 2016-12-14 | 23:45 | 2016-12-15 | 8:07 |  |  |  | 0 | 0 | 0 | 8.3667 |  |  |  | H/T as per SRLDC instruction for voltage regulation vide SRLDC code: CR12/526 |  |  | 744
[6 empty] | 2016-12-16 | 23:14 | 2016-12-17 | 6:56 |  |  |  | 0 | 0 | 0 | 7.7 |  |  |  | H/T as per SRLDC instruction for voltage regulation |  |  | 744
[6 empty] | 2016-12-17 | 23:57 | 2016-12-18 | 7:55 |  |  |  | 0 | 0 | 0 | 7.9667 |  |  |  | H/T as per SRLDC instruction for voltage regulation vide SRLDC Code SR/663 |  |  | 744
[6 empty] | 2016-12-18 | 23:12 | 2016-12-19 | 6:57 |  |  |  | 0 | 0 | 0 | 7.75 |  |  |  | H/T as per SRLDC instruction for voltage regulation vide CR12/689. |  |  | 744
[6 empty] | 2016-12-20 | 0:49 | 2016-12-20 | 6:51 |  |  |  | 0 | 0 | 0 | 6.0333 |  |  |  | H/T as per SRLDC instruction for voltage regulation vide SRLDC code 689. |  |  | 744
[6 empty] | 2016-12-20 | 11:00 | 2016-12-20 | 12:32 |  |  |  | 0 | 0 | 0 | 1.5333 |  |  |  | H/T for works at Veltoor end.regulation vide SRLDC code 739. |  |  | 744
[6 empty] | Sub Total --> | [6 empty] | 0 | 0 | 0.21667 | 90.8667 | [6 empty] | 744
49 | SR1L49 | NPKUNTA - KOLAR | 9.512 | SR-I | -- | 2016-12-13 | 2:02 | 2016-12-13 | 2:05 | -- | -- | -- | 0 | 0 | 0.05 | 0 | -- | -- | -- | Line tripped on Operation of Over voltage at Kolar end |  | 100 | 744
[6 empty] | 2016-12-13 | 2:05 | 2016-12-13 | 6:50 |  |  |  | 0 | 0 | 0 | 4.75 |  |  |  | Line kept out under LVRD as per SRLDC instructions |  |  | 744
[6 empty] | Sub Total --> | [6 empty] | 0 | 0 | 0.05 | 4.75 | [6 empty] | 744
50 | SR1L50 | RAICHUR - MUNIRABAD | 172.44 | SR-I | -- | -- |  | -- |  | -- | -- | -- |  |  |  |  | -- | -- | -- | -- |  | 100 | 744
[6 empty] | Sub Total --> | [6 empty] | 0 | 0 | 0 | 0 | [6 empty] | 744
51 | SR1L51 | RAICHUR(NEW) - RAICHUR - I | 22.219 | SR-I | -- | -- |  | -- |  | -- | -- | -- |  |  |  |  | -- | -- | -- | -- |  | 100 | 744
[6 empty] | Sub Total --> | [6 empty] | 0 | 0 | 0 | 0 | [6 empty] | 744
52 | SR1L52 | RAICHUR(NEW) - RAICHUR - II | 22.219 | SR-I | -- | -- |  | -- |  | -- | -- | -- |  |  |  |  | -- | -- | -- | -- |  | 100 | 744
[6 empty] | Sub Total --> | [6 empty] | 0 | 0 | 0 | 0 | [6 empty] | 744
53 | SR1L53 | RAMAGUNDAM - CHANDRAPUR - I | 177.6 | SR-I | -- | 2016-12-16 | 16:51 | 2016-12-16 | 18:57 | -- | -- | -- | 2.1 | 0 | 0 | 0 | -- | -- | -- | Emergency S/D availed to attend Isolator hotspot at Chandrapur end |  | 99.7177 | 744
[5 empty] | -- | [17 empty] | 744
[5 empty] | -- | [17 empty] | 744
[5 empty] | -- | [17 empty] | 744
[6 empty] | Sub Total --> | [6 empty] | 2.1 | 0 | 0 | 0 | [6 empty] | 744
54 | SR1L54 | RAMAGUNDAM - CHANDRAPUR - II | 177.6 | SR-I | -- | -- | -- | -- |  | -- | -- | -- |  |  |  |  | -- | -- | -- | -- |  | 100 | 744
[6 empty] | Sub Total --> | [6 empty] | 0 | 0 | 0 | 0 | [6 empty] | 744
55 | SR1L55 | RAMAGUNDAM - GAJWEL | 124.765 | SR-I | -- | 2016-12-16 | 8:36 | 2016-12-16 | 16:38 | -- | -- | -- | 8.03 | 0 | 0 | 0 | -- | -- | -- | H/T for AMP works |  | 98.9207 | 744
[6 empty] | Sub Total --> | [6 empty] | 8.03 | 0 | 0 | 0 | [6 empty] | 744
56 | SR1L56 | RAMAGUNDAM - HYDERABAD - III | 201.236 | SR-I | -- | -- | -- | -- |  | -- | -- | -- |  |  |  |  | -- | -- | -- | -- |  | 100 | 744
[6 empty] | Sub Total --> | [6 empty] | 0 | 0 | 0 | 0 | [6 empty] | 744
57 | SR1L57 | RAMAGUNDAM - HYDERABAD - IV | 201.236 | SR-I |  | 2016-12-14 | 20:09 | 2016-12-14 | 21:11 | -- | -- | -- | 1.0333 | 0 | 0 | 0 | -- | -- | -- | Line tripped on Y-N fault at Hyderabad end. Line holding from Ramagundam end |  | 99.861 | 744
[6 empty] | 2016-12-16 | 22:58 | 2016-12-16 | 23:03 |  |  |  | 0 | 0 | 0.083333 | 0 |  |  |  | Line tripped on Operation of Over voltage at Hyderabad end & DT recvd at Ramagundam end. |  |  | 744
[6 empty] | 2016-12-16 | 23:03 | 2016-12-17 | 8:07 |  |  |  | 0 | 0 | 0 | 9.0667 |  |  |  | Line tripped on Operation of Over voltage at Hyderabad end & DT recvd at Ramagundam end. |  |  | 744
[6 empty] | 2016-12-17 | 22:01 | 2016-12-17 | 22:05 |  |  |  | 0 | 0 | 0.066667 | 0 |  |  |  | Line tripped on Operation of Over voltage at Hyderabad end & DT recvd at Ramagundam end. |  |  | 744
[6 empty] | 2016-12-17 | 22:05 | 2016-12-18 | 8:29 |  |  |  | 0 | 0 | 0 | 10.4 |  |  |  | Line kept out under LVRD as per SRLDC instructions |  |  | 744
[6 empty] | 2016-12-18 | 21:58 | 2016-12-18 | 22:03 |  |  |  | 0 | 0 | 0.083333 | 0 |  |  |  | Line tripped on Operation of Over voltage at Hyderabad end & DT recvd at Ramagundam end. |  |  | 744
[6 empty] | 2016-12-18 | 22:03 | 2016-12-19 | 9:11 |  |  |  | 0 | 0 | 0 | 11.1333 |  |  |  | Line kept out under LVRD as per SRLDC instructions |  |  | 744
[6 empty] | 2016-12-19 | 22:58 | 2016-12-19 | 23:00 |  |  |  | 0 | 0 | 0.033333 | 0 |  |  |  | Line tripped on Operation of Over voltage at Hyderabad end & DT recvd at Ramagundam end. |  |  | 744
[6 empty] | 2016-12-19 | 23:00 | 2016-12-20 | 11:06 |  |  |  | 0 | 0 | 0 | 12.1 |  |  |  | Line kept out under LVRD as per SRLDC instructions |  |  | 744
[6 empty] | 2016-12-21 | 1:09 | 2016-12-21 | 1:14 |  |  |  | 0 | 0 | 0.083333 | 0 |  |  |  | Line tripped on Operation of Over voltage at Hyderabad end & DT recvd at Ramagundam end. |  |  | 744
[6 empty] | 2016-12-21 | 1:14 | 2016-12-22 | 7:04 |  |  |  | 0 | 0 | 0 | 29.8333 |  |  |  | Line kept out under LVRD as per SRLDC instructions |  |  | 744
[6 empty] | 2016-12-22 | 22:50 | 2016-12-22 | 22:55 |  |  |  | 0 | 0 | 0.083333 | 0 |  |  |  | Line tripped on Operation of Over voltage at Hyderabad end & DT recvd at Ramagundam end. |  |  | 744
[6 empty] | 2016-12-22 | 22:55 | 2016-12-23 | 7:25 |  |  |  | 0 | 0 | 0 | 8.5 |  |  |  | Line tripped on Operation of Over voltage at Hyderabad end & DT recvd at Ramagundam end. |  |  | 744
[6 empty] | 2016-12-23 | 19:54 | 2016-12-23 | 20:00 |  |  |  | 0 | 0 | 0.1 | 0 |  |  |  | Line tripped on Operation of Over voltage at Hyderabad end & DT recvd at Ramagundam end. |  |  | 744
[6 empty] | 2016-12-23 | 20:00 | 2016-12-24 | 18:49 |  |  |  | 0 | 0 | 0 | 22.8167 |  |  |  | Line tripped on Operation of Over voltage at Hyderabad end & DT recvd at Ramagundam end. |  |  | 744
[6 empty] | Sub Total --> | [6 empty] | 1.0333 | 0 | 0.53333 | 103.85 | [6 empty] | 744
58 | SR1L58 | RAMAGUNDAM - MALKARAM | 166.212 | SR-I | -- | -- | -- | -- |  | -- | -- | -- |  |  |  |  | -- | -- | -- | -- |  | 100 | 744
[6 empty] | Sub Total --> | [6 empty] | 0 | 0 | 0 | 0 | [6 empty] | 744
59 | SR1L59 | RAMAGUNDAM - N'SAGAR - I | 267.2 | SR-I | -- | -- | -- | -- |  | -- | -- | -- |  |  |  |  | -- | -- | -- | -- |  | 100 | 744
[6 empty] | Sub Total --> | [6 empty] | 0 | 0 | 0 | 0 | [6 empty] | 744
60 | SR1L60 | RAMAGUNDAM - N'SAGAR - II | 267.2 | SR-I | -- | -- | -- | -- |  | -- | -- | -- |  |  |  |  | -- | -- | -- | -- |  | 100 | 744
[6 empty] | Sub Total --> | [6 empty] | 0 | 0 | 0 | 0 | [6 empty] | 744
61 | SR1L61 | RAMAGUNDAM - WARANGAL | 98.803 | SR-I | -- | -- | -- | -- |  | -- | -- | -- |  |  |  |  | -- | -- | -- | -- |  | 100 | 744
[6 empty] | Sub Total --> | [6 empty] | 0 | 0 | 0 | 0 | [6 empty] | 744
62 | SR1L62 | SIMHADRI - GAJUWAKA - I | 13.233 | SR-I | -- | -- |  | -- |  | -- | -- | -- |  |  |  |  | -- | -- | -- | -- |  | 100 | 744
[6 empty] | Sub Total --> | [6 empty] | 0 | 0 | 0 | 0 | [6 empty] | 744
63 | SR1L63 | SIMHADRI - GAJUWAKA - II | 13.272 | SR-I | -- | -- |  | -- |  | -- | -- | -- |  |  |  |  | -- | -- | -- | -- |  | 100 | 744
[6 empty] | Sub Total --> | [6 empty] | 0 | 0 | 0 | 0 | [6 empty] | 744
64 | SR1L64 | VEMAGIRI - SIMHADRI - I | 193.326 | SR-I | -- | 2016-12-01 | 10:53 | 2016-12-01 | 17:34 | -- | -- | -- | 0 | 0 | 6.6833 | 0 | -- | -- | -- | Tripped on Y-N Fault FL-64 from VMG and 127.3 from SMD end. At Loc 482 on earth wire of Ckt-I One No Kite was observed at location 438-439 |  | 100 | 744
[6 empty] | Sub Total --> | [6 empty] | 0 | 0 | 6.6833 | 0 | [6 empty] | 744
65 | SR1L65 | VEMAGIRI - SIMHADRI - II | 193.326 | SR-I | -- | -- |  | -- |  | -- | -- | -- |  |  |  |  | -- | -- | -- | -- |  | 100 | 744
[6 empty] | Sub Total --> | [6 empty] | 0 | 0 | 0 | 0 | [6 empty] | 744
66 | SR1L66 | VIJAYAWADA - GAJUWAKA | 316.899 | SR-I | -- | 2016-12-28 | 7:09 | 2016-12-30 | 16:55 | -- | -- | -- | 0 | 0 | 0 | 57.7667 | -- | -- | -- | H/T for LILO works at Vemagiri GIS vide SRLDC code 12/1007 |  | 100 | 744
[6 empty] | Sub Total --> | [6 empty] | 0 | 0 | 0 | 57.7667 | [6 empty] | 744
67 | SR1L67 | VIJAYAWADA - NELLORE - I | 340 | SR-I | -- | 2016-12-15 | 20:37 | 2016-12-15 | 20:37 | -- | -- | -- | 0 | 0 | 0 | -2.7165e-11 | -- | -- | -- | A/R optd sucessfully. Distance:151km, FC:2.17kA from NLR end. Distance:172.4kms FC:2.097kA from VJA end. |  | 100 | 744
[6 empty] | Sub Total --> | [6 empty] | 0 | 0 | 0 | 0 | [6 empty] | 744
68 | SR1L68 | VIJAYAWADA - NELLORE - II | 340 | SR-I | -- | 2016-12-07 | 2:40 | 2016-12-07 | 2:45 | -- | -- | -- | 0 | 0 | 0.083333 | 0 | -- | -- | -- | Line tripped on Operation of Over voltage at Vijayawada end |  | 100 | 744
[6 empty] | 2016-12-07 | 2:45 | 2017-01-01 | 0:00 |  |  |  | 0 | 0 | 0 | 597.25 |  |  |  | Line tripped on Operation of Over voltage at Vijayawada end |  |  | 744
[6 empty] | Sub Total --> | [6 empty] | 0 | 0 | 0.083333 | 597.25 | [6 empty] | 744
69 | SR1L69 | VIJAYAWADA-NELLORE(AP) | 330.393 | SR-I | -- | 2016-12-01 | 19:25 | 2016-12-01 | 21:02 | -- | -- | -- | 1.6167 | 0 | 0 | 0 | -- | -- | -- | Line tripped at Manubolu end only & line was holding from VJA end. |  | 99.7827 | 744
[6 empty] | Sub Total --> | [6 empty] | 1.6167 | 0 | 0 | 0 | [6 empty] | 744
70 | SR1L70 | VIJAYAWADA - VEMAGIRI - III | 195.21 | SR-I | -- | 2016-12-13 | 1:00 | 2016-12-22 | 11:14 | -- | -- | -- | 0 | 0 | 0 | 226.2333 | -- | -- | -- | H/T as per SRLDC instruction for voltage regulation vide SRLDC code: CR12/442 |  | 100 | 744
[6 empty] | Sub Total --> | [6 empty] | 0 | 0 | 0 | 226.2333 | [6 empty] | 744
71 | SR1L71 | VIJAYAWADA - VEMAGIRI - IV | 195.21 | SR-I | -- | -- |  | -- |  | -- | -- | -- |  |  |  |  | -- | -- | -- | -- |  | 100 | 744
[6 empty] | Sub Total --> | [6 empty] | 0 | 0 | 0 | 0 | [6 empty] | 744
72 | SR1L72 | VTPS-NELLORE(AP) | 330.87 | SR-I | -- | -- | -- | -- |  | -- | -- | -- |  |  |  |  | -- | -- | -- | -- |  | 100 | 744
[6 empty] | Sub Total --> | [6 empty] | 0 | 0 | 0 | 0 | [6 empty] | 744
73 | SR1L73 | WARANGAL - KHAMMAM | 117.087 | SR-I | -- | [11 empty] | N/A | N/A | N/A |  |  | 100 | 744
[6 empty] | Sub Total --> | [6 empty] | 0 | 0 | 0 | 0 | [6 empty] | 744
74 | SR1T01 | KURNOOL(NEW) ICT - I | 1500 | SR-I | -- | [11 empty] | N/A | N/A | N/A |  |  | 100 | 744
[6 empty] | Sub Total --> | [6 empty] | 0 | 0 | 0 | 0 | [6 empty] | 744
75 | SR1T02 | KURNOOL(NEW) ICT - II | 1500 | SR-I | -- | -- |  | -- |  | -- | -- | -- |  |  |  |  | -- | -- | -- | -- |  | 100 | 744
[6 empty] | Sub Total --> | [6 empty] | 0 | 0 | 0 | 0 | [6 empty] | 744
76 | SR1T03 | NELLOREPS ICT - II | 1500 | SR-I | -- | 2016-12-22 | 10:06 | 2016-12-22 | 18:37 | -- | -- | -- | 8.5167 | 0 | 0 | 0 | -- | -- | -- | S/D availed for AMP works vide SRLDC code CR12/834 |  | 98.8553 | 744
[6 empty] | Sub Total --> | [6 empty] | 8.5167 | 0 | 0 | 0 | [6 empty] | 744
77 | SR1T04 | NELLOREPS ICT - III | 1500 | SR-I | -- | -- |  | -- |  | -- | -- | -- |  |  |  |  | -- | -- | -- | -- |  | 100 | 744
[6 empty] | Sub Total --> | [6 empty] | 0 | 0 | 0 | 0 | [6 empty] | 744
78 | SR1T05 | RAICHUR(NEW) ICT - I | 1500 | SR-I | -- | 2016-12-02 | 10:02 | 2016-12-02 | 19:03 | -- | -- | -- | 0 | 0 | 0 | 9.0167 | -- | -- | -- | S/D availed for CSD works vide SR11/48 |  | 100 | 744
[6 empty] | Sub Total --> | [6 empty] | 0 | 0 | 0 | 9.0167 | [6 empty] | 744
79 | SR1T06 | RAICHUR(NEW) ICT - II | 1500 | SR-I | -- | 2016-12-03 | 10:22 | 2016-12-03 | 18:03 | -- | -- | -- | 0 | 0 | 0 | 7.6833 | -- | -- | -- | S/D availed for CSD works vide SR12/94 |  | 100 | 744
[6 empty] | Sub Total --> | [6 empty] | 0 | 0 | 0 | 7.6833 | [6 empty] | 744
80 | SR1T07 | CUDDAPAH ICT I | 315 | SR-I | -- | 2016-12-24 | 0:03 | 2016-12-24 | 0:49 | -- | -- | -- | 0 | 0.76667 | 0 | 0 | -- | -- | -- | Tripped due to operation of 220kV busbar protection at APTRANSCO end. |  | 100 | 744
[6 empty] | 2016-12-30 | 12:03 | 2016-12-30 | 15:13 |  |  |  | 0 | 0 | 0 | 3.1667 |  |  |  | Tripped due to operation of 220kV busbar protection at APTRANSCO end. |  |  | 744
[6 empty] | Sub Total --> | [6 empty] | 0 | 0.76667 | 0 | 3.1667 | [6 empty] | 744
81 | SR1T08 | CUDDAPAH ICT II | 315 | SR-I | -- | -- |  | -- |  | -- | -- | -- |  |  |  |  | -- | -- | -- | -- |  | 100 | 744
[6 empty] | Sub Total --> | [6 empty] | 0 | 0 | 0 | 0 | [6 empty] | 744
82 | SR1T09 | GAJUWAKA ICT I | 315 | SR-I | -- | -- | -- | -- |  | -- | -- | -- |  |  |  |  | -- | -- | -- | -- |  | 100 | 744
[6 empty] | Sub Total --> | [6 empty] | 0 | 0 | 0 | 0 | [6 empty] | 744
83 | SR1T10 | GAZUWAKA ICT II | 315 | SR-I | -- | -- | -- | -- |  | -- | -- | -- |  |  |  |  | -- | -- | -- | -- |  | 100 | 744
[6 empty] | Sub Total --> | [6 empty] | 0 | 0 | 0 | 0 | [6 empty] | 744
84 | SR1T11 | GOOTY ICT I | 315 | SR-I | -- | -- | -- | -- |  | -- | -- | -- |  |  |  |  | -- | -- | -- | -- |  | 100 | 744
[6 empty] | Sub Total --> | [6 empty] | 0 | 0 | 0 | 0 | [6 empty] | 744
85 | SR1T12 | GOOTY ICT II | 315 | SR-I | -- | -- |  | -- |  | -- | -- | -- |  |  |  |  | -- | -- | -- | -- |  | 100 | 744
[6 empty] | Sub Total --> | [6 empty] | 0 | 0 | 0 | 0 | [6 empty] | 744
86 | SR1T13 | HYDERABAD ICT - I | 315 | SR-I | -- | -- | -- | -- |  | -- | -- | -- |  |  |  |  | -- | -- | -- | -- |  | 100 | 744
[6 empty] | Sub Total --> | [6 empty] | 0 | 0 | 0 | 0 | [6 empty] | 744
87 | SR1T14 | HYDERABAD ICT - II | 315 | SR-I | -- | 2016-12-26 | 9:49 | 2016-12-26 | 18:21 | -- | -- | -- | 8.5333 | 0 | 0 | 0 | -- | -- | -- | S/D availed for AMP works vide SRLDC code CR12/941 |  | 98.853 | 744
[6 empty] | Sub Total --> | [6 empty] | 8.5333 | 0 | 0 | 0 | [6 empty] | 744
88 | SR1T15 | HYDERABAD ICT - III | 315 | SR-I | -- | 2016-12-08 | 15:02 | 2016-12-08 | 17:38 | -- | -- | -- | 0 | 0 | 0 | 2.6 | -- | -- | -- | Hand tripped for construction works |  | 98.2504 | 744
[6 empty] | 2016-12-10 | 14:08 | 2016-12-10 | 16:35 |  |  |  | 0 | 0 | 0 | 2.45 |  |  |  | Hand tripped for construction works |  |  | 744
[6 empty] | 2016-12-15 | 10:41 | 2016-12-15 | 23:42 |  |  |  | 13.0167 | 0 | 0 | 0 |  |  |  | AMP works |  |  | 744
[6 empty] | Sub Total --> | [6 empty] | 13.0167 | 0 | 0 | 5.05 | [6 empty] | 744
89 | SR1T16 | KHAMMAM ICT I | 315 | SR-I | -- | -- |  | -- |  | -- | -- | -- |  |  |  |  | -- | -- | -- | -- |  | 100 | 744
[6 empty] | Sub Total --> | [6 empty] | 0 | 0 | 0 | 0 | [6 empty] | 744
90 | SR1T17 | KHAMMAM ICT II | 315 | SR-I | -- | -- | -- | -- |  | -- | -- | -- |  |  |  |  | -- | -- | -- | -- |  | 100 | 744
[6 empty] | Sub Total --> | [6 empty] | 0 | 0 | 0 | 0 | [6 empty] | 744
91 | SR1T18 | MUNIRABAD ICT I | 315 | SR-I | -- | -- |  | -- |  | -- | -- | -- |  |  |  |  | -- | -- | -- | -- |  | 100 | 744
[6 empty] | Sub Total --> | [6 empty] | 0 | 0 | 0 | 0 | [6 empty] | 744
92 | SR1T19 | MUNIRABAD ICT II | 315 | SR-I | -- | 2016-12-15 | 10:15 | 2016-12-23 | 13:19 | -- | -- | -- | 195.0667 | 0 | 0 | 0 | -- | -- | -- | B-Ph HV side Bushing replacement works |  | 73.7814 | 744
[6 empty] | Sub Total --> | [6 empty] | 195.0667 | 0 | 0 | 0 | [6 empty] | 744
93 | SR1T20 | NAGARJUNASAGAR ICT - I | 315 | SR-I | -- | 2016-12-13 | 14:27 | 2016-12-13 | 19:09 |  |  |  | 4.7 | 0 | 0 | 0 | N/A | N/A | N/A | H/T as S/D requested by AP Transco to attend hotspots in 220 KV switch yard |  | 99.3683 | 744
[5 empty] | -- | 2016-12-16 | 16:13 | 2016-12-16 | 17:00 |  |  |  | 0 | 0 | 0 | 0.78333 | N/A | N/A | N/A |  |  |  | 744
[6 empty] | Sub Total --> | [6 empty] | 4.7 | 0 | 0 | 0.78333 | [6 empty] | 744
94 | SR1T21 | NAGARJUNASAGAR ICT - II | 315 | SR-I | -- | 2016-12-16 | 12:39 | 2016-12-16 | 15:35 |  |  |  | 0 | 0 | 0 | 2.9333 | N/A | N/A | N/A | S/D availed for AMP works vide SRLDC code CR12/732 |  | 100 | 744
[6 empty] | Sub Total --> | [6 empty] | 0 | 0 | 0 | 2.9333 | [6 empty] | 744
95 | SR1T22 | NAGARJUNASAGAR ICT - III | 315 | SR-I | -- | 2016-12-20 | 9:40 | 2016-12-20 | 17:34 |  |  |  | 7.9 | 0 | 0 | 0 | N/A | N/A | N/A | S/D availed for AMP works vide SRLDC code CR12/732 |  | 98.9382 | 744
[6 empty] | Sub Total --> | [6 empty] | 7.9 | 0 | 0 | 0 | [6 empty] | 744
96 | SR1T23 | NPKUNTA ICT - I | 500 | SR-I | -- | 2016-12-19 | 10:54 | 2016-12-19 | 20:21 |  |  |  | 0 | 0 | 0 | 9.45 | N/A | N/A | N/A | S/D availed for CSD works vide SRLDC Code 701 |  | 100 | 744
[6 empty] | Sub Total --> | [6 empty] | 0 | 0 | 0 | 9.45 | [6 empty] | 744
97 | SR1T24 | NPKUNTA ICT - II | 500 | SR-I | -- | 2016-12-20 | 11:00 | 2016-12-20 | 18:21 | -- | -- | -- | 0 | 0 | 0 | 7.35 | -- | -- | -- | S/D availed for CSD commissioning works vide SRLDC code CR12/738 |  | 100 | 744
[6 empty] | Sub Total --> | [6 empty] | 0 | 0 | 0 | 7.35 | [6 empty] | 744
98 | SR1T25 | NPKUNTA ICT - III | 500 | SR-I | -- | 2016-12-21 | 10:05 | 2016-12-21 | 20:20 | -- | -- | -- | 0 | 0 | 0 | 10.25 | -- | -- | -- | S/D availed for CSD commissioning works vide SRLDC code CR12/780 |  | 100 | 744
[6 empty] | Sub Total --> | [6 empty] | 0 | 0 | 0 | 10.25 | [6 empty] | 744
99 | SR1T26 | VIJAYAWADA ICT I | 315 | SR-I | -- | 2016-12-01 | 10:24 | 2016-12-01 | 21:02 | -- | -- | -- | 10.63 | 0 | 0 | 0 | -- | -- | -- | Shut down for AMP |  | 98.5712 | 744
[6 empty] | Sub Total --> | [6 empty] | 10.63 | 0 | 0 | 0 | [6 empty] | 744
100 | SR1T27 | VIJAYAWADA ICT II | 315 | SR-I | -- | [11 empty] | N/A | N/A | N/A |  |  | 100 | 744
[6 empty] | Sub Total --> | [6 empty] | 0 | 0 | 0 | 0 | [6 empty] | 744
101 | SR1T28 | WARANGAL ICT I | 315 | SR-I | -- | -- |  | -- |  | -- | -- | -- |  |  |  |  | -- | -- | -- | -- |  | 100 | 744
[6 empty] | Sub Total --> | [6 empty] | 0 | 0 | 0 | 0 | [6 empty] | 744
102 | SR1T29 | WARANGAL ICT II | 315 | SR-I | -- | -- |  | -- |  | -- | -- | -- |  |  |  |  | -- | -- | -- | -- |  | 100 | 744
[6 empty] | Sub Total --> | [6 empty] | 0 | 0 | 0 | 0 | [6 empty] | 744
103 | SR1R01 | KURNOOL(NEW) BUS REACTOR | 240 | SR-I | -- | -- |  | -- |  | -- | -- | -- |  |  |  |  | -- | -- | -- | -- |  | 100 | 744
[6 empty] | Sub Total --> | [6 empty] | 0 | 0 | 0 | 0 | [6 empty] | 744
104 | SR1R02 | NELLOREPS BUS REACTOR | 240 | SR-I | -- | -- |  | -- |  | -- | -- | -- |  |  |  |  | -- | -- | -- | -- |  | 100 | 744
[6 empty] | Sub Total --> | [6 empty] | 0 | 0 | 0 | 0 | [6 empty] | 744
105 | SR1R03 | RAICHUR(NEW) BUS REACTOR | 240 | SR-I | -- | -- |  | -- |  | -- | -- | -- |  |  |  |  | -- | -- | -- | -- |  | 100 | 744
[6 empty] | Sub Total --> | [6 empty] | 0 | 0 | 0 | 0 | [6 empty] | 744
106 | SR1R04 | SHOLAPUR-I L/R AT RAICHUR(NEW) | 240 | SR-I | -- | -- |  | -- |  | -- | -- | -- |  |  |  |  | -- | -- | -- | -- |  | 100 | 744
[6 empty] | Sub Total --> | [6 empty] | 0 | 0 | 0 | 0 | [6 empty] | 744
107 | SR1R05 | SHOLAPUR-II L/R AT RAICHUR(NEW) | 240 | SR-I | -- | -- |  | -- |  | -- | -- | -- |  |  |  |  | -- | -- | -- | -- |  | 100 | 744
[6 empty] | Sub Total --> | [6 empty] | 0 | 0 | 0 | 0 | [6 empty] | 744
108 | SR1R06 | CUDDAPAH BUS REACTOR | 50 | SR-I | -- | [11 empty] | N/A | N/A | N/A |  |  | 100 | 744
[6 empty] | Sub Total --> | [6 empty] | 0 | 0 | 0 | 0 | [6 empty] | 744
109 | SR1R07 | GOOTY BUS REACTOR | 63 | SR-I | -- | -- |  | -- |  | -- | -- | -- |  |  |  |  | -- | -- | -- | -- |  | 100 | 744
[6 empty] | Sub Total --> | [6 empty] | 0 | 0 | 0 | 0 | [6 empty] | 744
110 | SR1R08 | GOOTY L/R AT NELAMANGALA END | 80 | SR-I | -- | -- |  | -- |  | -- | -- | -- |  |  |  |  | -- | -- | -- | -- |  | 100 | 744
[6 empty] | Sub Total --> | [6 empty] | 0 | 0 | 0 | 0 | [6 empty] | 744
111 | SR1R09 | HYDERABAD BUS REACTOR | 63 | SR-I | -- | -- | -- | -- |  | -- | -- | -- |  |  |  |  | -- | -- | -- | -- |  | 100 | 744
[6 empty] | Sub Total --> | [6 empty] | 0 | 0 | 0 | 0 | [6 empty] | 744
112 | SR1R10 | KHAMMAM BUS REACTOR | 50 | SR-I | -- | [11 empty] | N/A | N/A | N/A |  |  | 100 | 744
[6 empty] | Sub Total --> | [6 empty] | 0 | 0 | 0 | 0 | [6 empty] | 744
113 | SR1R11 | MUNIRABAD BUS REACTOR | 63 | SR-I | -- | -- |  | -- |  | -- | -- | -- |  |  |  |  | -- | -- | -- | -- |  | 100 | 744
[6 empty] | Sub Total --> | [6 empty] | 0 | 0 | 0 | 0 | [6 empty] | 744
114 | SR1R12 | NAGARJUNASAGAR BUS REACTOR | 50 | SR-I | -- | -- |  | -- |  | -- | -- | -- |  |  |  |  | -- | -- | -- | -- |  | 100 | 744
[6 empty] | Sub Total --> | [6 empty] | 0 | 0 | 0 | 0 | [6 empty] | 744
115 | SR1R13 | NELLORE BUS REACTOR | 80 | SR-I | -- | -- |  | -- |  | -- | -- | -- |  |  |  |  | -- | -- | -- | -- |  | 100 | 744
[6 empty] | Sub Total --> | [6 empty] | 0 | 0 | 0 | 0 | [6 empty] | 744
116 | SR1R14 | NPKUNTA BUS REACTOR | 125 | SR-I | -- | -- |  | -- |  | -- | -- | -- |  |  |  |  | -- | -- | -- | -- |  | 100 | 744
[6 empty] | Sub Total --> | [6 empty] | 0 | 0 | 0 | 0 | [6 empty] | 744
117 | SR1R15 | VIJAYAWADA BUS REACTOR | 63 | SR-I | -- | -- |  | -- |  | -- | -- | -- |  |  |  |  | -- | -- | -- | -- |  | 100 | 744
[6 empty] | Sub Total --> | [6 empty] | 0 | 0 | 0 | 0 | [6 empty] | 744
118 | SR1R16 | VISAKHAPATNAM BUS REACTOR | 50 | SR-I | -- | 2016-12-01 | 0:00 | 2017-01-01 | 0:00 |  |  |  | 0 | 0 | 0 | 744 | N/A | N/A | N/A |  |  | 100 | 744
[6 empty] | Sub Total --> | [6 empty] | 0 | 0 | 0 | 744 | [6 empty] | 744
119 | SR1B1 | GAJUWAKA BACK TO BACK POLE - I | 500 | SR-I | -- | 2016-12-16 | 15:24 | 2016-12-16 | 16:41 | -- | -- | -- | 1.28 | 0 | 0 | 0 | -- | -- | -- | Pole-1 tripped on VBE fault |  | 99.828 | 744
[6 empty] | Sub Total --> | [6 empty] | 1.28 | 0 | 0 | 0 | [6 empty] | 744
120 | SR1B2 | GAJUWAKA BACK TO BACK POLE - II | 500 | SR-I | -- | 2016-12-05 | 15:03 | 2016-12-05 | 16:17 | -- | -- | -- | 0 | 0 | 1.2333 | 0 | -- | -- | -- | Pole#2 Blocked due to fluctuation in AC system and tripping of Filters |  | 100 | 744
[6 empty] | Sub Total --> | [6 empty] | 0 | 0 | 1.23 | 0 | [6 empty] | 744
121 | SR1B3 | TALCHER - KOLAR HVDC POLE - I | 1000 | SR-I | -- | -- |  | -- |  | -- | -- | -- |  |  |  |  | -- | -- | -- | -- |  | 100 | 744
[6 empty] | Sub Total --> | [6 empty] | 0 | 0 | 0 | 0 | [6 empty] | 744
122 | SR1B4 | TALCHER - KOLAR HVDC POLE - II | 1000 | SR-I | -- | -- |  | -- |  | -- | -- | -- |  |  |  |  | -- | -- | -- | -- |  | 100 | 744
[6 empty] | Sub Total --> | [6 empty] | 0 | 0 | 0 | 0 | [6 empty] | 744
|  |  | Note in type of failure column please indicate following : | [9 empty] | 293.97 | 0.76667 | 83.8483 | 6435.2983
2) Transformer / Reactor failure like winding failure, Bushing failure, OLTC failure, Others etc
3) Tower collapse

## LR & FSC
EXCLUSIVE OUTAGE OF STATIC VAR COMPENSATOR/SERIESE COMPENSATOR/ LINE REACTORS FOR THE MONTH OF DECEMBER 2016
Sl.No. | Unique ID of Transmission Element | Element Name | Description (Length/Nos./MVA/MVAR/MW/etc.) | Region | Type of Failure | Out Date and Time | Restoration Date and Time | Details of outage (No. of towers damaged, no. of insulator failed etc.) | Total outage (in Days) | Duration of Outage (Hrs) Attributable to |  |  |  | Restoration on Time as per Regulation 5(b) | Whether Restoration Time more than normative (Y/N) | Difference between Actual and Norm | Detailed Reason for Outage | Outage Certifying Agency and Reference Document | % Availability as certified by certifying Agency
[10 empty] | ISTS Licensee | Others | System constraint /Natural Calamity /Militancy | Deemed Available
GTY LR at NSR
1 |  | GTY LR at NSR | 50 | SR1 |  | NO OUTAGES | [11 empty] | SRPC | 100%
GWK I LR at VJA
2 |  | GWK I LR at VJA | 63 | SR1 |  | NO OUTAGES | [11 empty] | SRPC | 100%
GWL LR at HYD
3 |  | GWL LR at HYD | 50 | SR1 |  | NO OUTAGES | [11 empty] | SRPC | 100%
JEY I LR at GWK
4 |  | JEY I LR at GWK | 80 | SR1 |  | NO OUTAGES | [11 empty] | SRPC | 100%
JEY II LR at GWK
5 |  | JEY II LR at GWK | 80 | SR1 |  | NO OUTAGES | [11 empty] | SRPC | 100%
MBN LR at NSR
6 |  | MBN LR at NSR | 63 | SR1 |  | NO OUTAGES | [11 empty] | SRPC | 100%
MLK LR at HYD
7 |  | MLK LR at HYD | 50 | SR1 |  | NO OUTAGES | [11 empty] | SRPC | 100%
NLR I LR at VJA
8 |  | NLR I LR at VJA | 50 | SR1 |  | NO OUTAGES | [11 empty] | SRPC | 100%
NLR II LR at VJA
9 |  | NLR II LR at VJA | 50 | SR1 |  | NO OUTAGES | [11 empty] | SRPC | 100%
NSR I LR at CDP
10 |  | NSR I LR at CDP | 50 | SR1 |  | NO OUTAGES | [11 empty] | SRPC | 100%
NSR II LR at CDP
11 |  | NSR II LR at CDP | 50 | SR1 |  | NO OUTAGES | [11 empty] | SRPC | 100%
NSR LR at GTY
12 |  | NSR LR at GTY | 50 | SR1 |  | NO OUTAGES | [11 empty] | SRPC | 100%
POLE II ER at GWK
13 |  | POLE II ER at GWK | 80 | SR1 |  | NO OUTAGES | [11 empty] | SRPC | 100%
POLE II SR at GWK
14 |  | POLE II SR at GWK | 80 | SR1 |  | NO OUTAGES | [11 empty] | SRPC | 100%
RCR LR at MBD
15 |  | RCR LR at MBD | 63 | SR1 |  | NO OUTAGES | [11 empty] | SRPC | 100%
RDM I LR at NSR
16 |  | RDM I LR at NSR | 50 | SR1 |  | NO OUTAGES | [11 empty] | SRPC | 100%
RDM II LR at NSR
17 |  | RDM II LR at NSR | 50 | SR1 |  | NO OUTAGES | [11 empty] | SRPC | 100%
SMH I LR at GWK
18 |  | SMH I LR at GWK | 63 | SR1 |  | NO OUTAGES | [11 empty] | SRPC | 100%
SMH II LR at GWK
19 |  | SMH II LR at GWK | 63 | SR1 |  | NO OUTAGES | [11 empty] | SRPC | 100%
VJA I LR at GWK
20 |  | VJA I LR at GWK | 63 | SR1 |  | NO OUTAGES | [11 empty] | SRPC | 100%
VJA I LR at NLR
21 |  | VJA I LR at NLR | 50 | SR1 |  | NO OUTAGES | [11 empty] | SRPC | 100%
VJA II LR at NLR
22 |  | VJA II LR at NLR | 50 | SR1 |  | NO OUTAGES | [11 empty] | SRPC | 100%
VMG III LR at VJA
23 |  | VMG III LR at VJA | 63 | SR1 |  | NO OUTAGES | [11 empty] | SRPC | 100%
VMG IV LR at VJA
24 |  | VMG IV LR at VJA | 63 | SR1 |  | NO OUTAGES | [11 empty] | SRPC | 100%
WGL LR at KMM
25 |  | WGL LR at KMM | 50 | SR1 |  | NO OUTAGES | [11 empty] | SRPC | 100%
NSR I FSC at CDP
26 |  | NSR I FSC at CDP | 201.75 | SR1 |  | NO OUTAGES | [11 empty] | SRPC | 100%
NSR II FSC at CDP
27 |  | NSR II FSC at CDP | 201.75 | SR1 |  | NO OUTAGES | [11 empty] | SRPC | 100%
FSC-1 at GTY
28 |  | FSC-1 at GTY | 181.5 | SR1 |  | NO OUTAGES | [11 empty] | SRPC | 100%
FSC-2 at GTY
29 |  | FSC-2 at GTY | 181.5 | SR1 |  | NO OUTAGES | [11 empty] | SRPC | 100%
TVLM1 LR at NLR
30 |  | TVLM1 LR at NLR | 50 | SR1 |  | NO OUTAGES | [11 empty] | SRPC | 100%
TVLM2 LR at NLR
31 |  | TVLM2 LR at NLR | 50 | SR1 |  | NO OUTAGES | [11 empty] | SRPC | 100%
VTPS LR at NLRAP
32 |  | VTPS LR at NLRAP | 63 | SR1 |  | NO OUTAGES | [11 empty] | SRPC | 100%
VJA LR at NLRAP
33 |  | VJA LR at NLRAP | 63 | SR1 |  | NO OUTAGES | [11 empty] | SRPC | 100%
NLRAP LR at VJA
34 |  | NLRAP LR at VJA | 63 | SR1 |  | NO OUTAGES | [11 empty] | SRPC | 100%
NLRAP LR at VTPS
35 |  | NLRAP LR at VTPS | 63 | SR1 |  | NO OUTAGES | [11 empty] | SRPC | 100%
KURNOOL I L/R AT NPS
36 |  | KURNOOL I L/R AT NPS | 240 | SR1 |  | NO OUTAGES | [11 empty] | SRPC | 100%
KURNOOL II L/R AT NPS
37 |  | KURNOOL II L/R AT NPS | 240 | SR1 |  | NO OUTAGES | [11 empty] | SRPC | 100%
NPS I L/R AT KURNOOL
38 |  | NPS I L/R AT KURNOOL | 240 | SR1 |  | NO OUTAGES | [11 empty] | SRPC | 100%
NPS II L/R AT KURNOOL
39 |  | NPS II L/R AT KURNOOL | 240 | SR1 |  | NO OUTAGES | [11 empty] | SRPC | 100%
TVLM I L/R AT KURNOOL
40 |  | TVLM I L/R AT KURNOOL | 240 | SR1 |  | NO OUTAGES | [11 empty] | SRPC | 100%
TVLM II L/R AT KURNOOL
41 |  | TVLM II L/R AT KURNOOL | 240 | SR1 |  | NO OUTAGES | [11 empty] | SRPC | 100%
GRAND TOTAL | [9 empty] | 0 | 0 | 0 | 0