## SOP
Standard of Performance data for the month of AUGUST-2021
Name of Transmission Licensee : POWERGRID SOUTHERN INTERCONNECTOR TRANSMISSION CORPORATION LIMITED
Sl No: | Unique ID of transmission Element | Element Name | Description (Length/Nos./MVA/MVAr/MW/etc.) | Region | Type of failure | OUTAGE |  | RESTORATION |  | Details of Outage |  | Total outage in Hrs (1) | DURATION OF OUTAGE ATTRIBUTABLE TO (in Hrs) |  |  |  | Restoration Time as per Regulation 5(b) (2) | Whether Restoration Time more than normative (Y/N) | Difference between Actual and Norm 1-2 | Detailed Reason(s) for Outage | Outage Certifying Agency and Reference Document | % Availability as certified by certifying agency
[6 empty] | Date | Time | Date | Time | No. of towers damaged | no. of insulator failed |  | ISTS Licensee | OTHERS | System Constraints/ Natural calamity / Militancy | Deemed Available
1 | SR1L01 | SRIKAKULAM-GARIVIDI - I | 143.918 | SR-I |  | 2021-08-30 | 0:12 | 2021-08-30 | 16:16 |  |  | 16.0667 | 16.0667 | [6 empty] | Tripped on B-N fault A/R unsuccessful.Tripped on persistent fault | SRPC, SRPC/SE-I/PGTA/2014/10274/291, Dtd. 27.11.14 | 97.8405 | 744
744
744
744
744
744
[6 empty] | Sub Total --> | [6 empty] | 16.0667 | 0 | 0 | 0 | [6 empty] | 744
2 | SR1L02 | SRIKAKULAM-GARIVIDI - II | 143.918 | SR-I | -- | [16 empty] | 100 | 744
744
744
744
744
[6 empty] | Sub Total --> | [6 empty] | 0 | 0 | 0 | 0 | [6 empty] | 744
3 | SR1L03 | KADAPA - MADHUGIRI - I | 243.349 | SR-I | -- | [16 empty] | 100 | 744
[5 empty] | -- | [17 empty] | 744
744
744
744
744
[6 empty] | Sub Total --> | [6 empty] | 0 | 0 | 0 | 0 | [6 empty] | 744
4 | SR1L04 | KADAPA - MADHUGIRI - II | 243.349 | SR-I | -- | [16 empty] | 100 | 744
744
744
744
744
744
744
[6 empty] | Sub Total --> | [6 empty] | 0 | 0 | 0 | 0 | [6 empty] | 744
5 | SR1L05 | CHILAKALURIPETA - NARASARAOPETA - I | 29.844 | SR-I | -- | 2021-08-27 | 10:44 | 2021-08-27 | 17:52 |  |  | 7.1333 | 7.1333 | [6 empty] | Line S/D availed for Line maintenance &amp; AMP works videSR08/2716 |  | 99.0412 | 744
744
744
744
[6 empty] | Sub Total --> | [6 empty] | 7.1333 | 0 | 0 | 0 | [6 empty] | 744
6 | SR1L06 | CHILAKALURIPETA - NARASARAOPETA - II | 29.844 | SR-I | -- | [16 empty] | 100 | 744
744
744
744
744
744
744
744
744
[6 empty] | Sub Total --> | [6 empty] | 0 | 0 | 0 | 0 | [6 empty] | 744
7 | SR1L07 | VEMAGIRI - CHILAKALURIPETA - I | 279.407 | SR-I | -- | 2021-08-01 | 0:00 | 2021-08-02 | 9:36 |  |  | 33.6 |  |  |  | 33.6 |  |  |  | Continued from Last Month,H/T under voltage regulation vide SR 2276 NL1321 |  | 100 | 744
[6 empty] | 2021-08-26 | 18:28 | 2021-09-01 | 0:00 |  |  | 125.5333 |  |  |  | 125.5333 |  |  |  | 765kV VEMAGIRI-CPETA-1 LINE H/T UNDER VOLTAGE REGULATION VIDE SR-2659 and NL-1554. |  |  | 744
[6 empty] | 2021-08-14 | 21:01 | 2021-08-15 | 7:18 |  |  | 10.2833 |  |  |  | 10.2833 |  |  |  | H/T under voltage regulation vide SR 1649,NL 810 |  |  | 744
744
744
744
744
[6 empty] | Sub Total --> | [6 empty] | 0 | 0 | 0 | 169.4167 | [6 empty] | 744
8 | SR1L08 | VEMAGIRI - CHILAKALURIPETA - II | 279.407 | SR-I | -- | 2021-08-15 | 17:10 | 2021-08-25 | 9:28 |  |  | 232.3 |  |  |  | 232.3 |  |  |  | Line H/T for Voltage regulation vide SR-1663/NL-837. |  | 100 | 744
744
744
744
744
744
744
744
744
[6 empty] | Sub Total --> | [6 empty] | 0 | 0 | 0 | 232.3 | [6 empty] | 744
9 | SR1L09 | CHILAKALURIPETA - KADAPA - I | 281.691 | SR-I | -- | 2021-08-01 | 0:00 | 2021-08-05 | 10:04 |  |  | 106.0667 |  |  |  | 106.0667 |  |  |  | Continued from last month,H/T under voltage regulation vide SR-1507, NL-880 |  | 100 | 744
[6 empty] | 2021-08-19 21:54 | 21:54 | 2021-09-01 | 0:00 |  |  | 268.2 |  |  |  | 268.2 |  |  |  | Line H/T for Voltage regulation vide SR-2007/NL-1158. |  |  | 744
744
744
744
744
744
744
744
744
[6 empty] | Sub Total --> | [6 empty] | 0 | 0 | 0 | 374.2667 | [6 empty] | 744
10 | SR1L10 | CHILAKALURIPETA - KADAPA - II | 281.691 | SR-I | -- | 2021-08-05 | 18:44 | 2021-08-19 | 10:43 |  |  | 327.9833 |  |  |  | 327.9833 |  |  |  | H/T under voltage regulation vide SR-591, NL-231. |  | 100 | 744
744
744
744
744
744
744
744
[5 empty] | -- | [17 empty] | 744
[6 empty] | Sub Total --> | [6 empty] | 0 | 0 | 0 | 327.9833 | [6 empty] | 744
11 | SR1T01 | CHILAKALURIPETA ICT - I | 1500 | SR-I | -- | [16 empty] | 100 | 744
744
744
744
[6 empty] | Sub Total --> | [6 empty] | 0 | 0 | 0 | 0 | [6 empty] | 744
12 | SR1T02 | CHILAKALURIPETA ICT - II | 1500 | SR-I | -- | [16 empty] | 100 | 744
744
744
744
[6 empty] | Sub Total --> | [6 empty] | 0 | 0 | 0 | 0 | [6 empty] | 744
13 | SR1R01 | CHILAKALURIPETA BUS REACTOR - I | 240 | SR-I | -- | 2021-08-24 | 12:13 | 2021-08-24 | 17:18 |  |  | 5.0833 |  |  |  | 5.0833 | -- | -- | -- | H/T under voltage regulation vide SR-2374,NL-1383. |  | 100 | 744
744
744
744
744
744
744
[6 empty] | Sub Total --> | [6 empty] | 0 | 0 | 0 | 5.0833 | [6 empty] | 744
14 | SR1R02 | CHILAKALURIPETA BUS REACTOR - II | 240 | SR-I | -- | [11 empty] | -- | -- | -- |  |  | 100 | 744
744
744
744
744
[6 empty] | Sub Total --> | [6 empty] | 0 | 0 | 0 | 0 | [6 empty] | 744
15 | SR1R03 | KADAPA - I L/R @ C'PETA | 240 | SR-I | -- | [16 empty] | 100 | 744
744
744
[6 empty] | Sub Total --> | [6 empty] | 0 | 0 | 0 | 0 | [6 empty] | 744
16 | SR1R04 | KADAPA - I I L/R @ C'PETA | 240 | SR-I | [5 empty] | -- | -- | -- |  |  |  |  | -- | -- | -- |  |  | 100 | 744
744
744
744
744
[6 empty] | Sub Total --> | [6 empty] | 0 | 0 | 0 | 0 | [6 empty] | 744
17 | SR1R05 | VEMAGIRI - I L/R @ C'PETA | 240 | SR-I | -- | [16 empty] | 100 | 744
744
744
744
744
[6 empty] | Sub Total --> | [6 empty] | 0 | 0 | 0 | 0 | [6 empty] | 744
18 | SR1R06 | VEMAGIRI - II L/R @ C'PETA | 240 | SR-I | -- | [16 empty] | 100 | 744
744
744
744
[6 empty] | Sub Total --> | [6 empty] | 0 | 0 | 0 | 0 | [6 empty] | 744
|  |  | Note in type of failure column please indicate following : | [9 empty] | 23.2 | 0 | 0 | 1109.05
2) Transformer / Reactor failure like winding failure, Bushing failure, OLTC failure, Others etc
3) Tower collapse

## LR & FSC
EXCLUSIVE OUTAGE OF STATIC VAR COMPENSATOR/SERIESE COMPENSATOR/ LINE REACTORS FOR THE MONTH OF AUGUST-2021
Sl.No. | Unique ID of Transmission Element | Element Name | Description (Length/Nos./MVA/MVAR/MW/etc.) | Region | Type of Failure | Out Date and Time | Restoration Date and Time | Details of outage (No. of towers damaged, no. of insulator failed etc.) | Total outage (in Days) | Duration of Outage (Hrs) Attributable to |  |  |  | Restoration on Time as per Regulation 5(b) | Whether Restoration Time more than normative (Y/N) | Difference between Actual and Norm | Detailed Reason for Outage | Outage Certifying Agency and Reference Document | % Availability as certified by certifying Agency
[10 empty] | ISTS Licensee | Others | System constraint /Natural Calamity /Militancy | Deemed Available
NA
1
GRAND TOTAL | [9 empty] | 0 | 0 | 0 | 0