## SOP
Standard of Performance data for the month of JAN-2013
Name of Transmission Licensee : POWER GRID CORPORATION OF INDIA LTD., SOUTHERN REGION - II
Sl No: | Unique ID of transmission Element | Element Name | Description (Length/Nos./MVA/MVAr/MW/etc.) | Region | Type of failure | OUTAGE |  | RESTORATION |  | Details of Outage |  | Total outage in days (1) | DURATION OF OUTAGE ATTRIBUTABLE TO (in Hrs) |  |  |  | Restoration Time as per Regulation 5(b) (2) | Whether Restoration Time more than normative (Y/N) | Difference between Actual and Norm 1-2 | Detailed Reason(s) for Outage | Outage Certifying Agency and Reference Document | % Availability as certified by certifying agency
[6 empty] | Date | Time | Date | Time | No. of towers damaged | no. of insulator failed |  | ISTS Licensee | OTHERS | System Constraints/ Natural calamity / Militancy | Deemed Available
1 | SR2L1 | EDAPPON - EDAMON | 58.562 | SR-II | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | SRPC, SRPC/SE-I/PGTA/2014, Dtd. 06.01.2014 | 100
[6 empty] | Sub Total --> | [6 empty] | 0 | 0 | 0 | 0
2 | SR2L2 | KAYAMKULAM - EDAPPON | 19.764 | SR-II | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- |  | 100
[6 empty] | Sub Total --> | [6 empty] | 0 | 0 | 0 | 0
3 | SR2L3 | KAYAMKULAM - KUNDRA | 41 | SR-II | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- |  | 100
[6 empty] | Sub Total --> | [6 empty] | 0 | 0 | 0 | 0
4 | SR2L4 | KAYAMKULAM - POLLAM - I | 47 | SR-II | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- |  | 100
[6 empty] | Sub Total --> | [6 empty] | 0 | 0 | 0 | 0
5 | SR2L5 | KAYAMKULAM - POLLAM - II | 47 | SR-II | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- |  | 100
[6 empty] | Sub Total --> | [6 empty] | 0 | 0 | 0 | 0
6 | SR2L6 | KUNDRA - EDAMON | 37 | SR-II | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- |  | 100
[6 empty] | Sub Total --> | [6 empty] | 0 | 0 | 0 | 0
7 | SR2L8 | ARASUR-UDUMALPET-I | 65.116 | SR-II | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- |  | 100
[6 empty] | Sub Total --> | [6 empty] | 0 | 0 | 0 | 0
8 | SR2L9 | ARASUR-UDUMALPET-II | 65.116 | SR-II | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- |  | 100
[6 empty] | Sub Total --> | [6 empty] | 0 | 0 | 0 | 0 | -- | -- | --
9 | SR2L10 | BANGALORE - SALEM | 79.756 | SR-II | -- | 2013-01-20 | 12:44 | 2013-01-20 | 17:57 | -- | -- | -- | 5.2167 | 0 | 0 | 0 | N/A | N/A | N/A | Shut down availed for AMP works vide SRLDC code no. CR-01/230. |  | 99.2988
[6 empty] | Sub Total --> | [6 empty] | 5.2167 | 0 | 0 | 0
10 | SR2L11 | BHAVINI - ARANI I | 106.452 | SR-II | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- |  | 100
[6 empty] | Sub Total --> | [6 empty] | 0 | 0 | 0 | 0 | -- | -- | --
11 | SR2L12 | BHAVINI - ARANI II | 106.452 | SR-II | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- |  | 100
[6 empty] | Sub Total --> | [6 empty] | 0 | 0 | 0 | 0
12 | SR2L13 | BHAVINI - KANCHEEPURAM I | 80.316 | SR-II | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- |  | 100
[6 empty] | Sub Total --> | [6 empty] | 0 | 0 | 0 | 0
13 | SR2L14 | BHAVINI - KANCHEEPURAM II | 80.316 | SR-II | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- |  | 100
[6 empty] | Sub Total --> | [6 empty] | 0 | 0 | 0 | 0 | -- | -- | --
14 | SR2L15 | BHAVINI - SIRUSERI I | 36.243 | SR-II | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- |  | 100
[6 empty] | Sub Total --> | [6 empty] | 0 | 0 | 0 | 0 | -- | -- | --
15 | SR2L16 | BHAVINI - SIRUSERI II | 36.243 | SR-II | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- |  | 100 |  |  | 672
[6 empty] | Sub Total --> | [6 empty] | 0 | 0 | 0 | 0 | -- | -- | --
16 | SR2L17 | BIDADI - SOMANAHALLI I | 16.97 | SR-II | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- |  | 100
[6 empty] | Sub Total --> | [6 empty] | 0 | 0 | 0 | 0 | -- | -- | --
17 | SR2L18 | BIDADI - SOMANAHALLI II | 16.97 | SR-II | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- |  | 100
[6 empty] | Sub Total --> | [6 empty] | 0 | 0 | 0 | 0 | -- | -- | --
18 | SR2L19 | CHITTOOR - CHENNAI | 95.14 | SR-II | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- |  | 100
[6 empty] | Sub Total --> | [6 empty] | 0 | 0 | 0 | 0 | -- | -- | --
19 | SR2L23 | CUDDAPAH - CHITTOOR | 147.14 | SR-II | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- |  | 100
[6 empty] | Sub Total --> | [6 empty] | 0 | 0 | 0 | 0 | -- | -- | --
20 | SR2L24 | CUDDAPAH - KOLAR | 174.073 | SR-II | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- |  | 100
[6 empty] | Sub Total --> | [6 empty] | 0 | 0 | 0 | 0 | -- | -- | --
21 | SR2L25 | GOOTY - BANGALORE | 301.667 | SR-II | -- | 2013-01-27 | 14:30 | 2013-01-27 | 14:30 | -- | -- | -- | 0 | 0 | 0 | 0 | N/A | N/A | N/A | Auto reclosed successfully on B-N (Ph-earth) transient fault. FLR: 33.94KM from Gooty end. |  | 99.6685
[5 empty] | Insulator Failure | 2013-01-28 | 12:04 | 2013-01-28 | 14:32 |  |  |  | 2.4667 | 0 | 0 | 0 | N/A | N/A | N/A | Shut down availed for replacement of decapped pilot insulator at location no. 90 vide SRLDC code no. CR-01/387.
[6 empty] | Sub Total --> | [6 empty] | 2.4667 | 0 | 0 | 0 | -- | -- | --
22 | SR2L26 | HASSAN - MYSORE I | 95.875 | SR-II | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- |  | 100
[6 empty] | Sub Total --> | [6 empty] | 0 | 0 | 0 | 0 | -- | -- | --
23 | SR2L27 | HASSAN - MYSORE II | 95.875 | SR-II | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- |  | 100
[6 empty] | Sub Total --> | [6 empty] | 0 | 0 | 0 | 0 | -- | -- | --
24 | SR2L28 | HASSAN - NELAMANGALA I | 74.35 | SR-II | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- |  | 100
[6 empty] | Sub Total --> | [6 empty] | 0 | 0 | 0 | 0
25 | SR2L29 | HASSAN - TALAGUPPA I | 74.35 | SR-II | -- | 2013-01-21 | 17:51 | 2013-01-21 | 18:26 | -- | -- | -- | 0 | 0 | 0.58333 | 0 | N/A | N/A | N/A | Line tripped on operation of over voltage protection at Talaguppa end. Direct trip signal received at Hassan end. |  | 100
[6 empty] | Sub Total --> | [6 empty] | 0 | 0 | 0.58333 | 0
26 | SR2L30 | HOSUR-SALEM | 74.35 | SR-II | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- |  | 100
[6 empty] | Sub Total --> | [6 empty] | 0 | 0 | 0 | 0
27 | SR2L32 | KAIGA - NARENDRA I | 107.662 | SR-II | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- |  | 100
[6 empty] | Sub Total --> | [6 empty] | 0 | 0 | 0 | 0
28 | SR2L33 | KAIGA - NARENDRA II | 107.662 | SR-II | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- |  | 100
[6 empty] | Sub Total --> | [6 empty] | 0 | 0 | 0 | 0
29 | SR2L34 | KAIGA - SIRSI - I | 61.432 | SR-II | -- | 2013-01-31 | 10:16 | 2013-01-31 | 18:54 | -- | -- | -- | 0 | 0 | 0 | 8.6333 | N/A | N/A | N/A | Shut down availed by M/s KPTCL to attend hot spot and to replace R-phase insulator at loc. No. 208 vide SRLDC code no. CR-01/444. |  | 100
[6 empty] | Sub Total --> | [6 empty] | 0 | 0 | 0 | 8.6333 | -- | -- | --
30 | SR2L35 | KAIGA - SIRSI - II | 61.432 | SR-II | -- | 2013-01-04 | 9:27 | 2013-01-04 | 16:33 | -- | -- | -- | 0 | 0 | 0 | 7.1 | N/A | N/A | N/A | Shut down availed by M/s KPTCL for replacement of limit switches in line CB at Guttur end vide SRLDC code no. CR-01/17. |  | 100
[5 empty] | -- | 2013-01-30 | 10:19 | 2013-01-30 | 20:20 |  |  |  | 0 | 0 | 0 | 10.0167 | N/A | N/A | N/A | Shut down availed by M/s KPTCL to attend hot spot and to replace R-Phase insulator at Loc. No. 208 vide SRLDC code no. CR-01/423.
[6 empty] | Sub Total --> | [6 empty] | 0 | 0 | 0 | 17.1167
31 | SR2L35 | 'KALIVANDAPATTU - SRIPERUMBUDUR |  | SR-II | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- |  | 100
[6 empty] | Sub Total --> | [6 empty] | 0 | 0 | 0 | 0
32 | SR2L36 | KARAIKUDI - MADURAI - I | 129.761 | SR-II | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- |  | 100
[6 empty] | Sub Total --> | [6 empty] | 0 | 0 | 0 | 0
33 | SR2L37 | KOLAR - BANGALORE | 97.391 | SR-II | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- |  | 100
[6 empty] | Sub Total --> | [6 empty] | 0 | 0 | 0 | 0
34 | SR2L38 | KOLAR - HOODY - I | 51.067 | SR-II | -- | 2013-01-27 | 9:48 | 2013-01-27 | 17:23 | -- | -- | -- | 0 | 0 | 0 | 7.5833 | N/A | N/A | N/A | Shut down availed by M/s KPTCL for erecting gantry tower for the proposed additional transformer at Hoody (KPTCL SS) vide SRLDC code NO. CR-01/353. |  | 100
[6 empty] | Sub Total --> | [6 empty] | 0 | 0 | 0 | 7.5833
35 | SR2L39 | KOLAR - HOODY - II | 51.067 | SR-II | -- | 2013-01-06 | 9:52 | 2013-01-06 | 17:46 | -- | -- | -- | 0 | 0 | 0 | 7.9 | N/A | N/A | N/A | Shut down availed by M/s KPTCL for erecting gantry tower for the proposed additional transformer at Hoody (KPTCL SS) vide SRLDC code NO. CR-01/44. |  | 100
[5 empty] | -- | 2013-01-27 | 9:51 | 2013-01-27 | 17:21 |  |  |  | 0 | 0 | 0 | 7.5 | N/A | N/A | N/A | Shut down availed by M/s KPTCL for erecting gantry tower for the proposed additional transformer at Hoody (KPTCL SS) vide SRLDC code NO. CR-01/354.
[6 empty] | Sub Total --> | [6 empty] | 0 | 0 | 0 | 15.4
36 | SR2L40 | KOLAR - HOSUR - I | 69 | SR-II | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- |  | 100
[6 empty] | Sub Total --> | [6 empty] | 0 | 0 | 0 | 0
37 | SR2L41 | KOLAR - HOSUR - II | 69 | SR-II | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- |  | 100
[6 empty] | Sub Total --> | [6 empty] | 0 | 0 | 0 | 0
38 | SR2L43 | KOLAR - KALIVANDAPATTU | 219 | SR-II | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- |  | 100
[6 empty] | Sub Total --> | [6 empty] | 0 | 0 | 0 | 0
39 | SR2L43 | MADURAI - TUTICORIN JV TPS 1 | 115.602 | SR-II | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- |  | 100
[6 empty] | Sub Total --> | [6 empty] | 0 | 0 | 0 | 0
40 | SR2L44 | MADURAI - TUTICORIN JV TPS 2 | 152.167 | SR-II | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- |  | 100
[6 empty] | Sub Total --> | [6 empty] | 0 | 0 | 0 | 0
41 | SR2L45 | MADURAI-THIRUNELVELI - I | 161.7 | SR-II | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- |  | 100
[6 empty] | Sub Total --> | [6 empty] | 0 | 0 | 0 | 0
42 | SR2L46 | MADURAI-THIRUNELVELI - II | 161.7 | SR-II | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- |  | 100
[6 empty] | Sub Total --> | [6 empty] | 0 | 0 | 0 | 0
43 | SR2L47 | NARENDRA - DAVANGERE I | 156.5 | SR-II | -- | 2013-01-31 | 12:25 | 41305 | 12:45 | -- | -- | -- | 0 | 0.33333 | 0 | 0 | N/A | N/A | N/A | Tripped at Guttur (KPTCL SS) end only. |  | 100
[6 empty] | Sub Total --> | [6 empty] | 0 | 0.33333 | 0 | 0
44 | SR2L48 | NARENDRA - DAVANGERE II | 156.5 | SR-II | -- | 2013-01-01 | 0:00 | 2013-01-09 | 7:15 | -- | -- | -- | 0 | 0 | 0 | 199.25 | N/A | N/A | N/A | Hand tripped as per SRLDC instruction for voltage regulation in the system vide SRLDC code no. CR-12/586. |  | 100
[5 empty] | -- | 2013-01-27 | 17:25 | 2013-01-28 | 7:46 |  |  |  | 0 | 0 | 0 | 14.35 | N/A | N/A | N/A | Hand tripped as per SRLDC instruction for voltage regulation in the system vide SRLDC code no. CR-01/361.
[6 empty] | Sub Total --> | [6 empty] | 0 | 0 | 0 | 213.6
45 | SR2L49 | NELAMANGALA - BIDADI I | 34.75 | SR-II | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- |  | 100
[6 empty] | Sub Total --> | [6 empty] | 0 | 0 | 0 | 0
46 | SR2L50 | NELAMANGALA - BIDADI II | 34.75 | SR-II | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- |  | 100
[6 empty] | Sub Total --> | [6 empty] | 0 | 0 | 0 | 0
47 | SR2L51 | NELAMANGALA - MYSORE I | 132.897 | SR-II | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- |  | 100
[6 empty] | Sub Total --> | [6 empty] | 0 | 0 | 0 | 0
48 | SR2L52 | NELAMANGALA - MYSORE II | 132.897 | SR-II | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- |  | 100
[6 empty] | Sub Total --> | [6 empty] | 0 | 0 | 0 | 0
49 | SR2L53 | NEYVELI - BAHOOR | 52.5 | SR-II | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- |  | 100
[6 empty] | Sub Total --> | [6 empty] | 0 | 0 | 0 | 0
50 | SRL53 | NEYVELI - VILLIANUR | 63.232 | SR-II | -- | 2013-01-05 | 8:39 | 2013-01-05 | 16:24 | -- | -- | -- | 0 | 0 | 0 | 7.75 | N/A | N/A | N/A | Shut down availed by M/s NLC for routine maintenance works at Neyveli end vide SRLDC code no. CR-01/32. |  | 100
[6 empty] | Sub Total --> | [6 empty] | 0 | 0 | 0 | 7.75
51 | SR2L54 | NEYVELI TS II - PUDUCHERRY-I | 68 | SR-II | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- |  | 100
[6 empty] | Sub Total --> | [6 empty] | 0 | 0 | 0 | 0
52 | SR2L55 | NEYVELI TS II - PUGALUR | 198.047 | SR-II | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- |  | 100
[6 empty] | Sub Total --> | [6 empty] | 0 | 0 | 0 | 0
53 | SR2L56 | NEYVELI TS II - TRICHY - I | 164.175 | SR-II | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- |  | 100
[6 empty] | Sub Total --> | [6 empty] | 0 | 0 | 0 | 0
54 | SR2L57 | NEYVELI TS II EXP - PUGALUR | 199.671 | SR-II | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- |  | 100
[6 empty] | Sub Total --> | [6 empty] | 0 | 0 | 0 | 0
55 | SR2L58 | NEYVELI TS-I EXTENSION - TRICHY | 171.95 | SR-II | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- |  | 100
[6 empty] | Sub Total --> | [6 empty] | 0 | 0 | 0 | 0
56 | SR2L59 | NEYVELI TS-II - NEYVELI TS-I EXPANSION | 13.939 | SR-II | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- |  | 100
[6 empty] | Sub Total --> | [6 empty] | 0 | 0 | 0 | 0
57 | SR2L60 | NEYVELI-SALEM - I | 174.949 | SR-II | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- |  | 100
[6 empty] | Sub Total --> | [6 empty] | 0 | 0 | 0 | 0
58 | SR2L61 | NEYVELI-SALEM - II | 178.72 | SR-II | -- | 2013-01-04 | 14:21 | 2013-01-04 | 14:21 | -- | -- | -- | 0 | 0 | 0 | 0 | N/A | N/A | N/A | Auto reclosed successfully on Y-N (Ph-earth) transient fault. FLR: 10.9 KM from Salem end. |  | 100
[6 empty] | Sub Total --> | [6 empty] | 0 | 0 | 0 | 0
59 | SR2L62 | PALAKKAD - TRICHUR I | 84.785 | SR-II | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- |  | 100
[6 empty] | Sub Total --> | [6 empty] | 0 | 0 | 0 | 0
60 | SR2L63 | PALAKKAD - TRICHUR II | 84.785 | SR-II | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- |  | 100
[6 empty] | Sub Total --> | [6 empty] | 0 | 0 | 0 | 0
61 | SR2L64 | PUDUCHERRY-SVCHATRAM-I | 128.594 | SR-II | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- |  | 100
[6 empty] | Sub Total --> | [6 empty] | 0 | 0 | 0 | 0
62 | SR2L65 | PUGALUR - MADURAI - I | 123.643 | SR-II | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- |  | 100
[6 empty] | Sub Total --> | [6 empty] | 0 | 0 | 0 | 0
63 | SR2L66 | PUGALUR - MADURAI - II | 123.643 | SR-II | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- |  | 100
[6 empty] | Sub Total --> | [6 empty] | 0 | 0 | 0 | 0
64 | SR2L67 | SALEM - UDUMALPET I | 150.543 | SR-II | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- |  | 100
[6 empty] | Sub Total --> | [6 empty] | 0 | 0 | 0 | 0
65 | SR2L68 | SALEM - UDUMALPET II | 137.91 | SR-II | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- |  | 100
[6 empty] | Sub Total --> | [6 empty] | 0 | 0 | 0 | 0
66 | SR2L70 | SUNGUVARCHATRAM-SRIPERUMBUDUR-I | 10.08 | SR-II | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- |  | 100
[6 empty] | Sub Total --> | [6 empty] | 0 | 0 | 0 | 0
67 | SR2L71 | THIRUNELVELI - EDAMON - I | 81.94 | SR-II | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- |  | 100
[6 empty] | Sub Total --> | [6 empty] | 0 | 0 | 0 | 0
68 | SR2L72 | THIRUNELVELI - EDAMON - II | 81.94 | SR-II | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- |  | 100
[6 empty] | Sub Total --> | [6 empty] | 0 | 0 | 0 | 0
69 | SR2L73 | THIRUNELVELI - KUDAMKULAM-I | 72.489 | SR-II | -- | 2013-01-01 | 22:55 | 2013-01-07 | 10:12 | -- | -- | -- | 0 | 0 | 0 | 131.2833 | N/A | N/A | N/A | Hand tripped as per SRLDC instruction for voltage regulation in the system vide SRLDC code no. CR-01/04. |  | 100
[5 empty] | -- | 2013-01-15 | 20:45 | 2013-01-22 | 15:40 |  |  |  | 0 | 0 | 0 | 162.9167 | N/A | N/A | N/A | Hand tripped as per SRLDC instruction for voltage regulation in the system vide SRLDC code no. CR-01/177.
[5 empty] | -- | 2013-01-27 | 22:19 | 2013-02-01 | 0:00 |  |  |  | 0 | 0 | 0 | 97.6833 | N/A | N/A | N/A | Hand tripped as per SRLDC instruction for voltage regulation in the system vide SRLDC code no. CR-01/365.
[6 empty] | Sub Total --> | [6 empty] | 0 | 0 | 0 | 391.8833
70 | SR2L74 | THIRUNELVELI - KUDAMKULAM-II | 72.489 | SR-II | -- | 2013-01-01 | 0:00 | 2013-01-01 | 11:30 | -- | -- | -- | 0 | 0 | 0 | 11.5 | N/A | N/A | N/A | Hand tripped as per SRLDC instruction for voltage regulation in the system vide SRLDC code no. CR-12/530. |  | 100
[5 empty] | -- | 2013-01-07 | 23:55 | 2013-01-15 | 9:22 |  |  |  | 0 | 0 | 0 | 177.45 | N/A | N/A | N/A | Hand tripped as per SRLDC instruction for voltage regulation in the system vide SRLDC code no. CR-01/71.
[5 empty] | -- | 2013-01-22 | 16:00 | 2013-01-24 | 10:55 |  |  |  | 0 | 0 | 0 | 42.9167 | N/A | N/A | N/A | Hand tripped as per SRLDC instruction for voltage regulation in the system vide SRLDC code no. CR-01/262.
[6 empty] | Sub Total --> | [6 empty] | 0 | 0 | 0 | 231.8667
71 | SR2L75 | THIRUNELVELI - KUDAMKULAM-III | 79.534 | SR-II | -- | 2013-01-15 | 23:22 | 2013-01-23 | 10:56 | -- | -- | -- | 0 | 0 | 0 | 179.5667 | N/A | N/A | N/A | Hand tripped as per SRLDC instruction for voltage regulation in the system vide SRLDC code no. CR-01/180. |  | 100
[6 empty] | Sub Total --> | [6 empty] | 0 | 0 | 0 | 179.5667
72 | SR2L76 | THIRUNELVELI - KUDAMKULAM-IV | 79.534 | SR-II | -- | 2013-01-07 | 23:56 | 2013-01-15 | 9:23 | -- | -- | -- | 0 | 0 | 0 | 177.45 | N/A | N/A | N/A | Hand tripped as per SRLDC instruction for voltage regulation in the system vide SRLDC code no. CR-01/72. |  | 100
[5 empty] | -- | 2013-01-23 | 22:05 | 2013-01-24 | 10:53 |  |  |  | 0 | 0 | 0 | 12.8 | N/A | N/A | N/A | Hand tripped as per SRLDC instruction for voltage regulation in the system vide SRLDC code no. CR-01/301.
[5 empty] | -- | 2013-01-24 | 21:44 | 2013-02-01 | 0:00 |  |  |  | 0 | 0 | 0 | 170.2667 | N/A | N/A | N/A | Hand tripped as per SRLDC instruction for voltage regulation in the system vide SRLDC code no. CR-01/321.
[6 empty] | Sub Total --> | [6 empty] | 0 | 0 | 0 | 360.5167
73 | SR2L77 | THIRUNELVELI - TRIVANDRUM - I | 160.4 | SR-II | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- |  | 100
[6 empty] | Sub Total --> | [6 empty] | 0 | 0 | 0 | 0
74 | SR2L78 | THIRUNELVELI - TRIVANDRUM - II | 160.4 | SR-II | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- |  | 100
[6 empty] | Sub Total --> | [6 empty] | 0 | 0 | 0 | 0
75 | SR2L79 | THIRUNELVELI - UDUMALPET I | 264.987 | SR-II | -- | 2013-01-01 | 0:00 | 2013-01-06 | 15:40 | -- | -- | -- | 0 | 0 | 0 | 135.6667 | N/A | N/A | N/A | Hand tripped as per SRLDC instruction for voltage regulation in the system vide SRLDC code no. CR-12/590. |  | 100
[6 empty] | Sub Total --> | [6 empty] | 0 | 0 | 0 | 135.6667
76 | SR2L80 | THIRUNELVELI - UDUMALPET II | 264.987 | SR-II | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- |  | 100
[6 empty] | Sub Total --> | [6 empty] | 0 | 0 | 0 | 0
77 | SR2L83 | TRICHUR - KOCHI I | 78.197 | SR-II | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- |  | 100
[6 empty] | Sub Total --> | [6 empty] | 0 | 0 | 0 | 0
78 | SR2L84 | TRICHUR - KOCHI II | 78.197 | SR-II | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- |  | 100
[6 empty] | Sub Total --> | [6 empty] | 0 | 0 | 0 | 0
79 | SR2L85 | TRICHY - KARAIKUDI - I | 97.699 | SR-II | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- |  | 100
[6 empty] | Sub Total --> | [6 empty] | 0 | 0 | 0 | 0
80 | SR2L86 | TRICHY - MADURAI - I | 130.486 | SR-II | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- |  | 100
[6 empty] | Sub Total --> | [6 empty] | 0 | 0 | 0 | 0
81 | SR2L87 | UDUMALPET - MADURAI | 127.232 | SR-II | -- | 2013-01-16 | 16:42 | 2013-01-16 | 20:06 | -- | -- | -- | 3.4 | 0 | 0 | 0 | N/A | N/A | N/A | Shut down availed for attending hotspot in B-phase wave trap jumper at Udumalpet end vide SRLDC code no. CR-01/181. |  | 99.543
[6 empty] | Sub Total --> | [6 empty] | 3.4 | 0 | 0 | 0
82 | SR2L88 | UDUMALPET - PALAKKAD I | 95.723 | SR-II | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- |  | 100
[6 empty] | Sub Total --> | [6 empty] | 0 | 0 | 0 | 0
83 | SR2L89 | UDUMALPET - PALAKKAD II | 95.723 | SR-II | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- |  | 100
[6 empty] | Sub Total --> | [6 empty] | 0 | 0 | 0 | 0
84 | SR2T1 | ARASUR ICT - I | 315 | SR-II | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- |  | 100
[6 empty] | Sub Total --> | [6 empty] | 0 | 0 | 0 | 0
85 | SR2T2 | ARASUR ICT - II | 315 | SR-II | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- |  | 100
[6 empty] | Sub Total --> | [6 empty] | 0 | 0 | 0 | 0
86 | SR2T3 | BANGALORE ICT - I | 501 | SR-II | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- |  | 100
[6 empty] | Sub Total --> | [6 empty] | 0 | 0 | 0 | 0
87 | SR2T4 | BANGALORE ICT - II | 501 | SR-II | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- |  | 100
[6 empty] | Sub Total --> | [6 empty] | 0 | 0 | 0 | 0
88 | SR2T5 | BIDADI ICT-I | 500 | SR-II | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- |  | 100
[6 empty] | Sub Total --> | [6 empty] | 0 | 0 | 0 | 0
89 | SR2T7 | HASSAN ICT - I | 315 | SR-II | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- |  | 100
[6 empty] | Sub Total --> | [6 empty] | 0 | 0 | 0 | 0
90 | SR2T8 | HASSAN ICT - II | 315 | SR-II | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- |  | 100
[6 empty] | Sub Total --> | [6 empty] | 0 | 0 | 0 | 0
91 | SR2T9 | HIRIYUR ICT | 315 | SR-II | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- |  | 100
[6 empty] | Sub Total --> | [6 empty] | 0 | 0 | 0 | 0
92 | SR2T10 | HIRIYUR ICT II | 315 | SR-II | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- |  | 100
[6 empty] | Sub Total --> | [6 empty] | 0 | 0 | 0 | 0
93 | SR2T11 | HOSUR ICT - I | 315 | SR-II | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- |  | 100
[6 empty] | Sub Total --> | [6 empty] | 0 | 0 | 0 | 0
94 | SR2T12 | HOSUR ICT - II | 315 | SR-II | -- | 2013-01-20 | 7:12 | 2013-01-20 | 12:28 | -- | -- | -- | 5.2667 | 0 | 0 | 0 | N/A | N/A | N/A | Shut down availed for AMP works vide SRLDC code no. CR-01/221. |  | 99.2921
[6 empty] | Sub Total --> | [6 empty] | 5.2667 | 0 | 0 | 0
95 | SR2T14 | KALIVANDAPATTU ICT - I | 315 | SR-II | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- |  | 100
[6 empty] | Sub Total --> | [6 empty] | 0 | 0 | 0 | 0
96 | SR2T15 | KALIVANDAPATTU ICT - II | 315 | SR-II | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- |  | 100
[6 empty] | Sub Total --> | [6 empty] | 0 | 0 | 0 | 0
97 | SR2T16 | KARAIKUDI ICT - I | 315 | SR-II | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- |  | 100
[6 empty] | Sub Total --> | [6 empty] | 0 | 0 | 0 | 0
98 | SR2T17 | KARAIKUDI ICT - II | 315 | SR-II | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- |  | 100
[6 empty] | Sub Total --> | [6 empty] | 0 | 0 | 0 | 0
99 | SR2T18 | KOCHI ICT I | 315 | SR-II | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- |  | 100
[6 empty] | Sub Total --> | [6 empty] | 0 | 0 | 0 | 0
100 | SR2T19 | KOCHI ICT II | 315 | SR-II | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- |  | 100
[6 empty] | Sub Total --> | [6 empty] | 0 | 0 | 0 | 0
101 | SR2T20 | KOLAR ICT | 501 | SR-II | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- |  | 100
[6 empty] | Sub Total --> | [6 empty] | 0 | 0 | 0 | 0
102 | SR2T21 | KOLAR ICT-II | 501 | SR-II | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- |  | 100
[6 empty] | Sub Total --> | [6 empty] | 0 | 0 | 0 | 0
103 | SR2T22 | MADURAI ICT - I | 315 | SR-II | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- |  | 100
[6 empty] | Sub Total --> | [6 empty] | 0 | 0 | 0 | 0
104 | SR2T23 | MADURAI ICT - II | 315 | SR-II | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- |  | 100
[6 empty] | Sub Total --> | [6 empty] | 0 | 0 | 0 | 0
105 | SR2T24 | MYSORE ICT I | 315 | SR-II | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- |  | 100
[6 empty] | Sub Total --> | [6 empty] | 0 | 0 | 0 | 0
106 | SR2T25 | MYSORE ICT II | 315 | SR-II | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- |  | 100
[6 empty] | Sub Total --> | [6 empty] | 0 | 0 | 0 | 0
107 | SR2T26 | NARENDRA ICT I | 315 | SR-II | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- |  | 100
[6 empty] | Sub Total --> | [6 empty] | 0 | 0 | 0 | 0
108 | SR2T27 | NARENDRA ICT II | 315 | SR-II | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- |  | 100
[6 empty] | Sub Total --> | [6 empty] | 0 | 0 | 0 | 0
109 | SR2T28 | PALAKKAD ICT - I | 315 | SR-II | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- |  | 100
[6 empty] | Sub Total --> | [6 empty] | 0 | 0 | 0 | 0
110 | SR2T29 | PALAKKAD ICT - II | 315 | SR-II | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- |  | 100
[6 empty] | Sub Total --> | [6 empty] | 0 | 0 | 0 | 0
111 | SR2T30 | PUDUCHERRY ICT-I | 315 | SR-II | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- |  | 100
[6 empty] | Sub Total --> | [6 empty] | 0 | 0 | 0 | 0
112 | SR2T31 | PUDUCHERRY ICT-II | 315 | SR-II | -- | 2013-01-08 | 8:39 | 2013-01-09 | 1:45 | -- | -- | -- | 0 | 0 | 17.1 | 0 | N/A | N/A | N/A | Shut down availed for replacement of 400 kV B-phase bushing which was partially damaged during Neelam cyclone vide SRLDC code no. CR-01/82. |  | 100
[6 empty] | Sub Total --> | [6 empty] | 0 | 0 | 17.1 | 0
113 | SR2T32 | PUGALUR ICT - I | 315 | SR-II | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- |  | 100
[6 empty] | Sub Total --> | [6 empty] | 0 | 0 | 0 | 0
114 | SR2T33 | PUGALUR ICT - II | 315 | SR-II | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- |  | 100
[6 empty] | Sub Total --> | [6 empty] | 0 | 0 | 0 | 0
115 | SR2T34 | THIRUNELVELI ICT - I | 315 | SR-II | -- | 2013-01-30 | 10:31 | 2013-01-30 | 14:07 | -- | -- | -- | 3.6 | 0 | 0 | 0 | N/A | N/A | N/A | Shut down availed for AMP works vide SRLDC code no. CR-01/425. |  | 99.5161
[6 empty] | Sub Total --> | [6 empty] | 3.6 | 0 | 0 | 0
116 | SR2T35 | THIRUNELVELI ICT - II | 315 | SR-II | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- |  | 100
[6 empty] | Sub Total --> | [6 empty] | 0 | 0 | 0 | 0
117 | SR2T36 | TRICHY ICT - I | 315 | SR-II | -- | 2013-01-04 | 10:01 | 2013-01-04 | 15:54 | -- | -- | -- | 5.8833 | 0 | 0 | 0 | N/A | N/A | N/A | Shut down availed for AMP works vide SRLDC code no. CR-01/18. |  | 99.2092
[6 empty] | Sub Total --> | [6 empty] | 5.8833 | 0 | 0 | 0
118 | SR2T37 | TRICHY ICT - II | 315 | SR-II | -- | 2013-01-05 | 10:05 | 2013-01-05 | 14:29 | -- | -- | -- | 4.4 | 0 | 0 | 0 | N/A | N/A | N/A | Shut down availed for AMP works vide SRLDC code no. CR-01/34. |  | 99.4086
[6 empty] | Sub Total --> | [6 empty] | 4.4 | 0 | 0 | 0
119 | SR2T38 | TRIVANDRUM - ICT I | 315 | SR-II | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- |  | 100
[6 empty] | Sub Total --> | [6 empty] | 0 | 0 | 0 | 0
120 | SR2T39 | TRIVANDRUM - ICT II | 315 | SR-II | -- | 2013-01-08 | 15:40 | 2013-01-08 | 16:15 | -- | -- | -- | 0 | 0 | 0.58333 | 0 | N/A | N/A | N/A | Shut down availed for removing bird nest from the pilot insulator in the gantry connecting to ICT-II vide SRLDC code no. CR-01/87. |  | 100
[6 empty] | Sub Total --> | [6 empty] | 0 | 0 | 0.58333 | 0
121 | SR2T40 | TRIVANDRUM - ICT III | 315 | SR-II | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- |  | 100
[6 empty] | Sub Total --> | [6 empty] | 0 | 0 | 0 | 0
122 | SR2T41 | UDUMALPET ICT - I | 315 | SR-II | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- |  | 100
[6 empty] | Sub Total --> | [6 empty] | 0 | 0 | 0 | 0
123 | SR2T42 | UDUMALPET ICT - II | 315 | SR-II | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- |  | 100
[6 empty] | Sub Total --> | [6 empty] | 0 | 0 | 0 | 0
124 | SR2T43 | UDUMALPET ICT - III | 315 | SR-II | -- | 2013-01-29 | 10:15 | 2013-01-29 | 18:45 | -- | -- | -- | 8.5 | 0 | 0 | 0 | N/A | N/A | N/A | Shut down availed for AMP works vide SRLDC Code no. CR-01/404. |  | 98.8575
[6 empty] | Sub Total --> | [6 empty] | 8.5 | 0 | 0 | 0
126 | SR2R1 | BANGALORE BUS REACTOR | 63 | SR-II | -- | 2013-01-01 | 0:00 | 2013-01-07 | 23:57 | -- | -- | -- | 0 | 0 | 0 | 167.95 | N/A | N/A | N/A | Hand tripped as per SRLDC instruction for voltage regulation in the system vide SRLDC code no. CR-12/591. |  | 100
[5 empty] | -- | 2013-01-08 | 7:15 | 2013-01-14 | 5:28 |  |  |  | 0 | 0 | 0 | 142.2167 | N/A | N/A | N/A | Hand tripped as per SRLDC instruction for voltage regulation in the system vide SRLDC code no. CR-01/78.
[5 empty] | -- | 2013-01-14 | 11:46 | 2013-01-17 | 0:09 |  |  |  | 0 | 0 | 0 | 60.3833 | N/A | N/A | N/A | Hand tripped as per SRLDC instruction for voltage regulation in the system vide SRLDC code no. CR-01/164.
[5 empty] | -- | 2013-01-17 | 8:26 | 2013-01-28 | 0:17 |  |  |  | 0 | 0 | 0 | 255.85 | N/A | N/A | N/A | Hand tripped as per SRLDC instruction for voltage regulation in the system vide SRLDC code no. CR-01/191.
[5 empty] | -- | 2013-01-28 | 7:09 | 2013-02-01 | 0:00 |  |  |  | 0 | 0 | 0 | 88.85 | N/A | N/A | N/A | Hand tripped as per SRLDC instruction for voltage regulation in the system vide SRLDC code no. CR-01/373.
[6 empty] | Sub Total --> | [6 empty] | 0 | 0 | 0 | 715.25
127 | SR2R2 | BIDADI BUS REACTOR - I | 63 | SR-II | -- | 2013-01-08 | 7:18 | 2013-01-17 | 0:05 | -- | -- | -- | 0 | 0 | 0 | 208.7833 | N/A | N/A | N/A | Hand tripped as per SRLDC instruction for voltage regulation in the system vide SRLDC code no. CR-01/81. |  | 100
[5 empty] | -- | 2013-01-17 | 8:16 | 2013-01-27 | 23:24 |  |  |  | 0 | 0 | 0 | 255.1333 | N/A | N/A | N/A | Hand tripped as per SRLDC instruction for voltage regulation in the system vide SRLDC code no. CR-01/193.
[5 empty] | -- | 2013-01-28 | 7:50 | 2013-02-01 | 0:00 |  |  |  | 0 | 0 | 0 | 88.1667 | N/A | N/A | N/A | Hand tripped as per SRLDC instruction for voltage regulation in the system vide SRLDC code no. CR-01/375.
[6 empty] | Sub Total --> | [6 empty] | 0 | 0 | 0 | 552.0833
130 | SR2R3 | HASSAN BUS REACTOR - I | 80 | SR-II | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- |  | 100
[6 empty] | Sub Total --> | [6 empty] | 0 | 0 | 0 | 0
132 | SR2R4 | HIRIYUR BUS REACTOR - I | 63 | SR-II | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- |  | 100
[6 empty] | Sub Total --> | [6 empty] | 0 | 0 | 0 | 0
131 | SR2R5 | HOSUR BUS REACTOR - I | 63 | SR-II | -- | 2013-01-01 | 0:00 | 2013-02-01 | 0:00 | -- | -- | -- | 0 | 0 | 0 | 744 | N/A | N/A | N/A | Hand tripped as per SRLDC instruction for voltage regulation in the system vide SRLDC code no. CR-12/425. |  | 100
[6 empty] | Sub Total --> | [6 empty] | 0 | 0 | 0 | 744
132 | SR2R6 | KARAIKUDI BUS REACTOR - I | 80 | SR-II | -- | 2013-01-22 | 9:19 | 2013-01-22 | 22:08 | -- | -- | -- | 0 | 0 | 0 | 12.8167 | N/A | N/A | N/A | Hand tripped as per SRLDC instruction for voltage regulation in the system vide SRLDC code no. CR-01/252. |  | 100
[5 empty] | -- | 2013-01-26 | 9:37 | 2013-01-29 | 23:02 |  |  |  | 0 | 0 | 0 | 85.4167 | N/A | N/A | N/A | Hand tripped as per SRLDC instruction for voltage regulation in the system vide SRLDC code no. CR-01/340.
[6 empty] | Sub Total --> | [6 empty] | 0 | 0 | 0 | 98.2333
133 | SR2R7 | KOCHI BUS REACTOR I | 63 | SR-II | -- | 2013-01-01 | 0:00 | 2013-01-06 | 18:50 | 0 | -- | -- | 0 | 0 | 0 | 138.8333 | N/A | N/A | N/A | Hand tripped as per SRLDC instruction for voltage regulation in the system vide SRLDC code no. CR-12/601. |  | 100
[5 empty] | -- | 2013-01-07 | 12:24 | 2013-01-13 | 5:34 | 0 | -- | -- | 0 | 0 | 0 | 137.1667 | N/A | N/A | N/A | Hand tripped as per SRLDC instruction for voltage regulation in the system vide SRLDC code no. CR-01/67.
[5 empty] | -- | 2013-01-22 | 9:07 | 2013-01-22 | 22:10 | 0 |  |  | 0 | 0 | 0 | 13.05 | N/A | N/A | N/A | Hand tripped as per SRLDC instruction for voltage regulation in the system vide SRLDC code no. CR-01/254.
[5 empty] | -- | 2013-01-24 | 9:08 | 2013-01-24 | 21:39 | 0 |  |  | 0 | 0 | 0 | 12.5167 | N/A | N/A | N/A | Hand tripped as per SRLDC instruction for voltage regulation in the system vide SRLDC code no. CR-01/308.
[5 empty] | -- | 2013-01-25 | 6:41 | 2013-01-27 | 20:44 | 0 |  |  | 0 | 0 | 0 | 62.05 | N/A | N/A | N/A | Hand tripped as per SRLDC instruction for voltage regulation in the system vide SRLDC code no. CR-01/324.
[5 empty] | -- | 2013-01-28 | 12:01 | 2013-01-31 | 21:42 | 0 |  |  | 0 | 0 | 0 | 81.6833 | N/A | N/A | N/A | Hand tripped as per SRLDC instruction for voltage regulation in the system vide SRLDC code no. CR-01/386.
[6 empty] | Sub Total --> | [6 empty] | 0 | 0 | 0 | 445.3
134 | SR2R8 | KOLAR BUS REACTOR - I | 63 | SR-II | -- | 2013-01-01 | 0:00 | 2013-01-04 | 22:52 | -- | -- | -- | 0 | 0 | 0 | 94.8667 | N/A | N/A | N/A | Hand tripped as per SRLDC instruction for voltage regulation in the system vide SRLDC code no. CR-12/595. |  | 100
[5 empty] | -- | 2013-01-07 | 8:28 | 2013-01-07 | 23:51 |  |  |  | 0 | 0 | 0 | 15.3833 | N/A | N/A | N/A | Hand tripped as per SRLDC instruction for voltage regulation in the system vide SRLDC code no. CR-01/57.
[5 empty] | -- | 2013-01-08 | 7:18 | 2013-01-10 | 22:52 |  |  |  | 0 | 0 | 0 | 63.5667 | N/A | N/A | N/A | Hand tripped as per SRLDC instruction for voltage regulation in the system vide SRLDC code no. CR-01/77.
[5 empty] | -- | 2013-01-12 | 6:47 | 2013-01-13 | 5:19 |  |  |  | 0 | 0 | 0 | 22.5333 | N/A | N/A | N/A | Hand tripped as per SRLDC instruction for voltage regulation in the system vide SRLDC code no. CR-01/133.
[5 empty] | -- | 2013-01-17 | 8:14 | 2013-01-27 | 23:21 |  |  |  | 0 | 0 | 0 | 255.1167 | N/A | N/A | N/A | Hand tripped as per SRLDC instruction for voltage regulation in the system vide SRLDC code no. CR-01/192.
[5 empty] | -- | 2013-01-28 | 6:53 | 2013-02-01 | 0:00 |  |  |  | 0 | 0 | 0 | 89.1167 | N/A | N/A | N/A | Hand tripped as per SRLDC instruction for voltage regulation in the system vide SRLDC code no. CR-01/374.
[6 empty] | Sub Total --> | [6 empty] | 0 | 0 | 0 | 540.5833
135 | SR2R9 | MYSORE BUS REACTOR | 50 | SR-II | -- | 2013-01-22 | 9:38 | 2013-01-22 | 21:53 | -- | -- | -- | 0 | 0 | 0 | 12.25 | N/A | N/A | N/A | Hand tripped as per SRLDC instruction for voltage regulation in the system vide SRLDC code no. CR-01/256. |  | 100
[5 empty] | -- | 2013-01-30 | 10:09 | 2013-01-31 | 23:00 |  |  |  | 0 | 0 | 0 | 36.85 | N/A | N/A | N/A | Hand tripped as per SRLDC instruction for voltage regulation in the system vide SRLDC code no. CR-01/421.
[6 empty] | Sub Total --> | [6 empty] | 0 | 0 | 0 | 49.1
136 | SR2R10 | NARENDRA BUS REACTOR | 50 | SR-II | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- |  | 100
[6 empty] | Sub Total --> | [6 empty] | 0 | 0 | 0 | 0
137 | SR2R11 | PALAKKAD BUS REACTOR - I | 63 | SR-II | -- | 2013-01-01 | 0:00 | 2013-01-06 | 18:39 | -- | -- | -- | 0 | 0 | 0 | 138.65 | N/A | N/A | N/A | Hand tripped as per SRLDC instruction for voltage regulation in the system vide SRLDC code no. CR-12/600. |  | 100
[5 empty] | -- | 2013-01-07 | 12:15 | 2013-01-07 | 23:56 |  |  |  | 0 | 0 | 0 | 11.6833 | N/A | N/A | N/A | Hand tripped as per SRLDC instruction for voltage regulation in the system vide SRLDC code no. CR-01/66.
[5 empty] | -- | 2013-01-09 | 9:44 | 2013-01-13 | 5:25 |  |  |  | 0 | 0 | 0 | 91.6833 | N/A | N/A | N/A | Hand tripped as per SRLDC instruction for voltage regulation in the system vide SRLDC code no. CR-01/92.
[5 empty] | -- | 2013-01-16 | 16:53 | 2013-01-22 | 22:13 |  |  |  | 0 | 0 | 0 | 149.3333 | N/A | N/A | N/A | Hand tripped as per SRLDC instruction for voltage regulation in the system vide SRLDC code no. CR-01/183.
[5 empty] | -- | 2013-01-25 | 6:43 | 2013-01-27 | 20:47 |  |  |  | 0 | 0 | 0 | 62.0667 | N/A | N/A | N/A | Hand tripped as per SRLDC instruction for voltage regulation in the system vide SRLDC code no. CR-01/325.
[5 empty] | -- | 2013-01-28 | 11:54 | 2013-01-31 | 21:55 |  |  |  | 0 | 0 | 0 | 82.0167 | N/A | N/A | N/A | Hand tripped as per SRLDC instruction for voltage regulation in the system vide SRLDC code no. CR-01/385.
[6 empty] | Sub Total --> | [6 empty] | 0 | 0 | 0 | 535.4333
138 | SR2R12 | SALEM BUS REACTOR - I | 63 | SR-II | -- | 2013-01-01 | 0:00 | 2013-01-13 | 5:21 | -- | -- | -- | 0 | 0 | 0 | 293.35 | N/A | N/A | N/A | Hand tripped as per SRLDC instruction for voltage regulation in the system vide SRLDC code no. CR-12/471. |  | 100
[5 empty] | -- | 2013-01-22 | 9:07 | 2013-02-01 | 0:00 |  |  |  | 0 | 0 | 0 | 230.8833 | N/A | N/A | N/A | Hand tripped as per SRLDC instruction for voltage regulation in the system vide SRLDC code no. CR-01/253.
[6 empty] | Sub Total --> | [6 empty] | 0 | 0 | 0 | 524.2333
139 | SR2R13 | SRIPERUMBUDUR BUS REACTOR - I | 63 | SR-II | -- | 2013-01-22 | 10:21 | 2013-01-22 | 22:06 | -- | -- | -- | 0 | 0 | 0 | 11.75 | N/A | N/A | N/A | Hand tripped as per SRLDC instruction for voltage regulation in the system vide SRLDC code no. CR-01/257. |  | 100
[5 empty] | -- | 2013-01-23 | 8:01 | 2013-01-23 | 21:55 |  |  |  | 0 | 0 | 0 | 13.9 | N/A | N/A | N/A | Hand tripped as per SRLDC instruction for voltage regulation in the system vide SRLDC code no. CR-01/279.
[6 empty] | Sub Total --> | [6 empty] | 0 | 0 | 0 | 25.65
140 | SR2R14 | THIRUNELVELI BUS REACTOR - I | 63 | SR-II | -- | 2013-01-09 | 9:46 | 2013-01-09 | 21:35 | -- | -- | -- | 0 | 0 | 0 | 11.8167 | N/A | N/A | N/A | Hand tripped as per SRLDC instruction for voltage regulation in the system vide SRLDC code no. CR-01/94. |  | 100
[5 empty] | -- | 2013-01-22 | 9:08 | 2013-01-22 | 13:57 |  |  |  | 0 | 0 | 0 | 4.8167 | N/A | N/A | N/A | Hand tripped as per SRLDC instruction for voltage regulation in the system vide SRLDC code no. CR-01/250.
[5 empty] | -- | 2013-01-26 | 9:37 | 2013-01-26 | 21:50 |  |  |  | 0 | 0 | 0 | 12.2167 | N/A | N/A | N/A | Hand tripped as per SRLDC instruction for voltage regulation in the system vide SRLDC code no. CR-01/341.
[6 empty] | Sub Total --> | [6 empty] | 0 | 0 | 0 | 28.85
141 | SR2R15 | THIRUNELVELI BUS REACTOR - II | 63 | SR-II | -- | 2013-01-22 | 9:09 | 2013-01-22 | 14:01 | -- | -- | -- | 0 | 0 | 0 | 4.8667 | N/A | N/A | N/A | Hand tripped as per SRLDC instruction for voltage regulation in the system vide SRLDC code no. CR-01/251. |  | 100
[5 empty] | -- | 2013-01-26 | 9:38 | 2013-01-26 | 21:54 |  |  |  | 0 | 0 | 0 | 12.2667 | N/A | N/A | N/A | Hand tripped as per SRLDC instruction for voltage regulation in the system vide SRLDC code no. CR-01/342.
[6 empty] | Sub Total --> | [6 empty] | 0 | 0 | 0 | 4.8667
142 | SR2R17 | Kolar Line Reactor at Bangalore | 50 | SR-II | -- | 2013-01-01 | 0:00 | 2013-02-01 | 0:00 | -- | -- | -- | 0 | 0 | 0 | 744 | N/A | N/A | N/A | Hand tripped as per SRLDC instruction for voltage regulation in the system vide SRLDC code no. CR-12/602. |  | 100
[6 empty] | Sub Total --> | [6 empty] | 0 | 0 | 0 | 744
142 | SR2R17 | Kolar Line Reactor at Kalivandapattu | 50 | SR-II | -- | 2013-01-09 | 9:53 | 2013-02-01 | 0:00 | -- | -- | -- | 0 | 0 | 0 | 542.1166 | N/A | N/A | N/A | Hand tripped as per SRLDC instruction for voltage regulation in the system vide SRLDC code no. CR-01/93. |  | 100
[6 empty] | Sub Total --> | [6 empty] | 0 | 0 | 0 | 542.1166
143 | SR2R18 | Neyveli TS II Exp Line Reactor at Pugalur | 50 | SR-II | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- |  | 100
[6 empty] | Sub Total --> | [6 empty] | 0 | 0 | 0 | 0
144 | SR2R19 | Neyveli TS II Line Reactor at Pugalur | 50 | SR-II | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- |  | 100
[6 empty] | Sub Total --> | [6 empty] | 0 | 0 | 0 | 0
145 | SR2R20 | Thirunelveli 1 Line Reactor at Udumalpet | 63 | SR-II | -- | 2013-01-01 | 0:00 | 2013-01-06 | 18:51 | -- | -- | -- | 0 | 0 | 0 | 138.85 | N/A | N/A | N/A | Hand tripped as per SRLDC instruction for voltage regulation in the system vide SRLDC code no. CR-01/593. |  | 100
[5 empty] | -- | 2013-01-08 | 7:17 | 2013-01-15 | 22:28 | -- | -- | -- | 0 | 0 | 0 | 183.1833 | N/A | N/A | N/A | Hand tripped as per SRLDC instruction for voltage regulation in the system vide SRLDC code no. CR-01/79.
[5 empty] | -- | 2013-01-16 | 16:49 | 2013-01-17 | 0:03 |  |  |  | 0 | 0 | 0 | 7.2333 | N/A | N/A | N/A | Hand tripped as per SRLDC instruction for voltage regulation in the system vide SRLDC code no. CR-01/182.
[5 empty] | -- | 2013-01-19 | 14:29 | 2013-02-01 | 0:00 |  |  |  | 0 | 0 | 0 | 297.5167 | N/A | N/A | N/A | Hand tripped as per SRLDC instruction for voltage regulation in the system vide SRLDC code no. CR-01/217.
[6 empty] | Sub Total --> | [6 empty] | 0 | 0 | 0 | 626.7833
146 | SR2R21 | Thirunelveli 2 Line Reactor at Udumalpet | 63 | SR-II | -- | 2013-01-01 | 0:00 | 2013-01-06 | 18:52 | -- | -- | -- | 0 | 0 | 0 | 138.8667 | N/A | N/A | N/A | Hand tripped as per SRLDC instruction for voltage regulation in the system vide SRLDC code no. CR-12/594. |  | 100
[5 empty] | -- | 2013-01-08 | 7:18 | 2013-01-15 | 22:29 | -- | -- | -- | 0 | 0 | 0 | 183.1833 | N/A | N/A | N/A | Hand tripped as per SRLDC instruction for voltage regulation in the system vide SRLDC code no. CR-01/80.
[5 empty] | -- | 2013-01-19 | 14:30 | 2013-02-01 | 0:00 |  |  |  | 0 | 0 | 0 | 297.5 | N/A | N/A | N/A | Hand tripped as per SRLDC instruction for voltage regulation in the system vide SRLDC code no. CR-01/218.
[6 empty] | Sub Total --> | [6 empty] | 0 | 0 | 0 | 619.55
147 | SR2R22 | Udumalpet 1 Line Reactor at Thirunelveli | 63 | SR-II | -- | 2013-01-28 | 9:14 | 2013-01-29 | 22:47 | -- | -- | -- | 0 | 0 | 0 | 37.55 | N/A | N/A | N/A | Hand tripped as per SRLDC instruction for voltage regulation in the system vide SRLDC code no. CR-01/378. |  | 100
[5 empty] | -- | 2013-01-30 | 10:12 | 2013-01-31 | 21:34 |  |  |  | 0 | 0 | 0 | 35.3667 | N/A | N/A | N/A | Hand tripped as per SRLDC instruction for voltage regulation in the system vide SRLDC code no. CR-01/422.
[6 empty] | Sub Total --> | [6 empty] | 0 | 0 | 0 | 72.9167
148 | SR2R23 | Udumalpet 2 Line Reactor at Thirunelveli | 63 | SR-II | -- | 2013-01-28 | 9:14 | 2013-01-29 | 22:48 | -- | -- | -- | 0 | 0 | 0 | 37.5667 | N/A | N/A | N/A | Hand tripped as per SRLDC instruction for voltage regulation in the system vide SRLDC code no. CR-01/379. |  | 100
[5 empty] | -- | 2013-01-30 | 10:12 | 2013-01-31 | 21:36 |  |  |  | 0 | 0 | 0 | 35.4 | N/A | N/A | N/A | Hand tripped as per SRLDC instruction for voltage regulation in the system vide SRLDC code no. CR-01/422.
[6 empty] | Sub Total --> | [6 empty] | 0 | 0 | 0 | 72.9667
150 | SR2R25 | TALCHER - KOLAR HVDC POLE - I | 1000 | SR-II | -- | 2013-01-13 | 6:10 | 2013-01-13 | 21:30 | -- | -- | -- | 15.3333 | 0 | 0 | 0 | N/A | N/A | N/A | Shut down availed for AMP works vide SRLDC code no. CR-01/148. |  | 97.9391
[6 empty] | Sub Total --> | [6 empty] | 15.3333 | 0 | 0 | 0
151 | SR2R26 | TALCHER - KOLAR HVDC POLE - II | 1000 | SR-II | -- | 2013-01-03 | 7:06 | 2013-01-03 | 7:06 | -- | -- | -- | 0 | 0 | 0 | 0 | N/A | N/A | N/A | LFL and DC line fault recovery sequence operated at 29.08 kM from Talcher end (Tower no. 83). |  | 98.5506
[5 empty] | -- | 2013-01-11 | 20:00 | 2013-01-11 | 20:00 |  |  |  | 0 | 0 | 0 | 0 | N/A | N/A | N/A | LFL and DC line fault recovery sequence operated at 254.95 kM from Talcher end (Tower no. 695).
[5 empty] | -- | 2013-01-14 | 6:12 | 2013-01-14 | 16:59 |  |  |  | 10.7833 | 0 | 0 | 0 | N/A | N/A | N/A | Shut down availed for AMP works vide SRLDC code no. CR-01/162.
[6 empty] | Sub Total --> | [6 empty] | 10.7833 | 0 | 0 | 0
[22 empty] | 14891.2836 | 14891.2836 | 0
Note in type of failure column please indicate following :
1) Hardware failure like Earthwire failure, Jumper snapping, Conductor snapping, Insulator failure, Others etc
2) Transformer / Reactor failure like winding failure, Bushing failure, OLTC failure, Others etc
3) Tower collapse

## Sheet1
removed
32 | SR2L37 | KOLAR - BANGALORE | 97.391 | SR-II | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | 100
[6 empty] | Sub Total --> | [6 empty] | 0 | 0 | 0 | 0
34 | SR2L37A | KOLAR - CHENNAI | 219 | SR-II | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | 100
[6 empty] | Sub Total --> | [6 empty] | 0 | 0 | 0 | 0
83 | SR2L90 | VALLUR - KALIVANDAPATTU I | 133.846 | SR-II | -- | 2013-12-30 | 22:20 | 2013-12-30 | 22:20 | -- | -- | -- | 0 | 0 | 0 | 0 | N/A | N/A | N/A | Auto reclosed successfully on Y-N (Ph-earth) transient fault. FLR: 4.84 kM from Kalivindapattu end. | 100
[6 empty] | Sub Total --> | [6 empty] | 0 | 0 | 0 | 0
[5 empty] | -- | 2013-12-01 | 0:00 | 2013-12-02 | 18:14 | -- | -- | -- | 0 | 0 | 0 | 42.2333 | N/A | N/A | N/A | Shut down availed by M/s NTECL for attending gas leakage at isolator at Vallur GIS end vide SRLDC code no CR-11/ 873.
89 | SR2T6 | BIDADI ICT-II | 500 | SR-II | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | 100
[6 empty] | Sub Total --> | [6 empty] | 0 | 0 | 0 | 0
Added
31 | SR2L35 | 'KALIVANDAPATTU - SRIPERUMBUDUR |  | SR-II | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | 100
[6 empty] | Sub Total --> | [6 empty] | 0 | 0 | 0 | 0