## SOP
Standard of Performance data for the month of JAN -2014
Name of Transmission Licensee : POWER GRID CORPORATION OF INDIA LTD., SOUTHERN REGION - II
Sl No: | Unique ID of transmission Element | Element Name | Description (Length/Nos./MVA/MVAr/MW/etc.) | Region | Type of failure | OUTAGE |  | RESTORATION |  | Details of Outage |  | Total outage in days (1) | DURATION OF OUTAGE ATTRIBUTABLE TO (in Hrs) |  |  |  | Restoration Time as per Regulation 5(b) (2) | Whether Restoration Time more than normative (Y/N) | Difference between Actual and Norm 1-2 | Detailed Reason(s) for Outage | Outage Certifying Agency and Reference Document | % Availability as certified by certifying agency
[6 empty] | Date | Time | Date | Time | No. of towers damaged | no. of insulator failed |  | ISTS Licensee | OTHERS | System Constraints/ Natural calamity / Militancy | Deemed Available
1 | SR2L1 | EDAPPON - EDAMON | 58.562 | SR-II | -- | 2014-01-09 | 7:51 | 2014-01-09 | 17:19 | -- | -- | -- | 0 | 0 | 0 | 9.4667 | N/A | N/A | N/A | Shut down availed by M/s KSEB for maintenance works at Edamon end vide SRLDC code no. CR-01/202. | SRPC, SRPC/SE-I/PGTA/2014/1908, Dtd. 03.03.2014 | 100
[5 empty] | -- | 2014-01-17 | 8:02 | 2014-01-17 | 17:00 | -- | -- | -- | 0 | 0 | 0 | 8.9667 | N/A | N/A | N/A | Shut down availed by M/s KSEB for maintenance work at Edappon SS vide SRLDC code no. CR-01/370.
[6 empty] | Sub Total --> | [6 empty] | 0 | 0 | 0 | 9.4667
2 | SR2L2 | KAYAMKULAM - EDAPPON | 19.764 | SR-II | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- |  | 100
[6 empty] | Sub Total --> | [6 empty] | 0 | 0 | 0 | 0
3 | SR2L3 | KAYAMKULAM - KUNDRA | 41 | SR-II | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- |  | 100
[6 empty] | Sub Total --> | [6 empty] | 0 | 0 | 0 | 0
4 | SR2L4 | KAYAMKULAM - POLLAM - I | 47 | SR-II | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- |  | 100
[6 empty] | Sub Total --> | [6 empty] | 0 | 0 | 0 | 0
5 | SR2L5 | KAYAMKULAM - POLLAM - II | 47 | SR-II | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- |  | 100
[6 empty] | Sub Total --> | [6 empty] | 0 | 0 | 0 | 0
6 | SR2L6 | KUNDRA - EDAMON | 37 | SR-II | -- | 2014-01-08 | 8:15 | 2014-01-08 | 18:04 | -- | -- | -- | 0 | 0 | 0 | 9.8167 | N/A | N/A | N/A | Shut down availed by M/s KSEB for maintenance works at Edamon end vide SRLDC code no. CR-01/183. |  | 100
[6 empty] | Sub Total --> | [6 empty] | 0 | 0 | 0 | 9.8167
7 | SR2L8 | ARASUR-UDUMALPET-I | 65.116 | SR-II | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- |  | 100
[6 empty] | Sub Total --> | [6 empty] | 0 | 0 | 0 | 0
8 | SR2L9 | ARASUR-UDUMALPET-II | 65.116 | SR-II | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- |  | 100
[6 empty] | Sub Total --> | [6 empty] | 0 | 0 | 0 | 0 | -- | -- | --
9 | SR2L10 | BANGALORE - SALEM | 79.756 | SR-II | -- | 2014-01-27 | 7:06 | 2014-01-28 | 17:05 | -- | -- | -- | 0 | 0 | 0 | 33.9833 | N/A | N/A | N/A | Shut down availed for construction works of LILO at Hosur SS vide SRLDC code no. CR-01/625. |  | 100
[6 empty] | Sub Total --> | [6 empty] | 0 | 0 | 0 | 33.9833
10 | SR2L11 | BHAVINI - ARANI I | 106.452 | SR-II | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- |  | 100
[6 empty] | Sub Total --> | [6 empty] | 0 | 0 | 0 | 0 | -- | -- | --
11 | SR2L12 | BHAVINI - ARANI II | 106.452 | SR-II | -- | 2014-01-03 | 9:53 | 2014-01-03 | 19:37 | -- | -- | -- | 9.7333 | 0 | 0 | 0 | N/A | N/A | N/A | Shut down availed for AMP of terminal and bay equipment at Aarani SS vide SRLDC code no. CR-01/35. |  | 98.6918
[6 empty] | Sub Total --> | [6 empty] | 9.7333 | 0 | 0 | 0
12 | SR2L13 | BHAVINI - KANCHEEPURAM I | 80.316 | SR-II | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- |  | 100
[6 empty] | Sub Total --> | [6 empty] | 0 | 0 | 0 | 0
13 | SR2L14 | BHAVINI - KANCHEEPURAM II | 80.316 | SR-II | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- |  | 100
[6 empty] | Sub Total --> | [6 empty] | 0 | 0 | 0 | 0 | -- | -- | --
14 | SR2L15 | BHAVINI - SIRUSERI I | 36.243 | SR-II | -- | 2014-01-05 | 10:35 | 2014-01-05 | 13:29 | -- | -- | -- | 0 | 0 | 0 | 2.9 | N/A | N/A | N/A | Shut down availed by M/s TNEB for maintenance work and relay testing at Siruseri SS vide SRLDC code no. CR-01/110. |  | 100
[6 empty] | Sub Total --> | [6 empty] | 0 | 0 | 0 | 2.9 | -- | -- | --
15 | SR2L16 | BHAVINI - SIRUSERI II | 36.243 | SR-II | -- | 2014-01-05 | 13:39 | 2014-01-05 | 16:32 | -- | -- | -- | 0 | 0 | 0 | 2.8833 | N/A | N/A | N/A | Shut down availed by M/s TNEB for maintenance work and relay testing at Siruseri SS vide SRLDC code no. CR-01/114. |  | 100
[6 empty] | Sub Total --> | [6 empty] | 0 | 0 | 0 | 2.8833 | -- | -- | --
16 | SR2L17 | BIDADI - SOMANAHALLI I | 16.97 | SR-II | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- |  | 100
[6 empty] | Sub Total --> | [6 empty] | 0 | 0 | 0 | 0 | -- | -- | --
17 | SR2L18 | BIDADI - SOMANAHALLI II | 16.97 | SR-II | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- |  | 100
[6 empty] | Sub Total --> | [6 empty] | 0 | 0 | 0 | 0 | -- | -- | --
18 | SR2L19 | CHITTOOR - CHENNAI | 95.14 | SR-II | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- |  | 100
[6 empty] | Sub Total --> | [6 empty] | 0 | 0 | 0 | 0 | -- | -- | --
19 | SR2L23 | CUDDAPAH - CHITTOOR | 147.14 | SR-II | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- |  | 100
[6 empty] | Sub Total --> | [6 empty] | 0 | 0 | 0 | 0 | -- | -- | --
20 | SR2L24 | CUDDAPAH - KOLAR | 174.073 | SR-II | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- |  | 100
[6 empty] | Sub Total --> | [6 empty] | 0 | 0 | 0 | 0 | -- | -- | --
21 | SR2L25 | GOOTY - BANGALORE | 301.667 | SR-II | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- |  | 100
[6 empty] | Sub Total --> | [6 empty] | 0 | 0 | 0 | 0 | -- | -- | --
22 | SR2L26 | HASSAN - MYSORE I | 95.875 | SR-II | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- |  | 100
[6 empty] | Sub Total --> | [6 empty] | 0 | 0 | 0 | 0 | -- | -- | --
23 | SR2L27 | HASSAN - MYSORE II | 95.875 | SR-II | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- |  | 100
[6 empty] | Sub Total --> | [6 empty] | 0 | 0 | 0 | 0 | -- | -- | --
24 | SR2L28 | HASSAN - NELAMANGALA I | 74.35 | SR-II | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- |  | 100
[6 empty] | Sub Total --> | [6 empty] | 0 | 0 | 0 | 0
25 | SR2L29 | HASSAN - TALAGUPPA I | 74.35 | SR-II | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- |  | 100
[6 empty] | Sub Total --> | [6 empty] | 0 | 0 | 0 | 0
26 | SR2L31 | HOSUR-SALEM | 251.664 | SR-II | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- |  | 100
[6 empty] | Sub Total --> | [6 empty] | 0 | 0 | 0 | 0
27 | SR2L32 | KAIGA - NARENDRA I | 107.662 | SR-II | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- |  | 100
[6 empty] | Sub Total --> | [6 empty] | 0 | 0 | 0 | 0
28 | SR2L33 | KAIGA - NARENDRA II | 107.662 | SR-II | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- |  | 100
[6 empty] | Sub Total --> | [6 empty] | 0 | 0 | 0 | 0
29 | SR2L34 | KAIGA - SIRSI - I | 61.432 | SR-II | -- | 2014-01-12 | 12:25 | 2014-01-12 | 13:45 | -- | -- | -- | 0 | 1.3333 | 0 | 0 | N/A | N/A | N/A | Tripped due to bus fault at 400KV Guttur (KPTCL) SS. Guttur SS became dead. |  | 100
[6 empty] | Sub Total --> | [6 empty] | 0 | 1.3333 | 0 | 0 | -- | -- | --
30 | SR2L35 | KAIGA - SIRSI - II | 61.432 | SR-II | -- | 2014-01-12 | 12:25 | 2014-01-12 | 14:48 | -- | -- | -- | 0 | 2.3833 | 0 | 0 | N/A | N/A | N/A | Tripped due to bus fault at 400KV Guttur (KPTCL) SS. Guttur SS became dead. |  | 100
[6 empty] | Sub Total --> | [6 empty] | 0 | 2.3833 | 0 | 0
31 | SR2L36 | KARAIKUDI - MADURAI - I | 129.761 | SR-II | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- |  | 100
[6 empty] | Sub Total --> | [6 empty] | 0 | 0 | 0 | 0
32 | SR2L37 | KOLAR - BANGALORE | 97.391 | SR-II | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- |  | 100
[6 empty] | Sub Total --> | [6 empty] | 0 | 0 | 0 | 0
33 | SR2L37A | KOLAR - CHENNAI | 219 | SR-II | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- |  | 100
[6 empty] | Sub Total --> | [6 empty] | 0 | 0 | 0 | 0
34 | SR2L38 | KOLAR - HOODY - I | 51.067 | SR-II | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- |  | 100
[6 empty] | Sub Total --> | [6 empty] | 0 | 0 | 0 | 0
35 | SR2L39 | KOLAR - HOODY - II | 51.067 | SR-II | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- |  | 100
[6 empty] | Sub Total --> | [6 empty] | 0 | 0 | 0 | 0
36 | SR2L40 | KOLAR - HOSUR - I | 69 | SR-II | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- |  | 100
[6 empty] | Sub Total --> | [6 empty] | 0 | 0 | 0 | 0
37 | SR2L41 | KOLAR - HOSUR - II | 69 | SR-II | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- |  | 100
[6 empty] | Sub Total --> | [6 empty] | 0 | 0 | 0 | 0
38 | SR2L43 | MADURAI - TUTICORIN 1 | 115.602 | SR-II | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- |  | 100
[6 empty] | Sub Total --> | [6 empty] | 0 | 0 | 0 | 0
39 | SR2L44 | MADURAI - TUTICORIN 2 | 152.167 | SR-II | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- |  | 100
[6 empty] | Sub Total --> | [6 empty] | 0 | 0 | 0 | 0
40 | SR2L45 | MADURAI-THIRUNELVELI - I | 161.7 | SR-II | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- |  | 100
[6 empty] | Sub Total --> | [6 empty] | 0 | 0 | 0 | 0
41 | SR2L46 | MADURAI-THIRUNELVELI - II | 161.7 | SR-II | -- | 2014-01-14 | 15:34 | 2014-01-14 | 16:19 | -- | -- | -- | 0 | 0.75 | 0 | 0 | N/A | N/A | N/A | Tripped at Kudamkulam NPCIL SS end only. |  | 100
[6 empty] | Sub Total --> | [6 empty] | 0 | 0.75 | 0 | 0
42 | SR2L47 | NARENDRA - DAVANGERE I | 156.5 | SR-II | -- | 2014-01-05 | 23:05 | 2014-01-11 | 18:55 | -- | -- | -- | 0 | 0 | 0 | 139.8333 | N/A | N/A | N/A | Hand tripped as per SRLDC instruction for voltage regulation in the system vide SRLDC code no. CR-01/121. |  | 100
[6 empty] | 2014-01-12 | 12:25 | 2014-01-12 | 13:54 | -- | -- | -- | 0 | 1.4833 | 0 | 0 |  |  |  | Tripped due to bus fault at 400KV Guttur (KPTCL) SS. Guttur SS became dead.
[6 empty] | Sub Total --> | [6 empty] | 0 | 1.4833 | 0 | 139.8333
43 | SR2L48 | NARENDRA - DAVANGERE II | 156.5 | SR-II | -- | 2014-01-12 | 12:25 | 2014-01-12 | 14:20 | -- | -- | -- | 0 | 1.9167 | 0 | 0 | N/A | N/A | N/A | Tripped due to bus fault at 400KV Guttur (KPTCL) SS. Guttur SS became dead. |  | 100
[5 empty] | -- | 2014-01-28 | 10:26 | 2014-01-28 | 21:14 | -- | -- | -- | 0 | 0 | 0 | 10.8 | N/A | N/A | N/A | Shut down availed for replacement of porcelain insulator with CLR insulators in polluted stretch vide SRLDC code no. CR-01/665.
[5 empty] | -- | 2014-01-29 | 7:36 | 2014-01-29 | 20:16 | -- | -- | -- | 0 | 0 | 0 | 12.6667 | N/A | N/A | N/A | Shut down availed for replacement of porcelain insulator with CLR insulators in polluted stretch vide SRLDC code no. CR-01/692.
[5 empty] | -- | 2014-01-30 | 7:35 | 2014-01-30 | 20:07 | -- | -- | -- | 0 | 0 | 0 | 12.5333 | N/A | N/A | N/A | Shut down availed for replacement of porcelain insulator with CLR insulators in polluted stretch vide SRLDC code no. CR-01/712.
[5 empty] | -- | 2014-01-31 | 8:07 | 2014-01-31 | 20:36 | -- | -- | -- | 0 | 0 | 0 | 12.4833 | N/A | N/A | N/A | Shut down availed for replacement of porcelain insulator with CLR insulators in polluted stretch vide SRLDC code no. CR-01/736.
[6 empty] | Sub Total --> | [6 empty] | 0 | 1.9167 | 0 | 48.4833
44 | SR2L49 | NELAMANGALA - BIDADI I | 34.75 | SR-II | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- |  | 100
[6 empty] | Sub Total --> | [6 empty] | 0 | 0 | 0 | 0
45 | SR2L50 | NELAMANGALA - BIDADI II | 34.75 | SR-II | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- |  | 100
[6 empty] | Sub Total --> | [6 empty] | 0 | 0 | 0 | 0
46 | SR2L51 | NELAMANGALA - MYSORE I | 132.897 | SR-II | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- |  | 100
[6 empty] | Sub Total --> | [6 empty] | 0 | 0 | 0 | 0
47 | SR2L52 | NELAMANGALA - MYSORE II | 132.897 | SR-II | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- |  | 100
[6 empty] | Sub Total --> | [6 empty] | 0 | 0 | 0 | 0
48 | SR2L53 | NEYVELI - BAHOOR | 52.5 | SR-II | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- |  | 100
[6 empty] | Sub Total --> | [6 empty] | 0 | 0 | 0 | 0
49 | SRL53 | NEYVELI - VILLIANUR | 63.232 | SR-II | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- |  | 100
[6 empty] | Sub Total --> | [6 empty] | 0 | 0 | 0 | 0
50 | SR2L54 | NEYVELI TS II - PUDUCHERRY-I | 68 | SR-II | -- | 2014-01-06 | 7:31 | 2014-01-06 | 17:38 | -- | -- | -- | 0 | 0 | 0 | 10.1167 | N/A | N/A | N/A | Shut down availed for replacement of disc insulator strings with CLR insulators in polluted strech between loc. No: 1 to 35 vide SRLDC code no. CR-01/125. |  | 100
[5 empty] | -- | 2014-01-07 | 7:28 | 2014-01-07 | 18:22 | -- | -- | -- | 0 | 0 | 0 | 10.9 | N/A | N/A | N/A | Shut down availed for replacement of disc insulator strings with CLR insulators in polluted strech between loc. No: 1 to 35 vide SRLDC code no. CR-01/149.
[5 empty] | -- | 2014-01-08 | 6:58 | 2014-01-08 | 19:14 | -- | -- | -- | 0 | 0 | 0 | 12.2667 | N/A | N/A | N/A | Shut down availed for replacement of disc insulator strings with CLR insulators in polluted strech between loc. No: 1 to 35 vide SRLDC code no. CR-01/181.
[5 empty] | -- | 2014-01-09 | 7:05 | 2014-01-09 | 18:38 | -- | -- | -- | 0 | 0 | 0 | 11.55 | N/A | N/A | N/A | Shut down availed for replacement of disc insulator strings with CLR insulators in polluted strech between loc. No: 1 to 35 vide SRLDC code no. CR-01/199.
[6 empty] | Sub Total --> | [6 empty] | 0 | 0 | 0 | 44.8333
51 | SR2L55 | NEYVELI TS II - PUGALUR | 198.047 | SR-II | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- |  | 100
[6 empty] | Sub Total --> | [6 empty] | 0 | 0 | 0 | 0
52 | SR2L56 | NEYVELI TS II - TRICHY - I | 164.175 | SR-II | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- |  | 100
[6 empty] | Sub Total --> | [6 empty] | 0 | 0 | 0 | 0
53 | SR2L57 | NEYVELI TS II EXP - PUGALUR | 199.671 | SR-II | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- |  | 100
[6 empty] | Sub Total --> | [6 empty] | 0 | 0 | 0 | 0
54 | SR2L58 | NEYVELI TS-I EXTENSION - TRICHY | 171.95 | SR-II | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- |  | 100
[6 empty] | Sub Total --> | [6 empty] | 0 | 0 | 0 | 0
55 | SR2L59 | NEYVELI TS-II - NEYVELI TS-I EXPANSION | 13.939 | SR-II | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- |  | 100
[6 empty] | Sub Total --> | [6 empty] | 0 | 0 | 0 | 0
56 | SR2L60 | NEYVELI-SALEM - I | 174.949 | SR-II | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- |  | 100
[6 empty] | Sub Total --> | [6 empty] | 0 | 0 | 0 | 0
57 | SR2L61 | NEYVELI-SALEM - II | 178.72 | SR-II | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- |  | 100
[6 empty] | Sub Total --> | [6 empty] | 0 | 0 | 0 | 0
58 | SR2L62 | PALAKKAD - TRICHUR I | 84.785 | SR-II | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- |  | 100
[6 empty] | Sub Total --> | [6 empty] | 0 | 0 | 0 | 0
59 | SR2L63 | PALAKKAD - TRICHUR II | 84.785 | SR-II | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- |  | 100
[6 empty] | Sub Total --> | [6 empty] | 0 | 0 | 0 | 0
60 | SR2L64 | PUDUCHERRY-SVCHATRAM-I | 128.594 | SR-II | -- | 2014-01-19 | 9:13 | 2014-01-19 | 18:08 | -- | -- | -- | 0 | 0 | 0 | 8.9167 | N/A | N/A | N/A | Shut down availed by M/s TNEB for earth resistance test at SV Chatram (TNEB SS) end vide SRLDC code no. CR-01/423. |  | 100
[6 empty] | Sub Total --> | [6 empty] | 0 | 0 | 0 | 8.9167
61 | SR2L65 | PUGALUR - MADURAI - I | 123.643 | SR-II | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- |  | 100
[6 empty] | Sub Total --> | [6 empty] | 0 | 0 | 0 | 0
62 | SR2L66 | PUGALUR - MADURAI - II | 123.643 | SR-II | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- |  | 100
[6 empty] | Sub Total --> | [6 empty] | 0 | 0 | 0 | 0
63 | SR2L67 | SALEM - UDUMALPET I | 150.543 | SR-II | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- |  | 100
[6 empty] | Sub Total --> | [6 empty] | 0 | 0 | 0 | 0
64 | SR2L68 | SALEM - UDUMALPET II | 137.91 | SR-II | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- |  | 100
[6 empty] | Sub Total --> | [6 empty] | 0 | 0 | 0 | 0
65 | SR2L70 | SVCHATRAM-SRIPERUMBUDUR-I | 10.08 | SR-II | -- | 2014-01-03 | 13:50 | 2014-01-03 | 18:32 | -- | -- | -- | 0 | 0 | 0 | 4.7 | N/A | N/A | N/A | Shut down availed by M/s TNEB to attend hotspot in R phase line isolator at SV Chatram end vide SRLDC code no. CR-01/41. |  | 100
[5 empty] | -- | 2014-01-19 | 9:14 | 2014-01-19 | 19:02 | -- | -- | -- | 0 | 0 | 0 | 9.8 | N/A | N/A | N/A | Shut down availed by M/s TNEB for earth resistance test at SV Chatram (TNEB SS) end vide SRLDC code no. CR-01/423.
[6 empty] | Sub Total --> | [6 empty] | 0 | 0 | 0 | 14.5
66 | SR2L71 | THIRUNELVELI - EDAMON - I | 81.94 | SR-II | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- |  | 100
[6 empty] | Sub Total --> | [6 empty] | 0 | 0 | 0 | 0
67 | SR2L72 | THIRUNELVELI - EDAMON - II | 81.94 | SR-II | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- |  | 100
[6 empty] | Sub Total --> | [6 empty] | 0 | 0 | 0 | 0
68 | SR2L73 | THIRUNELVELI - KUDAMKULAM-I | 72.489 | SR-II | -- | 2014-01-14 | 15:34 | 2014-01-14 | 16:19 | -- | -- | -- | 0 | 0.75 | 0 | 0 | N/A | N/A | N/A | Tripped at Kudamkulam NPCIL SS end only. |  | 100
[6 empty] | Sub Total --> | [6 empty] | 0 | 0.75 | 0 | 0
69 | SR2L74 | THIRUNELVELI - KUDAMKULAM-II | 72.489 | SR-II | -- | 2014-01-01 | 0:00 | 2014-01-20 | 20:42 | -- | -- | -- | 0 | 0 | 0 | 476.7 | N/A | N/A | N/A | Hand tripped as per SRLDC instruction for voltage regulation in the system vide SRLDC code no. CR-12/760. |  | 100
[5 empty] | -- | 2014-01-20 | 22:17 | 2014-01-21 | 14:43 | -- | -- | -- | 0 | 0 | 0 | 16.4333 | N/A | N/A | N/A | Hand tripped as per SRLDC instruction for voltage regulation in the system vide SRLDC code no. CR-01/464.
[6 empty] | Sub Total --> | [6 empty] | 0 | 0 | 0 | 493.1333
70 | SR2L75 | THIRUNELVELI - KUDAMKULAM-III | 79.534 | SR-II | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- |  | 100
[6 empty] | Sub Total --> | [6 empty] | 0 | 0 | 0 | 0
71 | SR2L76 | THIRUNELVELI - KUDAMKULAM-IV | 79.534 | SR-II | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- |  | 100
[6 empty] | Sub Total --> | [6 empty] | 0 | 0 | 0 | 0
72 | SR2L77 | THIRUNELVELI - TRIVANDRUM - I | 160.4 | SR-II | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- |  | 100
[6 empty] | Sub Total --> | [6 empty] | 0 | 0 | 0 | 0
73 | SR2L78 | THIRUNELVELI - TRIVANDRUM - II | 160.4 | SR-II | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- |  | 100
[6 empty] | Sub Total --> | [6 empty] | 0 | 0 | 0 | 0
74 | SR2L79 | THIRUNELVELI - UDUMALPET I | 264.987 | SR-II | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- |  | 100
[6 empty] | Sub Total --> | [6 empty] | 0 | 0 | 0 | 0
75 | SR2L80 | THIRUNELVELI - UDUMALPET II | 264.987 | SR-II | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- |  | 100
[6 empty] | Sub Total --> | [6 empty] | 0 | 0 | 0 | 0
76 | SR2L83 | TRICHUR - KOCHI I | 78.197 | SR-II | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- |  | 100
[6 empty] | Sub Total --> | [6 empty] | 0 | 0 | 0 | 0
77 | SR2L84 | TRICHUR - KOCHI II | 78.197 | SR-II | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- |  | 100
[6 empty] | Sub Total --> | [6 empty] | 0 | 0 | 0 | 0
78 | SR2L85 | TRICHY - KARAIKUDI - I | 97.699 | SR-II | -- | 2014-01-27 | 9:05 | 2014-01-27 | 18:33 | -- | -- | -- | 9.4667 | 0 | 0 | 0 | N/A | N/A | N/A | Shut down availed for line isolator alignment work and AMP works vide SRLDC code no. CR-01/629. |  | 98.7276
[6 empty] | Sub Total --> | [6 empty] | 9.4667 | 0 | 0 | 0
79 | SR2L86 | TRICHY - MADURAI - I | 130.486 | SR-II | -- | 2014-01-07 | 9:07 | 2014-01-07 | 17:20 | -- | -- | -- | 8.2167 | 0 | 0 | 0 | N/A | N/A | N/A | Shut down availed for line reactor LA replacement work at Madurai end vide SRLDC code no. CR-01/152. |  | 98.8956
[6 empty] | Sub Total --> | [6 empty] | 8.2167 | 0 | 0 | 0
80 | SR2L87 | UDUMALPET - MADURAI | 127.232 | SR-II | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- |  | 100
[6 empty] | Sub Total --> | [6 empty] | 0 | 0 | 0 | 0
81 | SR2L88 | UDUMALPET - PALAKKAD I | 95.723 | SR-II | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- |  | 100
[6 empty] | Sub Total --> | [6 empty] | 0 | 0 | 0 | 0
82 | SR2L89 | UDUMALPET - PALAKKAD II | 95.723 | SR-II | -- | 2014-01-17 | 9:19 | 2014-01-17 | 14:21 | -- | -- | -- | 0 | 0 | 0 | 5.0333 | N/A | N/A | N/A | Shut down availed for replacement of porcelain insulators with CLR insulators in polluted stretch vide SRLDC code no. CR-03/601. |  | 100
[6 empty] | Sub Total --> | [6 empty] | 0 | 0 | 0 | 5.0333
83 | SR2L90 | VALLUR - KALIVANDAPATTU I | 133.846 | SR-II | -- | 2014-01-15 | 7:49 | 2014-01-17 | 19:56 | -- | -- | -- | 0 | 0 | 0 | 60.1167 | N/A | N/A | N/A | Shut down availed by M/s TNEB for construction works of 400KV Almathy-SV Chatram D/C line vide SRLDC code no. CR-01/338. |  | 100
[6 empty] | Sub Total --> | [6 empty] | 0 | 0 | 0 | 60.1167
84 | SR2L91 | VALLUR - KALIVANDAPATTU II | 133.846 | SR-II | -- | 2014-01-15 | 7:50 | 2014-01-17 | 20:00 | -- | -- | -- | 0 | 0 | 0 | 60.1667 | N/A | N/A | N/A | Shut down availed by M/s TNEB for construction works of 400KV Almathy-SV Chatram D/C line vide SRLDC code no. CR-01/339. |  | 100
[6 empty] | Sub Total --> | [6 empty] | 0 | 0 | 0 | 60.1667
85 | SR2T1 | ARASUR ICT - I | 315 | SR-II | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- |  | 100
[6 empty] | Sub Total --> | [6 empty] | 0 | 0 | 0 | 0
86 | SR2T2 | ARASUR ICT - II | 315 | SR-II | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- |  | 100
[6 empty] | Sub Total --> | [6 empty] | 0 | 0 | 0 | 0
87 | SR2T3 | BANGALORE ICT - I | 501 | SR-II | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- |  | 100
[6 empty] | Sub Total --> | [6 empty] | 0 | 0 | 0 | 0
88 | SR2T4 | BANGALORE ICT - II | 501 | SR-II | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- |  | 100
[6 empty] | Sub Total --> | [6 empty] | 0 | 0 | 0 | 0
89 | SR2T5 | BIDADI ICT-I | 500 | SR-II | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- |  | 100
[6 empty] | Sub Total --> | [6 empty] | 0 | 0 | 0 | 0
90 | SR2T6 | BIDADI ICT-II | 500 | SR-II | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- |  | 100
[6 empty] | Sub Total --> | [6 empty] | 0 | 0 | 0 | 0
91 | SR2T7 | HASSAN ICT - I | 315 | SR-II | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- |  | 100
[6 empty] | Sub Total --> | [6 empty] | 0 | 0 | 0 | 0
92 | SR2T8 | HASSAN ICT - II | 315 | SR-II | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- |  | 100
[6 empty] | Sub Total --> | [6 empty] | 0 | 0 | 0 | 0
93 | SR2T9 | HIRIYUR ICT | 315 | SR-II | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- |  | 100
[6 empty] | Sub Total --> | [6 empty] | 0 | 0 | 0 | 0
94 | SR2T10 | HIRIYUR ICT II | 315 | SR-II | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- |  | 100
[6 empty] | Sub Total --> | [6 empty] | 0 | 0 | 0 | 0
95 | SR2T11 | HOSUR ICT - I | 315 | SR-II | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- |  | 100
[6 empty] | Sub Total --> | [6 empty] | 0 | 0 | 0 | 0
96 | SR2T12 | HOSUR ICT - II | 315 | SR-II | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- |  | 100
[6 empty] | Sub Total --> | [6 empty] | 0 | 0 | 0 | 0
97 | SR2T14 | KALIVANDAPATTU ICT - I | 315 | SR-II | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- |  | 100
[6 empty] | Sub Total --> | [6 empty] | 0 | 0 | 0 | 0
98 | SR2T15 | KALIVANDAPATTU ICT - II | 315 | SR-II | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- |  | 100
[6 empty] | Sub Total --> | [6 empty] | 0 | 0 | 0 | 0
99 | SR2T16 | KARAIKUDI ICT - I | 315 | SR-II | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- |  | 100
[6 empty] | Sub Total --> | [6 empty] | 0 | 0 | 0 | 0
100 | SR2T17 | KARAIKUDI ICT - II | 315 | SR-II | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- |  | 100
[6 empty] | Sub Total --> | [6 empty] | 0 | 0 | 0 | 0
101 | SR2T18 | KOCHI ICT I | 315 | SR-II | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- |  | 100
[6 empty] | Sub Total --> | [6 empty] | 0 | 0 | 0 | 0
102 | SR2T19 | KOCHI ICT II | 315 | SR-II | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- |  | 100
[6 empty] | Sub Total --> | [6 empty] | 0 | 0 | 0 | 0
103 | SR2T20 | KOLAR ICT | 501 | SR-II | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- |  | 100
[6 empty] | Sub Total --> | [6 empty] | 0 | 0 | 0 | 0
104 | SR2T21 | KOLAR ICT-II | 501 | SR-II | -- | 2014-01-30 | 10:10 | 2014-01-30 | 15:33 | -- | -- | -- | 5.3833 | 0 | 0 | 0 | N/A | N/A | N/A | Shut down availed for AMP works and 33KV isolator replacement works vide SRLDC code no. CR-01/723. |  | 99.2764
[6 empty] | Sub Total --> | [6 empty] | 5.3833 | 0 | 0 | 0
105 | SR2T22 | MADURAI ICT - I | 315 | SR-II | -- | [11 empty] | -- | -- | -- |  |  | 100
[6 empty] | Sub Total --> | [6 empty] | 0 | 0 | 0 | 0
106 | SR2T23 | MADURAI ICT - II | 315 | SR-II | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- |  | 100
[6 empty] | Sub Total --> | [6 empty] | 0 | 0 | 0 | 0
107 | SR2T24 | MYSORE ICT I | 315 | SR-II | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- |  | 100
[6 empty] | Sub Total --> | [6 empty] | 0 | 0 | 0 | 0
108 | SR2T25 | MYSORE ICT II | 315 | SR-II | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- |  | 100
[6 empty] | Sub Total --> | [6 empty] | 0 | 0 | 0 | 0
109 | SR2T26 | NARENDRA ICT I | 315 | SR-II | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- |  | 100
[6 empty] | Sub Total --> | [6 empty] | 0 | 0 | 0 | 0
110 | SR2T27 | NARENDRA ICT II | 315 | SR-II | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- |  | 100
[6 empty] | Sub Total --> | [6 empty] | 0 | 0 | 0 | 0
111 | SR2T28 | PALAKKAD ICT - I | 315 | SR-II | -- | 2014-01-17 | 8:26 | 2014-01-17 | 15:55 | -- | -- | -- | 7.4833 | 0 | 0 | 0 | N/A | N/A | N/A | Shut down availed for AMP works vide SRLDC code no. CR-01/376. |  | 98.9942
[6 empty] | Sub Total --> | [6 empty] | 7.4833 | 0 | 0 | 0
112 | SR2T29 | PALAKKAD ICT - II | 315 | SR-II | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- |  | 100
[6 empty] | Sub Total --> | [6 empty] | 0 | 0 | 0 | 0
113 | SR2T30 | PUDUCHERRY ICT-I | 315 | SR-II | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- |  | 100
[6 empty] | Sub Total --> | [6 empty] | 0 | 0 | 0 | 0
114 | SR2T31 | PUDUCHERRY ICT-II | 315 | SR-II | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- |  | 100
[6 empty] | Sub Total --> | [6 empty] | 0 | 0 | 0 | 0
115 | SR2T32 | PUGALUR ICT - I | 315 | SR-II | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- |  | 100
[6 empty] | Sub Total --> | [6 empty] | 0 | 0 | 0 | 0
116 | SR2T33 | PUGALUR ICT - II | 315 | SR-II | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- |  | 100
[6 empty] | Sub Total --> | [6 empty] | 0 | 0 | 0 | 0
117 | SR2T34 | THIRUNELVELI ICT - I | 315 | SR-II | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- |  | 100
[6 empty] | Sub Total --> | [6 empty] | 0 | 0 | 0 | 0
118 | SR2T35 | THIRUNELVELI ICT - II | 315 | SR-II | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- |  | 100
[6 empty] | Sub Total --> | [6 empty] | 0 | 0 | 0 | 0
119 | SR2T36 | TRICHY ICT - I | 315 | SR-II | -- | 2014-01-22 | 7:07 | 2014-01-22 | 19:45 | -- | -- | -- | 12.6333 | 0 | 0 | 0 | N/A | N/A | N/A | Shut down availed for rectification of 220 KV isolator arms and MOM boxes vide SRLDC code no. CR-01/507. |  | 98.302
[6 empty] | Sub Total --> | [6 empty] | 12.6333 | 0 | 0 | 0
120 | SR2T37 | TRICHY ICT - II | 315 | SR-II | -- | 2014-01-24 | 18:40 | 2014-01-24 | 19:49 | -- | -- | -- | 0 | 1.15 | 0 | 0 | -- | -- | -- | Charging delayed by M/s TNEB. |  | 98.4407
[5 empty] | -- | 2014-01-24 | 7:05 | 2014-01-24 | 18:40 | -- | -- | -- | 11.5833 | 0 | 0 | 0 | N/A | N/A | N/A | Shut down availed for rectification of 220 KV isolator arms and MOM boxes vide SRLDC code no. CR-01/567.
[6 empty] | Sub Total --> | [6 empty] | 11.5833 | 1.15 | 0 | 0
121 | SR2T38 | TRIVANDRUM - ICT I | 315 | SR-II | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- |  | 100
[6 empty] | Sub Total --> | [6 empty] | 0 | 0 | 0 | 0
122 | SR2T39 | TRIVANDRUM - ICT II | 315 | SR-II | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- |  | 100
[6 empty] | Sub Total --> | [6 empty] | 0 | 0 | 0 | 0
123 | SR2T40 | TRIVANDRUM - ICT III | 315 | SR-II | -- | 2014-01-09 | 9:07 | 2014-01-09 | 16:59 | -- | -- | -- | 7.8667 | 0 | 0 | 0 | N/A | N/A | N/A | Shut down availed for AMP works vide SRLDC code no. CR-01/205. |  | 98.9427
[6 empty] | Sub Total --> | [6 empty] | 7.8667 | 0 | 0 | 0
124 | SR2T41 | UDUMALPET ICT - I | 315 | SR-II | -- | 2014-01-06 | 10:12 | 2014-01-06 | 14:45 | -- | -- | -- | 4.55 | 0 | 0 | 0 | N/A | N/A | N/A | Shut down availed for AMP works vide SRLDC code no. CR-01/131. |  | 99.3882
[6 empty] | 2014-01-07 | 22:29 | 2014-01-07 | 22:45 |  |  |  | 0 | 0.26667 | 0 | 0 |  |  |  | Tripped at 220KV TNEB side only.
[6 empty] | Sub Total --> | [6 empty] | 4.55 | 0.26667 | 0 | 0
125 | SR2T42 | UDUMALPET ICT - II | 315 | SR-II | -- | 2014-01-07 | 9:36 | 2014-01-07 | 13:27 | -- | -- | -- | 3.85 | 0 | 0 | 0 | N/A | N/A | N/A | Shut down availed for AMP works vide SRLDC code no. CR-01/155. |  | 99.4803
[5 empty] | -- | 2014-01-07 | 13:27 | 2014-01-07 | 16:24 | -- | -- | -- | 0 | 2.95 | 0 | 0 | N/A | N/A | N/A | Charging delayed by M/s TNEB due to isolator problem.
[5 empty] | -- | 2014-01-07 | 22:29 | 2014-01-07 | 22:45 |  |  |  | 0 | 0.26667 | 0 | 0 |  |  |  | Tripped at 220KV TNEB side only.
[6 empty] | Sub Total --> | [6 empty] | 3.85 | 3.2167 | 0 | 0
126 | SR2T43 | UDUMALPET ICT - III | 315 | SR-II | -- | 2014-01-09 | 9:37 | 2014-01-09 | 14:59 | -- | -- | -- | 5.3667 | 0 | 0 | 0 | N/A | N/A | N/A | Shut down availed for AMP works vide SRLDC code no. CR-01/208. |  | 99.2787
[6 empty] | Sub Total --> | [6 empty] | 5.3667 | 0 | 0 | 0
127 | SR2R1 | BANGALORE BUS REACTOR | 63 | SR-II | -- | 2014-01-02 | 8:14 | 2014-02-01 | 0:00 | -- | -- | -- | 0 | 0 | 0 | 711.7667 | N/A | N/A | N/A | H/T for voltage regulation |  | 100
[6 empty] | Sub Total --> | [6 empty] | 0 | 0 | 0 | 711.7667
128 | SR2R2 | BIDADI BUS REACTOR - I | 63 | SR-II | -- | 2014-01-02 | 8:10 | 2014-01-03 | 23:13 | -- | -- | -- | 0 | 0 | 0 | 39.05 | N/A | N/A | N/A | H/T for voltage regulation |  | 100
[5 empty] | -- | 2014-01-04 | 10:43 | 2014-01-04 | 22:14 | -- | -- | -- | 0 | 0 | 0 | 11.5167 | N/A | N/A | N/A | H/T for voltage regulation
[5 empty] | -- | 2014-01-05 | 9:47 | 2014-01-05 | 22:00 | -- | -- | -- | 0 | 0 | 0 | 12.2167 | N/A | N/A | N/A | H/T for voltage regulation
[5 empty] | -- | 2014-01-06 | 7:07 | 2014-01-09 | 22:00 | -- | -- | -- | 0 | 0 | 0 | 86.8833 | N/A | N/A | N/A | H/T for voltage regulation
[5 empty] | -- | 2014-01-10 | 7:17 | 2014-01-12 | 22:08 | -- | -- | -- | 0 | 0 | 0 | 62.85 | N/A | N/A | N/A | H/T for voltage regulation
[5 empty] | -- | 2014-01-13 | 9:55 | 2014-01-14 | 22:37 | -- | -- | -- | 0 | 0 | 0 | 36.7 | N/A | N/A | N/A | H/T for voltage regulation
[5 empty] | -- | 2014-01-16 | 10:28 | 2014-01-19 | 21:54 | -- | -- | -- | 0 | 0 | 0 | 83.4333 | N/A | N/A | N/A | H/T for voltage regulation
[5 empty] | -- | 2014-01-20 | 6:55 | 2014-01-20 | 22:14 | -- | -- | -- | 0 | 0 | 0 | 15.3167 | N/A | N/A | N/A | H/T for voltage regulation
[5 empty] | -- | 2014-01-21 | 8:32 | 2014-01-21 | 22:12 | -- | -- | -- | 0 | 0 | 0 | 13.6667 | N/A | N/A | N/A | H/T for voltage regulation
[5 empty] | -- | 2014-01-22 | 8:32 | 2014-01-22 | 22:50 | -- | -- | -- | 0 | 0 | 0 | 14.3 | N/A | N/A | N/A | H/T for voltage regulation
[5 empty] | -- | 2014-01-23 | 8:14 | 2014-02-01 | 0:00 | -- | -- | -- | 0 | 0 | 0 | 207.7667 | N/A | N/A | N/A | H/T for voltage regulation
[6 empty] | Sub Total --> | [6 empty] | 0 | 0 | 0 | 583.7
130 | SR2R3 | HASSAN BUS REACTOR - I | 80 | SR-II | -- | 2014-01-06 | 9:54 | 2014-01-06 | 22:13 | -- | -- | -- | 0 | 0 | 0 | 12.3167 | N/A | N/A | N/A | H/T for voltage regulation |  | 100
[5 empty] | -- | 2014-01-07 | 11:59 | 2014-01-08 | 21:40 | -- | -- | -- | 0 | 0 | 0 | 33.6833 | N/A | N/A | N/A | H/T for voltage regulation
[5 empty] | -- | 2014-01-10 | 7:19 | 2014-01-10 | 22:05 | -- | -- | -- | 0 | 0 | 0 | 14.7667 | N/A | N/A | N/A | H/T for voltage regulation
[5 empty] | -- | 2014-01-11 | 7:58 | 2014-01-12 | 22:11 | -- | -- | -- | 0 | 0 | 0 | 38.2167 | N/A | N/A | N/A | H/T for voltage regulation
[5 empty] | -- | 2014-01-14 | 9:11 | 2014-01-14 | 22:45 | -- | -- | -- | 0 | 0 | 0 | 13.5667 | N/A | N/A | N/A | H/T for voltage regulation
[5 empty] | -- | 2014-01-16 | 10:38 | 2014-01-16 | 22:04 | -- | -- | -- | 0 | 0 | 0 | 11.4333 | N/A | N/A | N/A | H/T for voltage regulation
[5 empty] | -- | 2014-01-17 | 8:11 | 2014-01-17 | 22:01 | -- | -- | -- | 0 | 0 | 0 | 13.8333 | N/A | N/A | N/A | H/T for voltage regulation
[5 empty] | -- | 2014-01-20 | 10:28 | 2014-01-20 | 22:08 | -- | -- | -- | 0 | 0 | 0 | 11.6667 | N/A | N/A | N/A | H/T for voltage regulation
[5 empty] | -- | 2014-01-24 | 8:07 | 2014-01-24 | 21:59 | -- | -- | -- | 0 | 0 | 0 | 13.8667 | N/A | N/A | N/A | H/T for voltage regulation
[6 empty] | Sub Total --> | [6 empty] | 0 | 0 | 0 | 163.35
132 | SR2R4 | HIRIYUR BUS REACTOR - I | 63 | SR-II | -- | 2014-01-06 | 9:44 | 2014-01-06 | 22:28 | -- | -- | -- | 0 | 0 | 0 | 12.7333 | N/A | N/A | N/A | H/T for voltage regulation |  | 100
[5 empty] | -- | 2014-01-10 | 9:22 | 2014-01-10 | 22:14 | -- | -- | -- | 0 | 0 | 0 | 12.8667 | N/A | N/A | N/A | H/T for voltage regulation
[5 empty] | -- | 2014-01-11 | 7:54 | 2014-01-12 | 22:08 | -- | -- | -- | 0 | 0 | 0 | 38.2333 | N/A | N/A | N/A | H/T for voltage regulation
[5 empty] | -- | 2014-01-16 | 10:38 | 2014-01-16 | 22:15 |  |  |  | 0 | 0 | 0 | 11.6167 | N/A | N/A | N/A | H/T for voltage regulation
[5 empty] | -- | 2014-01-17 | 8:09 | 2014-01-17 | 21:48 |  |  |  | 0 | 0 | 0 | 13.65 | N/A | N/A | N/A | H/T for voltage regulation
[5 empty] | -- | 2014-01-20 | 10:25 | 2014-01-20 | 22:04 |  |  |  | 0 | 0 | 0 | 11.65 | N/A | N/A | N/A | H/T for voltage regulation
[5 empty] | -- | 2014-01-24 | 8:05 | 2014-01-24 | 21:53 | -- | -- | -- | 0 | 0 | 0 | 13.8 | N/A | N/A | N/A | H/T for voltage regulation
[6 empty] | Sub Total --> | [6 empty] | 0 | 0 | 0 | 114.55
131 | SR2R5 | HOSUR BUS REACTOR - I | 63 | SR-II | -- | 2014-01-01 | 0:00 | 2014-02-01 | 0:00 | -- | -- | -- | 0 | 0 | 0 | 744 | N/A | N/A | N/A | H/T for voltage regulation |  | 100
[6 empty] | Sub Total --> | [6 empty] | 0 | 0 | 0 | 744
132 | SR2R6 | KARAIKUDI BUS REACTOR - I | 80 | SR-II | -- | 2014-01-10 | 9:22 | 2014-01-10 | 22:18 | -- | -- | -- | 0 | 0 | 0 | 12.9333 | N/A | N/A | N/A | H/T for voltage regulation |  | 100
[6 empty] | Sub Total --> | [6 empty] | 0 | 0 | 0 | 12.9333
133 | SR2R7 | KOCHI BUS REACTOR I | 63 | SR-II | -- | 2014-01-03 | 7:23 | 2014-02-01 | 0:00 | -- | -- | -- | 0 | 0 | 0 | 688.6166 | N/A | N/A | N/A | H/T for voltage regulation |  | 100
[6 empty] | Sub Total --> | [6 empty] | 0 | 0 | 0 | 688.6166
134 | SR2R8 | KOLAR BUS REACTOR - I | 63 | SR-II | -- | 2014-01-03 | 7:16 | 2014-01-03 | 23:17 | -- | -- | -- | 0 | 0 | 0 | 16.0167 | N/A | N/A | N/A | H/T for voltage regulation |  | 100
[5 empty] | -- | 2014-01-04 | 10:37 | 2014-01-04 | 22:11 | -- | -- | -- | 0 | 0 | 0 | 11.5667 | N/A | N/A | N/A | H/T for voltage regulation
[5 empty] | -- | 2014-01-05 | 9:45 | 2014-01-05 | 21:58 | -- | -- | -- | 0 | 0 | 0 | 12.2167 | N/A | N/A | N/A | H/T for voltage regulation
[5 empty] | -- | 2014-01-06 | 7:05 | 2014-01-06 | 22:08 | -- | -- | -- | 0 | 0 | 0 | 15.05 | N/A | N/A | N/A | H/T for voltage regulation
[5 empty] | -- | 2014-01-07 | 7:05 | 2014-01-08 | 21:36 | -- | -- | -- | 0 | 0 | 0 | 38.5167 | N/A | N/A | N/A | H/T for voltage regulation
[5 empty] | -- | 2014-01-09 | 7:42 | 2014-01-09 | 21:27 | -- | -- | -- | 0 | 0 | 0 | 13.75 | N/A | N/A | N/A | H/T for voltage regulation
[5 empty] | -- | 2014-01-10 | 8:46 | 2014-01-10 | 22:07 | -- | -- | -- | 0 | 0 | 0 | 13.35 | N/A | N/A | N/A | H/T for voltage regulation
[5 empty] | -- | 2014-01-11 | 7:48 | 2014-01-12 | 22:07 | -- | -- | -- | 0 | 0 | 0 | 38.3167 | N/A | N/A | N/A | H/T for voltage regulation
[5 empty] | -- | 2014-01-13 | 9:51 | 2014-01-14 | 22:35 | -- | -- | -- | 0 | 0 | 0 | 36.7333 | N/A | N/A | N/A | H/T for voltage regulation
[5 empty] | -- | 2014-01-16 | 10:31 | 2014-01-16 | 21:56 | -- | -- | -- | 0 | 0 | 0 | 11.4167 | N/A | N/A | N/A | H/T for voltage regulation
[5 empty] | -- | 2014-01-17 | 8:06 | 2014-01-17 | 21:50 | -- | -- | -- | 0 | 0 | 0 | 13.7333 | N/A | N/A | N/A | H/T for voltage regulation
[5 empty] | -- | 2014-01-19 | 9:09 | 2014-01-19 | 21:52 | -- | -- | -- | 0 | 0 | 0 | 12.7167 | N/A | N/A | N/A | H/T for voltage regulation
[5 empty] | -- | 2014-01-20 | 6:54 | 2014-01-20 | 22:01 | -- | -- | -- | 0 | 0 | 0 | 15.1167 | N/A | N/A | N/A | H/T for voltage regulation
[5 empty] | -- | 2014-01-21 | 8:33 | 2014-01-21 | 22:07 | -- | -- | -- | 0 | 0 | 0 | 13.5667 | N/A | N/A | N/A | H/T for voltage regulation
[5 empty] | -- | 2014-01-22 | 8:34 | 2014-01-22 | 22:48 | -- | -- | -- | 0 | 0 | 0 | 14.2333 | N/A | N/A | N/A | H/T for voltage regulation
[5 empty] | -- | 2014-01-23 | 8:16 | 2014-01-24 | 21:45 | -- | -- | -- | 0 | 0 | 0 | 37.4833 | N/A | N/A | N/A | H/T for voltage regulation
[5 empty] | -- | 2014-01-27 | 6:53 | 2014-01-27 | 21:31 | -- | -- | -- | 0 | 0 | 0 | 14.6333 | N/A | N/A | N/A | H/T for voltage regulation
[5 empty] | -- | 2014-01-30 | 9:58 | 2014-01-30 | 21:56 | -- | -- | -- | 0 | 0 | 0 | 11.9667 | N/A | N/A | N/A | H/T for voltage regulation
[6 empty] | Sub Total --> | [6 empty] | 0 | 0 | 0 | 340.3833
135 | SR2R9 | MYSORE BUS REACTOR | 50 | SR-II | -- | 2014-01-03 | 14:32 | 2014-01-03 | 23:16 | -- | -- | -- | 0 | 0 | 0 | 8.7333 | N/A | N/A | N/A | H/T for voltage regulation |  | 100
[5 empty] | -- | 2014-01-04 | 10:38 | 2014-01-04 | 22:10 | -- | -- | -- | 0 | 0 | 0 | 11.5333 | N/A | N/A | N/A | H/T for voltage regulation
[5 empty] | -- | 2014-01-06 | 9:43 | 2014-01-06 | 22:12 | -- | -- | -- | 0 | 0 | 0 | 12.4833 | N/A | N/A | N/A | H/T for voltage regulation
[5 empty] | -- | 2014-01-07 | 7:06 | 2014-01-08 | 21:45 | -- | -- | -- | 0 | 0 | 0 | 38.65 | N/A | N/A | N/A | H/T for voltage regulation
[5 empty] | -- | 2014-01-09 | 7:43 | 2014-01-09 | 21:58 | -- | -- | -- | 0 | 0 | 0 | 14.25 | N/A | N/A | N/A | H/T for voltage regulation
[5 empty] | -- | 2014-01-10 | 7:17 | 2014-01-10 | 22:10 | -- | -- | -- | 0 | 0 | 0 | 14.8833 | N/A | N/A | N/A | H/T for voltage regulation
[5 empty] | -- | 2014-01-11 | 7:59 | 2014-01-12 | 22:07 | -- | -- | -- | 0 | 0 | 0 | 38.1333 | N/A | N/A | N/A | H/T for voltage regulation
[5 empty] | -- | 2014-01-14 | 9:13 | 2014-01-14 | 22:50 | -- | -- | -- | 0 | 0 | 0 | 13.6167 | N/A | N/A | N/A | H/T for voltage regulation
[5 empty] | -- | 2014-01-16 | 10:29 | 2014-01-16 | 22:00 | -- | -- | -- | 0 | 0 | 0 | 11.5167 | N/A | N/A | N/A | H/T for voltage regulation
[5 empty] | -- | 2014-01-17 | 8:09 | 2014-01-17 | 21:55 | -- | -- | -- | 0 | 0 | 0 | 13.7667 | N/A | N/A | N/A | H/T for voltage regulation
[5 empty] | -- | 2014-01-20 | 10:25 | 2014-01-20 | 22:05 | -- | -- | -- | 0 | 0 | 0 | 11.6667 | N/A | N/A | N/A | H/T for voltage regulation
[5 empty] | -- | 2014-01-21 | 8:33 | 2014-01-21 | 22:15 | -- | -- | -- | 0 | 0 | 0 | 13.7 | N/A | N/A | N/A | H/T for voltage regulation
[5 empty] | -- | 2014-01-24 | 7:37 | 2014-01-24 | 22:03 | -- | -- | -- | 0 | 0 | 0 | 14.4333 | N/A | N/A | N/A | H/T for voltage regulation
[5 empty] | -- | 2014-01-27 | 9:39 | 2014-01-27 | 21:32 | -- | -- | -- | 0 | 0 | 0 | 11.8833 | N/A | N/A | N/A | H/T for voltage regulation
[5 empty] | -- | 2014-01-30 | 9:58 | 2014-01-30 | 22:03 | -- | -- | -- | 0 | 0 | 0 | 12.0833 | N/A | N/A | N/A | H/T for voltage regulation
[6 empty] | Sub Total --> | [6 empty] | 0 | 0 | 0 | 241.3333
136 | SR2R10 | NARENDRA BUS REACTOR | 50 | SR-II | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- |  | 100
[6 empty] | Sub Total --> | [6 empty] | 0 | 0 | 0 | 0
137 | SR2R11 | PALAKKAD BUS REACTOR - I | 63 | SR-II | -- | 2014-01-03 | 7:20 | 2014-02-01 | 0:00 | -- | -- | -- | 0 | 0 | 0 | 688.6667 | N/A | N/A | N/A | H/T for voltage regulation |  | 100
[6 empty] | Sub Total --> | [6 empty] | 0 | 0 | 0 | 688.6667
138 | SR2R12 | SALEM BUS REACTOR - I | 63 | SR-II | -- | 2014-01-01 | 0:00 | 2014-01-15 | 22:25 | -- | -- | -- | 0 | 0 | 0 | 358.4167 | N/A | N/A | N/A | H/T for voltage regulation |  | 100
[5 empty] | -- | 2014-01-16 | 10:28 | 2014-01-22 | 22:56 |  |  |  | 0 | 0 | 0 | 156.4667 | N/A | N/A | N/A | H/T for voltage regulation
[5 empty] | -- | 2014-01-23 | 9:53 | 2014-02-01 | 0:00 |  |  |  | 0 | 0 | 0 | 206.1167 | N/A | N/A | N/A | H/T for voltage regulation
[6 empty] | Sub Total --> | [6 empty] | 0 | 0 | 0 | 721
139 | SR2R13 | SRIPERUMBUDUR BUS REACTOR - I | 63 | SR-II | -- | 2014-01-20 | 10:25 | 2014-01-20 | 22:07 | -- | -- | -- | 0 | 0 | 0 | 11.7 | N/A | N/A | N/A | H/T for voltage regulation |  | 100
[5 empty] | -- | 2014-01-21 | 8:45 | 2014-01-21 | 22:18 |  |  |  | 0 | 0 | 0 | 13.55 | N/A | N/A | N/A | H/T for voltage regulation
[5 empty] | -- | 2014-01-24 | 7:37 | 2014-02-01 | 0:00 | -- | -- | -- | 0 | 0 | 0 | 184.3833 | N/A | N/A | N/A | H/T for voltage regulation
[6 empty] | Sub Total --> | [6 empty] | 0 | 0 | 0 | 209.6333
140 | SR2R14 | THIRUNELVELI BUS REACTOR - I | 63 | SR-II | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- |  | 100
[6 empty] | Sub Total --> | [6 empty] | 0 | 0 | 0 | 0
141 | SR2R15 | THIRUNELVELI BUS REACTOR - II | 63 | SR-II | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- |  | 100
[6 empty] | Sub Total --> | [6 empty] | 0 | 0 | 0 | 0
142 | SR2R17 | Kolar Line Reactor at Bangalore | 50 | SR-II | -- | 2014-01-01 | 0:00 | 2014-02-01 | 0:00 | -- | -- | -- | 0 | 0 | 0 | 744 | N/A | N/A | N/A | H/T for voltage regulation |  | 100
[6 empty] | Sub Total --> | [6 empty] | 0 | 0 | 0 | 744
143 | SR2R18 | Neyveli TS II Exp Line Reactor at Pugalur | 50 | SR-II | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- |  | 100
[6 empty] | Sub Total --> | [6 empty] | 0 | 0 | 0 | 0
144 | SR2R19 | Neyveli TS II Line Reactor at Pugalur | 50 | SR-II | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- |  | 100
[6 empty] | Sub Total --> | [6 empty] | 0 | 0 | 0 | 0
145 | SR2R20 | Thirunelveli 1 Line Reactor at Udumalpet | 63 | SR-II | -- | 2014-01-01 | 0:00 | 2014-02-01 | 0:00 | -- | -- | -- | 0 | 0 | 0 | 744 | N/A | N/A | N/A | H/T for voltage regulation |  | 100
[6 empty] | Sub Total --> | [6 empty] | 0 | 0 | 0 | 744
146 | SR2R21 | Thirunelveli 2 Line Reactor at Udumalpet | 63 | SR-II | -- | 2014-01-01 | 0:00 | 2014-02-01 | 0:00 | -- | -- | -- | 0 | 0 | 0 | 744 | N/A | N/A | N/A | H/T for voltage regulation |  | 100
[6 empty] | Sub Total --> | [6 empty] | 0 | 0 | 0 | 744
147 | SR2R22 | Udumalpet 1 Line Reactor at Thirunelveli | 63 | SR-II | -- | 2014-01-10 | 9:30 | 2014-01-15 | 20:30 | -- | -- | -- | 0 | 0 | 0 | 131 | N/A | N/A | N/A | H/T for voltage regulation |  | 100
[6 empty] | Sub Total --> | [6 empty] | 0 | 0 | 0 | 131
148 | SR2R23 | Udumalpet 2 Line Reactor at Thirunelveli | 63 | SR-II | -- | 2014-01-10 | 9:30 | 2014-01-15 | 20:41 | -- | -- | -- | 0 | 0 | 0 | 131.1833 | N/A | N/A | N/A | H/T for voltage regulation |  | 100
[6 empty] | Sub Total --> | [6 empty] | 0 | 0 | 0 | 131.1833
149 | SR2R24 | Vallur 1 Line Reactor at Kalivandapattu | 50 | SR-II | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- |  | 100
[6 empty] | Sub Total --> | [6 empty] | 0 | 0 | 0 | 0
150 | SR2R25 | TALCHER - KOLAR HVDC POLE - I | 1000 | SR-II | -- | 2014-01-11 | 6:07 | 2014-01-12 | 19:37 | -- | -- | -- | 0 | 0 | 0 | 37.5 | N/A | N/A | N/A | Bipole shut down availed for line crossing works of 765 kV Kurnool - Nellore D/C line and 765 kV Thiruvalam - Kurnool D/C line vide SRLDC code no. CR-01/253. |  | 96.2612
[5 empty] | -- | 2014-01-12 | 19:37 | 2014-01-13 | 23:26 | -- | -- | -- | 27.8167 | 0 | 0 | 0 | N/A | N/A | N/A | Shut down availed for AMP works and valve cooling purging works vide SRLDC code no. CR-01/253.
[6 empty] | Sub Total --> | [6 empty] | 27.8167 | 0 | 0 | 37.5
151 | SR2R26 | TALCHER - KOLAR HVDC POLE - II | 1000 | SR-II | -- | 2014-01-10 | 8:15 | 2014-01-11 | 6:07 | -- | -- | -- | 21.8667 | 0 | 0 | 0 | N/A | N/A | N/A | Shut down availed for AMP works and valve cooling purging works vide SRLDC code no. CR-01/229. |  | 97.0609
[5 empty] | -- | 2014-01-11 | 6:07 | 2014-01-12 | 19:37 | -- | -- | -- | 0 | 0 | 0 | 37.5 | N/A | N/A | N/A | Bipole shut down availed for line crossing works of 765 kV Kurnool - Nellore D/C line and 765 kV Thiruvalam - Kurnool D/C line vide SRLDC code no. CR-01/253.
[6 empty] | Sub Total --> | [6 empty] | 21.8667 | 0 | 0 | 37.5
[22 empty] | 15081.7402 | 15081.7402 | 0
Note in type of failure column please indicate following :
1) Hardware failure like Earthwire failure, Jumper snapping, Conductor snapping, Insulator failure, Others etc
2) Transformer / Reactor failure like winding failure, Bushing failure, OLTC failure, Others etc
3) Tower collapse