## SOP
Standard of Performance data for the month of JUL -2013
Name of Transmission Licensee : POWER GRID CORPORATION OF INDIA LTD., SOUTHERN REGION - II
Sl No: | Unique ID of transmission Element | Element Name | Description (Length/Nos./MVA/MVAr/MW/etc.) | Region | Type of failure | OUTAGE |  | RESTORATION |  | Details of Outage |  | Total outage in days (1) | DURATION OF OUTAGE ATTRIBUTABLE TO (in Hrs) |  |  |  | Restoration Time as per Regulation 5(b) (2) | Whether Restoration Time more than normative (Y/N) | Difference between Actual and Norm 1-2 | Detailed Reason(s) for Outage | Outage Certifying Agency and Reference Document | % Availability as certified by certifying agency
[6 empty] | Date | Time | Date | Time | No. of towers damaged | no. of insulator failed |  | ISTS Licensee | OTHERS | System Constraints/ Natural calamity / Militancy | Deemed Available
1 | SR2L1 | EDAPPON - EDAMON | 58.562 | SR-II | -- | 2013-07-28 | 6:20 | 2013-07-29 | 4:19 | -- | -- | -- | 0 | 0 | 0 | 21.9833 | N/A | N/A | N/A | Shut down availed by M/s KSEB for strengthening of 220kV busbar and connection to terminal equipment at Edamon end in connection with energisation of Kudamkulam Unit-1 vide CPCC code no. CP-07/955. | SRPC, SRPC/SE-I/PGTA/2014, Dtd. 06.01.14 | 100
[6 empty] | Sub Total --> | [6 empty] | 0 | 0 | 0 | 21.9833
2 | SR2L2 | KAYAMKULAM - EDAPPON | 19.764 | SR-II | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- |  | 100
[6 empty] | Sub Total --> | [6 empty] | 0 | 0 | 0 | 0
3 | SR2L3 | KAYAMKULAM - KUNDRA | 41 | SR-II | -- | 2013-07-16 | 10:21 | 2013-07-16 | 17:57 | -- | -- | -- | 0 | 0 | 0 | 7.6 | N/A | N/A | N/A | Shut down availed by M/s KSEB for CB overhauling and relay commissioning works at Kundra end vide SRLDC code no. CR-07/454. |  | 100
[6 empty] | Sub Total --> | [6 empty] | 0 | 0 | 0 | 7.6
4 | SR2L4 | KAYAMKULAM - POLLAM - I | 47 | SR-II | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- |  | 100
[6 empty] | Sub Total --> | [6 empty] | 0 | 0 | 0 | 0
5 | SR2L5 | KAYAMKULAM - POLLAM - II | 47 | SR-II | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- |  | 100
[6 empty] | Sub Total --> | [6 empty] | 0 | 0 | 0 | 0
6 | SR2L6 | KUNDRA - EDAMON | 37 | SR-II | -- | 2013-07-16 | 8:11 | 2013-07-16 | 16:14 | -- | -- | -- | 0 | 0 | 0 | 8.05 | N/A | N/A | N/A | Shut down availed by M/s KSEB for CB overhauling works at Kundra end vide SRLDC code no. CR-07/441. |  | 100
[6 empty] | Sub Total --> | [6 empty] | 0 | 0 | 0 | 8.05
7 | SR2L8 | ARASUR-UDUMALPET-I | 65.116 | SR-II | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- |  | 100
[6 empty] | Sub Total --> | [6 empty] | 0 | 0 | 0 | 0
8 | SR2L9 | ARASUR-UDUMALPET-II | 65.116 | SR-II | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- |  | 100
[6 empty] | Sub Total --> | [6 empty] | 0 | 0 | 0 | 0 | -- | -- | --
9 | SR2L10 | BANGALORE - SALEM | 79.756 | SR-II | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- |  | 100
[6 empty] | Sub Total --> | [6 empty] | 0 | 0 | 0 | 0
10 | SR2L11 | BHAVINI - ARANI I | 106.452 | SR-II | -- | 2013-07-17 | 20:31 | 2013-07-18 | 16:06 | -- | -- | -- | 0 | 0 | 0 | 19.5833 | N/A | N/A | N/A | Hand tripped as per SRLDC instruction for power regulation vide SRLDC code no. CR-07/504. |  | 100
[6 empty] | Sub Total --> | [6 empty] | 0 | 0 | 0 | 19.5833 | -- | -- | --
11 | SR2L12 | BHAVINI - ARANI II | 106.452 | SR-II | -- | 2013-07-17 | 20:32 | 2013-07-18 | 16:07 | -- | -- | -- | 0 | 0 | 0 | 19.5833 | N/A | N/A | N/A | Hand tripped as per SRLDC instruction for power regulation vide SRLDC code no. CR-07/505. |  | 100
[6 empty] | Sub Total --> | [6 empty] | 0 | 0 | 0 | 19.5833
12 | SR2L13 | BHAVINI - KANCHEEPURAM I | 80.316 | SR-II | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- |  | 100
[6 empty] | Sub Total --> | [6 empty] | 0 | 0 | 0 | 0
13 | SR2L14 | BHAVINI - KANCHEEPURAM II | 80.316 | SR-II | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- |  | 100
[6 empty] | Sub Total --> | [6 empty] | 0 | 0 | 0 | 0 | -- | -- | --
14 | SR2L15 | BHAVINI - SIRUSERI I | 36.243 | SR-II | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- |  | 100
[6 empty] | Sub Total --> | [6 empty] | 0 | 0 | 0 | 0 | -- | -- | --
15 | SR2L16 | BHAVINI - SIRUSERI II | 36.243 | SR-II | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- |  | 100
[6 empty] | Sub Total --> | [6 empty] | 0 | 0 | 0 | 0 | -- | -- | --
16 | SR2L17 | BIDADI - SOMANAHALLI I | 16.97 | SR-II | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- |  | 100
[6 empty] | Sub Total --> | [6 empty] | 0 | 0 | 0 | 0 | -- | -- | --
17 | SR2L18 | BIDADI - SOMANAHALLI II | 16.97 | SR-II | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- |  | 100
[6 empty] | Sub Total --> | [6 empty] | 0 | 0 | 0 | 0 | -- | -- | --
18 | SR2L19 | CHITTOOR - CHENNAI | 95.14 | SR-II | -- | 2013-07-21 | 10:00 | 2013-07-21 | 13:58 | -- | -- | -- | 3.9667 | 0 | 0 | 0 | N/A | N/A | N/A | Shut down availed for replacement of R-phase CVT at Sriperumbudur end vide SRLDC code no. CR-07/628. |  | 99.4668
[6 empty] | Sub Total --> | [6 empty] | 3.9667 | 0 | 0 | 0 | -- | -- | --
19 | SR2L23 | CUDDAPAH - CHITTOOR | 147.14 | SR-II | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- |  | 100
[6 empty] | Sub Total --> | [6 empty] | 0 | 0 | 0 | 0 | -- | -- | --
20 | SR2L24 | CUDDAPAH - KOLAR | 174.073 | SR-II | -- | 2013-07-10 | 10:26 | 2013-07-10 | 18:19 | -- | -- | -- | 7.8833 | 0 | 0 | 0 | N/A | N/A | N/A | shut down availed for isolator modification works at Kolar end and AMP works vide SRLDC code no. CR-07/261. |  | 98.9404
[6 empty] | Sub Total --> | [6 empty] | 7.8833 | 0 | 0 | 0 | -- | -- | --
21 | SR2L25 | GOOTY - BANGALORE | 301.667 | SR-II | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- |  | 100
[6 empty] | Sub Total --> | [6 empty] | 0 | 0 | 0 | 0 | -- | -- | --
22 | SR2L26 | HASSAN - MYSORE I | 95.875 | SR-II | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- |  | 100
[6 empty] | Sub Total --> | [6 empty] | 0 | 0 | 0 | 0 | -- | -- | --
23 | SR2L27 | HASSAN - MYSORE II | 95.875 | SR-II | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- |  | 100
[6 empty] | Sub Total --> | [6 empty] | 0 | 0 | 0 | 0 | -- | -- | --
24 | SR2L28 | HASSAN - NELAMANGALA I | 74.35 | SR-II | -- | 2013-07-07 | 23:52 | 2013-07-07 | 23:58 | -- | -- | -- | 0 | 0 | 0.1 | 0 | N/A | N/A | N/A | Line tripped on operation of over voltage protection at Hassan end. Direct trip signal received at Nelamangala end. |  | 100
[5 empty] | -- | 2013-07-07 | 23:58 | 2013-07-08 | 5:52 | -- | -- | -- | 0 | 0 | 0 | 5.9 | N/A | N/A | N/A | Line was kept open as per SRLDC instruction to contain over voltage in the system vide message no. CP-07/230.
[5 empty] | -- | 2013-07-09 | 23:42 | 2013-07-10 | 6:18 | -- | -- | -- | 0 | 0 | 0 | 6.6 | N/A | N/A | N/A | Hand tripped as per SRLDC instruction for voltage regulation in the system vide SRLDC code no. CR-07/253.
[5 empty] | -- | 2013-07-16 | 23:36 | 2013-07-17 | 6:51 | -- | -- | -- | 0 | 0 | 0 | 7.25 | N/A | N/A | N/A | Hand tripped as per SRLDC instruction for voltage regulation in the system vide SRLDC code no. CR-07/482.
[5 empty] | -- | 2013-07-25 | 23:38 | 2013-07-26 | 6:34 | -- | -- | -- | 0 | 0 | 0 | 6.9333 | N/A | N/A | N/A | Hand tripped as per SRLDC instruction for voltage regulation in the system vide SRLDC code no. CR-07/742.
[6 empty] | Sub Total --> | [6 empty] | 0 | 0 | 0.1 | 26.6833
25 | SR2L29 | HASSAN - TALAGUPPA I | 74.35 | SR-II | -- | 2013-07-07 | 8:45 | 2013-07-07 | 9:00 | -- | -- | -- | 0 | 0 | 0.25 | 0 | N/A | N/A | N/A | Line tripped on operation of over voltage protection at Talaguppa end. Direct trip signal received at Hassan end. |  | 100
[6 empty] | Sub Total --> | [6 empty] | 0 | 0 | 0.25 | 0
26 | SR2L30 | HOSUR-SALEM | 74.35 | SR-II | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- |  | 100
[6 empty] | Sub Total --> | [6 empty] | 0 | 0 | 0 | 0
27 | SR2L32 | KAIGA - NARENDRA I | 107.662 | SR-II | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- |  | 100
[6 empty] | Sub Total --> | [6 empty] | 0 | 0 | 0 | 0 | -- | -- | --
28 | SR2L33 | KAIGA - NARENDRA II | 107.662 | SR-II | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- |  | 100
[6 empty] | Sub Total --> | [6 empty] | 0 | 0 | 0 | 0
29 | SR2L34 | KAIGA - SIRSI - I | 61.432 | SR-II | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- |  | 100
[6 empty] | Sub Total --> | [6 empty] | 0 | 0 | 0 | 0 | -- | -- | --
30 | SR2L35 | KAIGA - SIRSI - II | 61.432 | SR-II | -- | 2013-07-19 | 23:23 | 2013-07-19 | 23:28 | -- | -- | -- | 0 | 0 | 0.083333 | 0 | N/A | N/A | N/A | Line tripped on operation of over voltage protection at Guttur end. Direct trip signal received at Kaiga end. |  | 100
[5 empty] | -- | 2013-07-19 | 23:28 | 2013-07-20 | 9:50 |  |  |  | 0 | 0 | 0 | 10.3667 | N/A | N/A | N/A | Line was kept open as per SRLDC instruction to contain over voltage in the system vide message no. CP-07/673A.
[6 empty] | Sub Total --> | [6 empty] | 0 | 0 | 0.083333 | 10.3667
31 | SR2L36 | KARAIKUDI - MADURAI - I | 129.761 | SR-II | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- |  | 100
[6 empty] | Sub Total --> | [6 empty] | 0 | 0 | 0 | 0
32 | SR2L37 | KOLAR - BANGALORE | 97.391 | SR-II | -- | 2013-07-06 | 17:21 | 2013-07-06 | 17:38 | -- | -- | -- | 0 | 0 | 0.28333 | 0 | N/A | N/A | N/A | Line tripped on B-N earth fault due to agri fire created by villagers under the line at loc. 555-556. |  | 100
[6 empty] | Sub Total --> | [6 empty] | 0 | 0 | 0.28333 | 0
33 | SR2L37A | KOLAR - CHENNAI | 219 | SR-II | -- | 2013-07-14 | 8:14 | 2013-07-14 | 18:02 | -- | -- | -- | 0 | 0 | 0 | 9.8 | N/A | N/A | N/A | Shut down availed for restringing work after straightening of Kolar - Kalivindapattu - Sriperumbudur line vide SRLDC code no. CR-07/385. |  | 100
[6 empty] | Sub Total --> | [6 empty] | 0 | 0 | 0 | 9.8
34 | SR2L38 | KOLAR - HOODY - I | 51.067 | SR-II | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- |  | 100
[6 empty] | Sub Total --> | [6 empty] | 0 | 0 | 0 | 0
35 | SR2L39 | KOLAR - HOODY - II | 51.067 | SR-II | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- |  | 100
[6 empty] | Sub Total --> | [6 empty] | 0 | 0 | 0 | 0
36 | SR2L40 | KOLAR - HOSUR - I | 69 | SR-II | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- |  | 100
[6 empty] | Sub Total --> | [6 empty] | 0 | 0 | 0 | 0
37 | SR2L41 | KOLAR - HOSUR - II | 69 | SR-II | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- |  | 100
[6 empty] | Sub Total --> | [6 empty] | 0 | 0 | 0 | 0
38 | SR2L43 | MADURAI - TUTICORIN 1 | 115.602 | SR-II | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- |  | 100
[6 empty] | Sub Total --> | [6 empty] | 0 | 0 | 0 | 0
39 | SR2L44 | MADURAI - TUTICORIN 2 | 152.167 | SR-II | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- |  | 100
[6 empty] | Sub Total --> | [6 empty] | 0 | 0 | 0 | 0
40 | SR2L45 | MADURAI-THIRUNELVELI - I | 161.7 | SR-II | -- | 2013-07-31 | 10:22 | 2013-07-31 | 10:48 | -- | -- | -- | 0.43333 | 0 | 0 | 0 | N/A | N/A | N/A | Tripped at Thirunelveli end only due to receipt of direct trip signal while carrying out maitenance of C & R panels at Madurai. |  | 99.9418
[6 empty] | Sub Total --> | [6 empty] | 0.43333 | 0 | 0 | 0
41 | SR2L46 | MADURAI-THIRUNELVELI - II | 161.7 | SR-II | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- |  | 100
[6 empty] | Sub Total --> | [6 empty] | 0 | 0 | 0 | 0
42 | SR2L47 | NARENDRA - DAVANGERE I | 156.5 | SR-II | -- | 2013-07-01 | 0:00 | 2013-07-01 | 7:20 | -- | -- | -- | 0 | 0 | 0 | 7.3333 | N/A | N/A | N/A | Hand tripped as per SRLDC instruction for voltage regulation in the system vide SRLDC code no. CR-06/796. |  | 100
[5 empty] | -- | 2013-07-03 | 1:06 | 2013-07-03 | 9:43 | -- | -- | -- | 0 | 0 | 0 | 8.6167 | N/A | N/A | N/A | Hand tripped as per SRLDC instruction for voltage regulation in the system vide SRLDC code no. CR-07/82.
[5 empty] | -- | 2013-07-06 | 22:54 | 2013-07-16 | 8:40 | -- | -- | -- | 0 | 0 | 0 | 225.7667 | N/A | N/A | N/A | Hand tripped as per SRLDC instruction for voltage regulation in the system vide SRLDC code no. CR-07/185.
[5 empty] | -- | 2013-07-26 | 23:03 | 2013-08-01 | 0:00 | -- | -- | -- | 0 | 0 | 0 | 120.95 | N/A | N/A | N/A | Hand tripped as per SRLDC instruction for voltage regulation in the system vide SRLDC code no. CR-07/776.
[6 empty] | Sub Total --> | [6 empty] | 0 | 0 | 0 | 362.6667
43 | SR2L48 | NARENDRA - DAVANGERE II | 156.5 | SR-II | -- | 2013-07-01 | 22:23 | 2013-07-02 | 6:50 | -- | -- | -- | 0 | 0 | 0 | 8.45 | N/A | N/A | N/A | Hand tripped as per SRLDC instruction for voltage regulation in the system vide SRLDC code no. CR-07/28. |  | 100
[5 empty] | -- | 2013-07-16 | 22:28 | 2013-07-24 | 8:30 | -- | -- | -- | 0 | 0 | 0 | 178.0333 | N/A | N/A | N/A | Hand tripped as per SRLDC instruction for voltage regulation in the system vide SRLDC code no. CR-07/470.
[6 empty] | Sub Total --> | [6 empty] | 0 | 0 | 0 | 186.4833
44 | SR2L49 | NELAMANGALA - BIDADI I | 34.75 | SR-II | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- |  | 100
[6 empty] | Sub Total --> | [6 empty] | 0 | 0 | 0 | 0
45 | SR2L50 | NELAMANGALA - BIDADI II | 34.75 | SR-II | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- |  | 100
[6 empty] | Sub Total --> | [6 empty] | 0 | 0 | 0 | 0
46 | SR2L51 | NELAMANGALA - MYSORE I | 132.897 | SR-II | -- | 2013-07-01 | 0:00 | 2013-07-01 | 6:56 | -- | -- | -- | 0 | 0 | 0 | 6.9333 | N/A | N/A | N/A | Hand tripped as per SRLDC instruction for voltage regulation in the system vide SRLDC code no. CR-06/913. |  | 100
[6 empty] | Sub Total --> | [6 empty] | 0 | 0 | 0 | 6.9333
47 | SR2L52 | NELAMANGALA - MYSORE II | 132.897 | SR-II | -- | 2013-07-01 | 23:49 | 2013-07-02 | 6:38 | -- | -- | -- | 0 | 0 | 0 | 6.8167 | N/A | N/A | N/A | Hand tripped as per SRLDC instruction for voltage regulation in the system vide SRLDC code no. CR-07/30. |  | 100
[6 empty] | Sub Total --> | [6 empty] | 0 | 0 | 0 | 6.8167
48 | SR2L53 | NEYVELI - BAHOOR | 52.5 | SR-II | -- | 2013-07-31 | 9:27 | 2013-07-31 | 13:40 | -- | -- | -- | 4.2167 | 0 | 0 | 0 | -- | -- | -- | Shut down availed for line maintenance works vide SRLDC code no. CR-07/896. |  | 99.4332
[6 empty] | Sub Total --> | [6 empty] | 4.2167 | 0 | 0 | 0
49 | SRL53 | NEYVELI - VILLIANUR | 63.232 | SR-II | -- | 2013-07-03 | 18:04 | 2013-07-03 | 19:27 | -- | -- | -- | 0 | 1.3833 | 0 | 0 | N/A | N/A | N/A | Line tripped due to CB problem at Villianur (PED SS) end. |  | 100
[6 empty] | Sub Total --> | [6 empty] | 0 | 1.3833 | 0 | 0
50 | SR2L54 | NEYVELI TS II - PUDUCHERRY-I | 68 | SR-II | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- |  | 100
[6 empty] | Sub Total --> | [6 empty] | 0 | 0 | 0 | 0
51 | SR2L55 | NEYVELI TS II - PUGALUR | 198.047 | SR-II | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- |  | 100
[6 empty] | Sub Total --> | [6 empty] | 0 | 0 | 0 | 0
52 | SR2L56 | NEYVELI TS II - TRICHY - I | 164.175 | SR-II | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- |  | 100
[6 empty] | Sub Total --> | [6 empty] | 0 | 0 | 0 | 0
53 | SR2L57 | NEYVELI TS II EXP - PUGALUR | 199.671 | SR-II | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- |  | 100
[6 empty] | Sub Total --> | [6 empty] | 0 | 0 | 0 | 0
54 | SR2L58 | NEYVELI TS-I EXTENSION - TRICHY | 171.95 | SR-II | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- |  | 100
[6 empty] | Sub Total --> | [6 empty] | 0 | 0 | 0 | 0
55 | SR2L59 | NEYVELI TS-II - NEYVELI TS-I EXPANSION | 13.939 | SR-II | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- |  | 100
[6 empty] | Sub Total --> | [6 empty] | 0 | 0 | 0 | 0
56 | SR2L60 | NEYVELI-SALEM - I | 174.949 | SR-II | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- |  | 100
[6 empty] | Sub Total --> | [6 empty] | 0 | 0 | 0 | 0
57 | SR2L61 | NEYVELI-SALEM - II | 178.72 | SR-II | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- |  | 100
[6 empty] | Sub Total --> | [6 empty] | 0 | 0 | 0 | 0
58 | SR2L62 | PALAKKAD - TRICHUR I | 84.785 | SR-II | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- |  | 100
[6 empty] | Sub Total --> | [6 empty] | 0 | 0 | 0 | 0
59 | SR2L63 | PALAKKAD - TRICHUR II | 84.785 | SR-II | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- |  | 100
[6 empty] | Sub Total --> | [6 empty] | 0 | 0 | 0 | 0
60 | SR2L64 | PUDUCHERRY-SVCHATRAM-I | 128.594 | SR-II | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- |  | 100
[6 empty] | Sub Total --> | [6 empty] | 0 | 0 | 0 | 0
61 | SR2L65 | PUGALUR - MADURAI - I | 123.643 | SR-II | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- |  | 100
[6 empty] | Sub Total --> | [6 empty] | 0 | 0 | 0 | 0
62 | SR2L66 | PUGALUR - MADURAI - II | 123.643 | SR-II | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- |  | 100
[6 empty] | Sub Total --> | [6 empty] | 0 | 0 | 0 | 0
63 | SR2L67 | SALEM - UDUMALPET I | 150.543 | SR-II | -- | 2013-07-31 | 8:31 | 2013-07-31 | 17:45 | -- | -- | -- | 9.2333 | 0 | 0 | 0 | N/A | N/A | N/A | Shut down availed for AMP works and wave trap structure changing at Salem end vide SRLDC code no. CR-07/890. |  | 98.759
[6 empty] | Sub Total --> | [6 empty] | 9.2333 | 0 | 0 | 0
64 | SR2L68 | SALEM - UDUMALPET II | 137.91 | SR-II | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- |  | 100
[6 empty] | Sub Total --> | [6 empty] | 0 | 0 | 0 | 0
65 | SR2L70 | SVCHATRAM-SRIPERUMBUDUR-I | 10.08 | SR-II | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- |  | 100
[6 empty] | Sub Total --> | [6 empty] | 0 | 0 | 0 | 0
66 | SR2L71 | THIRUNELVELI - EDAMON - I | 81.94 | SR-II | -- | 2013-07-16 | 8:58 | 2013-07-16 | 16:07 | -- | -- | -- | 0 | 0 | 0 | 7.15 | N/A | N/A | N/A | Shut down availed by M/s KSEB for maintainance works at Edamon end vide SRLDC code no. CR-07/448. |  | 100
[5 empty] | -- | 2013-07-18 | 12:14 | 2013-07-18 | 14:55 | -- | -- | -- | 0 | 0 | 0 | 2.6833 | N/A | N/A | N/A | Shut down availed by M/s KSEB to replace damaged conductor at bus isolator at Edamon end vide SRLDC code no. CR-07/528.
[5 empty] | -- | 2013-07-28 | 6:20 | 2013-07-29 | 4:05 | -- | -- | -- | 0 | 0 | 0 | 21.75 | N/A | N/A | N/A | Shut down availed by M/s KSEB for strengthening of 220kV busbar and connection to terminal equipment at Edamon end in connection with energisation of Kudamkulam Unit-1 vide SRLDC code no. CR-07/807.
[6 empty] | Sub Total --> | [6 empty] | 0 | 0 | 0 | 7.15
67 | SR2L72 | THIRUNELVELI - EDAMON - II | 81.94 | SR-II | -- | 2013-07-18 | 8:52 | 2013-07-18 | 16:06 | -- | -- | -- | 0 | 0 | 0 | 7.2333 | N/A | N/A | N/A | Shut down availed by M/s KSEB for maintenance works at Edamon end vide SRLDC code no. CR-07/521. |  | 100
[5 empty] | -- | 2013-07-28 | 6:20 | 2013-07-29 | 4:06 | -- | -- | -- | 0 | 0 | 0 | 21.7667 | N/A | N/A | N/A | Shut down availed by M/s KSEB for strengthening of 220kV busbar and connection to terminal equipment at Edamon end in connection with energisation of Kudamkulam Unit-1 vide SRLDC code no. CR-07/808.
[6 empty] | Sub Total --> | [6 empty] | 0 | 0 | 0 | 7.2333
68 | SR2L73 | THIRUNELVELI - KUDAMKULAM-I | 72.489 | SR-II | -- | 2013-07-01 | 0:00 | 2013-07-02 | 15:44 | -- | -- | -- | 0 | 0 | 0 | 39.7333 | N/A | N/A | N/A | Hand tripped as per SRLDC instruction for voltage regulation in the system vide SRLDC code no. CR-06/761. |  | 100
[5 empty] | -- | 2013-07-10 | 18:03 | 2013-07-18 | 21:14 | -- | -- | -- | 0 | 0 | 0 | 195.1833 | N/A | N/A | N/A | Hand tripped as per SRLDC instruction for voltage regulation in the system vide SRLDC code no. CR-07/282.
[6 empty] | Sub Total --> | [6 empty] | 0 | 0 | 0 | 234.9167
69 | SR2L74 | THIRUNELVELI - KUDAMKULAM-II | 72.489 | SR-II | -- | 2013-07-26 | 23:06 | 2013-08-01 | 0:00 | -- | -- | -- | 0 | 0 | 0 | 120.9 | N/A | N/A | N/A | Hand tripped as per SRLDC instruction for voltage regulation in the system vide SRLDC code no. CR-07/775. |  | 100
[6 empty] | Sub Total --> | [6 empty] | 0 | 0 | 0 | 120.9
70 | SR2L75 | THIRUNELVELI - KUDAMKULAM-III | 79.534 | SR-II | -- | 2013-07-02 | 15:48 | 2013-07-10 | 18:01 | -- | -- | -- | 0 | 0 | 0 | 194.2167 | N/A | N/A | N/A | Hand tripped as per SRLDC instruction for voltage regulation in the system vide SRLDC code no. CR-07/64. |  | 100
[5 empty] | -- | 2013-07-18 | 22:04 | 2013-07-21 | 17:36 |  |  |  | 0 | 0 | 0 | 67.5333 | N/A | N/A | N/A | Hand tripped as per SRLDC instruction for voltage regulation in the system vide SRLDC code no. CR-07/549.
[6 empty] | Sub Total --> | [6 empty] | 0 | 0 | 0 | 194.2167
71 | SR2L76 | THIRUNELVELI - KUDAMKULAM-IV | 79.534 | SR-II | -- | 2013-07-21 | 21:23 | 2013-07-25 | 19:13 | -- | -- | -- | 0 | 0 | 0 | 93.8333 | N/A | N/A | N/A | Hand tripped as per SRLDC instruction for voltage regulation in the system vide SRLDC code no. CR-07/632. |  | 100
[6 empty] | Sub Total --> | [6 empty] | 0 | 0 | 0 | 93.8333
72 | SR2L77 | THIRUNELVELI - TRIVANDRUM - I | 160.4 | SR-II | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- |  | 100
[6 empty] | Sub Total --> | [6 empty] | 0 | 0 | 0 | 0
73 | SR2L78 | THIRUNELVELI - TRIVANDRUM - II | 160.4 | SR-II | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- |  | 100
[6 empty] | Sub Total --> | [6 empty] | 0 | 0 | 0 | 0
74 | SR2L79 | THIRUNELVELI - UDUMALPET I | 264.987 | SR-II | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- |  | 100
[6 empty] | Sub Total --> | [6 empty] | 0 | 0 | 0 | 0
75 | SR2L80 | THIRUNELVELI - UDUMALPET II | 264.987 | SR-II | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- |  | 100
[6 empty] | Sub Total --> | [6 empty] | 0 | 0 | 0 | 0
76 | SR2L83 | TRICHUR - KOCHI I | 78.197 | SR-II | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- |  | 100
[6 empty] | Sub Total --> | [6 empty] | 0 | 0 | 0 | 0
77 | SR2L84 | TRICHUR - KOCHI II | 78.197 | SR-II | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- |  | 100
[6 empty] | Sub Total --> | [6 empty] | 0 | 0 | 0 | 0
78 | SR2L85 | TRICHY - KARAIKUDI - I | 97.699 | SR-II | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- |  | 100
[6 empty] | Sub Total --> | [6 empty] | 0 | 0 | 0 | 0
79 | SR2L86 | TRICHY - MADURAI - I | 130.486 | SR-II | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- |  | 100
[6 empty] | Sub Total --> | [6 empty] | 0 | 0 | 0 | 0
80 | SR2L87 | UDUMALPET - MADURAI | 127.232 | SR-II | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- |  | 100
[6 empty] | Sub Total --> | [6 empty] | 0 | 0 | 0 | 0
81 | SR2L88 | UDUMALPET - PALAKKAD I | 95.723 | SR-II | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- |  | 100
[6 empty] | Sub Total --> | [6 empty] | 0 | 0 | 0 | 0
82 | SR2L89 | UDUMALPET - PALAKKAD II | 95.723 | SR-II | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- |  | 100
[6 empty] | Sub Total --> | [6 empty] | 0 | 0 | 0 | 0
83 | SR2L90 | VALLUR - KALIVANDAPATTU I | 133.846 | SR-II | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- |  | 100
[6 empty] | Sub Total --> | [6 empty] | 0 | 0 | 0 | 0
84 | SR2L91 | VALLUR - KALIVANDAPATTU II | 133.846 | SR-II | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- |  | 100
[6 empty] | Sub Total --> | [6 empty] | 0 | 0 | 0 | 0
85 | SR2T1 | ARASUR ICT - I | 315 | SR-II | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- |  | 100
[6 empty] | Sub Total --> | [6 empty] | 0 | 0 | 0 | 0
86 | SR2T2 | ARASUR ICT - II | 315 | SR-II | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- |  | 100
[6 empty] | Sub Total --> | [6 empty] | 0 | 0 | 0 | 0
87 | SR2T3 | BANGALORE ICT - I | 501 | SR-II | -- | 2013-07-18 | 13:34 | 2013-07-18 | 13:56 | -- | -- | -- | 0 | 0.36667 | 0 | 0 | N/A | N/A | N/A | Tripped on operation of back up over current protection due to bus fault at 220kV somanahalli KPTCL SS. |  | 100
[6 empty] | Sub Total --> | [6 empty] | 0 | 0.36667 | 0 | 0
88 | SR2T4 | BANGALORE ICT - II | 501 | SR-II | -- | 2013-07-18 | 13:34 | 2013-07-18 | 13:58 | -- | -- | -- | 0 | 0.4 | 0 | 0 | N/A | N/A | N/A | Tripped on operation of back up over current protection due to bus fault at 220kV somanahalli KPTCL SS. |  | 100
[6 empty] | Sub Total --> | [6 empty] | 0 | 0.4 | 0 | 0
89 | SR2T5 | BIDADI ICT-I | 500 | SR-II | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- |  | 100
[6 empty] | Sub Total --> | [6 empty] | 0 | 0 | 0 | 0
90 | SR2T6 | BIDADI ICT-II | 500 | SR-II | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- |  | 100
[6 empty] | Sub Total --> | [6 empty] | 0 | 0 | 0 | 0
91 | SR2T7 | HASSAN ICT - I | 315 | SR-II | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- |  | 100
[6 empty] | Sub Total --> | [6 empty] | 0 | 0 | 0 | 0
92 | SR2T8 | HASSAN ICT - II | 315 | SR-II | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- |  | 100
[6 empty] | Sub Total --> | [6 empty] | 0 | 0 | 0 | 0
93 | SR2T9 | HIRIYUR ICT | 315 | SR-II | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- |  | 100
[6 empty] | Sub Total --> | [6 empty] | 0 | 0 | 0 | 0
94 | SR2T10 | HIRIYUR ICT II | 315 | SR-II | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- |  | 100
[6 empty] | Sub Total --> | [6 empty] | 0 | 0 | 0 | 0
95 | SR2T11 | HOSUR ICT - I | 315 | SR-II | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- |  | 100
[6 empty] | Sub Total --> | [6 empty] | 0 | 0 | 0 | 0
96 | SR2T12 | HOSUR ICT - II | 315 | SR-II | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- |  | 100
[6 empty] | Sub Total --> | [6 empty] | 0 | 0 | 0 | 0
97 | SR2T14 | KALIVANDAPATTU ICT - I | 315 | SR-II | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- |  | 100
[6 empty] | Sub Total --> | [6 empty] | 0 | 0 | 0 | 0
98 | SR2T15 | KALIVANDAPATTU ICT - II | 315 | SR-II | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- |  | 100
[6 empty] | Sub Total --> | [6 empty] | 0 | 0 | 0 | 0
99 | SR2T16 | KARAIKUDI ICT - I | 315 | SR-II | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- |  | 100
[6 empty] | Sub Total --> | [6 empty] | 0 | 0 | 0 | 0
100 | SR2T17 | KARAIKUDI ICT - II | 315 | SR-II | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- |  | 100
[6 empty] | Sub Total --> | [6 empty] | 0 | 0 | 0 | 0
101 | SR2T18 | KOCHI ICT I | 315 | SR-II | -- | 2013-07-17 | 9:04 | 2013-07-17 | 13:30 | -- | -- | -- | 4.4333 | 0 | 0 | 0 | N/A | N/A | N/A | Shut down availed for AMP works vide SRLDC code no. CR-07/490. |  | 99.4041
[6 empty] | Sub Total --> | [6 empty] | 4.4333 | 0 | 0 | 0
102 | SR2T19 | KOCHI ICT II | 315 | SR-II | -- | 2013-07-18 | 9:51 | 2013-07-18 | 14:37 | -- | -- | -- | 4.7667 | 0 | 0 | 0 | N/A | N/A | N/A | Shut down availed for AMP works vide SRLDC code no. CR-07/525. |  | 99.3593
[6 empty] | Sub Total --> | [6 empty] | 4.7667 | 0 | 0 | 0
103 | SR2T20 | KOLAR ICT | 501 | SR-II | -- | 2013-07-16 | 10:23 | 2013-07-16 | 12:13 | -- | -- | -- | 1.8333 | 0 | 0 | 0 | N/A | N/A | N/A | Shut down availed for combination changing vide SRLDC code no. CR-08/145. |  | 99.7536
[6 empty] | Sub Total --> | [6 empty] | 1.8333 | 0 | 0 | 0
104 | SR2T21 | KOLAR ICT-II | 501 | SR-II | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- |  | 100
[6 empty] | Sub Total --> | [6 empty] | 0 | 0 | 0 | 0
105 | SR2T22 | MADURAI ICT - I | 315 | SR-II | -- | [11 empty] | -- | -- | -- |  |  | 100
[6 empty] | Sub Total --> | [6 empty] | 0 | 0 | 0 | 0
106 | SR2T23 | MADURAI ICT - II | 315 | SR-II | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- |  | 100
[6 empty] | Sub Total --> | [6 empty] | 0 | 0 | 0 | 0
107 | SR2T24 | MYSORE ICT I | 315 | SR-II | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- |  | 100
[6 empty] | Sub Total --> | [6 empty] | 0 | 0 | 0 | 0
108 | SR2T25 | MYSORE ICT II | 315 | SR-II | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- |  | 100
[6 empty] | Sub Total --> | [6 empty] | 0 | 0 | 0 | 0
109 | SR2T26 | NARENDRA ICT I | 315 | SR-II | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- |  | 100
[6 empty] | Sub Total --> | [6 empty] | 0 | 0 | 0 | 0
110 | SR2T27 | NARENDRA ICT II | 315 | SR-II | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- |  | 100
[6 empty] | Sub Total --> | [6 empty] | 0 | 0 | 0 | 0
111 | SR2T28 | PALAKKAD ICT - I | 315 | SR-II | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- |  | 100
[6 empty] | Sub Total --> | [6 empty] | 0 | 0 | 0 | 0
112 | SR2T29 | PALAKKAD ICT - II | 315 | SR-II | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- |  | 100
[6 empty] | Sub Total --> | [6 empty] | 0 | 0 | 0 | 0
113 | SR2T30 | PUDUCHERRY ICT-I | 315 | SR-II | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- |  | 100
[6 empty] | Sub Total --> | [6 empty] | 0 | 0 | 0 | 0
114 | SR2T31 | PUDUCHERRY ICT-II | 315 | SR-II | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- |  | 100
[6 empty] | Sub Total --> | [6 empty] | 0 | 0 | 0 | 0
115 | SR2T32 | PUGALUR ICT - I | 315 | SR-II | -- | 2013-07-23 | 10:12 | 2013-07-23 | 14:53 | -- | -- | -- | 4.6833 | 0 | 0 | 0 | N/A | N/A | N/A | Shut down availed for AMP works vide SRLDC code no. CR-07/678. |  | 99.3705
[6 empty] | Sub Total --> | [6 empty] | 4.6833 | 0 | 0 | 0
116 | SR2T33 | PUGALUR ICT - II | 315 | SR-II | -- | 2013-07-22 | 10:10 | 2013-07-22 | 15:11 | -- | -- | -- | 5.0167 | 0 | 0 | 0 | N/A | N/A | N/A | Shut down availed for AMP works vide SRLDC code no. CR-07/644. |  | 99.3257
[6 empty] | Sub Total --> | [6 empty] | 5.0167 | 0 | 0 | 0
117 | SR2T34 | THIRUNELVELI ICT - I | 315 | SR-II | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- |  | 100
[6 empty] | Sub Total --> | [6 empty] | 0 | 0 | 0 | 0
118 | SR2T35 | THIRUNELVELI ICT - II | 315 | SR-II | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- |  | 100
[6 empty] | Sub Total --> | [6 empty] | 0 | 0 | 0 | 0
119 | SR2T36 | TRICHY ICT - I | 315 | SR-II | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- |  | 100
[6 empty] | Sub Total --> | [6 empty] | 0 | 0 | 0 | 0
120 | SR2T37 | TRICHY ICT - II | 315 | SR-II | -- | 2013-07-19 | 15:43 | 2013-07-19 | 16:12 | -- | -- | -- | 0 | 0.48333 | 0 | 0 | N/A | N/A | N/A | Tripped at 220 kV side only due to operation of busbar protection at TNEB 220kV Alundur SS. |  | 100
[6 empty] | Sub Total --> | [6 empty] | 0 | 0.48333 | 0 | 0
121 | SR2T38 | TRIVANDRUM - ICT I | 315 | SR-II | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- |  | 100
[6 empty] | Sub Total --> | [6 empty] | 0 | 0 | 0 | 0
122 | SR2T39 | TRIVANDRUM - ICT II | 315 | SR-II | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- |  | 100
[6 empty] | Sub Total --> | [6 empty] | 0 | 0 | 0 | 0
123 | SR2T40 | TRIVANDRUM - ICT III | 315 | SR-II | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- |  | 100
[6 empty] | Sub Total --> | [6 empty] | 0 | 0 | 0 | 0
124 | SR2T41 | UDUMALPET ICT - I | 315 | SR-II | -- | 2013-07-10 | 10:45 | 2013-07-10 | 15:29 | -- | -- | -- | 4.7333 | 0 | 0 | 0 | N/A | N/A | N/A | shut down availed for AMP works vide SRLDC code no. CR-07/262. |  | 99.3638
[6 empty] | Sub Total --> | [6 empty] | 4.7333 | 0 | 0 | 0
125 | SR2T42 | UDUMALPET ICT - II | 315 | SR-II | -- | 2013-07-11 | 10:15 | 2013-07-11 | 14:42 | -- | -- | -- | 4.45 | 0 | 0 | 0 | N/A | N/A | N/A | Shut down availed for AMP works vide SRLDC code no. CR-07/300. |  | 99.4019
[6 empty] | Sub Total --> | [6 empty] | 4.45 | 0 | 0 | 0
126 | SR2T43 | UDUMALPET ICT - III | 315 | SR-II | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- |  | 100
[6 empty] | Sub Total --> | [6 empty] | 0 | 0 | 0 | 0
127 | SR2R1 | BANGALORE BUS REACTOR | 63 | SR-II | -- | 2013-07-01 | 7:25 | 2013-07-01 | 23:09 | -- | -- | -- | 0 | 0 | 0 | 15.7333 | N/A | N/A | N/A | H/T for voltage regulation |  | 100
[5 empty] | -- | 2013-07-02 | 6:46 | 2013-07-02 | 22:13 | -- | -- | -- | 0 | 0 | 0 | 15.45 | N/A | N/A | N/A | H/T for voltage regulation
[5 empty] | -- | 2013-07-03 | 7:44 | 2013-07-03 | 23:39 | -- | -- | -- | 0 | 0 | 0 | 15.9167 | N/A | N/A | N/A | H/T for voltage regulation
[5 empty] | -- | 2013-07-05 | 9:58 | 2013-07-05 | 21:51 | -- | -- | -- | 0 | 0 | 0 | 11.8833 | N/A | N/A | N/A | H/T for voltage regulation
[5 empty] | -- | 2013-07-06 | 10:02 | 2013-07-06 | 22:53 | -- | -- | -- | 0 | 0 | 0 | 12.85 | N/A | N/A | N/A | H/T for voltage regulation
[5 empty] | -- | 2013-07-07 | 8:45 | 2013-07-07 | 22:30 | -- | -- | -- | 0 | 0 | 0 | 13.75 | N/A | N/A | N/A | H/T for voltage regulation
[5 empty] | -- | 2013-07-09 | 8:27 | 2013-07-09 | 22:25 | -- | -- | -- | 0 | 0 | 0 | 13.9667 | N/A | N/A | N/A | H/T for voltage regulation
[5 empty] | -- | 2013-07-11 | 9:35 | 2013-07-11 | 22:48 | -- | -- | -- | 0 | 0 | 0 | 13.2167 | N/A | N/A | N/A | H/T for voltage regulation
[5 empty] | -- | 2013-07-12 | 7:08 | 2013-07-14 | 22:17 | -- | -- | -- | 0 | 0 | 0 | 63.15 | N/A | N/A | N/A | H/T for voltage regulation
[5 empty] | -- | 2013-07-15 | 7:47 | 2013-07-15 | 23:15 | -- | -- | -- | 0 | 0 | 0 | 15.4667 | N/A | N/A | N/A | H/T for voltage regulation
[5 empty] | -- | 2013-07-16 | 8:31 | 2013-07-16 | 23:03 | -- | -- | -- | 0 | 0 | 0 | 14.5333 | N/A | N/A | N/A | H/T for voltage regulation
[5 empty] | -- | 2013-07-17 | 7:50 | 2013-07-17 | 23:13 | -- | -- | -- | 0 | 0 | 0 | 15.3833 | N/A | N/A | N/A | H/T for voltage regulation
[5 empty] | -- | 2013-07-18 | 6:40 | 2013-07-18 | 22:25 | -- | -- | -- | 0 | 0 | 0 | 15.75 | N/A | N/A | N/A | H/T for voltage regulation
[5 empty] | -- | 2013-07-19 | 7:20 | 2013-07-19 | 22:14 | -- | -- | -- | 0 | 0 | 0 | 14.9 | N/A | N/A | N/A | H/T for voltage regulation
[5 empty] | -- | 2013-07-22 | 8:20 | 2013-07-22 | 21:59 | -- | -- | -- | 0 | 0 | 0 | 13.65 | N/A | N/A | N/A | H/T for voltage regulation
[5 empty] | -- | 2013-07-23 | 8:34 | 2013-07-23 | 21:56 | -- | -- | -- | 0 | 0 | 0 | 13.3667 | N/A | N/A | N/A | H/T for voltage regulation
[5 empty] | -- | 2013-07-24 | 7:45 | 2013-07-24 | 22:17 | -- | -- | -- | 0 | 0 | 0 | 14.5333 | N/A | N/A | N/A | H/T for voltage regulation
[5 empty] | -- | 2013-07-25 | 7:33 | 2013-07-25 | 23:41 | -- | -- | -- | 0 | 0 | 0 | 16.1333 | N/A | N/A | N/A | H/T for voltage regulation
[5 empty] | -- | 2013-07-26 | 7:33 | 2013-07-26 | 22:58 | -- | -- | -- | 0 | 0 | 0 | 15.4167 | N/A | N/A | N/A | H/T for voltage regulation
[5 empty] | -- | 2013-07-27 | 7:01 | 2013-07-27 | 23:38 | -- | -- | -- | 0 | 0 | 0 | 16.6167 | N/A | N/A | N/A | H/T for voltage regulation
[5 empty] | -- | 2013-07-30 | 6:50 | 2013-07-31 | 23:25 | -- | -- | -- | 0 | 0 | 0 | 40.5833 | N/A | N/A | N/A | H/T for voltage regulation
[6 empty] | Sub Total --> | [6 empty] | 0 | 0 | 0 | 382.25
128 | SR2R2 | BIDADI BUS REACTOR - I | 63 | SR-II | -- | 2013-07-01 | 7:15 | 2013-07-01 | 22:37 | -- | -- | -- | 0 | 0 | 0 | 15.3667 | N/A | N/A | N/A | H/T for voltage regulation |  | 100
[5 empty] | -- | 2013-07-02 | 6:47 | 2013-07-02 | 22:09 | -- | -- | -- | 0 | 0 | 0 | 15.3667 | N/A | N/A | N/A | H/T for voltage regulation
[5 empty] | -- | 2013-07-03 | 7:29 | 2013-07-03 | 23:32 | -- | -- | -- | 0 | 0 | 0 | 16.05 | N/A | N/A | N/A | H/T for voltage regulation
[5 empty] | -- | 2013-07-05 | 19:28 | 2013-07-05 | 21:49 | -- | -- | -- | 0 | 0 | 0 | 2.35 | N/A | N/A | N/A | H/T for voltage regulation
[5 empty] | -- | 2013-07-06 | 10:05 | 2013-07-06 | 22:45 | -- | -- | -- | 0 | 0 | 0 | 12.6667 | N/A | N/A | N/A | H/T for voltage regulation
[5 empty] | -- | 2013-07-07 | 8:28 | 2013-07-07 | 22:24 | -- | -- | -- | 0 | 0 | 0 | 13.9333 | N/A | N/A | N/A | H/T for voltage regulation
[5 empty] | -- | 2013-07-08 | 10:36 | 2013-07-08 | 22:27 | -- | -- | -- | 0 | 0 | 0 | 11.85 | N/A | N/A | N/A | H/T for voltage regulation
[5 empty] | -- | 2013-07-09 | 8:23 | 2013-07-09 | 22:22 | -- | -- | -- | 0 | 0 | 0 | 13.9833 | N/A | N/A | N/A | H/T for voltage regulation
[5 empty] | -- | 2013-07-15 | 8:52 | 2013-07-15 | 23:05 | -- | -- | -- | 0 | 0 | 0 | 14.2167 | N/A | N/A | N/A | H/T for voltage regulation
[5 empty] | -- | 2013-07-17 | 7:46 | 2013-07-17 | 23:13 | -- | -- | -- | 0 | 0 | 0 | 15.45 | N/A | N/A | N/A | H/T for voltage regulation
[5 empty] | -- | 2013-07-18 | 6:34 | 2013-07-18 | 14:06 | -- | -- | -- | 0 | 0 | 0 | 7.5333 | N/A | N/A | N/A | H/T for voltage regulation
[5 empty] | -- | 2013-07-23 | 8:50 | 2013-07-23 | 21:47 | -- | -- | -- | 0 | 0 | 0 | 12.95 | N/A | N/A | N/A | H/T for voltage regulation
[5 empty] | -- | 2013-07-24 | 7:46 | 2013-07-24 | 22:09 | -- | -- | -- | 0 | 0 | 0 | 14.3833 | N/A | N/A | N/A | H/T for voltage regulation
[5 empty] | -- | 2013-07-25 | 7:50 | 2013-07-25 | 23:42 | -- | -- | -- | 0 | 0 | 0 | 15.8667 | N/A | N/A | N/A | H/T for voltage regulation
[5 empty] | -- | 2013-07-26 | 7:32 | 2013-07-26 | 22:58 | -- | -- | -- | 0 | 0 | 0 | 15.4333 | N/A | N/A | N/A | H/T for voltage regulation
[5 empty] | -- | 2013-07-27 | 6:54 | 2013-07-27 | 21:59 | -- | -- | -- | 0 | 0 | 0 | 15.0833 | N/A | N/A | N/A | H/T for voltage regulation
[5 empty] | -- | 2013-07-30 | 6:58 | 2013-07-30 | 22:59 | -- | -- | -- | 0 | 0 | 0 | 16.0167 | N/A | N/A | N/A | H/T for voltage regulation
[5 empty] | -- | 2013-07-31 | 6:56 | 2013-08-01 | 0:00 | -- | -- | -- | 0 | 0 | 0 | 17.0667 | N/A | N/A | N/A | H/T for voltage regulation
[6 empty] | Sub Total --> | [6 empty] | 0 | 0 | 0 | 245.5667
130 | SR2R3 | HASSAN BUS REACTOR - I | 80 | SR-II | -- | 2013-07-25 | 7:50 | 2013-07-25 | 13:17 | -- | -- | -- | 0 | 0 | 0 | 5.45 | N/A | N/A | N/A | H/T for voltage regulation |  | 100
[5 empty] | -- | 2013-07-30 | 8:19 | 2013-07-30 | 22:52 | -- | -- | -- | 0 | 0 | 0 | 14.55 | N/A | N/A | N/A | H/T for voltage regulation
[6 empty] | Sub Total --> | [6 empty] | 0 | 0 | 0 | 5.45
132 | SR2R4 | HIRIYUR BUS REACTOR - I | 63 | SR-II | -- | 2013-07-30 | 6:50 | 2013-07-30 | 22:52 | -- | -- | -- | 0 | 0 | 0 | 16.0333 | N/A | N/A | N/A | H/T for voltage regulation |  | 100
[6 empty] | Sub Total --> | [6 empty] | 0 | 0 | 0 | 16.0333
131 | SR2R5 | HOSUR BUS REACTOR - I | 63 | SR-II | -- | 2013-07-01 | 0:00 | 2013-07-10 | 23:46 | -- | -- | -- | 0 | 0 | 0 | 239.7667 | N/A | N/A | N/A | H/T for voltage regulation |  | 100
[5 empty] | -- | 2013-07-11 | 9:27 | 2013-07-12 | 0:06 | -- | -- | -- | 0 | 0 | 0 | 14.65 | N/A | N/A | N/A | H/T for voltage regulation
[5 empty] | -- | 2013-07-12 | 7:11 | 2013-07-19 | 22:07 | -- | -- | -- | 0 | 0 | 0 | 182.9333 | N/A | N/A | N/A | H/T for voltage regulation
[5 empty] | -- | 2013-07-22 | 8:19 | 2013-07-26 | 22:54 | -- | -- | -- | 0 | 0 | 0 | 110.5833 | N/A | N/A | N/A | H/T for voltage regulation
[5 empty] | -- | 2013-07-27 | 6:55 | 2013-08-01 | 0:00 | -- | -- | -- | 0 | 0 | 0 | 113.0833 | N/A | N/A | N/A | H/T for voltage regulation
[6 empty] | Sub Total --> | [6 empty] | 0 | 0 | 0 | 661.0167
132 | SR2R6 | KARAIKUDI BUS REACTOR - I | 80 | SR-II | -- | 2013-07-01 | 9:19 | 2013-07-01 | 22:24 | -- | -- | -- | 0 | 0 | 0 | 13.0833 | N/A | N/A | N/A | H/T for voltage regulation |  | 100
[5 empty] | -- | 2013-07-02 | 10:24 | 2013-07-07 | 23:59 | -- | -- | -- | 0 | 0 | 0 | 133.5833 | N/A | N/A | N/A | H/T for voltage regulation
[5 empty] | -- | 2013-07-09 | 8:36 | 2013-07-11 | 0:02 | -- | -- | -- | 0 | 0 | 0 | 39.4333 | N/A | N/A | N/A | H/T for voltage regulation
[5 empty] | -- | 2013-07-13 | 10:03 | 2013-07-16 | 23:16 | -- | -- | -- | 0 | 0 | 0 | 85.2167 | N/A | N/A | N/A | H/T for voltage regulation
[5 empty] | -- | 2013-07-17 | 9:13 | 2013-07-17 | 23:34 | -- | -- | -- | 0 | 0 | 0 | 14.35 | N/A | N/A | N/A | H/T for voltage regulation
[5 empty] | -- | 2013-07-19 | 7:15 | 2013-07-19 | 22:14 | -- | -- | -- | 0 | 0 | 0 | 14.9833 | N/A | N/A | N/A | H/T for voltage regulation
[5 empty] | -- | 2013-07-23 | 8:36 | 2013-07-26 | 23:20 | -- | -- | -- | 0 | 0 | 0 | 86.7333 | N/A | N/A | N/A | H/T for voltage regulation
[5 empty] | -- | 2013-07-27 | 6:57 | 2013-08-01 | 0:00 | -- | -- | -- | 0 | 0 | 0 | 113.05 | N/A | N/A | N/A | H/T for voltage regulation
[6 empty] | Sub Total --> | [6 empty] | 0 | 0 | 0 | 500.4333
133 | SR2R7 | KOCHI BUS REACTOR I | 63 | SR-II | -- | 2013-07-01 | 10:56 | 2013-07-01 | 22:03 | -- | -- | -- | 0 | 0 | 0 | 11.1167 | N/A | N/A | N/A | H/T for voltage regulation |  | 100
[5 empty] | -- | 2013-07-02 | 10:23 | 2013-07-02 | 22:26 | -- | -- | -- | 0 | 0 | 0 | 12.05 | N/A | N/A | N/A | H/T for voltage regulation
[5 empty] | -- | 2013-07-03 | 7:37 | 2013-07-03 | 22:37 | -- | -- | -- | 0 | 0 | 0 | 15 | N/A | N/A | N/A | H/T for voltage regulation
[5 empty] | -- | 2013-07-04 | 10:24 | 2013-07-04 | 23:20 | -- | -- | -- | 0 | 0 | 0 | 12.9333 | N/A | N/A | N/A | H/T for voltage regulation
[5 empty] | -- | 2013-07-05 | 10:01 | 2013-07-05 | 22:06 | -- | -- | -- | 0 | 0 | 0 | 12.0833 | N/A | N/A | N/A | H/T for voltage regulation
[5 empty] | -- | 2013-07-06 | 10:08 | 2013-07-06 | 23:19 | -- | -- | -- | 0 | 0 | 0 | 13.1833 | N/A | N/A | N/A | H/T for voltage regulation
[5 empty] | -- | 2013-07-08 | 8:18 | 2013-07-08 | 22:35 | -- | -- | -- | 0 | 0 | 0 | 14.2833 | N/A | N/A | N/A | H/T for voltage regulation
[5 empty] | -- | 2013-07-09 | 8:35 | 2013-07-09 | 22:30 | -- | -- | -- | 0 | 0 | 0 | 13.9167 | N/A | N/A | N/A | H/T for voltage regulation
[5 empty] | -- | 2013-07-12 | 7:06 | 2013-07-12 | 22:46 | -- | -- | -- | 0 | 0 | 0 | 15.6667 | N/A | N/A | N/A | H/T for voltage regulation
[5 empty] | -- | 2013-07-13 | 10:05 | 2013-07-13 | 23:08 | -- | -- | -- | 0 | 0 | 0 | 13.05 | N/A | N/A | N/A | H/T for voltage regulation
[5 empty] | -- | 2013-07-15 | 8:53 | 2013-07-15 | 23:17 | -- | -- | -- | 0 | 0 | 0 | 14.4 | N/A | N/A | N/A | H/T for voltage regulation
[5 empty] | -- | 2013-07-16 | 8:43 | 2013-07-16 | 23:05 | -- | -- | -- | 0 | 0 | 0 | 14.3667 | N/A | N/A | N/A | H/T for voltage regulation
[5 empty] | -- | 2013-07-17 | 9:18 | 2013-07-17 | 23:21 | -- | -- | -- | 0 | 0 | 0 | 14.05 | N/A | N/A | N/A | H/T for voltage regulation
[5 empty] | -- | 2013-07-18 | 16:22 | 2013-07-18 | 22:26 | -- | -- | -- | 0 | 0 | 0 | 6.0667 | N/A | N/A | N/A | H/T for voltage regulation
[5 empty] | -- | 2013-07-19 | 7:13 | 2013-07-19 | 22:23 | -- | -- | -- | 0 | 0 | 0 | 15.1667 | N/A | N/A | N/A | H/T for voltage regulation
[5 empty] | -- | 2013-07-23 | 8:48 | 2013-07-23 | 22:38 | -- | -- | -- | 0 | 0 | 0 | 13.8333 | N/A | N/A | N/A | H/T for voltage regulation
[5 empty] | -- | 2013-07-30 | 11:32 | 2013-07-30 | 23:20 | -- | -- | -- | 0 | 0 | 0 | 11.8 | N/A | N/A | N/A | H/T for voltage regulation
[5 empty] | -- | 2013-07-31 | 8:40 | 2013-07-31 | 22:15 | -- | -- | -- | 0 | 0 | 0 | 13.5833 | N/A | N/A | N/A | H/T for voltage regulation
[6 empty] | Sub Total --> | [6 empty] | 0 | 0 | 0 | 236.55
134 | SR2R8 | KOLAR BUS REACTOR - I | 63 | SR-II | -- | 2013-07-01 | 9:24 | 2013-07-01 | 22:16 | -- | -- | -- | 0 | 0 | 0 | 12.8667 | N/A | N/A | N/A | H/T for voltage regulation |  | 100
[5 empty] | -- | 2013-07-02 | 6:44 | 2013-07-02 | 22:05 | -- | -- | -- | 0 | 0 | 0 | 15.35 | N/A | N/A | N/A | H/T for voltage regulation
[5 empty] | -- | 2013-07-03 | 7:30 | 2013-07-03 | 22:16 | -- | -- | -- | 0 | 0 | 0 | 14.7667 | N/A | N/A | N/A | H/T for voltage regulation
[5 empty] | -- | 2013-07-05 | 9:55 | 2013-07-05 | 21:46 | -- | -- | -- | 0 | 0 | 0 | 11.85 | N/A | N/A | N/A | H/T for voltage regulation
[5 empty] | -- | 2013-07-09 | 8:29 | 2013-07-09 | 22:17 | -- | -- | -- | 0 | 0 | 0 | 13.8 | N/A | N/A | N/A | H/T for voltage regulation
[5 empty] | -- | 2013-07-16 | 8:43 | 2013-07-16 | 22:58 | -- | -- | -- | 0 | 0 | 0 | 14.25 | N/A | N/A | N/A | H/T for voltage regulation
[5 empty] | -- | 2013-07-19 | 7:11 | 2013-07-19 | 21:53 | -- | -- | -- | 0 | 0 | 0 | 14.7 | N/A | N/A | N/A | H/T for voltage regulation
[5 empty] | -- | 2013-07-22 | 9:46 | 2013-07-22 | 21:51 | -- | -- | -- | 0 | 0 | 0 | 12.0833 | N/A | N/A | N/A | H/T for voltage regulation
[5 empty] | -- | 2013-07-23 | 8:33 | 2013-07-23 | 21:45 | -- | -- | -- | 0 | 0 | 0 | 13.2 | N/A | N/A | N/A | H/T for voltage regulation
[5 empty] | -- | 2013-07-24 | 7:35 | 2013-07-24 | 22:09 | -- | -- | -- | 0 | 0 | 0 | 14.5667 | N/A | N/A | N/A | H/T for voltage regulation
[5 empty] | -- | 2013-07-25 | 7:23 | 2013-07-25 | 23:31 | -- | -- | -- | 0 | 0 | 0 | 16.1333 | N/A | N/A | N/A | H/T for voltage regulation
[5 empty] | -- | 2013-07-26 | 7:29 | 2013-07-26 | 22:55 | -- | -- | -- | 0 | 0 | 0 | 15.4333 | N/A | N/A | N/A | H/T for voltage regulation
[5 empty] | -- | 2013-07-27 | 6:53 | 2013-07-27 | 21:55 | -- | -- | -- | 0 | 0 | 0 | 15.0333 | N/A | N/A | N/A | H/T for voltage regulation
[5 empty] | -- | 2013-07-31 | 6:53 | 2013-07-31 | 22:07 | -- | -- | -- | 0 | 0 | 0 | 15.2333 | N/A | N/A | N/A | H/T for voltage regulation
[6 empty] | Sub Total --> | [6 empty] | 0 | 0 | 0 | 199.2667
135 | SR2R9 | MYSORE BUS REACTOR | 50 | SR-II | -- | 2013-07-31 | 8:14 | 2013-07-31 | 23:07 | -- | -- | -- | 0 | 0 | 0 | 14.8833 | N/A | N/A | N/A | H/T for voltage regulation |  | 100
[6 empty] | Sub Total --> | [6 empty] | 0 | 0 | 0 | 14.8833
136 | SR2R10 | NARENDRA BUS REACTOR | 50 | SR-II | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- |  | 100
[6 empty] | Sub Total --> | [6 empty] | 0 | 0 | 0 | 0
137 | SR2R11 | PALAKKAD BUS REACTOR - I | 63 | SR-II | -- | 2013-07-01 | 10:55 | 2013-07-01 | 22:12 | -- | -- | -- | 0 | 0 | 0 | 11.2833 | N/A | N/A | N/A | H/T for voltage regulation |  | 100
[5 empty] | -- | 2013-07-02 | 10:18 | 2013-07-02 | 22:22 | -- | -- | -- | 0 | 0 | 0 | 12.0667 | N/A | N/A | N/A | H/T for voltage regulation
[5 empty] | -- | 2013-07-03 | 7:29 | 2013-07-03 | 22:24 | -- | -- | -- | 0 | 0 | 0 | 14.9167 | N/A | N/A | N/A | H/T for voltage regulation
[5 empty] | -- | 2013-07-04 | 10:14 | 2013-07-04 | 23:13 | -- | -- | -- | 0 | 0 | 0 | 12.9833 | N/A | N/A | N/A | H/T for voltage regulation
[5 empty] | -- | 2013-07-05 | 9:56 | 2013-07-05 | 21:54 | -- | -- | -- | 0 | 0 | 0 | 11.9667 | N/A | N/A | N/A | H/T for voltage regulation
[5 empty] | -- | 2013-07-06 | 10:04 | 2013-07-06 | 23:12 | -- | -- | -- | 0 | 0 | 0 | 13.1333 | N/A | N/A | N/A | H/T for voltage regulation
[5 empty] | -- | 2013-07-08 | 8:17 | 2013-07-08 | 22:39 | -- | -- | -- | 0 | 0 | 0 | 14.3667 | N/A | N/A | N/A | H/T for voltage regulation
[5 empty] | -- | 2013-07-09 | 8:30 | 2013-07-09 | 22:32 | -- | -- | -- | 0 | 0 | 0 | 14.0333 | N/A | N/A | N/A | H/T for voltage regulation
[5 empty] | -- | 2013-07-12 | 7:09 | 2013-07-12 | 22:51 | -- | -- | -- | 0 | 0 | 0 | 15.7 | N/A | N/A | N/A | H/T for voltage regulation
[5 empty] | -- | 2013-07-13 | 10:02 | 2013-07-13 | 23:06 | -- | -- | -- | 0 | 0 | 0 | 13.0667 | N/A | N/A | N/A | H/T for voltage regulation
[5 empty] | -- | 2013-07-15 | 9:00 | 2013-07-15 | 23:23 | -- | -- | -- | 0 | 0 | 0 | 14.3833 | N/A | N/A | N/A | H/T for voltage regulation
[5 empty] | -- | 2013-07-16 | 8:45 | 2013-07-16 | 23:06 | -- | -- | -- | 0 | 0 | 0 | 14.35 | N/A | N/A | N/A | H/T for voltage regulation
[5 empty] | -- | 2013-07-17 | 9:18 | 2013-07-17 | 23:19 | -- | -- | -- | 0 | 0 | 0 | 14.0167 | N/A | N/A | N/A | H/T for voltage regulation
[5 empty] | -- | 2013-07-18 | 16:25 | 2013-07-18 | 22:23 | -- | -- | -- | 0 | 0 | 0 | 5.9667 | N/A | N/A | N/A | H/T for voltage regulation
[5 empty] | -- | 2013-07-19 | 7:10 | 2013-07-19 | 22:17 | -- | -- | -- | 0 | 0 | 0 | 15.1167 | N/A | N/A | N/A | H/T for voltage regulation
[5 empty] | -- | 2013-07-23 | 8:59 | 2013-07-23 | 22:32 | -- | -- | -- | 0 | 0 | 0 | 13.55 | N/A | N/A | N/A | H/T for voltage regulation
[5 empty] | -- | 2013-07-30 | 11:21 | 2013-07-30 | 23:15 | -- | -- | -- | 0 | 0 | 0 | 11.9 | N/A | N/A | N/A | H/T for voltage regulation
[5 empty] | -- | 2013-07-31 | 8:27 | 2013-07-31 | 22:14 | -- | -- | -- | 0 | 0 | 0 | 13.7833 | N/A | N/A | N/A | H/T for voltage regulation
[6 empty] | Sub Total --> | [6 empty] | 0 | 0 | 0 | 236.5833
138 | SR2R12 | SALEM BUS REACTOR - I | 63 | SR-II | -- | 2013-07-01 | 0:00 | 2013-07-02 | 22:17 | -- | -- | -- | 0 | 0 | 0 | 46.2833 | N/A | N/A | N/A | H/T for voltage regulation |  | 100
[5 empty] | -- | 2013-07-03 | 7:29 | 2013-07-10 | 23:50 | -- | -- | -- | 0 | 0 | 0 | 184.35 | N/A | N/A | N/A | H/T for voltage regulation
[5 empty] | -- | 2013-07-11 | 9:36 | 2013-07-14 | 22:14 | -- | -- | -- | 0 | 0 | 0 | 84.6333 | N/A | N/A | N/A | H/T for voltage regulation
[5 empty] | -- | 2013-07-15 | 7:38 | 2013-07-17 | 23:13 | -- | -- | -- | 0 | 0 | 0 | 63.5833 | N/A | N/A | N/A | H/T for voltage regulation
[5 empty] | -- | 2013-07-18 | 7:47 | 2013-07-19 | 22:07 | -- | -- | -- | 0 | 0 | 0 | 38.3333 | N/A | N/A | N/A | H/T for voltage regulation
[5 empty] | -- | 2013-07-23 | 8:40 | 2013-07-25 | 23:39 | -- | -- | -- | 0 | 0 | 0 | 62.9833 | N/A | N/A | N/A | H/T for voltage regulation
[5 empty] | -- | 2013-07-30 | 7:49 | 2013-07-31 | 23:14 | -- | -- | -- | 0 | 0 | 0 | 39.4167 | N/A | N/A | N/A | H/T for voltage regulation
[6 empty] | Sub Total --> | [6 empty] | 0 | 0 | 0 | 519.5833
139 | SR2R13 | SRIPERUMBUDUR BUS REACTOR - I | 63 | SR-II | -- | 2013-07-05 | 9:48 | 2013-07-05 | 22:00 | -- | -- | -- | 0 | 0 | 0 | 12.2 | N/A | N/A | N/A | H/T for voltage regulation |  | 100
[5 empty] | -- | 2013-07-13 | 10:17 | 2013-07-14 | 22:18 | -- | -- | -- | 0 | 0 | 0 | 36.0167 | N/A | N/A | N/A | H/T for voltage regulation
[5 empty] | -- | 2013-07-15 | 10:18 | 2013-07-19 | 22:13 | -- | -- | -- | 0 | 0 | 0 | 107.9167 | N/A | N/A | N/A | H/T for voltage regulation
[5 empty] | -- | 2013-07-23 | 9:08 | 2013-07-23 | 21:49 | -- | -- | -- | 0 | 0 | 0 | 12.6833 | N/A | N/A | N/A | H/T for voltage regulation
[5 empty] | -- | 2013-07-31 | 8:29 | 2013-07-31 | 22:16 | -- | -- | -- | 0 | 0 | 0 | 13.7833 | N/A | N/A | N/A | H/T for voltage regulation
[6 empty] | Sub Total --> | [6 empty] | 0 | 0 | 0 | 182.6
140 | SR2R14 | THIRUNELVELI BUS REACTOR - I | 63 | SR-II | -- | 2013-07-01 | 10:55 | 2013-07-01 | 22:27 | -- | -- | -- | 0 | 0 | 0 | 11.5333 | N/A | N/A | N/A | H/T for voltage regulation |  | 100
[5 empty] | -- | 2013-07-02 | 10:21 | 2013-07-02 | 22:25 | -- | -- | -- | 0 | 0 | 0 | 12.0667 | N/A | N/A | N/A | H/T for voltage regulation
[5 empty] | -- | 2013-07-03 | 7:29 | 2013-07-03 | 22:22 | -- | -- | -- | 0 | 0 | 0 | 14.8833 | N/A | N/A | N/A | H/T for voltage regulation
[5 empty] | -- | 2013-07-05 | 18:56 | 2013-07-05 | 21:48 | -- | -- | -- | 0 | 0 | 0 | 2.8667 | N/A | N/A | N/A | H/T for voltage regulation
[5 empty] | -- | 2013-07-06 | 10:06 | 2013-07-06 | 22:51 | -- | -- | -- | 0 | 0 | 0 | 12.75 | N/A | N/A | N/A | H/T for voltage regulation
[5 empty] | -- | 2013-07-09 | 7:53 | 2013-07-10 | 22:44 | -- | -- | -- | 0 | 0 | 0 | 38.85 | N/A | N/A | N/A | H/T for voltage regulation
[5 empty] | -- | 2013-07-16 | 8:42 | 2013-07-16 | 23:19 | -- | -- | -- | 0 | 0 | 0 | 14.6167 | N/A | N/A | N/A | H/T for voltage regulation
[5 empty] | -- | 2013-07-30 | 19:22 | 2013-07-30 | 23:06 | -- | -- | -- | 0 | 0 | 0 | 3.7333 | N/A | N/A | N/A | H/T for voltage regulation
[5 empty] | -- | 2013-07-31 | 7:30 | 2013-07-31 | 22:12 | -- | -- | -- | 0 | 0 | 0 | 14.7 | N/A | N/A | N/A | H/T for voltage regulation
[6 empty] | Sub Total --> | [6 empty] | 0 | 0 | 0 | 126
141 | SR2R15 | THIRUNELVELI BUS REACTOR - II | 63 | SR-II | -- | 2013-07-01 | 10:57 | 2013-07-01 | 22:30 | -- | -- | -- | 0 | 0 | 0 | 11.55 | N/A | N/A | N/A | H/T for voltage regulation |  | 100
[5 empty] | -- | 2013-07-02 | 10:27 | 2013-07-02 | 22:21 | -- | -- | -- | 0 | 0 | 0 | 11.9 | N/A | N/A | N/A | H/T for voltage regulation
[5 empty] | -- | 2013-07-03 | 7:31 | 2013-07-03 | 22:17 | -- | -- | -- | 0 | 0 | 0 | 14.7667 | N/A | N/A | N/A | H/T for voltage regulation
[5 empty] | -- | 2013-07-05 | 18:57 | 2013-07-05 | 21:50 | -- | -- | -- | 0 | 0 | 0 | 2.8833 | N/A | N/A | N/A | H/T for voltage regulation
[5 empty] | -- | 2013-07-30 | 19:23 | 2013-07-30 | 23:09 | -- | -- | -- | 0 | 0 | 0 | 3.7667 | N/A | N/A | N/A | H/T for voltage regulation
[5 empty] | -- | 2013-07-31 | 7:32 | 2013-07-31 | 22:16 | -- | -- | -- | 0 | 0 | 0 | 14.7333 | N/A | N/A | N/A | H/T for voltage regulation
[6 empty] | Sub Total --> | [6 empty] | 0 | 0 | 0 | 11.55
142 | SR2R17 | Kolar Line Reactor at Bangalore | 50 | SR-II | -- | 2013-07-01 | 0:00 | 2013-07-07 | 22:34 | -- | -- | -- | 0 | 0 | 0 | 166.5667 | N/A | N/A | N/A | H/T for voltage regulation |  | 100
[6 empty] | Sub Total --> | [6 empty] | 0 | 0 | 0 | 166.5667
143 | SR2R18 | Neyveli TS II Exp Line Reactor at Pugalur | 50 | SR-II | -- | 2013-07-01 | 0:00 | 2013-07-03 | 22:48 | -- | -- | -- | 0 | 0 | 0 | 70.8 | N/A | N/A | N/A | H/T for voltage regulation |  | 100
[6 empty] | Sub Total --> | [6 empty] | 0 | 0 | 0 | 70.8
144 | SR2R19 | Neyveli TS II Line Reactor at Pugalur | 50 | SR-II | -- | 2013-07-03 | 7:51 | 2013-08-01 | 0:00 | -- | -- | -- | 0 | 0 | 0 | 688.15 | -- | -- | -- | H/T for voltage regulation |  | 100
[6 empty] | Sub Total --> | [6 empty] | 0 | 0 | 0 | 688.15
145 | SR2R20 | Thirunelveli 1 Line Reactor at Udumalpet | 63 | SR-II | -- | 2013-07-01 | 9:15 | 2013-07-04 | 1:30 | -- | -- | -- | 0 | 0 | 0 | 64.25 | N/A | N/A | N/A | H/T for voltage regulation |  | 100
[5 empty] | -- | 2013-07-05 | 19:24 | 2013-07-05 | 21:54 | -- | -- | -- | 0 | 0 | 0 | 2.5 | N/A | N/A | N/A | H/T for voltage regulation
[5 empty] | -- | 2013-07-08 | 8:14 | 2013-07-09 | 22:29 | -- | -- | -- | 0 | 0 | 0 | 38.25 | N/A | N/A | N/A | H/T for voltage regulation
[5 empty] | -- | 2013-07-11 | 20:03 | 2013-07-12 | 0:07 | -- | -- | -- | 0 | 0 | 0 | 4.0667 | N/A | N/A | N/A | H/T for voltage regulation
[5 empty] | -- | 2013-07-12 | 10:30 | 2013-07-12 | 22:59 | -- | -- | -- | 0 | 0 | 0 | 12.4833 | N/A | N/A | N/A | H/T for voltage regulation
[5 empty] | -- | 2013-07-15 | 7:37 | 2013-07-16 | 23:03 | -- | -- | -- | 0 | 0 | 0 | 39.4333 | N/A | N/A | N/A | H/T for voltage regulation
[5 empty] | -- | 2013-07-17 | 9:30 | 2013-07-17 | 23:13 | -- | -- | -- | 0 | 0 | 0 | 13.7167 | N/A | N/A | N/A | H/T for voltage regulation
[5 empty] | -- | 2013-07-19 | 7:10 | 2013-07-19 | 22:30 | -- | -- | -- | 0 | 0 | 0 | 15.3333 | N/A | N/A | N/A | H/T for voltage regulation
[5 empty] | -- | 2013-07-31 | 9:09 | 2013-08-01 | 0:00 | -- | -- | -- | 0 | 0 | 0 | 14.85 | N/A | N/A | N/A | H/T for voltage regulation
[6 empty] | Sub Total --> | [6 empty] | 0 | 0 | 0 | 204.8833
146 | SR2R21 | Thirunelveli 2 Line Reactor at Udumalpet | 63 | SR-II | -- | 2013-07-01 | 9:16 | 2013-07-04 | 1:30 | -- | -- | -- | 0 | 0 | 0 | 64.2333 | N/A | N/A | N/A | H/T for voltage regulation |  | 100
[5 empty] | -- | 2013-07-05 | 19:24 | 2013-07-05 | 21:54 | -- | -- | -- | 0 | 0 | 0 | 2.5 | N/A | N/A | N/A | H/T for voltage regulation
[5 empty] | -- | 2013-07-08 | 8:14 | 2013-07-09 | 22:29 | -- | -- | -- | 0 | 0 | 0 | 38.25 | N/A | N/A | N/A | H/T for voltage regulation
[5 empty] | -- | 2013-07-11 | 20:03 | 2013-07-12 | 0:07 | -- | -- | -- | 0 | 0 | 0 | 4.0667 | N/A | N/A | N/A | H/T for voltage regulation
[5 empty] | -- | 2013-07-12 | 10:40 | 2013-07-12 | 22:59 | -- | -- | -- | 0 | 0 | 0 | 12.3167 | N/A | N/A | N/A | H/T for voltage regulation
[5 empty] | -- | 2013-07-15 | 7:38 | 2013-07-16 | 23:03 | -- | -- | -- | 0 | 0 | 0 | 39.4167 | N/A | N/A | N/A | H/T for voltage regulation
[5 empty] | -- | 2013-07-17 | 9:30 | 2013-07-17 | 23:14 | -- | -- | -- | 0 | 0 | 0 | 13.7333 | N/A | N/A | N/A | H/T for voltage regulation
[5 empty] | -- | 2013-07-19 | 7:11 | 2013-07-19 | 22:30 | -- | -- | -- | 0 | 0 | 0 | 15.3167 | N/A | N/A | N/A | H/T for voltage regulation
[5 empty] | -- | 2013-07-31 | 9:09 | 2013-08-01 | 0:00 | -- | -- | -- | 0 | 0 | 0 | 14.85 | N/A | N/A | N/A | H/T for voltage regulation
[6 empty] | Sub Total --> | [6 empty] | 0 | 0 | 0 | 204.6833
147 | SR2R22 | Udumalpet 1 Line Reactor at Thirunelveli | 63 | SR-II | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- |  | 100
[6 empty] | Sub Total --> | [6 empty] | 0 | 0 | 0 | 0
148 | SR2R23 | Udumalpet 2 Line Reactor at Thirunelveli | 63 | SR-II | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- |  | 100
[6 empty] | Sub Total --> | [6 empty] | 0 | 0 | 0 | 0
149 | SR2R24 | Vallur 1 Line Reactor at Kalivandapattu | 50 | SR-II | -- | 2013-07-01 | 0:00 | 2013-07-10 | 23:51 | -- | -- | -- | 0 | 0 | 0 | 239.85 | N/A | N/A | N/A | H/T for voltage regulation |  | 100
[6 empty] | Sub Total --> | [6 empty] | 0 | 0 | 0 | 239.85
150 | SR2R25 | TALCHER - KOLAR HVDC POLE - I | 1000 | SR-II | -- | 2013-07-08 | 23:08 | 2013-07-08 | 23:08 | -- | -- | -- | 0 | 0 | 0 | 0 | N/A | N/A | N/A | LFL and DC line fault recovery sequence operated at 683.58 from Talcher end (Tower no. 1845). |  | 100
[5 empty] | -- | 2013-07-20 | 5:39 | 2013-07-20 | 5:39 |  |  |  | 0 | 0 | 0 | 0 | N/A | N/A | N/A | LFL and DC line fault recovery operated at 195.73 km from Kolar. Tower no. 3157.
[6 empty] | Sub Total --> | [6 empty] | 0 | 0 | 0 | 0
151 | SR2R26 | TALCHER - KOLAR HVDC POLE - II | 1000 | SR-II | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- |  | 100
[6 empty] | Sub Total --> | [6 empty] | 0 | 0 | 0 | 0
[22 empty] | 15092.5202 | 15092.5202 | 0
Note in type of failure column please indicate following :
1) Hardware failure like Earthwire failure, Jumper snapping, Conductor snapping, Insulator failure, Others etc
2) Transformer / Reactor failure like winding failure, Bushing failure, OLTC failure, Others etc
3) Tower collapse