## Basic Data (hidden)
Enter basic data here
[Fill up data only in the relevent open area]
1 | Name of Package | Supply & Services contract for Diversion/Modification of 400kV S/C Rengali-Indravati Transmission Line near Bhawanipatna for Construction of NH Bypass Road (Deposit Work on Behalf of NHAI).
2 | Specification No. | ODP/BB/C&M-3524/OT-20/RFx No. 5002003084/23-24
3 | Package Code
4 | Item Description | Light Weight T&P
5 | Quantity in km.
6 | Type Tests | Tests to be conducted |  | Nos of tests
|  | (a) | UTS test on stranded conductor | 1
|  | (b) | DC resistance test on stranded conductor | 1
|  | (c) | Corona extinction voltage test on hex bundle (dry) | 1
|  | (d) | Radio interference voltage test on hex bundle (dry) | 1

## Cover
General guidelines for filling up the Price Schedules, Discount Letter & Bid Form for 2nd Envelope
Supply & Services contract for Diversion/Modification of 400kV S/C Rengali-Indravati Transmission Line near Bhawanipatna for Construction of NH Bypass Road (Deposit Work on Behalf of NHAI).
Specification No.: ODP/BB/C&M-3524/OT-20/RFx No. 5002003084/23-24
1 | Fill up only green shaded cells in Sch-1, Sch-2 & Sch-3.
2 | All the cells in Sch-5 are auto filled, therefore no cell is required to be filled up there.
3 | Instructions / error messages, if any, will be displayed automatically after selecting the cell.
4 | Based on the data filled in the respective schedules, e-Form is generated automatically. A print out of e-Form may be taken and the data may be filled in the electronic form of the tender provided on the portal.
Click to Proceed

## Instructions
General Instruction to the Bidders for filling up this workbook of Price Schedules for Package Supply & Services contract for Diversion/Modification of 400kV S/C Rengali-Indravati Transmission Line near Bhawanipatna for Construction of NH Bypass Road (Deposit Work on Behalf of NHAI).
I | While filling up the worksheets following may please be observed :
| (i) | Fill up only green shaded cells.
| (ii) | Certain data type entries have been restricted, such as Numeric values or limits of numeric values.
| (iii) | Select only the options provided in pull down menus.
| (iv) | Do not link any cell of this work book with any other work book.
| (v) | Do not use copy & paste or cut & paste options for filling up the data.
| (vi) | Do not reformat any of the cell of the work book.
II | This Workbook consists of following worksheets :
Cover :
Opening page of the workbook.
Names of Bidder :
| ● | Select Orignal Equipment Manufacturer, or Authorised Dealer of Manufacturer, or Authorised Distributor of Manufacturer orAuthorised Indian Representative of Manufacturer from the pull down menu. Do not leave this cell blank.
| ● | Select nos. of the JV Partners other than the Lead Partner from drop down menu.
| ● | In case of JV partners more than 2, enter details of 3rd & more partners along with details of 2nd partner.
| ● | Fill up names and address of the Bidder and /or Manufacturer
| ● | Fill up date in dd-mm-yyyy format from drop down menu.
| ● | Click for Sch-1 given at the right top of the worksheet to go to Sch-1.
Sch-1 (Ex-works Prices) :
| ● | Fill up unit rates for all the items in numeric values greater than 0 (zero). If unit rate is left blank, the corresponding item shall be deemed to be included in the total price.
| ● | Unit rates of the items shall be inclusive of all duties, levies, cess etc. excluding GST. GST shall be applicable on transaction between Employer and Contractor. Employer will not pay any GST on transaction between Contractor and sub-vendors.
| ● | Total amount shall get calculated automatically.
Sch-2 (Freight & Insurance Charges) :
| ● | Fill up unit rates for all the items in numeric values greater than 0 (zero). If unit rate is left blank, the corresponding item shall be deemed to be included in the total price.
| ● | Total amount shall get calculated automatically.
Sch-3 (Service (Installation & commissioning) Charges) :
| ● | Fill up unit rates for all the items in numeric values greater than 0 (zero). If unit rate is left blank, the corresponding item shall be deemed to be included in the total price.
| ● | Total amount shall get calculated automatically.
Sch-4 (Summary of Taxes and Duties applicable on the Goods) :
| ● | Summary of GST quoted on all items in Schedule 1 & Schedule 3 shall be displayed automatically.
| ● | No cell is required to be filled in by the bidder in this worksheet.
Sch -5 :
| ● | Total amount including GST, taxes, duties etc. shall be calculated and dislayed automatically.
| ● | No cell is required to be filled in by the bidder in this worksheet.
Sch-6 (Buy Back Charges) :
| ● | Fill up unit rates for all the items in numeric values greater than 0 (zero). If unit rate is left blank, the corresponding item shall be deemed to be included in the total price.
| ● | Total amount shall get calculated automatically.
Bid from 2nd Envelope :
| ● | Fill up ref. no. as bidder's ref no. of this letter.
| ● | This letter shall consider the total price as per Grand Summary (Schedule-5).
| ● | Fill up additional information as required.
* * *
Happy Bidding !
Click to Proceed

## Names of Bidder
Supply & Services contract for Diversion/Modification of 400kV S/C Rengali-Indravati Transmission Line near Bhawanipatna for Construction of NH Bypass Road (Deposit Work on Behalf of NHAI).
ODP/BB/C&M-3524/OT-20/RFx No. 5002003084/23-24
Enter following details of the bidder
Specify type of Bidder [Select from drop down menu]
Name of the Bidder
Address of Bidder
Address of Bidder
Printed Name
Designation
Date :
Place :

## Sch-1
Specification No.: ODP/BB/C&M-3524/OT-20/RFx No. 5002003084/23-24 | [12 empty] | Schedule - 1
Supply & Services contract for Diversion/Modification of 400kV S/C Rengali-Indravati Transmission Line near Bhawanipatna for Construction of NH Bypass Road (Deposit Work on Behalf of NHAI).
(SCHEDULE OF RATES AND PRICES : Goods to be supplied, including Type Test Charges for Tests to be conducted)
Bidder’s Name and Address | [9 empty] | To:
Bidder as | [9 empty] | Sr. GENERAL MANAGER(C&M)
Name : | [9 empty] | POWER GRID CORPORATION OF INDIA LIMITED,
Address : | [9 empty] | ODISHA PROJECTS
PLOT NO.-4, UNIT-41, NILADRI VIHAR
CHANDRASHEKHARPUR, BHUBANESWAR-751021
[12 empty] | All Prices are in Indian Rupees. | All values are in Indian Rupees. | #REF!
SI. No. | Material Code | Item Description | Make & Model | Unit | Qty. | HSN Code | Whether HSN in column ‘4’ is confirmed. If not indicate applicable the HSN code # | Rate of GST applicable ( in %) | Select from Drop-down menu. Whether rate of GST in column ‘6’ is confirmed. If not indicate applicable rate of GST # | Unit Ex-works price (excluding GST) | GST Amount | Total Ex-works price (excluding GST) | Mode of Transaction (Direct/Bought out) | #REF!
1 | 2 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 8
Diversion/Modification of 400kV S/C Rengali-Indravati Transmission Line near Bhawanipatna for Construction of NH Bypass Road (Deposit Work on Behalf of NHAI).
1 |  | NORMAL TOWERS
1.1 |  | Fabrication, galvanising & supply of various types of towers & tower parts, tower/leg extensions (complete) excluding stubs and bolts & nuts but including hangers, D-Shackles, pack washers etc.
a) |  | HT Steel |  | MT | 28.0817 | 73082011 | Confirmed | 18 | Confirmed |  | 0.0018 | 0.01
b) |  | MS Steel |  | MT | 45.0279 | 73082011 | Confirmed | 18 | Confirmed |  | 0.0018 | 0.01
1.2 |  | Fabrication, galvanising & supply of stubs with cleats for various types of towers and tower extensions (complete) with pack washers excluding supply of bolts & nuts
a) |  | HT Steel |  | MT | 1.905 | 73082011 | Confirmed | 18 | Confirmed |  | 0.0018 | 0.01
b) |  | MS Steel |  | MT | 0.1968 | 73082011 | Confirmed | 18 | Confirmed |  | 0.0018 | 0.01
1.3 |  | Supply of Bolts & Nuts for towers and tower extensions including Step Bolts, Spring Washers etc.
a) |  | Hexagonal Bolts and Nuts including step bolts and spring washers for tower & tower extensions |  | MT | 2.5254 | 73181500 | Confirmed | 18 | Confirmed |  | 0.0018 | 0.01
b) |  | Hexagonal Bolts and nuts including washers for Stubs |  | MT | 0.04146 | 73181500 | Confirmed | 18 | Confirmed |  | 0.0018 | 0.01
2 |  | EARTHING OF TOWERS
2.1 |  | Supply of earthing of towers
a) |  | Pipe Type |  | NOS. | 4 | 73082011 | Confirmed | 18 | Confirmed |  | 0.0018 | 0.01
b) |  | Rod Earthing |  | NOS. | 4 | 73082011 | Confirmed | 18 | Confirmed |  | 0.0018 | 0.01
c) |  | Counter poise |  | NOS. | 1 | 73082011 | Confirmed | 18 | Confirmed |  | 0.0018 | 0.01
d) |  | Shieldwire Earthing incl. PG Clamps, Downlead clamps but excl. Earthwire bits i.e. shield wire earthing (pipe type) shall be as additional for items i.e. earthing of towers (pipe type) |  | SET | 1 | 73082011 | Confirmed | 18 | Confirmed |  | 0.0018 | 0.01
3 |  | TOWER ACCESSORIES
3.1 |  | Supply of following tower accessories
a) |  | Danger Plate |  | NOS. | 4 | 73082011 | Confirmed | 18 | Confirmed |  | 0.0018 | 0.01
b) |  | Number Plate |  | NOS. | 4 | 73082011 | Confirmed | 18 | Confirmed |  | 0.0018 | 0.01
c) |  | Phase Plate (Set of three) |  | Sets | 4 | 73082011 | Confirmed | 18 | Confirmed |  | 0.0018 | 0.01
d) |  | Anti-Climbing Devices |  | NOS. | 4 | 73082011 | Confirmed | 18 | Confirmed |  | 0.0018 | 0.01
4 |  | SUPPLY OF HARDWAR FITTINGS
4.1 |  | Hardware Fittings for 400kV AC with ACSR TWIN Moose Conductor
a) |  | Single "I" suspension fitting for PILOT string including Counter weight (Suitable for 1x23, 120 kN Composite Long Rod Insulators s) |  | Sets | 6 | 73082011 | Confirmed | 18 | Confirmed |  | 0.0018 | 0.01
b) |  | Double Tension insulator fitting (Suitable for 2x23, 160 kN Composite Long Rod Insulators ) |  | Sets | 24 | 73082011 | Confirmed | 18 | Confirmed |  | 0.0018 | 0.01
C) |  | Balancing Weight for Single I Suspension Pilot Insulator string of 50kg Each |  | EA | 24 | 73082011 | Confirmed | 18 | Confirmed |  | 0.0018 | 0.01
4.2 |  | Conductor Accessories for ACSR TWIN Moose
a) |  | Mid span comp. joint for ACSR Moose conductor |  | NOS. | 3 | 73082011 | Confirmed | 18 | Confirmed |  | 0.0018 | 0.01
b) |  | Repair sleeve for ACSR Moose conductor |  | NOS. | 5 | 73082011 | Confirmed | 18 | Confirmed |  | 0.0018 | 0.01
c) |  | Vibration damper for ACSR Moose conductor |  | NOS. | 120 | 74082990 | Confirmed | 18 | Confirmed |  | 0.0018 | 0.01
d) |  | Twin Bundle spacer cum damper for ACSR Moose conductor |  | NOS. | 45 | 74082990 | Confirmed | 18 | Confirmed |  | 0.0018 | 0.01
e) |  | Twin Rigid Spacer for jumper for ACSR Moose conductor |  | NOS. | 36 | 74082990 | Confirmed | 18 | Confirmed |  | 0.0018 | 0.01
4.3 |  | Earthwire Accessories for 7/3.66mm Earthwire
a) |  | Mid Span Compression Joint |  | NOS. | 1 | 73082011 | Confirmed | 18 | Confirmed |  | 0.0018 | 0.01
b) |  | Flexible Cupper Bond |  | NOS. | 20 | 74082990 | Confirmed | 18 | Confirmed |  | 0.0018 | 0.01
c) |  | Vibration damper |  | NOS. | 40 | 73082011 | Confirmed | 18 | Confirmed |  | 0.0018 | 0.01
d) |  | Tension clamp |  | NOS. | 16 | 73082011 | Confirmed | 18 | Confirmed |  | 0.0018 | 0.01
5 |  | OPGW & Accessories
a) |  | 24 Fibre (DWSM) OPGW fibre optic cable |  | KM | 0.89486 | 85447090 | Confirmed | 18 | Confirmed |  | 0.0018 | 0.01
b) |  | Tension Passing through assembly |  | Nos | 1 | 82057000 | Confirmed | 18 | Confirmed |  | 0.0018 | 0.01
c) |  | Splicing-24F OPGW |  | Nos | 2 | 82057000 | Confirmed | 18 | Confirmed |  | 0.0018 | 0.01
d) |  | Secial fitting assembly at suspension tower(For joint box location) |  | Nos | 2 | 82057000 | Confirmed | 18 | Confirmed |  | 0.0018 | 0.01
e) |  | Vibration Damper suitable for 24F OPGW |  | Nos | 16 | 82057000 | Confirmed | 18 | Confirmed |  | 0.0018 | 0.01
f) |  | Down Lead Clamps for 24F OPGW |  | Nos | 74 | 82057000 | Confirmed | 18 | Confirmed |  | 0.0018 | 0.01
g) |  | Joint Box for 24 Fibre OPGW |  | Nos | 2 | 85353090 | Confirmed | 18 | Confirmed |  | 0.0018 | 0.01
6 |  | Design, MANUFACTURE AND SUPPLY OF 7/3.66mm Earthwire |  | KMS | 0.89486 | 73121020 | Confirmed | 18 | Confirmed |  | 0.0018 | 0.01
7 |  | Supply of ACSR Moose Conductor |  | KMS | 5.3692 | 76141000 | Confirmed | 18 | Confirmed |  | 0.0018 | 0.01
8 |  | CLR Insulators
a) |  | Supply of 400KV 120KN Composite Long Rod Insulators (Length 3335 mm, Creepage - 13020 mm) |  | NOS. | 6 | 85462029 | Confirmed | 18 | Confirmed |  | 0.0018 | 0.01
b) |  | Supply of 400KV 160KN Composite Long Rod Insulators (Length 3910 mm, Creepage - 13020 mm) |  | NOS. | 49 | 85462029 | Confirmed | 18 | Confirmed |  | 0.0018 | 0.01
|  | TOTAL | [8 empty] | 0.0666 | 0
B |  | BUY-BACK
1 |  | Buy-Back price of the Old Isolator & Earth switch MoM boxes (420 kV or 245 kV) |  | Nos. | 176 | 85389000 | Confirmed | 18 | Confirmed |  | 0.0018 | 0.01
|  |  |  | GROUP-III TOTAL: | [6 empty] | #REF! | #REF!
|  | TOTAL (B) | [8 empty] | 0.0018 | 0
Note : *Specify amount of GST on the transaction between the Supplier and the Purchaser, separately in Schedule-4.
# In case the bidder leaves the cell for confirmation of the HSN code and/or GST rate “blank”, the HSN code and corresponding GST rate indicated by the Employer shall be deemed to be the one confirmed by the Bidder.
Date : | #REF! | [9 empty] | Printed Name :
Place : | #REF! | [9 empty] | Designation :
#REF!
Click for Sch-2

## Sch-1 Dis (hidden)
Specification No.: ODP/BB/C&M-3524/OT-20/RFx No. 5002003084/23-24 | [6 empty] | Schedule - 1
Supply & Services contract for Diversion/Modification of 400kV S/C Rengali-Indravati Transmission Line near Bhawanipatna for Construction of NH Bypass Road (Deposit Work on Behalf of NHAI).
(SCHEDULE OF RATES AND PRICES : EX-WORKS PRICES)
Bidder’s Name and Address |  |  |  |  | To:
#REF! |  |  |  |  | Contract Services
Name : | #REF! |  |  |  | Power Grid Corporation of India Ltd.,
Address : | #REF! |  |  |  | "Saudamini", Plot No.-2
| #REF! |  |  |  | Sector-29, (near IFFCO Chowk)
| #REF! |  |  |  | Gurgaon (Haryana) - 122001
Plant and Equipment (including Mandatory Spares Parts) to be supplied, including Type Test Charges for Tests to be conducted.
All values are in Indian Rupees.
SI. No. | Item Description | Type & Designation | Unit | Qty. | Unit Ex-works price | Total Ex-works price | Mode of Transaction (Direct / Bought-out)
1 | 2 | 3 | 4 | 5 | 6 | 7 = 5 x 6 | 8
#REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
| Total Ex-Works Price |  |  |  |  | 0 | Direct
| Total Ex-Works Price |  |  |  |  | 0 | Bought Out
| Total Ex-Works Price |  |  |  |  | 0
| Total Type Test charges as per Schedule-6 |  |  |  |  | #REF!
| Total Ex-works Price including Type Test charges |  |  |  |  | #REF!
Note : | Specify amount of Excise Duty, Sales Tax/VAT and other taxes payable on the transaction between the Contractor and the Employer and octroi/entry tax as applicable for destination site/state on all items of supply including bought-out finished items (to be identified in the Contract), which shall be dispatched directly from the sub-vendor’s works to the Employer’s site (sale-in-transit), separately in Schedule-5. Excise Duty, Sales tax and other levies for all the bought-out items are to be included in the EXW Price (Col. No. 5) only and not to be indicated in Schedule-5.
Date : | #REF! |  |  |  | Signature :
Place : | #REF! |  |  |  | Printed Name : | #REF!
[5 empty] | Designation : | #REF!
Common Seal :

## Sch-2
Specification No.: ODP/BB/C&M-3524/OT-20/RFx No. 5002003084/23-24 | [5 empty] | Schedule - 2
Supply & Services contract for Diversion/Modification of 400kV S/C Rengali-Indravati Transmission Line near Bhawanipatna for Construction of NH Bypass Road (Deposit Work on Behalf of NHAI).
(SCHEDULE OF RATES AND PRICES : Local Transportation, In-transit Insurance and loading)
Bidder’s Name and Address |  |  |  |  | To:
Bidder as |  |  |  |  | Sr. GENERAL MANAGER(C&M)
Name : |  |  |  |  | POWER GRID CORPORATION OF INDIA LIMITED,
Address : |  |  |  |  | ODISHA PROJECTS
PLOT NO.-4, UNIT-41, NILADRI VIHAR
CHANDRASHEKHARPUR, BHUBANESWAR-751021
All Prices are in Indian Rupees.
SI. No. | Item Description | Type & Designation | Unit | Qty. | Unit Freight, In –transit Insurance & loading Charges | Total Freight, In –transit Insurance & loading Charges
1 | 2 | 3 | 3 | 4 | 5 | 6 = 4 x 5 | #REF!
F&I Portion of Diversion/Modification of 400kV S/C Rengali-Indravati Transmission Line near Bhawanipatna for Construction of NH Bypass Road (Deposit Work on Behalf of NHAI).
1 | NORMAL TOWERS
1.1 | Fabrication, galvanising & supply of various types of towers & tower parts, tower/leg extensions (complete) excluding stubs and bolts & nuts but including hangers, D-Shackles, pack washers etc.
a) | HT Steel |  | MT | 28.0817 |  | Included
b) | MS Steel |  | MT | 45.0279 |  | Included
1.2 | Fabrication, galvanising & supply of stubs with cleats for various types of towers and tower extensions (complete) with pack washers excluding supply of bolts & nuts
a) | HT Steel |  | MT | 1.905 |  | Included
b) | MS Steel |  | MT | 0.1968 |  | Included
1.3 | Supply of Bolts & Nuts for towers and tower extensions including Step Bolts, Spring Washers etc.
a) | Hexagonal Bolts and Nuts including step bolts and spring washers for tower & tower extensions |  | MT | 2.5254 |  | Included
b) | Hexagonal Bolts and nuts including washers for Stubs |  | MT | 0.04146 |  | Included
2 | EARTHING OF TOWERS
2.1 | Supply of earthing of towers
a) | Pipe Type |  | NOS. | 4 |  | Included
b) | Rod Earthing |  | NOS. | 4 |  | Included
c) | Counter poise |  | NOS. | 1 |  | Included
d) | Shieldwire Earthing incl. PG Clamps, Downlead clamps but excl. Earthwire bits i.e. shield wire earthing (pipe type) shall be as additional for items i.e. earthing of towers (pipe type) |  | SET | 1 |  | Included
3 | TOWER ACCESSORIES
3.1 | Supply of following tower accessories
a) | Danger Plate |  | NOS. | 4 |  | Included
b) | Number Plate |  | NOS. | 4 |  | Included
c) | Phase Plate (Set of three) |  | Sets | 4 |  | Included
d) | Anti-Climbing Devices |  | NOS. | 4 |  | Included
4 | SUPPLY OF HARDWAR FITTINGS
4.1 | Hardware Fittings for 400kV AC with ACSR TWIN Moose Conductor
a) | Single "I" suspension fitting for PILOT string including Counter weight (Suitable for 1x23, 120 kN Composite Long Rod Insulators s) |  | Sets | 6 |  | Included
b) | Double Tension insulator fitting (Suitable for 2x23, 160 kN Composite Long Rod Insulators ) |  | Sets | 24 |  | Included
C) | Balancing Weight for Single I Suspension Pilot Insulator string of 50kg Each |  | EA | 24 |  | Included
4.2 | Conductor Accessories for ACSR TWIN Moose
a) | Mid span comp. joint for ACSR Moose conductor |  | NOS. | 3 |  | Included
b) | Repair sleeve for ACSR Moose conductor |  | NOS. | 5 |  | Included
c) | Vibration damper for ACSR Moose conductor |  | NOS. | 120 |  | Included
d) | Twin Bundle spacer cum damper for ACSR Moose conductor |  | NOS. | 45 |  | Included
e) | Twin Rigid Spacer for jumper for ACSR Moose conductor |  | NOS. | 36 |  | Included
4.3 | Earthwire Accessories for 7/3.66mm Earthwire
a) | Mid Span Compression Joint |  | NOS. | 1 |  | Included
b) | Flexible Cupper Bond |  | NOS. | 20 |  | Included
c) | Vibration damper |  | NOS. | 40 |  | Included
d) | Tension clamp |  | NOS. | 16 |  | Included
5 | OPGW & Accessories
a) | 24 Fibre (DWSM) OPGW fibre optic cable |  | KM | 0.89486 |  | Included
b) | Tension Passing through assembly |  | Nos | 1 |  | Included
c) | Splicing-24F OPGW |  | Nos | 2 |  | Included
d) | Secial fitting assembly at suspension tower(For joint box location) |  | Nos | 2 |  | Included
e) | Vibration Damper suitable for 24F OPGW |  | Nos | 16 |  | Included
f) | Down Lead Clamps for 24F OPGW |  | Nos | 74 |  | Included
g) | Joint Box for 24 Fibre OPGW |  | Nos | 2 |  | Included
6 | Design, MANUFACTURE AND SUPPLY OF 7/3.66mm Earthwire |  | KMS | 0.89486 |  | Included
7 | Supply of ACSR Moose Conductor |  | KMS | 5.3692 |  | Included
8 | CLR Insulators
a) | Supply of 400KV 120KN Composite Long Rod Insulators (Length 3335 mm, Creepage - 13020 mm) |  | NOS. | 6 |  | Included
b) | Supply of 400KV 160KN Composite Long Rod Insulators (Length 3910 mm, Creepage - 13020 mm) |  | NOS. | 49 |  | Included
| TOTAL |  |  |  |  | 0
Date : |  |  |  |  | Printed Name :
Place : |  |  |  |  | Designation :
Click for Sch-3

## Sch-2 Dis (hidden)
Specification No.: ODP/BB/C&M-3524/OT-20/RFx No. 5002003084/23-24 | [5 empty] | Schedule - 2
Supply & Services contract for Diversion/Modification of 400kV S/C Rengali-Indravati Transmission Line near Bhawanipatna for Construction of NH Bypass Road (Deposit Work on Behalf of NHAI).
(SCHEDULE OF RATES AND PRICES : FREIGHT & INSURANCE CHARGES)
Bidder’s Name and Address |  |  |  |  | To:
Bidder as |  |  |  |  | Contract Services
Name : |  |  |  |  | Power Grid Corporation of India Ltd.,
Address : |  |  |  |  | "Saudamini", Plot No.-2
Sector-29, (near IFFCO Chowk)
Gurgaon (Haryana) - 122001
All values are in Indian Rupees.
SI. No. | Item Description | Type & Designation | Unit | Qty. | Unit price | Total Ex-works price
1 | 2 | 3 | 4 | 5 | 6 | 7 = 5 x 6
#REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
0 | Total Freight & Insurance |  |  |  |  | #REF!
Date : |  |  |  |  | Signature :
Place : |  |  |  |  | Printed Name :
Designation :
Common Seal :

## Sch-3
Specification No.: ODP/BB/C&M-3524/OT-20/RFx No. 5002003084/23-24 | [10 empty] | Schedule - 3
Supply & Services contract for Diversion/Modification of 400kV S/C Rengali-Indravati Transmission Line near Bhawanipatna for Construction of NH Bypass Road (Deposit Work on Behalf of NHAI). | [11 empty] | As per Lum-sum
(SCHEDULE OF RATES AND PRICES :Supervision Charges) | [11 empty] | AS per Percent
As per lum-sum on Sch-3
Bidder’s Name and Address | [8 empty] | To: |  |  | As per Percent on Sch-3
Bidder as | [8 empty] | Sr. GENERAL MANAGER(C&M) |  |  | Multipackage lum-sum
Name : | [8 empty] | POWER GRID CORPORATION OF INDIA LIMITED, |  |  | Multipackage on Percent
Address : | [8 empty] | ODISHA PROJECTS |  |  | Total Discount
PLOT NO.-4, UNIT-41, NILADRI VIHAR
CHANDRASHEKHARPUR, BHUBANESWAR-751021
All Prices are in Indian Rupees.
SI. No. | Service Activity Number | Item Description | Unit | Qty. | SAC (Service Accounting Codes) | Whether SAC in column ‘4’ is confirmed. If not indicate applicable the SAC # | Rate of GST applicable ( in %) | Select from Drop-down menu. Whether rate of GST in column ‘6’ is confirmed. If not indicate applicable rate of GST # | Unit Supervision Charges | GST Amount | Total Supervision Charges |  | Unit Erection Charges | Total Erection Charges
1 | 2 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 |  | 5 | 6 = 4 x 5
SERVICES PORTION
1 |  | SURVEY
a) |  | Detailed survey including route alignment, profiling and tower spotting using modern survey techniques | KM. | 1.556 | 998344 | Confirmed | 18 | Confirmed |  | 0.0018 | 0.01
b) |  | Check Survey | KM. | 1.556 | 998344 | Confirmed | 18 | Confirmed |  | 0.0018 | 0.01
c) |  | Detailed soil investigation-All kinds of soils except fissured rock and hard rock | Loc | 4 | 998344 | Confirmed | 18 | Confirmed |  | 0.0018 | 0.01
2 |  | ERECTION OF VARIOUS TYPES OF TOWERS & TOWER PARTS,TOWER EXTENSIONS (COMPLETE) INCLUDING BOLTS & NUTS, HANGERS, D-SHACKLES, STEP BOLTS, PACK WASHERS ETC., INCLUDING TACK WELDING & SUPPLY & APPLICATION OF ZINC RICH PRIMER & TWO COATS OF ENAMEL PAINT
a) |  | 400 kV Single Circuit Towers | MT | 75.635 | 995455 | Confirmed | 18 | Confirmed |  | 0.0018 | 0.01
3 |  | BENCHING
a) |  | All kinds of soils except fissured rock,hard rock and sandy soil | CUM. | 120 | 995456 | Confirmed | 18 | Confirmed |  | 0.0018 | 0.01
4 |  | Work associated with tower foundations for various type of towers
4.1 |  | Excavation in various types of soils
a) |  | Normal soil | CU.M. | 122.482 | 995433 | Confirmed | 18 | Confirmed |  | 0.0018 | 0.01
b) |  | wet soil | CU.M. | 1102.338 | 995433 | Confirmed | 18 | Confirmed |  | 0.0018 | 0.01
4.2 |  | CONCRETING (INCLUDING ALL ASSOCIATED WORKS RELATED TO FOUNDATION NOT COVERED IN 4.1 & 4.3)
a) |  | Concreting (1:1.5:3) | CU.M. | 128.61 | 995454 | Confirmed | 18 | Confirmed |  | 0.0018 | 0.01
b) |  | Lean Concrete (1:3:6) | CU.M. | 18.064 | 995454 | Confirmed | 18 | Confirmed |  | 0.0018 | 0.01
4.3 |  | REINFORCEMENT STEEL
a) |  | Supply, transportation and placement of Reinforcement steel | MT | 12.302 | 995454 | Confirmed | 18 | Confirmed |  | 0.0018 | 0.01
4.4 |  | Installation of 400kv S/C Stub including bolts, nuts, washers etc. | MT | 2.1432 | 995455 | Confirmed | 18 | Confirmed |  | 0.0018 | 0.01
5 |  | Installation of earthing of towers
a) |  | Pipe Type | NOS. | 4 | 995468 | Confirmed | 18 | Confirmed |  | 0.0018 | 0.01
b) |  | Rod type | NOS. | 4 | 995468 | Confirmed | 18 | Confirmed |  | 0.0018 | 0.01
c) |  | Counterpoise Earthing | NOS. | 1 | 995468 | Confirmed | 18 | Confirmed |  | 0.0018 | 0.01
d) |  | Shieldwire Earthing incl. PG Clamps, Downlead clamps but excl. Earthwire bits i.e. shield wire earthing (pipe type) shall be as additional for items i.e. earthing of towers (pipe type) | SET | 1 | 995468 | Confirmed | 18 | Confirmed |  | 0.0018 | 0.01
6 |  | Installation of tower accessories
a) |  | Danger Plate | NOS. | 4 | 995444 | Confirmed | 18 | Confirmed |  | 0.0018 | 0.01
b) |  | Number Plate | NOS. | 4 | 995444 | Confirmed | 18 | Confirmed |  | 0.0018 | 0.01
c) |  | Phase Plate (Set of three) | Sets | 4 | 995444 | Confirmed | 18 | Confirmed |  | 0.0018 | 0.01
d) |  | Anti-Climbing Devices | NOS. | 4 | 995444 | Confirmed | 18 | Confirmed |  | 0.0018 | 0.01
7 |  | Installation of insulator strings complete with arcing horns & necessary hardware, installing and stringing of conductor including fixing of conductor accessories, installing & stringing of earth wire & OPGW including fixing of earth wire/OPGW accessories.
a) |  | 400KV S/C transmission line(Normal Terrain) | KM. | 1.556 | 995468 | Confirmed | 18 | Confirmed |  | 0.0018 | 0.01
8 |  | Installation of OPGW
a) |  | Installation of Joint Box for 24F OPGW. | Nos | 2 | 995468 | Confirmed | 18 | Confirmed |  | 0.0018 | 0.01
9 |  | Dismantling & Destringing
a) |  | Dismantling of existing towers ( 3 nos ) piece by piece in safe condition by removing the tack welding / punching etc. and handing over to POWERGRID STORE(as per BOM) as directed by Engineer in Charge including transportation,loading, unloading and stacking in store | MT | 28.3771 | 995468 | Confirmed | 18 | Confirmed |  | 0.0018 | 0.01
b) |  | Destringing of Conductor & earthwire/OPGW of 400KV S/C Twin moose line and handing over to POWERGRID store including transportation, loading and unloading | KMS | 1.545 | 995468 | Confirmed | 18 | Confirmed |  | 0.0018 | 0.01
10 |  | Stub Dismantling Work
a) |  | Demolishing R.C.C. work manually/ by mechanical means including stacking of steel bars and disposal of unserviceable material up to1.05 KM lead as per direction of Engineer - in- charge.The dismanting is for transmission line foundation (to retreive the Tower Stub which is a separate item) consisting of open cast foundation upto 3.0 mtr depth. The work is including necessary exacavation requried for breaking/dismantling of RCC and filling the area including the excavated portion and dismantled concrete portion with available/excavated or borrowed earth. | CU.M. | 17.91 | 995468 | Confirmed | 18 | Confirmed |  | 0.0018 | 0.01
b) |  | Dismantling of tower stub below ground level embedded in RCC of TL foundation upto 3.0 mtr below GL including all gusset plates, bolts, nuts, cutting rivets, welding etc. including dismembering and loading, unloading, stacking and carraige to POWERGRID office upto average 60 km | MT | 0.956 | 995468 | Confirmed | 18 | Confirmed |  | 0.0018 | 0.01
c) |  | Hire charges of Pump set of capacity 4000 litres/hour for discharge the ground water including diesel charges. (Per Location) | EACH | 3 | 995468 | Confirmed | 18 | Confirmed |  | 0.0018 | 0.01
[5 empty] | Grand Total |  |  |  |  | 0.0468 | 0 |  |  | #REF!
# In case the bidder leaves the cell for confirmation of the SAC code and/or GST rate “blank”, the SAC code and corresponding GST rate indicated by the Employer shall be deemed to be the one confirmed by the Bidder.
Date : | [9 empty] | Printed Name :
Place : | [9 empty] | Designation :
Click for Sch-4

## Sch-4
Specification No.: ODP/BB/C&M-3524/OT-20/RFx No. 5002003084/23-24 |  |  |  | Schedule - 4
Supply & Services contract for Diversion/Modification of 400kV S/C Rengali-Indravati Transmission Line near Bhawanipatna for Construction of NH Bypass Road (Deposit Work on Behalf of NHAI).
SUMMARY OF TAXES & DUTIES APPLICABLE ON GOODS
Bidder’s Name and Address |  |  | To:
Bidder as |  |  | Sr. GENERAL MANAGER(C&M)
Name : |  |  | POWER GRID CORPORATION OF INDIA LIMITED,
Address : |  |  | ODISHA PROJECTS
PLOT NO.-4, UNIT-41, NILADRI VIHAR
CHANDRASHEKHARPUR, BHUBANESWAR-751021
Sl. No. | Item Nos. |  | Total Price (INR) |  |  |  | After Discount
1 | TOTAL GST ON GOODS |  |  |  | 42.024 | Excise Duty | #REF!
| Total GST for Supply of Goods (inter-alia including Type Test Charges) between the Contractor and the Employer (identified in Schedule 1') which are not included in the Ex-works price as per the provision of the Bidding Documents, as applicable. |  | 0.0666 |  | 340
2 | TOTAL GST ON SERVICES |  |  |  | 6.18 | Sales Tax | 0
| Total GST for Supervision Charges, if, any between the Contractor and the Employer (identified in Schedule 3') which are not included in the Supervision Charges as per the provision of the Bidding Documents, as applicable. |  | 0.0468 |  | 1.1236
3 | TOTAL GST ON BUY-BACK
| Total GST for Buy-Back |  | 0.0018
3 | TOTAL VAT |  | #REF! |  |  | Vat | #REF!
Total VAT for direct transaction between the Contractor and the Purchaser (identified in Schedule 1 as 'Direct') which are not included in the Ex-works price as per the provision of the Bidding Documents, as applicable
| Amount on which VAT becomes applicable |  |  |  | 0
| Excise Duty on this Amount | #REF! |  |  | 0
| Rate of VAT |  |  |  | 0
4 | TOTAL OCTROI |  |  |  | 0
| Total Octroi as applicable for destination site/state on all items of supply, as per the provisions of the Bidding Documents, on all items of Schedule 1. |  | NOT APPLICABLE
To be paid by POWERGRID directly to Sales Tax Authority
5 | TOTAL ENTRY TAX
| Total Entry Tax as applicable for destination site/state on all items of supply, as per the provisions of the Bidding Documents, on all items of Schedule 1. |  | NOT APPLICABLE
To be paid by POWERGRID directly to Sales Tax Authority
6 | TOTAL OTHER TAXES & DUTIES
Total Others levies payable in India (please specify) as applicable for destination site/state on all items of supply, as per the provisions of the Bidding Documents, on all items of Schedule 1.
Click here for details of Other Taxes & Duties
| GRAND TOTAL [1+2] |  | 0.1134
Note : | The reimbursement of Excise Duty, Sales Tax/VAT and other levies as per Sl. No. 1, 2 & 3 above subject to provision of ITB Clause 11.4 shall be only against those items for which the Mode of Transaction indicated in Schedule - 1 is 'Direct'. In case of those items in the said Sechedule-1 against which the mode of transaction has been left blank, the same shall be deemed to be 'Bought-out' for the purpose of Evaluation and award of Contract and the price indicated in Schedule 1 against such items shall be deemed to be inclusive of all such taxes, duties and levies.
Date :
Place : |  |  | Printed Name :
Designation :
Click for Sch-5

## Sch-4 Dis (hidden)
Specification No.: ODP/BB/C&M-3524/OT-20/RFx No. 5002003084/23-24 |  |  |  | Schedule - 4
Supply & Services contract for Diversion/Modification of 400kV S/C Rengali-Indravati Transmission Line near Bhawanipatna for Construction of NH Bypass Road (Deposit Work on Behalf of NHAI).
SUMMARY OF TAXES & DUTIES APPLICABLE ON GOODS
Bidder’s Name and Address |  |  | To:
Bidder as |  |  | Contract Services
Name : |  |  | Power Grid Corporation of India Ltd.,
Address : |  |  | "Saudamini", Plot No.-2
Sector-29, (near IFFCO Chowk)
Gurgaon (Haryana) - 122001
Sl. No. | Item Nos. |  | Total Price (INR) |  |  | After Discount
1 | TOTAL EXCISE DUTY |  | #REF! |  | Excise Duty | #REF!
Total Excise Duty for direct transaction between the Contractor and the Employer (identified in Schedule 1 as 'Direct') which are not included in the Ex-works price as per the provision of the Bidding Documents, as applicable.
| Rate of Excise Duty for Direct items indicated in Sch-1 | #REF!
2 | TOTAL SALES TAX |  | #REF! |  | Sales Tax | #REF!
Total Sales Tax for direct transaction between the Contractor and the Employer (identified in Schedule 1 as 'Direct') which are not included in the Ex-works price as per the provision of the Bidding Documents, as applicable.
| Quantity on which Sales Tax is applicable | #REF!
#REF!
| Rate of Sales Tax | #REF!
3 | TOTAL VAT |  | #REF! |  | Vat | #REF!
Total VAT for direct transaction between the Contractor and the Employer (identified in Schedule 1 as 'Direct') which are not included in the Ex-works price as per the provision of the Bidding Documents, as applicable
| Amount on which VAT becomes applicable | #REF!
| Excise Duty on this Amount | #REF!
| Rate of VAT | 0%
4 | TOTAL OCTROI
| Total Octroi/Entry Tax as applicable for destination site/state on all items of supply, as per the provisions of the Bidding Documents, on all items of Schedule 1. |  | to be paid extra at actual
Click here for details of Octroi
5 | TOTAL ENTRY TAX
| Total Octroi/Entry Tax as applicable for destination site/state on all items of supply, as per the provisions of the Bidding Documents, on all items of Schedule 1. |  | to be paid extra at actual
Click here for details of Entry Taxes
6 | TOTAL OTHER TAXES & DUTIES
| Total Others levies payable in India (please specify) as applicable for destination site/state on all items of supply, as per the provisions of the Bidding Documents, on all items of Schedule 1. |  | to be paid extra at actual
Click here for details of Entry Taxes
| GRAND TOTAL [1+2+3+4+5+6] |  | #REF!
Note : | The reimbursement of Excise Duty, Sales Tax/VAT and other levies as per Sl. No. 1 & 2 above subject to provision of ITB Clause 11.4 shall be only against those items for which the Mode of Transaction indicated in Schedule - 1 is 'Direct'. In case of those items in the said Sechedule-1 against which the mode of transaction has been left blank, the same shall be deemed to be 'Bought-out' for the purpose of Evaluation and award of Contract and the price indicated in Schedule 1 against such items shall be deemed to be inclusive of all such taxes, duties and levies.
Date : |  |  | Signature :
Place : |  |  | Printed Name :
Designation :
Common Seal :
Click for Sch-5

## Sch-5
Specification No.: ODP/BB/C&M-3524/OT-20/RFx No. 5002003084/23-24 |  |  | Schedule - 5
Supply & Services contract for Diversion/Modification of 400kV S/C Rengali-Indravati Transmission Line near Bhawanipatna for Construction of NH Bypass Road (Deposit Work on Behalf of NHAI).
(GRAND SUMMARY)
Bidder’s Name and Address |  |  | To:
Bidder as |  |  | Sr. GENERAL MANAGER(C&M)
Name : |  |  | POWER GRID CORPORATION OF INDIA LIMITED,
Address : |  |  | ODISHA PROJECTS
PLOT NO.-4, UNIT-41, NILADRI VIHAR
CHANDRASHEKHARPUR, BHUBANESWAR-751021
Sl. No. | Description |  | Total Price (INR)
1 | TOTAL SCHEDULE NO. 1 |  | 0
Ex-works price of Plant and Equipment including Type Test Charges
2 | TOTAL SCHEDULE NO. 2 |  | 0
Local Transportation, In-transit Insurance, loading and unloading
3 | TOTAL SCHEDULE NO. 3 |  | 0
Service (Installation & commissioning) Charges
4 | TOTAL SCHEDULE NO. 4 |  | 0.1134
Taxes and Duties
5 | GRAND TOTAL [1+2+3+4] |  | 0.1134 | 0.089586
Date :
Place : |  | Printed Name :
Designation :
Click for Next attachment

## Sch-5 After Discount (hidden)
Specification No.: ODP/BB/C&M-3524/OT-20/RFx No. 5002003084/23-24 |  |  | Schedule - 5 After Discount
Supply & Services contract for Diversion/Modification of 400kV S/C Rengali-Indravati Transmission Line near Bhawanipatna for Construction of NH Bypass Road (Deposit Work on Behalf of NHAI).
(GRAND SUMMARY)
Bidder’s Name and Address |  |  | To:
Bidder as |  |  | DY.GENERAL MANAGER(C&M)
Name : |  |  | POWER GRID CORPORATION OF INDIA LIMITED,
Address : |  |  | ODISHA PROJECTS
PLOT NO.-4, UNIT-41, NILADRI VIHAR
CHANDRASHEKHARPUR, BHUBANESWAR-751021
Sl. No. | Description |  | Total Price (INR)
1 | TOTAL SCHEDULE NO. 1
| Ex-works price of Plant and Equipment including Type Test Charges |  | #REF!
2 | TOTAL SCHEDULE NO. 2
| Local Transportation, Insurance and other Incidental Services |  | #REF!
3 | TOTAL SCHEDULE NO. 3
| Installation Charges |  | #REF!
4 | TOTAL SCHEDULE NO. 4
| Taxes and Duties |  | #REF!
#REF!
5 | TOTAL SCHEDULE NO. 6
| Type Test Charges [Total of this Schedule is included in Schedule - 1 above.] |  | Not Applicable
| GRAND TOTAL [1+2+3+4] |  | #REF!
#REF!
Date :
Place : |  | Printed Name :
Designation :
Click for Sch-6

## Sch-6 Dis (hidden)
Specification No.: ODP/BB/C&M-3524/OT-20/RFx No. 5002003084/23-24 |  |  |  |  | Schedule - 6
Supply & Services contract for Diversion/Modification of 400kV S/C Rengali-Indravati Transmission Line near Bhawanipatna for Construction of NH Bypass Road (Deposit Work on Behalf of NHAI). | [5 empty] | As per Lum-sum |  | #DIV/0!
(SCHEDULE OF RATES AND PRICES : TYPE TEST CHARGES) | [5 empty] | AS per Percent |  | 0%
[6 empty] | As per lum-sum on Sch-7 |  | #DIV/0!
Bidder’s Name and Address |  |  |  | To: |  | As per Percent on Sch-7 |  | 0%
Bidder as |  |  |  | Contract Services |  | Multipackage lum-sum |  | #DIV/0!
Name : |  |  |  | Power Grid Corporation of India Ltd., |  | Multipackage on Percent |  | 0%
Address : |  |  |  | "Saudamini", Plot No.-2 |  | Total Discount |  | #DIV/0!
Sector-29, (near IFFCO Chowk)
Gurgaon (Haryana) - 122001
SL. NO. | Description of Test | Unit | No. of Tests | Unit Type Test Charges | Total Type Test Charges |  | Total Test Charges (Rs.)
1 | 2 | 3 | 4 | 5 | 6 = 4 x 5 |  | 3
#REF! | #REF! | #REF! | #REF!
#REF! | #REF! | #REF! | #REF! | #REF! | #REF! |  | #REF!
#REF! | #REF! | #REF! | #REF! | #REF! | #REF!
#REF! | #REF! | #REF! | #REF! | #REF! | #REF!
#REF! | #REF! | #REF! | #REF! | #REF! | #REF!
| Total Type Test charges: (A)+(B)+C) |  |  |  | #REF! |  | #REF!
[7 empty] | Discount Sche-7 | #REF!
Test Laboratory where the tests are proposed to be conducted [Indicate name and place of the test laboratory]
Date : | 0 |  |  | Signature :
Place : | 0 |  |  | Printed Name :
Designation :
Common Seal :
Click for Discount Letter

## Discount (hidden)
This letter of discount is optional. Bidder may / may not offer any discount.
Specification No.: ODP/BB/C&M-3524/OT-20/RFx No. 5002003084/23-24 |  |  |  |  | Letter of Discount
LETTER OF DISCOUNT
To:
DY.GENERAL MANAGER(C&M)
POWER GRID CORPORATION OF INDIA LIMITED,
ODISHA PROJECTS
PLOT NO.-4, UNIT-41, NILADRI VIHAR
CHANDRASHEKHARPUR, BHUBANESWAR-751021
Subject : |  | Supply & Services contract for Diversion/Modification of 400kV S/C Rengali-Indravati Transmission Line near Bhawanipatna for Construction of NH Bypass Road (Deposit Work on Behalf of NHAI).
Dear Sir
With reference to the subject tender, we hereby offer unconditional discount on the prices quoted by us as per details given here below : | [6 empty] | Eq Weightage of Rs/ % | Final Discount Factor
| 1 | Discount on lum-sum basis on total price quoted by us without Taxes & Duties. [The discount shall be proportionately applicable on all the items of all the Schdules i.e. Sch-1 (without type test charges), Sch-2 & Sch-6] In Rs. |  |  |  | #REF! | #REF!
| 2 | Discount on percent basis on total price quoted by us without Taxes & Duties. [The discount shall be proportionately applicable on all the items of all the Schdules i.e. Sch-1 (without type test charges), Sch-2 & Sch-6] In Percent (%) |  |  |  | #REF! | 0%
| 3 | Discount on lum-sum basis on the Schedules as given below : [The discount shall be proportionately applicable on all the relevent items of the respective Schdules.] In Rs.
|  | Schedule-1 : Ex works prices (Direct Only) |  | In Rs. |  | 0 | 0% | Schedule-1 : (Direct Only) | #REF!
|  | Schedule-1 : Ex works prices (Bought Out Only) |  | In Rs. |  | #REF! | #REF! | Schedule-1 : (Bought Out Only) | #REF!
|  | Schedule-2 : Freight & Insurance |  | In Rs. |  | 0 | 0% | Schedule-2 : Freight & Insurance | #REF!
|  | Schedule-3 : Erection Charges |  | In Rs. |  |  | 0% | Schedule-3 : Erection Charges
|  | Schedule-6 : Type Test Charges |  | In Rs. |  | #REF! | #REF! | Schedule-6 : Type Test Charges | #REF!
| 4 | Discount on percent basis on the Schedules as given below : [The discount shall be proportionately applicable on all the relevent items of the respective Schdules.] In Percent (%)
|  | Schedule-1 : Ex works prices (Direct Only) |  | In Percent (%) |  | 0 | 0%
|  | Schedule-1 : Ex works prices (Bought Out Only) |  | In Percent (%) |  | #REF! | 0%
|  | Schedule-2 : Freight & Insurance |  | In Percent (%) |  | 0 | 0%
|  | Schedule-3 : Erection Charges |  | In Percent (%) |  |  | 0%
|  | Schedule-6 : Type Test Charges |  | In Percent (%) |  | #REF! | 0%
| Discount(s) offered at sl. No. 1 to 4 will automatically get displayed and accounted for in the respective items of the Schedules. |  |  |  |  | #REF! | #REF!
| 5 | We hereby offer Multi-package discount as given below:
[6 empty] | #REF! | 0%
Please consider this letter of discount as the integral part of our price bid.
Thanking you, we remain,
Yours faithfully,
For and on behalf of
Date : |  | 0 | Printed Name :
Place : |  | 0 | Designation :
Click for Bid Form

## Octroi (hidden)
Details of Octroi
Sl No. | Description of Items | Amount on which Octroi is applicable | Rate of Octroi | Octroi
(1) | (2) | (3) | (4) | (5) =(3) x (4)
1 |  |  |  | 0
2 |  |  |  | 0
3 |  |  |  | 0
4 |  |  |  | 0
5 |  |  |  | 0
6 |  |  |  | 0
7 |  |  |  | 0
8 |  |  |  | 0
9 |  |  |  | 0
10 |  |  |  | 0
| Total |  |  | 0
Back to Sch 4

## Entry Tax (hidden)
Details of Entry Tax
Sl No. | Description of Items | Amount on which Entry Tax is applicable | Rate of Entry Tax | Entry Tax
(1) | (2) | (3) | (4) | (5) =(3) x (4)
1 |  |  |  | 0
2 |  |  |  | 0
3 |  |  |  | 0
4 |  |  |  | 0
5 |  |  |  | 0
6 |  |  |  | 0
7 |  |  |  | 0
8 |  |  |  | 0
9 |  |  |  | 0
10 |  |  |  | 0
| Total |  |  | 0
Back to Sch 4

## Other Taxes & Duties (hidden)
Details of Other Taxes & Duties
Sl No. | Description of Items | Amount on which Other Taxes & Duties are applicable | Description of Taxes & Duties | Rate of Taxes & Duties | Amount of Taxes & Duties
(1) | (2) | (3) | (4) | (5) | (6) =(3) x (4)
1 |  |  |  |  | 0
2 |  |  |  |  | 0
3 |  |  |  |  | 0
4 |  |  |  |  | 0
5 |  |  |  |  | 0
6 |  |  |  |  | 0
7 |  |  |  |  | 0
8 |  |  |  |  | 0
9 |  |  |  |  | 0
10 |  |  |  |  | 0
| Total |  |  |  | 0
Back to Sch 4

## Bid Form 2nd Envelope
Specification No.: ODP/BB/C&M-3524/OT-20/RFx No. 5002003084/23-24 |  |  |  |  | Bid Form 2nd Envelope |  | #REF! |  |  |  | 1 | st |  | 1 | January
[7 empty] | #REF! |  |  |  | 2 | nd |  | 2 | February
BID FORM (Second Envelope) | [10 empty] | 3 | rd |  | 3 | March
[11 empty] | 4 | th |  | 4 | April
Bid Proposal Ref. No. | [10 empty] | 5 | th |  | 5 | May
Date : | 0 | [9 empty] | 6 | th | 0 | 6 | June
[11 empty] | 7 | th | 1 | 7 | July
To: | [10 empty] | 8 | th | January | 8 | August
Sr. GENERAL MANAGER(C&M) | [10 empty] | 9 | th | 1900 | 9 | September
POWER GRID CORPORATION OF INDIA LIMITED, | [10 empty] | 10 | th |  | 10 | October
ODISHA PROJECTS | [10 empty] | 11 | th |  | 11 | November
PLOT NO.-4, UNIT-41, NILADRI VIHAR | [10 empty] | 12 | th |  | 12 | December
CHANDRASHEKHARPUR, BHUBANESWAR-751021 | [10 empty] | 13 | th
[11 empty] | 14 | th
Name of Contract : |  | Supply & Services contract for Diversion/Modification of 400kV S/C Rengali-Indravati Transmission Line near Bhawanipatna for Construction of NH Bypass Road (Deposit Work on Behalf of NHAI). | [8 empty] | 15 | th
Dear Ladies and/or Gentlemen, | [10 empty] | 16 | th
1 | In continuation of First Envelope of our Bid, we hereby submit the Second Envelope of the Bid, both of which shall be read together and in conjunction with each other, and shall be construed as an integral part of our Bid. Accordingly, we the undersigned, offer to supply goods as per provision of Technical Specification) under the above-named package in full conformity with the said Bidding Documents for the sum of Rs. 0 (Rs. Zero Only ) or such other sums as may be determined in accordance with the terms and conditions of the Bidding Documents. | [5 empty] | In continuation of First Envelope of our Bid, we hereby submit the Second Envelope of the Bid, both of which shall be read together and in conjunction with each other, and shall be construed as an integral part of our Bid. Accordingly, we the undersigned, offer to supply goods as per provision of Technical Specification) under the above-named package in full conformity with the said Bidding Documents for the sum of Rs. | or such other sums as may be determined in accordance with the terms and conditions of the Bidding Documents. | 0 | (Rs. Zero Only ) | 17 | th
| The above amounts are in accordance with the price schedules attached herewith and are made part of this bid. | [9 empty] | 18 | th
2 | Price Schedules | [9 empty] | 19 | th
2.1 | In line with the requirements of the Bidding documents, we enclose herewith the following Price Schedules, duly filled - in as per your proforma: | [9 empty] | 20 | th
| Schedule 1() |  | Goods to be supplied | [7 empty] | 21 | st
| Schedule 2() |  | Local Transportation, In-Transit Insurance and Loading. | [7 empty] | 22 | th
| Schedule 3() |  | Service (Installation & commissioning) Charges |  |  | #REF! |  |  |  |  | 23 | th
| Schedule 4() |  | Taxes and Duties not included in Schedule 1 to 3 | [7 empty] | 24 | th
| Schedule 5() |  | Grand Summary [Schedule 1 to 4] | [7 empty] | 25 | th
2.2 | We are aware that the Price Schedules do not generally give a full description of the Work to be performed under each item and we shall be deemed to have read the Technical Specifications and other sections of the Bidding Documents and Drawings to ascertain the full scope of Work included in each item while filling-in the rates and prices. We agree that the entered rates and prices shall be deemed to include for the full scope as aforesaid, including overheads and profit. | [9 empty] | 28 | th
2.3 | We declare that as specified in Clause 11.5, Section –II: ITB, Vol.-I of the Bidding Documents, prices quoted by us in the Price Schedules shall be subject to Price Adjustment during the execution of Contract in accordance with Appendix-2 (Price Adjustment) to the Contract Agreement. | [9 empty] | 29 | th
2.4 | We understand that in the price schedules, where there are errors between the total of the amounts given under the column for the price Breakdown and the amount given under the Total Price, the former shall prevail and the latter will be corrected accordingly. We further understand that where there are discrepancies between amounts stated in figures and amounts stated in words, the amount stated in words shall prevail. Similarly, any discrepancy in the total bid price and that of the summation of Schedule price (price indicated in a Schedule indicating the total of that schedule), the total bid price shall be corrected to reflect the actual summation of the Schedule prices. | [9 empty] | 30 | th
2.5 | We declare that items left blank in the Schedules will be deemed to have been included in other items. The TOTAL for each Schedule and the TOTAL of Grand Summary shall be deemed to be the total price for executing the Facilities and sections thereof in complete accordance with the Contract, whether or not each individual item has been priced. | [9 empty] | 31 | st
3 | We confirm that except as otherwise specifically provided our Bid Prices in this Second Envelope include all taxes, duties, levies and charges as may be assessed on us, our Sub-Contractor/Sub-Vendor or their employees by all municipal, state or national government authorities in connection with the Facilities, in and outside of India.
3.1 | 100% of applicable Taxes and Duties i.e GST, which are payable by the Purchaser under the Contract, shall be reimbursed by the Purchaser on production of satisfactory documentary evidence by the Supplier in accordance with the provisions of the Bidding Documents.
3.2 | We further understand that notwithstanding 3.0 above, in case of award on us, you shall also bear and pay/reimburse to us, GST applicable on supplies by us to you, imposed on the Goods including Type Test charges for Type test to be conducted specified in Schedule No. 1, of the Price Schedule in this Second Envelope ; by the Indian Laws.
3.3 | We confirm that we have also registered/we shall also get registered in the GST Network with a GSTIN , in all the states from which we shall make our supply of goods.
4 | # (For Joint Venture only) We, the partners of Joint Venture submitting this bid, do agree and confirm that in case of Award of Contract on the Joint Venture, we shall be jointly and severally liable and responsible for the execution of the Contract in accordance with Contract terms and conditions.
4 | We, hereby, declare that only the persons or firms interested in this proposal as principals are named here and that no other persons or firms other than those mentioned herein have any interest in this proposal or in the Contract to be entered into, if the award is made on us, that this proposal is made without any connection with any other person, firm or party likewise submitting a proposal is in all respects for and in good faith, without collusion or fraud.
Thanking you, we remain,
Yours faithfully,
For and on behalf of
Date : | 0 |  |  | Printed Name :
Place : | 0 |  |  | Designation :
Please provide additional information of the Bidder
Business Address :
Country of Incorporation :
State/Province to be indicated :
Name of Principal Officer :
Address of Principal Officer :
Back to Cover Page

## Q & C (hidden)
STATEMENT OF QUOTED / CORRECTED PRICES
All Figures are in Rupees
Bidder |  | 0
Sl. No. | Price Component | Quoted Price | Corrected Price
1 | TOTAL SCHEDULE NO. 1:Ex-Works Price of Plant and Equipment including Type Test Charges | 0 |  | 0
2 | TOTAL SCHEDULE NO.2: Local Transportation, Insurance and other Incidental Services. | 0 |  | 0
3 | TOTAL SCHEDULE NO.3: Installation Charges | 0 |  | 0
4 | TOTAL SCHEDULE NO.4: Training Charges | Not Applicable |  | Not Applicable
5 | TOTAL BID PRICE: (Excluding Taxes & Duties) | 0 |  | 0
6 | DISCOUNT | #REF! |  | #REF! |  | #REF!
7 | NET BID PRICE (Excluding Taxes & Duties) | #REF! |  | #REF!
8 | TAXES & DUTIES PAYABLE ADDITIONALLY
| A) EXCISE DUTY | #REF! |  | 0
| B) CENTRAL SALES TAX | #REF! |  | #REF!
| C) VAT | #REF! |  | #REF!
| D) ENTRY TAX / OCTROI | 0 |  | #REF!
E) OTHERS
| F) TOTAL TAXES & DUTIES | #REF! |  | #REF!
8 | TOTAL BID PRICE (INCLUDING TAXES & DUTIES) | #REF! |  | #REF!
9 | TOTAL SCHEDULE NO.7: Type Test Charges [Total of this Schedule is included in Schedule-1 above] | #REF! |  | #REF!
I) | Bidder has indicated the following taxes and duties additionally applicable for their bid:
| #REF! |  |  |  | 0.0666 | Excise Duty | #REF! | #REF! | #REF! | #REF!
| #REF! |  |  |  | 0.0468 | CST | #REF! | #REF! | #REF! | #REF!
| #REF! |  |  |  |  | VAT |  |  | #REF! | #REF!
| Entry Tax/ Octroi NOT APPLICABLE as |  |  |  | NOT APPLICABLE | Entry Tax/ Octroi
| Others as |  |  |  |  | Others
II) | With regard to Entry Tax, it may be mentioned that the substations covered under the subject pacakge falls in State of MP, where an entry tax @ 2% of Purchase Price is applicable. In view of the above, the taxes and duties inter-alia including entry tax applicable for the bids are calculated :
a) | Ex-Works Price of Direct Supplies (after discount, if any) |  | Rs. | 0
b) | Excise Duty, as applicable on (a) above at the rate : | 10.3% | Rs. | 0
c) | Amount on which Sales Tax is applicable | #REF! |  | #REF!
d) | CST, as applicable on (a) + ED (b) above at the rate : | 0% | Rs. | #REF!
e) | VAT, as applicable on (a) + ED (b) above at the rate : | 0% |  | #REF!
f) | Others [……………………………………………] |  | Rs.
g) | Purchase Price for Entry Tax (Total Ex-Works+F&I+ED+CST+Others) |  | Rs. | #REF!
h) | Entry Tax, as applicable on (e) above at the rate : |  | Rs. | #REF!
Supply & Services contract for Diversion/Modification of 400kV S/C Rengali-Indravati Transmission Line near Bhawanipatna for Construction of NH Bypass Road (Deposit Work on Behalf of NHAI). |  | Statement of Quoted / Corrected Prices |  | Page

## T & D (hidden)
[5 empty] | 6.66% | Excise Duty | #REF! | #REF! | #REF! | #REF!
Sl. No. | Clause Ref. No. | Description of Clause | Observation/ Comment of the Bidder | Remarks | 4.68% | CST | #REF! | #REF! | #REF! | #REF!
1 | Clause 10 Taxes and Duties, Section-IV, GCC | 10. Taxes and Duties |  |  |  | VAT |  |  | #REF! | #REF!
|  | 10.1 The Supplier shall be entirely responsible for payment of all taxes, duties, licence fees ………………………. | #REF! |  | NOT APPLICABLE | Entry Tax/ Octroi
|  | 10.2 The Supplier shall be solely responsible for the taxes that may be levied on the Supplier's persons ……………………….. | #REF! |  |  | Others
|  | 10.3 In respect of direct transaction between the Purchaser and the Supplier, the EXW price is inclusive………………………….. | #REF!
|  | 10.4 Octroi/entry tax as applicable for destination site/state on all items of supply including bought-out finished items, which shall be dispatched directly from the …………………………………… | Entry Tax/ Octroi NOT APPLICABLE as
|  | 10.5 Purchaser would not bear any liability on account of Service Tax. ………………. | Others as
10.6 Sales Tax/VAT on Works Contract, Turnover Tax or any other similar taxes under the …………………………………..
10.7 For the purpose of the Contract, it is agreed that the Contract Price specified in Article 2(Contract Price and Terms of Payment) of the Contract Agreement is based on the taxes, duties, levies and charges prevailing at the date seven (07) days prior to the last date of bid submission (hereinafter called “Tax” in this GCC Sub-clause 10.7). .……………........................................
In respect of raw materials, intermediary components etc and bought out items, neither the Purchaser nor the Supplier shall be entitled to any claim arising due to increase or decrease in the rate of Tax, ……………………………………………....
2 | Clause 29 Change in Laws and Regulations, Section-IV, GCC | 29.1 If, after the date seven (07) days prior to the date of Bid Opening, any law, regulation, ordinance, order or by-law having the force of law is enacted, promulgated, abrogated or changed in India (which shall be deemed to include any change in interpretation or application by the competent authorities) ……………………………………….

## N to W (hidden)
0
Rs. Zero Only
0
0
0
0
0
0
1 | One
2 | Two
3 | Three
4 | Four
5 | Five
6 | Six
7 | Seven
8 | Eight
9 | Nine
10 | Ten
11 | Eleven
12 | Twelve
13 | Thirteen
14 | Fourteen
15 | Fifteen
16 | Sixteen
17 | Seventeen
18 | Eighteen
19 | Nineteen
20 | Twenty
21 | Twenty One
22 | Twenty Two
23 | Twenty Three
24 | Twenty Four
25 | Twenty Five
26 | Twenty Six
27 | Twenty Seven
28 | Twenty Eight
29 | Twenty Nine
30 | Thirty
31 | Thirty One
32 | Thirty Two
33 | Thirty Three
34 | Thirty Four
35 | Thirty Fivr
36 | Thirty Six
37 | Thirty Seven
38 | Thirty Eight
39 | Thirty Nine
40 | Forty
41 | Forty One
42 | Forty Two
43 | Forty Three
44 | Forty Four
45 | Forty Five
46 | Forty Six
47 | Forty Seven
48 | Forty Eight
49 | Forty Nine
50 | Fifty
51 | Fifty One
52 | Fifty Two
53 | Fifty Three
54 | Fifty Four
55 | Fifty Five
56 | Fifty Six
57 | Fifty Seven
58 | Fifty Eight
59 | Fifty Nine
60 | Sixty
61 | Sixty One
62 | Sixty Two
63 | Sixty Three
64 | Sixty Four
65 | Sixty Five
66 | Sixty Six
67 | Sixty Seven
68 | Sixty Eight
69 | Sixty Nine
70 | Seventy
71 | Seventy One
72 | Seventy Two
73 | Seventy Three
74 | Seventy Four
75 | Seventy Five
76 | Seventy Six
77 | Seventy Seven
78 | Seventy Eight
79 | Seventy Nine
80 | Eighty
81 | Eighty One
82 | Eighty Two
83 | Eighty Three
84 | Eighty Four
85 | Eighty Five
86 | Eighty Six
87 | Eighty Seven
88 | Eighty Eight
89 | Eighty Nine
90 | Ninety
91 | Ninety One
92 | Ninety Two
93 | Ninety Three
94 | Ninety Four
95 | Ninety Five
96 | Ninety Six
97 | Ninety Seven
98 | Ninety Eight
99 | Ninety Nine
100 | One Hundred