| Sr.No. | Reference | Provision as per RFP Document | Clarification sought by Bidder | POWERGRID REPLY |
| --- | --- | --- | --- | --- |
|  | Section - I Instructions To Consultant; Point 12, Scope of Work | The scope of work covers rendering professional services for design, analysis and preparation of required documents for Master plan, Landscaping, bulk services, Residential and non-Residential Buildings…. | - It is requested to clarify on the size (tentative BUA) of the projects and their locations. For quoting unit prices these factors needs to be considered. - Generally, for obtaining unit rates, project slabs are defined in terms of BUA (e.g. less than 50,000 sq.ft; 50,001 to 100,000 sq.ft…etc.). The consultants can quote unit rates for each slab. Alternatively, slabs can be on project cost (less than 25 cr; more than 25 cr… etc.) The consultants can quote their fee in percentage of project cost for each slab. | - The size and location of the project will vary from time to time based on the requirement of POWERGRID. However, the rates finalized in the BOQ of the present contract will not change in future based on the volume of the work. - BPS mentioned in the bid document will prevail. |
|  | Section - I Instructions To Consultant; Point 13, Price | The consultants shall exercise due caution in quoting the rates of the different items detailed in Schedule I of Section VIII as the lowest rate(s) quoted by any of the consultant shall become the basis of finalizing the rate for that item of work. | While quoting unit prices integrated design efforts are also considered. This may please be deleted in order to get more competitive quotes. | BPS mentioned in the bid document will prevail. |
|  | Section - I Instructions To Consultant; Point 15, Procedure of Payment |  | It is requested to indicate payment terms against deliverables by the Consultant. | Refer Amendment- I |
|  | Section - I Instructions To Consultant; Point 18, Manpower Deployment | Consultant shall depute an executive to act as full-time overall coordinator and focal point for all interactions with POWERGRID throughout the period of consultancy assignment. | It is requested to specify tentative project duration. Also clarify if this full-time coordinator is required for coordinating with Power Grid offices in Gurgoan. | - Project duration will vary from project to project. - Full time coordinator is required for coordinating with the respective office (Anywhere in India) /regional engineering offices /corporate centre (Gurgaon) whom so ever assigned you the work based on the rates finalized through this contract. |
|  | Section - III Technical Specification For Architectural Works; | General | - Please clarify if topographic and engineering surveys are under Consultant’s scope and where these costs needs to be shown in financial proposal. - Please clarify if obtaining statutory approvals is under Consultant’s scope. - Please clarify on EIA surveys and related approvals, if applicable, the costs for the same will be paid separately. - It is presumed that full-time supervision services is not under Consultant’s scope. Please confirm. | - Topographic and engineering surveys are not envisaged now, if any required same shall be dealt separately. - Yes, obtaining statutory approvals is in the scope of consultant - Yes, EIA (Environmental Impact Assistance) surveys and related approvals if applicable the cost shall be dealt seperately. - Full time supervision services not under consultants scope. |
|  | Section - III Technical Specification For Architectural Works; Point 2.3.9 | For all items mentioned above the quantities shown in the detail drawings shall have an accuracy of 1% except for item (d). | Generally, at detailed design stage variation upto 5% is allowed. Requesting you to modify this requirement. | Bid document shall prevail |
|  | General |  | It is requested to allow for at least 20 days to submit the bid from the date of issue of pre-bid clarifications. | Bid document shall prevail |
|  | REQUEST FOR PROPOSAL Page 4 of 5 | All bids must be accompanied by a non-refundable fee of INR 2,000/- towards the cost of Bidding Documents and Proposal security of INR 9,000/-. | We request to kindly clarify when the Proposal Security shall be refunded to consultant | Bidders attention is drawn to Clause No. 11.0 of ITC which interalia states that “The Proposal securities of unsuccessful Bidders will be returned as promptly as possible, but not later than twenty-eight (28) days after the expiration of the Proposal validity period.”. |
|  | Section II GENERAL CONDITIONS OF CONTRACT | TERMS OF PAYMENT The payment terms would be as follows: - 100% payment shall be made within 30 days of completion and inspection and acceptance of job & receipt of the invoices. - No compensation, whatsoever, shall be made for the items/jobs rejected during inspection/ acceptance of the work executed. | We request Power grid to kindly clarify what will the payment terms under this project. There should be a % break up of fee on each deliverable. 100% fee on acceptance of job is not feasible | Refer Amendment- I |
|  | Section III TECHNICAL SPECIFICATION FOR ARCHITECTURAL WORKS | GENERAL The intent of the specification for empanelment of consultant for rate contact of architecture and associated Design covers rendering professional services for design, analysis and preparation of required documents for Master plan, Landscaping, bulk services, Residential and non-Residential Buildings, Miscellaneous services including colour perspectives, models and interior design | The detail given under this empanelment for likely project are not clear, we request to kindly clarify what type of projects are envisaged under this. Also provide details of - Location - Site Area, - Built up Area, etc | - The location, site area, Builtup area of the project will vary from time to time based on the requirement of POWERGRID. However, the rates finalized in the BOQ of the present contract will not change in future based on the volume of the work. |
|  | Section III TECHNICAL SPECIFICATION FOR ARCHITECTURAL WORKS | 3.0.0 DELIVERABLES iv) Six sets of “Released for construction” drawings. | We request that maximum 2 sets of drawings are good enough and consultant shall submit Soft copy in form of PDF too. | Bid document shall prevail |
|  | Section VIII SCHEDULE OF RATES AND PRICES | Sch-1 | Under schedule of rates there are various units mentioned such as ACR, M2, EA and various Sanction Codes mentioned we request to kindly provide full description and number of units on the basis of which a consultant need to quote. | - The full description of the units in the BPS are as under: ACR: acres M2: square meters EA: each - Since this is a rate contract, the price quoted shall be unit price (i.e. for one no. of unit) |
|  | SCOPE OF WORK | Surveys and Investigation | We assume that all data regarding Survey and investigation will be provided by Client to selected consultant. | Survey and investigations are not envisaged in the present scope of work, if any required same shall be dealt separately. |