| S. No. | Document Ref | Ref | Bidder Query | Clarification |
| --- | --- | --- | --- | --- |
| 1 | - | General Query | Kindly confirm whether site is under coastal area or not. Accordingly, we will consider RTV costing on porcelain bushing. | Coastal area is not applicable for this package |