## VTL lines
Sl.No. (1) | SAC (Service Accounting Codes) (2) | Whether SAC in column ‘(2)’ is confirmed. If not indicate applicable the SAC # (3) | Rate of GST applicable (in %) (4) | Whether rate of GST in column ‘(4)’ is confirmed. If not indicate applicable rate of GST # (5) | Description of work |  |  |  | Qty (6) | Unit Rate (7 ) | GST payable on the price quoted (%) (8) | Total Price per line item (excluding GST) (9)= (6)x(7) | GST payable on the price quoted (Amount) 9 x 8 = (10) | Total Price per line item (including GST) (11) = (9)+(10)
[6 empty] | Unit | Line length | Months
PART (A)- Maintenance of Transmission Lines
A |  |  |  |  | Routine Patrolling of Transmission lines as per Technical Specification
1 |  |  |  |  | 765 kV D/C Srikakulam-Vemagiri Line | KM | 333.38 | 36 | 36 |  |  | 0 | 0 | 0
2 |  |  |  |  | 400 kV D/C khammam-Nagarjunasagar | KM | 144.44 | 36 | 36 |  |  | 0 | 0 | 0
B |  |  |  |  | Emergency/ post fault patrolling of Transmission lines as per Technical Specification
1 |  |  |  |  | Tripping of 765kV (D/C) Line | Nos |  |  | 15 |  |  | 0 | 0 | 0
2 |  |  |  |  | Tripping of 400kV (D/C) Line | Nos |  |  | 15 |  |  | 0 | 0 | 0
C |  |  |  |  | Attending of defects of 765kV Transmission lines as per Technical Specification
I) |  |  |  |  | Attending of Non-Shutdown nature defects
1 |  |  |  |  | Foundation-back filling/Soil removal | Cu.M |  |  | 100 |  |  | 0 | 0 | 0
2 |  |  |  |  | Attending of crack of chimney | Cu.M |  |  | 50 |  |  | 0 | 0 | 0
3 |  |  |  |  | Attending of damage to revetment/retaining walls | Cu.M |  |  | 100 |  |  | 0 | 0 | 0
II) |  |  |  |  | Attending of Shutdown nature defects
1 |  |  |  |  | Decapping of insulator
a) |  |  |  |  | Suspension String | Nos |  |  | 15 |  |  | 0 | 0 | 0
b) |  |  |  |  | Tension String | Nos |  |  | 15 |  |  | 0 | 0 | 0
2 |  |  |  |  | Conductor Snapping | Nos |  |  | 5 |  |  | 0 | 0 | 0
3 |  |  |  |  | Ertthwire/OPGW snapping | Nos |  |  | 5 |  |  | 0 | 0 | 0
4 |  |  |  |  | Jumper Snapping/Melting | Nos |  |  | 5 |  |  | 0 | 0 | 0
5 |  |  |  |  | Attending of damage to conductor/phase | Nos |  |  | 15 |  |  | 0 | 0 | 0
6 |  |  |  |  | Attending of hotspots | Nos |  |  | 60 |  |  | 0 | 0 | 0
7 |  |  |  |  | Replacement of damaged corona rings/arcing horn | Nos |  |  | 45 |  |  | 0 | 0 | 0
8 |  |  |  |  | Rre-fixing of vibration dampers of conductor/Earth-wire | Nos |  |  | 75 |  |  | 0 | 0 | 0
D |  |  |  |  | Attending of defects of 400kV Transmission lines as per Technical Specification
I) |  |  |  |  | Attending of Non-Shutdown nature defects
1 |  |  |  |  | Foundation-back filling/Soil removal | Cu.M |  |  | 50 |  |  | 0 | 0 | 0
2 |  |  |  |  | Attending of crack of chimney | Cu.M |  |  | 25 |  |  | 0 | 0 | 0
3 |  |  |  |  | Attending of damage to revetment/retaining walls | Cu.M |  |  | 60 |  |  | 0 | 0 | 0
II) |  |  |  |  | Attending of Shutdown nature defects
1 |  |  |  |  | Decapping of insulator
a) |  |  |  |  | Suspension String | Nos |  |  | 15 |  |  | 0 | 0 | 0
b) |  |  |  |  | Tension String | Nos |  |  | 15 |  |  | 0 | 0 | 0
2 |  |  |  |  | Conductor Snapping | Nos |  |  | 5 |  |  | 0 | 0 | 0
3 |  |  |  |  | Ertthwire/OPGW snapping | Nos |  |  | 5 |  |  | 0 | 0 | 0
4 |  |  |  |  | Jumper Snapping/Melting | Nos |  |  | 5 |  |  | 0 | 0 | 0
5 |  |  |  |  | Attending of damage to conductor/phase | Nos |  |  | 15 |  |  | 0 | 0 | 0
6 |  |  |  |  | Attending of hotspots | Nos |  |  | 60 |  |  | 0 | 0 | 0
7 |  |  |  |  | Replacement of damaged corona rings/arcing horn | Nos |  |  | 45 |  |  | 0 | 0 | 0
8 |  |  |  |  | Rre-fixing of vibration dampers of conductor/Earth-wire | Nos |  |  | 75 |  |  | 0 | 0 | 0
E |  |  |  |  | Assistance in Major Breakdown works of Transmission lines as per Technical Specification
1 |  |  |  |  | Major Breakdown of 765kV D/c line | Nos |  |  | 5 |  |  | 0 | 0 | 0
2 |  |  |  |  | Major Breakdown of 400kV D/c line | Nos |  |  | 5 |  |  | 0 | 0 | 0
[7 empty] | Total Price to be Quoted in the GeM Portal by the Bidder | [6 empty] | 0 | .
Note | [13 empty] | 0