Amendment-I to the Bidding Documents for Construction of Closed store (25 MTR * 15 MTR) at HVDC Rihand Sub station; (Specification No.: 5002001258/OTHERS/DOM/K00 - NR3 RHQ -1).

| Sr.No | Clause reference. | Existing Provision | Amendment Provision |
| --- | --- | --- | --- |
| 1. | BOQ S.No. 2.AA as per SRM Portal | P& F Self supported Proflex Sheet- Sq M 1540 | P& F Self supported Proflex Sheet- Sq M 450 |
| 2. | BOQ S.No. 2.AB as per SRM Portal | P&F 24 Inch Dia AL Turbo Ventilator- EA 8250 | P&F 24 Inch Dia AL Turbo Ventilator- EA 4 |
| 3. | BOQ S.No. 2.AC as per SRM Portal | Supply of Hanger for Fixing Lamp & fans - EA 200 | Supply of Hanger for Fixing Lamp & fans - EA 10 |
| 4. | BOQ S.No. 2.AD as per SRM Portal | P&F 2 MM Polycarbonate sheet ventilation - EA 7150 | P&F 2 MM Polycarbonate sheet ventilation - EA 4 |
| 5. | Revised BOM is enclosed herewith for Reference. |  |  |