Clarification –I to Bidding Documents for Construction of Closed store (25 MTR * 15 MTR) at HVDC Rihand Sub station; (Specification No.: 5002001258/OTHERS/DOM/K00 - NR3 RHQ -1).

| Sl. No | Query | Reply |
| --- | --- | --- |
|  | Please confirm that whether the "curved area for self support roof" shall be considered for quantity calculation or area of shed shall be considered. | Curved area will be considered for quantity calculation. |
|  | Annexure-I for electrical NS-1 items is not available in tender documents. | Annexure-I is attached. |