| Sl. No. | Reference Clause | Bidder's Query | POWERGRID REPLY |
| --- | --- | --- | --- |
|  | Section Project, Clause no. 2-I i.) Provision of single point 3-Ph, 415V AC Power Source for necessary auxiliary power requirement of MGIS Bay is under present scope. | Provision and availability of Three Phase AC Supply shall be in the scope of PGCIL. Please confirm. | The provision of a single-point 3-Phase, 415V AC Power Source for necessary auxiliary power is within the contractor's scope. However, the source of power shall be provided by POWERGRID. |
|  | Section Project, Clause no. 2-I k.) As mentioned above six nos. of SF6/Air bushings will remain pre-mounted during transportation of MGIS bay, | It is not possible to accommodate 6 bushing within the given trailier while maintaining standard container. As standard container will occupy 12m trailer, projected bushings shall hamper Prime mover. So trailer length shall be non-standard with length more than 12m is envisaged. | Bidder to quote as per the provision in Technical Specification. |