## Basic
ENVELOPE-2: Price_Schedule Part (Bid Proposal Sheet).
:: COVER PAGE ::
Name of Package | AIS Bay extension works of (a) Extension of 400kV Bongaigaon (POWERGRID) S/s under NERES XXII, (b)Extension of 400kV Balipara (POWERGRID) S/s under NERES-XXVI , and (c)Extension of 400kV Biswanath Chariali (POWERGRID) S/s under NERES-29B.
NIT Ref. No.: | NESH/CSM/4904-01
Address of Purchaser/ Owner | General Manager (C&M)
Power Grid Corporation of India Limited.
Dongtieh, Lower Nongrah, Lapalang.
Shillong - 793006.
Phone/Fax -0364- 2536406; Mobile:8837372383
email: solankidas@powergrid.in ¦ s.k.saikia@powergrid.in

## Cover (hidden)
General guidelines for filling up the Attachments
: Attachments : | AIS Bay extension works of (a) Extension of 400kV Bongaigaon (POWERGRID) S/s under NERES XXII, (b)Extension of 400kV Balipara (POWERGRID) S/s under NERES-XXVI , and (c)Extension of 400kV Biswanath Chariali (POWERGRID) S/s under NERES-29B. |  | AIS Bay extension works of (a) Extension of 400kV Bongaigaon (POWERGRID) S/s under NERES XXII, (b)Extension of 400kV Balipara (POWERGRID) S/s under NERES-XXVI , and (c)Extension of 400kV Biswanath Chariali (POWERGRID) S/s under NERES-29B.
| 1 | Fill up only green shaded cells in the relevent attachments.
| 2 | Attachments 3(QR), Attach QR, 4, 4(A), 4(B), 5, 5(A), 6, 8, 9, 10, 11, 12, 13, 14, 15, 16, 17, 18, 19, 20,21 and Bid Form for 1st Envelope are included here.
| 3 | Attachment 1 Bid Security : To be submitted as per proforma provided in the bidding document.
| 4 | Attachment 2 Power of Attorney : No specific format is provided by POWERGRID. Bidder may use their own format.
| 5 | Attachment 8 Manufacturer’s Authorisation Form : Format for Manufacturer’s Authorisation Form is annexed Seperetely herewith this Volume
| 6 | Attachment 14 Integrity Pact : To be submitted as per the proforma Annexed separately herewith this volume.
| 7 | Attachment 18 Safety Pact : To be submitted as per ITB Clause 9.3(s) and as per the proforma Annexed separately herewith this volume.
| 8 | Attachment 19 Declaration of Key Managerial Person and Power of Attorney holder: Format is annexed Seperetely herewith this Volume
| 9 | Attachment 20 Affidavit of Self certification regarding Minimum Local Content in line with PPP-MII order and MoP Order December 2018: Format is annexed Seperetely herewith this Volume
| 10 | Attachment 21 Declaration regarding events encountered pursuant to ITB Clause 2.1: Format is annexed Seperetely herewith this Volume
| 11 | Attachment 22 Format for Affidavit of Self certification regarding Local Content in line with PPP-MII order and DoT order, if applicable, to be provided on a non-judicial stamp paper of Rs. 100/-.
| 12 | Attachment Format of ‘Authorization certificate issued by Domestic Manufacturer for selling Domestically Manufactured Iron & Steel Products’
| Note : | Enable the Active X Control & Macros. Also ensure to keep option of "Trust acess to VBA project object Model" cheched [√]. Ensure that you work on MS Excel 2007 or higher version.
पावर ग्रिड कारपोरेशन ऑफ इण्डिया लिमिटेड
(भारत सरकार का उद्यम)
Power Grid Corporation of India Limited
(A Government of India Enterprises)
Click for Detailed General Instructions
Click for Detailed General Instructions

## Instructions
AIS Bay extension works of (a) Extension of 400kV Bongaigaon (POWERGRID) S/s under NERES XXII, (b)Extension of 400kV Balipara (POWERGRID) S/s under NERES-XXVI , and (c)Extension of 400kV Biswanath Chariali (POWERGRID) S/s under NERES-29B. .
I | While filling up the worksheets following may please be observed :
| (i) | Fill up only green shaded cells.
| (ii) | Certain data type entries have been restricted, such as Numeric values or limits of numeric values.
| (iii) | Select only the options provided in pull down menus.
| (iv) | Do not link any cell of this work book with any other work book.
| (v) | Do not use copy & paste or cut & paste options for filling up the data.
| (vi) | Do not reformat any of the cell of the work book.
* * *
Happy Bidding !
Click to Proceed

## Names of Bidder
AIS Bay extension works of (a) Extension of 400kV Bongaigaon (POWERGRID) S/s under NERES XXII, (b)Extension of 400kV Balipara (POWERGRID) S/s under NERES-XXVI , and (c)Extension of 400kV Biswanath Chariali (POWERGRID) S/s under NERES-29B. .
| Specification No.:NESH/CSM/4904-01 | [9 empty] | Sole Bidder | 1
[11 empty] | JV (Joint Venture) | 2 or More
Enter following details of the bidder
FALSE
| Specify type of Bidder [Select from drop down menu] |  | Sole Bidder |  |  | 1 | Sole Bidder | 1 | 2 |  | 0
|  |  | 1 |  |  |  | JV (Joint Venture) | 2 or More
Micro and Small Enterprise (MSE)
| Name of Sole Bidder |  | Name
| Address of Sole Bidder | Principal place of business | Add1
Add2
[6 empty] | FALSE |  |  |  | .
| Name of other Partner |  | 1
Address of other Partner
Name of other Partner - 2 (more, if any)
Name of other Partner - 2
Address of other Partner - 2
Name of other Partner - 2 (more, if any)
Address of other Partner - 2 (more, if any)
| MSE Bidder ? |  |  |  |  | TRUE
| Enter the name of Registration Authority. |  | Udyam Registered Bidder
| Whether Medium/Small/Micro |  | Micro
Udyam Registeration No.:
Type of Enterprise
Major Activity
Social Category of Enterpreneur
| Gender |  | Male
Contact Person
Email-ID_1
Email-ID_2
Mobile No.
| Printed Name |  | Printed Name
| Designation |  | Desig
| Date : |  | 11 | Jan | 2025 |  | 31
| Place : |  | Place
11 Jan 2025
YES
Click for Bid Form 2nd Envelope

## Bid Form 2nd Envelope
NESH/CSM/4904-01 |  |  |  |  | Bid Form 2nd Envelope |  | Sole Bidder |  |  |  | 1 | st |  | 1 | January
[7 empty] | 0 |  |  |  | 2 | nd |  | 2 | February
BID FORM (Second Envelope) | [10 empty] | 3 | rd |  | 3 | March
[11 empty] | 4 | th |  | 4 | April
Bid Proposal Ref. No. | [10 empty] | 5 | th |  | 5 | May
Date : | 11/Jan/2025 | [9 empty] | 6 | th | 11 | 6 | June
[11 empty] | 7 | th | 1 | 7 | July
To: | [10 empty] | 8 | th | January | 8 | August
General Manager (C&M) | [10 empty] | 9 | th | 2025 | 9 | September
Power Grid Corporation of India Limited | [10 empty] | 10 | th |  | 10 | October
North Eastern Region | [10 empty] | 11 | th |  | 11 | November
Dongtieh, Lower Nongrah, Lapalang | [10 empty] | 12 | th |  | 12 | December
Shillong – 793 006 (Meghalaya). | [10 empty] | 13 | th
[11 empty] | 14 | th
Name of Contract : |  | AIS Bay extension works of (a) Extension of 400kV Bongaigaon (POWERGRID) S/s under NERES XXII, (b)Extension of 400kV Balipara (POWERGRID) S/s under NERES-XXVI , and (c)Extension of 400kV Biswanath Chariali (POWERGRID) S/s under NERES-29B. | [8 empty] | 15 | th
Dear Ladies and/or Gentlemen, | [10 empty] | 16 | th
1 | In continuation of Techno-commercial Bid,we hereby submit the Second Envelope of the Bid,both of which shall be read together and in conjunction with each other,and shall be construed as an integral part of our Bid. Accordingly,we the undersigned,submit our offer for AIS Bay extension works of (a) Extension of 400kV Bongaigaon (POWERGRID) S/s under NERES XXII, (b)Extension of 400kV Balipara (POWERGRID) S/s under NERES-XXVI , and (c)Extension of 400kV Biswanath Chariali (POWERGRID) S/s under NERES-29B. under the above-named package in full conformity with the said Bidding Documents for the sum of (Specify the currency and the amount in figures and words) …………. or such other sums as may be determined in accordance with the terms and conditions of the Bidding Documents. | [5 empty] | In continuation of First Envelope of our Bid, we hereby submit the Second Envelope of the Bid, both of which shall be read together and in conjunction with each other, and shall be construed as an integral part of our Bid. Accordingly, we the undersigned, offer to design, manufacture, test, deliver, install and commission (including carrying out Trial Operation, Performance & Guarantee Test as per provision of Technical Specification) under the above-named package in full conformity with the said Bidding Documents for the sum of Rs. | or such other sums as may be determined in accordance with the terms and conditions of the Bidding Documents. | #REF! | #REF! | 17 | th
| The above amounts are in accordance with the price schedules attached herewith and are made part of this bid. | [9 empty] | 18 | th
2 | Price Schedules | [9 empty] | 19 | th
2.1 | In line with the requirements of the Bidding documents, we enclose herewith the following Price Schedules, duly filled - in as per your proforma: | [9 empty] | 20 | th
| Schedule 1 |  | Plant and Equipment (Including Mandatory Spare Parts) to be supplied, including Type Test Charges. | [7 empty] | 21 | st
| Schedule 2 |  | Local Transportation, In-transit Insurance, loading and unloading | [7 empty] | 22 | th
| Schedule IA |  | Supply portion |  |  | Sole Bidder |  |  |  |  | 23 | th
| Schedule IB |  | Freight & Insurance
| Schedule 4 |  | Training charges for training to be imparted [NOT APPLICABLE] | [7 empty] | 24 | th
| Schedule IC |  | Erection Portion | [7 empty] | 25 | th
| Schedule 7 |  | Break-up of Type Test Charges for Type Tests to be conducted [NOT APPLICABLE] | [7 empty] | 27 | th
2.2 | We are aware that the Price Schedules do not generally give a full description of the Work to be performed under each item and we shall be deemed to have read the Technical Specifications and other sections of the Bidding Documents and Drawings to ascertain the full scope of Work included in each item while filling-in the rates and prices. We agree that the entered rates and prices shall be deemed to include for the full scope as aforesaid, including overheads and profit. | [9 empty] | 28 | th
2.3 | We declare that as specified in Clause 7.0.0, SCC, Vol.-I of the Bidding Documents, prices quoted by us in the Price Schedules shall be subject to Price Adjustment during the execution of Contract in accordance with Appendix-2 (Price Adjustment) to the Contract Agreement. | [9 empty] | 29 | th
2.4 | We understand that in the price schedules, where there are errors between the total of the amounts given under the column for the price Breakdown and the amount given under the Total Price, the former shall prevail and the latter will be corrected accordingly. We further understand that where there are discrepancies between amounts stated in figures and amounts stated in words, the amount stated in words shall prevail. Similarly, any discrepancy in the total bid price and that of the summation of Schedule price (price indicated in a Schedule indicating the total of that schedule), the total bid price shall be corrected to reflect the actual summation of the Schedule prices. | [9 empty] | 30 | th
2.5 | We declare that items left blank in the Schedules will be deemed to have been included in other items. The TOTAL for each Schedule and the TOTAL of Grand Summary shall be deemed to be the total price for executing the Facilities and sections thereof in complete accordance with the Contract, whether or not each individual item has been priced. | [9 empty] | 31 | st
3 | We confirm that except as otherwise specifically provided our Bid Prices in this Second Envelope include all taxes, duties, levies and charges as may be assessed on us/our Associate (applicable for Foreign Bidder), our Sub-Contractor/Sub-Vendor or their employees by all municipal, state or national government authorities in connection with the Facilities, in and outside of India.
3.1 | 100% of applicable Taxes and Duties i.e GST, which are payable by the Employer under the Contract, shall be reimbursed by the Employer on production of satisfactory documentary evidence by the Contractor in accordance with the provisions of the Bidding Documents.
3.2 | We further understand that notwithstanding 3.0 above, in case of award on us, you shall also bear and pay/reimburse to us, GST applicable on supplies by us to you, imposed on the Plant & Equipment including Mandatory Spare Parts to be incorporated into the Facilities including Type Test charges for Type test to be conducted specified in Schedule No. 1, Installation Services specified in Schedule No. 3 and Charges for Training to be imparted specified in Schedule No. 4 of the Price Schedule in this Second Envelope; by the Indian Laws.
3.3 | We confirm that we have also registered/we shall also get registered in the GST Network with a GSTIN, in all the states where the project is located and the states from which we shall make our supply of goods.
4 | # (For Joint Venture only) We, the partners of Joint Venture submitting this bid, do agree and confirm that in case of Award of Contract on the Joint Venture, we shall be jointly and severally liable and responsible for the execution of the Contract in accordance with Contract terms and conditions. |  |  |  |  | #REF!
5 | We, hereby, declare that only the persons or firms interested in this proposal as principals are named here and that no other persons or firms other than those mentioned herein have any interest in this proposal or in the Contract to be entered into, if the award is made on us, that this proposal is made without any connection with any other person, firm or party likewise submitting a proposal is in all respects for and in good faith, without collusion or fraud.
Dated this 11th day of January 2025
Thanking you, we remain,
Yours faithfully,
|  |  |  | For and on behalf of | Name
Signature :
Date : | 11/Jan/2025 |  |  | Printed Name :
Place : | Place |  |  | Designation :
Common Seal :
Please provide additional information of the Bidder
Business Address :
Country of Incorporation :
State/Province to be indicated :
Name of Principal Officer :
Address of Principal Officer :
Note: Bidders may note that no prescribed proforma has been enclosed for Attachment 2 : Power of Attorney. Bidders may use their own proforma for furnishing the required information with the bid.
* * *
Back to Cover Page

## Sch-IA
NESH/CSM/4904-01 | [11 empty] | Schedule-IA to BPS (Vol-IC) | Schedule - 1 |  |  |  |  | Direct Total | #REF! | #REF! | `
[18 empty] | BO Total | #REF! | #REF!
Name of Package:AIS Bay extension works of (a) Extension of 400kV Bongaigaon (POWERGRID) S/s under NERES XXII, (b)Extension of 400kV Balipara (POWERGRID) S/s under NERES-XXVI , and (c)Extension of 400kV Biswanath Chariali (POWERGRID) S/s under NERES-29B.
(SCHEDULE OF RATES AND PRICES)
Bidder’s Name and Address:( Sole Bidder) | [8 empty] | To,
General Manager (C&M)
Name : | Name | [8 empty] | Power Grid Corporation of India Limited | [9 empty] | #REF!
Address : | Add1 | [8 empty] | North Eastern Region
| Add2 | [8 empty] | Dongtieh, Lower Nongrah, Lapalang
Shillong – 793 006 (Meghalaya).
SUPPLY PORTION | [18 empty] | Direct
[11 empty] | All Prices are in Indian Rupees. |  | All Prices are in Indian Rupees. | [5 empty] | Bought-Out
SI. No. | HSN/SAC Code | Whether SAC in column ‘B’ is confirmed. If not, indicate applicable "SAC code # | Rate of GST applicable ( in %) | Whether rate of GST in column ‘D is confirmed. If not indicate applicable rate of GST# (in %) | Activity Description | Equipment Head | Element Name | Equipment Description | Unit | Qty. | Unit Ex-works price (exclusive of GST) | Total Ex-works price | Mode of Transaction (Direct or Bought out)^ | GST, Tax as confirmed by Bidder | Total Value | Applicable GST Rate | GST on item
1 | 2 | 5B | 5C | 5D |  |  |  | 6 | 7 | 8 | 9 | 10 = (8X9) | 11 | 11
North Eastern Region Expansion Scheme– 29, Part–B (NERES–29, Part–B) [TR-202454]: 800kV BNC S/S
1 | 85352913 |  | 18% |  | 400kV AIS Equipments | cables | R.C Nagar-1 | 420kV, 3150A, 63kA Circuit Breaker (3-Phase) without closing resistor and with Support Structure | EA | 1 |  | Included
2 | 85352913 |  | 18% |  | 400kV AIS Equipments | cables | R.C Nagar-1 | 420kV, 3150A, 63KA Circuit Breaker (3-Phase) with closing resistor with support structure | EA | 1 |  | Included
3 | 85359090 |  | 18% |  | 400kV AIS Equipments | cables | R.C Nagar-1 | 420 kV, 3000A, 63KA, 1-Phase CurrentTransformer with 120% extended current rating | EA | 6 |  | Included
4 | 85353090 |  | 18% |  | 400kV AIS Equipments | cables | R.C Nagar-1 | 420kV, 3150A, 63KA, Isolator (3-phase)(Double Break) with one E/S | EA | 6 |  | Included
5 | 85354010 |  | 18% |  | 400kV AIS Equipments | cables | R.C Nagar-1 | 336kV Surge Arrester (1-phase) | EA | 3 |  | Included
6 | 85462040 |  | 18% |  | 400kV AIS Equipments | cables | R.C Nagar-1 | 420 kV, 1 phase Bus Post Insulator (except for Line Traps) | EA | 8 |  | Included
7 | 85389000 |  | 18% |  | CRP | cables | R.C Nagar-2 | Controlled switching device for 420 kV, 3 phase circuit breaker | SET | 2 |  | Included
8 | 85371000 |  | 18% |  | CRP | cables | R.C Nagar-2 | 400kV Circuit Breaker Relay Panel with Auto Reclose (with Automation) | EA | 2 |  | Included
9 | 85371000 |  | 18% |  | CRP | cables | R.C Nagar-2 | 400kV Reactor Protection Panel (with Automation) | EA | 1 |  | Included
10 | 85371000 |  | 18% |  | CRP | cables | R.C Nagar-2 | Augmentation of existing 400kV bus bar protection scheme.(No. of bays as per specification)-(with Automation) incl supply of patch cord and FO cable | SET | 2 |  | Included
11 | 85371000 |  | 18% |  | SAS | cables | R.C Nagar-2 | Augmentation of Substation automation System for 400kV Tie bay as perTechnical Specification | EA | 1 |  | Included
12 | 85371000 |  | 18% |  | SAS | cables | R.C Nagar-2 | Augmentation of Substation automation System for 400kV Main bay as perTechnical Specification | EA | 1 |  | Included
13 | 85371000 |  | 18% |  | DCDB | cables | R.C Nagar-1 | DCDB extension | LS | 1 |  | Included
14 | 94054010 |  | 18% |  | Illumination System | cables | R.C Nagar-1 | Illumination System for switchyard panel room of 6 m length | LS | 1 |  | Included
15 | 94059900 |  | 18% |  | Illumination System | cables | R.C Nagar-2 | TYPE L1 STREET LIGHTING POLE OF 6 METER AS PER TECHNICALSPECIFICATION. | EA | 25 |  | Included
16 | 94051090 |  | 18% |  | Illumination System | cables | R.C Nagar-2 | LED STREET LIGHT LUMINAIRE TYPE SL-L1 (= 45W)AS PER TECHNICALSPECIFICATION | EA | 25 |  | Included
17 | 94051090 |  | 18% |  | Illumination System | CRP | R.C Nagar-1 | LED FLOOD LIGHT LUMINARIESTYPE FL-1 (150W) AS PER TECHNICALSPECIFICATION | EA | 20 |  | Included
18 | 94059900 |  | 18% |  | Illumination System | CRP | R.C Nagar-1 | LIGHTING FIXTURE LED LUMINAIRES TYPE FL2 AS PER TECH. SPECIFICATIONS | EA | 20 |  | Included
19 | 94059900 |  | 18% |  | Illumination System |  |  | Outdoor Power Receptacle for oilfiltration unit (250A) | EA | 1 |  | Included
20 | 94059900 |  | 18% |  | Illumination System |  |  | 63A, 415V : Interlocked switch socket outdoor Receptacle (type RP) asper technical specifications | EA | 1 |  | Included
21 | 85371000 |  | 18% |  | Illumination System |  |  | Lighting Panel type ACP-2 as per technical specification | EA | 2 |  | Included
22 | 94059900 |  | 18% |  | Illumination System |  |  | Lighting Panel type ACP-3 as per technical specification | EA | 2 |  | Included
23 | 85311020 |  | 18% |  | Firefighting System |  |  | Fire Detection and Alarm System for Switchyard Panel Room of 6 mlength | SET | 1 |  | Included
24 | 84248990 |  | 18% |  | Firefighting System |  |  | HVW SPRAY SYSTEM, HYDRANT SYSTEM AND COMPLETE U/G & O/G PIPING ANDACCESSORIES ETC. OUT SIDE THE PUMP HOUSE FOR 420KV 3 PHASE BUSREACTOR | SET | 1 |  | Included
25 | 84241000 |  | 18% |  | Firefighting System |  |  | 4.5 kg CO2 type Portable Fire extinguisher | EA | 1 |  | Included
26 | 84241000 |  | 18% |  | Firefighting System |  |  | 6Kg dry chemical powered type Portable Fire extinguisher | EA | 1 |  | Included
27 | 84151090 |  | 18% |  | Air Conditioning |  |  | Air conditioning system for Switchyard Panel Room of 6m length | SET | 2 |  | Included
28 | 72159090 |  | 18% |  | Main Earthmat |  |  | 40 MM MS ROD FOR MAIN EARTHMAT | KM | 3 |  | Included
29 | 72169990 |  | 18% |  | Erection Hardware |  |  | Erection Hardware for 400kV D type layout-Bus Reactor bay as pertechnical specification | SET | 1 |  | Included
30 | 72169990 |  | 18% |  | Erection Hardware |  |  | Erection Hardware for 400kV D type layout-Spare bay of half dia. asper technical specification | SET | 1 |  | Included
31 | 85287390 |  | 18% |  | VMS |  |  | COLOR IP CAMERA, WITH PAN, TILT AND ZOOM FACILITIES, ALONGWITH ALLREQUIRED ITEMS, ACCESSORIES, LINE INTERFACE UNITS, FIBER PATCH CORDS,POWER SUPPLY UNITS, JUNCTION BOXES, CABLES, FIBER OPTIC CABLES, ETC.,AND INCLUDING INTEGRATION IN EXISTING HARDWARE AND SOFTWARE FORAUGMENTATION OF VISUAL MONITORING SYSTEM AS PER TECHNICALSPECIFICATION. | SET | 1 |  | Included
32 | 73082011 |  | 18% |  | Supply of Non-Standard structure |  |  | Fabrication, galvanising and supply of Lattice Structures (MS Steel),to be designed during detailed engineering, for towers, beams andequipment support structure including pack plates / packwashers andgusset plates excluding fasteners and foundation bolts | MT | 40 |  | Included
33 | 73082011 |  | 18% |  | Supply of Non-Standard structure |  |  | Fabrication, galvanising and supply of fasteners ( nuts, bolts andwashers ) including step bolts for lattice and pipe structures to bedesigned during detailed engineering | MT | 2 |  | Included
34 | 73082011 |  | 18% |  | Supply of Non-Standard structure |  |  | Fabrication, galvanising and supply of foundation bolts including nuts,checknut and washers for lattice and pipe structures to be designedduring detailed engineering | MT | 3 |  | Included
35 | 85352913 |  | 18% |  | Mandatory Spares - Breakup |  |  | One Pole of 420kV, 3150A, 63kA SF6circuit breaker including gradingcapacitor (if applicable),pole column,interrupter,operating mechanism andMarshalling Box but without supportstructure | EA | 2 |  | Included
36 | 85389000 |  | 18% |  | Mandatory Spares - Breakup |  |  | Rubber gasket, O rings and seals for SF6 gas (complete replacement forone 420kV SF6 Circuit Breaker) | SET | 2 |  | Included
37 | 85389000 |  | 18% |  | Mandatory Spares - Breakup |  |  | Trip coil with resistor for 420kV SF6 Circuit Breaker | SET | 4 |  | Included
38 | 85389000 |  | 18% |  | Mandatory Spares - Breakup |  |  | Closing coil with resistor for 420kV SF6 Circuit Breaker | EA | 2 |  | Included
39 | 85389000 |  | 18% |  | Mandatory Spares - Breakup |  |  | Terminal pad for 420kV SF6 Circuit Breaker | EA | 4 |  | Included
40 | 85389000 |  | 18% |  | Mandatory Spares - Breakup |  |  | Molecular filter for 420kV SF6 Circuit Breaker | EA | 4 |  | Included
41 | 85389000 |  | 18% |  | Mandatory Spares - Breakup |  |  | Corona rings (1 No of each type) for 420 kV Circuit Breaker | SET | 2 |  | Included
42 | 85389000 |  | 18% |  | Mandatory Spares - Breakup |  |  | Relays, Power contactors, SFU, limit switches, push buttons, timers &MCB etc. (1 No of each type) for 420kV Circuit Breaker | SET | 2 |  | Included
43 | 85389000 |  | 18% |  | Mandatory Spares - Breakup |  |  | Pressure switches (1 No. of each type) for 420kV SF6 Circuit Breaker | SET | 2 |  | Included
44 | 85389000 |  | 18% |  | Mandatory Spares - Breakup |  |  | Aux. Switch/contact assembly for 420kV SF6 Circuit Breaker | SET | 2 |  | Included
45 | 85389000 |  | 18% |  | Mandatory Spares - Breakup |  |  | Operation counter for Circuit Breaker | EA | 2 |  | Included
46 | 85353090 |  | 18% |  | Mandatory Spares - Breakup |  |  | One Complete Pole of Double BreakIsolator including support Insulatorwith 1 E/s (excluding structure) withMotor Operating Mechanism for 420kV,3150A, 63kA main Isolator and E/S | EA | 1 |  | Included
47 | 85389000 |  | 18% |  | Mandatory Spares - Breakup |  |  | COPPER CONTACT FINGERS FOR FEMALE & MALE CONTACTS OF 420KV DOUBLE BREAK ISOLATOR | SET | 2 |  | Included
48 | 85389000 |  | 18% |  | Mandatory Spares - Breakup |  |  | Open / Close contactor assembly, timers, key interlock push buttonswitch & auxiliary switches for 420kV Isolator | SET | 1 |  | Included
49 | 85389000 |  | 18% |  | Mandatory Spares - Breakup |  |  | Limit switch for 420kV Isolator | SET | 2 |  | Included
50 | 85389000 |  | 18% |  | Mandatory Spares - Breakup |  |  | Terminal pads & connectors for 420kV Isolator | EA | 3 |  | Included
51 | 85389000 |  | 18% |  | Mandatory Spares - Breakup |  |  | Corona shield rings for 420kV DB Isolator for 1-pole | SET | 3 |  | Included
52 | 85354010 |  | 18% |  | Mandatory Spares - Breakup |  |  | 336kV Surge Arrester (1-phase) | EA | 1 |  | Included
53 | 85359090 |  | 18% |  | Mandatory Spares - Breakup |  |  | Surge monitor (1-Phase) | EA | 5 |  | Included
54 | 85359090 |  | 18% |  | Mandatory Spares - Breakup |  |  | 420 kV, 3000A, 63KA, 1-Phase CurrentTransformer with 120% extended currentrating | EA | 1 |  | Included
55 | 85462040 |  | 18% |  | Mandatory Spares - Breakup |  |  | 420 kV, 1 phase Bus Post Insulator (except for Line Traps) | EA | 1 |  | Included
56 | 85371000 |  | 18% |  | Mandatory Spares - Breakup |  |  | BAY CONTROL UNIT (IED) OF MAIN SYSTEM | EA | 1 |  | Included
57 | 85371000 |  | 18% |  | Mandatory Spares - Breakup |  |  | ETHERNET SWITCH SUITABLE FOR 19Ã‚â‚¬Â RACK MOUNTING WITH 24 FIBER OPTICPORTS | EA | 1 |  | Included
58 | 85371000 |  | 18% |  | Mandatory Spares - Breakup |  |  | Reactor differential protection relay | SET | 1 |  | Included
59 | 85371000 |  | 18% |  | Mandatory Spares - Breakup |  |  | Numerical Reactor Backup Impedance relay | EA | 1 |  | Included
60 | 85371000 |  | 18% |  | Mandatory Spares - Breakup |  |  | Restricted earthfault relay type with non-linear resistor andassociated software in case of numerical relay | EA | 1 |  | Included
61 | 85389000 |  | 18% |  | Mandatory Spares - Breakup |  |  | Controlled switching device for 420 kV, 3 phase circuit breaker | SET | 1 |  | Included
62 | 85371000 |  | 18% |  | Mandatory Spares - Breakup |  |  | Numerical LBB relay | EA | 1 |  | Included
63 | 85371000 |  | 18% |  | Mandatory Spares - Breakup |  |  | Power Supply module of each type for B/B Protection | SET | 1 |  | Included
64 | 85371000 |  | 18% |  | Mandatory Spares - Breakup |  |  | Bay Unit module for Bus Bar Protection | EA | 1 |  | Included
65 | 85364900 |  | 18% |  | PMU for 125MVAR BR at BNC |  |  | PMU with GPS Clock (clock can be either internal or external) | EA | 1 |  | Included
66 | 90311000 |  | 18% |  | PMU for 125MVAR BR at BNC |  |  | WAMS Hardware - Time System (GPS receiver) | EA | 1 |  | Included
67 | 85176290 |  | 18% |  | PMU for 125MVAR BR at BNC |  |  | SUBSTATION GRADE LAYER 2 LAN SWITCH | EA | 1 |  | Included
68 | 85176290 |  | 18% |  | PMU for 125MVAR BR at BNC |  |  | SUBSTATION GRADE LAYER 3 LAN SWITCH | EA | 1 |  | Included
69 | 85447090 |  | 18% |  | PMU for 125MVAR BR at BNC |  |  | WAMS Miscellaneous - Armored Fibre Optic Cable and associatedtermination (e.g. L2 Switch) for connecting PMU panels located indifferent control room of a station | EA | 1 |  | Included
70 | 85389000 |  | 18% |  | PMU for 125MVAR BR at BNC |  |  | LIU - FO PATCH PANEL-12 PORT | EA | 3 |  | Included
71 | 85446090 |  | 18% |  | Breakup_Power & Control Cables |  |  | 1.1KV GRADE 3CX2.5 SQMM CONTROL CABLE | KM | 6 |  | Included
72 | 85446090 |  | 18% |  | Breakup_Power & Control Cables |  |  | 1.1KV GRADE 5CX2.5 SQMM CONTROL CABLE | KM | 3 |  | Included
73 | 85446090 |  | 18% |  | Breakup_Power & Control Cables |  |  | 1.1KV GRADE 10CX2.5 SQMM CONTROL CABLE | KM | 3 |  | Included
74 | 85446090 |  | 18% |  | Breakup_Power & Control Cables |  |  | 1.1KV GRADE 19CX1.5 SQMM CONTROL CABLE | KM | 3.5 |  | Included
75 | 85446090 |  | 18% |  | Breakup_Power & Control Cables |  |  | 1.1KV GRADE 27CX1.5 SQMM CONTROL CABLE | KM | 1.5 |  | Included
76 | 85446090 |  | 18% |  | Breakup_Power & Control Cables |  |  | 4PAIR, 0.5 SQ.MM SCREENED CABLE | KM | 1 |  | Included
77 | 85446090 |  | 18% |  | Breakup_Power & Control Cables |  |  | 1.1KV GRADE 3.5CX300 SQMM (XLPE) POWER CABLE | KM | 1.5 |  | Included
78 | 85446090 |  | 18% |  | Breakup_Power & Control Cables |  |  | 1.1KV GRADE 3.5CX70 SQMM (PVC) POWER CABLE | KM | 4 |  | Included
79 | 85446090 |  | 18% |  | Breakup_Power & Control Cables |  |  | 1.1KV GRADE 3.5CX35 SQMM (PVC) POWER CABLE | KM | 0.3 |  | Included
80 | 85446090 |  | 18% |  | Breakup_Power & Control Cables |  |  | 1.1KV GRADE 4CX16 SQMM (PVC) POWER CABLE | KM | 3 |  | Included
81 | 85446090 |  | 18% |  | Breakup_Power & Control Cables |  |  | 1.1KV GRADE 2CX6 SQMM (PVC) POWER CABLE | KM | 3 |  | Included
82 | 85446090 |  | 18% |  | Breakup_Power & Control Cables |  |  | 1.1KV GRADE 4CX6 SQMM (PVC) POWER CABLE | KM | 3 |  | Included
[8 empty] | Total Amount (BNC) |  |  |  | 0
North Eastern Region Expansion Scheme –XXVI :Decommissioning of existing 420kV, 50MVAr (Bus Reactor-1) and installation of new 420kV, 125MVAr bus reactor in its place along with replacement of associated main and tie bay equipment at Balipara (POWERGRID) S/s under NERES XXVI
1 | 85352913 |  | 18% |  | 420KV, 63KA AIS EQUIPMENTS | Cables | Khleheriat#2 | 420KV, 3150A, 63KA, 3PH CB W/O CR | EA | 2 |  | Included
2 | 85359090 |  | 18% |  | 420KV, 63KA AIS EQUIPMENTS | Cables | Khleheriat#2 | 420KV, 3000A, 63KA,1-PH,CT-120% RATING | EA | 6 |  | Included
3 | 85354010 |  | 18% |  | 420KV, 63KA AIS EQUIPMENTS |  |  | SURGE ARRESTER,1-PH,336KV | EA | 3 |  | Included
4 | 85353090 |  | 18% |  | 420KV, 63KA AIS EQUIPMENTS |  |  | 420KV, 3150A, 63KA 3PH DB ISOLATOR+2E/S | EA | 1 |  | Included
5 | 85353090 |  | 18% |  | 420KV, 63KA AIS EQUIPMENTS |  |  | 420KV, 3150A, 63KA 3PH DB ISOLATOR+1E/S | EA | 4 |  | Included
6 | 85462040 |  | 18% |  | 420KV, 63KA AIS EQUIPMENTS |  |  | 420KV, 1PH BUS POST INSULATOR (BPI) | EA | 9 |  | Included
7 | 72169990 |  | 18% |  | Erection Hardware |  |  | ERECTION H/W-400KV I TYPE B/R BAY | SET | 1 |  | Included
8 | 85389000 |  | 18% |  | CRP |  |  | CONTROLLED SWITCHING DEVICE 420KV 3PH CB | SET | 2 |  | Included
9 | 94059900 |  | 18% |  | ILLUMINATION & OTHER AUXILLARIES |  |  | 250A O/D RECEPTACLE FOR OIL FILTERATION | EA | 1 |  | Included
10 | 94059900 |  | 18% |  | ILLUMINATION & OTHER AUXILLARIES |  |  | LIGHTING FIXTURE LED TYPE FL2 | EA | 10 |  | Included
11 | 85446090 |  | 18% |  | Supply Cables |  |  | 1.1KV 3.5CX300SQ.MM XLPE POWER CABLE(KM) | KM | 1 |  | Included
12 | 85446090 |  | 18% |  | Supply Cables |  |  | 1.1KV 3CX2.5SQMM PVC CONTROL CABLE(KM) | KM | 1 |  | Included
13 | 85446090 |  | 18% |  | Supply Cables |  |  | 1.1KV 5CX2.5SQMM PVC CONTROL CABLE(KM) | KM | 3 |  | Included
14 | 85446090 |  | 18% |  | Supply Cables |  |  | 1.1KV 10CX2.5SQMM PVC CONTROL CABLE(KM) | KM | 1 |  | Included
15 | 85446090 |  | 18% |  | Supply Cables |  |  | 1.1KV 19CX1.5SQMM PVC CONTROL CABLE(KM) | KM | 2 |  | Included
16 | 85446090 |  | 18% |  | Supply Cables |  |  | 1.1KV 27CX1.5SQMM PVC CONTROL CABLE(KM) | KM | 0.5 |  | Included
17 | 85446090 |  | 18% |  | Supply Cables |  |  | 4 PAIR, 0.5SQMM SCREENED CABLE(KM) | KM | 0.8 |  | Included
18 | 85446090 |  | 18% |  | Supply Cables |  |  | 1.1KV 3.5CX70SQMM PVC POWER CABLE(KM) | KM | 1 |  | Included
19 | 84248990 |  | 18% |  | HVWS for 125MVAr Bus Reactor |  |  | FIRE PROT-125MVAR, 420KV BUS REACTOR | SET | 1 |  | Included
20 | 85371000 |  | 18% |  | Substation Mandatory Spares |  |  | ETHERNET SWITCH WITH 24 FO PORTS | EA | 1 |  | Included
21 | 85371000 |  | 18% |  | Substation Mandatory Spares |  |  | BAY CONTROL UNIT OF MAIN SYSTEM | EA | 1 |  | Included
22 | 85352913 |  | 18% |  | Substation Mandatory Spares Breakup |  |  | 420KV, 3150A, 63KA SF6 CB POLE | EA | 1 |  | Included
23 | 85389000 |  | 18% |  | Substation Mandatory Spares Breakup |  |  | GASKET, O RING, SEAL FOR SF6-420KV CB | SET | 1 |  | Included
24 | 85389000 |  | 18% |  | Substation Mandatory Spares Breakup |  |  | TRIP COIL ASSY-420KV SF6 CB | SET | 2 |  | Included
25 | 85389000 |  | 18% |  | Substation Mandatory Spares Breakup |  |  | CLOSING COIL ASSY-420KV SF6 CB | EA | 1 |  | Included
26 | 85389000 |  | 18% |  | Substation Mandatory Spares Breakup |  |  | TERMINAL PAD-420KV SF6 CB | EA | 2 |  | Included
27 | 85389000 |  | 18% |  | Substation Mandatory Spares Breakup |  |  | MOLECULAR FILTER-420KV CIRCUIT BREAKER | EA | 2 |  | Included
28 | 85389000 |  | 18% |  | Substation Mandatory Spares Breakup |  |  | CORONA RING-420KV CB | SET | 1 |  | Included
29 | 85389000 |  | 18% |  | Substation Mandatory Spares Breakup |  |  | RELAY,CONTACTOR,SWITCH,PB,MCB-420KV CB | SET | 1 |  | Included
30 | 85389000 |  | 18% |  | Substation Mandatory Spares Breakup |  |  | PRESSURE SWITCHES-420KV SF6 CB | SET | 1 |  | Included
31 | 85389000 |  | 18% |  | Substation Mandatory Spares Breakup |  |  | AUX SWITCH/CONTACT ASSY-420KV SF6 CB | SET | 1 |  | Included
32 | 85389000 |  | 18% |  | Substation Mandatory Spares Breakup |  |  | OPERATION COUNTER-CB | EA | 1 |  | Included
33 | 85353090 |  | 18% |  | Substation Mandatory Spares Breakup |  |  | 1 POLE-420KV, 3150A, 63KA DB ISOLATOR+1E | EA | 1 |  | Included
34 | 85389000 |  | 18% |  | Substation Mandatory Spares Breakup |  |  | COPPER CONTACT FINGERS-420KV DB ISOLATOR | SET | 2 |  | Included
35 | 85389000 |  | 18% |  | Substation Mandatory Spares Breakup |  |  | CONTACTOR, TIMER, SWITCH-420KV ISOLATOR | SET | 1 |  | Included
36 | 85389000 |  | 18% |  | Substation Mandatory Spares Breakup |  |  | LIMIT SWITCH-420KV ISOLATOR | SET | 2 |  | Included
37 | 85389000 |  | 18% |  | Substation Mandatory Spares Breakup |  |  | TERM PAD+CONNECTOR-420KV ISOLATOR | EA | 3 |  | Included
38 | 85389000 |  | 18% |  | Substation Mandatory Spares Breakup |  |  | CORONA SHIELD RING-420KV DB ISOLATOR -1P | SET | 3 |  | Included
39 | 85359090 |  | 18% |  | Substation Mandatory Spares Breakup |  |  | 420KV, 3000A, 63KA,1-PH,CT-120% RATING | EA | 1 |  | Included
40 | 85354010 |  | 18% |  | Substation Mandatory Spares Breakup |  |  | SURGE ARRESTER,1-PH,336KV | EA | 1 |  | Included
41 | 85359090 |  | 18% |  | Substation Mandatory Spares Breakup |  |  | SURGE MONITOR,1-PH | EA | 5 |  | Included
42 | 84818090 |  | 18% |  | Substation Mandatory Spares Breakup |  |  | DELUGE VALVE | SET | 1 |  | Included
43 | 73082011 |  | 18% |  | Foundation bolts & STRUCTURES |  |  | FOUNDATION BOLTS - 32MM DIA | EA | 192 |  | Included
44 | 73045930 |  | 18% |  | Foundation bolts & STRUCTURES |  |  | PIPE STRUCTURE-400KV BPI (EXCL WT) | EA | 9 |  | Included
45 | 73045930 |  | 18% |  | Foundation bolts & STRUCTURES |  |  | STD PIPE STRUCTURE - 400 KV 1PH CT | EA | 6 |  | Included
46 | 73045930 |  | 18% |  | Foundation bolts & STRUCTURES |  |  | STD PIPE STRUCTURE - 400KV 3PH ISOLATOR | EA | 5 |  | Included
47 | 73045930 |  | 18% |  | Foundation bolts & STRUCTURES |  |  | STD PIPE STRUCTURE - 400 KV 1PH SA | EA | 3 |  | Included
48 | 85364900 |  | 18% |  | PMU & associated items (Balipara PG) |  |  | PMU WITH GPS CLOCK | EA | 1 |  | Included
49 | 90311000 |  | 18% |  | PMU & associated items (Balipara PG) |  |  | WAMS - TIME SYSTEM (GPS RECEIVER) | EA | 1 |  | Included
50 | 85176290 |  | 18% |  | PMU & associated items (Balipara PG) |  |  | SUBSTATION GRADE L2 LAN SWITCH | EA | 1 |  | Included
51 | 85176290 |  | 18% |  | PMU & associated items (Balipara PG) |  |  | SUBSTATION GRADE L3 LAN SWITCH | EA | 1 |  | Included
52 | 85447090 |  | 18% |  | PMU & associated items (Balipara PG) |  |  | WAMS - ARMORED FIBRE OPTIC CABLE | EA | 1 |  | Included
53 | 85389000 |  | 18% |  | PMU & associated items (Balipara PG) |  |  | LIU-FO PATCH PANEL-12 PORT | EA | 2 |  | Included
[8 empty] | Total Amount (Balipara) |  |  |  | 0
North Eastern Region Expansion Scheme –XXII:Bongaingaon S/S
1 | 84248990 |  | 18% |  | HVWS FOR BUS REACTOR |  |  | HVW spray system, Hydrant system and complete U/G & O/G piping andaccessories etc. out side the pump house for 125 MVAR, 420kV, 3 phaseBus Reactor | SET | 1 |  | Included
2 | 84248990 |  | 18% |  | HVWS FOR BUS REACTOR |  |  | HVW spray system, Hydrant system and complete U/G & O/G piping andaccessories etc. out side the pump house for 80 MVAR, 420kV, 3 phaseBus Reactor | SET | 1 |  | Included
3 | 85446020 |  | 18% |  | CABLE FOR WORKS |  |  | 1.1KV 10CX2.5SQMM PVC CONTROL CABLE(KM) | km | 1.5 |  | Included
4 | 85446020 |  | 18% |  | CABLE FOR WORKS |  |  | 1.1KV 3.5CX35SQMM PVC POWER CABLE(KM) | km | 0.4 |  | Included
5 | 85446020 |  | 18% |  | CABLE FOR WORKS |  |  | 1.1KV 3CX2.5SQMM PVC CONTROL CABLE(KM) | km | 1 |  | Included
6 | 85446020 |  | 18% |  | CABLE FOR WORKS |  |  | 1.1KV 5CX2.5SQMM PVC CONTROL CABLE(KM) | km | 3 |  | Included
7 | 85446020 |  | 18% |  | CABLE FOR WORKS |  |  | 4 PAIR, 0.5SQMM SCREENED CABLE(KM) | km | 0.8 |  | Included
8 | 85446020 |  | 18% |  | CABLE FOR WORKS |  |  | 1.1KV 19CX1.5SQMM PVC CONTROL CABLE(KM) | km | 2 |  | Included
9 | 85446020 |  | 18% |  | CABLE FOR WORKS |  |  | 1.1KV 27CX1.5SQMM PVC CONTROL CABLE(KM) | km | 0.3 |  | Included
10 | 85446020 |  | 18% |  | CABLE FOR WORKS |  |  | 1.1KV 3.5CX300SQ.MM XLPE POWER CABLE(KM) | km | 1 |  | Included
11 | 94059900 |  | 18% |  | ILLUMINATION & OTHER AUXILLARIES |  |  | Outdoor Power Receptacle for oilfiltration unit (250A) | EA | 1 |  | Included
12 | 94059900 |  | 18% |  | ILLUMINATION & OTHER AUXILLARIES |  |  | LIGHTING FIXTURE LED LUMINAIRES TYPE FL2 AS PER TECH. SPECIFICATIONS | EA | 8 |  | Included
13 | 72169990 |  | 18% |  | erection hardware |  |  | ERECTION H/W FOR MISCELLANEOUS WORK AS PER TECHNICAL SPECIFICATION | LS | 2 |  | Included
14 | 85364900 |  | 18% |  | PMU & associated items (Bongaigaon) |  |  | PMU with GPS Clock (clock can be either internal or external) | EA | 2 |  | Included
15 | 90311000 |  | 18% |  | PMU & associated items (Bongaigaon) |  |  | WAMS Hardware - Time System (GPS receiver) | EA | 2 |  | Included
16 | 85176290 |  | 18% |  | PMU & associated items (Bongaigaon) |  |  | SUBSTATION GRADE LAYER 2 LAN SWITCH | EA | 2 |  | Included
17 | 85176290 |  | 18% |  | PMU & associated items (Bongaigaon) |  |  | SUBSTATION GRADE LAYER 3 LAN SWITCH | EA | 1 |  | Included
18 | 85447090 |  | 18% |  | PMU & associated items (Bongaigaon) |  |  | WAMS Miscellaneous - Armored Fibre Optic Cable and associatedtermination (e.g. L2 Switch) for connecting PMU panels located indifferent control room of a station | EA | 1 |  | Included
19 | 85389000 |  | 18% |  | PMU & associated items (Bongaigaon) |  |  | LIU - FO PATCH PANEL-12 PORT | EA | 3 |  | Included
[8 empty] | Total Amount (Bongaigaon) |  |  |  | 0
Total Bid Price for the Schedule-IA (BNC+Balipara+Bongaigaon) | [11 empty] | 0 |  |  |  |  | #REF!
Note : | Specify amount of GST on the transaction between the Contractor and the Employer. GST Shall be applicable at extra as applicable.
# | In case the bidder leaves the cell for confirmation of the HSN code and/or GST rate “blank”, the HSN code and corresponding GST rate indicated by the Employer shall be deemed to be the one confirmed by the Bidder. In case the bidder doesnot quote for any of the BOQ line item then the unit rate against that item shall be considered included in other quoted unit rate. If there is any discrepancy in the total quoted price indicated in this sheet of Price_Schedule and elsewhere in the E-tender portal, then the prices indicated in this sheet of Price_Schedule shall prevail for the purpose of bid evaluation and further action.
Date : | 11/Jan/2025 | [9 empty] | Printed Name : | Printed Name
Place : | Place | [9 empty] | Designation : | Desig

## Sch-IB
NESH/CSM/4904-01 | [7 empty] | Schedule-IB to BPS (Vol-IC) | Schedule - 1 |  |  |  |  | Direct Total | #REF! | #REF! | `
[14 empty] | BO Total | #REF! | #REF!
Name of Package:AIS Bay extension works of (a) Extension of 400kV Bongaigaon (POWERGRID) S/s under NERES XXII, (b)Extension of 400kV Balipara (POWERGRID) S/s under NERES-XXVI , and (c)Extension of 400kV Biswanath Chariali (POWERGRID) S/s under NERES-29B.
(SCHEDULE OF RATES AND PRICES)
Bidder’s Name and Address:( Sole Bidder) |  |  |  |  | To,
General Manager (C&M)
Name : | Name | 0 | 0 | 0 |  | Power Grid Corporation of India Limited | [9 empty] | #REF!
Address : | Add1 | 0 | 0 | 0 |  | North Eastern Region
| Add2 | 0 | 0 | 0 |  | Dongtieh, Lower Nongrah, Lapalang
Shillong – 793 006 (Meghalaya).
Feright and Insurance | [14 empty] | Direct
[7 empty] | All Prices are in Indian Rupees. |  | All Prices are in Indian Rupees. | [5 empty] | Bought-Out
SI. No. | Activity Description | Equipment Head | Element Name | Item Description | Unit | Qty. | F&I Rate (Rs) (inclusive of GST) | Total Ex-works price | Mode of Transaction (Direct or Bought out)^ | GST, Tax as confirmed by Bidder | Total Value | Applicable GST Rate | GST on item
1 |  |  |  | 6 | 7 | 8 | 9 | 10 = (8X9) | 11 | 11
North Eastern Region Expansion Scheme – 29, Part–B (NERES–29, Part–B) [TR-202454]:800kV BNC S/S
1 | 400kV AIS Equipments | cables | R.C Nagar-1 | 420kV, 3150A, 63kA Circuit Breaker (3-Phase) without closing resistor and with Support Structure | EA | 1 |  | Included
2 | 400kV AIS Equipments | cables | R.C Nagar-1 | 420kV, 3150A, 63KA Circuit Breaker (3-Phase) with closing resistor with support structure | EA | 1 |  | Included
3 | 400kV AIS Equipments | cables | R.C Nagar-1 | 420 kV, 3000A, 63KA, 1-Phase CurrentTransformer with 120% extended currentrating | EA | 6 |  | Included
4 | 400kV AIS Equipments | cables | R.C Nagar-1 | 420kV, 3150A, 63KA, Isolator (3-phase)(Double Break) with one E/S | EA | 6 |  | Included
5 | 400kV AIS Equipments | cables | R.C Nagar-1 | 336kV Surge Arrester (1-phase) | EA | 3 |  | Included
6 | 400kV AIS Equipments | cables | R.C Nagar-1 | 420 kV, 1 phase Bus Post Insulator (except for Line Traps) | EA | 8 |  | Included
7 | CRP | cables | R.C Nagar-2 | Controlled switching device for 420 kV, 3 phase circuit breaker | SET | 2 |  | Included
8 | CRP | cables | R.C Nagar-2 | 400kV Circuit Breaker Relay Panel with Auto Reclose (with Automation) | EA | 2 |  | Included
9 | CRP | cables | R.C Nagar-2 | 400kV Reactor Protection Panel (with Automation) | EA | 1 |  | Included
10 | CRP | cables | R.C Nagar-2 | Augmentation of existing 400kV bus bar protection scheme.(No. of bays as per specification)-(with Automation) incl supply of patch cord and FO cable | SET | 2 |  | Included
11 | SAS | cables | R.C Nagar-2 | Augmentation of Substation automation System for 400kV Tie bay as perTechnical Specification | EA | 1 |  | Included
12 | SAS | cables | R.C Nagar-2 | Augmentation of Substation automation System for 400kV Main bay as perTechnical Specification | EA | 1 |  | Included
13 | DCDB | cables | R.C Nagar-1 | DCDB extension | LS | 1 |  | Included
14 | Illumination System | cables | R.C Nagar-1 | Illumination System for switchyard panel room of 6 m length | LS | 1 |  | Included
15 | Illumination System | cables | R.C Nagar-2 | TYPE L1 STREET LIGHTING POLE OF 6 METER AS PER TECHNICALSPECIFICATION. | EA | 25 |  | Included
16 | Illumination System | cables | R.C Nagar-2 | LED STREET LIGHT LUMINAIRE TYPE SL-L1 (= 45W)AS PER TECHNICALSPECIFICATION | EA | 25 |  | Included
17 | Illumination System | CRP | R.C Nagar-1 | LED FLOOD LIGHT LUMINARIESTYPE FL-1 (150W) AS PER TECHNICALSPECIFICATION | EA | 20 |  | Included
18 | Illumination System |  |  | LIGHTING FIXTURE LED LUMINAIRES TYPE FL2 AS PER TECH. SPECIFICATIONS | EA | 20 |  | Included
19 | Illumination System |  |  | Outdoor Power Receptacle for oilfiltration unit (250A) | EA | 1 |  | Included
20 | Illumination System |  |  | 63A, 415V : Interlocked switch socket outdoor Receptacle (type RP) asper technical specifications | EA | 1 |  | Included
21 | Illumination System |  |  | Lighting Panel type ACP-2 as per technical specification | EA | 2 |  | Included
22 | Illumination System |  |  | Lighting Panel type ACP-3 as per technical specification | EA | 2 |  | Included
23 | Firefighting System |  |  | Fire Detection and Alarm System for Switchyard Panel Room of 6 mlength | SET | 1 |  | Included
24 | Firefighting System |  |  | HVW SPRAY SYSTEM, HYDRANT SYSTEM AND COMPLETE U/G & O/G PIPING ANDACCESSORIES ETC. OUT SIDE THE PUMP HOUSE FOR 420KV 3 PHASE BUSREACTOR | SET | 1 |  | Included
25 | Firefighting System |  |  | 4.5 kg CO2 type Portable Fire extinguisher | EA | 1 |  | Included
26 | Firefighting System |  |  | 6Kg dry chemical powered type Portable Fire extinguisher | EA | 1 |  | Included
27 | Air Conditioning |  |  | Air conditioning system for Switchyard Panel Room of 6m length | SET | 2 |  | Included
28 | Main Earthmat |  |  | 40 MM MS ROD FOR MAIN EARTHMAT | KM | 3 |  | Included
29 | Erection Hardware |  |  | Erection Hardware for 400kV D type layout-Bus Reactor bay as pertechnical specification | SET | 1 |  | Included
30 | Erection Hardware |  |  | Erection Hardware for 400kV D type layout-Spare bay of half dia. asper technical specification | SET | 1 |  | Included
31 | VMS |  |  | COLOR IP CAMERA, WITH PAN, TILT AND ZOOM FACILITIES, ALONGWITH ALLREQUIRED ITEMS, ACCESSORIES, LINE INTERFACE UNITS, FIBER PATCH CORDS,POWER SUPPLY UNITS, JUNCTION BOXES, CABLES, FIBER OPTIC CABLES, ETC.,AND INCLUDING INTEGRATION IN EXISTING HARDWARE AND SOFTWARE FORAUGMENTATION OF VISUAL MONITORING SYSTEM AS PER TECHNICALSPECIFICATION. | SET | 1 |  | Included
32 | Supply of Non-Standard structure |  |  | Fabrication, galvanising and supply of Lattice Structures (MS Steel),to be designed during detailed engineering, for towers, beams andequipment support structure including pack plates / packwashers andgusset plates excluding fasteners and foundation bolts | MT | 40 |  | Included
33 | Supply of Non-Standard structure |  |  | Fabrication, galvanising and supply of fasteners ( nuts, bolts andwashers ) including step bolts for lattice and pipe structures to bedesigned during detailed engineering | MT | 2 |  | Included
34 | Supply of Non-Standard structure |  |  | Fabrication, galvanising and supply of foundation bolts including nuts,checknut and washers for lattice and pipe structures to be designedduring detailed engineering | MT | 3 |  | Included
35 | Mandatory Spares - Breakup |  |  | One Pole of 420kV, 3150A, 63kA SF6circuit breaker including gradingcapacitor (if applicable),pole column,interrupter,operating mechanism andMarshalling Box but without supportstructure | EA | 2 |  | Included
36 | Mandatory Spares - Breakup |  |  | Rubber gasket, O rings and seals for SF6 gas (complete replacement forone 420kV SF6 Circuit Breaker) | SET | 2 |  | Included
37 | Mandatory Spares - Breakup |  |  | Trip coil with resistor for 420kV SF6 Circuit Breaker | SET | 4 |  | Included
38 | Mandatory Spares - Breakup |  |  | Closing coil with resistor for 420kV SF6 Circuit Breaker | EA | 2 |  | Included
39 | Mandatory Spares - Breakup |  |  | Terminal pad for 420kV SF6 Circuit Breaker | EA | 4 |  | Included
40 | Mandatory Spares - Breakup |  |  | Molecular filter for 420kV SF6 Circuit Breaker | EA | 4 |  | Included
41 | Mandatory Spares - Breakup |  |  | Corona rings (1 No of each type) for 420 kV Circuit Breaker | SET | 2 |  | Included
42 | Mandatory Spares - Breakup |  |  | Relays, Power contactors, SFU, limit switches, push buttons, timers &MCB etc. (1 No of each type) for 420kV Circuit Breaker | SET | 2 |  | Included
43 | Mandatory Spares - Breakup |  |  | Pressure switches (1 No. of each type) for 420kV SF6 Circuit Breaker | SET | 2 |  | Included
44 | Mandatory Spares - Breakup |  |  | Aux. Switch/contact assembly for 420kV SF6 Circuit Breaker | SET | 2 |  | Included
45 | Mandatory Spares - Breakup |  |  | Operation counter for Circuit Breaker | EA | 2 |  | Included
46 | Mandatory Spares - Breakup |  |  | One Complete Pole of Double BreakIsolator including support Insulatorwith 1 E/s (excluding structure) withMotor Operating Mechanism for 420kV,3150A, 63kA main Isolator and E/S | EA | 1 |  | Included
47 | Mandatory Spares - Breakup |  |  | COPPER CONTACT FINGERS FOR FEMALE & MALE CONTACTS OF 420KV DOUBLE BREAK ISOLATOR | SET | 2 |  | Included
48 | Mandatory Spares - Breakup |  |  | Open / Close contactor assembly, timers, key interlock push buttonswitch & auxiliary switches for 420kV Isolator | SET | 1 |  | Included
49 | Mandatory Spares - Breakup |  |  | Limit switch for 420kV Isolator | SET | 2 |  | Included
50 | Mandatory Spares - Breakup |  |  | Terminal pads & connectors for 420kV Isolator | EA | 3 |  | Included
51 | Mandatory Spares - Breakup |  |  | Corona shield rings for 420kV DB Isolator for 1-pole | SET | 3 |  | Included
52 | Mandatory Spares - Breakup |  |  | 336kV Surge Arrester (1-phase) | EA | 1 |  | Included
53 | Mandatory Spares - Breakup |  |  | Surge monitor (1-Phase) | EA | 5 |  | Included
54 | Mandatory Spares - Breakup |  |  | 420 kV, 3000A, 63KA, 1-Phase CurrentTransformer with 120% extended currentrating | EA | 1 |  | Included
55 | Mandatory Spares - Breakup |  |  | 420 kV, 1 phase Bus Post Insulator (except for Line Traps) | EA | 1 |  | Included
56 | Mandatory Spares - Breakup |  |  | BAY CONTROL UNIT (IED) OF MAIN SYSTEM | EA | 1 |  | Included
57 | Mandatory Spares - Breakup |  |  | ETHERNET SWITCH SUITABLE FOR 19Ã‚â‚¬Â RACK MOUNTING WITH 24 FIBER OPTICPORTS | EA | 1 |  | Included
58 | Mandatory Spares - Breakup |  |  | Reactor differential protection relay | SET | 1 |  | Included
59 | Mandatory Spares - Breakup |  |  | Numerical Reactor Backup Impedance relay | EA | 1 |  | Included
60 | Mandatory Spares - Breakup |  |  | Restricted earthfault relay type with non-linear resistor andassociated software in case of numerical relay | EA | 1 |  | Included
61 | Mandatory Spares - Breakup |  |  | Controlled switching device for 420 kV, 3 phase circuit breaker | SET | 1 |  | Included
62 | Mandatory Spares - Breakup |  |  | Numerical LBB relay | EA | 1 |  | Included
63 | Mandatory Spares - Breakup |  |  | Power Supply module of each type for B/B Protection | SET | 1 |  | Included
64 | Mandatory Spares - Breakup |  |  | Bay Unit module for Bus Bar Protection | EA | 1 |  | Included
65 | PMU for 125MVAR BR at BNC |  |  | PMU with GPS Clock (clock can be either internal or external) | EA | 1 |  | Included
66 | PMU for 125MVAR BR at BNC |  |  | WAMS Hardware - Time System (GPS receiver) | EA | 1 |  | Included
67 | PMU for 125MVAR BR at BNC |  |  | SUBSTATION GRADE LAYER 2 LAN SWITCH | EA | 1 |  | Included
68 | PMU for 125MVAR BR at BNC |  |  | SUBSTATION GRADE LAYER 3 LAN SWITCH | EA | 1 |  | Included
69 | PMU for 125MVAR BR at BNC |  |  | WAMS Miscellaneous - Armored Fibre Optic Cable and associatedtermination (e.g. L2 Switch) for connecting PMU panels located indifferent control room of a station | EA | 1 |  | Included
70 | PMU for 125MVAR BR at BNC |  |  | LIU - FO PATCH PANEL-12 PORT | EA | 3 |  | Included
71 | Breakup_Power & Control Cables |  |  | 1.1KV GRADE 3CX2.5 SQMM CONTROL CABLE | KM | 6 |  | Included
72 | Breakup_Power & Control Cables |  |  | 1.1KV GRADE 5CX2.5 SQMM CONTROL CABLE | KM | 3 |  | Included
73 | Breakup_Power & Control Cables |  |  | 1.1KV GRADE 10CX2.5 SQMM CONTROL CABLE | KM | 3 |  | Included
74 | Breakup_Power & Control Cables |  |  | 1.1KV GRADE 19CX1.5 SQMM CONTROL CABLE | KM | 3.5 |  | Included
75 | Breakup_Power & Control Cables |  |  | 1.1KV GRADE 27CX1.5 SQMM CONTROL CABLE | KM | 1.5 |  | Included
76 | Breakup_Power & Control Cables |  |  | 4PAIR, 0.5 SQ.MM SCREENED CABLE | KM | 1 |  | Included
77 | Breakup_Power & Control Cables |  |  | 1.1KV GRADE 3.5CX300 SQMM (XLPE) POWER CABLE | KM | 1.5 |  | Included
78 | Breakup_Power & Control Cables |  |  | 1.1KV GRADE 3.5CX70 SQMM (PVC) POWER CABLE | KM | 4 |  | Included
79 | Breakup_Power & Control Cables |  |  | 1.1KV GRADE 3.5CX35 SQMM (PVC) POWER CABLE | KM | 0.3 |  | Included
80 | Breakup_Power & Control Cables |  |  | 1.1KV GRADE 4CX16 SQMM (PVC) POWER CABLE | KM | 3 |  | Included
81 | Breakup_Power & Control Cables |  |  | 1.1KV GRADE 2CX6 SQMM (PVC) POWER CABLE | KM | 3 |  | Included
82 | Breakup_Power & Control Cables |  |  | 1.1KV GRADE 4CX6 SQMM (PVC) POWER CABLE | KM | 3 |  | Included
|  |  |  | Total Amount (BNC) |  |  |  | 0
North Eastern Region Expansion Scheme –XXVI:Decommissioning of existing 420kV, 50MVAr (Bus Reactor-1) and installation of new 420kV, 125MVAr bus reactor in its place along with replacement of associated main and tie bay equipment at Balipara (POWERGRID) S/s under NERES XXVI
1 | 420KV, 63KA AIS EQUIPMENTS | Cables | Khleheriat#2 | 420KV, 3150A, 63KA, 3PH CB W/O CR | EA | 2 |  | Included
2 | 420KV, 63KA AIS EQUIPMENTS |  |  | 420KV, 3000A, 63KA,1-PH,CT-120% RATING | EA | 6 |  | Included
3 | 420KV, 63KA AIS EQUIPMENTS |  |  | SURGE ARRESTER,1-PH,336KV | EA | 3 |  | Included
4 | 420KV, 63KA AIS EQUIPMENTS |  |  | 420KV, 3150A, 63KA 3PH DB ISOLATOR+2E/S | EA | 1 |  | Included
5 | 420KV, 63KA AIS EQUIPMENTS |  |  | 420KV, 3150A, 63KA 3PH DB ISOLATOR+1E/S | EA | 4 |  | Included
6 | 420KV, 63KA AIS EQUIPMENTS |  |  | 420KV, 1PH BUS POST INSULATOR (BPI) | EA | 9 |  | Included
7 | Erection Hardware |  |  | ERECTION H/W-400KV I TYPE B/R BAY | SET | 1 |  | Included
8 | CRP |  |  | CONTROLLED SWITCHING DEVICE 420KV 3PH CB | SET | 2 |  | Included
9 | ILLUMINATION & OTHER AUXILLARIES |  |  | 250A O/D RECEPTACLE FOR OIL FILTERATION | EA | 1 |  | Included
10 | ILLUMINATION & OTHER AUXILLARIES |  |  | LIGHTING FIXTURE LED TYPE FL2 | EA | 10 |  | Included
11 | Supply Cables |  |  | 1.1KV 3.5CX300SQ.MM XLPE POWER CABLE(KM) | KM | 1 |  | Included
12 | Supply Cables |  |  | 1.1KV 3CX2.5SQMM PVC CONTROL CABLE(KM) | KM | 1 |  | Included
13 | Supply Cables |  |  | 1.1KV 5CX2.5SQMM PVC CONTROL CABLE(KM) | KM | 3 |  | Included
14 | Supply Cables |  |  | 1.1KV 10CX2.5SQMM PVC CONTROL CABLE(KM) | KM | 1 |  | Included
15 | Supply Cables |  |  | 1.1KV 19CX1.5SQMM PVC CONTROL CABLE(KM) | KM | 2 |  | Included
16 | Supply Cables |  |  | 1.1KV 27CX1.5SQMM PVC CONTROL CABLE(KM) | KM | 0.5 |  | Included
17 | Supply Cables |  |  | 4 PAIR, 0.5SQMM SCREENED CABLE(KM) | KM | 0.8 |  | Included
18 | Supply Cables |  |  | 1.1KV 3.5CX70SQMM PVC POWER CABLE(KM) | KM | 1 |  | Included
19 | HVWS for 125MVAr Bus Reactor |  |  | FIRE PROT-125MVAR, 420KV BUS REACTOR | SET | 1 |  | Included
20 | Substation Mandatory Spares |  |  | ETHERNET SWITCH WITH 24 FO PORTS | EA | 1 |  | Included
21 | Substation Mandatory Spares |  |  | BAY CONTROL UNIT OF MAIN SYSTEM | EA | 1 |  | Included
22 | Substation Mandatory Spares Breakup |  |  | 420KV, 3150A, 63KA SF6 CB POLE | EA | 1 |  | Included
23 | Substation Mandatory Spares Breakup |  |  | GASKET, O RING, SEAL FOR SF6-420KV CB | SET | 1 |  | Included
24 | Substation Mandatory Spares Breakup |  |  | TRIP COIL ASSY-420KV SF6 CB | SET | 2 |  | Included
25 | Substation Mandatory Spares Breakup |  |  | CLOSING COIL ASSY-420KV SF6 CB | EA | 1 |  | Included
26 | Substation Mandatory Spares Breakup |  |  | TERMINAL PAD-420KV SF6 CB | EA | 2 |  | Included
27 | Substation Mandatory Spares Breakup |  |  | MOLECULAR FILTER-420KV CIRCUIT BREAKER | EA | 2 |  | Included
28 | Substation Mandatory Spares Breakup |  |  | CORONA RING-420KV CB | SET | 1 |  | Included
29 | Substation Mandatory Spares Breakup |  |  | RELAY,CONTACTOR,SWITCH,PB,MCB-420KV CB | SET | 1 |  | Included
30 | Substation Mandatory Spares Breakup |  |  | PRESSURE SWITCHES-420KV SF6 CB | SET | 1 |  | Included
31 | Substation Mandatory Spares Breakup |  |  | AUX SWITCH/CONTACT ASSY-420KV SF6 CB | SET | 1 |  | Included
32 | Substation Mandatory Spares Breakup |  |  | OPERATION COUNTER-CB | EA | 1 |  | Included
33 | Substation Mandatory Spares Breakup |  |  | 1 POLE-420KV, 3150A, 63KA DB ISOLATOR+1E | EA | 1 |  | Included
34 | Substation Mandatory Spares Breakup |  |  | COPPER CONTACT FINGERS-420KV DB ISOLATOR | SET | 2 |  | Included
35 | Substation Mandatory Spares Breakup |  |  | CONTACTOR, TIMER, SWITCH-420KV ISOLATOR | SET | 1 |  | Included
36 | Substation Mandatory Spares Breakup |  |  | LIMIT SWITCH-420KV ISOLATOR | SET | 2 |  | Included
37 | Substation Mandatory Spares Breakup |  |  | TERM PAD+CONNECTOR-420KV ISOLATOR | EA | 3 |  | Included
38 | Substation Mandatory Spares Breakup |  |  | CORONA SHIELD RING-420KV DB ISOLATOR -1P | SET | 3 |  | Included
39 | Substation Mandatory Spares Breakup |  |  | 420KV, 3000A, 63KA,1-PH,CT-120% RATING | EA | 1 |  | Included
40 | Substation Mandatory Spares Breakup |  |  | SURGE ARRESTER,1-PH,336KV | EA | 1 |  | Included
41 | Substation Mandatory Spares Breakup |  |  | SURGE MONITOR,1-PH | EA | 5 |  | Included
42 | Substation Mandatory Spares Breakup |  |  | DELUGE VALVE | SET | 1 |  | Included
43 | Foundation bolts & STRUCTURES |  |  | FOUNDATION BOLTS - 32MM DIA | EA | 192 |  | Included
44 | Foundation bolts & STRUCTURES |  |  | PIPE STRUCTURE-400KV BPI (EXCL WT) | EA | 9 |  | Included
45 | Foundation bolts & STRUCTURES |  |  | STD PIPE STRUCTURE - 400 KV 1PH CT | EA | 6 |  | Included
46 | Foundation bolts & STRUCTURES |  |  | STD PIPE STRUCTURE - 400KV 3PH ISOLATOR | EA | 5 |  | Included
47 | Foundation bolts & STRUCTURES |  |  | STD PIPE STRUCTURE - 400 KV 1PH SA | EA | 3 |  | Included
48 | PMU & associated items (Balipara PG) |  |  | PMU WITH GPS CLOCK | EA | 1 |  | Included
49 | PMU & associated items (Balipara PG) |  |  | WAMS - TIME SYSTEM (GPS RECEIVER) | EA | 1 |  | Included
50 | PMU & associated items (Balipara PG) |  |  | SUBSTATION GRADE L2 LAN SWITCH | EA | 1 |  | Included
51 | PMU & associated items (Balipara PG) |  |  | SUBSTATION GRADE L3 LAN SWITCH | EA | 1 |  | Included
52 | PMU & associated items (Balipara PG) |  |  | WAMS - ARMORED FIBRE OPTIC CABLE | EA | 1 |  | Included
53 | PMU & associated items (Balipara PG) |  |  | LIU-FO PATCH PANEL-12 PORT | EA | 2 |  | Included
|  |  |  | Total Amount (Balipara) |  |  |  | 0
North Eastern Region Expansion Scheme –XXII:Bongaingaon S/S
1 | HVWS FOR BUS REACTOR |  |  | HVW spray system, Hydrant system and complete U/G & O/G piping andaccessories etc. out side the pump house for 125 MVAR, 420kV, 3 phaseBus Reactor | SET | 1 |  | Included
2 | HVWS FOR BUS REACTOR |  |  | HVW spray system, Hydrant system and complete U/G & O/G piping andaccessories etc. out side the pump house for 80 MVAR, 420kV, 3 phaseBus Reactor | SET | 1 |  | Included
3 | CABLE FOR WORKS |  |  | 1.1KV 10CX2.5SQMM PVC CONTROL CABLE(KM) | km | 1.5 |  | Included
4 | CABLE FOR WORKS |  |  | 1.1KV 3.5CX35SQMM PVC POWER CABLE(KM) | km | 0.4 |  | Included
5 | CABLE FOR WORKS |  |  | 1.1KV 3CX2.5SQMM PVC CONTROL CABLE(KM) | km | 1 |  | Included
6 | CABLE FOR WORKS |  |  | 1.1KV 5CX2.5SQMM PVC CONTROL CABLE(KM) | km | 3 |  | Included
7 | CABLE FOR WORKS |  |  | 4 PAIR, 0.5SQMM SCREENED CABLE(KM) | km | 0.8 |  | Included
8 | CABLE FOR WORKS |  |  | 1.1KV 19CX1.5SQMM PVC CONTROL CABLE(KM) | km | 2 |  | Included
9 | CABLE FOR WORKS |  |  | 1.1KV 27CX1.5SQMM PVC CONTROL CABLE(KM) | km | 0.3 |  | Included
10 | CABLE FOR WORKS |  |  | 1.1KV 3.5CX300SQ.MM XLPE POWER CABLE(KM) | km | 1 |  | Included
11 | ILLUMINATION & OTHER AUXILLARIES |  |  | Outdoor Power Receptacle for oilfiltration unit (250A) | EA | 1 |  | Included
12 | ILLUMINATION & OTHER AUXILLARIES |  |  | LIGHTING FIXTURE LED LUMINAIRES TYPE FL2 AS PER TECH. SPECIFICATIONS | EA | 8 |  | Included
13 | erection hardware |  |  | ERECTION H/W FOR MISCELLANEOUS WORK AS PER TECHNICAL SPECIFICATION | LS | 2 |  | Included
14 | PMU & associated items (Bongaigaon) |  |  | PMU with GPS Clock (clock can be either internal or external) | EA | 2 |  | Included
15 | PMU & associated items (Bongaigaon) |  |  | WAMS Hardware - Time System (GPS receiver) | EA | 2 |  | Included
16 | PMU & associated items (Bongaigaon) |  |  | SUBSTATION GRADE LAYER 2 LAN SWITCH | EA | 2 |  | Included
17 | PMU & associated items (Bongaigaon) |  |  | SUBSTATION GRADE LAYER 3 LAN SWITCH | EA | 1 |  | Included
18 | PMU & associated items (Bongaigaon) |  |  | WAMS Miscellaneous - Armored Fibre Optic Cable and associatedtermination (e.g. L2 Switch) for connecting PMU panels located indifferent control room of a station | EA | 1 |  | Included
19 | PMU & associated items (Bongaigaon) |  |  | LIU - FO PATCH PANEL-12 PORT | EA | 3 |  | Included
|  |  |  | Total Amount (Bongaigaon) |  |  |  | 0
Total Bid Price for the Schedule-IB (BNC+Balipara+Bongaigaon) | [7 empty] | 0 |  |  |  |  | #REF!
Date : | [6 empty] | Printed Name : | Printed Name
Place : | [6 empty] | Designation : | Desig

## Sch-IC
NESH/CSM/4904-01 | [11 empty] | Schedule-IC to BPS (Vol-IC) | Schedule - 1 |  |  |  |  | Direct Total | #REF! | #REF! | `
[18 empty] | BO Total | #REF! | #REF!
Name of Package:AIS Bay extension works of (a) Extension of 400kV Bongaigaon (POWERGRID) S/s under NERES XXII, (b)Extension of 400kV Balipara (POWERGRID) S/s under NERES-XXVI , and (c)Extension of 400kV Biswanath Chariali (POWERGRID) S/s under NERES-29B.
(SCHEDULE OF RATES AND PRICES)
Bidder’s Name and Address:( Sole Bidder) | [8 empty] | To,
General Manager (C&M)
Name : | Name | [8 empty] | Power Grid Corporation of India Limited | [9 empty] | #REF!
Address : | Add1 | [8 empty] | North Eastern Region
| Add2 | [8 empty] | Dongtieh, Lower Nongrah, Lapalang
Shillong – 793 006 (Meghalaya).
Erection Portion | [18 empty] | Direct
[11 empty] | All Prices are in Indian Rupees. |  | All Prices are in Indian Rupees. | [5 empty] | Bought-Out
SI. No. | HSN/SAC Code | Whether SAC in column ‘B’ is confirmed. If not, indicate applicable "SAC code # | Rate of GST applicable ( in %) | Whether rate of GST in column ‘D is confirmed. If not indicate applicable rate of GST# (in %) | Activity Description | Equipment Head | Element Name | Item Description | Unit | Qty. | Unit Erection price | Total Erection price | Mode of Transaction (Direct or Bought out)^ | GST, Tax as confirmed by Bidder | Total Value | Applicable GST Rate | GST on item
1 | 2 | 5B | 5C | 5D |  |  |  | 6 | 7 | 8 | 9 | 10 = (8X9) | 11 | 11
PART I : North Eastern Region Expansion Scheme – 29, Part–B (NERES–29, Part–B) [TR-202454]:800kV BNC S/S
1 | 998736 |  | 18% |  | Install_400kV AIS Equipments | cables | R.C Nagar-1 | 420kV, 3150A, 63kA Circuit Breaker(3-Phase) without closing resistor(with support structure) | EA | 1 |  | Included
2 | 998736 |  | 18% |  | Install_400kV AIS Equipments | cables | R.C Nagar-1 | 420kV, 3150A, 63KA, Isolator (3-phase)(Double Break) with one E/S | EA | 6 |  | Included
3 | 998736 |  | 18% |  | Install_400kV AIS Equipments | cables | R.C Nagar-1 | 420 kV, 3000A, 63KA, 1-Phase CurrentTransformer with 120% extended currentrating | EA | 6 |  | Included
4 | 998736 |  | 18% |  | Install_400kV AIS Equipments | cables | R.C Nagar-1 | 336kV Surge Arrester (1-phase) | EA | 3 |  | Included
5 | 998734 |  | 18% |  | Install_400kV AIS Equipments | cables | R.C Nagar-1 | 420KV, 1-PHASE BUS POST INSULATORS (except for Line Traps) | EA | 8 |  | Included
6 | 998736 |  | 18% |  | Install_400kV AIS Equipments | cables | R.C Nagar-1 | 420kV, 3150A, 63KA Circuit Breaker(3-Phase) with closing resistor(withsupport structure) | EA | 1 |  | Included
7 | 998739 |  | 18% |  | Install_400kV AIS Equipments | cables | R.C Nagar-2 | 400 KV Bay Marshilling Kiosk | EA | 2 |  | Included
8 | 998736 |  | 18% |  | Install_400kV AIS Equipments | cables | R.C Nagar-2 | DCDB extension | LS | 1 |  | Included
9 | 998736 |  | 18% |  | Install_CRP | cables | R.C Nagar-2 | Controlled Switching Device for 420 kV, 3-ph Circuit Breaker | EA | 2 |  | Included
10 | 998736 |  | 18% |  | Install_CRP | cables | R.C Nagar-2 | 400kV Circuit Breaker Relay Panel with Auto Reclose (with Automation) | EA | 2 |  | Included
11 | 998736 |  | 18% |  | Install_CRP | cables | R.C Nagar-2 | 400kV Reactor Protection Panel (with Automation) | EA | 1 |  | Included
12 | 998736 |  | 18% |  | Install_CRP | cables | R.C Nagar-2 | Augmentation of existing 400kV bus bar protection scheme.(No. of bays as per specification)-(with Automation) | SET | 1 |  | Included
13 | 998736 |  | 18% |  | Install_SAS | cables | R.C Nagar-1 | Augmentation of Substation automation System for 400kV Tie bay as per Technical Specification | EA | 1 |  | Included
14 | 998736 |  | 18% |  | Install_SAS | cables | R.C Nagar-1 | Augmentation of Substation automation System for 400kV Main bay as per Technical Specification | EA | 1 |  | Included
15 | 998739 |  | 18% |  | Install_Illumination System | cables | R.C Nagar-2 | Illumination System for switchyard panel room of 6 m length | SET | 1 |  | Included
16 | 998731 |  | 18% |  | Install_Illumination System | cables | R.C Nagar-2 | LED Flood Light Luminaries Type-FL-1 as per technical specification | EA | 20 |  | Included
17 | 998731 |  | 18% |  | Install_Illumination System | CRP | R.C Nagar-1 | Lighting Fixture LED Luminaires type FL2 as per tech. specifications | EA | 20 |  | Included
18 | 998739 |  | 18% |  | Install_Illumination System |  |  | Outdoor Power Receptacle for oilfiltration unit (250A) | EA | 1 |  | Included
19 | 995461 |  | 18% |  | Install_Illumination System |  |  | Lighting Panel type ACP-2 as per technical specification | EA | 2 |  | Included
20 | 998731 |  | 18% |  | Install_Illumination System |  |  | Type L1 Street Lighting Pole of 6 meter as per technical specification. | EA | 25 |  | Included
21 | 998731 |  | 18% |  | Install_Illumination System |  |  | LED Street Light Luminaire TYPE SL-L1 (= 45W)as per technical specification | EA | 25 |  | Included
22 | 998731 |  | 18% |  | Install_Illumination System |  |  | 63A, 415V : Interlocked switch socket outdoor Receptacle (type RP) as per technical specifications | EA | 1 |  | Included
23 | 998731 |  | 18% |  | Install_Illumination System |  |  | Lighting Panel type ACP-3 as per technical specification | EA | 2 |  | Included
24 | 995461 |  | 18% |  | Install_Fire Fighting |  |  | Fire Detection and Alarm System for Switchyard Panel Room of 6 m length | SET | 1 |  | Included
25 | 995461 |  | 18% |  | Install_Fire Fighting |  |  | 4.5 kg CO2 type Portable Fire extinguisher | EA | 1 |  | Included
26 | 998736 |  | 18% |  | Install_Fire Fighting |  |  | 6Kg dry chemical powered type Portable Fire extinguisher | EA | 1 |  | Included
27 | 998736 |  | 18% |  | Install_Fire Fighting |  |  | HVW spray system, Hydrant system and complete U/G & O/G piping and accessories etc. out side the pump house for 420kV 3 phase BUSReactor | SET | 1 |  | Included
28 | 995463 |  | 18% |  | Install_Air Conditioning |  |  | Air conditioning system for Switchyard Panel Room of 6m length | SET | 1 |  | Included
29 | 998731 |  | 18% |  | Install_Main Earthmat |  |  | 40 mm MS rod for Main Earthmat | KM | 3 |  | Included
30 | 998731 |  | 18% |  | Install_Erection H/W | CRP | R.C Nagar-1 | Erection Hardware for 400kV D type layout-Bus Reactor bay as per specification | SET | 1 |  | Included
31 | 998731 |  | 18% |  | Install_Erection H/W | CRP | R.C Nagar-2 | Erection Hardware for 400kV D type layout-Spare bay of half dia. as per specification | SET | 1 |  | Included
32 | 998736 |  | 18% |  | Install_Power & Control Cables |  |  | 1.1kV grade Power Cables (PVCinsulated)along withlugs,glands,straight joints &accessories,etc. | LS | 1 |  | Included
33 | 998736 |  | 18% |  | Install_Power & Control Cables |  |  | 1.1kV grade Control Cables (PVCinsulated) along withlugs,glands,straight joints &accessories,etc. | LS | 1 |  | Included
34 | 998736 |  | 18% |  | Install_Power & Control Cables |  |  | 1.1kV grade Power Cables (XLPEinsulated) along withlugs,glands,straight joints &accessories,etc. | LS | 1 |  | Included
35 | 998731 |  | 18% |  | Install_VMS |  |  | Color IP camera, with PAN, TILT and ZOOM facilities, alongwith all required Items, Accessories, Line Interface units, Fiber patchcords, Power supply units, Junction Boxes, Cables, Fiber Optic Cables, etc., and including Integration in existing Hardware andSoftware for Augmentation of Visual Monitoring System as per technical specification. | SET | 1 |  | Included
36 | 995455 |  | 18% |  | Erection of Non-Standard structure |  |  | Erection of Lattice Structures (MS Steel), to be designed during detailed engineering, for towers, beams and equipment supportstructure including pack plates / packwashers and gusset plates excluding fasteners and foundation bolts | MT | 40 |  | Included
37 | 995455 |  | 18% |  | Erection of Non-Standard structure |  |  | Erection of fasteners ( nuts, bolts and washers ) including step bolts for lattice and pipe structures to be designed duringdetailed engineering | MT | 2 |  | Included
38 | 995455 |  | 18% |  | Erection of Non-Standard structure |  |  | Erection of foundation bolts including nuts, checknut and washers for lattice and pipe structures to be designed during detailedengineering | MT | 3 |  | Included
39 | 995432 |  | 18% |  | Civil Work |  |  | Soil Investigation for 02 borehole locations: As per technical specification including all laboratory and field tests, report andrecommendations. | LOT | 1 |  | Included
40 | 995433 |  | 18% |  | Civil Works |  |  | Excavation in all kind of soil including rock for all leads and lifts, backfilling, disposal of surplus earth within a lead up to2Km as per technical specification. The surplus earth shall be roughly graded . | M3 | 2025 |  | Included
41 | 995454 |  | 18% |  | Civil Works |  |  | Providing and laying of Plain Cement Concrete (PCC) (1:4:8) | M3 | 241 |  | Included
42 | 995454 |  | 18% |  | Civil Works |  |  | Providing and laying of Plain Cement Concrete (PCC) (1:2:4) | M3 | 43 |  | Included
43 | 995454 |  | 18% |  | Civil Works |  |  | Providing and laying of Reinforced Cement Concrete M25 mix including pre cast, shuttering, Grouting of pockets & underpinning butexcluding steel reinforcement | M3 | 930 |  | Included
44 | 995451 |  | 18% |  | Civil Works |  |  | Steel Reinforcement | MT | 55 |  | Included
45 | 995428 |  | 18% |  | Civil Works |  |  | Stone filling (40 mm size) for Reactor foundation | M3 | 20 |  | Included
46 | 995455 |  | 18% |  | Civil Works |  |  | Misc. Structural steel including rails, embedments, edge protection angles, gratings etc. but excluding the reinforcement steel andsteel for lattice and pipe structures. | MT | 12 |  | Included
47 | 995428 |  | 18% |  | Civil Works |  |  | Stone spreading in switchyard excluding PCC | M2 | 13600 |  | Included
48 | 995428 |  | 18% |  | Civil Works |  |  | Antiweed treatment | M2 | 13600 |  | Included
49 | 995423 |  | 18% |  |  |  |  | Providing & laying non-woven Geosynthetics fabric of minimum 200GSM in separation layer between sub-grade and stone spreading in switchyard as per technical specification and direction of Engineer-in-Charge. | M2 | 13600 |  | Included
50 | 995429 |  | 18% |  | Civil Works |  |  | Dismantling of Chain Link fencing and disposal of unserviceable material and stackinmg of serviceable material with in S/S Boundaryas per direction of site-In-charge. | M | 100 |  | Included
51 | 995477 |  | 18% |  | Civil Works |  |  | Chain link fencing matching with existing fence excluding concrete | RM | 250 |  | Included
52 | 995455 |  | 18% |  | Civil Works |  |  | Switchyard Gate excluding Concrete | No. | 1 |  | Included
53 | 995421 |  | 18% |  | Civil Works |  |  | Construction of rail cum road as per drawing including all item such as excavation,compactions, rolling watering, WBM etc. butexcluding concrete reinforcement and structural steel-Section having two rails for Reactor. | M2 | 68 |  | Included
54 | 995454 |  | 18% |  | Civil Works |  |  | Switchyard Panel Room - Civil Works. All civil works as per drawing and specifications complete, including - brickwork, finishing(external and internal), windows etc. However, excavation, PCC, RCC and reinforcement shall be paid separately as per BPS. | M2 | 30 |  | Included
55 | 995421 |  | 18% |  | Civil Works |  |  | 3.75m wide Concrete road (including all crossings) as per drawing except reinforcement & concrete in Switchyard | M2 | 1000 |  | Included
56 | 995432 |  | 18% |  | Civil Works |  |  | Earthwork in excavation & filling in all types of soil and soft/disintegrated rock in open areas/nallas/channels, to the requiredslopes, shapes, levels, elevations and profile, including trimming of bottom and slopes of excavation, bailing out rain(dewatering), pumping, removal of slush, preparing embankments/marginal banks, loosening, dressing, spreading material in layers notexceeding 200mm, as per direction of Engineer-in-Charge, water flooding, compacting to achieve 95% consolidation at optimum moisturecontent, finishing etc. all complete, for all leads and lifts within leveling boundary, including disposal of surplus earth andstacking of unsuitable material within a lead of 2.0 Km beyond substation boundary, with all labour, material, tools, tackles andequipment, safeguards and incidentals, Royalty,taxes etc. as necessary, as per drawings, specification and directions of theEngineer-in-Charge. Clearing of jungle is included in this item. (Only excavation/cutting will be measured for payment purpose.) | M3 | 1000 |  | Included
57 | 995454 |  | 18% |  | Civil Works |  |  | Cable Trench including all types of crossings, all metallic works and sump pit including concrte and reinforcement steel Section 2-2 | M | 150 |  | Included
58 | 995454 |  | 18% |  | Civil Works |  |  | Cable Trench including all types of crossings, all metallic works and sump pit including concrte and reinforcement steel Section 4-4 | M | 100 |  | Included
59 | 995451 |  | 18% |  | Civil Works |  |  | Supply and Installation of 800mm dia vibro stone columns as per approved drawing, using bottom feed method as per IS 15284 (PT-1),2003 as per site requirements including all T&Ps, materials etc. complete in all respect. This includes setting up of column, supplyof required stone aggregate, feeding of the stone from the stone stack, automatic real time monitoring of depth and compactioneffect for each column, preparation of records, submission and preparation of as built drawings etc. The rates are inclusive of allmaterials, labour, T&P etc. required for completion of the work in all respect.Mode of Measurement - For payment purpose, length ofboring shall be measured from Stone Column Cut-off Level to Termination level of Stone Column. | RM | 4000 |  | Included
60 | 995451 |  | 18% |  | Civil Works |  |  | Providing and laying of granular material blanket by using clean medium to coarse sand over the top of the stone column. The blanketmaterial should be laid after ensuring complete removal of slush deposited during boring/charging operations etc., The granularblanket shall be compacted by suitable means such as rolling or tamping to densify the layer. The rates is inclusive of allmaterials, labour, T&P etc. required for completion of the work in all respect.The compacted layer shall be measured for thepayment purpose. | M3 | 250 |  | Included
61 | 995451 |  | 18% |  | Civil Works |  |  | Routine vertical load testing (Plate load test) of group of 3 stone columns of 800 mm dia as per approved drawing andIS:15284(Pt.I):2003, complete with all labour, equipment, kentledge, material etc. | EA | 2 |  | Included
62 | 995451 |  | 18% |  | Civil Works |  |  | Routine vertical load testing of single stone column of 800 mm dia for design load intensity as per IS:15284(Pt.I):2003, completewith all labour, equipment, kentiledge, material etc | EA | 1 |  | Included
63 | 995462 |  | 18% |  | Civil Works |  |  | Drain including culverts but excluding concrete & reinforcement steel. Drain including culverts but excluding concrete & reinforcement steel-Section A-A | M | 500 |  | Included
64 | 995462 |  | 18% |  | Civil Works |  |  | Drain including culverts but excluding concrete & reinforcement steel. Drain including culverts but excluding concrete & reinforcement steel-Section B-B | M | 500 |  | Included
65 | 995462 |  | 18% |  | Civil Works |  |  | Supplying and erecting dewatering pumps-5 HP | EA | 1 |  | Included
66 | 998713 |  | 18% |  | PMU for 125MVAR BR at BNC |  |  | Service:- Phasor Measurement Unit (PMU) | EA | 1 |  | Included
67 | 998734 |  | 18% |  | PMU for 125MVAR BR at BNC |  |  | WAMS TIME SYSTEM(GPS RECEIVER) | EA | 1 |  | Included
68 | 998734 |  | 18% |  | PMU for 125MVAR BR at BNC |  |  | SUBSTATION GRADE Layer 2 LAN SWITCH | EA | 1 |  | Included
69 | 998734 |  | 18% |  | PMU for 125MVAR BR at BNC |  |  | SUBSTATION GRADE Layer 3 LAN SWITCH | EA | 1 |  | Included
70 | 998713 |  | 18% |  | PMU for 125MVAR BR at BNC |  |  | Services:- Armored Fibre Optic Cable and associated termination equipment | LOT | 1 |  | Included
71 | 998316 |  | 18% |  | PMU for 125MVAR BR at BNC |  |  | SUPPLY, INSTALLATION, TESTING AND COMMISSIONING OF LIU-FO PATCH PANEL-12 PORT | EA | 2 |  | Included
72 | 998734 |  | 18% |  | PMU for 125MVAR BR at BNC |  |  | Integration of PMU with the PDC (Phasor Data Concentrator) of RLDCs and respective SLDCs as required. | LOT | 1 |  | Included
[8 empty] | Total Amount (BNC) |  |  |  | 0
Part II : North Eastern Region Expansion Scheme –XXVI:Decommissioning of existing 420kV, 50MVAr (Bus Reactor-1) and installation of new 420kV, 125MVAr bus reactor in its place along with replacement of associated main and tie bay equipment at Balipara (POWERGRID) S/s under NERES XXVI
1 | 998736 |  | 18% |  | Service 420KV, 63KA AIS EQUIPMENTS | Cables | Khleheriat#2 | 420kV, 3150A, 63kA Circuit Breaker(3-Phase) without closing resistor(with support structure) | EA | 2 |  | Included
2 | 998736 |  | 18% |  | Service 420KV, 63KA AIS EQUIPMENTS | Cables | Khleheriat#2 | 420 kV, 3000A, 63KA, 1-Phase CurrentTransformer with 120% extended currentrating | EA | 6 |  | Included
3 | 998736 |  | 18% |  | Service 420KV, 63KA AIS EQUIPMENTS | Cables | Khleheriat#2 | 420kV, 3150A, 63KA Isolator (3-phase)(Double Break) with two E/S | EA | 1 |  | Included
4 | 998736 |  | 18% |  | Service 420KV, 63KA AIS EQUIPMENTS | Cables | Khleheriat#2 | 420kV, 3150A, 63KA, Isolator (3-phase)(Double Break) with one E/S | EA | 4 |  | Included
5 | 998736 |  | 18% |  | Service 420KV, 63KA AIS EQUIPMENTS | Cables | Khleheriat#2 | 336kV Surge Arrester (1-phase) | EA | 3 |  | Included
6 | 998734 |  | 18% |  | Service 420KV, 63KA AIS EQUIPMENTS | Cables | Khleheriat#2 | 420KV, 1-PHASE BUS POST INSULATORS | EA | 9 |  | Included
7 | 998731 |  | 18% |  | Service-Erection hardware | Cables | Kopili#2 | Erection Hardware for 400kV I type layout-Bus Reactor bay as per specification as per specification | SET | 1 |  | Included
8 | 998736 |  | 18% |  | Service CRP | Cables | Kopili#2 | Controlled Switching Device for 420 kV, 3-ph Circuit Breaker | EA | 2 |  | Included
9 | 998739 |  | 18% |  | SERVICE-ILLUMINATION & OTHER AUXILLARIES |  |  | Outdoor Power Receptacle for oilfiltration unit (250A) | EA | 1 |  | Included
10 | 998731 |  | 18% |  | SERVICE-ILLUMINATION & OTHER AUXILLARIES |  |  | LED Flood Light Luminaries Type FL-2 (250W) as per technical specification | EA | 10 |  | Included
11 | 998736 |  | 18% |  | SERVICE -CABLES |  |  | 1.1kV grade Power Cables (PVCinsulated)along withlugs,glands,straight joints &accessories,etc. | LS | 1 |  | Included
12 | 998736 |  | 18% |  | SERVICE -CABLES |  |  | 1.1kV grade Control Cables (PVCinsulated) along withlugs,glands,straight joints &accessories,etc. | LS | 1 |  | Included
13 | 998736 |  | 18% |  | SERVICE -CABLES |  |  | 1.1kV grade Power Cables (XLPEinsulated) along withlugs,glands,straight joints &accessories,etc. | LS | 1 |  | Included
14 | 998736 |  | 18% |  | SERVICE-HVWS BUS REACTOR |  |  | HVW spray system, Hydrant system and complete U/G & O/G piping and accessories etc. out side the pump house for 125 MVAR, 420kV, 3phase Bus Reactor | SET | 1 |  | Included
15 | 995455 |  | 18% |  | Service Foundation & Structure |  |  | Erection of 32mm dia foundation bolts including nuts, checknuts, washers and packplates | EA | 192 |  | Included
16 | 995455 |  | 18% |  | Service Foundation & Structure |  |  | Erection of Pipe Structure - 400 kV 1-Phase SA including nuts, bolts, all type of washers, packplates, step bolts and gusset platesexcluding foundation bolts | EA | 3 |  | Included
17 | 995455 |  | 18% |  | Service Foundation & Structure |  |  | Erection of Pipe Structure - 400 kV 1-Phase CT including nuts, bolts, all type of washers, packplates, step bolts and gusset platesexcluding foundation bolts | EA | 6 |  | Included
18 | 995455 |  | 18% |  | Service Foundation & Structure |  |  | Erection of Pipe Structure - 400 kV, 1-Phase, BPI, (Excluding Wave Trap), including nuts, bolts, all type of washers,packplates, step bolts and gusset plates excluding foundation bolts | EA | 9 |  | Included
19 | 995455 |  | 18% |  | Service Foundation & Structure |  |  | Erection of Pipe Structure - 400 kV 3-Phase ISOLATOR including nuts, bolts, all type of washers, packplates, step bolts and gussetplates excluding foundation bolts | EA | 5 |  | Included
20 | 995429 |  | 18% |  | DISMANTLING-50MVAR REACTOR |  |  | Dismantling of existing 400kV Reactor along with all accessories and storing at substation as per Tec. Spec. | LS | 1 |  | Included
21 | 995429 |  | 18% |  | DISMANTLING-50MVAR REACTOR |  |  | Dismantling of HVWS Spray system as per technical specification | SET | 1 |  | Included
22 | 995429 |  | 18% |  | DISMANTLING OF EQUIPMENT & STRUCTURE |  |  | Dismantling of 400kV CB | EA | 2 |  | Included
23 | 995459 |  | 18% |  | DISMANTLING OF EQUIPMENT & STRUCTURE |  |  | Dismantling of Lattice/Pipe Support Structure for 400kV Circuit Breaker (3-Phase) | EA | 2 |  | Included
24 | 995429 |  | 18% |  | DISMANTLING OF EQUIPMENT & STRUCTURE |  |  | Dismantling of 400kV CT | EA | 6 |  | Included
25 | 995459 |  | 18% |  | DISMANTLING OF EQUIPMENT & STRUCTURE |  |  | Dismantling of Lattice/Pipe Support Structure for 400kV CT (1-Phase) | EA | 6 |  | Included
26 | 995429 |  | 18% |  | DISMANTLING OF EQUIPMENT & STRUCTURE |  |  | Dismantling of 400kV BPI | EA | 9 |  | Included
27 | 995459 |  | 18% |  | DISMANTLING OF EQUIPMENT & STRUCTURE |  |  | Dismantling of Lattice/Pipe Support Structure for 400kV BPI (1-Phase) | EA | 9 |  | Included
28 | 995429 |  | 18% |  | DISMANTLING OF EQUIPMENT & STRUCTURE |  |  | Dismantling of 400kV Isolators | EA | 5 |  | Included
29 | 995459 |  | 18% |  | DISMANTLING OF EQUIPMENT & STRUCTURE |  |  | Dismantling of Lattice/Pipe Support Structure for 400kV Isolator (3-Phase) | EA | 5 |  | Included
30 | 995429 |  | 18% |  | DISMANTLING OF EQUIPMENT & STRUCTURE |  |  | Dismantling of 400kV SA | EA | 3 |  | Included
31 | 995459 |  | 18% |  | DISMANTLING OF EQUIPMENT & STRUCTURE |  |  | Dismantling of Lattice/Pipe Support Structure for 400kV SA (1-Phase) | EA | 3 |  | Included
32 | 995433 |  | 18% |  | Civil works |  |  | Excavation in all kind of soil including rock for all leads and lifts, backfilling, disposal of surplus earth within a lead up to2Km as per technical specification. The surplus earth shall be roughly graded . | M3 | 1365 |  | Included
33 | 995454 |  | 18% |  | Civil works |  |  | Providing and laying of Plain Cement Concrete (PCC) (1:4:8) | M3 | 43 |  | Included
34 | 995454 |  | 18% |  | Civil works |  |  | Providing and laying of Reinforced Cement Concrete M25 mix including pre cast, shuttering, Grouting of pockets & underpinning butexcluding steel reinforcement | M3 | 798 |  | Included
35 | 995454 |  | 18% |  | Civil works |  |  | Providing and laying Plain Cement Concrete 1:5:10 (1 cement : 5 sand : 10 brick aggregate) | M3 | 341 |  | Included
36 | 995454 |  | 18% |  | Civil works |  |  | Steel Reinforcement | MT | 47 |  | Included
37 | 995428 |  | 18% |  | Civil works |  |  | Stone filling (40 mm size) for Reactor foundation | M3 | 20 |  | Included
38 | 995455 |  | 18% |  | Civil works |  |  | Misc. Structural steel including rails, embedments, edge protection angles, gratings etc. but excluding the reinforcement steel andsteel for lattice and pipe structures. | MT | 15 |  | Included
39 | 995428 |  | 18% |  | Civil works |  |  | Stone spreading in switchyard excluding PCC | M2 | 500 |  | Included
40 | 995424 |  | 18% |  | Civil works |  |  | Antiweed treatment | M2 | 5000 |  | Included
41 | 995454 |  | 18% |  | Civil works |  |  | External finishing / painting of fire wall (water proofing cement paint) (DSR 13.44.1) | M2 | 222 |  | Included
42 | 995421 |  | 18% |  | Civil works |  |  | Construction of rail cum road as per drawing including all item such as excavation,compactions, rolling watering, WBM etc. butexcluding concrete reinforcement and structural steel-Section having two rails for Reactor. | M2 | 63 |  | Included
43 | 995462 |  | 18% |  | Civil works |  |  | Supplying and erecting dewatering pumps- 2 HP | EA | 1 |  | Included
44 | 995454 |  | 18% |  | Civil works |  |  | All civil works for Drains construction of Section A-A including crossings if any as per technical specification and tender drawingscomplete in all respect with all labour and materials. | M | 50 |  | Included
45 | 995454 |  | 18% |  | Civil works |  |  | Cable Trench including all types of crossings, all metallic works and sump pit including concrte and reinforcement steel Section 3-3 | M | 50 |  | Included
46 | 995428 |  | 18% |  | Civil works |  |  | Removing,cleaning and washing of existing stones and respreading of stones in switchyard excluding PCC | M2 | 4500 |  | Included
47 | 995428 |  | 18% |  | Civil works |  |  | Supplying, filling and compacting stone boulders mixed with sand under foundations, roads, cable trenches, drains etc in layers notexceeding 250mm thickness including ramming, watering compacting | M3 | 50 |  | Included
48 | 995429 |  | 18% |  | Civil works |  |  | Demolishing RCC work including stacking of steel bars and disposal of unserviceable material. | M3 | 303 |  | Included
49 | 995432 |  | 18% |  | Civil works |  |  | Soil Investigation for 02 borehole locations: As per technical specification including all laboratory and field tests, report andrecommendations. | LOT | 1 |  | Included
50 | 998713 |  | 18% |  | PMU & associated items (Balipara PG) |  |  | Service:- Phasor Measurement Unit (PMU) | EA | 1 |  | Included
51 | 998734 |  | 18% |  | PMU & associated items (Balipara PG) |  |  | WAMS TIME SYSTEM(GPS RECEIVER) | EA | 1 |  | Included
52 | 998734 |  | 18% |  | PMU & associated items (Balipara PG) |  |  | SUBSTATION GRADE Layer 2 LAN SWITCH | EA | 1 |  | Included
53 | 998734 |  | 18% |  | PMU & associated items (Balipara PG) |  |  | SUBSTATION GRADE Layer 3 LAN SWITCH | EA | 1 |  | Included
54 | 998713 |  | 18% |  | PMU & associated items (Balipara PG) | Cables | Kopili#2 | Services:- Armored Fibre Optic Cable and associated termination equipment | LOT | 1 |  | Included
55 | 998316 |  | 18% |  | PMU & associated items (Balipara PG) | Cables | Kopili#2 | SUPPLY, INSTALLATION, TESTING AND COMMISSIONING OF LIU-FO PATCH PANEL-12 PORT | EA | 2 |  | Included
56 | 998734 |  | 18% |  | PMU & associated items (Balipara PG) | Cables | Kopili#2 | Integration of PMU with the PDC (Phasor Data Concentrator) of RLDCs and respective SLDCs as required. | LOT | 1 |  | Included
[8 empty] | Total Amount (Balipara) |  |  |  | 0
Part III : North Eastern Region Expansion Scheme –XXII:Bongaingaon S/S
1 | 995435 |  | 18% |  | SERVICE-BUS REACTOR |  |  | Shifting of 400 KV Reactor along with all accessories including erection and commissioning works | EA | 1 |  | Included
2 | 998736 |  | 18% |  | SERVICE-HVWS BUS REACTOR |  |  | HVW spray system, Hydrant system and complete U/G & O/G piping and accessories etc. out side the pump house for 80 MVAR, 420kV, 3phase Bus Reactor | SET | 1 |  | Included
3 | 998736 |  | 18% |  | SERVICE-HVWS BUS REACTOR |  |  | HVW spray system, Hydrant system and complete U/G & O/G piping and accessories etc. out side the pump house for 125 MVAR, 420kV, 3phase Bus Reactor | SET | 1 |  | Included
4 | 998736 |  | 18% |  | SERVICE -CABLES |  |  | 1.1KV 10CX2.5SQMM PVC CONTROL CABLE (KM) | km | 1.5 |  | Included
5 | 998736 |  | 18% |  | SERVICE -CABLES |  |  | 1.1KV 3.5CX35SQMM PVC POWER CABLE (KM) | km | 0.4 |  | Included
6 | 998736 |  | 18% |  | SERVICE -CABLES |  |  | 1.1KV 3CX2.5SQMM PVC CONTROL CABLE (KM) | km | 1 |  | Included
7 | 998736 |  | 18% |  | SERVICE -CABLES |  |  | 1.1KV 5CX2.5SQMM PVC CONTROL CABLE (KM) | km | 3 |  | Included
8 | 998736 |  | 18% |  | SERVICE -CABLES |  |  | 4 PAIR, 0.5SQMM SCREENED CABLE (KM) | km | 0.8 |  | Included
9 | 998736 |  | 18% |  | SERVICE -CABLES |  |  | 1.1KV 19CX1.5SQMM PVC CONTROL CABLE(KM) | km | 2 |  | Included
10 | 998736 |  | 18% |  | SERVICE -CABLES |  |  | 1.1KV 27CX1.5SQMM PVC CONTROL CABLE(KM) | km | 0.3 |  | Included
11 | 998736 |  | 18% |  | SERVICE -CABLES |  |  | 1.1KV 3.5CX300SQ.MM XLPE POWER CABLE(KM) | km | 1 |  | Included
12 | 998739 |  | 18% |  | SERVICE-ILLUMINATION & OTHER AUXILLARIES |  |  | Outdoor Power Receptacle for oilfiltration unit (250A) | EA | 1 |  | Included
13 | 998731 |  | 18% |  | SERVICE-ILLUMINATION & OTHER AUXILLARIES |  |  | LED Flood Light Luminaries Type FL-2 (250W) as per technical specification | EA | 8 |  | Included
14 | 995429 |  | 18% |  | DISMANTLING-50MVAR REACTOR |  |  | Dismantling of existing 400kV Reactor along with all accessories and storing at substation as per Tec. Spec. | LS | 2 |  | Included
15 | 995429 |  | 18% |  | DISMANTLING-50MVAR REACTOR |  |  | Dismantling of HVWS Spray system as per technical specification | SET | 3 |  | Included
16 | 995433 |  | 18% |  | civil works |  |  | Earth work in surface excavation not exceeding 30 cm in depth but exceeding 1.5 m in width as well as 10 sqm on plan including getting out and disposal of excavated earth upto 50 m and lift upto 1.5 m, as directed by Engineer-in- Charge:All kinds of soil | Sqm | 6922 |  | Included
17 | 995433 |  | 18% |  | civil works |  |  | Excavation in all kind of soil including rock for all leads and lifts, backfilling, disposal of surplus earth within a lead up to2Km as per technical specification. The surplus earth shall be roughly graded . | M3 | 1199 |  | Included
18 | 995454 |  | 18% |  | civil works |  |  | Providing and laying of Plain Cement Concrete (PCC) (1:4:8) | M3 | 48 |  | Included
19 | 995454 |  | 18% |  | civil works |  |  | Providing and laying of Reinforced Cement Concrete M25 mix including pre cast, shuttering, Grouting of pockets & underpinning butexcluding steel reinforcement | M3 | 356 |  | Included
20 | 995454 |  | 18% |  | civil works |  |  | Providing and laying Plain Cement Concrete 1:5:10 (1 cement : 5 sand : 10 brick aggregate) | M3 | 75 |  | Included
21 | 995454 |  | 18% |  | civil works |  |  | Steel Reinforcement | MT | 30 |  | Included
22 | 995428 |  | 18% |  | civil works |  |  | Stone filling (40 mm size) for transformer/Reactor foundation | M3 | 40 |  | Included
23 | 995455 |  | 18% |  | civil works |  |  | Misc. Structural steel including rails, embedments, edge protection angles, gratings etc. but excluding the reinforcement steel andsteel for lattice and pipe structures. | MT | 27 |  | Included
24 | 995428 |  | 18% |  | civil works |  |  | Stone spreading in switchyard excluding PCC | M2 | 1000 |  | Included
25 | 995424 |  | 18% |  | civil works |  |  | Antiweed treatment | M2 | 4600 |  | Included
26 | 995454 |  | 18% |  | civil works |  |  | External finishing / painting of fire wall (water proofing cement paint) (DSR 13.44.1) | M2 | 222 |  | Included
27 | 995421 |  | 18% |  | civil works |  |  | Construction of rail cum road as per drawing including all item such as excavation,compactions, rolling watering, WBM etc. butexcluding concrete reinforcement and structural steel-Section having two rails for Reactor. | M2 | 126 |  | Included
28 | 995462 |  | 18% |  | civil works |  |  | Supplying and erecting dewatering pumps- 2 HP | EA | 2 |  | Included
29 | 995428 |  | 18% |  | civil works |  |  | Removing,cleaning and washing of existing stones and respreading of stones in switchyard excluding PCC | M2 | 3600 |  | Included
30 | 995428 |  | 18% |  | civil works |  |  | Supplying, filling and compacting stone boulders mixed with sand under foundations, roads, cable trenches, drains etc in layers notexceeding 250mm thickness including ramming, watering compacting | M3 | 193 |  | Included
31 | 995435 |  | 18% |  | civil works |  |  | Soil Investigation: As per technical specification including all laboratory and field tests, report and recommendations. | LOT | 1 |  | Included
32 | 995429 |  | 18% |  | civil works |  |  | Demolishing RCC work including stacking of steel bars and disposal of unserviceable material. | M3 | 456 |  | Included
33 | 995454 |  | 18% |  | civil works |  |  | Rain water harvesting excluding reinforcement and concrete as per approved drawing and technical specification | Lot | 1 |  | Included
34 | 995462 |  | 18% |  | civil works |  |  | Drain including culverts but excluding concrete & reinforcement steel-Section A-A | RM | 150 |  | Included
35 | 995462 |  | 18% |  | civil works |  |  | Drain including culverts but excluding concrete & reinforcement steel-Section B-B | RM | 150 |  | Included
36 | 995421 |  | 18% |  | civil works |  |  | Providing and laying 60mm thick factory made cement concrete interlocking paver block of approved size, design & shape, laid in required colour and pattern over and including 50mm thick compacted bed of coarse sand, filling the joints with fine sand etc. all complete as per the direction of engineer-in-charge. | Sqm | 6922 |  | Included
37 | 998731 |  | 18% |  | Service-Erection hardware |  |  | ERECTION H/W FOR MISCELLANEOUS WORK AS PER TECHNICAL SPECIFICATION | LS | 2 |  | Included
38 | 998713 |  | 18% |  | PMU & associated items (Bongaigaon) |  |  | Service:- Phasor Measurement Unit (PMU) | EA | 2 |  | Included
39 | 998734 |  | 18% |  | PMU & associated items (Bongaigaon) |  |  | WAMS TIME SYSTEM(GPS RECEIVER) | EA | 2 |  | Included
40 | 998734 |  | 18% |  | PMU & associated items (Bongaigaon) |  |  | SUBSTATION GRADE Layer 2 LAN SWITCH | EA | 2 |  | Included
41 | 998734 |  | 18% |  | PMU & associated items (Bongaigaon) |  |  | SUBSTATION GRADE Layer 3 LAN SWITCH | EA | 1 |  | Included
42 | 998713 |  | 18% |  | PMU & associated items (Bongaigaon) |  |  | Services:- Armored Fibre Optic Cable and associated termination equipment | LOT | 1 |  | Included
43 | 998316 |  | 18% |  | PMU & associated items (Bongaigaon) |  |  | SUPPLY, INSTALLATION, TESTING AND COMMISSIONING OF LIU-FO PATCH PANEL-12 PORT | EA | 3 |  | Included
44 | 998734 |  | 18% |  | PMU & associated items (Bongaigaon) |  |  | Integration of PMU with the PDC (Phasor Data Concentrator) of RLDCs and respective SLDCs as required. | LOT | 1 |  | Included
[8 empty] | Total Amount (Bongaigaon) |  |  |  | 0
Total Bid Price for the Schedule-IC (BNC+Balipara+Bongaigaon) | [11 empty] | 0 |  |  |  |  | #REF!
Note : | Specify amount of GST on the transaction between the Contractor and the Employer. GST Shall be applicable at extra as applicable.
# | # In case the bidder leaves the cell for confirmation of the SAC and/or GST rate “blank”, the SAC and corresponding GST rate indicated by the Employer shall be deemed to be the one confirmed by the Bidder. In case the bidder doesnot quote for any of the BOQ line item then the unit rate against that item shall be considered included in other quoted unit rate. If there is any discrepancy in the total quoted price indicated in this sheet of Price_Schedule and elsewhere in the E-tender portal, then the prices indicated in this sheet of Price_Schedule shall prevail for the purpose of bid evaluation and further action.
Date : | 11/Jan/2025 | [9 empty] | Printed Name : | Printed Name
Place : | Place | [9 empty] | Designation : | Desig

## Sch-3
NESH/CSM/4904-01 |  |  | Summary to BPS-Vol-IC
Package: AIS Bay extension works of (a) Extension of 400kV Bongaigaon (POWERGRID) S/s under NERES XXII, (b)Extension of 400kV Balipara (POWERGRID) S/s under NERES-XXVI , and (c)Extension of 400kV Biswanath Chariali (POWERGRID) S/s under NERES-29B.
(GRAND SUMMARY)
Bidder’s Name and Address:( Sole Bidder) |  | To,
Name : | Name |  | General Manager (C&M)
Address : | Add1 |  | Power Grid Corporation of India Limited
| Add2 |  | North Eastern Region
Dongtieh, Lower Nongrah, Lapalang
Sl. No. | Description |  | Total Price (INR)
1 | TOTAL SCHEDULE NO. IA
| Supply |  | 0
2 | TOTAL SCHEDULE NO. IB
| Freight & Insurance |  | 0
3 | TOTAL SCHEDULE NO. IC
| Erection Charges |  | 0
5 | TOTAL SCHEDULE NO. 5 |  | #REF!
Taxes and Duties
6 | TOTAL SCHEDULE NO. 7 |  | NOT APPLICABLE
Type Test Charges [Total of this Schedule is included in Schedule - 1 above.]
| GRAND TOTAL [1+2+3] |  | 0
Date : | 1900-01-10 | Printed Name : | Printed Name
Place : | Place | Designation : | Desig