| S. No | CLAUSE REF. NO. | Existing in Bidding Documents | To be Amended as |
| --- | --- | --- | --- |
|  | Volume-III of the Bidding Documents |  |  |
| 1 | Bid price schedule 1 & 2 | Bay works for 4th ICT at TuticorinII GIS. Portable Partial Discharge measurement test kit with all necessary accessories, Industrial Grade Laptop and licensed software as per Technical specification.; EA; 1. | Item deleted |
| 2 | Bid price schedule 1,2 & 3 | 4 nos. of 400kV GIS bays at Nizamabad ss. Standard Pipe Structure for 400kV BPI for WT (1- phase); EA; 3. | 4 nos. of 400kV GIS bays at Nizamabad ss. Standard Pipe Structure for 400kV BPI for WT (1- phase); EA; 6. |
| 3 | Bid price schedule 1& 2 | NEW ITEM | 4 nos. of 400kV GIS bays at Nizamabad ss. 1000004400; 420 kV ,1 phase Bus Post Insulators for Line Traps; EA; 6. |
| 4 | Bid price schedule 3 | NEW ITEM | 4 nos. of 400kV GIS bays at Nizamabad ss. 100000883; 420 kV ,1 phase Bus Post Insulators for Line Traps; EA; 6. |
| 5 | Bid price schedule 1& 2 | 4 nos. 400kV GIS bays at Nizamabad ss. BoQ of PMU for Chandlapur- Supply; PMU with GPS Clock (clock can be either internal or external); 1000017518; EA; 2. BoQ of PMU for Chandlapur- Supply; WAMS Hardware – Time System (GPS Receiver); 1000022512; EA; 2. BoQ of PMU for Chandlapur- Supply; WAMS Hardware - Substation Grade Layer-3 LAN Switches with minimum 4x10/100 Mbps Ethernet ports and 2 x 1 Gbps Ethernet ports; 1000022510; EA; 3. BoQ of PMU for Chandlapur- Supply; WAMS Miscellaneous – Armored Fibre Optic Cable and associatedtermination (e.g. L2 switch) for connecting PMU panels located in different control room of a station; 1000022487; EA; 1. | Item deleted |
| 6 | Bid price schedule 3 | 4 nos. 400kV GIS bays at Nizamabad ss. BoQ of PMU for Chandlapur- Services; Services:- Phasor Measurement unit (PMU); 170000502; EA; 2. BoQ of PMU for Chandlapur- Services; WAMS TIME SYSTEM (GPS RECEIVER); 170000530; EA; 2. BoQ of PMU for Chandlapur- Services; Installation of Substation Grade Layer-3 LAN Switches as per Technical Specification; 170000503; EA; 3. BoQ of PMU for Chandlapur- Services; Services:- Armored Fibre Optic Cable and associated termination equipment; 170000504; LOT; 1. BoQ of PMU for Chandlapur- Services; Integration of PMU with PDC (Phasor Data Concentrator) of RLDCs and respective SLDCs as required.; 170000501; LOT; 1. | Item deleted |
| 7. | Bid Price schedule, Second Envelope | In view of the above amendment, the Price Schedule has been revised and is enclosed herewith, which shall replace the previous Price Schedule of the Bidding Documents. NOTE: Bidder shall upload Price Schedule on PRANIT portal as per provisions under Sl. No. 39 in BDS, Section-III, Volume-I. |  |