## Basic (hidden)
Ref No. | SR-II/C&M/WC-4686/2025
Package Name: | Augmentation / replacement of existing 400/230kV, 315 MVA ICT-2 with 400/230kV, 500 MVA ICT at Udumalpet 400/230kV S/s
Spec no. | SR2/NT/W-CIVIL/DOM/C00/26/00753

## Cover
ORIGINAL
Price Schedules | Augmentation / replacement of existing 400/230kV, 315 MVA ICT-2 with 400/230kV, 500 MVA ICT at Udumalpet 400/230kV S/s |  | Reconductoring Package OH01
SR2/NT/W-CIVIL/DOM/C00/26/00753
| 1 | Fill up only green shaded cells in Sch-1, Sch-2, Sch-3 and Bid Form 2nd Envelope.
| 2 | All the cells in Sch-4 & Sch-5 are auto filled, therefore no cell is required to be filled up there.
| 3 | Instructions / error messages, if any, will be displayed automatically after selecting the cell.
| 4 | After filling up all the schedues, save the file, take print out of all the schedules and Bid form and sign & stamp and submit them as hard copy of the 2nd envelope (Price part) of the bid. Also ensure to submit the soft copy of the the same file on CD/ DVD.
Click to skip Instructions & Proceed
Click for Detailed General Instructions
General guidelines for filling up the Price Schedules, Sch-1 to Sch-5

## Instructions (hidden)
General Instruction to the Bidders for filling up this workbook of Price Schedules
I | While filling up the worksheets following may please be observed :
| (i) | Fill up only green shaded cells.
| (ii) | Certain data type entries have been restricted, such as Numeric values or limits of numeric values.
| (iii) | Select only the options provided in pull down menus.
| (iv) | Do not link any cell of this work book with any other work book.
| (v) | Do not use copy & paste or cut & paste options for filling up the data.
| (vi) | Do not reformat any of the cell of the work book.
II | This Workbook consists of following worksheets :
Cover :
Opening page of the workbook.
Names of Bidder :
| ● | Select Sole Bidder from the pull down menu. Do not leave this cell blank.
| ● | Fill up names and address of the Sole Bidder.
| ● | Fill up date in dd-mmm-yyyy format from drop down menu.
| ● | Click for Sch-1 given at the right top of the worksheet to go to Sch-1.
Sch-1 (Ex-works Prices) :
| ● | Fill up unit rates for all the items in numeric values greater than 0 (zero). If unit rate is left blank, the corresponding item shall be deemed to be included in the total price.
| ● | Corresponding cell for mode of transaction shall be come enable only after filling up the unit rate, therefore first fill up the unit rate and then mode of transaction for the corresponding item.
| ● | Total amount shall get calculated automatically.
| ● | Type Test charges shall appear automatically after filling up Sch-7 appropriately.
Sch-2 (Freight & Insurance Charges) :
| ● | Fill up unit rates for all the items in numeric values greater than 0 (zero). If unit rate is left blank, the corresponding item shall be deemed to be included in the total price.
| ● | Total amount shall get calculated automatically.
Sch-3 (Erection Charges) :
| ● | Fill up unit rates for all the items in numeric values greater than 0 (zero). If unit rate is left blank, the corresponding item shall be deemed to be included in the total price.
| ● | Total amount shall get calculated automatically.
Sch-4a (Training Charges) :
| ● | Fill up unit rates for all the items in numeric values greater than 0 (zero). If unit rate is left blank, the corresponding item shall be deemed to be included in the total price.
| ● | Total amount shall get calculated automatically.
Sch-4b (Maintenance Charges during and after Defect Liability Period) :
| ● | Fill up unit rates for all the items in numeric values greater than 0 (zero). If unit rate is left blank, the corresponding item shall be deemed to be included in the total price.
| ● | Total amount shall get calculated automatically.
Sch-5 (Summary of Taxes and Duties applicable on the Goods) :
| ● | No cell is required to be filled in by the bidder in this worksheet.
Sch -6 :
| ● | Summary of all the Schedules without considering discount (mentioned in the work sheet discount) shall be displayed automatically.
| ● | No cell is required to be filled in by the bidder in this worksheet.
Sch-7 (Type Test Charges) :
| ● | Fill up the rates & location where type tests are proposed.
| ● | Total of this Sch-7 shall automatically appear in Sch-1.
Bid from 2nd Envelope :
| ● | Fill up ref. no. as bidder's ref no. of this letter.
| ● | This letter shall consider the net price as per Sch-6 (After Discount).
| ● | Fill up additional information as required.
* * *
Happy Bidding !
Click to Proceed

## Names of Bidder
Augmentation / replacement of existing 400/230kV, 315 MVA ICT-2 with 400/230kV, 500 MVA ICT at Udumalpet 400/230kV S/s
SR2/NT/W-CIVIL/DOM/C00/26/00753 |  |  | Sole Bidder | 1
|  |  | JV (Joint Venture) | 2 or More
Enter following details of the bidder
Specify type of Bidder [Select from drop down menu] | Sole Bidder |  | 0
Name of Sole Bidder
Address of Sole Bidder
Name of other Partner - 1 | e
Address of other Partner - 1 | f
g
h
Name of other Partner - 2 (more, if any)
Address of other Partner - 2 (more, if any)
Printed Name
Designation
email ID of Bid Signatory
Mobile No. of Bid Signatory
Tel No. of Bid Signatory
Fax No. of Bid Signatory
Date |  | 31
Place
Click for Sch-1

## Sch-1
SR2/NT/W-CIVIL/DOM/C00/26/00753 | [13 empty] | Schedule - 1 | [6 empty] | Direct Total | #REF! | Sole Bidder | `
[21 empty] | BO Total | #REF! | 0
Augmentation / replacement of existing 400/230kV, 315 MVA ICT-2 with 400/230kV, 500 MVA ICT at Udumalpet 400/230kV S/s
(SCHEDULE OF RATES AND PRICES)
Bidder’s Name and Address (Sole Bidder) : | [11 empty] | To:
Regional Procurement Cell,2nd Floor
Name : | [11 empty] | Power Grid Corporation of India Ltd., | [10 empty] | #REF!
Address : | [11 empty] | Regional Head Quarter, SR-II
Singanayakkanahalli, Yelahanka
Bagalore, Karnataka - 560064
Plant and Equipment (including Mandatory Spares Parts) to be supplied, including Type Test Charges for Tests to be conducted | [21 empty] | Direct
[14 empty] | All Prices are in Indian Rupees. | [7 empty] | Bought-Out
SI. No. | PR No | Line Item No | Activity Description | Material Code | HSN Code | Whether HSN in column ‘ 6 ’ is confirmed. If not indicate applicable the HSN code * | Rate of GST applicable ( in %) | Whether rate of GST in column ‘4’ is confirmed. If not indicate applicable rate of GST * | Item Description | Unit | Qty. | Unit Ex-works price (excluding GST) | Total Ex-works price (excluding GST) | GST Tax as confirmed by Bidder
1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14= 12 x 13 | 15
1 | 7000029471 | 10 | Replace 400kV ICT-2 (315-500) @Udumalpet | 1000031964 | 76169990 |  | 18% |  | 1.1KV GRADE 3CX2.5 SQMM CONTROL CABLE | KM | 1 |  | Included | 0 | 0 | 0 | 0 | 0 | 0 | 0
2 | 7000029471 | 20 | Replace 400kV ICT-2 (315-500) @Udumalpet | 1000031987 | 76169990 |  | 18% |  | 1.1KV GRADE 5CX2.5 SQMM CONTROL CABLE | KM | 2 |  | Included | 0 | 0 | 0 | 0 | 0 | 0 | 0
3 | 7000029471 | 30 | Replace 400kV ICT-2 (315-500) @Udumalpet | 1000031887 | 76169990 |  | 18% |  | 1.1KV GRADE 10CX2.5 SQMM CONTROL CABLE | KM | 2 |  | Included | 0 | 0 | 0 | 0 | 0 | 0 | 0
4 | 7000029471 | 40 | Replace 400kV ICT-2 (315-500) @Udumalpet | 1000056264 | 76169990 |  | 18% |  | 1.1KV GRADE 19CX1.5 SQMM CONTROL CABLE | KM | 2 |  | Included | 0 | 0 | 0 | 0 | 0 | 0 | 0
5 | 7000029471 | 50 | Replace 400kV ICT-2 (315-500) @Udumalpet | 1000056265 | 76169990 |  | 18% |  | 1.1KV GRADE 27CX1.5 SQMM CONTROL CABLE | KM | 1 |  | Included | 0 | 0 | 0 | 0 | 0 | 0 | 0
6 | 7000029471 | 60 | Replace 400kV ICT-2 (315-500) @Udumalpet | 1000031943 | 76169990 |  | 18% |  | 1.1KV GRADE 2CX6 SQMM (PVC) POWER CABLE | KM | 1 |  | Included | 0 | 0 | 0 | 0 | 0 | 0 | 0
7 | 7000029471 | 70 | Replace 400kV ICT-2 (315-500) @Udumalpet | 1000031985 | 76169990 |  | 18% |  | 1.1KV GRADE 4CX6 SQMM (PVC) POWER CABLE | KM | 2 |  | Included | 0 | 0 | 0 | 0 | 0 | 0 | 0
8 | 7000029471 | 80 | Replace 400kV ICT-2 (315-500) @Udumalpet | 1000031976 | 76169990 |  | 18% |  | 1.1KV GRADE 4CX16 SQMM (PVC) POWER CABLE | KM | 2 |  | Included | 0 | 0 | 0 | 0 | 0 | 0 | 0
9 | 7000029471 | 90 | Replace 400kV ICT-2 (315-500) @Udumalpet | 1000031953 | 76169990 |  | 18% |  | 1.1KV GRADE 3.5CX35 SQMM (PVC) POWER CABLE | KM | 2 |  | Included | 0 | 0 | 0 | 0 | 0 | 0 | 0
10 | 7000029471 | 100 | Replace 400kV ICT-2 (315-500) @Udumalpet | 1000031957 | 76169990 |  | 18% |  | 1.1KV GRADE 3.5CX70 SQMM (PVC) POWER CABLE | KM | 2 |  | Included | 0 | 0 | 0 | 0 | 0 | 0 | 0
11 | 7000029471 | 110 | Replace 400kV ICT-2 (315-500) @Udumalpet | 1000031951 | 76169990 |  | 18% |  | 1.1KV GRADE 3.5CX300 SQMM (XLPE) POWER CABLE | KM | 0.5 |  | Included | 0 | 0 | 0 | 0 | 0 | 0 | 0
12 | 7000029471 | 120 | Replace 400kV ICT-2 (315-500) @Udumalpet | 1000031919 | 76169990 |  | 18% |  | 1.1KV GRADE 1CX630 SQ. MM (XLPE) POWER CABLE | KM | 2 |  | Included | 0 | 0 | 0 | 0 | 0 | 0 | 0
13 | 7000029471 | 130 | Replace 400kV ICT-2 (315-500) @Udumalpet | 1000053009 | 76169990 |  | 18% |  | Jointing kit for 1.1KV GRADE 1CX630 SQ. MM (XLPE) POWER CABLE | Nos | 7 |  | Included | 0 | 0 | 0 | 0 | 0 | 0 | 0
14 | 7000029471 | 140 | Replace 400kV ICT-2 (315-500) @Udumalpet | 1000014900 | 76169990 |  | 18% |  | MCCB, 4 pole, 63A | EA | 4 |  | Included | 0 | 0 | 0 | 0 | 0 | 0 | 0
15 | 7000029471 | 150 | Replace 400kV ICT-2 (315-500) @Udumalpet | 1000014889 | 76169990 |  | 18% |  | MCCB, 4 pole, 100A | EA | 2 |  | Included | 0 | 0 | 0 | 0 | 0 | 0 | 0
16 | 7000029471 | 160 | Replace 400kV ICT-2 (315-500) @Udumalpet | 1000032389 | 76169990 |  | 18% |  | BAY CONTROL UNIT INCLUDING INTERFACE ACCESSORIES INTEGRATION WITHNTAMC AS PER TECHNICAL SPECIFICATION. | EA | 1 |  | Included | 0 | 0 | 0 | 0 | 0 | 0 | 0
17 | 7000029471 | 170 | Replace 400kV ICT-2 (315-500) @Udumalpet | 1000001894 | 76169990 |  | 18% |  | Outdoor Power Receptacle for oilfiltration unit (250A) | EA | 1 |  | Included | 0 | 0 | 0 | 0 | 0 | 0 | 0
18 | 7000029471 | 180 | Replace 400kV ICT-2 (315-500) @Udumalpet | 1000015954 | 76169990 |  | 18% |  | Fabrication, galvanising and supply of Lattice Structures (MS Steel),to be designed during detailed engineering, for towers, beams andequipment support structure including pack plates / packwashers andgusset plates excluding fasteners and foundation bolts | MT | 5 |  | Included | 0 | 0 | 0 | 0 | 0 | 0 | 0
19 | 7000029471 | 190 | Replace 400kV ICT-2 (315-500) @Udumalpet | 1000011713 | 76169990 |  | 18% |  | Fabrication, galvanising and supply of fasteners ( nuts, bolts andwashers ) including step bolts for lattice and pipe structures to bedesigned during detailed engineering | MT | 0.5 |  | Included | 0 | 0 | 0 | 0 | 0 | 0 | 0
20 | 7000029471 | 200 | Replace 400kV ICT-2 (315-500) @Udumalpet | 1000012373 | 76169990 |  | 18% |  | Fabrication, galvanising and supply of foundation bolts including nuts,checknut and washers for lattice and pipe structures to be designedduring detailed engineering | MT | 1 |  | Included | 0 | 0 | 0 | 0 | 0 | 0 | 0
21 | 7000029471 | 210 | Replace 400kV ICT-2 (315-500) @Udumalpet | 1000021297 | 76169990 |  | 18% |  | Terminal connectors for 400kV Bushing | Nos | 3 |  | Included | 0 | 0 | 0 | 0 | 0 | 0 | 0
22 | 7000029471 | 220 | Replace 400kV ICT-2 (315-500) @Udumalpet | 1000021355 | 76169990 |  | 18% |  | Terminal connectors for 245 kV Bushing | Nos | 3 |  | Included | 0 | 0 | 0 | 0 | 0 | 0 | 0
23 | 7000029471 | 230 | Replace 400kV ICT-2 (315-500) @Udumalpet | 1000075519 | 76169990 |  | 18% |  | Terminal connectors for 33 kV Bushing | Nos | 3 |  | Included | 0 | 0 | 0 | 0 | 0 | 0 | 0
24 | 7000029471 | 240 | Replace 400kV ICT-2 (315-500) @Udumalpet | 1000030412 | 76169990 |  | 18% |  | Terminal connectors for Neutral Bushing | Nos | 1 |  | Included | 0 | 0 | 0 | 0 | 0 | 0 | 0
[7 empty] | Total Ex-works Price | [5 empty] | 0
[7 empty] | Total GST Tax as confirmed by Bidder | [5 empty] | 0
Note : | Specify amount of GST on the transaction between the Contractor and the Employer.
* | In case the bidder leaves the cell for confirmation of the HSN code and/or GST rate “blank”, the HSN code and corresponding GST rate indicated by the Employer shall be deemed to be the one confirmed by the Bidder.
Date : | --
Place : | [10 empty] | Printed Name :
Designation :
Click for Sch-2

## Sch-2
SR2/NT/W-CIVIL/DOM/C00/26/00753 | [8 empty] | Schedule - 2
Augmentation / replacement of existing 400/230kV, 315 MVA ICT-2 with 400/230kV, 500 MVA ICT at Udumalpet 400/230kV S/s
(SCHEDULE OF RATES AND PRICES)
Bidder’s Name and Address (Sole Bidder) : | [7 empty] | To:
Regional Procurement Cell,2nd Floor
Name : | [7 empty] | Power Grid Corporation of India Ltd.,
Address : | [7 empty] | Regional Head Quarter, SR-II
Singanayakkanahalli, Yelahanka
Bagalore, Karnataka - 560064
Local Transportation, In-transit insurance, loading and unloading
All Prices are in Indian Rupees.
SI. No. | PR No | Line Item No | Activity Description | Material Code | Description | Unit | Quantity | Unit Freight, In-transit Insurance, loading & unloading Charges | Total Freight, In-transit Insurance, loading & unloading Charges
1 | 2 | 3 | 4 | 5 | 4 | 5 | 6 | 7 | 8= 6 x 7
1 | 7000029471 | 10 | Replace 400kV ICT-2 (315-500) @Udumalpet | 1000031964 | 1.1KV GRADE 3CX2.5 SQMM CONTROL CABLE | KM | 1 |  | Included | 0 | 0 | #VALUE!
2 | 7000029471 | 20 | Replace 400kV ICT-2 (315-500) @Udumalpet | 1000031987 | 1.1KV GRADE 5CX2.5 SQMM CONTROL CABLE | KM | 2 |  | Included | 0 | 0 | #VALUE!
3 | 7000029471 | 30 | Replace 400kV ICT-2 (315-500) @Udumalpet | 1000031887 | 1.1KV GRADE 10CX2.5 SQMM CONTROL CABLE | KM | 2 |  | Included | 0 | 0 | #VALUE!
4 | 7000029471 | 40 | Replace 400kV ICT-2 (315-500) @Udumalpet | 1000056264 | 1.1KV GRADE 19CX1.5 SQMM CONTROL CABLE | KM | 2 |  | Included | 0 | 0 | #VALUE!
5 | 7000029471 | 50 | Replace 400kV ICT-2 (315-500) @Udumalpet | 1000056265 | 1.1KV GRADE 27CX1.5 SQMM CONTROL CABLE | KM | 1 |  | Included | 0 | 0 | #VALUE!
6 | 7000029471 | 60 | Replace 400kV ICT-2 (315-500) @Udumalpet | 1000031943 | 1.1KV GRADE 2CX6 SQMM (PVC) POWER CABLE | KM | 1 |  | Included | 0 | 0 | #VALUE!
7 | 7000029471 | 70 | Replace 400kV ICT-2 (315-500) @Udumalpet | 1000031985 | 1.1KV GRADE 4CX6 SQMM (PVC) POWER CABLE | KM | 2 |  | Included | 0 | 0 | #VALUE!
8 | 7000029471 | 80 | Replace 400kV ICT-2 (315-500) @Udumalpet | 1000031976 | 1.1KV GRADE 4CX16 SQMM (PVC) POWER CABLE | KM | 2 |  | Included | 0 | 0 | #VALUE!
9 | 7000029471 | 90 | Replace 400kV ICT-2 (315-500) @Udumalpet | 1000031953 | 1.1KV GRADE 3.5CX35 SQMM (PVC) POWER CABLE | KM | 2 |  | Included | 0 | 0 | #VALUE!
10 | 7000029471 | 100 | Replace 400kV ICT-2 (315-500) @Udumalpet | 1000031957 | 1.1KV GRADE 3.5CX70 SQMM (PVC) POWER CABLE | KM | 2 |  | Included | 0 | 0 | #VALUE!
11 | 7000029471 | 110 | Replace 400kV ICT-2 (315-500) @Udumalpet | 1000031951 | 1.1KV GRADE 3.5CX300 SQMM (XLPE) POWER CABLE | KM | 0.5 |  | Included | 0 | 0 | #VALUE!
12 | 7000029471 | 120 | Replace 400kV ICT-2 (315-500) @Udumalpet | 1000031919 | 1.1KV GRADE 1CX630 SQ. MM (XLPE) POWER CABLE | KM | 2 |  | Included | 0 | 0 | #VALUE!
13 | 7000029471 | 130 | Replace 400kV ICT-2 (315-500) @Udumalpet | 1000053009 | Jointing kit for 1.1KV GRADE 1CX630 SQ. MM (XLPE) POWER CABLE | Nos | 7 |  | Included | 0 | 0 | #VALUE!
14 | 7000029471 | 140 | Replace 400kV ICT-2 (315-500) @Udumalpet | 1000014900 | MCCB, 4 pole, 63A | EA | 4 |  | Included | 0 | 0 | #VALUE!
15 | 7000029471 | 150 | Replace 400kV ICT-2 (315-500) @Udumalpet | 1000014889 | MCCB, 4 pole, 100A | EA | 2 |  | Included | 0 | 0 | #VALUE!
16 | 7000029471 | 160 | Replace 400kV ICT-2 (315-500) @Udumalpet | 1000032389 | BAY CONTROL UNIT INCLUDING INTERFACE ACCESSORIES INTEGRATION WITHNTAMC AS PER TECHNICAL SPECIFICATION. | EA | 1 |  | Included | 0 | 0 | #VALUE!
17 | 7000029471 | 170 | Replace 400kV ICT-2 (315-500) @Udumalpet | 1000001894 | Outdoor Power Receptacle for oilfiltration unit (250A) | EA | 1 |  | Included | 0 | 0 | #VALUE!
18 | 7000029471 | 180 | Replace 400kV ICT-2 (315-500) @Udumalpet | 1000015954 | Fabrication, galvanising and supply of Lattice Structures (MS Steel),to be designed during detailed engineering, for towers, beams andequipment support structure including pack plates / packwashers andgusset plates excluding fasteners and foundation bolts | MT | 5 |  | Included | 0 | 0 | #VALUE!
19 | 7000029471 | 190 | Replace 400kV ICT-2 (315-500) @Udumalpet | 1000011713 | Fabrication, galvanising and supply of fasteners ( nuts, bolts andwashers ) including step bolts for lattice and pipe structures to bedesigned during detailed engineering | MT | 0.5 |  | Included | 0 | 0 | #VALUE!
20 | 7000029471 | 200 | Replace 400kV ICT-2 (315-500) @Udumalpet | 1000012373 | Fabrication, galvanising and supply of foundation bolts including nuts,checknut and washers for lattice and pipe structures to be designedduring detailed engineering | MT | 1 |  | Included | 0 | 0 | #VALUE!
21 | 7000029471 | 210 | Replace 400kV ICT-2 (315-500) @Udumalpet | 1000021297 | Terminal connectors for 400kV Bushing | Nos | 3 |  | Included | 0 | 0 | #VALUE!
22 | 7000029471 | 220 | Replace 400kV ICT-2 (315-500) @Udumalpet | 1000021355 | Terminal connectors for 245 kV Bushing | Nos | 3 |  | Included | 0 | 0 | #VALUE!
23 | 7000029471 | 230 | Replace 400kV ICT-2 (315-500) @Udumalpet | 1000075519 | Terminal connectors for 33 kV Bushing | Nos | 3 |  | Included | 0 | 0 | #VALUE!
24 | 7000029471 | 240 | Replace 400kV ICT-2 (315-500) @Udumalpet | 1000030412 | Terminal connectors for Neutral Bushing | Nos | 1 |  | Included | 0 | 0 | #VALUE!
[5 empty] | Total F&I Price |  |  |  | 0 | 0 | 0
# | Bidders to note that the item description under various schedules are through unique material ID for respective items under SAP ERP System and therefore, identical item description appears in schedule-1(Ex-works) & schedule-2(F&I). However, the prices to be quoted in Price Schedule-2(F&I) shall be towards Local Transportation, Insurance and other Incidental Services only in line with clause ITB 11.4(b).
Date: | --
Place: | [6 empty] | Printed Name :
Designation :
Click for Sch-3

## Sch-3
SR2/NT/W-CIVIL/DOM/C00/26/00753 | [14 empty] | Schedule - 3
Augmentation / replacement of existing 400/230kV, 315 MVA ICT-2 with 400/230kV, 500 MVA ICT at Udumalpet 400/230kV S/s | [19 empty] | As per Lum-sum |  | 0%
(SCHEDULE OF RATES AND PRICES ) | [19 empty] | AS per Percent |  | #REF!
[20 empty] | As per lum-sum on Sch-3 |  | 0%
Bidder’s Name and Address (Sole Bidder) : | [11 empty] | To: | [7 empty] | As per Percent on Sch-3 |  | #REF!
0 | [11 empty] | Regional Procurement Cell,2nd Floor | [7 empty] | Total Discount |  | #REF!
Name : | [11 empty] | Power Grid Corporation of India Ltd.,
Address : | [11 empty] | Regional Head Quarter, SR-II
[12 empty] | Singanayakkanahalli, Yelahanka | [7 empty] | Multipackage lum-sum |  | #REF!
Bagalore, Karnataka - 560064
Installation Charges : | [20 empty] | Amount after Discount (Rs.) |  | Dis Alert | Amount after MPD (Rs.)
All Prices are in Indian Rupees.
SI. No. | PR No | Line Item No | Activity Header | PR Activity No | Activity Description | Service Code | SAC (Service Accounting Codes) | Whether SAC in column '8’ is confirmed. If not indicate applicable the SAC * | Rate of GST applicable ( in %) | Whether rate of GST in column ‘4’ is confirmed. If not indicate applicable rate of GST * | Description | Unit | Quantity | Unit Erection Charges | Total Erection Charges | Total GST as confirmed by Bidder |  |  |  |  | Unit Erection Charges | Total Erection Charges |  | Unit Erection Charges | Total Erection Charges
1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 = 14 x 15 | 17 |  |  |  |  | 5 | 6 = 4 x 5 |  | 5 | 6 = 4 x 5
1 | 7000029460 | 10 | 70 | 10 | Replace 400kV ICT-2 (315-500) @Udumalpet | 100007350 | 998736 |  | 18% |  | Dismantling (complete in all respect)of 315 MVA , 400/220 kV Auto Transformer which includes safe removal of all bushings,Instruments, pipes, valves, cables, panels etc. Earthing , cooler bank radiator, A frame ,conservator, all mechanical assembly including valves , Terminal connectors, safe draining of oil in tank/drum as per site etc and other items. and Proper packing of all dismantled items of s.no.1 as per instruction of EIC, Any item not mentionedif required for said work shall be in the scope of party (Work Shall bedone as per Attched scope of work) . | LOT | 1 |  | Included | 0 | 0 | 0 | 0
2 | 7000029460 | 20 | 70 | 20 | Replace 400kV ICT-2 (315-500) @Udumalpet | 100000983 | 998736 |  | 18% |  | DISMANTLING OF Existing FF system of ICT#2 | SET | 1 |  | Included | 0 | 0 | 0 | 0
3 | 7000029460 | 30 | 100 | 10 | Replace 400kV ICT-2 (315-500) @Udumalpet | 100000983 | 998736 |  | 18% |  | Re-erection of FF system of ICT#2 | SET | 1 |  | Included | 0 | 0 | 0 | 0
4 | 7000029460 | 40 | 100 | 20 | Replace 400kV ICT-2 (315-500) @Udumalpet | 100001528 | 998736 |  | 18% |  | Dismantling & Re-erection of 220kV Isolators | EA | 3 |  | Included | 0 | 0 | 0 | 0
5 | 7000029460 | 50 | 100 | 30 | Replace 400kV ICT-2 (315-500) @Udumalpet | 100000443 | 998736 |  | 18% |  | Dismantling of 220kV CT | EA | 3 |  | Included | 0 | 0 | 0 | 0
6 | 7000029460 | 60 | 100 | 40 | Replace 400kV ICT-2 (315-500) @Udumalpet | 100000443 | 998736 |  | 18% |  | Re-erection of 220kV CT | EA | 3 |  | Included | 0 | 0 | 0 | 0
7 | 7000029460 | 70 | 100 | 50 | Replace 400kV ICT-2 (315-500) @Udumalpet | 100000484 | 998736 |  | 18% |  | Dismantling of 220kV SA | EA | 3 |  | Included | 0 | 0 | 0 | 0
8 | 7000029460 | 80 | 110 | 10 | Replace 400kV ICT-2 (315-500) @Udumalpet | 100000484 | 998736 |  | 18% |  | Re-erection of 220kV SA | EA | 3 |  | Included | 0 | 0 | 0 | 0
9 | 7000029460 | 90 | 110 | 20 | Replace 400kV ICT-2 (315-500) @Udumalpet | 100002977 | 998736 |  | 18% |  | 1.1kV grade 3Cx2.5 sqmm Control Cable | KM | 1 |  | Included | 0 | 0 | 0 | 0
10 | 7000029460 | 100 | 115 | 10 | Replace 400kV ICT-2 (315-500) @Udumalpet | 100002994 | 998736 |  | 18% |  | 1.1kV grade 5Cx2.5 sqmm Control Cable | KM | 2 |  | Included | 0 | 0 | 0 | 0
11 | 7000029460 | 110 | 115 | 20 | Replace 400kV ICT-2 (315-500) @Udumalpet | 100002920 | 998736 |  | 18% |  | 1.1kV grade 10Cx2.5 sqmm Control Cable | KM | 2 |  | Included | 0 | 0 | 0 | 0
12 | 7000029460 | 120 | 115 | 30 | Replace 400kV ICT-2 (315-500) @Udumalpet | 100017187 | 998736 |  | 18% |  | 1.1KV GRADE 19CX1.5 SQMM CONTROL CABLE | KM | 2 |  | Included | 0 | 0 | 0 | 0
13 | 7000029460 | 130 | 130 | 10 | Replace 400kV ICT-2 (315-500) @Udumalpet | 100017188 | 998736 |  | 18% |  | 1.1KV GRADE 27CX1.5 SQMM CONTROL CABLE | KM | 1 |  | Included | 0 | 0 | 0 | 0
14 | 7000029460 | 140 | 130 | 20 | Replace 400kV ICT-2 (315-500) @Udumalpet | 100002958 | 998736 |  | 18% |  | 1.1kV grade 2Cx6 sqmm (PVC) Power Cable | KM | 1 |  | Included | 0 | 0 | 0 | 0
15 | 7000029460 | 150 | 130 | 30 | Replace 400kV ICT-2 (315-500) @Udumalpet | 100002992 | 998736 |  | 18% |  | 1.1kV grade 4Cx6 sqmm (PVC) Power Cable | KM | 2 |  | Included | 0 | 0 | 0 | 0
16 | 7000029460 | 160 | 130 | 40 | Replace 400kV ICT-2 (315-500) @Udumalpet | 100002986 | 998736 |  | 18% |  | 1.1kV grade 4Cx16 sqmm (PVC) Power Cable | KM | 2 |  | Included | 0 | 0 | 0 | 0
17 | 7000029460 | 170 | 130 | 50 | Replace 400kV ICT-2 (315-500) @Udumalpet | 100002968 | 998736 |  | 18% |  | 1.1kV grade 3.5Cx35 sqmm (PVC) Power Cable | KM | 2 |  | Included | 0 | 0 | 0 | 0
18 | 7000029460 | 180 | 130 | 60 | Replace 400kV ICT-2 (315-500) @Udumalpet | 100002971 | 998736 |  | 18% |  | 1.1kV grade 3.5Cx70 sqmm (PVC) Power Cable | KM | 2 |  | Included | 0 | 0 | 0 | 0
19 | 7000029460 | 190 | 130 | 70 | Replace 400kV ICT-2 (315-500) @Udumalpet | 100002965 | 998736 |  | 18% |  | 1.1kV grade 3.5Cx300 sqmm (XLPE) Power Cable | KM | 0.5 |  | Included | 0 | 0 | 0 | 0
20 | 7000029460 | 200 | 130 | 80 | Replace 400kV ICT-2 (315-500) @Udumalpet | 100002939 | 998736 |  | 18% |  | 1.1KV GRADE 1CX630 SQ. MM (XLPE) POWER CABLE | KM | 2 |  | Included | 0 | 0 | 0 | 0
21 | 7000029460 | 210 | 130 | 90 | Replace 400kV ICT-2 (315-500) @Udumalpet |  | 998736 |  | 18% |  | Jointing for 1.1KV GRADE 1CX630 SQ. MM (XLPE) POWER CABLE | Nos | 7 |  | Included | 0 | 0 | 0 | 0
22 | 7000029460 | 220 | 130 | 100 | Replace 400kV ICT-2 (315-500) @Udumalpet | 100001885 | 998736 |  | 18% |  | Installation of MCCB for all Rating and all Poles | EA | 6 |  | Included | 0 | 0 | 0 | 0
23 | 7000029460 | 230 | 130 | 110 | Replace 400kV ICT-2 (315-500) @Udumalpet | 100003228 | 998736 |  | 18% |  | Bay Control Unit including interface accessories integration with NTAMC as per technical specification. | EA | 1 |  | Included | 0 | 0 | 0 | 0
24 | 7000029460 | 240 | 130 | 120 | Replace 400kV ICT-2 (315-500) @Udumalpet | 100001885 | 998736 |  | 18% |  | Outdoor Power Receptacle for oilfiltration unit (250A) | EA | 1 |  | Included | 0 | 0 | 0 | 0
25 | 7000029460 | 250 | 130 | 130 | Replace 400kV ICT-2 (315-500) @Udumalpet | 100001210 | 998736 |  | 18% |  | Erection of Lattice Structures (MS Steel), to be designed during detailed engineering, for towers, beams and equipment supportstructure including pack plates / packwashers and gusset plates excluding fasteners and foundation bolts | MT | 5 |  | Included | 0 | 0 | 0 | 0
26 | 7000029460 | 260 | 130 | 140 | Replace 400kV ICT-2 (315-500) @Udumalpet | 100001680 | 998736 |  | 18% |  | Erection of fasteners ( nuts, bolts and washers ) including step bolts for lattice and pipe structures to be designed duringdetailed engineering | MT | 0.5 |  | Included | 0 | 0 | 0 | 0
27 | 7000029460 | 270 | 130 | 150 | Replace 400kV ICT-2 (315-500) @Udumalpet | 100001681 | 998736 |  | 18% |  | Erection of foundation bolts including nuts, checknut and washers for lattice and pipe structures to be designed during detailedengineering | MT | 1 |  | Included | 0 | 0 | 0 | 0
28 | 7000029460 | 280 | 140 | 10 | Replace 400kV ICT-2 (315-500) @Udumalpet | 1.1.2 | 998736 |  | 18% |  | Carriage of materials by mechanical transport including loading, unloading and dumping: Earth-upto 2 km as directed by the Engineer-in-charge | Cum | 406 |  | Included | 0 | 0 | 0 | 0
29 | 7000029460 | 290 | 140 | 20 | Replace 400kV ICT-2 (315-500) @Udumalpet | 1.1.4 | 998736 |  | 18% |  | Carriage of materials by mechanical transport including loading, unloading and dumping: Excavated rock upto 2 km as directed by the Engineer-in-charge | Cum | 364 |  | Included | 0 | 0 | 0 | 0
30 | 7000029460 | 300 | 140 | 30 | Replace 400kV ICT-2 (315-500) @Udumalpet | 2.6.1 | 998736 |  | 18% |  | Earth work in excavation by mechanical means (Hydraulic excavator) /manual means in foundation trenches or drains (not exceeding 1.5 m in width or 10 sqm on plan), including dressing of sides and ramming of bottoms, for all lift , including getting out the excavated soil and disposal of surplus excavated soil as directed, within a lead of 50 m.All kinds of soil. | cum | 1100 |  | Included | 0 | 0 | 0 | 0
31 | 7000029460 | 310 | 140 | 40 | Replace 400kV ICT-2 (315-500) @Udumalpet | 2.7.1 | 998736 |  | 18% |  | Earth work in excavation by mechanical means (Hydraulic excavator)/ manual means over areas (exceeding 30 cm in depth, 1.5 m in width as well as 10 sqm on plan) including getting out and disposal of excavated earth lead upto 50 m and lift upto 1.5 m, as directed by Engineer-in-charge.Ordinary rock | Cum | 100 |  | Included | 0 | 0 | 0 | 0
32 | 7000029460 | 320 | 70 | 10 | Replace 400kV ICT-2 (315-500) @Udumalpet | 2.7.2 | 998736 |  | 18% |  | Earth work in excavation by mechanical means (Hydraulic excavator)/ manual means over areas (exceeding 30 cm in depth, 1.5 m in width as well as 10 sqm on plan) including getting out and disposal of excavated earth lead upto 50 m and lift upto 1.5 m, as directed by Engineer-in-charge.Hard rock (requiring blasting) | Cum | 120 |  | Included | 0 | 0 | 0 | 0
33 | 7000029460 | 330 | 70 | 20 | Replace 400kV ICT-2 (315-500) @Udumalpet | 2.8.1 | 998736 |  | 18% |  | Earth work in excavation by mechanical means (Hydraulic excavator) / manual means in foundation trenches or drains (not exceeding 1.5 m in width or 10 sqm on plan), including dressing of sides and ramming of bottoms, for all lift, including getting out the excavated soil and disposal of surplus excavated soil as directed, within a lead of 50 m. All kinds of soil. | Cum | 719 |  | Included | 0 | 0 | 0 | 0
34 | 7000029460 | 340 | 100 | 10 | Replace 400kV ICT-2 (315-500) @Udumalpet | 2.9.1 | 998736 |  | 18% |  | Excavation work by mechanical means (Hydraulic excavator)/ manual means in foundation trenches or drains (not exceeding 1.5m in width or 10 sqm on plan), including dressing of sides and ramming of bottoms, lift upto 1.5 m, including getting out the excavated soil and disposal of surplus excavated soils as directed, within a lead of 50 m. Ordinary rock | Cum | 143.8 |  | Included | 0 | 0 | 0 | 0
35 | 7000029460 | 350 | 100 | 20 | Replace 400kV ICT-2 (315-500) @Udumalpet | 2.25 | 998736 |  | 18% |  | Filling available excavated earth (excluding rock) in trenches, plinth, sides of foundations etc. in layers not exceeding 20cm in depth, consolidating each deposited layer by ramming and watering, lead up to 50 and for all lift. | Cum | 694 |  | Included | 0 | 0 | 0 | 0
36 | 7000029460 | 360 | 100 | 30 | Replace 400kV ICT-2 (315-500) @Udumalpet | 4.1.3 | 998736 |  | 18% |  | Providing and laying in position cement concrete of specified grade excluding the cost of centering and shuttering - All work up to plinth level :1:2:4 (1 cement : 2 coarse sand (zone-III) derived from natural sources : 4 graded stone aggregate 20 mm nominal size derived from natural sources) | Cum | 15 |  | Included | 0 | 0 | 0 | 0
37 | 7000029460 | 370 | 100 | 40 | Replace 400kV ICT-2 (315-500) @Udumalpet | 4.1.8 | 998736 |  | 18% |  | Providing and laying in position cement concrete of specified grade excluding the cost of centering and shuttering - All work up to plinth level :1:4:8 (1 Cement : 4 coarse sand (zone-III) derived from natural sources : 8 graded stone aggregate 40 mm nominal size derived from natural sources) | Cum | 173 |  | Included | 0 | 0 | 0 | 0
38 | 7000029460 | 380 | 110 | 10 | Replace 400kV ICT-2 (315-500) @Udumalpet | 4.1.10 | 998736 |  | 18% |  | Providing and laying in position cement concrete of specified grade excluding the cost of centering and shuttering - All work up to plinth level :1:5:10 (1 cement : 5 coarse sand (zone-III) derived from natural sources : 10 graded stone aggregate 40 mm nominal size derived from natural sources) | Cum | 70 |  | Included | 0 | 0 | 0 | 0
39 | 7000029460 | 390 | 110 | 20 | Replace 400kV ICT-2 (315-500) @Udumalpet | 5.1.2 | 998736 |  | 18% |  | Providing and laying in position specified grade of reinforced cement concrete, excluding the cost of centering, shuttering, finishing and reinforcement - All work up to plinth level :1:1.5:3 (1 cement : 1.5 coarse sand (zone-III) derived from natural sources : 3 graded stone aggregate 20 mm nominal size derived from natural sources) | Cum | 485 |  | Included | 0 | 0 | 0 | 0
40 | 7000029460 | 400 | 115 | 10 | Replace 400kV ICT-2 (315-500) @Udumalpet | 5.2.2 | 998736 |  | 18% |  | Reinforced cement concrete work in walls (any thickness), including attached pilasters, buttresses, plinth and string courses, fillets, columns, pillars, piers, abutments, posts and struts etc. above plinth level up to floor five level, excluding cost of centering, shuttering, finishing and reinforcement : 1:1.5:3 (1 cement : 1.5 coarse sand(zone-III) derived from natural sources : 3 graded stone aggregate 20 mm nominal size derived from natural sources) | Cum | 3 |  | Included | 0 | 0 | 0 | 0
41 | 7000029460 | 410 | 115 | 20 | Replace 400kV ICT-2 (315-500) @Udumalpet | 5.9.1 | 998736 |  | 18% |  | Centering and shuttering including strutting, propping etc. and removal of form for Foundations,footings, bases of columns, etc. for mass concrete | Sqm | 365 |  | Included | 0 | 0 | 0 | 0
42 | 7000029460 | 420 | 115 | 30 | Replace 400kV ICT-2 (315-500) @Udumalpet | 5.9.2 | 998736 |  | 18% |  | Centering and shuttering including strutting, propping etc. and removal of form for Walls (any thickness) including attached pilasters, butteresses, plinth and string courses etc | sqm | 250 |  | Included | 0 | 0 | 0 | 0
43 | 7000029460 | 430 | 140 | 10 | Replace 400kV ICT-2 (315-500) @Udumalpet | 5.9.6 | 998736 |  | 18% |  | Centering and shuttering including strutting, propping etc. and removal of form for Columns, Pillars, Piers, Abutments, Posts and Struts | sqm | 150 |  | Included | 0 | 0 | 0 | 0
44 | 7000029460 | 440 | 140 | 20 | Replace 400kV ICT-2 (315-500) @Udumalpet | 5.22.6 Mod | 998736 |  | 18% |  | Steel reinforcement for R.C.C. work including straightening, cutting, bending, placing in position and binding all complete upto and above plinth level.Thermo-Mechanically Treated bars of grade Fe-500D or more | Kg | 41895 |  | Included | 0 | 0 | 0 | 0
45 | 7000029460 | 450 | 140 | 30 | Replace 400kV ICT-2 (315-500) @Udumalpet | 6.1.2 | 998736 |  | 18% |  | Brick work with common burnt clay F.P.S. (non modular) bricks of class designation 7.5 in foundation and plinth in:Cement mortar 1:6 (1 cement : 6 coarse sand) | Cum | 221 |  | Included | 0 | 0 | 0 | 0
46 | 7000029460 | 460 | 140 | 40 | Replace 400kV ICT-2 (315-500) @Udumalpet | 10.25.2 | 998736 |  | 18% |  | Steel work welded in built up sections/ framed work, including cutting, hoisting, fixing in position and applying a priming coat of approved steel primer using structural steel etc. as required.In gratings, frames, guard bar, ladder, railings, brackets, gates and similar works | Kg | 33934 |  | Included | 0 | 0 | 0 | 0
47 | 7000029460 | 470 | 140 | 50 | Replace 400kV ICT-2 (315-500) @Udumalpet | 13.7.2 | 998736 |  | 18% |  | 12 mm cement plaster finished with a floating coat of neat cement of mix :1:4 (1 cement: 4 fine sand) | Sqm | 750 |  | Included | 0 | 0 | 0 | 0
48 | 7000029460 | 480 | 140 | 60 | Replace 400kV ICT-2 (315-500) @Udumalpet | 13.44.1 | 998736 |  | 18% |  | Finishing walls with water proofing cement paint of required shade :New work (Two or more coats applied @ 3.84 kg/10 sqm) | sqm | 240 |  | Included | 0 | 0 | 0 | 0
49 | 7000029460 | 490 | 140 | 70 | Replace 400kV ICT-2 (315-500) @Udumalpet | 13.61.1 | 998736 |  | 18% |  | Painting with synthetic enamel paint of approved brand and manufacture to give an even shade :Two or more coats on new work | sqm | 200 |  | Included | 0 | 0 | 0 | 0
50 | 7000029460 | 500 | 140 | 80 | Replace 400kV ICT-2 (315-500) @Udumalpet | 13.65.1 | 998736 |  | 18% |  | Painting with black anti-corrosive bitumastic paint of approved brand and manufacture to give an even shade : Two or more coats on new work | Sqm | 119 |  | Included | 0 | 0 | 0 | 0
51 | 7000029460 | 510 | 140 | 90 | Replace 400kV ICT-2 (315-500) @Udumalpet | 15.2.2 | 998736 |  | 18% |  | Demolishing cement concrete manually/ by mechanical means including disposal of material within 50 metres lead as per direction of Engineer - in - charge.Nominal concrete 1:4:8 or leaner mix (including equivalent design mix) | Cum | 50 |  | Included | 0 | 0 | 0 | 0
52 | 7000029460 | 520 | 110 | 10 | Replace 400kV ICT-2 (315-500) @Udumalpet | 15.3 | 998736 |  | 18% |  | Demolishing R.C.C. work manually/ by mechanical means including stacking of steel bars and disposal of unserviceable material within 50 metres lead as per direction of Engineer - in- charge. | Cum | 60 |  | Included | 0 | 0 | 0 | 0
53 | 7000029460 | 530 | 110 | 20 | Replace 400kV ICT-2 (315-500) @Udumalpet | 15.7.2 | 998736 |  | 18% |  | Demolishing brick work manually/ by mechanical means including stacking of serviceable material and disposal of unserviceable material within 50 metres lead as per direction of Engineer-in-charge.In cement mortar | Cum | 50 |  | Included | 0 | 0 | 0 | 0
54 | 7000029460 | 540 | 115 | 10 | Replace 400kV ICT-2 (315-500) @Udumalpet | 15.59 | 998736 |  | 18% |  | Dismantling of flexible pavement (bituminous courses) by mechanicalmeans and disposal of dismantled material up to a lead of 1 kilometre, as per direction of Engineer-in-charge. | Cum | 2 |  | Included | 0 | 0 | 0 | 0
55 | 7000029460 | 550 | 115 | 20 | Replace 400kV ICT-2 (315-500) @Udumalpet | 16.1 | 998736 |  | 18% |  | Preparation and consolidation of sub grade with power road roller of 8 to 12 tonne capacity after excavating earth to an average of 22.5 cm depth, dressing to camber and consolidating with road roller including making good the undulations etc. and re-rolling the sub grade and disposal of surplus earthwith lead upto 50 metres. | Sqm | 375 |  | Included | 0 | 0 | 0 | 0
56 | 7000029460 | 560 | 115 | 30 | Replace 400kV ICT-2 (315-500) @Udumalpet | 16.9 | 998736 |  | 18% |  | Scarifying metalled (water-bound) road surface including disposal of rubbish, lead upto 50 m and consolidation of the aggregate received from scarifying with power road roller of 8 to 10 tonne capacity. | Sqm | 375 |  | Included | 0 | 0 | 0 | 0
57 | 7000029460 | 570 | 140 | 10 | Replace 400kV ICT-2 (315-500) @Udumalpet | 16.13.2 | 998736 |  | 18% |  | Cutting road and making good the same including supply of extra quantities of materials i.e. aggregate, moorum screening, red bajri and labour required. Water bound macadam. | Cum | 3 |  | Included | 0 | 0 | 0 | 0
58 | 7000029460 | 580 | 140 | 20 | Replace 400kV ICT-2 (315-500) @Udumalpet | 16.3 | 998736 |  | 18% |  | Providing and applying tack coat using hot straight run bitumen of grade VG - 10, including heating the bitumen, spraying the bitumen with mechanically operated spray unit fitted on bitumen boiler, cleaning and preparing the existing road surface as per specifications : On W.B.M. @ 0.75 Kg / sqm | Sqm | 375 |  | Included | 0 | 0 | 0 | 0
59 | 7000029460 | 590 | 140 | 30 | Replace 400kV ICT-2 (315-500) @Udumalpet | 16.35 | 998736 |  | 18% |  | 2.5 cm premix carpet surfacing with 3 cum of stone chippings 10 mm nominal size per 100 sqm and bitumen emulsion (medium setting min. 65% bitumen contents) complying with IS : 8887, using 96 kg per cum of chippings of road surface, including consolidation with road roller etc complete . | Sqm | 375 |  | Included | 0 | 0 | 0 | 0
60 | 7000029460 | 600 | 140 | 40 | Replace 400kV ICT-2 (315-500) @Udumalpet | 16.45 | 998736 |  | 18% |  | Providing and fixing pre-moulded joint filler in expansion joints of RCC roads / CC pavements after making the joints dust free with high pressure air jet cleaners, all complete as per direction of the Engineer-in-Charge. (Pre-moulded joint fillers shall be made of bitumen hot sealing compound impregnated fibre board having impregnation more than 35%, conforming to IS:1838 for fibre board and IS: 1834 for hot sealing bitumen compound grade A.) | per cm depth per cm width per metre length | 2500 |  | Included | 0 | 0 | 0 | 0
61 | 7000029460 | 610 | 140 | 50 | Replace 400kV ICT-2 (315-500) @Udumalpet | 16.46.1 | 998736 |  | 18% |  | Providing and filling in position rubberized bitumen hot sealing compound for sealing of expansion joints in roads / pavements all complete as per direction of the Engineer-in-Charge | per cm depth per cm width per metre length | 2500 |  | Included | 0 | 0 | 0 | 0
62 | 7000029460 | 620 | 140 | 60 | Replace 400kV ICT-2 (315-500) @Udumalpet | 16.79 | 998736 |  | 18% |  | Providing, laying, spreading and compacting graded stone aggregate (size range 53 mm to 0.075 mm ) to wet mix macadam (WMM) specification including premixing the material with water at OMC in for all leads & lifts, laying in uniform layers with mechanical paver finisher in sub- base / base course on well prepared surface and compacting with vibratory roller of 8 to 10 tonne capacity to achievethe desired density, complete as per specifications and directions of Engineer-in-Charge. | Cum | 115 |  | Included | 0 | 0 | 0 | 0
63 | 7000029460 | 630 | 140 | 70 | Replace 400kV ICT-2 (315-500) @Udumalpet | 19.6.2 | 998736 |  | 18% |  | Providing and laying non-pressure NP2 class (light duty) R.C.C. pipes with collars jointed with stiff mixture of cement mortar in the proportion of 1:2 (1 cement : 2 fine sand) including testing of joints etc. complete :150 mm dia. R.C.C. pipe | M | 50 |  | Included | 0 | 0 | 0 | 0
64 | 7000029460 | 640 | 140 | 80 | Replace 400kV ICT-2 (315-500) @Udumalpet | 19.6.4 | 998736 |  | 18% |  | Providing and laying non-pressure NP2 class (light duty) R.C.C. pipes with collars jointed with stiff mixture of cement mortar in the proportion of 1:2 (1 cement : 2 fine sand) including testing of joints etc. complete :300 mm dia. R.C.C. pipe | M | 20 |  | Included | 0 | 0 | 0 | 0
65 | 7000029460 | 650 | 140 | 90 | Replace 400kV ICT-2 (315-500) @Udumalpet | 19.6.5 | 998736 |  | 18% |  | Providing and laying non-pressure NP2 class (light duty) R.C.C. pipes with collars jointed with stiff mixture of cement mortar in the proportion of 1:2 (1 cement : 2 fine sand) including testing of joints etc. complete :450 mm dia. R.C.C. pipe | m | 20 |  | Included | 0 | 0 | 0 | 0
66 | 7000029460 | 660 | 110 | 20 | Replace 400kV ICT-2 (315-500) @Udumalpet | 100001330 | 998736 |  | 18% |  | Stone filling (40 mm size) for transformer/Reactor foundation | M3 | 25 |  | Included | 0 | 0 | 0 | 0
67 | 7000029460 | 670 | 115 | 10 | Replace 400kV ICT-2 (315-500) @Udumalpet | 100001714 | 998736 |  | 18% |  | Stone spreading in switchyard excluding PCC | M2 | 1200 |  | Included | 0 | 0 | 0 | 0
68 | 7000029460 | 680 | 115 | 20 | Replace 400kV ICT-2 (315-500) @Udumalpet | 100001713 | 998736 |  | 18% |  | Antiweed treatment | M2 | 1700 |  | Included | 0 | 0 | 0 | 0
69 | 7000029460 | 690 | 115 | 30 | Replace 400kV ICT-2 (315-500) @Udumalpet | 100001712 | 998736 |  | 18% |  | Removing,cleaning and washing of existing stones and respreading of stones in switchyard excluding PCC | M2 | 500 |  | Included | 0 | 0 | 0 | 0
70 | 7000029460 | 700 | 140 | 10 | Replace 400kV ICT-2 (315-500) @Udumalpet | 100007097 | 998736 |  | 18% |  | Dry stone pitching 22.5 cm thick including supply of stones and preparing surface complete including construction of 600 mm high and230 mm wide cement concrete (1:3:6) (1 cement : 3 coarse sand (zone-III) : 6 graded stone aggregate 20 mm nominal size) toe wall atthe lowest portion of stone pitching area etc. completed as per theinstruction of Engineer-In-Charge. . | M2 | 10 |  | Included | 0 | 0 | 0 | 0
71 | 7000029460 | 710 | 140 | 20 | Replace 400kV ICT-2 (315-500) @Udumalpet | 100001721 | 998736 |  | 18% |  | Supplying, filling and compacting stone boulders mixed with sand under foundations, roads, cable trenches, drains etc in layers notexceeding 250mm thickness including ramming, watering compacting | M3 | 250 |  | Included | 0 | 0 | 0 | 0
72 | 7000029460 | 720 | 140 | 30 | Replace 400kV ICT-2 (315-500) @Udumalpet | 100001720 | 998736 |  | 18% |  | Supplying, filling and compacting CNS material as per specification under floors, foundations, roads, cable trenches, drains etc inlayers not exceeding 200 mm thickness | M3 | 250 |  | Included | 0 | 0 | 0 | 0
73 | 7000029460 | 730 | 140 | 40 | Replace 400kV ICT-2 (315-500) @Udumalpet | NS-1 | 998736 |  | 18% |  | Providing and fixing 75 mm UPVC pipes conforming to IS : 15328, for weep holes and below road (heavy duty). | m | 150 |  | Included | 0 | 0 | 0 | 0
74 | 7000029460 | 740 | 140 | 50 | Replace 400kV ICT-2 (315-500) @Udumalpet | NS-2 | 998736 |  | 18% |  | Providing and fixing 110 mm UPVC pipes conforming to IS : 15328, for jointing from drain/Cable trench to sump pit or similar works (heavy duty). | m | 30 |  | Included | 0 | 0 | 0 | 0
[11 empty] | Total Installation Charges |  |  |  | 0 |  |  | 0 | 0
[11 empty] | Total GST as confirmed by Bidder |  |  |  |  | 0 |  |  | 0
* | In case the bidder leaves the cell for confirmation of the SAC and/or GST rate “blank”, the SAC and corresponding GST rate indicated by the Employer shall be deemed to be the one confirmed by the Bidder.
Date : |  |  | --
Place : | [11 empty] | Printed Name :
Designation :
Click for Sch-4

## Sch-Training (hidden)
SR2/NT/W-CIVIL/DOM/C00/26/00753 | [15 empty] | Schedule - 4a
Augmentation / replacement of existing 400/230kV, 315 MVA ICT-2 with 400/230kV, 500 MVA ICT at Udumalpet 400/230kV S/s
(SCHEDULE OF RATES AND PRICES )
Bidder’s Name and Address (Sole Bidder) : | [14 empty] | To:
0 | [14 empty] | Contracts Services, 3rd Floor
Name : | [14 empty] | Power Grid Corporation of India Ltd.,
Address : | [14 empty] | "Saudamini", Plot No.-2
Sector-29,
Gurugram (Haryana) - 122001
Training Charges for Training to be imparted
All Prices are in Indian Rupees.
SI. No. | PR No | PR Line Item No | Activity Header | PR Activity No | Activity Description | Service Code | SAC (Service Accounting Codes) | Whether SAC in column '8’ is confirmed. If not indicate applicable the SAC * | Rate of GST applicable ( in %) | Whether rate of GST in column ‘4’ is confirmed. If not indicate applicable rate of GST * | Description | Unit | Quantity | Unit Training Charges excluding GST | Total Training Charges excluding GST | Total GST as confirmed by Bidder
1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 = 14 x 15 | 17
NOT APPLICABLE
I | Comm Equipment Supply & Erection in NR1
1 | 7000020275 | 650 | 50 | 10 | Training of communication system for NRI | 100002900 | 998399 |  | 18% |  | Training for communication Equipments | MND | 10 |  | Included | 0 | 0 | 0 | 0
II | Comm Equipment Supply & Erection in WR2
2 | 7000020282 | 830 | 80 | 10 | Training on comm Eqpt for WR-II Portion | 100002900 | 998399 |  | 18% |  | Training for communication Equipments | MND | 10 |  | Included | 0 | 0 | 0 | 0
III | FOTE for LILO J-K Dhanansu (PSTSL state
3 | 7000023692 | 4070 | 70 | 10 | Training-Tele eqpt fr LILO J-K Dhanansu | 100002900 | 998399 |  | 18% |  | Training for communication Equipments | MND | 3 |  | Included | 0 | 0 | 0 | 0
IV | FOTE for Bhinmal (PG) and Kankroli (PG)
4 | 7000023692 | 3810 | 70 | 10 | Training-Tele eqpt fr Bhinal-Kankrli | 100002900 | 998399 |  | 18% |  | Training for communication Equipments | MND | 3 |  | Included | 0 | 0 | 0 | 0
V | FOTE for Kishenpur – Wagoora (ISTS)
5 | 7000023692 | 3470 | 70 | 10 | Training-Tele eqpt for Kishnpr – Wagora | 100002900 | 998399 |  | 18% |  | Training for communication Equipments | MND | 3 |  | Included | 0 | 0 | 0 | 0
VI | FOTE for Agra – Ballabhgarh (ISTS)
6 | 7000023692 | 3280 | 70 | 10 | Training-Tele eqpt for Agra-Balbhgrh | 100002900 | 998399 |  | 18% |  | Training for communication Equipments | MND | 3 |  | Included | 0 | 0 | 0 | 0
VII | FOTE for Jallandhar-Kurukshetra (ISTS)
7 | 7000023692 | 3090 | 70 | 10 | Training-Tele eqpt fr Jalndhr-Krukshtra | 100002900 | 998399 |  | 18% |  | Training for communication Equipments | MND | 3 |  | Included | 0 | 0 | 0 | 0
VIII | FOTE for Bhatinda Mukhtsar Line (PSTCL)
8 | 7000023692 | 4310 | 70 | 10 | Training-Tele eqpt fr Bhatinda Mukhtsar | 100002900 | 998399 |  | 18% |  | Training for communication Equipments | MND | 3 |  | Included | 0 | 0 | 0 | 0
[9 empty] | Total Training Charges | [5 empty] | 0 |  |  | 0 | 0
[9 empty] | Total GST as confirmed by Bidder | [6 empty] | 0 |  |  | 0
* | In case the bidder leaves the cell for confirmation of the SAC and/or GST rate “blank”, the SAC and corresponding GST rate indicated by the Employer shall be deemed to be the one confirmed by the Bidder.
Date : | -- | [11 empty] | Printed name
Place : | [12 empty] | Designation
Click for Sch-5

## Sch-4b (hidden)
SR2/NT/W-CIVIL/DOM/C00/26/00753 | [15 empty] | Schedule - 4b
Augmentation / replacement of existing 400/230kV, 315 MVA ICT-2 with 400/230kV, 500 MVA ICT at Udumalpet 400/230kV S/s
(SCHEDULE OF RATES AND PRICES )
Bidder’s Name and Address (Sole Bidder) : | [14 empty] | To:
0 | [14 empty] | Contracts Services, 3rd Floor
Name : | [14 empty] | Power Grid Corporation of India Ltd.,
Address : | [14 empty] | "Saudamini", Plot No.-2
Sector-29,
Gurugram (Haryana) - 122001
Maintenance Charges during & after Defect Liability Period
(All Prices are in Indian Rupees.)
SI. No. | PR No | PR Line Item No | Activity Header | PR Activity No | Activity Description | Service Code | SAC (Service Accounting Codes) | Whether SAC in column '8’ is confirmed. If not indicate applicable the SAC * | Rate of GST applicable ( in %) | Whether rate of GST in column ‘4’ is confirmed. If not indicate applicable rate of GST * | Description | Unit | Quantity | Unit Maintenance Charges excluding GST | Total Maintenance Charges excluding GST | Total GST as confirmed by Bidder
1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 = 14 x 15 | 17
NOT APPLICABLE
I | Comm Equipment Supply & Erection in NR1
1 | 7000020275 | 640 | 40 | 10 | AMC for Telecom Eqpt for NR-I portion | 100002903 | 998716 |  | 18% |  | Maintenance Charges for Communication system during warranty period | JHR | 1 |  | Included | 0 | 0 | 0
2 | 7000020275 | 640 | 40 | 20 | AMC for Telecom Eqpt for NR-I portion | 100002904 | 998716 |  | 18% |  | Maintenance Charges for Communication system after warranty period | JHR | 6 |  | Included | 0 | 0 | 0
II | Comm Equipment Supply & Erection in WR2
3 | 7000020282 | 820 | 70 | 10 | AMC of telecom Eqpt for WR-II portion | 100002903 | 998716 |  | 18% |  | Maintenance Charges for Communication system during warranty period | JHR | 1 |  | Included | 0 | 0 | 0
4 | 7000020282 | 820 | 70 | 20 | AMC of telecom Eqpt for WR-II portion | 100002904 | 998716 |  | 18% |  | Maintenance Charges for Communication system after warranty period | JHR | 6 |  | Included | 0 | 0 | 0
III | FOTE for LILO J-K Dhanansu (PSTSL state
5 | 7000023692 | 4080 | 80 | 10 | AMC-Tele eqpt fr LILO J-K Dhanansu | 100002903 | 998716 |  | 18% |  | Maintenance Charges for Communication system during warranty period | JHR | 1 |  | Included | 0 | 0 | 0
6 | 7000023692 | 4080 | 80 | 20 | AMC-Tele eqpt fr LILO J-K Dhanansu | 100002904 | 998716 |  | 18% |  | Maintenance Charges for Communication system after warranty period | JHR | 6 |  | Included | 0 | 0 | 0
IV | FOTE for Bhinmal (PG) and Kankroli (PG)
7 | 7000023692 | 3820 | 80 | 10 | AMC-Tele eqpt fr Bhinal-Kankrli | 100002903 | 998716 |  | 18% |  | Maintenance Charges for Communication system during warranty period | JHR | 1 |  | Included | 0 | 0 | 0
8 | 7000023692 | 3820 | 80 | 20 | AMC-Tele eqpt fr Bhinal-Kankrli | 100002904 | 998716 |  | 18% |  | Maintenance Charges for Communication system after warranty period | JHR | 6 |  | Included | 0 | 0 | 0
V | FOTE for Kishenpur – Wagoora (ISTS)
9 | 7000023692 | 3480 | 80 | 10 | AMC-Tele eqpt for Kishnpr – Wagora | 100002903 | 998716 |  | 18% |  | Maintenance Charges for Communication system during warranty period | JHR | 1 |  | Included | 0 | 0 | 0
10 | 7000023692 | 3480 | 80 | 20 | AMC-Tele eqpt for Kishnpr – Wagora | 100002904 | 998716 |  | 18% |  | Maintenance Charges for Communication system after warranty period | JHR | 6 |  | Included | 0 | 0 | 0
VI | FOTE for Agra – Ballabhgarh (ISTS)
11 | 7000023692 | 3290 | 80 | 10 | AMC-Tele eqpt for Agra-Balbhgrh | 100002903 | 998716 |  | 18% |  | Maintenance Charges for Communication system during warranty period | JHR | 1 |  | Included | 0 | 0 | 0
12 | 7000023692 | 3290 | 80 | 20 | AMC-Tele eqpt for Agra-Balbhgrh | 100002904 | 998716 |  | 18% |  | Maintenance Charges for Communication system after warranty period | JHR | 6 |  | Included | 0 | 0 | 0
VII | FOTE for Jallandhar-Kurukshetra (ISTS)
13 | 7000023692 | 3100 | 80 | 10 | AMC-Tele eqpt fr Jalndhr-Krukshtra | 100002903 | 998716 |  | 18% |  | Maintenance Charges for Communication system during warranty period | JHR | 1 |  | Included | 0 | 0 | 0
14 | 7000023692 | 3100 | 80 | 20 | AMC-Tele eqpt fr Jalndhr-Krukshtra | 100002904 | 998716 |  | 18% |  | Maintenance Charges for Communication system after warranty period | JHR | 6 |  | Included | 0 | 0 | 0
VIII | FOTE for Bhatinda Mukhtsar Line (PSTCL)
15 | 7000023692 | 4320 | 80 | 10 | AMC-Tele eqpt fr Bhatinda Mukhtsar | 100002903 | 998716 |  | 18% |  | Maintenance Charges for Communication system during warranty period | JHR | 1 |  | Included | 0 | 0 | 0
16 | 7000023692 | 4320 | 80 | 20 | AMC-Tele eqpt fr Bhatinda Mukhtsar | 100002904 | 998716 |  | 18% |  | Maintenance Charges for Communication system after warranty period | JHR | 6 |  | Included | 0 | 0 | 0
[9 empty] | Total Maintenance Charges during and after Defect Liabilty Period | [5 empty] | 0 |  |  | 0
[9 empty] | Total GST as confirmed by Bidder | [6 empty] | 0
* | In case the bidder leaves the cell for confirmation of the SAC and/or GST rate “blank”, the SAC and corresponding GST rate indicated by the Employer shall be deemed to be the one confirmed by the Bidder.
Date : | -- | [11 empty] | Printed name
Place : | [12 empty] | Designation
Click for Sch-5

## Sch-5 Dis (hidden)
Specification No: 5002001865/OTHERS/DOM/A00-CC CS -1 |  |  |  | Schedule - 5
Package – I: Unified Network Management System (U-NMS) for Central Sector & State Sector Communication in Eastern Region (ER) under Establishment of State-of-the-Art Unified Centralized Network Management System (U-NMS) for ISTS and State Utility Communication Network in Eastern Region (ER).
SUMMARY OF TAXES & DUTIES APPLICABLE ON GOODS
Bidder’s Name and Address (Sole Bidder) : |  |  | To:
Contracts Services, 3rd Floor
Name : |  |  | Power Grid Corporation of India Ltd.,
Address : |  |  | "Saudamini", Plot No.-2
Sector-29,
Gurugram (Haryana) - 122001
Sl. No. | Item Nos. |  | Total Price (INR)
1 | TOTAL GST ON GOODS |  | 0
Total GST for Supply of Goods (inter-alia including Type Test Charges) between the Contractor and the Employer (identified in Schedule 1') which are not included in the Ex-works price as per the provision of the Bidding Documents, as applicable.
2 | TOTAL GST ON SERVICES |  | 0
Total GST on Installation Services (Schedule-3), Training to be imparted in India (Schedule-4a) and Maintenance Charges during and after Defect Liabilty Period (Schedule-4b)
| GRAND TOTAL [1+2] |  | 0
Date : | -- | Printed Name :
Place : |  | Designation :
Click for Sch-6

## Sch-6(buy-back) (hidden)
SR2/NT/W-CIVIL/DOM/C00/26/00753 | [12 empty] | Schedule-6 {Buy Back Charges} |  |  | Schedule - 6 (buy-back)
Augmentation / replacement of existing 400/230kV, 315 MVA ICT-2 with 400/230kV, 500 MVA ICT at Udumalpet 400/230kV S/s
(SCHEDULE OF RATES AND PRICES )
Bidder’s Name and Address (Sole Bidder) : | [14 empty] | To:
0 | [14 empty] | Contracts Services, 3rd Floor
Name : | [14 empty] | Power Grid Corporation of India Ltd.,
Address : | [14 empty] | "Saudamini", Plot No.-2
Sector-29,
Gurugram (Haryana) - 122001
Buy-back Charges (Scrap value):
All Prices are in Indian Rupees.
SI. No. | PR No | PR Line Item No | Activity Header | PR Activity No | Activity Description | Material Code | HSN Code | Whether HSN in column '8’ is confirmed. If not indicate applicable the HSN + | Rate of GST applicable (in %) | Whether rate of GST in column ‘10’ is confirmed. If not indicate applicable rate of GST + | Item Description | Unit | Quantity | Unit Charges excluding GST | Total Charges excluding GST | Total GST as confirmed by Bidder
1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 9 | 11 | 10 | 11 | 12 | 13 | 14 = 12 x 13 | 17
400kV Bachau(PG)—EPGL line of POWERGRID line of POWERGRID
1 | [6 empty] | 72044900 |  | 18% |  | Dismantled Scrap Earthwire along with its hardware accessories | KM | 221 |  | Included | 0 | 0 | 0
400kV Satna – Bina line of POWERGRID
2 | [6 empty] | 72044900 |  | 18% |  | Dismantled Scrap Earthwire along with its hardware accessories | KM | 276 |  | Included | 0 | 0 | 0
765kV S/c (Horizontal) Jaipur (Phagi, RVPNL) – Gwalior line of POWERGRID
3 | [6 empty] | 72044900 |  | 18% |  | Dismantled Scrap Earthwire along with its hardware accessories | KM | 312 |  | Included | 0 | 0 | 0
400kV D/c (Twin Moose) Agra – Jaipur South (PG) line of POWERGRID
4 | [6 empty] | 72044900 |  | 18% |  | Dismantled Scrap Earthwire along with its hardware accessories | KM | 254 |  | Included | 0 | 0 | 0
400 kV Jallandhar (PG) – Kurukshetra (PG) line of POWERGRID
5 | [6 empty] | 72044900 |  | 18% |  | Dismantled Scrap Earthwire along with its hardware accessories | KM | 229 |  | Included | 0 | 0 | 0
220 kV (circuit 3) GNDTP Bhatinda – Mukhtsar line of PSTCL (State Sector)
6 | [6 empty] | 72044900 |  | 18% |  | Dismantled Scrap Earthwire along with its hardware accessories | KM | 51 |  | Included | 0 | 0 | 0
400 kV Agra – Ballabhgarh line of POWERGRID
7 | [6 empty] | 85481090 |  | 18% |  | Dismantled Scrap 8/12/24/48 Fibre OPGW along with its hardware accessories (including Joint Box) | KM | 181 |  | Included | 0 | 0 | 0
400 kV Kishenpur - Wagoora except LILO portion at New Wanpoh
8 | [6 empty] | 85481090 |  | 18% |  | Dismantled Scrap 8/12/24/48 Fibre OPGW along with its hardware accessories (including Joint Box) | KM | 183 |  | Included | 0 | 0 | 0
Redundant communication System for Bhinmal (PG) and Kankroli (PG)(OPGW to be installed on 400 kV Jodhpur (Surpura) – Merta line of RVPNL upto LILO point at 400 kV Bhadla S/s)
9 | [6 empty] | 72044900 |  | 18% |  | Dismantled Scrap Earthwire along with its hardware accessories | KM | 5 |  | Included | 0 | 0 | 0
[9 empty] | Total Buy-back Charges (Excl. GST) |  |  | KM | 1712 |  | 0 |  |  | #REF!
[9 empty] | Total GST as confirmed by Bidder | [6 empty] | #REF!
+ | Buyer (Bidder/Contractor) of the scrap material shall be liable to pay extra towards GST, TCS (Tax Collected at Source) as per Income Tax Act and other applicable taxes if any, as per actual, as per tax invoice raised by the employer.
+ | Scrap Value (excluding GST and other applicable taxes if any) shall be considered solely for bid evaluation purpose to arrive at the net evaluated price of the Bidder/Contractor.
+ | However, bidders shall not be allowed to change the Scrap value [as quoted by bidder in Schedule-6 {Buy Back Charges(Scrap value)} which after correction, if any, shall be indicated in the template calculation sheet provided during the e-Reverse Auction] during e-Reverse Auction.
| Note : | 1. Details of Earthwire and OPGW to be dismantled from existing transmission lines of various voltage levels are given in Appendix A of Technical Specification
2. Earth wire quantity on one peak is generally in the range of 101% of route length of the line.
Date : | -- | [11 empty] | Printed name
Place : | [12 empty] | Designation
Click for Sch-5

## Sch-4
SR2/NT/W-CIVIL/DOM/C00/26/00753 |  |  |  | Schedule - 4
Augmentation / replacement of existing 400/230kV, 315 MVA ICT-2 with 400/230kV, 500 MVA ICT at Udumalpet 400/230kV S/s
(SUMMARY OF TAXES & DUTIES APPLICABLE ON PLANT & EQUIPMENT)
Bidder’s Name and Address (Sole Bidder) : |  |  | To:
0 |  |  | Regional Procurement Cell,2nd Floor
Name : |  |  | Power Grid Corporation of India Ltd.,
Address : |  |  | Regional Head Quarter, SR-II
Singanayakkanahalli, Yelahanka
Bagalore, Karnataka - 560064
Sl. No. | Item Nos. |  | Total Price (INR) |  | After Discount |  | After MPDiscount
1 | TOTAL GST ON GOODS |  |  |  | Excise Duty | #REF! | Excise Duty | #REF!
| Total GST for Supply of Goods (inter-alia including Type Test Charges) between the Contractor and the Employer (identified in Schedule 1') which are not included in the Ex-works price as per the provision of the Bidding Documents, as applicable. |  | 0
2 | TOTAL GST ON SERVICES |  |  |  | Sales Tax | 0 | Sales Tax | 0
| Total GST on Installation Services (identified in Schedule 3) |  | 0 |  | #REF! | #REF! | #REF! | #REF!
| GRAND TOTAL [1+2] |  | 0 |  | Grand Total after Discount | #REF! | Grand Total after MPD | #REF!
Date : | -- | Printed Name :
Place : |  | Designation :
Click for Sch-6

## Sch-5
SR2/NT/W-CIVIL/DOM/C00/26/00753 |  |  | Schedule - 5
Augmentation / replacement of existing 400/230kV, 315 MVA ICT-2 with 400/230kV, 500 MVA ICT at Udumalpet 400/230kV S/s
(GRAND SUMMARY)
Bidder’s Name and Address (Sole Bidder) : |  |  | To:
0 |  |  | Regional Procurement Cell,2nd Floor
Name : |  |  | Power Grid Corporation of India Ltd.,
Address : |  |  | Regional Head Quarter, SR-II
Singanayakkanahalli, Yelahanka
Bagalore, Karnataka - 560064
Sl. No. | Description |  | Total Price (INR)
1 | TOTAL SCHEDULE NO. 1 |  | 0
Ex-works price of Plant and Equipment including Type Test Charges
2 | TOTAL SCHEDULE NO. 2 |  | 0
Local Transportation, In-transit Insurance, loading & unloading
3 | TOTAL SCHEDULE NO. 3 |  | 0
Installation Charges
5 | TOTAL SCHEDULE NO. 4 |  | 0
Taxes and Duties
7 | GRAND TOTAL [1+2+3+4] |  | 0
Date : | -- | Printed Name :
Place : |  | Designation :
Click for Sch-7

## Sch-6 After Discount (hidden)
SR2/NT/W-CIVIL/DOM/C00/26/00753 |  |  | Schedule - 7 After Discount
Augmentation / replacement of existing 400/230kV, 315 MVA ICT-2 with 400/230kV, 500 MVA ICT at Udumalpet 400/230kV S/s
(GRAND SUMMARY)
Bidder’s Name and Address (Sole Bidder) : |  |  | To:
0 |  |  | Contracts Services, 3rd Floor
Name : |  |  | Power Grid Corporation of India Ltd.,
Address : |  |  | "Saudamini", Plot No.-2
Sector-29,
Gurugram (Haryana) - 122001
Sl. No. | Description |  | Total Price (INR)
1 | TOTAL SCHEDULE NO. 1 |  | #REF!
Ex-works price of Plant and Equipment including Type Test Charges
2 | TOTAL SCHEDULE NO. 2 |  | 0
Local Transportation, In-transit Insurance, loading & unloading
3 | TOTAL SCHEDULE NO. 3 |  | 0
Installation Charges
4 | TOTAL SCHEDULE NO. 4 |  | Not Applicable
Training Charges
4b | TOTAL SCHEDULE NO. 4b |  | Not Applicable
Maintenance Charges during & after Defect Liability Period
5 | TOTAL SCHEDULE NO. 5 |  | 0
Taxes and Duties
6 | TOTAL SCHEDULE NO. 7 |  | Not Applicable
Type Test Charges [Total of this Schedule is included in Schedule - 1 above.]
7 | TOTAL SCHEDULE NO. 6 |  | #REF!
Buy-back Charges (Scrap value)
7 | GRAND TOTAL [1+2+3+4a+4b+5+6] |  | #REF!
#REF!
Date : | -- | Printed Name :
Place : |  | Designation :
Click for Sch-7

## Sch-7 (hidden)
SR2/NT/W-CIVIL/DOM/C00/26/00753 | [11 empty] | Schedule 7
Augmentation / replacement of existing 400/230kV, 315 MVA ICT-2 with 400/230kV, 500 MVA ICT at Udumalpet 400/230kV S/s | [15 empty] | As per Lum-sum |  | 0%
(SCHEDULE OF RATES AND PRICES ) | [15 empty] | AS per Percent |  | #REF!
[16 empty] | As per lum-sum on Sch-7 |  | 0%
Bidder’s Name and Address (Sole Bidder) : | [9 empty] | To: | [5 empty] | As per Percent on Sch-7 |  | #REF!
0 | [9 empty] | Contracts Services, 3rd Floor | [5 empty] | Total Discount |  | #REF!
Name : | [9 empty] | Power Grid Corporation of India Ltd.,
Address : | [9 empty] | "Saudamini", Plot No.-2
[10 empty] | Sector-29, | [5 empty] | Multipackage Discount |  | #REF!
Gurugram (Haryana) - 122001
Type tests Charges:
SL. NO. | PR No | Line Item No | Code | HSN Code | Whether HSN in column ‘5’ is confirmed. If not indicate applicable the HSN code * | Rate of GST applicable ( in %) | Whether rate of GST in column ‘7’ is confirmed. If not indicate applicable rate of GST * | Description of Test | Unit | Quantity | Unit Test Charge | Total Test Charges (Rs.) | Total GST as confirmed by Bidder | Revaluation of M column | Tax Calculation |  | Total Test Charges After Discount (Rs.) |  | Dis Alert | Total Test Charges After MPD (Rs.)
1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 = 10 x 11 | 14
1 | [11 empty] | Included | 0 | 0 | 0
2 | [11 empty] | Included | 0 | 0 | 0
NOT APPLICABLE
[8 empty] | TOTAL TYPE TEST CHARGES |  |  |  | 0
[8 empty] | Total GST as confirmed by Bidder |  |  |  |  | 0
* | In case the bidder leaves the cell for confirmation of the HSN code and/or GST rate “blank”, the HSN code and corresponding GST rate indicated by the Employer shall be deemed to be the one confirmed by the Bidder.
Date : |  |  |  | -- |  |  |  |  | Printed Name :
Place : | [8 empty] | Designation :
Note : |  |  |  | Bidder should indicate the name of test laboratories where type tests are proposed to be conducted
SR2/NT/W-CIVIL/DOM/C00/26/00753
Augmentation / replacement of existing 400/230kV, 315 MVA ICT-2 with 400/230kV, 500 MVA ICT at Udumalpet 400/230kV S/s | [7 empty] | 0 | 0
(SCHEDULE OF RATES AND PRICES ) | [7 empty] | 0 | 0
Bidder’s Name and Address (Sole Bidder) :
0 | [7 empty] | 0 | 0
Name : | [8 empty] | 0
Address : | [8 empty] | 0
0
0
SL. NO. | [7 empty] | Description of Test | #REF!
#REF! | [7 empty] | #REF! | #REF!
#REF! | [7 empty] | #REF!
#REF! | [7 empty] | #REF! | #REF!
#REF! | [7 empty] | #REF! | #REF!
[8 empty] | #REF! | #REF!
#REF! | [7 empty] | #REF!
#REF! | [7 empty] | #REF!
#REF! | [7 empty] | #REF!
#REF! | [7 empty] | #REF! | #REF!
#REF! | [7 empty] | #REF! | #REF!
#REF! | [7 empty] | #REF! | #REF!
#REF! | [7 empty] | #REF! | #REF!
[8 empty] | #REF! | #REF!
#REF! | [7 empty] | #REF!
#REF! | [7 empty] | #REF! | #REF!
#REF! | [7 empty] | #REF! | #REF!
#REF! | [7 empty] | #REF! | #REF!
#REF! | [7 empty] | #REF! | #REF!
[8 empty] | #REF! | #REF!
#REF! | [7 empty] | #REF!
#REF! | [7 empty] | #REF! | #REF!
#REF! | [7 empty] | #REF! | #REF!
#REF! | [7 empty] | #REF! | #REF!
[8 empty] | #REF! | #REF!
#REF! | [7 empty] | #REF!
#REF! | [7 empty] | #REF! | #REF!
#REF! | [7 empty] | #REF! | #REF!
#REF! | [7 empty] | #REF! | #REF!
[8 empty] | #REF! | #REF!
#REF! | [7 empty] | #REF!
#REF! | [7 empty] | #REF! | #REF!
#REF! | [7 empty] | #REF! | #REF!
#REF! | [7 empty] | #REF! | #REF!
#REF! | [7 empty] | #REF! | #REF!
[8 empty] | #REF! | #REF!
[8 empty] | #REF! | #REF!
#REF! | [7 empty] | #REF!
#REF! | [7 empty] | #REF!
#REF! | [7 empty] | #REF! | #REF!
#REF! | [7 empty] | #REF! | #REF!
#REF! | [7 empty] | #REF! | #REF!
[8 empty] | #REF! | #REF!
[8 empty] | #REF! | #REF!
#REF! | [7 empty] | #REF!
#REF! | [7 empty] | #REF!
#REF! | [7 empty] | #REF! | #REF!
#REF! | [7 empty] | #REF! | #REF!
#REF! | [7 empty] | #REF! | #REF!
#REF! | [7 empty] | #REF! | #REF!
#REF! | [7 empty] | #REF! | #REF!
[8 empty] | #REF! | #REF!
#REF! | [7 empty] | #REF!
#REF! | [7 empty] | #REF! | #REF!
#REF! | [7 empty] | #REF! | #REF!
#REF! | [7 empty] | #REF! | #REF!
#REF! | [7 empty] | #REF! | #REF!
#REF! | [7 empty] | #REF! | #REF!
#REF! | [7 empty] | #REF! | #REF!
[8 empty] | #REF! | #REF!
#REF! | [7 empty] | #REF!
#REF! | [7 empty] | #REF! | #REF!
#REF! | [7 empty] | #REF! | #REF!
#REF! | [7 empty] | #REF! | #REF!
#REF! | [7 empty] | #REF! | #REF!
#REF! | [7 empty] | #REF! | #REF!
#REF! | [7 empty] | #REF! | #REF!
#REF! | [7 empty] | #REF! | #REF!
#REF! | [7 empty] | #REF! | #REF!
#REF! | [7 empty] | #REF! | #REF!
[8 empty] | #REF! | #REF!
#REF! | [7 empty] | #REF!
#REF! | [7 empty] | #REF! | #REF!
#REF! | [7 empty] | #REF! | #REF!
#REF! | [7 empty] | #REF! | #REF!
[8 empty] | #REF! | #REF!
#REF! | [7 empty] | #REF!
#REF! | [7 empty] | #REF! | #REF!
#REF! | [7 empty] | #REF! | #REF!
#REF! | [7 empty] | #REF! | #REF!
[8 empty] | #REF! | #REF!
#REF! | [7 empty] | #REF!
#REF! | [7 empty] | #REF! | #REF!
#REF! | [7 empty] | #REF! | #REF!
[8 empty] | #REF! | #REF!
#REF! | [7 empty] | #REF!
#REF! | [7 empty] | #REF! | #REF!
#REF! | [7 empty] | #REF! | #REF!
#REF! | [7 empty] | #REF! | #REF!
#REF! | [7 empty] | #REF! | #REF!
#REF! | [7 empty] | #REF! | #REF!
#REF! | [7 empty] | #REF! | #REF!
[8 empty] | #REF! | #REF!
#REF! | [7 empty] | #REF!
#REF! | [7 empty] | #REF! | #REF!
#REF! | [7 empty] | #REF! | #REF!
#REF! | [7 empty] | #REF! | #REF!
#REF! | [7 empty] | #REF! | #REF!
#REF! | [7 empty] | #REF!
#REF! | [7 empty] | #REF! | #REF!
#REF! | [7 empty] | #REF! | #REF!
#REF! | [7 empty] | #REF! | #REF!
#REF! | [7 empty] | #REF! | #REF!
[8 empty] | #REF! | #REF!
[8 empty] | #REF! | #REF!
[8 empty] | #REF! | #REF!
Click for Bid Form 2nd Envelope

## Discount (hidden)
This letter of discount is optional. Bidder may / may not offer any discount.
SR2/NT/W-CIVIL/DOM/C00/26/00753 |  |  |  |  | Letter of Discount
LETTER OF DISCOUNT
To:
Contract Services
Power Grid Corporation of India Ltd.,
"Saudamini", Plot No.-2
Sector-29, (near IFFCO Chowk)
Gurgaon (Haryana) - 122001
Subject : |  | Augmentation / replacement of existing 400/230kV, 315 MVA ICT-2 with 400/230kV, 500 MVA ICT at Udumalpet 400/230kV S/s
Dear Sir
With reference to the subject tender, we hereby offer unconditional discount on the prices quoted by us as per details given here below : | [6 empty] | Eq Weightage of Rs/ % | Final Discount Factor
| 1 | Discount on lum-sum basis on total price quoted by us without Taxes & Duties. [The discount shall be proportionately applicable on all the items of all the Schdules i.e. Sch-1 (without type test charges), Sch-2, Sch-3, Sch-4a, Sch-4b & Sch-7] In Rs. |  |  |  | 0 | 0%
| 2 | Discount on percent basis on total price quoted by us without Taxes & Duties. [The discount shall be applicable on all the items of all the Schdules i.e. Sch-1 (without type test charges), Sch-2 , Sch-3, Sch-4a, Sch-4b & Sch-7] In Percent (%) |  |  |  | 0 | 0%
| 3 | Discount on lum-sum basis on the Schedules as given below : [The discount shall be proportionately applicable on all the relevent items of the respective Schdules.] In Rs.
|  | Schedule-1 : Ex works prices |  | In Rs. |  | 0 | 0% | Schedule-1 : Ex-Works Price | 0%
|  | Schedule-2 : Freight & Insurance |  | In Rs. |  | 0 | 0% | Schedule-2 : Freight & Insurance | 0%
|  | Schedule-3 : Erection Charges |  | In Rs. |  | 0 | 0% | Schedule-3 : Erection Charges | 0%
|  | Schedule-4 : Training Charges |  | In Rs. |  | 0 | 0% | Schedule-4a : Training Charges | 0%
|  | Schedule-4b : Maintenance Charges during and after DLP |  | In Rs. |  | 0 | 0% | Schedule-4b : Maintenance Charges | 0%
|  | Schedule-7 : Type Test Charges |  | In Rs. |  | 0 | 0% | Schedule-7 : Type Test Charges | 0%
| 4 | Discount on percent basis on the Schedules as given below : [The discount shall be applicable on all the relevent items of the respective Schdules.] In Percent (%)
|  | Schedule-1 : Ex works prices |  | In Percent (%) |  | 0 | 0%
|  | Schedule-2 : Freight & Insurance |  | In Percent (%) |  | 0 | 0%
|  | Schedule-3 : Erection Charges |  | In Percent (%) |  | 0 | 0%
|  | Schedule-4 : Training Charges |  | In Percent (%) |  | 0 | 0%
|  | Schedule-4b : Maintenance Charges during and after DLP |  | In Percent (%) |  | 0 | 0%
|  | Schedule-7 : Type Test Charges |  | In Percent (%) |  | 0 | 0%
Discount(s) offered at sl. No. 1 to 4 will get displayed and accounted for automatically in the respective items of the Schedules.
| 5 | We hereby offer Multi-package discount as given below:
Multi-Package Discount(s) offered at sl. No. 5 will not get automatically accounted for in the respective items of the Schedules. The same shall be worked out saparately for evaluation.
Please consider this letter of discount as the integral part of our price bid.
Thanking you, we remain,
Yours faithfully,
For and on behalf of
Date : |  | -- | Printed Name :
Place : |  |  | Designation :
Click for Bid Form

## Bid Form 2nd Envelope
SR2/NT/W-CIVIL/DOM/C00/26/00753 |  |  |  |  | Bid Form 2nd Envelope | Sole Bidder |  |  | 1 | st |  | 1 | January
[6 empty] | 0 |  |  | 2 | nd |  | 2 | February
BID FORM (Second Envelope) | [8 empty] | 3 | rd |  | 3 | March
[9 empty] | 4 | th |  | 4 | April
Bid Proposal Ref. No. | [8 empty] | 5 | th |  | 5 | May
Date : | -- | [7 empty] | 6 | th | #VALUE! | 6 | June
[9 empty] | 7 | th | #VALUE! | 7 | July
To: | [8 empty] | 8 | th | #VALUE! | 8 | August
Contracts Services, 3rd Floor | [8 empty] | 9 | th | #VALUE! | 9 | September
Power Grid Corporation of India Ltd., | [8 empty] | 10 | th |  | 10 | October
"Saudamini", Plot No.-2 | [8 empty] | 11 | th |  | 11 | November
Sector-29, | [8 empty] | 12 | th |  | 12 | December
Gurugram (Haryana) - 122001 | [8 empty] | 13 | th
[9 empty] | 14 | th
Name of Contract : |  | Augmentation / replacement of existing 400/230kV, 315 MVA ICT-2 with 400/230kV, 500 MVA ICT at Udumalpet 400/230kV S/s | [6 empty] | 15 | th
Dear Ladies and/or Gentlemen, | [8 empty] | 16 | th
1 | #REF! |  |  |  |  | In continuation of First Envelope of our Bid, we hereby submit the Second Envelope of the Bid, both of which shall be read together and in conjunction with each other, and shall be construed as an integral part of our Bid. Accordingly, we the undersigned, offer to design, manufacture, test, deliver, install and commission (including carrying out Trial Operation, Performance & Guarantee Test as per provision of Technical Specification) under the above-named package in full conformity with the said Bidding Documents for the sum of Rs. | or such other sums as may be determined in accordance with the terms and conditions of the Bidding Documents. | #REF! | 17 | th
| The above amounts are in accordance with the price schedules attached herewith and are made part of this bid. | [7 empty] | 18 | th
2 | Price Schedules | [7 empty] | 19 | th
2.1 | In line with the requirements of the Bidding documents, we enclose herewith the following Price Schedules, duly filled - in as per your proforma: | [7 empty] | 20 | th
| Schedule 1 |  | Plant and Equipment (Including Mandatory Spare Parts) to be supplied, including Type Test Charges. | [5 empty] | 21 | st
| Schedule 2 |  | Local Transportation, In-transit Insurance, loading and unloading | [5 empty] | 22 | th
| Schedule 3 |  | Installation Charges. | [5 empty] | 23 | th
| Schedule 4 |  | Training charges for training to be imparted. (Not Applicable) | [5 empty] | 24 | th
| Schedule 4b |  | Maintenance Charges during & after Defect Liability Period. (Not Applicable)
| Schedule 5 |  | Taxes and Duties not included in Schedule 1 | [5 empty] | 25 | th
| Schedule 6 |  | But-back charges (scrap value) | [5 empty] | 25 | th
| Schedule 6 |  | Grand Summary [Schedule 1 to 5] | [5 empty] | 26 | th
| Schedule 7 |  | Break-up of Type Test Charges for Type Tests to be conducted (NOT APPLICABLE) | [5 empty] | 27 | th
2.2 | We are aware that the Price Schedules do not generally give a full description of the Work to be performed under each item and we shall be deemed to have read the Technical Specifications and other sections of the Bidding Documents and Drawings to ascertain the full scope of Work included in each item while filling-in the rates and prices. We agree that the entered rates and prices shall be deemed to include for the full scope as aforesaid, including overheads and profit. | [7 empty] | 28 | th
2.3 | We declare that as specified in Clause 11.5, Section –II:ITB, Vol.-I of the Bidding Documents, prices quoted by us in the Price Schedules in Second Envelope shall be on ‘Firm’ basis during the entire currency of contract and shall not be subject to price variation, what-so-ever during contract execution. | [7 empty] | 29 | th
2.4 | We understand that in the price schedules, where there are errors between the total of the amounts given under the column for the price Breakdown and the amount given under the Total Price, the former shall prevail and the latter will be corrected accordingly. We further understand that where there are discrepancies between amounts stated in figures and amounts stated in words, the amount stated in words shall prevail. Similarly, any discrepancy in the total bid price and that of the summation of Schedule price (price indicated in a Schedule indicating the total of that schedule), the total bid price shall be corrected to reflect the actual summation of the Schedule prices. | [7 empty] | 30 | th
2.5 | We declare that items left blank in the Schedules will be deemed to have been included in other items. The TOTAL for each Schedule and the TOTAL of Grand Summary shall be deemed to be the total price for executing the Facilities and sections thereof in complete accordance with the Contract, whether or not each individual item has been priced. | [7 empty] | 31 | st
3 | We confirm that except as otherwise specifically provided our Bid Prices in this Second Envelope include all taxes, duties, levies and charges as may be assessed on us/our Associate (applicable for Foreign Bidder), our Sub-Contractor/Sub-Vendor or their employees by all municipal, state or national government authorities in connection with the Facilities, in and outside of India.
3.1 | 100% of applicable Taxes and Duties i.e GST which are payable by the Employer under the Contract, shall be reimbursed by the Employer on production of satisfactory documentary evidence by the Contractor in accordance with the provisions of the Bidding Documents.
3.2 | We further understand that notwithstanding 3.0 above, in case of award on us, you shall also bear and pay/reimburse to us, GST applicable on supplies by us to you, imposed on the Plant & Equipment including Mandatory Spare Parts to be incorporated into the Facilities including Type Test charges for Type test to be conducted specified in Schedule No. 1, Installation Services specified in Schedule No. 3, Charges for Training to be imparted specified in Schedule No. 4a and Maintenance Charges during & after Defect Laibility Period specified in Schedule No. 4b of the Price Schedule in this Second Envelope by the Indian Laws.
3.3 | We confirm that we have also registered/we shall also get registered in the GST Network with a GSTIN, in all the states where the project is located and the states from which we shall make our supply of goods.
4 | # (For Joint Venture only) We, the partners of Joint Venture submitting this bid, do agree and confirm that in case of Award of Contract on the Joint Venture, we shall be jointly and severally liable and responsible for the execution of the Contract in accordance with Contract terms and conditions.
5 | We, hereby, declare that only the persons or firms interested in this proposal as principals are named here and that no other persons or firms other than those mentioned herein have any interest in this proposal or in the Contract to be entered into, if the award is made on us, that this proposal is made without any connection with any other person, firm or party likewise submitting a proposal is in all respects for and in good faith, without collusion or fraud.
Thanking you, we remain,
Yours faithfully,
For and on behalf of
Signature :
Date : | -- |  |  | Printed Name :
Place : |  |  |  | Designation :
Common Seal :
Please provide additional information of the Bidder
Business Address :
Country of Incorporation :
State/Province to be indicated :
Name of Principal Officer :
Address of Principal Officer :
Note: Bidders may note that no prescribed proforma has been enclosed for Attachment 2 : Power of Attorney. Bidders may use their own proforma for furnishing the required information with the bid.
* * *
Back to Cover Page