| S. No. | Clause | Provision of Bidding Documents | Bidder’s Query | POWERGRID’s Reply |
| --- | --- | --- | --- | --- |
|  | Volume II Part B, Appendix-H: Hardware Specifications, Page No. 43 | LASER based rear projection | Request you to mention RGB Laser without any Moving part like color wheel & Phosphor wheels. Reason/Remarks: If laser is only mentioned then outdated technology like color wheels-based systems will be provided Which has moving parts & which are prone to failures .Hence request you to mention RGB Laser which does not have any moving parts | The offered solution shall meet the availability requirements mentioned in Technical Specification. Bidders are requested to provide their detail solution for discussion during Stage-I. |
|  | Volume II Part B, Appendix-H: Hardware Specifications, Page No. 43 | Minimum 80,000 Hours | Request you to mention Minimum 1,25,000 Hrs in Eco & Normal Mode Reason/Remarks: As this is available with both the OEM request you to consider the same as this will allow you to get a product which can be supported up to 10 years lifetime | Requirement of Technical specification is amply clear. |
|  | Volume II Part B, Appendix-H: Hardware Specifications, Page No. 43 & 45 | As per the base runtime requirements of SPEC CPU 2017 Benchmarking Standards | Request you to remove the same. Reason/Remarks: As these benchmarks are no more available request you to make it optional | Refer Amendment No-III |
|  | Volume II Part B, Appendix-H: Hardware Specifications, Page No. 44 & 46 | Audio video signal input module with 2 video inputs, 2 audio inputs, 2 audio outputs for connecting speakers, 2 RGB inputs, 1 DVI input. | Please consider 2 HDMI & 2 DP Inputs Reason/Remarks: As DVI & RGB Inputs are end of life request you to consider latest inputs which is HDMI & DP Which is better. | Refer Amendment No-III |
|  | Volume II Part B, Appendix-H: Hardware Specifications, Page No. 44 & 46 | 1. RGB Analog up to 1920x1200 (up to 165 MHz pixel clock) 2. DVI up to 1920x1200 (up to 165 MHz pixel clock). | Please consider 2 HDMI & 2 DP Inputs Reason/Remarks: As DVI & RGB Inputs are end of life request you to consider latest inputs which is HDMI & DP Which is better. | Refer Amendment No-III |
|  | Volume II Part B, Appendix-H: Hardware Specifications, Page No. 47 | Minimum 5000:1 | Request you to consider 1500:1 or better Static contrast ratio. Reason/Remarks: 5000:1 Static contrast ratio is available in VA Panels which are end of life. As nowadays only IPS Panels are available they have maximum static contrast ratio 1500:1 or better | Refer Amendment No-III |
|  | Volume II Part B, Appendix-H: Hardware Specifications, Page No. 47 | Speakers Inbuilt | Request you to allow External Speakers also. Reason/Remarks: As inbuilt speakers are no more coming request you to consider external speakers option too | Refer Amendment No-III |
|  | Volume II Part B, Appendix-H: Hardware Specifications, Page No. 47 | Screen Gap Not mentioned | Request you to mention screen to screen gap less than 0.88 mm Reason/Remarks: In case of 55" the minimum screen to screen gap is 0.88 mm request you to consider the same | Bidders are requested to provide their detail solution for discussion during Stage-I. |
|  | Volume II Part B, Appendix-H: Hardware Specifications, Page No. 44 & 46 | 500 GB SSD in RAID-1 configuration | Request you to consider 480 GB SSD RAID 1 Reason/Remarks: SAS HDD Comes in 480 & 960 GB SSD Only | Refer Amendment No-III |