Annexure to Amendment-II to Technical Specifications of “Implementation of Unified Load Despatch and Communication (ULDC) Phase-III “SCADA/EMS Upgradation Project-Northern Region SLDCs and RLDC”

Annexure-I

| Table:2.1 – Training Requirements |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| S.No. | Description | No of trainees to be trained for each RLDC/SLDCs |  |  |  |  |  |  |  |  |  |  |  | Total No. of Trainees |  | Duration in weeks |  |  | Total Man-weeks |  |  |
|  |  | NRLDC | HP | BBMB | DTL | HVPNL | J&K PDD | RRVPNL | PSTCL | UPPTCL | PTCUL | Employer |  |  | At Contractor's facility |  | At Owner's facility | At Contractor's facility |  | At Owner's facility |
| 1 | Computer System Hardware &Software | 6 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 2 | 53 |  | 2 |  | 2 | 106 |  | 106 |
| 2 | Database & Display | 6 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 2 | 44 |  | 2 |  | 3 | 88 |  | 132 |
| 3 | Application Software | 26 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 2 | 73 |  | 3 |  | 4 | 219 |  | 292 |
| 4 | Training to Dispatcher/Operator | 10 | 12 | 12 | 12 | 12 | 12 | 12 | 12 | 12 | 12 | 2 | 120 |  | 2 |  | 3 | 240 |  | 360 |
| 5 | Training on NMS | 3 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 23 |  | 1 |  | 1 | 23 |  | 23 |
| 6 | Cyber Security | 8 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 2 | 46 |  | 2 |  | 2 | 92 |  | 92 |
| 7 | Dispatcher Training Simulator | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 2 | 42 |  | 2 |  | 3 | 84 |  | 126 |
| 8 | RTU | 0 | 0 | 0 | 2 | 0 | 5 | 0 | 0 | 0 | 0 | 1 | 8 |  | 1 |  | 1 | 8 |  | 8 |
| 9 | Terminal server/DCPC/ICCP Course | 6 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 2 | 53 |  | 1 |  | 1 | 53 |  | 53 |
| 10 | Aux. Power Supply | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 2 | 42 |  | 0 |  | 1 | 0 |  | 42 |
|  | Total | 73 | 45 | 45 | 47 | 45 | 50 | 45 | 45 | 45 | 45 | 19 | 504 |  | 16 |  | 21 | 913 |  | 1234 |

Annexure-II

RTU Details of UP SLDC

| S.No. | RTU Location /Station | Number Of Analogs data points in the RTU | Number Of Digital data points in the RTU | Make | Existing Control Centre name to which RTU reports presently ( i.e. Sub-LDC or SLDC or RLDC) | Communication Interface at RTU side | Existing Interface at Control Center |  | Proposed Interface at Control Center |  | Proposed Interface at Backup Control Center |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  |  |  |  | Port at CFE | No. of Channels | Port at CFE | No. of Channels | Port at CFE | No. of Channels |
| 1 | Name | 87 | 198 | ABB SAS | RLDC | PLCC,W/B | EIA RS 232 | 2 | EIA RS 232 | 2 | EIA RS 232 | 2 |
| 2 | 220KV CHINHAT |  |  | RTU Husky (Synergy) |  | OPGW |  |  |  |  |  |  |
| 3 | 220KV GOMTI NAGAR |  |  | RTU Husky (Synergy) |  | OPGW |  |  |  |  |  |  |
| 4 | 220KV SITAPUR |  |  | RTU Husky (Synergy) |  | OPGW |  |  |  |  |  |  |
| 5 | 220KV BKT |  |  | SAS Siemens |  | OPGW |  |  |  |  |  |  |
| 6 | 220KV KURSI ROAD |  |  | SAS Siemens |  | OPGW |  |  |  |  |  |  |
| 7 | 220KV BARABANKI |  |  | SAS ZIV |  | OPGW |  |  |  |  |  |  |
| 8 | 132KV NKN |  |  | RTU Husky (Synergy) |  | OPGW |  |  |  |  |  |  |
| 9 | 400KV SULTANPUR |  |  | RTU Husky (Synergy) |  | OPGW |  |  |  |  |  |  |
| 10 | 220KV SULTANPUR |  |  | RTU Husky (Synergy) |  | OPGW |  |  |  |  |  |  |
| 11 | 132KV RAEBARELI (AMAWAN) |  |  | RTU Husky (Synergy) |  | OPGW |  |  |  |  |  |  |
| 12 | 132 Kv TRT |  |  | RTU Husky (Synergy) |  | OPGW |  |  |  |  |  |  |
| 13 | 400 Kv S/s Sarojini Nagar |  |  | RTU Husky (Synergy) |  | OPGW |  |  |  |  |  |  |
| 14 | 132 Kv Kundan Rd |  |  | RTU Husky (Synergy) |  | OPGW |  |  |  |  |  |  |
| 15 | 132 Kv Sonic |  |  | RTU Husky (Synergy) |  | OPGW |  |  |  |  |  |  |
| 16 | 400 Kv Unnao |  |  | RTU Husky (Synergy) |  | OPGW |  |  |  |  |  |  |
| 17 | 220 Kv S/s hardoi Rd |  |  | RTU Husky (Synergy) |  | OPGW |  |  |  |  |  |  |
| 18 | 220 Kv Hardoi |  |  | RTU Husky (Synergy) |  | OPGW |  |  |  |  |  |  |
| 19 | 132 Kv Sandila |  |  | RTU Husky (Synergy) |  | OPGW |  |  |  |  |  |  |
| 20 | 132 Kv Bangermau |  |  | RTU Husky (Synergy) |  | OPGW |  |  |  |  |  |  |
| 21 | 400 Kv Jehta |  |  | GE SAS |  | OPGW |  |  |  |  |  |  |
| 22 | 220 Kv Bijnaur Rd |  |  | Siemens SAS |  | OPGW |  |  |  |  |  |  |
| 23 | Bareilly400 |  |  | RTU Husky (Synergy) |  | OPGW |  |  |  |  |  |  |
| 24 | Dohna220 |  |  | RTU Husky (Synergy) |  | OPGW |  |  |  |  |  |  |
| 25 | Azizpur220 |  |  | Siemens SAS |  | OPGW |  |  |  |  |  |  |
| 26 | Amariya220 |  |  | Siemens SAS |  | OPGW |  |  |  |  |  |  |
| 27 | Badaun220 |  |  | RTU Husky (Synergy) |  | OPGW |  |  |  |  |  |  |
| 28 | Dohna132 |  |  | RTU Husky (Synergy) |  | OPGW |  |  |  |  |  |  |
| 29 | Bareilly Town132 |  |  | RTU Husky (Synergy) |  | OPGW |  |  |  |  |  |  |
| 30 | Faridpur132 |  |  | RTU Husky (Synergy) |  | OPGW |  |  |  |  |  |  |
| 31 | Balipur132 |  |  | RTU Husky (Synergy) |  | OPGW |  |  |  |  |  |  |
| 32 | Shajahanpur 132 |  |  | RTU Husky (Synergy) |  | GPRS (Synergy) |  |  |  |  |  |  |
| 33 | Lakhimpur132 |  |  | RTU Husky (Synergy) |  | OPGW |  |  |  |  |  |  |
| 34 | Pilibhit132 |  |  | RTU Husky (Synergy) |  | OPGW |  |  |  |  |  |  |
| 35 | Powaya132 |  |  | RTU Husky (Synergy) |  | GPRS (Synergy) |  |  |  |  |  |  |
| 36 | Badaun132 |  |  | RTU Husky (Synergy) |  | OPGW |  |  |  |  |  |  |
| 37 | 220 KV SOHAWAL |  |  | RTU Husky (Synergy) |  | OPGW |  |  |  |  |  |  |
| 38 | 220 Kv Mallawn |  |  | Sifang SAS |  | OPGW |  |  |  |  |  |  |
| 39 | 220 KV GONDA |  |  | RTU (Synergy) |  | OPGW |  |  |  |  |  |  |
| 40 | 400KV Rosa* |  |  | Gateway Server SAS |  | OPGW |  |  |  |  |  |  |
| 41 | 132 Kv SGPGI |  |  | Husky RTU |  | GPRS (Synergy) |  |  |  |  |  |  |
| 42 | 132KV JAGDISHPUR |  |  | Synergy RTU |  | GPRS (Synergy) |  |  |  |  |  |  |
| 43 | 220KV TANDA NTPC |  |  | Synergy RTU |  | OPGW |  |  |  |  |  |  |
| 44 | 400KV TANDA NTPC |  |  | PAS Siemens |  | OPGW |  |  |  |  |  |  |
| 45 | 220KV AMETHI |  |  | SAS ZIV |  | OPGW |  |  |  |  |  |  |
| 46 | LMRC 220KV |  |  | SAS |  | OPGW |  |  |  |  |  |  |
| 47 | 220 Kv S/s Sarojini Nagar |  |  | Husky RTU |  | OPGW |  |  |  |  |  |  |
| 48 | 132 Kv Jehta |  |  | SAS Nilambo |  | OPGW |  |  |  |  |  |  |
| 49 | Shajahanpur 220 |  |  | Amitech RTU |  | OPGW |  |  |  |  |  |  |
| 50 | CB Ganj220 |  |  | Amitech RTU |  | OPGW |  |  |  |  |  |  |
| 51 | Richha 132 |  |  | MB Control RTU |  | GPRS (MB Control) |  |  |  |  |  |  |
| 52 | 220KV C.G. CITY |  |  | SAS Alstom |  | OPGW |  |  |  |  |  |  |
| 53 | 220KV SATRIKH ROAD |  |  | SAS Seimens |  | OPGW |  |  |  |  |  |  |
| 54 | 220KV NEW TANDA |  |  | SAS Siemens |  | OPGW |  |  |  |  |  |  |
| 55 | 220KV BACHRAWAN |  |  | SAS Sifang |  | OPGW |  |  |  |  |  |  |
| 56 | 220 Kv Dahi Chowki |  |  | Sifang SAS |  | OPGW |  |  |  |  |  |  |
| 57 | 765 Kv Unnao |  |  | Areva SAS |  | OPGW |  |  |  |  |  |  |
| 58 | 220 Kv Kanpur Rd |  |  | Siemens SAS |  | OPGW |  |  |  |  |  |  |
| 59 | Pilibhit220 |  |  | Siemens SAS |  | OPGW |  |  |  |  |  |  |
| 60 | Gola220 |  |  | GE SAS |  | GPRS (Synergy) |  |  |  |  |  |  |
| 61 | Nighasan 220 |  |  | Siemens SAS |  | OPGW |  |  |  |  |  |  |
| 62 | Meerganj 132 |  |  | Nilumbo SAS |  | GPRS (Synergy) |  |  |  |  |  |  |
| 63 | Data Ganj 220 |  |  | SAS Nilambo |  | GPRS (Synergy) |  |  |  |  |  |  |
| 64 | Badaun 400 (GIS) Adani |  |  | SAS ABB |  | OPGW |  |  |  |  |  |  |
| 65 | Faridpur 220 |  |  | SAS ABB |  | OPGW |  |  |  |  |  |  |
| 66 | 400 KV GONDA (SEUPPTCL) |  |  | Motorola SAS (ABB) |  | OPGW |  |  |  |  |  |  |
| 67 | 220 KV AYODHYA |  |  | SAS (SIEMENS) |  | OPGW |  |  |  |  |  |  |
| 68 | 220 KV BAHRAICH |  |  | SAS (SIEMENS) |  | OPGW |  |  |  |  |  |  |
| 69 | 220 KV BALRAMPUR |  |  | SAS (Nelumbo) |  | OPGW |  |  |  |  |  |  |
| 70 | Gharighat (Gonda) 132KV |  |  | SAS (SIEMENS) |  | OPGW |  |  |  |  |  |  |
| 71 | 220KV RPH |  |  | RTU Husky (Synergy) |  | OPGW |  |  |  |  |  |  |
| 72 | 132KV Bilhaur |  |  | RTU Husky (Synergy) |  | OPGW |  |  |  |  |  |  |
| 73 | 220KV Bithoor |  |  | RTU Husky (Synergy) |  | OPGW |  |  |  |  |  |  |
| 74 | 400KV Panki |  |  | RTU Husky (Synergy) |  | OPGW |  |  |  |  |  |  |
| 75 | 132KV Azadnagar |  |  | RTU Husky (Synergy) |  | OPGW |  |  |  |  |  |  |
| 76 | 132KV Pukhrayan |  |  | RTU Husky (Synergy) |  | OPGW |  |  |  |  |  |  |
| 77 | 220KV Rania (SAS) |  |  | CGL SAS |  | OPGW |  |  |  |  |  |  |
| 78 | 220KV Atrauli |  |  | RTU-SYNERGY |  | OPGW |  |  |  |  |  |  |
| 79 | 220KV Hathras |  |  | RTU-SYNERGY |  | OPGW |  |  |  |  |  |  |
| 80 | Agra 400 |  |  | Synergy RTU |  | OPGW |  |  |  |  |  |  |
| 81 | Firozabad 220 |  |  | RTU Synergy |  | OPGW |  |  |  |  |  |  |
| 82 | Mainpuri 220 |  |  | RTU Synergy |  | OPGW |  |  |  |  |  |  |
| 83 | Agra 220 |  |  | Synergy RTU |  | OPGW |  |  |  |  |  |  |
| 84 | Agra Taj 132 |  |  | Synergy RTU |  | OPGW |  |  |  |  |  |  |
| 85 | Gokul 220 |  |  | Synergy RTU |  | OPGW |  |  |  |  |  |  |
| 86 | Agra FN 132 |  |  | Synergy RTU |  | OPGW |  |  |  |  |  |  |
| 87 | 132KV Boner |  |  | RTU-SYNERGY |  | OPGW |  |  |  |  |  |  |
| 88 | 132KV Jattari |  |  | RTU-SYNERGY |  | OPGW |  |  |  |  |  |  |
| 89 | Farukhabad 220 |  |  | SAS Nilambo |  | OPGW |  |  |  |  |  |  |
| 90 | 220KV Harduaganj (UPRUVNL) |  |  | RTU-SYNERGY |  | OPGW |  |  |  |  |  |  |
| 91 | Agra South 400 |  |  | Siemens SAS |  | OPGW |  |  |  |  |  |  |
| 92 | 400KV Panki Thermal |  |  | SAS Siemens |  | OPGW |  |  |  |  |  |  |
| 93 | Kanpur Metro 220KV |  |  | SAS |  | OPGW |  |  |  |  |  |  |
| 94 | 132KV Aligarh-SLR |  |  | RTU-SYNERGY |  | OPGW |  |  |  |  |  |  |
| 95 | Shamsabad 220 |  |  | Synergy RTU |  | OPGW |  |  |  |  |  |  |
| 96 | Fatehabad 132 |  |  | Synergy RTU |  | OPGW |  |  |  |  |  |  |
| 97 | Mathura 132 |  |  | Synergy RTU |  | GPRS (Synergy) |  |  |  |  |  |  |
| 98 | Kosi Kalan 132 |  |  | Synergy RTU |  | GPRS (Synergy) |  |  |  |  |  |  |
| 99 | Maant 220 |  |  | SEL SAS |  | OPGW |  |  |  |  |  |  |
| 100 | Vrindavan 220 |  |  | Siemens SAS |  | OPGW |  |  |  |  |  |  |
| 101 | Sirsaganj 220 |  |  | SAS Sciemens |  | OPGW |  |  |  |  |  |  |
| 102 | 220KV Etah |  |  | RTU-SYNERGY |  | OPGW |  |  |  |  |  |  |
| 103 | 220KV Panki |  |  | Amitech RTU |  | OPGW |  |  |  |  |  |  |
| 104 | Harduaganj EXT 400 kv (UPRUVNL) |  |  | SAS-ABB |  | OPGW |  |  |  |  |  |  |
| 105 | 220KV Phoolbagh |  |  | SEL SAS |  | OPGW |  |  |  |  |  |  |
| 106 | 220KV Sikandra (SAS) |  |  | Siemens SAS |  | GPRS (Synergy) |  |  |  |  |  |  |
| 107 | Kidwai Nagar 220 |  |  | SAS Seimens |  | OPGW |  |  |  |  |  |  |
| 108 | 220KV Kasganj |  |  | SAS-SIEMENS |  | OPGW |  |  |  |  |  |  |
| 109 | 765KV Jawaharpur (UPRVUNL) |  |  | SAS-ALSTOM |  | OPGW |  |  |  |  |  |  |
| 110 | 220KV Khair |  |  | SAS-ALSTOM |  | OPGW |  |  |  |  |  |  |
| 111 | 220KV Boner |  |  | SAS-ALSTOM |  | PLCC |  |  |  |  |  |  |
| 112 | 400KV Aligarh |  |  | SAS-ZIV |  | OPGW |  |  |  |  |  |  |
| 113 | 220KV Sikandrarao |  |  | SAS-ZIV |  | OPGW |  |  |  |  |  |  |
| 114 | Tundla 220 |  |  | CGL/ZIV SAS |  | OPGW |  |  |  |  |  |  |
| 115 | Chhata 220 |  |  | Siemens SAS |  | OPGW |  |  |  |  |  |  |
| 116 | Kosi UPSIDC 132 |  |  | Nilumbo SAS |  | OPGW |  |  |  |  |  |  |
| 117 | Agra 765 |  |  | NR SAS |  | OPGW |  |  |  |  |  |  |
| 118 | Mathura 400 |  |  | GE SAS |  | OPGW |  |  |  |  |  |  |
| 119 | Bah 220 |  |  | Alstom SAS |  | PLCC |  |  |  |  |  |  |
| 120 | 220KV Kirawali |  |  | Nilumbo SAS |  | GPRS (Synergy) |  |  |  |  |  |  |
| 121 | Mainpuri 765 (SEUPPTCL) |  |  | SAS CGL |  | OPGW |  |  |  |  |  |  |
| 122 | Firozabad 400 (PGCIL) |  |  | SAS GE |  | OPGW |  |  |  |  |  |  |
| 123 | 220 KV Loni |  |  | Synergy (RTU) |  | OPGW |  |  |  |  |  |  |
| 124 | 220 KV Mandola vihar |  |  | Sifang (SAS) |  | OPGW |  |  |  |  |  |  |
| 125 | 220 KV Simbhaoli |  |  | Synergy (RTU) |  | OPGW |  |  |  |  |  |  |
| 126 | 220 KV Bapudham |  |  | Sifang (SAS) |  | OPGW |  |  |  |  |  |  |
| 127 | 220 KV Pratap Vihar |  |  | ZIV(SAS) |  | OPGW |  |  |  |  |  |  |
| 128 | 132KV IA GZB |  |  | Synergy (RTU) |  | OPGW |  |  |  |  |  |  |
| 129 | Moradabad 400KV |  |  | RTU-ABB |  | OPGW |  |  |  |  |  |  |
| 130 | Sambhal 132KV |  |  | RTU-Synergy |  | OPGW |  |  |  |  |  |  |
| 131 | 220KV Saharanpur |  |  | Husky (RTU) |  | OPGW |  |  |  |  |  |  |
| 132 | 220KV Sector 20 Noida |  |  | Husky (RTU) |  | OPGW |  |  |  |  |  |  |
| 133 | 132KV Bhangel |  |  | Husky (RTU) |  | GPRS (Synergy) |  |  |  |  |  |  |
| 134 | 132KV Sector 45 Noida |  |  | Husky (RTU) |  | GPRS (Synergy) |  |  |  |  |  |  |
| 135 | 132KV Sector 62 Noida |  |  | Husky (RTU) |  | GPRS (Synergy) |  |  |  |  |  |  |
| 136 | Singhawali 132 |  |  | Husky (RTU) |  | GPRS (Synergy) |  |  |  |  |  |  |
| 137 | MODIPURAM-II 220 |  |  | Neelumbo (SAS) |  | OPGW |  |  |  |  |  |  |
| 138 | Nagli kithor 132 |  |  | Husky (RTU) |  | GPRS (Synergy) |  |  |  |  |  |  |
| 139 | TAJPUR 132 |  |  | Husky (RTU) |  | GPRS (Synergy) |  |  |  |  |  |  |
| 140 | 132KV Syana |  |  | Husky (RTU) |  | OPGW |  |  |  |  |  |  |
| 141 | Mawana 132 |  |  | Husky (RTU) |  | OPGW |  |  |  |  |  |  |
| 142 | Meerut PP 132 |  |  | Husky (RTU) |  | OPGW |  |  |  |  |  |  |
| 143 | Gajroula 220KV |  |  | RTU- Synergy |  | OPGW |  |  |  |  |  |  |
| 144 | Sambhal 220KV |  |  | RTU- Synergy |  | OPGW |  |  |  |  |  |  |
| 145 | 132 KV BSR GZB |  |  | ABB RTU |  | OPGW |  |  |  |  |  |  |
| 146 | 132 KV Dasna |  |  | Synergy (RTU) |  | OPGW |  |  |  |  |  |  |
| 147 | 132 KV Morta |  |  | Synergy (RTU) |  | OPGW |  |  |  |  |  |  |
| 148 | 132 KV Hapur |  |  | Synergy (RTU) |  | OPGW |  |  |  |  |  |  |
| 149 | 220 KV Khara (CoGen) |  |  | Husky (RTU) |  | OPGW |  |  |  |  |  |  |
| 150 | 220 KV Nanauta |  |  | Husky (RTU) |  | OPGW |  |  |  |  |  |  |
| 151 | Noida Sector-63 132KV |  |  | Alstom SAS |  | GPRS (Synergy) |  |  |  |  |  |  |
| 152 | Nehtour 220 |  |  | Husky (RTU) |  | OPGW |  |  |  |  |  |  |
| 153 | 132 KV Khatauli |  |  | Husky (RTU) |  | OPGW |  |  |  |  |  |  |
| 154 | 132 KV Kota |  |  | Husky (RTU) |  | GPRS (Synergy) |  |  |  |  |  |  |
| 155 | 132 KV Deoband |  |  | Husky (RTU) |  | OPGW |  |  |  |  |  |  |
| 156 | 400KV Greater Noida (Pali) |  |  | Husky (RTU) |  | OPGW |  |  |  |  |  |  |
| 157 | 132KV Bhoor |  |  | Husky (RTU) |  | OPGW |  |  |  |  |  |  |
| 158 | Bijnour 132 |  |  | Husky (RTU) |  | OPGW |  |  |  |  |  |  |
| 159 | Chandpur 132 |  |  | Husky (RTU) |  | OPGW |  |  |  |  |  |  |
| 160 | 220KV Dadri |  |  | Husky (RTU) |  | OPGW |  |  |  |  |  |  |
| 161 | 220KV Sikandrabad |  |  | Husky (RTU) |  | OPGW |  |  |  |  |  |  |
| 162 | Nazibabad 132 |  |  | Husky (RTU) |  | OPGW |  |  |  |  |  |  |
| 163 | Shatabdi Nagar 220 |  |  | Husky (RTU) |  | OPGW |  |  |  |  |  |  |
| 164 | Amroha 132 KV |  |  | RTU Synergy |  | OPGW |  |  |  |  |  |  |
| 165 | Amroha 220KV |  |  | SAS- CGL |  | OPGW |  |  |  |  |  |  |
| 166 | Chandausi 220KV |  |  | SAS- SEL |  | OPGW |  |  |  |  |  |  |
| 167 | 400KV Sector 123 Noida |  |  | ALSTOM (SAS) |  | OPGW |  |  |  |  |  |  |
| 168 | 400 KV Muradnagar-I |  |  | Synergy (RTU) |  | OPGW |  |  |  |  |  |  |
| 169 | 220KV Muradnagar |  |  | Synergy (RTU) |  | OPGW |  |  |  |  |  |  |
| 170 | Moradabad 220KV |  |  | RTU-Synergy |  | OPGW |  |  |  |  |  |  |
| 171 | Modipuram 220 |  |  | Husky (RTU) |  | OPGW |  |  |  |  |  |  |
| 172 | 220 KV Muzaffar nagar 2 |  |  | Husky (RTU) |  | OPGW |  |  |  |  |  |  |
| 173 | 400 KV Muzaffar nagar |  |  | Husky (RTU) |  | OPGW |  |  |  |  |  |  |
| 174 | 132 KV Janasath |  |  | Husky (RTU) |  | OPGW |  |  |  |  |  |  |
| 175 | 132 KV Purkazi |  |  | Husky (RTU) |  | OPGW |  |  |  |  |  |  |
| 176 | 220KV Jahangirabad |  |  | Husky( RTU) |  | OPGW |  |  |  |  |  |  |
| 177 | 220KV Khurja |  |  | Husky (RTU) |  | OPGW |  |  |  |  |  |  |
| 178 | 220 KV Shamli |  |  | Ami-Tech (RTU) |  | OPGW |  |  |  |  |  |  |
| 179 | Baraut 220 |  |  | AmiTech (RTU) |  | OPGW |  |  |  |  |  |  |
| 180 | 220 KV Sahibabad |  |  | Ami Tech (RTU) |  | OPGW |  |  |  |  |  |  |
| 181 | 220KV Sector 62 Noida |  |  | Synergy (RTU) |  | OPGW |  |  |  |  |  |  |
| 182 | 220KV Sector 129 Noida |  |  | Synergy (RTU) |  | OPGW |  |  |  |  |  |  |
| 183 | Charla 220 |  |  | Synergy (RTU) |  | OPGW |  |  |  |  |  |  |
| 184 | 132KV Surajpur |  |  | Husky(RTU) |  | GPRS (MB Control) |  |  |  |  |  |  |
| 185 | Dhampur 132KV |  |  | RTU- MB control |  | OPGW |  |  |  |  |  |  |
| 186 | Thakurdwara 132KV |  |  | RTU-MB Control |  | GPRS (MB Control) |  |  |  |  |  |  |
| 187 | 132 KV Ambala Road 2 |  |  | M. B. Control (RTU) |  | GPRS (MB Control) |  |  |  |  |  |  |
| 188 | 400 KV Vishnu Prayag (Jaypee) |  |  | M.B. Control Portable (RTU) |  | GPRS (MB Control) |  |  |  |  |  |  |
| 189 | Afzalgarh 132 |  |  | MB Control (RTU) |  | OPGW |  |  |  |  |  |  |
| 190 | Kiratpur 132 |  |  | MB Control (RTU) |  | OPGW |  |  |  |  |  |  |
| 191 | Chandak 132 |  |  | MB Control (RTU) |  | OPGW |  |  |  |  |  |  |
| 192 | 132 KV Mohan Nagar |  |  | Synergy (RTU) |  | PLCC |  |  |  |  |  |  |
| 193 | 400 KV Muradnagar New |  |  | ZIV(SAS) |  | OPGW |  |  |  |  |  |  |
| 194 | 220 KV Faridnagar |  |  | Siemens (SAS) |  | OPGW |  |  |  |  |  |  |
| 195 | 220 KV Morti |  |  | Siemens (SAS) |  | OPGW |  |  |  |  |  |  |
| 196 | 220 KV Hapur |  |  | ABB (SAS) |  | OPGW |  |  |  |  |  |  |
| 197 | 132 KV BSR -2 GZB |  |  | Siemens (SAS) |  | GPRS (Synergy) |  |  |  |  |  |  |
| 198 | Rampur 220KV |  |  | SAS- Alstom |  |  |  |  |  |  |  |  |
| 199 | 400 KV Alaknanda (CoGen) |  |  | BHEL SAS |  | PLCC |  |  |  |  |  |  |
| 200 | 400 KV Shamli |  |  | NR Energy Solution (SAS) |  | OPGW |  |  |  |  |  |  |
| 201 | 220 KV Sarsawan |  |  | ZIV (SAS) |  | OPGW |  |  |  |  |  |  |
| 202 | 220 KV Behat |  |  | Siemens (SAS) |  | OPGW |  |  |  |  |  |  |
| 203 | 220 KV Badhai Kalan |  |  | ZIV (SAS) |  | OPGW |  |  |  |  |  |  |
| 204 | 220 KV Jansath |  |  | Siemens (SAS) |  | OPGW |  |  |  |  |  |  |
| 205 | 400KV Sector 148 Noida |  |  | ALSTOM (SAS) |  | OPGW |  |  |  |  |  |  |
| 206 | 220KV IITGNL |  |  | GE (SAS) |  | GPRS (Synergy) |  |  |  |  |  |  |
| 207 | 220KV Sector 38 Noida |  |  | SEIMENS (SAS) |  | GPRS (Synergy) |  |  |  |  |  |  |
| 208 | 220KV RC Green |  |  | NELUMBO (SAS) |  | OPGW |  |  |  |  |  |  |
| 209 | Jewar 220 |  |  | SAS Seimens |  | OPGW |  |  |  |  |  |  |
| 210 | 132KV Noida Sec 67 |  |  | SAS Seimens |  | OPGW |  |  |  |  |  |  |
| 211 | 220KV Rukhi |  |  | SEL (SAS) |  | OPGW |  |  |  |  |  |  |
| 212 | 220KV Debai |  |  | ALSTOM (SAS) |  | OPGW |  |  |  |  |  |  |
| 213 | Baghpat 220 |  |  | CGL(SAS) |  | OPGW |  |  |  |  |  |  |
| 214 | Billochpura 132 |  |  | Neelumbo (SAS) |  | GPRS (Synergy) |  |  |  |  |  |  |
| 215 | Nirpura 220 |  |  | GE (SAS) |  | GPRS (Synergy) |  |  |  |  |  |  |
| 216 | Chandpur 220 |  |  | ZIV (SAS) |  | OPGW |  |  |  |  |  |  |
| 217 | Sherkot 132 |  |  | CGL (SAS) |  | OPGW |  |  |  |  |  |  |
| 218 | Partapur (JagiritiVihar) 220 |  |  | CGL (SAS) |  | OPGW |  |  |  |  |  |  |
| 219 | Greater Noida 765 KV (WUPPTCL) |  |  | SAS |  | OPGW |  |  |  |  |  |  |
| 220 | Sikanderabad 400KV (WUPPTCL) |  |  | SAS |  | OPGW |  |  |  |  |  |  |
| 221 | Hapur 765 (WUPPTCL) |  |  | SAS |  | OPGW |  |  |  |  |  |  |
| 222 | Indirapuram 400KV (WUPPTCL) |  |  | SAS |  | OPGW |  |  |  |  |  |  |
| 223 | Dasna 400KV (WUPPTCL) |  |  | SAS |  | OPGW |  |  |  |  |  |  |
| 224 | Ataur 400KV (WUPPTCL) |  |  | SAS |  | OPGW |  |  |  |  |  |  |
| 225 | Nehtaur 400KV (WUPPTCL) |  |  | SAS |  | OPGW |  |  |  |  |  |  |
| 226 | Sambhal 400KV (PGCIL) |  |  | SAS |  | OPGW |  |  |  |  |  |  |
| 227 | Rampur 765 KV (PRSTL) |  |  | SAS |  | OPGW |  |  |  |  |  |  |
| 228 | Simbhawali 400 (PRSTL) |  |  | SAS |  | OPGW |  |  |  |  |  |  |
| 229 | Merrut 765KV (PGCIL) |  |  | SAS |  | OPGW |  |  |  |  |  |  |
| 230 | 132KV MALWAN |  |  | Husky (Synergy) |  | OPGW |  |  |  |  |  |  |
| 231 | 132KV JAHANABAD |  |  | Husky (Synergy) |  | OPGW |  |  |  |  |  |  |
| 232 | 220KV FATEHPUR |  |  | Husky (Synergy) |  | OPGW |  |  |  |  |  |  |
| 233 | 220KV MALWAN |  |  | SAS NELUMBO |  | OPGW |  |  |  |  |  |  |
| 234 | 220KV REWA ROAD |  |  | RTU-SYNERGY |  | OPGW |  |  |  |  |  |  |
| 235 | 132KV KUNDA |  |  | RTU-SYNERGY |  | GPRS (Synergy) |  |  |  |  |  |  |
| 236 | 132KV SHANKAR GARH |  |  | RTU-SYNERGY |  | GPRS (Synergy) |  |  |  |  |  |  |
| 237 | 400 KV Sarnath |  |  | Husky Synergy |  | OPGW |  |  |  |  |  |  |
| 238 | 220 Kv Sahupuri |  |  | Husky Synergy |  | OPGW |  |  |  |  |  |  |
| 239 | 132 kV Chauri |  |  | Husky Synergy |  | OPGW |  |  |  |  |  |  |
| 240 | 132 kV Bhadohi |  |  | Husky Synergy |  | OPGW |  |  |  |  |  |  |
| 241 | 132 KV Aurai |  |  | Husky Synergy |  | OPGW |  |  |  |  |  |  |
| 242 | 132KV MANAURI |  |  | RTU-SYNERGY |  | GPRS (Synergy) |  |  |  |  |  |  |
| 243 | 132KV JIGNA |  |  | RTU-SYNERGY |  | GPRS (Synergy) |  |  |  |  |  |  |
| 244 | 220KV ALLAHABAD CANTT. |  |  | RTU-SYNERGY |  | OPGW |  |  |  |  |  |  |
| 245 | 132KV MINTOPARK |  |  | RTU-SYNERGY |  | OPGW |  |  |  |  |  |  |
| 246 | 132KV NAINI |  |  | RTU-SYNERGY |  | OPGW |  |  |  |  |  |  |
| 247 | Meja 400kv TPS (NTPC) |  |  | SAS-GE |  | OPGW |  |  |  |  |  |  |
| 248 | 132 KV Zamania |  |  | Husky Synergy |  | OPGW |  |  |  |  |  |  |
| 249 | 132 kV Saidpur |  |  | Husky Synergy |  | OPGW |  |  |  |  |  |  |
| 250 | 132 KV Raja Ka talab |  |  | Husky Synergy |  | OPGW |  |  |  |  |  |  |
| 251 | Kareily 132 |  |  | SAS GE |  | OPGW |  |  |  |  |  |  |
| 252 | Narayanpur 132 |  |  | Husky |  | GPRS (Synergy) |  |  |  |  |  |  |
| 253 | 132KV OBRA-H (UPJVUNL) |  |  | RTU SYNERGY |  | OPGW |  |  |  |  |  |  |
| 254 | 220KV PHULPUR |  |  | RTU-ABB |  | OPGW |  |  |  |  |  |  |
| 255 | 220KV Bhelupur |  |  | Synergy |  | GPRS (Synergy) |  |  |  |  |  |  |
| 256 | SANGIPUR 220KV |  |  | SAS GE |  | OPGW |  |  |  |  |  |  |
| 257 | 132 kV Ghazipur |  |  | Husky Synergy |  | OPGW |  |  |  |  |  |  |
| 258 | 132 kv Ledhoopur (Sarnath) |  |  | Husky Synergy |  | OPGW |  |  |  |  |  |  |
| 259 | 132 kV Manuadih |  |  | Husky Synergy |  | OPGW |  |  |  |  |  |  |
| 260 | 132 KV Chunar |  |  | Husky Synergy |  | OPGW |  |  |  |  |  |  |
| 261 | 220 KV Gajokhar |  |  | Husky Synergy |  | OPGW |  |  |  |  |  |  |
| 262 | 220 KV Ghazipur |  |  | Husky Synergy |  | OPGW |  |  |  |  |  |  |
| 263 | 132KV SIRATHU |  |  | RTU-SYNERGY |  | OPGW |  |  |  |  |  |  |
| 264 | 132KV MIRZAPUR |  |  | RTU-SYNERGY |  | OPGW |  |  |  |  |  |  |
| 265 | 220KV OBRA-A (UPRVUNL) |  |  | RTU SYNERGY |  | OPGW |  |  |  |  |  |  |
| 266 | 132KV ROBERTS GANJ |  |  | RTU SYNERGY |  | OPGW |  |  |  |  |  |  |
| 267 | 400 KV Anapara -T (UPRVUNL) |  |  | RTU SYNERGY |  | OPGW |  |  |  |  |  |  |
| 268 | 132KV Rihand -H (UPJVUNL) |  |  | RTU SYNERGY |  | OPGW |  |  |  |  |  |  |
| 269 | 132 KV BINA |  |  | RTU SYNERGY |  | OPGW |  |  |  |  |  |  |
| 270 | 765 KV Anpara C (LANCO) |  |  | SAS -GE |  | OPGW |  |  |  |  |  |  |
| 271 | 220KV PRATAPGARH |  |  | RTU-SYNERGY OLD |  | OPGW |  |  |  |  |  |  |
| 272 | 220KV JHUSI |  |  | RTU-SYNERGY OLD |  | OPGW |  |  |  |  |  |  |
| 273 | Chandauli 132 |  |  | Portable RTU |  | GPRS (MB Control) |  |  |  |  |  |  |
| 274 | 765 KV BARA (TPS) PPGCL |  |  | SAS-SCHINDER |  | OPGW |  |  |  |  |  |  |
| 275 | 400KV ALLAHABAD (SEUPPTCL) |  |  | SAS-ABB |  | OPGW |  |  |  |  |  |  |
| 276 | MASOLI 400KV |  |  | SAS-ZIV |  | OPGW |  |  |  |  |  |  |
| 277 | 220KV SIRATHU |  |  | SAS-ZIV |  | OPGW |  |  |  |  |  |  |
| 278 | 220 KV MIRZAPUR |  |  | SAS-ERL |  | OPGW |  |  |  |  |  |  |
| 279 | 132KV CHHANBEY |  |  | SAS-SEIMENS |  | GPRS (Synergy) |  |  |  |  |  |  |
| 280 | 220 KV Raja Ka Talab |  |  | SAS ZIV |  |  |  |  |  |  |  |  |
| 281 | 220 kV Haraua |  |  | SAS ZIV |  | PLCC |  |  |  |  |  |  |
| 282 | 220KV Bhadaura |  |  | SAS( SEL) |  | OPGW |  |  |  |  |  |  |
| 283 | 400KV OBRA-B (UPRVUNL) |  |  | SAS SIEMENS |  | OPGW |  |  |  |  |  |  |
| 284 | 765KV OBRA-C (UPRVUNL) |  |  | SAS GE |  | OPGW |  |  |  |  |  |  |
| 285 | 220KV ROBERTS GANJ |  |  | SAS SIEMENS |  | OPGW |  |  |  |  |  |  |
| 286 | 765 KV Anpara D (UPRVUNL) |  |  | SAS -GE |  | OPGW |  |  |  |  |  |  |
| 287 | 400 KV GKP-I (Motiram Adda) |  |  | Synergy (RTU) |  | OPGW |  |  |  |  |  |  |
| 288 | 132 KV FCI |  |  | Synergy (RTU) |  | OPGW |  |  |  |  |  |  |
| 289 | 132 KV Mohaddipur |  |  | Synergy (RTU) |  | GPRS (Synergy) |  |  |  |  |  |  |
| 290 | Azamgarh 400 KV |  |  | RTU (Synergy) |  | OPGW |  |  |  |  |  |  |
| 291 | Mau 400 KV |  |  | RTU (Hitachi) |  | OPGW |  |  |  |  |  |  |
| 292 | Rasra (Ballia) 400 KV |  |  | SAS |  | OPGW |  |  |  |  |  |  |
| 293 | Azamgarh -2, 220 KV |  |  | RTU (Hitachi) |  | OPGW |  |  |  |  |  |  |
| 294 | Jaunpur 400 KV |  |  | SAS Siemens |  | OPGW |  |  |  |  |  |  |
| 295 | Lalganj 132 KV |  |  | RTU (Synergy) |  | OPGW |  |  |  |  |  |  |
| 296 | Mau Old 132 KV |  |  | RTU (Synergy) |  | OPGW |  |  |  |  |  |  |
| 297 | Ballia 132 KV |  |  | RTU (Synergy) |  | OPGW |  |  |  |  |  |  |
| 298 | Jaunpur 220 KV |  |  | RTU (Synergy) |  | OPGW |  |  |  |  |  |  |
| 299 | 132 KV Deoria |  |  | Synergy (RTU) |  | OPGW |  |  |  |  |  |  |
| 300 | 132 KV Maharajganj |  |  | Synergy (RTU) |  | OPGW |  |  |  |  |  |  |
| 301 | 220 KV GKP- New (Motiram Adda) |  |  | Synergy (RTU) |  | OPGW |  |  |  |  |  |  |
| 302 | 220 KV GKP- II (Barahua) |  |  | ABB (RTU) |  | OPGW |  |  |  |  |  |  |
| 303 | 132 KV Shatruganpur |  |  | Synergy (RTU) |  | OPGW |  |  |  |  |  |  |
| 304 | 132 KV Khalilabad |  |  | Synergy (RTU) |  | OPGW |  |  |  |  |  |  |
| 305 | 132 KV Bansi |  |  | Synergy (RTU) |  | OPGW |  |  |  |  |  |  |
| 306 | 132 KV Kauriram |  |  | Synergy (RTU) |  | OPGW |  |  |  |  |  |  |
| 307 | Rasra 220 KV |  |  | SAS (ZIV) |  | OPGW |  |  |  |  |  |  |
| 308 | Badlapur 132 |  |  | Husky RTU |  | GPRS (Synergy) |  |  |  |  |  |  |
| 309 | 220 KV Deoria |  |  | Synergy (RTU) |  | OPGW |  |  |  |  |  |  |
| 310 | 220 KV Bansi |  |  | Alstom (SAS) |  | OPGW |  |  |  |  |  |  |
| 311 | 132 KV Kasia |  |  | Synergy (RTU) |  | OPGW |  |  |  |  |  |  |
| 312 | 220 KV BASTI |  |  | RTU (AMITECH) |  | OPGW |  |  |  |  |  |  |
| 313 | Sikanderpur 132 |  |  | Portable RTU |  | GPRS (MB Control) |  |  |  |  |  |  |
| 314 | Azamgarh-II,220 KV |  |  | SAS (ZIV) |  | OPGW |  |  |  |  |  |  |
| 315 | 220 KV Hata |  |  | Sifang (SAS) |  | OPGW |  |  |  |  |  |  |
| 316 | 220 KV Gola |  |  | ZIV (SAS) |  | OPGW |  |  |  |  |  |  |
| 317 | 220 KV Dulhipar |  |  | Siemens (SAS) |  | OPGW |  |  |  |  |  |  |
| 318 | 220 KV Maharajganj |  |  | Siemens (SAS) |  | OPGW |  |  |  |  |  |  |
| 319 | 400 KV BASTI |  |  | SAS (GE) |  | OPGW |  |  |  |  |  |  |
| 320 | Bansdih 132 |  |  | SAS Alstom |  | GPRS (Synergy) |  |  |  |  |  |  |
| 321 | 220KV BANDA |  |  | Husky (Synergy) |  | OPGW |  |  |  |  |  |  |
| 322 | 400KV BANDA |  |  | SAS ZIV |  | OPGW |  |  |  |  |  |  |
| 323 | 220kv Substation Jhansi |  |  | RTU Husky (Synergy) |  | OPGW |  |  |  |  |  |  |
| 324 | 220kv Substation Orai |  |  | RTU (ABB) |  | OPGW |  |  |  |  |  |  |
| 325 | 132kv Substation Moth |  |  | RTU Husky (Synergy) |  | GPRS (Synergy) |  |  |  |  |  |  |
| 326 | 132KV Dibiyapur |  |  | Synergy |  | OPGW |  |  |  |  |  |  |
| 327 | 220KV Kanpur South |  |  | Synergy |  | OPGW |  |  |  |  |  |  |
| 328 | 220KV Neebkarori |  |  | SAS CGL |  | OPGW |  |  |  |  |  |  |
| 329 | 132kv Substation Mahoba |  |  | RTU Husky (Synergy) |  | GPRS (Synergy) |  |  |  |  |  |  |
| 330 | 132kv Substation Lalitpur |  |  | RTU Husky (Synergy) |  | OPGW |  |  |  |  |  |  |
| 331 | 132kv Substation Hasari |  |  | RTU Husky (Synergy) |  | OPGW |  |  |  |  |  |  |
| 332 | 132kv Substation Orai |  |  | RTU Husky (Synergy) |  | OPGW |  |  |  |  |  |  |
| 333 | 220kV Substation Lalitpur |  |  | RTU (ABB) |  | OPGW |  |  |  |  |  |  |
| 334 | 220KV CHITRAKOOT |  |  | SAS (Sifang) |  | OPGW |  |  |  |  |  |  |
| 335 | 220 KV Parichha Thermal (UPRUVNL) |  |  | RTU Husky (Synergy) |  | OPGW |  |  |  |  |  |  |
| 336 | Chhibramau 220 |  |  | RTU Synergy |  | OPGW |  |  |  |  |  |  |
| 337 | Bharthana 220 |  |  | RTU Synergy |  | OPGW |  |  |  |  |  |  |
| 338 | Fatehgarh 132 |  |  | RTU Synergy |  | OPGW |  |  |  |  |  |  |
| 339 | Kunera 132 |  |  | RTU Synergy |  | OPGW |  |  |  |  |  |  |
| 340 | Kannauj 132 |  |  | RTU Synergy |  | OPGW |  |  |  |  |  |  |
| 341 | Matatila Hydro (UPJVUNL) |  |  | RTU Husky (Synergy) |  | GPRS (Synergy) |  |  |  |  |  |  |
| 342 | 220KV Sarh (SAS) |  |  | SEL SAS |  | OPGW |  |  |  |  |  |  |
| 343 | 220KV Kanpur Naubasta |  |  | Amitech RTU |  | OPGW |  |  |  |  |  |  |
| 344 | 132KV Dukwan THDC (Hydro) |  |  | Portable RTU |  | GPRS (MB Control) |  |  |  |  |  |  |
| 345 | 220kv Substation Babina |  |  | SAS (Sifang) |  | OPGW |  |  |  |  |  |  |
| 346 | 400KV Parichha Extension (UPRUVNL) |  |  | SAS Simens |  | OPGW |  |  |  |  |  |  |
| 347 | 400kv Substation Orai |  |  | SAS (ABB) |  | OPGW |  |  |  |  |  |  |
| 348 | 220kv Substation Mahoba |  |  | SAS (Simance) |  | OPGW |  |  |  |  |  |  |
| 349 | 132Kv Substation Madhograh |  |  | SAS (nilambo) |  | GPRS (Synergy) |  |  |  |  |  |  |
| 350 | Lalitpur-TH (Bajaj) 765KV |  |  | SAS |  | OPGW |  |  |  |  |  |  |
| 351 | 765 KV GTPS NUPPL (SAS) |  |  | Siemens |  | OPGW |  |  |  |  |  |  |
| 352 | Saifai 220 |  |  | SAS Sciemens |  | OPGW |  |  |  |  |  |  |
| 353 | Erach 132KV |  |  | Nilumbo SAS |  | GPRS (Synergy) |  |  |  |  |  |  |

Note:  173 No. Solar/Cogen are not included in above list which are communicating on GPRS.  The above list is tentative and the final shall be shared during detail engineering.

Annexure-III

List of equipment for buy-back (HVPNL)

| Sr. No. | Description | Identification | Unit | No. | MAKE MODEL |
| --- | --- | --- | --- | --- | --- |
|  | SERVERS |  |  |  |  |
| 1.A | SCADA/EMS Server | AD+PSOS | No. | 2 | DELL POWEREDGE 420 |
| 1.B | ISR Servers | Included in 1 | No. |  | DELL POWEREDGE 420 |
| 2 | Data Historian Server | Data Historian Server | No. | 2 | DELL POWEREDGE 420 |
| 3 | Communication Front End (CFE) | COM+EMS | No. | 2 | DELL POWEREDGE 420 |
| 4 | ICCP Server | ICCP+IFS | No. | 2 | DELL POWEREDGE 420 |
| 5 | NMS Server | NMS+IDENTITY SERVER | No. | 2 | DELL POWEREDGE 420 |
| 6 | Web Servers | WEB | No. | 3 | 2 Nos. DELL POWEREDGE 420 & 1 No. DELL POWEREDGE 430 |
| 7 | DTS Server | OTS | No. | 1 | DELL POWEREDGE 420 |
| 8 | SAN Management Server | SAN | No. | 2 | DELL POWEREDGE 420 |
| 9 | PDS Server | PDS | No. | 1 | DELL POWEREDGE 420 |
| 10 | Centralized Management Console | CMC SERVER | No. | 1 | DELL POWEREDGE 420 |
| 11 | Data Replica Server | DR+EDR | No. | 2 | DELL POWEREDGE 420 |
| 12 | Spare Server | - | No. | 1 | DELL POWEREDGE 420 |
| 13 | Server Rack with IP based KVM switch |  | No. | 4 |  |
|  | WAN Routers with Firewall |  |  |  |  |
| 14 | WAN Router cum Firewall for RTU Communication | IFS ROUTER | No. | 2 | Cisco 1900 Series |
| 15 | WAN Router cum Firewall for ICCP and Remote Consoles Communication | ICCP ROUTER | No. | 2 | Cisco 1900 Series |
| 16 | WAN Router cum firewall for connectivity with ISP | WEB ROUTER | No. | 2 | Cisco 1900 Series |
| 17 | WAN Router cum firewall | PDS ROUTER | No. | 2 | Cisco 1900 Series |
| 18 | Router cum firewall | REMOTE CONSOLE ROUTER | No. | 4 | Cisco 1900 Series |
|  | LAN Switch |  |  |  |  |
| 19 | 48 Port L3- LAN switch for SCADA LAN | SCADA SWITCH | No. | 2 | CISCO |
| 20 | 24 Port L3- LAN switch for ISR & NMS LAN | NMS SWITCH | No. | 2 | CISCO |
| 21 | 48 Port L3- LAN switch for SAN LAN | SAN SWITCH | No. | 2 | CISCO |
| 22 | 24 Port L3- LAN switch for External DMZ LAN LAN | LAN SWITCH | No. | 2 | CISCO |
| 23 | 24 Port L3- LAN switch for Server Management LAN | Management SWITCH | No. | 1 | CISCO |
| 24 | 24 Port L3- LAN switch for ICCP LAN | ICCP SWITCH | No. | 2 | CISCO |
| 25 | 24 Port L3- LAN switch for Internal DMZ LAN | DMZ SWITCH | No. | 2 | CISCO |
| 26 | 24 Port LAN switch for terminal server | 3 USED AS SWITCH FOR COLLECTING DATA FROM SDH TO IFS ROUTER | No. | 6 | CISCO |
| 27 | Spare 28 port Switch |  | No. | 1 | CISCO |
| 28 | Spare 48 port Switch |  | No. | 1 | CISCO |
|  | Video Conferencing System |  |  |  |  |
| 55 | Configuration Laptop with associated accessories |  | No. | 1 | Lenovo |
| 56 | Video Endpoints |  | No. | 1 |  |
| 57 | HD Camera |  | No. | Included |  |
| 58 | Microphone Base Station |  | Set | 1 |  |
| 59 | Wireless Microphones |  | No. | 4 |  |
| 60 | Collar Microphones |  | No. | 2 |  |
| 61 | LCD Video Walls |  | Modules | 4 |  |
| 62 | Wall mounted Line Array Speakers |  | No. | 1 |  |
| 63 | Dual Channel Power Amplifier |  | No. | 1 |  |
| 64 | Multipoint Confrence Unit (MCU) |  | Lot | 1 |  |
|  | Time & Frequency System and External Displays |  |  |  |  |
| 65 | Time & Frequency System (GPS Based) |  | Lot | 1 | MASIBUS |
| 66 | Digital Display for Day |  | No. | 1 | MASIBUS |
| 67 | Digital Display for Time |  | No. | 1 | MASIBUS |
| 68 | Digital Display for Frequency |  | No. | 1 | MASIBUS |
|  | FIREWALL |  |  |  |  |
| 69 | External Firewall with NIPS with 10 ports |  | No. | 4 | 3 NO. Watchgaurd XTM 8Series & 1 No. Gajshield GS 125nu |
| 70 | Internal Firewall with NIPS with 12 ports |  | No. | 3 | Fortinet Fortigate 100D |
|  | Printers |  |  |  |  |
| 71 | Color Laser Printer |  | No. | 2 | XEROX |
| 72 | Multi Functional Printer |  | No. | 2 | XEROX |
| 73 | Colour inkjet Printer |  | No. | 4 | HP |
|  | Storage System |  |  |  |  |
| 74 | SAN Box |  | No. | 2 | DELL |
| 75 | NAS Box |  | No. | 1 | DELL |
| 76 | Tape Libaries |  | No. | 1 | DELL |
| 77 | Desktop cartridge Magnetic tape Unit |  | No. | 1 | Dell Power Vault TL4000 |
| 78 | Fireproof Software Storage Box |  | No. | 1 | GODREJ |
|  | LAPTOP |  |  |  |  |
| 79 | DTS Laptop |  | No. | 1 | DELL |
| 80 | Laptop for maintenance |  | No. | 2 | DELL |
| 81 | Laptop PC for RTU simulator & Protocol Analyser |  | No. | 1 | DELL |
|  | Terminal Server System for 101 based RTU Termination |  |  |  |  |
| 81 | 16 Ports Terminal Server |  | No. | 14 | ADVANTECH |
| 82 | Panel with accessories (Terminal Server) |  | No. | 3 |  |
| 83 | Splitter for RTU communication |  | No. | 28 |  |
|  | Workstations / REMOTE CONSOLES |  |  |  |  |
| 84 | Workstation Console integrated with dual 24" Monitors | OC1-4 | No. | 4 | DELL |
| 85 | Workstation | PDS | No. | 1 | DELL |
| 86 | Workstation (Training Console) | DTS | No. | 2 | DELL |
| 87 | Remote Console with single 24" inch Colour Monitor |  | No. | 2 | DELL |
| 88 | Remote Console with dual 24" inch Colour Monitor |  | No. | 2 | DELL |
| 89 | Server Management Console | SMC | No. | 1 | DELL |
| 90 | Spare workstation with monitor |  |  | 1 | DELL |
|  | Video Projection System |  |  |  |  |
| 91 | Video projection System for Control room (Module) |  | Module | 14 | BARCO |
|  | Furniture |  |  |  |  |
| 92 | 2 User Desk (E/U Shaped) |  | No. | 2 |  |
| 93 | 1 User Desk (U Shaped) |  | No. | 2 |  |
| 94 | 1 User Desk (General) |  | No. | 4 |  |
| 95 | Chairs |  | No. | 10 |  |

List of equipment for buy-back (PSTCL)

| Sr. No. | Description | Identification | Unit |  | No. |  | MAKE MODEL |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  | SERVERS |  |  |  |  |  |  |
| 1 | SCADA/EMS Server | ad 1 | No. |  | 2 |  | DELL POWEREDGE 420 |
|  |  | ad 2 |  |  |  |  | DELL POWEREDGE 420 |
| 2 | UI Server | UI 1 | No. |  | 2 |  | DELL POWEREDGE 420 |
|  |  | UI 2 |  |  |  |  | DELL POWEREDGE 420 |
| 3 | ISR+PSOS Server | COM 1 | No. |  | 2 |  | DELL POWEREDGE 420 |
|  |  | COM 2 |  |  |  |  | DELL POWEREDGE 420 |
| 4 | DATA HISTORIAN SERVER | Data historian 1 | No. |  | 2 |  | DELL POWEREDGE 420 |
|  |  | Data historian 2 |  |  |  |  | DELL POWEREDGE 420 |
| 5 | NMS+INDENTITY Server | NMS 1 | No. |  | 2 |  | DELL POWEREDGE 420 |
|  |  | NMS 2 |  |  |  |  | DELL POWEREDGE 420 |
| 6 | SAN BOX-1 | San-1 | No. |  | 1 |  | POWER VAULT MD3200i |
|  |  | Enclosure-1 |  |  |  |  | POWER VAULT MD 1200 |
|  |  | Enclosure-2 |  |  |  |  | POWER VAULT MD 1200 |
| 7 | SAN BOX-2 | San-2 | No. |  | 1 |  | POWER VAULT MD3200i |
|  |  | Enclosure-1 |  |  |  |  | POWER VAULT MD 1200 |
|  |  | Enclosure-2 |  |  |  |  | POWER VAULT MD 1200 |
| 8 | ICCP+IFS Server | Iccp+ifs-1 | No. |  | 2 |  | DELL POWEREDGE 420 |
|  |  | Iccp+ifs-2 |  |  |  |  | DELL POWEREDGE 420 |
| 9 | DATA REPLICA SERVER | Data replica-1 | No. |  | 2 |  | DELL POWEREDGE 420 |
|  |  | Data replica-2 |  |  |  |  | DELL POWEREDGE 420 |
| 10 | WEB SERVER | Web-1 |  |  | 2 |  | DELL POWEREDGE 420 |
|  |  | Web-2 |  |  |  |  | DELL POWEREDGE 420 |
| 11 | SAN MANAGEMENT SERVER | San management-1 | No. |  | 2 |  | DELL POWEREDGE 420 |
|  |  | San management-2 |  |  |  |  | DELL POWEREDGE 420 |
| 12 | NAS BOX | Nas server | No. |  | 1 |  | DELL POWER VAULT NX3200 |
| 13 | CMC | DELL EDGE 420 | No. |  | 1 |  | DELL POWEREDGE 420 |
| 14 | TAPE LIBRARY | TL 4000 | No. |  | 1 |  | DELL POWER VAULT TL4000 |
|  | PATIALA SLDC |  |  |  |  |  |  |
| 15 | TS-M-1 |  |  |  | 1 |  | Advantech EKI-1526T |
| 16 | TS-M-2 |  |  |  | 1 |  | Advantech EKI-1526T |
| 17 | TS-M-3 |  |  |  | 1 |  | Advantech EKI-1526T |
| 18 | TS-M-4 |  |  |  | 1 |  | Advantech EKI-1526T |
| 19 | TS-M-5 |  |  |  | 1 |  | Advantech EKI-1526T |
| 20 | TS-M-6 |  |  |  | 1 |  | Advantech EKI-1526T |
| 21 | TS-B-1 |  |  |  | 1 |  | Advantech EKI-1526T |
| 22 | TS-B-2 |  |  |  | 1 |  | Advantech EKI-1526T |
| 23 | TS-B-3 |  |  |  | 1 |  | Advantech EKI-1526T |
| 24 | TS-B-4 |  |  |  | 1 |  | Advantech EKI-1526T |
| 25 | TS-B-5 |  |  |  | 1 |  | Advantech EKI-1526T |
| 26 | TS-B-6 |  |  |  | 1 |  | Advantech EKI-1526T |
| 27 | TS SWITCH -1 24PORT |  |  |  | 1 |  |  |
| 28 | TS SWITCH- 2 24PORT |  |  |  | 1 |  |  |
|  | JAMSHER SLDC |  |  |  |  |  |  |
| 29 | TS-M-1 |  |  |  | 1 |  | Advantech EKI-1526T |
| 30 | TS-M-2 |  |  |  | 1 |  | Advantech EKI-1526T |
| 31 | TS-M-3 |  |  |  | 1 |  | Advantech EKI-1526T |
| 32 | TS-M-4 |  |  |  | 1 |  | Advantech EKI-1526T |
| 33 | TS-M-5 |  |  |  | 1 |  | Advantech EKI-1526T |
| 34 | TS-B-1 |  |  |  | 1 |  | Advantech EKI-1526T |
| 35 | TS-B-2 |  |  |  | 1 |  | Advantech EKI-1526T |
| 36 | TS-B-3 |  |  |  | 1 |  | Advantech EKI-1526T |
| 37 | TS-B-4 |  |  |  | 1 |  | Advantech EKI-1526T |
| 38 | TS-B-5 |  |  |  | 1 |  | Advantech EKI-1526T |
|  | LALTONKALAN SLDC |  |  |  |  |  |  |
| 40 | TS-M-1 |  |  |  | 1 |  | Advantech EKI-1526T |
| 41 | TS-B-1 |  |  |  | 1 |  | Advantech EKI-1526T |
|  | TOTAL |  |  |  | 23 |  |  |
| 42 | Server Rack with IP based KVM switch |  | No. |  | 4 |  |  |
| 43 | Fireproof Software Storage Box |  |  |  | 1 |  | GODREJ |
| 44 | DELL 19" Monitor -1 |  |  |  | 1 |  |  |
| 45 | DELL 19" Monitor -2 |  |  |  | 1 |  |  |
| 46 | DELL 19" Monitor -3 |  |  |  | 1 |  |  |
| 47 | DELL 19" Monitor -4 |  |  |  | 1 |  |  |
|  | TOTAL |  |  |  |  |  |  |
| 48 | Panel with accessories (Terminal server) |  |  |  | 3 |  |  |
|  | WAN Routers with Firewall |  |  |  |  |  |  |
| 49 | ICCP ROUTER |  | No. |  | 1 |  | Cisco 1900 Series |
|  |  |  |  |  | 1 |  | Cisco 1900 Series |
| 50 | IFS ROUTER |  | No. |  | 1 |  | Cisco 1900 Series |
|  |  |  |  |  | 1 |  | Cisco 1900 Series |
| 51 | WEB ROUTER |  | No. |  | 1 |  | Cisco 1900 Series |
|  |  |  |  |  | 1 |  | Cisco 1900 Series |
| 52 | PDS ROUTER |  | No. |  | 1 |  | Cisco 1900 Series |
|  |  |  |  |  | 1 |  | Cisco 1900 Series |
| 53 | BBMB IFS ROUTER |  | No. |  | 1 |  | Cisco 1900 Series |
|  |  |  |  |  | 1 |  | Cisco 1900 Series |
|  | TOTAL |  |  |  | 8 |  |  |
|  | LAN Switch |  |  |  |  |  |  |
| 54 | 24 POrt L3-LAN Switch for ISR&NMS LAN |  | No. |  | 2 |  | Cisco SG-300 Switch |
|  |  |  |  |  |  |  | Cisco SG-300 Switch |
| 55 | 48 PortL3-LANswitch for SAN Management 1Switch |  | No. |  | 2 |  | Cisco SG-300 Switch |
|  |  |  |  |  |  |  | Cisco SG-300 Switch |
| 56 | 48 POrtL3-LANswitch for SCADA Switch |  | No. |  | 2 |  | Cisco SG-300 Switch |
|  |  |  |  |  |  |  | Cisco SG-300 Switch |
| 57 | 24 Port L3-LANswitch for external DMZ LAN-1 |  | No. |  | 2 |  | Cisco SG-300 Switch |
|  |  |  |  |  |  |  | Cisco SG-300 Switch |
| 58 | 24 PortL3-LAN Switch for server manegement LAN |  | No. |  | 1 |  | Cisco SG-300 Switch |
| 59 | 24 Port L3-LAN Switchfor Internal DMZ LAN-1 |  | No. |  | 2 |  | Cisco SG-300 Switch |
|  |  |  |  |  |  |  | Cisco SG-300 Switch |
| 60 | ICCP+ IFS SWITCH-1 |  | No. |  | 2 |  | Cisco SG-300 Switch |
|  |  |  |  |  |  |  | Cisco SG-300 Switch |
| 61 | External Firewall with NIPS with 10 ports along with 1 spare firewall |  | No. |  | 3 |  | 2 NO. Watchgaurd XTM 8Series/NS2BE10 & 1 No. Gajshield GS 125nu |
| 62 | Internal Firewall with NIPS with 12 ports along with 1 spare firewall |  | No. |  | 2 |  | Fortinet FG100D |
|  |  |  |  |  |  |  | Fortinet FG100D |
|  | TOTAL |  |  |  | 18 |  |  |
|  | Video Conferencing System |  |  |  |  |  |  |
| 63 | Configuration Laptop with associated accessories |  | No. |  | 1 |  | Lenovo |
| 64 | Video Endpoints |  | Lot |  | 1 |  |  |
| 65 | HD Camera |  | No. |  | Included in S.No 2 Video Endpoints above |  |  |
| 66 | Microphone Base Station |  | Set |  | 1 |  |  |
| 67 | Wireless Microphones |  | No. |  | 4 |  |  |
| 68 | Collar Microphones |  | No. |  | 2 |  |  |
| 69 | LCD Video Walls |  | Modules |  | 2 |  |  |
| 70 | Wall mounted Line Array Speakers |  | No. |  | 1 |  |  |
| 71 | Dual Channel Power Amplifier |  | No. |  | 1 |  |  |
|  | TOTAL |  |  |  |  |  |  |
|  | Time & Frequency System and External Displays |  |  |  |  |  |  |
| 72 | Time & Frequency System (GPS Based) |  | Lot |  | 1 |  | MASIBUS |
| 73 | Digital Display for Day |  | No. |  | 1 |  | MASIBUS |
| 74 | Digital Display for Time |  | No. |  | 1 |  | MASIBUS |
| 75 | Digital Display for Frequency |  | No. |  | 1 |  | MASIBUS |
|  | TOTAL |  |  |  |  |  |  |
|  | FIREWALL |  |  |  |  |  |  |
| 76 | External Firewall with NIPS with 10 ports along with 1 spare firewall |  | No. |  | 3 |  | 2 NO. Watchgaurd XTM 8Series/NS2BE10 & 1 No. Gajshield GS 125nu |
| 77 | Internal Firewall with NIPS with 12 ports along with 1 spare firewall |  | No. |  | 2 |  | Fortinet FG100D |
|  |  |  |  |  |  |  | Fortinet FG100D |
|  | TOTAL |  |  |  |  |  |  |
|  | Printers |  |  |  |  |  |  |
| 78 | Xerox PRINTER Phasor 7500 |  | No. |  | 2 |  | RXE150436 |
| 79 | Xerox Printer 5330 Printer |  | No. |  | 2 |  | 3322239083 |
| 80 | 136 COLUMN DOT MATRIX PRINTERS |  | No. |  | 2 |  |  |
|  | TOTAL |  |  |  | 6 |  |  |
|  | Storage System |  |  |  |  |  |  |
| 81 | SAN Box |  | No. |  | 2 |  | DELL |
| 82 | NAS Box |  | No. |  | 1 |  | DELL |
| 83 | Tape Libaries |  | No. |  | 1 |  | DELL |
| 84 | Desktop cartridge Magnetic tape Unit |  | No. |  | 1 |  | Dell Power Vault TL4000 |
| 85 | Fireproof Software Storage Box |  | No. |  | 1 |  | GODREJ |
|  | TOTAL |  |  |  |  |  |  |
|  | LAPTOP |  |  |  |  |  |  |
| 86 | DTS Laptop |  | No. |  | 1 |  | DELL |
| 87 | Laptop for maintenance |  | No. |  | 2 |  | DELL |
| 88 | Laptop PC for RTU simulator & Protocol Analyser |  | No. |  | 1 |  | DELL |
|  | TOTAL |  |  |  |  |  |  |
|  | Terminal Server System for 101 based RTU Termination |  |  |  |  |  |  |
| 89 | 16 Ports Terminal Server |  | No. |  | 14 |  | ADVANTECH |
| 90 | Panel with accessories (Terminal Server) |  | No. |  | 3 |  |  |
| 91 | Splitter for RTU communication |  | No. |  | 28 |  |  |
|  | TOTAL |  |  |  |  |  |  |
|  | Workstations / REMOTE CONSOLES |  |  |  |  |  |  |
| 92 | Workstation Console integrated with dual 24" Monitors-2 | OC-1 | No. |  | 1 |  | OPTIPLEX 3010 |
| 93 | Workstation Console Integrated with Dual 24" Monitors -2 | OC-2 | No. |  | 1 |  | OPTIPLEX 3010 |
| 94 | Workstation Console Integrated with Dual 24" Monitors -2 | OC-3 | No. |  | 1 |  | OPTIPLEX 3010 |
| 95 | Workstation Console Integrated with Dual 24" Monitors -2 | OC-4 | No. |  | 1 |  | OPTIPLEX 3010 |
| 96 | Workstation Console Integrated with Dual 24" Monitors -2 | OC-5 | No. |  | 1 |  | OPTIPLEX 3010 |
| 97 | Workstation Console Integrated with Dual 24" Monitors -2 | OC-6 |  |  | 1 |  | OPTIPLEX 3010 |
| 98 | Workstation Console Integrated with Dual 24" Monitors -2 | OC-7 |  |  | 1 |  | OPTIPLEX 3010 |
| 99 | Workstation Console Integrated with Single 24" Monitors -1 | OC-8 |  |  | 1 |  | OPTIPLEX 3010 |
| 100 | Workstation Console Integrated with Single 24" Monitors | OC-9 |  |  | 1 |  | OPTIPLEX 3010 |
| 101 | Workstation Console Integrated with Single 24" Monitors | OC-10 |  |  | 1 |  | OPTIPLEX 3010 |
| 102 | Workstation Console Integrated with Single 24" Monitors | OC-11 |  |  | 1 |  | OPTIPLEX 3020 |
| 103 | Workstation Console Integrated with Single 24" Monitors | OC-11 |  |  | 1 |  | OPTIPLEX 3010 |
| 104 | Worstation Console without Monitor |  |  |  | 1 |  | OPTIPLEX 3010 |
| 105 | Worstation Console without Monitor |  |  |  | 1 |  | OPTIPLEX 3010 |
| 106 | Worstation Console without Monitor |  |  |  | 1 |  | OPTIPLEX 3010 |
| 107 | 1 No.DTS Laptop |  |  |  | 1 |  | DELL |
| 108 | 2 No.Laptop for maintenance |  |  |  | 2 |  | DELL |
| 109 | 1 No. Laptop PC for RTU simulator & Protocol Analyser |  |  |  | 1 |  |  |
|  | TOTAL |  |  |  |  |  |  |
|  | Video Projection System |  |  |  |  |  |  |
| 110 | Video projection System for Control room (Module) |  | Module |  | 8 |  | BARCO |
|  | Furniture |  |  |  |  |  |  |
| 111 | E-SHAPE TABLE |  | No. |  | 1 |  |  |
| 112 | SINGLE TABLE |  | No. |  | 2 |  |  |
| 113 | CHAIR |  | No. |  | 2 |  |  |
| 114 | CABINETS |  | No. |  | 2 |  |  |
|  | SWITCH |  |  |  |  |  |  |
| 115 | TS SWITCH -1 24PORT |  |  |  | 1 |  |  |
| 116 | TS SWITCH- 2 24PORT |  |  |  | 1 |  |  |
| 117 | TS SWITCH -1 24PORT |  |  |  | 1 |  |  |
| 118 | TS SWITCH- 2 24PORT |  |  |  | 1 |  |  |
|  | KVM SWITCH |  |  |  |  |  |  |
| 119 | KVM SWITCH-1 |  |  |  | 1 | Avocent Auto view 3008 |  |
| 120 | KVM SWITCH-2 |  |  |  | 1 | Avocent Auto view 3008 |  |
| 121 | KVM SWITCH-3 |  |  |  | 1 | Avocent Auto view 3008 |  |
| 122 | KVM SWITCH-4 |  |  |  | 1 | Avocent Auto view 3008 |  |

NOTE :- This is tentative list of equipment to be buy-backed. During project execution, few items may not buy backed in case of utilization in any other project/work by respective SLDCs/RLDC. Final list shall be shared during detail engineering.

Annexure-IV

- Appendix A: RTU I/O counts for JK PDD

| S.No. | Name of the Sub-station |  | Nos | LDMS System | GPS System & Interface | AI & Transducers |  |  |  |  | DI (Digital Status input) |  |  |  |  | DO |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  |  |  | MFT/MFM (MODBUS/IEC 60870-5-103) |  |  | Weather Sensor | OLTC Transducers (4-20 mA) | Total Double Status Points | Single Status Points | Single Status Points | Total |  |  |
|  | Station No | Voltage Level |  |  |  | Total No. of Line Bays | Total No. of MFM/ MFT | No of bus |  |  | CB (NO & NC) | Protection/ Alarms | Isolators |  |  |  |
| RTUs of JK PDD |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 1 | AKHNOOR | 132 kV/33 kV | 1 | 1 | 1 | 20 | 22 | 2 | 1 | 6 | 26 | 66 | 66 | 184 | 40 |  |
| 2 | ALUSTENG | 220 kV/132 kV / 33 kV | 1 | 1 | 1 | 30 | 35 | 5 | 1 | 5 | 35 | 105 | 105 | 280 | 60 |  |
| 3 | AMARGARH | 132 kV / 33 kV | 1 | 1 | 1 | 27 | 29 | 2 | 1 | 4 | 31 | 87 | 87 | 236 | 54 |  |
| 4 | AWANTIPORA | 132 kV / 33 kV | 1 | 1 | 1 | 23 | 25 | 2 | 1 | 3 | 26 | 75 | 75 | 202 | 46 |  |
| 5 | BADAMPORA | 132 kV / 33 kV | 1 | 1 | 1 | 15 | 17 | 2 | 1 | 2 | 17 | 51 | 51 | 136 | 30 |  |
| 6 | BANDIPORA | 132 kV / 33 kV | 1 | 1 | 1 | 13 | 15 | 2 | 1 | 2 | 15 | 45 | 45 | 120 | 26 |  |
| 7 | BANIHAL | 132 kV/33 kV | 1 | 1 | 1 | 45 | 49 | 4 | 1 | 4 | 49 | 147 | 147 | 392 | 90 |  |
| 8 | BARN | 220kV/132kV/33kV | 1 | 1 | 1 | 6 | 10 | 4 | 1 | 6 | 12 | 30 | 30 | 84 | 12 |  |
| 9 | BATOTE | 132 kV/33 kV | 1 | 1 | 1 | 13 | 15 | 2 | 1 | 2 | 15 | 45 | 45 | 120 | 26 |  |
| 10 | BATTAL MANYAL | 132 kV/33 kV | 1 | 1 | 1 | 11 | 14 | 3 | 1 | 1 | 12 | 42 | 42 | 108 | 22 |  |
| 11 | BB1 | 132 kV/33 kV | 1 | 1 | 1 | 18 | 20 | 2 | 1 | 3 | 21 | 60 | 60 | 162 | 36 |  |
| 12 | BB2 | 132 kV/33 kV | 1 | 1 | 1 | 17 | 19 | 2 | 1 | 2 | 19 | 57 | 57 | 152 | 34 |  |
| 13 | BEMINA | 132 kV / 33 kV | 1 | 1 | 1 | 27 | 29 | 2 | 1 | 4 | 31 | 87 | 87 | 236 | 54 |  |
| 14 | BHALLESA | 132 kV/33 kV | 1 | 1 | 1 | 45 | 49 | 4 | 1 | 4 | 49 | 147 | 147 | 392 | 90 |  |
| 15 | BISHNAH | 220kV/132kV/33kV | 1 | 1 | 1 | 25 | 28 | 3 | 1 | 4 | 29 | 84 | 84 | 226 | 50 |  |
| 16 | BUDGAM | 220 kV/132 kV / 33 kV | 1 | 1 | 1 | 28 | 32 | 4 | 1 | 5 | 33 | 96 | 96 | 258 | 56 |  |
| 17 | CANAL | 132 kV/33 kV | 1 | 1 | 1 | 16 | 17 | 1 | 1 | 3 | 19 | 51 | 51 | 140 | 32 |  |
| 18 | CHADOORA | 132 kV / 33 kV | 1 | 1 | 1 | 11 | 13 | 2 | 1 | 2 | 13 | 39 | 39 | 104 | 22 |  |
| 19 | CHANDAK | 132 kV/33 kV | 1 | 1 | 1 | 13 | 16 | 3 | 1 | 2 | 15 | 48 | 48 | 126 | 26 |  |
| 20 | CHASHMASHAHI | 132 kV / 33 kV | 1 | 1 | 1 | 21 | 23 | 2 | 1 | 4 | 25 | 69 | 69 | 188 | 42 |  |
| 21 | CHATHA | 132 kV/33 kV | 1 | 1 | 1 | 45 | 49 | 4 | 1 | 4 | 49 | 147 | 147 | 392 | 90 |  |
| 22 | CHENANI | 132 kV/33 kV | 1 | 1 | 1 | 45 | 49 | 4 | 1 | 4 | 49 | 147 | 147 | 392 | 90 |  |
| 23 | CHOWADHI | 220kV/33kV | 1 | 1 | 1 | 45 | 49 | 4 | 1 | 4 | 49 | 147 | 147 | 392 | 90 |  |
| 24 | DELINA | 220 kV/132 kV / 33 kV | 1 | 1 | 1 | 23 | 28 | 5 | 1 | 2 | 25 | 84 | 84 | 218 | 46 |  |
| 25 | DRABA | 132 kV/33 kV | 1 | 1 | 1 | 15 | 17 | 2 | 1 | 2 | 17 | 51 | 51 | 136 | 30 |  |
| 26 | GANGYAL | 132 kV/33 kV | 1 | 1 | 1 | 13 | 15 | 2 | 1 | 2 | 15 | 45 | 45 | 120 | 26 |  |
| 27 | GLADNI | 220kV/132kV/33kV | 1 | 1 | 1 | 38 | 41 | 3 | 1 | 7 | 45 | 123 | 123 | 336 | 76 |  |
| 28 | HABAK | 132 kV / 33 kV | 1 | 1 | 1 | 18 | 20 | 2 | 1 | 3 | 21 | 60 | 60 | 162 | 36 |  |
| 29 | HARWAN GIS | 220 kV / 33 kV | 1 | 1 | 1 | 18 | 20 | 2 | 1 | 2 | 20 | 60 | 60 | 160 | 36 |  |
| 30 | HIRANAGAR | 220kV/132kV/66kV | 1 | 1 | 1 | 31 | 34 | 3 | 1 | 4 | 35 | 102 | 102 | 274 | 62 |  |
| 31 | JANIPUR | 132 kV/33 kV | 1 | 1 | 1 | 20 | 23 | 3 | 1 | 3 | 23 | 69 | 69 | 184 | 40 |  |
| 32 | JHAJJAR KOTLI | 132 kV/33 kV | 1 | 1 | 1 | 16 | 18 | 2 | 1 | 2 | 18 | 54 | 54 | 144 | 32 |  |
| 33 | JOURIAN | 132 kV/33 kV | 1 | 1 | 1 | 10 | 13 | 3 | 1 | 2 | 12 | 39 | 39 | 102 | 20 |  |
| 34 | KALAKOT | 132 kV/33 kV | 1 | 1 | 1 | 6 | 8 | 2 | 1 | 2 | 8 | 24 | 24 | 64 | 12 |  |
| 35 | KANGAN | 132 kV / 33 kV | 1 | 1 | 1 | 11 | 13 | 2 | 1 | 2 | 13 | 39 | 39 | 104 | 22 |  |
| 36 | KATHUA | 220Kv/66Kv | 1 | 1 | 1 | 45 | 49 | 4 | 1 | 4 | 49 | 147 | 147 | 392 | 90 |  |
| 37 | KATHUA | 132kV/66kV | 1 | 1 | 1 | 19 | 21 | 2 | 1 | 3 | 22 | 63 | 63 | 170 | 38 |  |
| 38 | KATRA | 132 kV/33 kV | 1 | 1 | 1 | 16 | 18 | 2 | 1 | 1 | 17 | 54 | 54 | 142 | 32 |  |
| 39 | KHANYAR GIS | 132 kV / 33 kV | 1 | 1 | 1 | 20 | 23 | 3 | 1 | 2 | 22 | 69 | 69 | 182 | 40 |  |
| 40 | KHELANI | 132 kV/33 kV | 1 | 1 | 1 | 14 | 16 | 2 | 1 | 2 | 16 | 48 | 48 | 128 | 28 |  |
| 41 | KHREW | 132 kV / 33 kV | 1 | 1 | 1 | 13 | 15 | 2 | 1 | 2 | 15 | 45 | 45 | 120 | 26 |  |
| 42 | KHUNMOH | 132 kV / 33 kV | 1 | 1 | 1 | 12 | 14 | 2 | 1 | 2 | 14 | 42 | 42 | 112 | 24 |  |
| 43 | KISHTWAR | 132 kV/33 kV | 1 | 1 | 1 | 15 | 17 | 2 | 1 | 2 | 17 | 51 | 51 | 136 | 30 |  |
| 44 | KULGAM | 132 kV / 33 kV | 1 | 1 | 1 | 12 | 14 | 2 | 1 | 2 | 14 | 42 | 42 | 112 | 24 |  |
| 45 | KUPWARA | 132 kV / 33 kV | 1 | 1 | 1 | 19 | 24 | 2 | 1 | 3 | 22 | 72 | 72 | 188 | 44 |  |
| 46 | LASSIPORA | 132 kV / 33 kV | 1 | 1 | 1 | 14 | 17 | 2 | 1 | 1 | 15 | 51 | 51 | 132 | 30 |  |
| 47 | LASSIPORA GIS | 220 kV / 33 kV | 1 | 1 | 1 | 16 | 20 | 3 | 1 | 1 | 17 | 60 | 60 | 154 | 34 |  |
| 48 | LISSAR | 132 kV / 33 kV | 1 | 1 | 1 | 13 | 18 | 3 | 1 | 2 | 15 | 54 | 54 | 138 | 30 |  |
| 49 | LJHP | 11 kV / 132 kV / 33 kV | 1 | 1 | 1 | 45 | 53 | 4 | 1 | 4 | 49 | 159 | 159 | 416 | 98 |  |
| 50 | MAGAM | 132 kV / 33 kV | 1 | 1 | 1 | 11 | 15 | 2 | 1 | 2 | 13 | 45 | 45 | 116 | 26 |  |
| 51 | MAHANPUR | 132 kV/33 kV | 1 | 1 | 1 | 11 | 14 | 2 | 1 | 1 | 12 | 42 | 42 | 108 | 24 |  |
| 52 | MATAN | 132 kV / 33 kV | 1 | 1 | 1 | 11 | 15 | 2 | 1 | 2 | 13 | 45 | 45 | 116 | 26 |  |
| 53 | MIR BAZAR | 220 kV / 132 kV | 1 | 1 | 1 | 22 | 26 | 2 | 1 | 2 | 24 | 78 | 78 | 204 | 48 |  |
| 54 | MIRANSAHIB | 132 kV/33 kV | 1 | 1 | 1 | 24 | 29 | 2 | 1 | 3 | 27 | 87 | 87 | 228 | 54 |  |
| 55 | NAGROTA | 220kV/33kV | 1 | 1 | 1 | 45 | 53 | 4 | 1 | 4 | 49 | 159 | 159 | 416 | 98 |  |
| 56 | NHPC KISHTWAR | 132 kV/33 kV | 1 | 1 | 1 | 45 | 53 | 4 | 1 | 4 | 49 | 159 | 159 | 416 | 98 |  |
| 57 | PAMPORE 132 kV | 132 kV / 33 kV | 1 | 1 | 1 | 35 | 41 | 2 | 1 | 4 | 39 | 123 | 123 | 324 | 78 |  |
| 58 | PAMPORE 220 kV | 220 kV / 132 kV | 1 | 1 | 1 | 18 | 23 | 2 | 1 | 3 | 21 | 69 | 69 | 180 | 42 |  |
| 59 | PATTAN | 132 kV / 33 kV | 1 | 1 | 1 | 20 | 25 | 2 | 1 | 3 | 23 | 75 | 75 | 196 | 46 |  |
| 60 | PAUNICHAK | 132 kV/33 kV | 1 | 1 | 1 | 14 | 18 | 2 | 1 | 2 | 16 | 54 | 54 | 140 | 32 |  |
| 61 | RAJOURI | 132 kV/33 kV | 1 | 1 | 1 | 18 | 23 | 2 | 1 | 3 | 21 | 69 | 69 | 180 | 42 |  |
| 62 | RAMBAN | 220kV/132kV/33kV | 1 | 1 | 1 | 10 | 16 | 4 | 1 | 2 | 12 | 48 | 48 | 120 | 24 |  |
| 63 | RAWALPORA | 132 kV / 33 kV | 1 | 1 | 1 | 22 | 27 | 1 | 1 | 4 | 26 | 81 | 81 | 214 | 52 |  |
| 64 | SAMBA | 220Kv/66Kv | 1 | 1 | 1 | 8 | 14 | 4 | 1 | 2 | 10 | 42 | 42 | 104 | 20 |  |
| 65 | SAMBA | 132kV/66kV | 1 | 1 | 1 | 16 | 20 | 2 | 1 | 2 | 18 | 60 | 60 | 156 | 36 |  |
| 66 | SHEERI | 132 kV / 33 kV | 1 | 1 | 1 | 10 | 14 | 2 | 1 | 2 | 12 | 42 | 42 | 108 | 24 |  |
| 67 | SHOPIAN | 132 kV / 33 kV | 1 | 1 | 1 | 13 | 18 | 3 | 1 | 2 | 15 | 54 | 54 | 138 | 30 |  |
| 68 | SIDHRA | 132 kV/33 kV | 1 | 1 | 1 | 15 | 19 | 2 | 1 | 2 | 17 | 57 | 57 | 148 | 34 |  |
| 69 | SIOT | 132 kV/33 kV | 1 | 1 | 1 | 45 | 53 | 4 | 1 | 4 | 49 | 159 | 159 | 416 | 98 |  |
| 70 | TENGPORA GIS | 132 kV / 33 kV | 1 | 1 | 1 | 21 | 28 | 4 | 1 | 3 | 24 | 84 | 84 | 216 | 48 |  |
| 71 | TETHAR | 133 kV / 33 kV | 1 | 1 | 1 | 12 | 15 | 2 | 1 | 1 | 13 | 45 | 45 | 116 | 26 |  |
| 72 | UDHAMPUR | 220kV/132kV/33kV | 1 | 1 | 1 | 30 | 38 | 3 | 1 | 5 | 35 | 114 | 114 | 298 | 70 |  |
| 73 | UPERSINDH-I | 11 kV / 132 kV | 1 | 1 | 1 | 45 | 53 | 4 | 1 | 4 | 49 | 159 | 159 | 416 | 98 |  |
| 74 | UPERSINDH-II | 11 kV / 132 kV | 1 | 1 | 1 | 45 | 53 | 4 | 1 | 4 | 49 | 159 | 159 | 416 | 98 |  |
| 75 | VILGAM | 132 kV / 33 kV | 1 | 1 | 1 | 12 | 15 | 2 | 1 | 1 | 13 | 45 | 45 | 116 | 26 |  |
| 76 | WAGANPORA | 132 kV / 33 kV | 1 | 1 | 1 | 25 | 30 | 2 | 1 | 3 | 28 | 90 | 90 | 236 | 56 |  |
| 77 | WANPOH | 132 kV / 33 kV | 1 | 1 | 1 | 23 | 31 | 3 | 1 | 5 | 28 | 93 | 93 | 242 | 56 |  |
| 78 | ZAINKOTE | 220 kV/132 kV / 33 kV | 1 | 1 | 1 | 32 | 39 | 3 | 1 | 4 | 36 | 117 | 117 | 306 | 72 |  |
|  | Sub-Total |  | 78 | 78 | 78 | 1709 | 2011 | 208 | 78 | 227 | 1936 | 6033 | 6033 | 15938 | 3606 |  |

- Appendix A: RTU I/O counts for DTL

| S.No. | Name of the Sub-station | Nos | LDMS System | GPS System & Interface | AI & Transducers |  |  |  |  | DI (Digital Status input) |  |  |  | DO |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  |  | MFT/MFM (MODBUS/IEC 60870-5-103) |  |  | Weather Sensor | OLTC Transducers (4-20 mA) | Total Double Status Points | Single Status Points | Single Status Points | Total |  |
|  |  |  |  |  | Total No. of Bays | Total No. of MFM/ MFT | No of bus |  |  | CB (NO & NC) | Protection/ Alarms | Isolators |  |  |
| RTUs of DTL |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 1 | Mehrauli (220/66kV) | 1 | 1 | 1 | 37 | 41 | 4 | 1 | 4 | 41 | 123 | 123 | 328 | 74 |
| 2 | Patparganj (220/66/33kV) | 1 | 1 | 1 | 45 | 51 | 6 | 1 | 6 | 51 | 153 | 153 | 408 | 90 |
| 3 | Wazirabaad (220/66 kV) | 1 | 1 | 1 | 31 | 35 | 4 | 1 | 4 | 35 | 105 | 105 | 280 | 62 |
| 4 | Inderprast (220/33 kV) | 1 | 1 | 1 | 52 | 58 | 6 | 1 | 3 | 55 | 174 | 174 | 458 | 104 |
|  | Sub-Total | 4 | 4 | 4 | 165 | 185 | 20 | 4 | 17 | 182 | 555 | 555 | 1474 | 330 |

Note:- The Station wise quantity given above table is tentative and may vary after site survey of RTU location

Annexure-V

Table-4: Technical Particulars of LDMS IPC Console, LDMS Monitor, Time Synchronising Equipment, PCMT (Laptop PC) & Furniture

- PCMT (Laptop)

| Sl. No | Description of the Features | Minimum Quantity of the features | Offer by the Contractor |
| --- | --- | --- | --- |
|  | Manufacturer |  |  |
|  | Model No. |  |  |
|  | Processor | Min 4 core, latest processor (along with latest chipset) with 3.0 GHz Clock Speed or more (minimum base frequency). |  |
|  | RAM | 16 GB delivered 2133Mhz DDR4 or Above |  |
|  | Dedicated Graphics Card | Min 4 GB |  |
|  | Internal Auxiliary memory | 512 GB SSD |  |
|  | Optical Drive | DVD-RW |  |
|  | Mouse | Wireless |  |
|  | Keyboard | English keyboard, Backlight |  |
|  | Wi-Fi wireless LAN adapter | Dual Band Wireless-AC 7265 2x2 + Bluetooth 4.0 |  |
|  | Interfaces | One no 1 Gbps Ethernet ports, USB Ports (2 nos), HDMI Port/Display Port, Universal Audio Jack. |  |
|  | Screen | 15 inches or more FHD (1920 x 1080) with Full HD Webcam |  |
|  | Operating system | Preinstalled OEM Licensed Microsoft Windows Pro 64-bit or equivalent in Primary SSD hard-drive. |  |
|  | AC Power Supply (in Watts) |  |  |
|  | Heat Load |  |  |
|  | Country of Origin |  |  |

- LDMS IPC Console

| Sl. No | Description of the Features | Minimum Quantity of the features | Offer by the Contractor |
| --- | --- | --- | --- |
|  | Manufacturer |  |  |
|  | Model No. |  |  |
|  | Construction | Heavy Duty |  |
|  | Processor | Min 16 core latest processor (along with latest chipset), Clock Speed 3.0 GHz or more (minimum base frequency) |  |
|  | RAM | 32 GB delivered, expandable up to 64GB 2133Mhz ECC DDR4 or Above |  |
|  | Dedicated Graphics Card | Min 4 GB |  |
|  | Internal Auxiliary memory | 1 TB |  |
|  | Optical Drive | DVD-RW |  |
|  | Audio | Integrated Audio with Internal Speaker |  |
|  | Interfaces | Two nos 1 Gbps Ethernet ports, Two nos of Serial ports, USB Ports (2 nos), HDMI Port/ Display Port, Universal Audio Jack |  |
|  | User interface | One 23.8” wide screen (16:9 aspect ratio), Full HD with minimum Resolution (1920x1080) resolution with anti-glare coating, LED Colour Monitor, keyboard & optical mouse with USB interface. |  |
|  | Operating system | Preinstalled OEM Licensed Microsoft Windows Pro 64-bit or equivalent in Primary SSD hard-drive |  |
|  | Certifications and Rating | Energy Star 6.1 Compliant or equivalent |  |
|  | OS Certifications | Windows & Linux OS certification |  |
|  | Security | TPM2.0 |  |
|  | Mounting | Desktop mounting |  |
|  | AC Power Supply (in Watts) |  |  |
|  | Heat Load |  |  |
|  | Country of Origin |  |  |

- Monitor for LDMS IPC Console

| S.No | Description of the Features | Minimum Quantity of the features | Offer by the Contractor |
| --- | --- | --- | --- |
| 1. | Manufacturer |  |  |
| 2. | Model No. |  |  |
| 3. | Diagonal Viewable size | 23.8” |  |
| 4. | User interface | 23.8” wide screen (16:9 aspect ratio), Full HD Resolution (1920x1080), 24x7 duty professional LED display. |  |
| 5. | Colour support | 16.7 million |  |
| 6. | On screen control | Required |  |
| 8. | Anti-glare & anti-static | Yes |  |
| 9. | Digital Input | HDMI, VGA |  |
| 10. | Country of Origin |  |  |

- Time Synchronizing equipment

| S.No | Description of the Features | Minimum Quantity of the features | Offered by the Contractor |
| --- | --- | --- | --- |
|  | Manufacturer |  |  |
|  | Model No. |  |  |
|  | Country of origin |  |  |
|  | Time stability of internal time base | Minimum 1 ppm |  |
|  | Propagation delay compensation | Yes |  |
|  | Include an offset to permit correction to local time | Yes |  |
|  | Reverting to internal time base upon loss of signal from UTC source | Yes |  |
|  | Resynchronization Delay | Not more than 5 minutes. |  |
|  | Accuracy of resynchronization | < 1.5 Micro Sec |  |
|  | Time display Unit | Real time display in hour, min, sec, in 24 Hrs. mode. |  |
|  | Interfaces | Minimum one Ethernet port and One IRIG-B port & 1 PPS port. |  |

- Furniture for LDMS ( one Table and one Chair)

| S.No | Description of the Features | Minimum Quantity of the features | Offered by the Contractor |
| --- | --- | --- | --- |
| - Table |  |  |  |
|  | Manufacturer |  |  |
|  | Model No. |  |  |
|  | Country of origin |  |  |
|  | Structure | a) Made of heavy duty extruded vertical and horizontal aluminium profiles of 6005 grade duly powder coated. b) The EPD (Environmental product declaration) of control room console shall be verified in accordance with ISO 14025 (from UL/Intertek) for Impacts on Environment by console. |  |
|  | Tabletop | The material of the working surface shall be minimum 25 mm thick MDF with High Pressure ANSI/NEMA LD3 certified scratch-resistant laminate and having balancing laminate of minimum 0.5 mm thickness other side. The proposed console's life cycle shall be assessed for environmental impacts associated with all the stages of a product's life for cradle to grave analysis. |  |
|  | Slat Wall | Slat wall shall be made of approximately 2mm thick extruded aluminium (aluminium alloy). |  |
|  | Front Edge | UL audit certified design feature on front modular Polyurethane (PU) Edge. High density Poly Urethane Foam molded on industrial grade aluminium core to form minimum 50mm deep tapered edge to be installed on worktop. |  |
|  | Shutters & Side Legs | Front, back shutters shall be of 18 mm Laminated MDF Board with premium finish. Side leg shall be of 25mm of the same finish. |  |
|  | Hardware | All bolts shall be of SS material to avoid rust due to environment. Remaining hardware shall be Nickel Plated MS. |  |
|  |  | Table shall have been provided with sufficient number of power sockets, LAN ports, door-lights, sliding trolley for CPU, soft-door closure etc. Number of sliding trollies, LAN port and power sockets may be provided as per the owner additional requirement. |  |
| - Chair (One chairs shall be provided at each workstation) |  |  |  |
|  | Manufacturer |  |  |
|  | Model No. |  |  |
|  | Country of origin |  |  |
|  | Design | The chair shall be of high-backed design with arm rests, covered in durable woven material. |  |
|  | Usage | The chairs shall be of good quality and suitable for continuous use without discomfort. |  |
|  | Height adjustment | Pneumatic Seat height and back angle adjustments shall be provided, capable of easy operation. |  |

Annexure-VI

| List of Spare of RLDC/SLDCs |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  | NRLDC |  | HP |  |  | UPPTCL |  |  | BBMB |  | PSTCL |  | DTL |  |  | HVPNL |  |  | J&K |  |  | RRVPNL |  |  | RRVPNL Sub-SLDC-Kota |  | RRVPNL Sub-SLDC-Ratangarh |  | RRVPNL Sub-SLDC-Jodhpur |  | PTCUL |  | PTCUL Sub-SLDC Rishikesh |
| Sl.no | Item description | Unit | Quantity |  | Quantity |  |  | Quantity |  |  | Quantity |  | Quantity |  | Quantity |  |  | Quantity |  |  | Quantity |  |  | Quantity |  |  | Quantity |  | Quantity |  | Quantity |  | Quantity |  | Quantity |
|  |  |  | Main CC | Backup-CC | Main CC | Backup-CC | Main CC |  | Backup-CC | Main CC |  | Main CC |  | Main CC |  | Backup-CC | Main CC |  | Backup-CC | Main CC |  | Backup-CC | Main CC |  | Backup-CC | Main CC |  | Main CC |  | Main CC |  | Main CC |  | Backup-CC | Main CC |
| A | SCADA/EMS system |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 1 | Servers (one of each type) | Lot | 1 | 1 | 1 | 1 | 1 |  | 1 | 1 |  | 1 |  | 1 |  | 1 | 1 |  | 1 | 1 |  | 1 | 1 |  | 1 | 0 |  | 0 |  | 0 |  | 1 |  | 1 | 0 |
| 2 | Workstation with Dual monitors | No. | 1 | 1 | 1 | 1 | 1 |  | 1 | 1 |  | 1 |  | 1 |  | 1 | 1 |  | 1 | 1 |  | 1 | 1 |  | 1 | 0 |  | 0 |  | 0 |  | 1 |  | 1 | 0 |
| 3 | LAN switch (one of each type) | Lot | 1 | 1 | 1 | 1 | 1 |  | 1 | 1 |  | 1 |  | 1 |  | 1 | 1 |  | 1 | 1 |  | 1 | 1 |  | 1 | 0 |  | 0 |  | 0 |  | 1 |  | 1 | 0 |
| 4 | Routers (one of each type) | Lot | 1 | 1 | 1 | 1 | 1 |  | 1 | 1 |  | 1 |  | 1 |  | 1 | 1 |  | 1 | 1 |  | 1 | 1 |  | 1 | 0 |  | 0 |  | 0 |  | 1 |  | 1 | 0 |
| 5 | Firewall with NIPS(External) | No. | 1 | 1 | 1 | 1 | 1 |  | 1 | 1 |  | 1 |  | 1 |  | 1 | 1 |  | 1 | 1 |  | 1 | 1 |  | 1 | 0 |  | 0 |  | 0 |  | 1 |  | 1 | 0 |
| 6 | Firewall with NIPS(Internal) | No. | 1 | 1 | 1 | 1 | 1 |  | 1 | 1 |  | 1 |  | 1 |  | 1 | 1 |  | 1 | 1 |  | 1 | 1 |  | 1 | 0 |  | 0 |  | 0 |  | 1 |  | 1 | 0 |
| 7 | Terminal Servers | No. | 0 | 0 | 1 | 1 | 1 |  | 1 | 0 |  | 1 |  | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 1 |  | 1 |  | 1 |  | 1 |  | 1 | 1 |
| 8 | DCPC | No. | 2 | 0 | 0 | 0 | 0 |  | 0 | 0 |  | 0 |  | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 |  | 0 |  | 0 |  | 0 | 0 |
| 9 | IP based KVM System | No. | 1 | 1 | 1 | 1 | 1 |  | 1 | 1 |  | 1 |  | 1 |  | 1 | 1 |  | 1 | 1 |  | 1 | 1 |  | 1 | 0 |  | 0 |  | 0 |  | 1 |  | 1 | 0 |
| 10 | Time & Frequency system | Lot | 1 | 1 | 1 | 1 | 1 |  | 1 | 1 |  | 1 |  | 1 |  | 1 | 1 |  | 1 | 1 |  | 1 | 1 |  | 1 | 0 |  | 0 |  | 0 |  | 1 |  | 1 | 0 |
| B | VPS Spares |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 1 | One complete VPS Module without screen / frame structure | Lot | 1 | 1 | 1 | 0 | 0 |  | 0 | 1 |  | 1 |  | 1 |  | 0 | 1 |  | 0 | 1 |  | 1 | 1 |  | 0 | 0 |  | 0 |  | 0 |  | 1 |  | 1 | 0 |
| 2 | VPS Controller with all interface cards | Lot | 1 | 1 | 1 | 0 | 0 |  | 0 | 1 |  | 1 |  | 1 |  | 0 | 1 |  | 0 | 1 |  | 1 | 1 |  | 0 | 0 |  | 0 |  | 0 |  | 1 |  | 1 | 0 |
| 3 | VPS LED PACK of three colors (red, green & Blue) one set per VPS | Lot | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 |  | 0 |  | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 |  | 0 |  | 0 |  | 0 | 0 |
| 4 | Laser Lamp - one set per VPS | LOT | 1 | 1 | 1 | 0 | 0 |  | 0 | 1 |  | 1 |  | 1 |  | 0 | 1 |  | 0 | 1 |  | 1 | 1 |  | 0 | 0 |  | 0 |  | 0 |  | 1 |  | 1 |  |
| 5 | Dust filters | No. | 42 | 12 | 24 | 0 | 0 |  | 0 | 16 |  | 16 |  | 16 |  | 0 | 28 |  | 0 | 16 |  | 12 | 32 |  | 0 | 0 |  | 0 |  | 0 |  | 16 |  | 8 | 0 |
| C | Mandatory Spares for APS |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 1 | MCCB/MCB/Isolator/Switch/ Contactor of each type & rating (as applicable & used inside UPS panel / Input ACDB / Output ACDB) | Lot | 1 | 1 | 1 | 1 | 1 |  | 1 | 0 |  | 1 |  | 1 |  | 1 | 1 |  | 1 | 1 |  | 1 | 1 |  | 1 | 1 |  | 1 |  | 1 |  | 1 |  | 1 | 1 |
| 2 | Fuse of each type & rating (if applicable, UPS panel / Input ACDB / Output ACDB) | Lot | 5 | 5 | 5 | 5 | 5 |  | 5 | 0 |  | 5 |  | 5 |  | 5 | 5 |  | 5 | 5 |  | 5 | 5 |  | 5 | 5 |  | 5 |  | 5 |  | 5 |  | 5 | 5 |
| 3 | DC Filter assembly | Lot | 1 | 1 | 1 | 1 | 1 |  | 1 | 0 |  | 1 |  | 1 |  | 1 | 1 |  | 1 | 1 |  | 1 | 1 |  | 1 | 1 |  | 1 |  | 1 |  | 1 |  | 1 | 1 |
| 4 | Input AC Filter assembly | Lot | 1 | 1 | 1 | 1 | 1 |  | 1 | 0 |  | 1 |  | 1 |  | 1 | 1 |  | 1 | 1 |  | 1 | 1 |  | 1 | 1 |  | 1 |  | 1 |  | 1 |  | 1 | 1 |
| 5 | Output AC Filter assembly | Lot | 1 | 1 | 1 | 1 | 1 |  | 1 | 0 |  | 1 |  | 1 |  | 1 | 1 |  | 1 | 1 |  | 1 | 1 |  | 1 | 1 |  | 1 |  | 1 |  | 1 |  | 1 | 1 |
| 6 | Electronic Printed Circuit Board /Card of each type (including all cards/modules for rectifier/charger, inverter, system card, display module, interface cards etc.) | Lot | 1 | 1 | 1 | 1 | 1 |  | 1 | 0 |  | 1 |  | 1 |  | 1 | 1 |  | 1 | 1 |  | 1 | 1 |  | 1 | 1 |  | 1 |  | 1 |  | 1 |  | 1 | 1 |
| 7 | Power Semiconductor devices of each type & rating such as SCRs, IGBTs etc. for rectifier/ charger module, Inverter module, Static Switch module for all the three phases (exclude those items which are covered under item-6 above) | Lot | 1 | 1 | 1 | 1 | 1 |  | 1 | 0 |  | 1 |  | 1 |  | 1 | 1 |  | 1 | 1 |  | 1 | 1 |  | 1 | 1 |  | 1 |  | 1 |  | 1 |  | 1 | 1 |
| D | Mandatory Spares for DG Set | Lot |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 1 | Filter, Spring, Gaskets, Air cleaner (one no. of each type) | Lot | 1 | 0 | 1 | 1 | 1 |  | 1 | 0 |  | 1 |  | 1 |  | 1 | 0 |  | 0 | 1 |  | 1 | 1 |  | 1 | 1 |  | 1 |  | 1 |  | 1 |  | 1 | 1 |
| 2 | Complete Rotating Rectifier Assembly for Alternator | Lot | 1 | 0 | 1 | 1 | 1 |  | 1 | 0 |  | 1 |  | 1 |  | 1 | 0 |  | 0 | 1 |  | 1 | 1 |  | 1 | 1 |  | 1 |  | 1 |  | 1 |  | 1 | 1 |
| 3 | Voltage Regulator Complete | Lot | 1 | 0 | 1 | 1 | 1 |  | 1 | 0 |  | 1 |  | 1 |  | 1 | 0 |  | 0 | 1 |  | 1 | 1 |  | 1 | 1 |  | 1 |  | 1 |  | 1 |  | 1 | 1 |
| 4 | Switches/ Isolator / Contactor/Auxiliary relay / Timers (one no. of each type & rating) | Lot | 1 | 0 | 1 | 1 | 1 |  | 1 | 0 |  | 1 |  | 1 |  | 1 | 0 |  | 0 | 1 |  | 1 | 1 |  | 1 | 1 |  | 1 |  | 1 |  | 1 |  | 1 | 1 |
| 5 | DG Fuel Pump, V Belt for DG set & Solenoid coil for Fuel Oil system (one no. each type) | Lot | 1 | 0 | 1 | 1 | 1 |  | 1 | 0 |  | 1 |  | 1 |  | 1 | 0 |  | 0 | 1 |  | 1 | 1 |  | 1 | 1 |  | 1 |  | 1 |  | 1 |  | 1 | 1 |
| 6 | Indicating Lamps & Fuses (5 nos of each type & rating) | Lot | 1 | 0 | 1 | 1 | 1 |  | 1 | 0 |  | 1 |  | 1 |  | 1 | 0 |  | 0 | 1 |  | 1 | 1 |  | 1 | 1 |  | 1 |  | 1 |  | 1 |  | 1 | 1 |
| E | Mandatory Spares for DCPS Spare | Lot |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 1 | MCCB/MCB/CONTACTOR/TIMER/RELAY FOR DCPS | Set | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 |  | 1 |  | 5 |  | 0 | 0 |  | 0 | 8 |  | 0 | 1 |  | 1 | 1 |  | 1 |  | 1 |  | 1 |  | 1 | 1 |
| 2 | SINGLE POLE MCBS FOR DCPS FEP | Set | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 |  | 3 |  | 15 |  | 0 | 0 |  | 0 | 24 |  | 0 | 3 |  | 3 | 3 |  | 3 |  | 3 |  | 3 |  | 3 | 3 |
| 3 | ELECTRONIC PRINTED CIRCUIT BOARD | Set | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 |  | 1 |  | 5 |  | 0 | 0 |  | 0 | 8 |  | 0 | 1 |  | 1 | 1 |  | 1 |  | 1 |  | 1 |  | 1 | 1 |
| F | RTU Spares |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 1 | CPU Cards | No. | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 |  | 0 |  | 1 |  | 0 | 0 |  | 0 | 16 |  | 0 | 0 |  | 0 | 0 |  | 0 |  | 0 |  | 0 |  | 0 | 0 |
| 2 | Digital Input Module (16 channel) | No. | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 |  | 0 |  | 12 |  | 0 | 0 |  | 0 | 124 |  | 0 | 0 |  | 0 | 0 |  | 0 |  | 0 |  | 0 |  | 0 | 0 |
| 3 | Digital Output Module (8 channel) | No. | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 |  | 0 |  | 6 |  | 0 | 0 |  | 0 | 58 |  | 0 | 0 |  | 0 | 0 |  | 0 |  | 0 |  | 0 |  | 0 | 0 |
| 4 | Analog Input Module (8 channel) | No. | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 |  | 0 |  | 1 |  | 0 | 0 |  | 0 | 8 |  | 0 | 0 |  | 0 | 0 |  | 0 |  | 0 |  | 0 |  | 0 | 0 |
| 5 | Multi Function Transducers | No. | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 |  | 0 |  | 19 |  | 0 | 0 |  | 0 | 202 |  | 0 | 0 |  | 0 | 0 |  | 0 |  | 0 |  | 0 |  | 0 | 0 |
| 6 | OLTC Transducer | No. | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 |  | 0 |  | 2 |  | 0 | 0 |  | 0 | 23 |  | 0 | 0 |  | 0 | 0 |  | 0 |  | 0 |  | 0 |  | 0 | 0 |
| 7 | Contact Multiflying Relays (CMRs) | No. | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 |  | 0 |  | 177 |  | 0 | 0 |  | 0 | 1913 |  | 0 | 0 |  | 0 | 0 |  | 0 |  | 0 |  | 0 |  | 0 | 0 |
| 8 | Heavy Duty Relay | No. | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 |  | 0 |  | 37 |  | 0 | 0 |  | 0 | 403 |  | 0 | 0 |  | 0 | 0 |  | 0 |  | 0 |  | 0 |  | 0 | 0 |

Annexure-VII

Video Projection System (Having configurations with each module of 70")

| S.No. | RLDC/SLDCs | Main CC |  | Backup CC |  |
| --- | --- | --- | --- | --- | --- |
|  |  | Modules as per BoQ | Configuration (Column*Row) | Modules as per BoQ | Configuration (Column*Row) |
|  | NRLDC | 21 | 7*3 | 6 | 3*2 |
|  | UP | 0 | 0 | 0 | 0 |
|  | DTL | 8 | 4*2 | 0 | 0 |
|  | RRVPNL | 16 | 4*4 | 0 | 0 |
|  | HVPNL | 14 | 7*2 | 0 | 0 |
|  | PSTCL | 8 | 4*2 | 0 | 0 |
|  | HP | 12 | 4*3 | 0 | 0 |
|  | J&K | 8 | 4*2 | 6 | 3*2 |
|  | PTCUL | 8 | 4*2 | 4 | 2*2 |
|  | BBMB | 8 | 4*2 | 0 | 0 |

Annexure-VIII

| RTU-BOQ OF DTL |  |  |  |  |
| --- | --- | --- | --- | --- |
| SI. No. | Item Description | Unit | Quantity |
| A | Hardware |  |  |
| 1 | RTU & associated items |  |  |
| (a) | RTU base equipment as per technical specification | Set | 4 |
| (b) | CPU Cards | Nos | 8 |
| (c) | Digital Input Module (16 channel) | Nos | 113 |
| (d) | Digital Output Module (8 channel) | Nos | 51 |
| (e) | Analog Input Module (8 channel) | Nos | 4 |
| (f) | Multi Function Transducers | Nos | 185 |
| (g) | Weather Sensor | Nos | 4 |
| (h) | OLTC Transducer | Nos | 17 |
| (i) | Contact Multiflying Relays (CMRs) | Nos | 1769 |
| (j) | Time Sychronization Equipment without Display | Set | 4 |
| (k) | Heavy Duty Relay | Nos | 370 |
| (l) | Supervisory Interface Cubicles(SIC) panel for mounting MFTs, CMR etc if required | Set | 2 |
| (m) | LDMS System Along with software | Set | 4 |
| (n) | Furniture for LDMS system(1 Table &1 Chair) | Set | 4 |
| (o) | Inverter for LDMS | Nos | 4 |
| (p) | Cables for RTU | Lot | 4 |
| (q) | Laptop for PCMT | Nos | 1 |
| B | Services |  |  |
| 1 | Integration with Control Centres (SLDC/RLDC) on IEC104 at substation & control centre | Lot | 4 |
| C | Annual Maintenance Contract |  |  |
| 1 | Integration of new bay(Including supply & commissioning of each type Cards, MFT, CMR,Cables etc) at RTU site | Lot | 12 |
| 2 | RTU maintenance (1 Years) | Lot | 1 |
| 3 | RTU maintenance (6 Years) | Lot | 1 |

|  | RTU OF J&K PDD |  |  |
| --- | --- | --- | --- |
| SI. No. | Item Description | Unit | Quantity |
| A | Hardware |  |  |
| 1 | RTU & associated items |  |  |
| (a) | RTU base equipment as per technical specification | Set | 78 |
| (b) | CPU Cards | Nos | 156 |
| (c) | Digital Input Module (16 channel) | Nos | 1236 |
| (d) | Digital Output Module (8 channel) | Nos | 580 |
| (e) | Analog Input Module (8 channel) | Nos | 78 |
| (f) | Multi Function Transducers | Nos | 2011 |
| (g) | Weather Sensor | Nos | 78 |
| (h) | OLTC Transducer | Nos | 227 |
| (i) | Contact Multiflying Relays (CMRs) | Nos | 19126 |
| (j) | Time Sychronization Equipment without Display | Set | 78 |
| (k) | Heavy Duty Relay | Nos | 4022 |
| (l) | Supervisory Interface Cubicles(SIC) panel for mounting MFTs, CMR etc if required | Set | 78 |
| (m) | LDMS System Along with software | Set | 78 |
| (n) | Furniture for LDMS system(1 Table &1 Chair) | Set | 78 |
| (o) | Inverter for LDMS | Nos | 78 |
| (p) | Cables for RTU | Lot | 78 |
| (q) | Laptop for PCMT | Nos | 8 |
| B | Services |  |  |
| 1 | Integration with Control Centres (SLDC/RLDC) on IEC104 at substation & control centre | Lot | 78 |
| C | Annual Maintenance Contract |  |  |
| 1 | Integration of new bay(Including supply & commissioning of each type Cards, MFT, CMR,Cables etc) at RTU site | Lot | 180 |
| 2 | RTU maintenance (1 Years) | Lot | 1 |
| 3 | RTU maintenance (6 Years) | Lot | 1 |

Annexure-IX

Table- 26, Terminal Server

| Sl. No | Description of the Features | Minimum Quantity of the features | Offered by the Contractor |
| --- | --- | --- | --- |
| 1. | Manufacturer |  |  |
| 2. | Model No. |  |  |
| 3. | Functions | To terminate IEC 101 based serial RTU interface and forward IEC 101 signals over Ethernet |  |
| 4. | No. of Ethernet Interface | 2 ports |  |
| 5. | Ethernet Ports Speed | 10/100 Mbps |  |
| 6. | Ethernet Connector Type | RJ45, 8 pin |  |
| 7. | Magnetic Isolation for Protection | Built in 1.5 KV magnetic isolation |  |
| 8. | Serial Ports | 16/24/32/48 Ports or above |  |
| 9. | Serial Ports Interface | Serial Standard RS-232 |  |
| 10. | Serial Ports Connection Type | RJ45, 8 pin |  |
| 11. | Protection for Serial Ports | 15kV ESD for all signals |  |
| 12. | Serial Signals | RS232- TxD, RxD, CTS, RTS, DTR, DSR, DCD, GnD |  |
| 13. | Serial Port Baud Rate | 50 bps – 921.6 kbps, any baud rate setting |  |
| 14. | Console Port | 9 Pin DB9 Female |  |
| 15. | Supported | IEC 61850-3 complaint for S/S environment |  |
| 16. | Remote manageability through TCP/IP | To be supported. Software , if any, to be provided. |  |
| 17. | Memory |  |  |
| 17a. | For configuration storage | 16 MB Flash Memory |  |
| 17b. | For serial information | 128 MB works as First in First Out |  |
| 18. | Advanced AAA Security and encryption to meet all the data center compliance policies |  |  |
| 19. | Industrial Grade Type |  |  |
| 20. | Operating Temperature | -10 deg C to 60 deg C |  |
| 21. | Power Supply (in Watts) |  |  |
| 22. | Heat Load |  |  |
| 23. | Dimensions |  |  |

Annexure-X

Table- 27, PC for DCPC

| Sl. No | Description of the Features | Minimum Quantity of the features | Offer by the Contractor |  |
| --- | --- | --- | --- | --- |
|  | Manufacturer |  |  |  |
|  | Model No. |  |  |  |
|  | Description | Rack mountable (19 inch) Industrial PC for Gateway DCPC. |  |  |
|  | Features DCPC application | - The DCPC shall have the functionality to act as an IEC 60870-5-101(IEC101) to IEC 60870-5-104(IEC 104) protocol convertor. - It shall acquire data from multiple IEC 101 RTUs, process the data including conversion of data types and communicate the data to multiple Control Centers ( at least 4) on IEC 60870-5-104 protocol. - The complete failure of communication with an IEC 101 RTUs shall be communicated to the control centers as an event of communication failure with the RTU in addition to the stale/old data. - DCPC shall have the capability to report to at least 4 master stations on IEC 104 interface. - Data Concentrator shall be supplied with GPS receiver system with antenna, cable etc. for time synchronization and time stamping of the data . The Data concentrator shall also synchronize the IEC 101 protocol connected RTU/device. - Data Concentrator shall come complete with a built-in monitoring mechanism to avoid loss of any data, especially the one reported by exception. - DCPC shall be configured as per DCPC Hardware Connectivity Diagram specified in Volume II Part-A Appendix-F - The DCPC shall have necessary software emulation for communication to serial devices/RTU through a terminal server. - DCPC shall have the capability to work in redundant configuration with a similar device. One DCPC will be in active mode and the other will be in standby. - The RLDC/SLDC computer system shall be able to configure and poll the health of Data concentrator from remote on 104 connected interfaces after due authentication of the users. DCPC shall support remote diagnostics & maintenance activities. - Data Concentrator shall have following communication ports & support for protocols: - IEC 104 for SCADA control centers. - IEC101/104 for Sub-RTUs. - DCPC shall have the capability to restart it self and resume its function in case of software errors, power system failure, with out requiring manual intervention. - Necessary software to meet the above functionality and configuration of data in DCPC shall be provided along with DCPC - Number of slave RTUs at least 10 RTUs supporting a total up to 2000 data points. |  |  |
|  |  | Processor | Min 8 core latest processor (along with latest chipset) Clock Speed 3.0 GHz or more (minimum base frequency) |  |  |  |
|  |  | RAM | 2x16 GB delivered, expandable up to 64GB 2133Mhz ECC DDR4 or Above |  |  |  |
|  |  | Internal Auxiliary memory | - 512 GB SSD - 512 SATA HDD |  |  |  |
|  |  | Optical Drive | DVD-RW |  |  |  |
|  |  | Interfaces | Two nos. 1 Gbps Ethernet ports, 2xUSB Ports, HDMI Port, 2xSerial, 1xParallel Port |  |  |  |
|  |  | Operating system | Preinstalled OEM Licensed Microsoft Windows Pro 64-bit or equivalent in Primary SSD hard-drive. |  |  |  |
|  |  | Certifications and Rating | Energy Star 6.1 Compliant or equivalent |  |  |  |
|  | OS Certifications | Windows &Linux OS certification |  |  |
|  | Security | TPM2.0 |  |  |
|  | Power Supply (in Watts) | AC/ DC as per site requirement (220V DC/AC or 110v DC/AC) |  |  |
|  | Heat Load |  |  |  |
|  | Ambient temperature | 0 to 55 deg |  |  |
|  | Relative humidity | Up to 90% |  |  |

Annexure-XI

Table- 33, 55” Video Wall with controller

| S.No | Description of the Features | Minimum Quantity of the features required | Offered by the Contractor |
| --- | --- | --- | --- |
| 1. | Manufacturer |  |  |
| 2. | Model No. |  |  |
| 3. | Display technology (DLP) | LED LIT LCD PANELS |  |
| 4. | Each module size | 55” Diagonal |  |
| 5. | Aspect ratio | 16:9 |  |
| 6. | Colors | 16.7 million |  |
| 7. | VPS projector resolution | Minimum 1920x1080 (Full HD) |  |
| 8. | Inter modular gap | < 1.0 mm |  |
| 9. | Screen border | 0 mm (No border) |  |
| 10. | Horizontal & Vertical viewing angle | +1600 (approx.) |  |
| 11. | Luminance measured at the screen | Minimum 170 candelas/sq.m |  |
| 12. | Median LED life | Minimum 55000 Hours |  |
| 13. | Centre to corner uniform brightness | > 90% |  |
| 14. | Brightness adjustable through software | Yes |  |
| 15. | Contrast ratio | 1500:1 |  |
| 16. | Operating temperature range | 16 – 300 C |  |
| 17. | Operating Relative Humidity | 20-80% non-condensing |  |
| 18. | Number of Modules |  |  |
| 19. | Input in Panel | 2*DP-in, 2*HDMI, 1*DP-out |  |
| 20. | PC connectivity | PC connectivity with DVI/HDMI/LAN via Video Wall Controller |  |
| 21. | Mounting |  |  |
| Controller Features: |  |  |  |
| 22. | RAM | 16 GB expandable to 32 GB |  |
| 23. | Internal Auxiliary Memory | 500 GB |  |
| 24. | Optical Drive | DVD+R |  |
| 25. | User Interface | Keyboard & Optical Mouse (dual band wireless) |  |
| 26. | Ports | 2 nos. HDMI HDMI Port: 5 nos., Ethernet Port: 4 nos., USB 3.0 : 4 nos., DVI port: 4 nos. |  |
| 27. | Interface with VPS | Audio video signal input module with 2 video, 2 audio & 2 RGB inputs each. |  |
| 28. | Types of video signal to be supported by Controller | RGB Analog up to 1920x1200 (up to 165 MHz pixel clock) DVI up to 1920x1200 (up to 165 MHz pixel clock). |  |
| 29. | Time synchronization | SNTP, NTP |  |
| 30. | Power Supply (in Watt) | Dual Redundant hot swappable (in Watt) |  |
| 31. | Heat Load |  |  |
| 32. | Streaming Video from Video Camera | Video Client Application Software |  |
| 33. | Capability to display Video directly from video camera | Yes |  |

Annexure-XII

Table- 38, Splitter

| Sl. No | Description of the Features | Minimum Quantity of the features | Offered by the Contractor |
| --- | --- | --- | --- |
| 1. | Manufacturer |  |  |
| 2. | Model No. |  |  |
| 3. | Interface | RS232 (Tx, Rx, Gnd) |  |
| 4. | No. of Ports | 3 nos. (1 input and 2 output ) |  |
| 5. | Connector Types |  |  |
| 6. | Mounting | Rack mountable |  |
| 7. | Protection |  |  |
| 8. | Auxiliary Power Supply | 48 V DC |  |