SECTION – I

INVITATION FOR BIDS (IFB)

INVITATION FOR BIDS (IFB)

FOR

Transmission Line Tower Package-TW01 including Design & Testing of towers, Design of foundation, Supply of HTLS conductor, Composite long rod insulators, Earthwire/OPGW, Hardware Fittings, Accessories for Conductor & Earthwire for M/C portion of (i) 400 kV D/C (Twin HTLS) Navasari (New) (South Gujarat)-Kala line and (ii) 400 kV D/C (Twin HTLS) Navasari (New) (South Gujarat)-Magarwada line and for D/C portion of (i) 400 kV D/C (twin HTLS) Navasari (New) (South Gujarat)-Kala line (From M/c line common point near Magarwada SS to Kala SS) associated with Transmission Network Expansion in Gujarat to increase its ATC from ISTS: Part B.

(SINGLE STAGE TWO ENVELOPE BIDDING)

(Domestic Competitive Bidding under e-procurement)

DATE OF ISSUANCE OF IFB    :	19.04.2022

SPECIFICATION NO.:	5002002268/TOWER/DOM/A00 - CC CS -1

FUNDING		                            :	DOMESTIC

1.0	This invitation for bids follows the e-procurement notice (Invitation for Bids) for the subject package published on 19.04.2022 on POWERGRID’s website and e-procurement portal given at para 5.0 below and on Government of India’s Central Public Procurement Portal (https://eprocure.gov.in). Any Corrigendum and/or amendments, etc shall also be published only on the above website/portals.

2.0	Power Grid Corporation of India Ltd. (A Government of India Enterprise) incorporated under the Companies Act, 1956, having its Registered Office at B-9, Qutab Institutional Area, Katwaria Sarai, New Delhi – 110 016 (hereinafter referred to as ‘POWERGRID’/’Owner’) has decided to set up, as an Owner, ‘Transmission Network Expansion in Gujarat to increase its ATC from ISTS: Part B’.

2.1	The procurement activities in respect of the aforesaid Projects shall be carried out by the Owner itself and it intends to use domestic funding for eligible payments under the contract for the package as mentioned above. For the purpose of all procurement activities, the Owner shall also be referred to as ‘Employer’.

- POWERGRID, therefore, invites bids from eligible bidders for the following package for this project on Domestic Competitive Bidding basis under secured e-procurement procedure:

| Package | Name of Trans. Line |
| --- | --- |
| TW01 | Transmission Line Tower Package-TW01 including Design & Testing of towers, Design of foundation, Supply of HTLS conductor, Composite long rod insulators, Earthwire/OPGW, Hardware Fittings, Accessories for Conductor & Earthwire for M/C portion of (i) 400 kV D/C (Twin HTLS) Navasari (New) (South Gujarat)-Kala line and (ii) 400 kV D/C (Twin HTLS) Navasari (New) (South Gujarat)-Magarwada line and for D/C portion of (i) 400 kV D/C (twin HTLS) Navasari (New) (South Gujarat)-Kala line (From M/c line common point near Magarwada SS to Kala SS) associated with Transmission Network Expansion in Gujarat to increase its ATC from ISTS: Part B. |

This Invitation for Bids extended through media, website or written communication or by any other means, and issuance of Bidding Documents shall not be construed to mean that the prospective bidders to whom the Invitation for Bids has been extended and/or Bidding Documents have been issued is deemed to be an eligible bidder. The eligibility of the bidders shall be determined as per the provisions of Bidding Documents.

3.1	The scope of work covered under the subject Package shall include the following:

          - Detailed survey including route alignment, profiling, tower spotting, optimization of tower locations, soil resistivity measurement & geotechnical investigation (including special foundation locations viz. pile/well foundation locations, whenever applicable & covered under BPS);

          - Check survey;

          - Design and Proto type testing of transmission line towers

          - Fabrication  and  supply of  all  type  of  transmission  line  Towers  as  per Employer’s design/drawings including River crossing towers (wherever applicable) including fasteners, step bolts, hangers, D-shackles etc.;

          - Fabrication  and  supply  of  all  type  of  transmission  line  Towers as  per Contractor’s design/drawings (including River crossing towers (wherever applicable) as per Employer’s design/ drawings) including fasteners, step bolts, hangers, D-shackles etc.;

          - Supply  of  all  types  of  tower  accessories  like  phase  plate,  circuit  plate (where ever applicable), number plate, pole plate (where ever applicable), danger plate, anti-climbing device, Bird guard, (where ever applicable);

          - Supply of

a) Earth wire (For D/C Portion)

b) Hardware Fittings and accessories for Conductor and Earth wire

c) Insulators (composite Longrod)

d) OPGW & associated fittings & accessories

          - Design,  manufacturing,  testing  &  supply  of  High  Temperature  Low  Sag (HTLS)  conductor  along  with  associated  clamp  fittings  and  accessories suitable for the offered HTLS conductor;

          - Design of foundations for different soil conditions for different type of towers;

          - Classification  of  foundations  for  different  type  of  towers  and  Casting  of Foundations  for  tower  footings  as  per Employer’s foundation design/ drawing;

          - Classification  of  foundations  for  different  type  of  towers  and  Casting  of Foundations  for  tower footings as per Contractor’s foundation design/ drawing

          - Supply & Installation of Tower Earthing;

          - Supply & installation of Insulated Conductor sleeve, (if required & covered under BPS);

          - Supply & installation of Bird Diverter, (if required & covered under BPS);

          - For  transmission  lines,  to  promote  mechanization  and  safe  working conditions, use  of  crane is  being promoted.    Erection of towers by  using crane (wherever feasible), tack welding of bolts and nuts including supply and  application  of  zinc  rich  paint,  fixing  of  insulator  strings,  stringing  of conductors   and   earth   wires/OPGW along   with   all   necessary   line accessories.  However,  where  usage  of  crane  is  not  possible,  erection  of towers has to be carried out by conventional method i.e. using Gin pole, Derrick,  Centre  mast  etc.  through usage  of  Power  Operated  Winch Machines. No tractor shall be allowed for tower erection;

          - De-stringing   &   dismantling   of   existing765/400/220/   132/   66kV Transmission line(whenever applicable & covered under BPS)

          - Stringing of Power line crossing section under Live Line Condition (where ever applicable & covered under BPS);

          - Painting of towers & supply and erection of span markers, obstruction lights (wherever applicable) for aviation requirements (as required)

          - Testing and commissioning of the erected transmission lines and

          - Other items not specifically mentioned in this Specification and/or BPS but are required for the successful commissioning of the transmission line, unless specifically excluded in the Specification.

          - The installation/stringing of OPGW cable along with associated fittings & accessories   shall   be   carried   out   by   the   contractor.   The   scope   of installation/stringing     shall     include     splicing,     termination,     testing, demonstration for acceptance & commissioning as well as documentation. Splicing  is  preferred  to  be  carried  out  at  Tension  towers  locations. However,  it  shall  be  permitted  at  Suspension  Tower  locations  also  as required due to site conditions. The installation/stringing and splicing shall be carried out as per owner guidelines (provided as part of TS). The FODP &  Approach  cable  shall  also  be  installed  by  the  Contractor  (where  ever applicable as per BPS).

          - The casting of special pile/well foundations, wherever required, shall be in the scope of the Bidder.  The design shall be provided by POWERGRID.  If the  bidder  does  not  have  necessary  experience  and  is  not  meeting  the qualifying  requirements  specified  herein,  some  other  agencies  meeting the qualifying requirements may be engaged by the bidder for the casting of pile/well foundations.

          - The  scope  of  the  package  shall  inter-alia  include  supervision  of  stringing works  at  site  as  per  the  approved  procedure during  the  entire  period  of stringing. The stringing works including installation of HTLS conductor & its fittings & accessories shall be supervised by a team of supplier’s engineers/ supervisory   staff/   workmen   already   experienced   in   stringing   work associated with the type of HTLS conductor being supplied. The bidder shall   furnish   experience   details   of   the   engineers/supervisory   staff proposed to be deployed.  The supplier shall coordinate with the line contractor and train their workers. Site visit for supervision shall be carried out as per instructions of POWERGRID. Charges for supervision (including supervision  by  core  manufacturer,  if  required)  shall  be  deemed  to  be included in the total quoted price. This shall also include supply of one set of all the special tools & tackles required for stringing of the offered HTLS conductor.  The  HTLS  Conductor  and  associated  Clamps  &  accessories covered in this package shall be supplied complete in all respects, including all components, fittings and accessories which are necessary or are usual for  their  efficient  performance  and  satisfactory  maintenance  under  the various  operating  and  atmospheric  conditions.  The  supplier  shall  be responsible   for   ensuring   compatibility   with   associated   fittings   and accessories  and  satisfactory  performance  of  complete  conductor  system (alongwith  associated fittings  and  accessories) for  continuous  operation at  the  designed  continuous  operating  temperature  of  the  offered  HTLS conductor.  Such  parts  shall  be  deemed  to  be  within  the  scope  of the Contract, whether specifically included or not in the Specification or in the Contract Schedules. The Supplier shall not be eligible for any extra charges for any additional fittings/ associated parts, components, if required based on site conditions &for satisfactory performance of complete conductor system.

The above scope of work is indicative and the detailed scope of work is given in the Technical Specification (Volume-II) of the Bidding Documents.

3.2	The completion period for the subject package shall be the period as specified in ITB Sub-Clause 24.1(c).

3.3		Bidding will be conducted through the domestic competitive bidding procedures as per the provisions of ITB/BDS and the contract shall be executed as per the provisions of the Contract. Bidders may note that the Employer has uploaded its ‘Works and Procurement Policy and Procedures’ (WPPP) document alongwith its Modification/Amendment on “Capacity and Capability Assessment–regarding new parties undertaking erection works of Transmission Line Tower Packages” and on “Ineligibility of Firms for Participation in the Bidding Process” and on “Black-Listing of Firms / Banning of Business” and its updation on POWERGRID’s website referred to at para 5.0 below. It shall be noted that no other party, including the Bidder/Contractor, shall derive any right from this ‘Works and Procurement Policy and Procedures’ (WPPP) document or have any claim on the Employer on the basis of the same. The respective rights of the Employer and the Bidder/Contractor shall be governed by the Bidding Documents/Contract signed between the Employer and the Contractor for the package. The provisions of the Bidding Documents shall always prevail over that of ‘Works and Procurement Policy and Procedures’ (WPPP) document in case of contradiction.

4.0	The detailed Qualifying Requirements (QR) are given in the Bidding Document.

5.0	Important Instruction for participation in subject e-Tendering:

- Bidders are requested to read the ‘Bidders Manual and Pre-Requisite Document’ available on ‘POWERGRID Reverse Auction and Integrated Tendering (PRANIT)’ portal through website https://etender.powergrid.in before proceeding for submission of bids. It is important to note that bidders can submit their bids online only through https://etender.powergrid.in.

- The complete Bidding Documents including tender drawings are available at POWERGRID’s website http://www.powergrid.in as well as on portal https://etender.powergrid.in. However, in case of any contradiction between the Bidding Documents at POWERGRID’s website and those at the portal, the latter shall prevail. Interested bidders shall download the Bidding Documents from the portal https://etender.powergrid.in, as per the provisions available therein. Interested bidders can download the Bidding Documents and commence preparation of bids to gain time. From e-Tendering portal, the bidders can download the bidding documents as a ‘Guest’ and/or after registering, as detailed below at (6.0).

The bidding documents are meant for the exclusive purpose of bidding against this specification and shall not be transferred to any parts or reproduced or used otherwise for any purpose other than for which they are specifically uploaded.

- Bidders shall ensure that their bids, complete in all respects, are submitted online through POWERGRID’s e-tendering portal only. No DEVIATION in this regard is acceptable.

- Interested bidders have to necessarily register themselves on the portal https://etender.powergrid.in, to participate in the bidding under this invitation for bids. It shall be the sole responsibility of the interested bidders to get themselves registered at the aforesaid portal.

The said registration shall be free of cost.  On completion of registration process, the registering bidders will be provided with User ID and Log-In password.

Kindly note that to submit the bids electronically, bidders must have a valid Class 3B Digital Certificate (signing and encryption / decryption certificate).

Interested bidders may obtain further information regarding this IFB from the office of Sr. Deputy General Manager(CS-G1)/ Dy. Manager (CS–G1), POWERGRID at the address given at para 11.0 below from 15:00 hours to 17:00 hours on all working days.

For proper uploading of the bids on the portal namely https://etender.powergrid.in (hereinafter referred to as the ‘portal’), it shall be the sole responsibility of the bidders to apprise themselves adequately regarding all the relevant procedures and provisions as detailed at the portal as well as by contacting from POWERGRID, as and when required, for which contact details are mentioned above below. The Employer in no case shall be responsible for any issues related to timely or properly uploading/submission of the bid in accordance with the relevant provisions of Section II – ITB of the Bidding Documents.

7.0	A online pre-bid meeting will be held on 28.04.2022 at 1130 Hrs. (IST) to clarify the bidders various issues raised in accordance with clause 6.4 of ITB.

8.0	A Single Stage Two Envelope Bidding Procedure will be adopted and will proceed as detailed in the Bidding Documents.

8.1	Soft Copy Part of the Bids must be uploaded under Single Stage Two Envelope Bidding Procedure on the portal at or before 11:00 hours on 18.05.2022. The e-Procurement system would not allow any late submission of bids through the portal after due date & time as specified.

Hard Copy Part of the Bids must be submitted under Single Stage Two Envelope Bidding Procedure at the address given in BDS at or before 11:00 hours on 20.05.2022. In case Hard copy part of the bid is not received by the Employer till the deadline for submission of the same prescribed by the Employer, but the bidder has uploaded the soft copy part of the bid, the soft copy part of the first envelope bid uploaded on the portal shall be opened. Such bids will be rejected during preliminary examination. However, in case of MSEs who are exempted from submission of Bid Security in line with ITB 13.1, non-submission of Hard copy part shall not lead to outright rejection of the bid, but the documents required to be submitted in the hard copy part shall be sought through clarifications as brought out at ITB 21.1.

First Envelope i.e. Techno -Commercial Part shall be opened on 20.05.2022 at 11:30 hours in the presence of the bidders’ representatives who choose to attend in person at the address below or may be viewed by the bidders by logging in to the portal. Second Envelope i.e. Price Part shall be opened in the presence of the bidders’ representatives who choose to attend at the time and date and at the address given in the intimation for opening of Second Envelope in accordance with Clause 25 of ITB or may be viewed by the bidders by logging in to the portal.

All bids must be accompanied by a bid security of Rs. 6,22,57,000/- for Package TW01.

Bid security and Document Fee must be submitted either in physical form or paid online (for details refer Clause ITB 13 and Clause ITB 5.4). The aforesaid documents in physical form or documentary evidence of online payment of the specified amount to POWERGRID, should be submitted at the address given at para 11.0 below at or before 1100 Hrs. 20.05.2022.

Power of Attorney, Joint Deed of Undertaking (if applicable), Joint Venture Agreement (if applicable), Integrity Pact and Safety Pact must be submitted in physical form at the address given at para 11.0 below at or before 1100 Hrs. 20.05.2022. POWERGRID shall not be responsible for any postal delay in respect of submission of hard copy part of the bids.

8.2	Under the Integrity Pact Program (IPP), a panel of Independent External Monitors (IEMs) comprising Sh. Raj kumar Singh, Sh. Anil Kumar and Sh. Shekhar Prasad Singh has been appointed by CVC. Correspondence, if any, to the panel of IEMs be addressed to the following:

Independent External Monitor

C/o CGM (CS-P&S), Contract Service Department

Power Grid Corporation of India   Limited,

‘Saudamini’, 3rd Floor,

Plot No. – 2, Sector – 29,

Gurgaon – 122001, Haryana

E-mail IDs of IEMs:

mrrajksingh@gmail.com

anilsec1953@gmail.com

spsinghias1983@gmail.com

9.0	The Employer reserves the right to conduct e-Reverse Auction (e-RA) in accordance with clause 29 of ITB.

10.0	POWERGRID reserves the right to cancel/withdraw this invitation for bids without assigning any reason and shall bear no liability whatsoever consequent upon such a decision.

11.0	All correspondence with regard to the above shall be to the following address.

(By Post/In Person)

Sr. DGM (CS-G1)/Dy. Manager (CS–G1)

Power Grid Corporation of India Limited

‘Saudamini’, 3rd Floor, Plot No.-2, Sector-29

Gurgaon (Haryana) - 122001.

(Thru Board) +91-124-282- 2352/ 2394

Mobile: +91- 9560890345/ 9205472325

Fax Nos.:- +91-124-2571 831

Email:

lucius@powergrid.in

adiliqbalkhan@powergrid.in

For more information on POWERGRID, visit our site at:

http://www.powergrid.in

12.0	Bidders are requested to open the following link for pre-requisite system settings of PRANIT portal and manual/video tutorial regarding information for bid submission:

https://etender.powergrid.in/new_logon2/User_Help_Menu.html

In case any technical issue remains unresolved, Bidder may contact the ERP SRM Helpdesk support as per the details below:

Phone No – 0124-2823456 (with call hunting feature)

Timings – 9:00 am To 5:30 pm

Bidders are advised to contact the Helpdesk minimum 2 working days before Bid Submission Deadline for assistance.

Note-	At the time of submission of the bid, Bidders are required to make sure that:

- The First Envelope excel with file named “First Envelope and Bid Forms” must be uploaded alonwith the bid.

- The Second Envelope excel with file named “Price_schedule” must be uploaded alongwith the bid.

As per the provisions of the portal, it is mandatory to upload aforesaid excel files with titled as indicated above (Bidders may refer user manuals at the portal https://etender.powergrid.in regarding submission of bid).

---- End of Section-I (IFB) ----