## Instruction
General Instruction to the Bidders for filling up this workbook of Price Schedules for Package Construction of 2 no’s 400kV Line Bays (including associated tie bays) at Mandsaur S/s for Interconnection of 3x504MW PSP of Greenko MP01 IREP Pvt. Ltd. through Greenko MP01 – Mandsaur PS 400kV D/c line
I | While filling up the worksheets following may please be observed :
| (i) | Fill up only green shaded cells.
| (ii) | Certain data type entries have been restricted, such as Numeric values or limits of numeric values.
| (iii) | Select only the options provided in pull down menus.
| (iv) | Do not link any cell of this work book with any other work book.
| (v) | Do not use copy & paste or cut & paste options for filling up the data.
| (vi) | Do not reformat any of the cell of the work book.
II | This Workbook consists of following worksheets :
Cover :
Opening page of the workbook.
Names of Bidder :
| ● | Select Sole Bidder or JV (Joint Venture) from the pull down menu. Do not leave this cell blank.
| ● | Select nos. of the JV Partners other than the Lead Partner from drop down menu.
| ● | In case of JV partners more than 2, enter details of 3rd & more partners along with details of 2nd partner.
| ● | Fill up names and address of the Sole Bidder and /or Joint Venture.
| ● | Fill up date in dd-mmm-yyyy format from drop down menu.
| ● | Click for Sch-1 given at the right top of the worksheet to go to Sch-1.
Sch -1 : (Abstract Of Cost)
| ● | Summary of all the Schedules shall be displayed automatically.
| ● | No cell is required to be filled in by the bidder in this worksheet.
Sch-2 (Schedule Items for Civil Works for FOR CONSTRUCTION OF TL STORE (50m x 10 m) FOR BANASKANTHA SUBSTATION ) :
| ● | Schedule Items: only % above/below DSR-2014 is to be filled up.
| ● | Total amount shall get calculated automatically.
Sch-3 (Non-Schedule Items for FOR CONSTRUCTION OF TL STORE (50m x 10 m) FOR BANASKANTHA SUBSTATION ) :
| ● | Non-Schedule Items: Fill up unit rates for all the items in numeric values greater than 0 (zero). If unit rate is left blank, the corresponding item shall be deemed to be included in the total price.
| ● | Total amount shall get calculated automatically.
| ● | The rate quoted shall be inclusive of the Service Tax.
Sch-4 (Schedule Items for CONSTRUCTION OF OPEN STORE YARD OF SIZE (110m x 40) m for BANASKANTHA SUBSTATION ) :
| ● | Schedule Items: only % above/below DSR-2014 is to be filled up.
| ● | Total amount shall get calculated automatically.
Sch-5 (Non-Schedule Items for CONSTRUCTION OF OPEN STORE YARD OF SIZE (110m x 40) m for BANASKANTHA SUBSTATION ) :
| ● | Non-Schedule Items: Fill up unit rates for all the items in numeric values greater than 0 (zero). If unit rate is left blank, the corresponding item shall be deemed to be included in the total price.
| ● | Total amount shall get calculated automatically.
| ● | The rate quoted shall be inclusive of the Service Tax.
Sch-6 ( INTERNAL ELECTRIFICATION WORKS OF 50x10 STORE SHED FOR BANASKANTHA SUBSTATION ) :
| ● | Fill up unit rates for all the items in numeric values greater than 0 (zero). If unit rate is left blank, the corresponding item shall be deemed to be included in the total price.
| ● | Total amount shall get calculated automatically.
| ● | The rate quoted shall be inclusive of the Service Tax.
Bid from 2nd Envelope :
| ● | Fill up ref. no. as bidder's ref no. of this letter.
| ● | This letter shall consider the net price as per Sch-3 .
| ● | Fill up names & Designation of the representatives of other JV partner(s) if the bidder is JV (Joint Venture) .
| ● | Fill up additional information as required.
* * *
Happy Bidding !

## Basic
Name of Package : | Construction of 2 no’s 400kV Line Bays (including associated tie bays) at Mandsaur S/s for Interconnection of 3x504MW PSP of Greenko MP01 IREP Pvt. Ltd. through Greenko MP01 – Mandsaur PS 400kV D/c line
Package No : | 5002004561
Specification No. : | WR2/T/W-AIS/DOM/G01/25/08287
Completion Period | 08 Month

## Name of Bidder
Name of Package :
Construction of 2 no’s 400kV Line Bays (including associated tie bays) at Mandsaur S/s for Interconnection of 3x504MW PSP of Greenko MP01 IREP Pvt. Ltd. through Greenko MP01 – Mandsaur PS 400kV D/c line
Enter following details of the bidder
Specify type of Bidder [Select from drop down menu] | Individual Firm
Name of Sole Bidder [Individual Firm]
Address of Registered Office & Mobile Numbers
…….. …… ………. ……….
…….. …… ………. ……….
…….. …… ………. ……….
…….. …… ………. ……….
…….. …… ………. ……….
Printed Name
Designation
Date
Place

## Sch-1 Supply
POWER GRID CORPORATION OF INDIA LTD.
WRTS-II,RHQ,VADODARA
Construction of 2 no’s 400kV Line Bays (including associated tie bays) at Mandsaur S/s for Interconnection of 3x504MW PSP of Greenko MP01 IREP Pvt. Ltd. through Greenko MP01 – Mandsaur PS 400kV D/c line
Bidder’s Name and Address (Sole Bidder) : | [8 empty] | To:
Contract Services
Address : | [8 empty] | Power Grid Corporation of India Ltd.,
Western Region Transmission syatem -II
Plot No. 54, Near Riya revati resort ,
Schedule-I Plant and Equipment (including mandatory Spares) to be supplied including Type Test Charges | [8 empty] | Sama - savli road, vadodara-390008
Sl. No. | Activity Description | Material Code | HSN/SAC code | Rate of GST applicable ( in %)
[5 empty] | Whether rate of GST in column ‘3’ is confirmed. If not indicate applicable rate of GST # | Item Description | Unit | Quantity | Unit Ex Works Charges excluding GST | Total Ex Works Charges excl GST | Total Tax GST
1 |  |  | 2 | 3 | 4 | 5 | 6 | 7 | 10 | 11 | 12
1 | 400 kV 63kA AIS EQUIPMENT | 1000004463 | 85359090 | 18% |  | 420 kV, 3000A, 63KA, 1-Phase CurrentTransformer with 120% extended currentrating | EA | 12 |  | 0 | 0
2 | 400 kV 63kA AIS EQUIPMENT | 1000004535 | 85359090 | 18% |  | 420 kV, 4400 pF Capacitive Voltage Transformer (1-Phase) | EA | 6 |  | 0 | 0
3 | 400 kV 63kA AIS EQUIPMENT | 1000004498 | 85353090 | 18% |  | 420kV, 3150A, 63KA, Isolator (3-phase)(Double Break) with one E/S | EA | 10 |  | 0 | 0
4 | 400 kV 63kA AIS EQUIPMENT | 1000020419 | 85354010 | 18% |  | 336kV Surge Arrester (1-phase) | EA | 6 |  | 0 | 0
5 | 400 kV 63kA AIS EQUIPMENT | 1000004401 | 85462040 | 18% |  | 420 kV, 1 phase Bus Post Insulator (except for Line Traps) | EA | 90 |  | 0 | 0
6 | 400 kV 63kA AIS EQUIPMENT | 1000004502 | 85352913 | 18% |  | 420kV, 3150A, 63KA Circuit Breaker (3-Phase) with closing resistor with support structure | EA | 2 |  | 0 | 0
7 | 400 kV 63kA AIS EQUIPMENT | 1000004501 | 85352913 | 18% |  | 420kV, 3150A, 63kA Circuit Breaker (3-Phase) without closing resistorand with Support Structure | EA | 2 |  | 0 | 0
8 | Erection Hardware 400kV | 1000011318 | 72169990 | 18% |  | Erection Hardware for 400kV I type layout-Bus Work (For one diameter)as per technical specification | SET | 3 |  | 0 | 0
9 | Erection Hardware 400kV | 1000011322 | 72169990 | 18% |  | Erection Hardware for 400kV I type layout-Line bay as per technicalspecification | SET | 2 |  | 0 | 0
10 | Erection Hardware 400kV | 1000011326 | 72169990 | 18% |  | Erection Hardware for 400kV I type layout-Spare bay of half dia as pertechnical specification | SET | 2 |  | 0 | 0
11 | 400 kV Control and Relay panel | 1000003398 | 85371000 | 18% |  | 400kV Line Protection Panel (with Automation) | EA | 2 |  | 0 | 0
12 | 400 kV Control and Relay panel | 1000055446 | 85371000 | 18% |  | 400KV CIRCUIT BREAKER RELAY PANEL (WITH AUTOMATION) | EA | 2 |  | 0 | 0
13 | 400 kV Control and Relay panel | 1000002146 | 85371000 | 18% |  | Augmentation of existing 400kV bus bar protection scheme.(No. of baysas per specification)-(with Automation) | SET | 1 |  | 0 | 0
14 | 400 kV Control and Relay panel | 1000064768 | 85371000 | 18% |  | AUGMENTATION OF SUBSTATION AUTOMATION SYSTEM FOR 400KV MAIN BAY ASPER TECHNICAL SPECIFICATION : OTHER MAKE | EA | 2 |  | 0 | 0
15 | 400 kV Control and Relay panel | 1000064770 | 85371000 | 18% |  | AUGMENTATION OF SUBSTATION AUTOMATION SYSTEM FOR 400KV TIE BAY ASPER TECHNICAL SPECIFICATION : OTHER MAKE | EA | 2 |  | 0 | 0
16 | PLCC Equipment | 1000004400 | 85462040 | 18% |  | 420 kV ,1 phase Bus Post Insulators for Line Traps | EA | 12 |  | 0 | 0
17 | PLCC Equipment | 1000004290 | 85176210 | 18% |  | 400kV,3150A,0.5mH ,63kA Line Trap | EA | 4 |  | 0 | 0
18 | AC+FIRE PROTN+ILLUM FOR SPR | 1000006284 | 84151090 | 18% |  | Air conditioning system for Switchyard Panel Room of 6m length | SET | 1 |  | 0 | 0
19 | AC+FIRE PROTN+ILLUM FOR SPR | 1000012022 | 84241000 | 18% |  | 4.5 kg CO2 type Portable Fire extinguisher | EA | 1 |  | 0 | 0
20 | AC+FIRE PROTN+ILLUM FOR SPR | 1000012018 | 85311020 | 18% |  | Fire Detection and Alarm System for Switchyard Panel Room of 6 mlength | SET | 1 |  | 0 | 0
21 | AC+FIRE PROTN+ILLUM FOR SPR | 1000013795 | 94059900 | 18% |  | Illumination System for switchyard panel room of 6 m length | LS | 1 |  | 0 | 0
22 | ILLUMINATION SYSTEM (OUTDOOR) | 1000038387 | 94051090 | 18% |  | LED FLOOD LIGHT LUMINARIESTYPE FL-1 (150W) AS PER TECHNICALSPECIFICATION | EA | 30 |  | 0 | 0
23 | ILLUMINATION SYSTEM (OUTDOOR) | 1000038325 | 94059900 | 18% |  | LIGHTING FIXTURE LED LUMINAIRES TYPE FL2 AS PER TECH. SPECIFICATIONS | EA | 30 |  | 0 | 0
24 | ILLUMINATION SYSTEM (OUTDOOR) | 1000020262 | 85371000 | 18% |  | Sub Lighting panel (outdoor) type SLP (Switchyard and Street Lighting) | EA | 4 |  | 0 | 0
25 | ILLUMINATION SYSTEM (OUTDOOR) | 1000014547 | 85371000 | 18% |  | Lighting Panel type ACP-2 as per technical specification | EA | 2 |  | 0 | 0
26 | Main Earthmat | 1000032055 | 72159090 | 18% |  | 40 MM MS ROD FOR MAIN EARTHMAT | KM | 4 |  | 0 | 0
27 | Visual Monitoring system | 1000030433 | 85287390 | 18% |  | COLOR IP CAMERA, WITH PAN, TILT AND ZOOM FACILITIES, ALONGWITH ALLREQUIRED ITEMS, ACCESSORIES, LINE INTERFACE UNITS, FIBER PATCH CORDS,POWER SUPPLY UNITS, JUNCTION BOXES, CABLES, FIBER OPTIC CABLES, ETC.,AND INCLUDING INTEGRATION IN EXISTING HARDWARE AND SOFTWARE FORAUGMENTATION OF VISUAL MONITORING SYSTEM AS PER TECHNICALSPECIFICATION. | SET | 1 |  | 0 | 0
28 | Mandatory Spares-CB | 1000019918 | 85359090 | 18% |  | Spares for 420kV Circuit Breaker | LS | 1 |  | 0 | 0
29 | Mandatory Spares-ISO | 1000019919 | 85353090 | 18% |  | Spares for 420kV Double break Isolator | LS | 1 |  | 0 | 0
30 | Mandatory Spares-CT | 1000025941 | 85389000 | 18% |  | Spare-420kV CT 1 | SET | 1 |  | 0 | 0
31 | Mandatory Spares-LA | 1000024186 | 85354010 | 18% |  | SPARES FOR 336KV SURGE ARRESTER | LS | 1 |  | 0 | 0
32 | Mandatory Spares-CRP & SAS | 1000019927 | 85389000 | 18% |  | Spares-Substation Automation System | LS | 1 |  | 0 | 0
33 | Mandatory Spares-CRP & SAS | 1000019912 | 85371000 | 18% |  | Relay & protection Panels (with automation) | LS | 1 |  | 0 | 0
34 | Mandatory Spares-CVT | 1000025943 | 85359090 | 18% |  | Spare-420kV CVT 1 | SET | 1 |  | 0 | 0
35 | Power & Control cables | 1000000442 | 85446020 | 18% |  | 1.1kV grade Control Cables (PVCinsulated) along withlugs,glands,straight joints &accessories,etc. | LS | 1 |  | 0 | 0
36 | Power & Control cables | 1000000443 | 85446020 | 18% |  | 1.1kV grade Power Cables (PVCinsulated)along withlugs,glands,straight joints &accessories,etc. | LS | 1 |  | 0 | 0
37 | TOWER & EQP SUPPORT STR - SUPPLY | 1000015954 | 73082011 | 18% |  | Fabrication, galvanising and supply of Lattice Structures (MS Steel),to be designed during detailed engineering, for towers, beams andequipment support structure including pack plates / packwashers andgusset plates excluding fasteners and foundation bolts | MT | 140 |  | 0 | 0
38 | TOWER & EQP SUPPORT STR - SUPPLY | 1000015953 | 73082011 | 18% |  | Fabrication, galvanising and supply of Lattice Structures (HT Steel),to be designed during detailed engineering, for towers, beams andequipment support structure including pack plates / packwashers andgusset plates excluding fasteners and foundation bolts | MT | 260 |  | 0 | 0
39 | TOWER & EQP SUPPORT STR - SUPPLY | 1000011713 | 73082011 | 18% |  | Fabrication, galvanising and supply of fasteners ( nuts, bolts andwashers ) including step bolts for lattice and pipe structures to bedesigned during detailed engineering | MT | 15 |  | 0 | 0
40 | TOWER & EQP SUPPORT STR - SUPPLY | 1000012373 | 73082011 | 18% |  | Fabrication, galvanising and supply of foundation bolts including nuts,checknut and washers for lattice and pipe structures to be designedduring detailed engineering | MT | 26 |  | 0 | 0
41 | PMUs for 2 400kV Line bays at Mandsaur | 1000030641 | 85389000 | 18% |  | LIU - FO PATCH PANEL-12 PORT | EA | 3 |  | 0 | 0
42 | PMUs for 2 400kV Line bays at Mandsaur | 1000022487 | 85447090 | 18% |  | WAMS Miscellaneous - Armored Fibre Optic Cable and associatedtermination (e.g. L2 Switch) for connecting PMU panels located indifferent control room of a station | EA | 1 |  | 0 | 0
43 | PMUs for 2 400kV Line bays at Mandsaur | 1000071062 | 85176290 | 18% |  | SUBSTATION GRADE LAYER 3 LAN SWITCH | EA | 1 |  | 0 | 0
44 | PMUs for 2 400kV Line bays at Mandsaur | 1000071061 | 85176290 | 18% |  | SUBSTATION GRADE LAYER 2 LAN SWITCH | EA | 2 |  | 0 | 0
45 | PMUs for 2 400kV Line bays at Mandsaur | 1000022512 | 90311000 | 18% |  | WAMS Hardware - Time System (GPS receiver) | EA | 2 |  | 0 | 0
46 | PMUs for 2 400kV Line bays at Mandsaur | 1000017518 | 85364900 | 18% |  | PMU with GPS Clock (clock can be either internal or external) | EA | 2 |  | 0 | 0
47 | Supply-Tele BOQ at Mandsaur | 1000023471 | 85372000 | 18% |  | OPGW Fibre Optic Distribution Panel (FODP): Indoor Type: 96F | EA | 1 |  | 0 | 0
48 | Supply-Tele BOQ at Mandsaur | 1000066613 | 83071000 | 18% |  | GI FLEXIBLE CONDUIT INSTALLATION HARDWARE FOR APPROAH CABLING | EA | 150 |  | 0 | 0
49 | Supply-Tele BOQ at Mandsaur | 1000066612 | 73071900 | 18% |  | GI ELBOW INSTALLATION HARDWARE FOR APPROAH CABLING | EA | 300 |  | 0 | 0
50 | Supply-Tele BOQ at Mandsaur | 1000066614 | 73069011 | 18% |  | GI PIPE INSTALLATION HARDWARE FOR APPROACH CABLING | KM | 2 |  | 0 | 0
51 | Supply-Tele BOQ at Mandsaur | 1000037545 | 85447090 | 18% |  | 24F (DWSM) APPROACH FIBRE OPTIC CABLE | KM | 2 |  | 0 | 0
52 | Supply-Tele BOQ at Mandsaur | 1000026228 | 85176290 | 18% |  | Equipment Cabinets For SDH | EA | 1 |  | 0 | 0
53 | Supply-Tele BOQ at Mandsaur | 1000031381 | 85176290 | 18% |  | TRIBUTARY INTERFACE-GIGABIT ETHERNET INTERFACES 10/100 MBPS WITH LAYER-2 SWITCHING (MINIMUM 2 NOS.) | SET | 1 |  | 0 | 0
54 | Supply-Tele BOQ at Mandsaur | 1000034950 | 85176990 | 18% |  | ETHERNET INTERFACE 10/100 BASE T WITH LAYER-2 SWITCHING (MIN 8INTERFACES PER CARD) | EA | 2 |  | 0 | 0
55 | Supply-Tele BOQ at Mandsaur | 1000031374 | 85176290 | 18% |  | TRIBUTARY INTERFACE- E1 INTERFACE (MINIMUM 16 NOS.) | SET | 2 |  | 0 | 0
56 | Supply-Tele BOQ at Mandsaur | 1000018706 | 85176990 | 18% |  | S16.1 SFP | EA | 4 |  | 0 | 0
57 | Supply-Tele BOQ at Mandsaur | 1000031367 | 85176260 | 18% |  | SDH EQUIPMENT (STM-16 MADM UPTO 5 MSP PROTECTED DIRECTIONS)-BASEEQUIPMENT (COMMON CARDS, CROSS CONNECT/CONTROL CARDS, OPTICAL BASECARDS, POWER SUPPLY CARDS, POWER CABLING, OTHER HARDWARE ANDACCESSORIES INCLUDING SUB RACKS, PATCH CORD, DDF ETC FULLY EQUIPEDEXCLUDING OPTICAL INTERFACE & TRIBUTARY CARDS | EA | 1 |  | 0 | 0
58 | Spares- Tele eqpt at Mandsaur | 1000031369 | 85176260 | 18% |  | SDH EQUIPMENT (STM-16 MADM UPTO 5 MSP PROTECTED DIRECTIONS)-COMMONCARDS, CROSS-CONNECT/CONTROL CARDS, OPTICAL BASE CARD, POWER SUPPLYCARDS, POWER CABLING, OTHER HARDWARE & ACCESSORIES (EACH). | SET | 1 |  | 0 | 0
59 | Spares- Tele eqpt at Mandsaur | 1000018706 | 85176990 | 18% |  | S16.1 SFP | EA | 1 |  | 0 | 0
60 | Spares- Tele eqpt at Mandsaur | 1000031374 | 85176290 | 18% |  | TRIBUTARY INTERFACE- E1 INTERFACE (MINIMUM 16 NOS.) | SET | 1 |  | 0 | 0
61 | Spares- Tele eqpt at Mandsaur | 1000034950 | 85176990 | 18% |  | ETHERNET INTERFACE 10/100 BASE T WITH LAYER-2 SWITCHING (MIN 8INTERFACES PER CARD) | EA | 1 |  | 0 | 0
62 | Spares- Tele eqpt at Mandsaur | 1000031381 | 85176290 | 18% |  | TRIBUTARY INTERFACE-GIGABIT ETHERNET INTERFACES 10/100 MBPS WITH LAYER-2 SWITCHING (MINIMUM 2 NOS.) | SET | 1 |  | 0 | 0
63 | Spares- Tele eqpt at Mandsaur | 1000031398 | 85171890 | 18% |  | PRE CONNECTORIZED OPTICAL FIBER PATCH CORDS(10 MTRS) â€“ PACK OF SIXPATCH CORDS | SET | 1 |  | 0 | 0
64 | Spares- Tele eqpt at Mandsaur | 1000037545 | 85447090 | 18% |  | 24F (DWSM) APPROACH FIBRE OPTIC CABLE | KM | 0.5 |  | 0 | 0
65 | Spares- Tele eqpt at Mandsaur | 1000066614 | 73069011 | 18% |  | GI PIPE INSTALLATION HARDWARE FOR APPROACH CABLING | KM | 0.07 |  | 0 | 0
66 | Spares- Tele eqpt at Mandsaur | 1000066612 | 73071900 | 18% |  | GI ELBOW INSTALLATION HARDWARE FOR APPROAH CABLING | EA | 8 |  | 0 | 0
67 | Spares- Tele eqpt at Mandsaur | 1000066613 | 83071000 | 18% |  | GI FLEXIBLE CONDUIT INSTALLATION HARDWARE FOR APPROAH CABLING | EA | 6 |  | 0 | 0
[7 empty] | Total of Ex Works Price |  |  | 0 | 0

## 3B Non- schedule (hidden)
POWER GRID CORPORATION OF INDIA LTD.
WRTS-II,RHQ,VADODARA
Construction work of CABLE TRENCH SECTION 3-3 WORK AT MPPTCL S/S INDORE
Bidder’s Name and Address (Sole Bidder) : | [5 empty] | #REF! |  |  | To:
Name: | [8 empty] | Contract Services
Address: | [8 empty] | Power Grid Corporation of India Ltd.,
Western Region Transmission syatem -II
Plot No. 54, Near Riya revati resort ,
Sama - savli road, vadodara-390008
Non-Schedule 3B
Sl. No. | Activity Header / Substation Name | SAC | Whether SAC in column ‘3’ is confirmed. If not indicate applicable the SAC # | Rate of GST applicable ( in %) | Whether rate of GST in column ‘5’ is confirmed. If not indicate applicable rate of GST # | Description (Non Schedule Items) | Unit | Quantity | Unit Erection Charges (Excluding GST) | Total Erection Charges (Excluding GST) | Total Tax GST
(Service Accounting Codes)
1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
Non - Schedule Civil Items
1 | Indore Substation | 995428 |  | 18% |  | NS-1 Providing & fixing polythene sheet of 125 micron before casting of pcc work and as directed by engineer in charge (For casting of cable trench cover slab) | sqm | 88.5 |  | 0 | 0
2 | Indore Substation | 995424 |  | 18% |  | NS-2 Providing , laying & fixing PVC pipe of 160 mm nominal dia Pipes | mtr | 124.5 |  | 0 | 0
1 | Indore Substation | 995428 |  | 18% |  | NS-3 Removing, cleaning and washing of existing stone and respreading of stones in switching excluding PCC | sqm | 285.83 |  | 0 | 0
2 | Indore Substation | 995428 |  | 18% |  | NS-4 Antiweed Treatment | sqm | 285.83 |  | 0 | 0
3 | Indore Substation | 995433 |  | 18% |  | NS-5 Supplying, filling & compacting CNS materials as per specification under floor, foundation, roads, cable trench etc. | CUM | 100 |  | 0 | 0
4 | Indore Substation | 995424 |  | 18% |  | NS-6 RCC Culverts and cable trench crossings including supplying and laying hume pipe 250 mm dia of grade (NP 3) Excluding Concrete. | Rm | 14.5 |  | 0 | 0
[7 empty] | Total of Schedule Part 3B |  |  | 0 | 0
# In case the bidder leaves the cell for confirmation of the SAC and/or GST rate “blank”, the SAC and corresponding GST rate indicated by the Employer shall be deemed to be the one confirmed by the Bidder.
Date : | [6 empty] | Printed Name :
Place : | [6 empty] | Designation :

## Sch-2 F&I
पावर ग्रिड कारपोरेशन ऑफ इंडिया लिमिटेड
POWER GRID CORPORATION OF INDIA LTD.
WRTS-II,RHQ,VADODARA
Construction of 2 no’s 400kV Line Bays (including associated tie bays) at Mandsaur S/s for Interconnection of 3x504MW PSP of Greenko MP01 IREP Pvt. Ltd. through Greenko MP01 – Mandsaur PS 400kV D/c line
Bidder’s Name and Address (Sole Bidder) : |  |  |  | To:
Name : |  |  |  | Contract Services
Address : |  |  |  | Power Grid Corporation of India Ltd.,
Western Region Transmission syatem -II
Plot No. 54, Adjacent to Riya-Revati Resort,
Sama-Savli Road, Vadodara-390024
Schedule 2 Local Transportation, In-transit insurance, loading and unloading
Sl. No. | Item Description | Unit | Quantity | Unit F&I Charges | Total F&I Charges
1 | 2 | 3 | 4 | 5 | 6
1 | 420 kV, 3000A, 63KA, 1-Phase CurrentTransformer with 120% extended currentrating | EA | 12 |  | 0
2 | 420 kV, 4400 pF Capacitive Voltage Transformer (1-Phase) | EA | 6 |  | 0
3 | 420kV, 3150A, 63KA, Isolator (3-phase)(Double Break) with one E/S | EA | 10 |  | 0
4 | 336kV Surge Arrester (1-phase) | EA | 6 |  | 0
5 | 420 kV, 1 phase Bus Post Insulator (except for Line Traps) | EA | 90 |  | 0
6 | 420kV, 3150A, 63KA Circuit Breaker (3-Phase) with closing resistor with support structure | EA | 2 |  | 0
7 | 420kV, 3150A, 63kA Circuit Breaker (3-Phase) without closing resistorand with Support Structure | EA | 2 |  | 0
8 | Erection Hardware for 400kV I type layout-Bus Work (For one diameter)as per technical specification | SET | 3 |  | 0
9 | Erection Hardware for 400kV I type layout-Line bay as per technicalspecification | SET | 2 |  | 0
10 | Erection Hardware for 400kV I type layout-Spare bay of half dia as pertechnical specification | SET | 2 |  | 0
11 | 400kV Line Protection Panel (with Automation) | EA | 2 |  | 0
12 | 400KV CIRCUIT BREAKER RELAY PANEL (WITH AUTOMATION) | EA | 2 |  | 0
13 | Augmentation of existing 400kV bus bar protection scheme.(No. of baysas per specification)-(with Automation) | SET | 1 |  | 0
14 | AUGMENTATION OF SUBSTATION AUTOMATION SYSTEM FOR 400KV MAIN BAY ASPER TECHNICAL SPECIFICATION : OTHER MAKE | EA | 2 |  | 0
15 | AUGMENTATION OF SUBSTATION AUTOMATION SYSTEM FOR 400KV TIE BAY ASPER TECHNICAL SPECIFICATION : OTHER MAKE | EA | 2 |  | 0
16 | 420 kV ,1 phase Bus Post Insulators for Line Traps | EA | 12 |  | 0
17 | 400kV,3150A,0.5mH ,63kA Line Trap | EA | 4 |  | 0
18 | Air conditioning system for Switchyard Panel Room of 6m length | SET | 1 |  | 0
19 | 4.5 kg CO2 type Portable Fire extinguisher | EA | 1 |  | 0
20 | Fire Detection and Alarm System for Switchyard Panel Room of 6 mlength | SET | 1 |  | 0
21 | Illumination System for switchyard panel room of 6 m length | LS | 1 |  | 0
22 | LED FLOOD LIGHT LUMINARIESTYPE FL-1 (150W) AS PER TECHNICALSPECIFICATION | EA | 30 |  | 0
23 | LIGHTING FIXTURE LED LUMINAIRES TYPE FL2 AS PER TECH. SPECIFICATIONS | EA | 30 |  | 0
24 | Sub Lighting panel (outdoor) type SLP (Switchyard and Street Lighting) | EA | 4 |  | 0
25 | Lighting Panel type ACP-2 as per technical specification | EA | 2 |  | 0
26 | 40 MM MS ROD FOR MAIN EARTHMAT | KM | 4 |  | 0
27 | COLOR IP CAMERA, WITH PAN, TILT AND ZOOM FACILITIES, ALONGWITH ALLREQUIRED ITEMS, ACCESSORIES, LINE INTERFACE UNITS, FIBER PATCH CORDS,POWER SUPPLY UNITS, JUNCTION BOXES, CABLES, FIBER OPTIC CABLES, ETC.,AND INCLUDING INTEGRATION IN EXISTING HARDWARE AND SOFTWARE FORAUGMENTATION OF VISUAL MONITORING SYSTEM AS PER TECHNICALSPECIFICATION. | SET | 1 |  | 0
28 | Spares for 420kV Circuit Breaker | LS | 1 |  | 0
29 | Spares for 420kV Double break Isolator | LS | 1 |  | 0
30 | Spare-420kV CT 1 | SET | 1 |  | 0
31 | SPARES FOR 336KV SURGE ARRESTER | LS | 1 |  | 0
32 | Spares-Substation Automation System | LS | 1 |  | 0
33 | Relay & protection Panels (with automation) | LS | 1 |  | 0
34 | Spare-420kV CVT 1 | SET | 1 |  | 0
35 | 1.1kV grade Control Cables (PVCinsulated) along withlugs,glands,straight joints &accessories,etc. | LS | 1 |  | 0
36 | 1.1kV grade Power Cables (PVCinsulated)along withlugs,glands,straight joints &accessories,etc. | LS | 1 |  | 0
37 | Fabrication, galvanising and supply of Lattice Structures (MS Steel),to be designed during detailed engineering, for towers, beams andequipment support structure including pack plates / packwashers andgusset plates excluding fasteners and foundation bolts | MT | 140 |  | 0
38 | Fabrication, galvanising and supply of Lattice Structures (HT Steel),to be designed during detailed engineering, for towers, beams andequipment support structure including pack plates / packwashers andgusset plates excluding fasteners and foundation bolts | MT | 260 |  | 0
39 | Fabrication, galvanising and supply of fasteners ( nuts, bolts andwashers ) including step bolts for lattice and pipe structures to bedesigned during detailed engineering | MT | 15 |  | 0
40 | Fabrication, galvanising and supply of foundation bolts including nuts,checknut and washers for lattice and pipe structures to be designedduring detailed engineering | MT | 26 |  | 0
41 | LIU - FO PATCH PANEL-12 PORT | EA | 3 |  | 0
42 | WAMS Miscellaneous - Armored Fibre Optic Cable and associatedtermination (e.g. L2 Switch) for connecting PMU panels located indifferent control room of a station | EA | 1 |  | 0
43 | SUBSTATION GRADE LAYER 3 LAN SWITCH | EA | 1 |  | 0
44 | SUBSTATION GRADE LAYER 2 LAN SWITCH | EA | 2 |  | 0
45 | WAMS Hardware - Time System (GPS receiver) | EA | 2 |  | 0
46 | PMU with GPS Clock (clock can be either internal or external) | EA | 2 |  | 0
47 | OPGW Fibre Optic Distribution Panel (FODP): Indoor Type: 96F | EA | 1 |  | 0
48 | GI FLEXIBLE CONDUIT INSTALLATION HARDWARE FOR APPROAH CABLING | EA | 150 |  | 0
49 | GI ELBOW INSTALLATION HARDWARE FOR APPROAH CABLING | EA | 300 |  | 0
50 | GI PIPE INSTALLATION HARDWARE FOR APPROACH CABLING | KM | 2 |  | 0
51 | 24F (DWSM) APPROACH FIBRE OPTIC CABLE | KM | 2 |  | 0
52 | Equipment Cabinets For SDH | EA | 1 |  | 0
53 | TRIBUTARY INTERFACE-GIGABIT ETHERNET INTERFACES 10/100 MBPS WITH LAYER-2 SWITCHING (MINIMUM 2 NOS.) | SET | 1 |  | 0
54 | ETHERNET INTERFACE 10/100 BASE T WITH LAYER-2 SWITCHING (MIN 8INTERFACES PER CARD) | EA | 2 |  | 0
55 | TRIBUTARY INTERFACE- E1 INTERFACE (MINIMUM 16 NOS.) | SET | 2 |  | 0
56 | S16.1 SFP | EA | 4 |  | 0
57 | SDH EQUIPMENT (STM-16 MADM UPTO 5 MSP PROTECTED DIRECTIONS)-BASEEQUIPMENT (COMMON CARDS, CROSS CONNECT/CONTROL CARDS, OPTICAL BASECARDS, POWER SUPPLY CARDS, POWER CABLING, OTHER HARDWARE ANDACCESSORIES INCLUDING SUB RACKS, PATCH CORD, DDF ETC FULLY EQUIPEDEXCLUDING OPTICAL INTERFACE & TRIBUTARY CARDS | EA | 1 |  | 0
58 | SDH EQUIPMENT (STM-16 MADM UPTO 5 MSP PROTECTED DIRECTIONS)-COMMONCARDS, CROSS-CONNECT/CONTROL CARDS, OPTICAL BASE CARD, POWER SUPPLYCARDS, POWER CABLING, OTHER HARDWARE & ACCESSORIES (EACH). | SET | 1 |  | 0
59 | S16.1 SFP | EA | 1 |  | 0
60 | TRIBUTARY INTERFACE- E1 INTERFACE (MINIMUM 16 NOS.) | SET | 1 |  | 0
61 | ETHERNET INTERFACE 10/100 BASE T WITH LAYER-2 SWITCHING (MIN 8INTERFACES PER CARD) | EA | 1 |  | 0
62 | TRIBUTARY INTERFACE-GIGABIT ETHERNET INTERFACES 10/100 MBPS WITH LAYER-2 SWITCHING (MINIMUM 2 NOS.) | SET | 1 |  | 0
63 | PRE CONNECTORIZED OPTICAL FIBER PATCH CORDS(10 MTRS) â€“ PACK OF SIXPATCH CORDS | SET | 1 |  | 0
64 | 24F (DWSM) APPROACH FIBRE OPTIC CABLE | KM | 0.5 |  | 0
65 | GI PIPE INSTALLATION HARDWARE FOR APPROACH CABLING | KM | 0.07 |  | 0
66 | GI ELBOW INSTALLATION HARDWARE FOR APPROAH CABLING | EA | 8 |  | 0
67 | GI FLEXIBLE CONDUIT INSTALLATION HARDWARE FOR APPROAH CABLING | EA | 6 |  | 0
| Total of F&I Chrges |  |  |  | 0
# In case the bidder leaves the cell for confirmation of the SAC and/or GST rate “blank”, the SAC and corresponding GST rate indicated by the Employer shall be deemed to be the one confirmed by the Bidder.
Date : |  |  |  | Printed Name :
Place : |  |  |  | Designation :

## Sch-3 Installation
POWER GRID CORPORATION OF INDIA LTD.
WRTS-II,RHQ,VADODARA
WRTS-II,RHQ,VADODARA
Construction of 2 no’s 400kV Line Bays (including associated tie bays) at Mandsaur S/s for Interconnection of 3x504MW PSP of Greenko MP01 IREP Pvt. Ltd. through Greenko MP01 – Mandsaur PS 400kV D/c line
Schedule 3 Installation Services
Bidder’s Name and Address (Sole Bidder) : | [8 empty] | To:
#REF! | [8 empty] | Contract Services
Address : | [8 empty] | Power Grid Corporation of India Ltd.,
Western Region Transmission syatem -II
Plot No. 54, Near Riya revati resort ,
S. NO. | Activity Description | Service Code | (Service Accounting Codes) | Rate of GST applicable ( in %) | Whether rate of GST in column ‘3’ is confirmed. If not indicate applicable rate of GST # | Installation Charges | Unit | Quantity | Unit Erection Charges excluding GST | Total Erection Charges excl GST | Total Tax GST
1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
1 | 400 kV 63kA AIS EQUIPMENT | 100000274 | 998736 | 18% |  | 420 kV, 3000A, 63KA, 1-Phase CurrentTransformer with 120% extended currentrating | EA | 12 |  | 0 | 0
2 | 400 kV 63kA AIS EQUIPMENT | 100000275 | 998736 | 18% |  | 420 kV, 4400 pF Capacitive Voltage Transformer (1-Phase) | EA | 6 |  | 0 | 0
3 | 400 kV 63kA AIS EQUIPMENT | 100000287 | 998736 | 18% |  | 420kV, 3150A, 63KA, Isolator (3-phase)(Double Break) with one E/S | EA | 10 |  | 0 | 0
4 | 400 kV 63kA AIS EQUIPMENT | 100000328 | 998736 | 18% |  | 336kV Surge Arrester (1-phase) | EA | 6 |  | 0 | 0
5 | 400 kV 63kA AIS EQUIPMENT | 100000340 | 998736 | 18% |  | 420 kV Bus Post Insulator (Except for wave traps) | EA | 90 |  | 0 | 0
6 | 400 kV 63kA AIS EQUIPMENT | 100000266 | 998736 | 18% |  | 420kV, 3150A, 63KA Circuit Breaker(3-Phase) with closing resistor(withsupport structure) | EA | 2 |  | 0 | 0
7 | 400 kV 63kA AIS EQUIPMENT | 100000267 | 998736 | 18% |  | 420kV, 3150A, 63kA Circuit Breaker(3-Phase) without closing resistor(with support structure) | EA | 2 |  | 0 | 0
8 | Erection Hardware 400kV | 100000338 | 998731 | 18% |  | Erection Hardware for 400kV I type layout-Bus Work (For one diameter) as per specification | SET | 3 |  | 0 | 0
9 | Erection Hardware 400kV | 100000329 | 998731 | 18% |  | Erection Hardware for 400kV I type layout-Line bay as per specification | SET | 2 |  | 0 | 0
10 | Erection Hardware 400kV | 100000335 | 998731 | 18% |  | Erection Hardware for 400kV I type layout-Spare bay of half dia as per specification | SET | 2 |  | 0 | 0
11 | 400 kV Control and Relay panel | 100038446 | 998736 | 18% |  | Augmentation of Substation automation System for 400kV Tie bay as per Technical Specification : Other Make | EA | 2 |  | 0 | 0
12 | 400 kV Control and Relay panel | 100038444 | 998736 | 18% |  | Augmentation of Substation automation System for 400kV Main bay as per Technical Specification : Other Make | EA | 2 |  | 0 | 0
13 | 400 kV Control and Relay panel | 100000735 | 998736 | 18% |  | Augmentation of existing 400kV bus bar protection scheme.(No. of bays as per specification)-(with Automation) | SET | 1 |  | 0 | 0
14 | 400 kV Control and Relay panel | 100016779 | 998736 | 18% |  | 400kV Circuit Breaker Relay Panel (with Automation) | EA | 2 |  | 0 | 0
15 | 400 kV Control and Relay panel | 100000730 | 998736 | 18% |  | 400kV Line Protection Panel (with Automation) | EA | 2 |  | 0 | 0
16 | PLCC Equipment | 100002042 | 998734 | 18% |  | 400kV,3150A,0.5mH ,63kA Line Trap | EA | 4 |  | 0 | 0
17 | PLCC Equipment | 100000883 | 998734 | 18% |  | 420 kV ,1 phase Bus Post Insulators for Line Traps | EA | 12 |  | 0 | 0
18 | AC+FIRE PROTN+ILLUM FOR SPR | 100001882 | 995463 | 18% |  | Air conditioning system for Switchyard Panel Room of 6m length | SET | 1 |  | 0 | 0
19 | AC+FIRE PROTN+ILLUM FOR SPR | 100000975 | 995461 | 18% |  | 4.5 kg CO2 type Portable Fire extinguisher | EA | 1 |  | 0 | 0
20 | AC+FIRE PROTN+ILLUM FOR SPR | 100002062 | 995461 | 18% |  | Fire Detection and Alarm System for Switchyard Panel Room of 6 m length | SET | 1 |  | 0 | 0
21 | AC+FIRE PROTN+ILLUM FOR SPR | 100001116 | 998739 | 18% |  | Illumination System for switchyard panel room of 6 m length | SET | 1 |  | 0 | 0
22 | Illumination System (Outdoor) | 100004930 | 998731 | 18% |  | LED Flood Light Luminaries Type-FL-1 as per technical specification | EA | 30 |  | 0 | 0
23 | Illumination System (Outdoor) | 100004931 | 998731 | 18% |  | LED Flood Light Luminaries Type FL-2 (250W) as per technical specification | EA | 30 |  | 0 | 0
24 | Illumination System (Outdoor) | 100001024 | 998731 | 18% |  | Sub Lighting panel (outdoor) type SLP (Switchyard and Street Lighting) | EA | 4 |  | 0 | 0
25 | Illumination System (Outdoor) | 100001021 | 995461 | 18% |  | Lighting Panel type ACP-2 as per technical specification | EA | 2 |  | 0 | 0
26 | Main Earthmat | 100003103 | 998731 | 18% |  | 40 mm MS rod for Main Earthmat | KM | 4 |  | 0 | 0
27 | VISUAL MONITORING SYSTEM | 100002500 | 998731 | 18% |  | Color IP camera, with PAN, TILT and ZOOM facilities, alongwith all required Items, Accessories, Line Interface units, Fiber patchcords, Power supply units, Junction Boxes, Cables, Fiber Optic Cables, etc., and including Integration in existing Hardware andSoftware for Augmentation of Visual Monitoring System as per technical specification. | SET | 1 |  | 0 | 0
28 | Power & Control cables(LS) | 100002181 | 998736 | 18% |  | 1.1kV grade Power Cables (PVCinsulated)along withlugs,glands,straight joints &accessories,etc. | LS | 1 |  | 0 | 0
29 | Power & Control cables(LS) | 100002182 | 998736 | 18% |  | 1.1kV grade Control Cables (PVCinsulated) along withlugs,glands,straight joints &accessories,etc. | LS | 1 |  | 0 | 0
30 | CIVIL WORKS | 100016667 | 995451 | 18% |  | Cable Trench including all types of crossings, all metallic works and sump pit including concrete and reinforcement steel Section2A-2A | M | 200 |  | 0 | 0
31 | CIVIL WORKS | 100015791 | 995454 | 18% |  | All civil works for Drains construction of Section A-A including crossings if any as per technical specification and tender drawingscomplete in all respect with all labour and materials. | M | 300 |  | 0 | 0
32 | CIVIL WORKS | 100015792 | 995454 | 18% |  | All civil works for Drains construction of Section B-B including crossings if any as per technical specification and tender drawingscomplete in all respect with all labour and materials. | M | 600 |  | 0 | 0
33 | CIVIL WORKS | 100015793 | 995454 | 18% |  | All civil works for Drains construction of Section C-C including crossings if any as per technical specification and tender drawingscomplete in all respect with all labour and materials. | M | 400 |  | 0 | 0
34 | CIVIL WORKS | 100015794 | 995454 | 18% |  | All civil works for Drains construction of Section D-D including crossings if any as per technical specification and tender drawingscomplete in all respect with all labour and materials. | M | 200 |  | 0 | 0
35 | CIVIL WORKS | 100003437 | 995454 | 18% |  | Switchyard Panel Room - Civil Works. All civil works as per drawing and specifications complete, including - brickwork, finishing(external and internal), windows etc. However, excavation, PCC, RCC and reinforcement shall be paid separately as per BPS. | M2 | 30 |  | 0 | 0
36 | CIVIL WORKS | 100001721 | 995428 | 18% |  | Supplying, filling and compacting stone boulders mixed with sand under foundations, roads, cable trenches, drains etc in layers notexceeding 250mm thickness including ramming, watering compacting | M3 | 1000 |  | 0 | 0
37 | CIVIL WORKS | 100008611 | 995477 | 18% |  | Swtichyard fencing: Providing and fixing fencing of GI barbed wire consisting of galvanized MS tubular posts at 3 m intervals; GIbarded wire shall run horizontally from post to post at a spacing of 300 mm (vertically) and a cross formation in each panel,complete as per technical specification and drawing. | M | 100 |  | 0 | 0
38 | CIVIL WORKS | 100002911 | 995432 | 18% |  | Earthwork in excavation & filling in all types of soil and soft/disintegrated rock in open areas/nallas/channels, to the requiredslopes, shapes, levels, elevations and profile, including trimming of bottom and slopes of excavation, bailing out rain(dewatering), pumping, removal of slush, preparing embankments/marginal banks, loosening, dressing, spreading material in layers notexceeding 200mm, as per direction of Engineer-in-Charge, water flooding, compacting to achieve 95% consolidation at optimum moisturecontent, finishing etc. all complete, for all leads and lifts within leveling boundary, including disposal of surplus earth andstacking of unsuitable material within a lead of 2.0 Km beyond substation boundary, with all labour, material, tools, tackles andequipment, safeguards and incidentals, Royalty,taxes etc. as necessary, as per drawings, specification and directions of theEngineer-in-Charge. Clearing of jungle is included in this item. (Only excavation/cutting will be measured for payment purpose.) | M3 | 25000 |  | 0 | 0
39 | CIVIL WORKS | 100002583 | 995432 | 18% |  | Supply of earth (excluding rock & boulders) at site including royalty, carriage and filling in specified areas in layers notexceeding 200mm in depth, compacting under optimum moisture condition to achieve 95% of Proctor density, finishing etc. allcomplete, for all leads & lifts, with all labour, material, tools, tackles, equipments, safeguards & incidentals as necessary as perdrawings, specification and direction of the Engineer- in- Charge. | M3 | 5000 |  | 0 | 0
40 | CIVIL WORKS | 100002914 | 995432 | 18% |  | Earthwork in excavation in Hard rocks in open areas/nallas/ channels, to the required slopes, shapes, levels, elevations andprofile, including trimming of bottom and slopes of excavation and stacking and disposal of rock for a lead up to 2.0 KM beyondleveling boundary and all lifts , with all labour, material, tools, tackles and equipment, safeguards and incidentals,Royalty,taxesetc. as per directions of the Engineer-in-Charge. Serviceable material if available shall be stacked at site as identified byEngineer-in-Charge.(50% void deduction from stack measurement) | M3 | 10000 |  | 0 | 0
41 | CIVIL WORKS | 100007097 | 995454 | 18% |  | Dry stone pitching 22.5 cm thick including supply of stones and preparing surface complete including construction of 600 mm high and230 mm wide cement concrete (1:3:6) (1 cement : 3 coarse sand (zone-III) : 6 graded stone aggregate 20 mm nominal size) toe wall atthe lowest portion of stone pitching area etc. completed as per theinstruction of Engineer-In-Charge. . | M2 | 2500 |  | 0 | 0
42 | CIVIL WORKS | 100004463 | 995456 | 18% |  | Random Rubble masonry for Retaining wall with locally available stone in cement sand mortar 1:6 (1 Cement: 6 coarse sand) includinglevelling up with cement concrete 1:6:12 (1 cement : 6 coarse sand : 12 graded stone aggregate 20 mm nominal size), Raised and Cutpointing on exposed surface, weep holes/PVC pipe sleeves of 100 mm dia (medium class) @ 1 metre C/C staggered . The top of theretaining wall to be provided with cement concrete 1:2:4. However items of excavation, concrete (1:2:4) shall be payable underrespective items of BPS | M3 | 250 |  | 0 | 0
43 | CIVIL WORKS | 100001542 | 995429 | 18% |  | Dismantling & Re-erection of Existing fence | M | 300 |  | 0 | 0
44 | CIVIL WORKS | 100001480 | 995454 | 18% |  | Cable Trench including all types of crossings, all metallic works and sump pit including concrte and reinforcement steel Section 4-4 | M | 100 |  | 0 | 0
45 | CIVIL WORKS | 100001479 | 995454 | 18% |  | Cable Trench including all types of crossings, all metallic works and sump pit including concrte and reinforcement steel Section 3-3 | M | 200 |  | 0 | 0
46 | CIVIL WORKS | 100001478 | 995454 | 18% |  | Cable Trench including all types of crossings, all metallic works and sump pit including concrte and reinforcement steel Section 2-2 | M | 200 |  | 0 | 0
47 | CIVIL WORKS | 100001409 | 995462 | 18% |  | Supplying and erecting dewatering pumps-5 HP | EA | 1 |  | 0 | 0
48 | CIVIL WORKS | 100008110 | 995421 | 18% |  | 3.75m wide Bitumen road with earthen shoulder including 100 mm dia RCC Hume Pipe @ 100 metre interval as per drawing and TS (as perDSR item no 16.35 and 16.30.1) and including 225 mm thick WBM in three equal layers of 75 mm each as per CPWD specification. | M2 | 2700 |  | 0 | 0
49 | CIVIL WORKS | 100048595 | 995423 | 18% |  | Providing & laying non-woven Geo-synthetics fabric of minimum 200 GSM in separration layer between sub garde and stone spreading inswitchyard as per Technical Specification and direction of Engineer-in-Charge. | M2 | 23000 |  | 0 | 0
50 | CIVIL WORKS | 100001712 | 995428 | 18% |  | Removing,cleaning and washing of existing stones and respreading of stones in switchyard excluding PCC | M2 | 3000 |  | 0 | 0
51 | CIVIL WORKS | 100001713 | 995424 | 18% |  | Antiweed treatment | M2 | 23000 |  | 0 | 0
52 | CIVIL WORKS | 100001714 | 995428 | 18% |  | Stone spreading in switchyard excluding PCC | M2 | 20000 |  | 0 | 0
53 | CIVIL WORKS | 100001329 | 995454 | 18% |  | Steel Reinforcement | MT | 215 |  | 0 | 0
54 | CIVIL WORKS | 100001327 | 995454 | 18% |  | Providing and laying of Reinforced Cement Concrete M25 mix including pre cast, shuttering, Grouting of pockets & underpinning butexcluding steel reinforcement | M3 | 2700 |  | 0 | 0
55 | CIVIL WORKS | 100001326 | 995454 | 18% |  | Providing and laying of Plain Cement Concrete (PCC) (1:2:4) | M3 | 40 |  | 0 | 0
56 | CIVIL WORKS | 100001325 | 995454 | 18% |  | Providing and laying of Plain Cement Concrete (PCC) (1:4:8) | M3 | 320 |  | 0 | 0
57 | CIVIL WORKS | 100011662 | 995433 | 18% |  | Excavation in hard rock which require blasting (including chemical blasting and rock excavated using specialized tools) for allfoundation works including stacking, measuring, disposal etc.for all leads and lifts as per technical specification. | M3 | 5100 |  | 0 | 0
58 | CIVIL WORKS | 100004518 | 995433 | 18% |  | Excavation in all kind of soil including rock for all leads and lifts, backfilling, disposal of surplus earth within a lead up to2Km as per technical specification. The surplus earth shall be roughly graded . | M3 | 7600 |  | 0 | 0
59 | TOWER & EQP SUPPORT STR - ERECTION | 100001681 | 995455 | 18% |  | Erection of foundation bolts including nuts, checknut and washers for lattice and pipe structures to be designed during detailedengineering | MT | 26 |  | 0 | 0
60 | TOWER & EQP SUPPORT STR - ERECTION | 100001680 | 995455 | 18% |  | Erection of fasteners ( nuts, bolts and washers ) including step bolts for lattice and pipe structures to be designed duringdetailed engineering | MT | 15 |  | 0 | 0
61 | TOWER & EQP SUPPORT STR - ERECTION | 100001209 | 995455 | 18% |  | Erection of Lattice Structures (HT Steel), to be designed during detailed engineering, for towers, beams and equipment supportstructure including pack plates / packwashers and gusset plates excluding fasteners and foundation bolts. | MT | 260 |  | 0 | 0
62 | TOWER & EQP SUPPORT STR - ERECTION | 100001210 | 995455 | 18% |  | Erection of Lattice Structures (MS Steel), to be designed during detailed engineering, for towers, beams and equipment supportstructure including pack plates / packwashers and gusset plates excluding fasteners and foundation bolts | MT | 140 |  | 0 | 0
63 | PMUs for 2 400kV Line bays at Mandsaur | 170000502 | 998713 | 18% |  | Service:- Phasor Measurement Unit (PMU) | EA | 2 |  | 0 | 0
64 | PMUs for 2 400kV Line bays at Mandsaur | 170000530 | 998734 | 18% |  | WAMS TIME SYSTEM(GPS RECEIVER) | EA | 2 |  | 0 | 0
65 | PMUs for 2 400kV Line bays at Mandsaur | 170004701 | 998734 | 18% |  | SUBSTATION GRADE Layer 2 LAN SWITCH | EA | 2 |  | 0 | 0
66 | PMUs for 2 400kV Line bays at Mandsaur | 170004700 | 998734 | 18% |  | SUBSTATION GRADE Layer 3 LAN SWITCH | EA | 1 |  | 0 | 0
67 | PMUs for 2 400kV Line bays at Mandsaur | 170000504 | 998713 | 18% |  | Services:- Armored Fibre Optic Cable and associated termination equipment | LOT | 1 |  | 0 | 0
68 | PMUs for 2 400kV Line bays at Mandsaur | 170003449 | 998316 | 18% |  | INSTALLATION, TESTING AND COMMISSIONING OF LIU-FO PATCH PANEL-12 PORT | EA | 3 |  | 0 | 0
69 | PMUs for 2 400kV Line bays at Mandsaur | 170000501 | 998734 | 18% |  | Integration of PMU with the PDC (Phasor Data Concentrator) of RLDCs and respective SLDCs as required. | LOT | 1 |  | 0 | 0
70 | Service-Tele BoQ at Mandsaur | 100002812 | 998734 | 18% |  | SDH Equipment (STM-16 MADM upto 5 MSP protected directions)-Base Equipment (Common cards, Cross Connect/control cards, optical basecards, power supply cards, power cabling, other hardware and accessories including sub racks, patch cord, DDF etc fully equipedexcluding optical interface & Tributary cards | EA | 1 |  | 0 | 0
71 | Service-Tele BoQ at Mandsaur | 170000433 | 998734 | 18% |  | Optical Interface Cards/SFP# -S16.1 for SDH Equipment-STM-16 | EA | 4 |  | 0 | 0
72 | Service-Tele BoQ at Mandsaur | 100002825 | 998734 | 18% |  | Tributary interface- E1 interface (Minimum 16 nos.) | SET | 2 |  | 0 | 0
73 | Service-Tele BoQ at Mandsaur | 170000550 | 998336 | 18% |  | Ethernet Interface 10/100 Base T with Layer-2 switching (Min 8 Interfaces per card) | EA | 2 |  | 0 | 0
74 | Service-Tele BoQ at Mandsaur | 100002829 | 998734 | 18% |  | Tributary interface-Gigabit Ethernet Interfaces 10/100 Mbps with Layer -2 Switching (minimum 2 nos.) | SET | 1 |  | 0 | 0
75 | Service-Tele BoQ at Mandsaur | 170000375 | 998734 | 18% |  | Equipment Cabinets-For SDH Equipments | EA | 1 |  | 0 | 0
76 | Service-Tele BoQ at Mandsaur | 170004394 | 998336 | 18% |  | Fibre Optic Approach cabling: Including installation hardware like GI pipe, elbow, conduits, accessories etc.: 24 Fibre | KM | 2 |  | 0 | 0
77 | Service-Tele BoQ at Mandsaur | 170000356 | 998336 | 18% |  | Fibre Optic Distribution Panel (FODP): Indoor Type: FC Coupling and mounted on ETSI 19" rack or slimline rack: Type 2 (96 Fibre) | EA | 1 |  | 0 | 0
[6 empty] | Total of Schedule Items as per DSR'22 Rates (Schedule3) |  |  |  | 0 | 0
Printed Name :
Designation :

## Sch 5 Taxes
Schedule 5 Taxes and Duties not included in Schedule 1 to 3
(SUMMARY OF TAXES & DUTIES)
To:
Name |  | Contract Services
Address | …….. …… ………. ………. | Power Grid Corporation of India Ltd.,
| …….. …… ………. ………. | Western Region Transmission syatem -II
| …….. …… ………. ………. | Plot No. 54, Near Riya revati resort ,
Sama - savli road, vadodara-390008
#REF!
Sl. No. | Item Nos. |  | Total Price (in ₹)
1 | TOTAL GST on Services
a. | Total GST on Supply (indentified in Schedule-1) |  | 0
b. | Total GST on Installation Services (indentified in Schedule-2) |  | 0
2 | GRAND TOTAL [1 a] |  | 0
Date : | #REF! | Printed Name : | #REF!
Place : | #REF! | Designation : | #REF!

## Sch 6 summary
POWER GRID CORPORATION OF INDIA LTD.
WRTS-II,RHQ,VADODARA
Construction of 2 no’s 400kV Line Bays (including associated tie bays) at Mandsaur S/s for Interconnection of 3x504MW PSP of Greenko MP01 IREP Pvt. Ltd. through Greenko MP01 – Mandsaur PS 400kV D/c line
Schedule-6
Schedule 6 Grand Summary
#REF! |  | To:
Name |  | Contract Services
Address |  | Power Grid Corporation of India Ltd.,
Western Region Transmission syatem -II
Plot No. 54, Near Riya revati resort ,
Sama - savli road, vadodara-390008
Sl. No. | Description |  | Total Price (INR) | Total Price (INR)
1 | Supply - (Sch-1) (ITEMS TAB: Item 01 for BID PRICE SUMMARY Statement ) |  | 0 | 14780245
2 | Service/Installation/Erection Charges- (Sch-3) (ITEMS TAB: Item 02 for BID PRICE SUMMARY Statement ) |  | 0
3 | Total GST on Goods (ITEMS TAB: Item 03 for BID PRICE SUMMARY Statement ) |  | 0
4 | Total GST on Service/Installation/Erection (ITEMS TAB: Item 04 for BID PRICE SUMMARY Statement ) |  | 0
5 | Total F&I Charges (ITEMS TAB: Item 05 for BID PRICE SUMMARY Statement ) |  | 0
| Grand Total |  | 0
Date : |  | Printed Name :
Place : |  | Designation :