## DRS
Power Grid Corporation of India Ltd. Building of an exclusive dedicated Telecom Network for NTAMC Volume II - Technical Specification for Telecom Equipment Package for NTAMC Network
Appendix D
Data Requirement Sheets
The following sets of Data Requirement Sheets are required to be filled up by the bidders to aid in the evaluation process. The response shall be brief and to the point and shall be supported by the printed product description and other literature. However, more parameters may be required to provided in DRS during detailed engineering.
D-1 | Data Requirement Sheets for MPLS-TP
D-2 | Data Requirement Sheets for Amplifiers
D-3 | Data Requirement Sheets for Routers
D-4 | Data Requirement Sheets for TMN
NOTE- DRS for each type of offered equipment shall be filled separately by the bidder & attached with the bid

## MPLS-TP
DATA REQUIREMENTS SHEETS for MPLS-TP
Manufacturer:
Model #:
| Equipment Type | Type 1 | Type 2
(A) | Hardware Technical Specifications
1 | Dimension (mm)
2 | Weight (kg)
3 | Max. Power Supply (W)
4 | Voltage Range (V)
(B) | Board Technical Specifications
| Please mention all modules(Like Xconnect , Controller, FAN ,Power card etc.) | Dimension (mm) | Typ. Power (W) | Max. Power (W)
1 | XXXX
2 | XXXX
3 | XXXX
4 | XXXX
| Please mention all modules(Like Xconnect , Controller, FAN ,Power card etc.) | Weight (kg) | MTBF | MTTR
1 | XXXX
2 | XXXX
3 | XXXX
4 | XXXX
(C ) | System Performance
(a) | Technical Specifications | Type 1 | Type 2 | Type 3
MPLS Tunnel1:1 Switch Time
LAG Switch Time
Max. Number of Routing
Number of MPLSTunnel
Max. Number of MSP Group
Max. Number LAG Group
Max. Number LSP Protection Group
Max. Number Wrapping
Number PW
Number E-line
Number of E-LAN Service
Number of E-Tree Service
Static MAC Address
Accuracy of CAR/Shaping
Number of CAR
Number of Multicast
Number of PTP Interface
Number of Sync ETH Interface
(b) | Ethernet Functions
VLAN (IEEE 802.1Q)
Q-in-Q (IEEE 802.1ad)
9600 bytes jumbo frame
VLAN manipulation: stack/switch/strip
IGMP snooping (V1/V2/V3)
Flow control (IEEE 802.3x)
(c) | OAM
MPLS-TP OAM (G.8113.1/G.8113.2)
ITU-T Y.1731 End-to-end Performance Monitoring and AIS
802.3 Link OAM
802.1 CFM OAM
(d) | Network Protection
LSP 1:1 linear protection
LSP SNC protection
LSP ring protection
Single segment (SS) pseudowire 1:1 protection
Multi-segment (MS) pseudowire 1:1 protection
802.1AX Link Aggregation (UNI/NNI) with LACP
MSP 1+1/1:1
RSTP (IEEE 802.1Q)
Link Pass-Through (LPT)
(e) | Quality of Service and Traffic Management
L2 Classification: VLAN,PRI, MAC address, TPID
L3 Classification: IP address,DSCP, port number, TOS
Connection Admission Control (CAC)
Policing (CIR, CBS, EIR, and EBS; ColorBlind Mode and Color-Aware Mode)
Shaping
Congestion Avoidance: WRED
(D) | Interfaces(All Supported interfaces)
1 | xxxx
2 | xxxx
3 | xxxx
4 | xxxx
(E) | Environmental Condition | Temperature & Relative Humidity
1 | Transport and storage
2 | Operation for long term
3 | Operation for short term
(F) | Reliability Index & Security
1 | System Availability
2 | MTTR
3 | MTBF
4 | Secure Shell (SSHv2) support for remote login and file transfer
5 | SFTP (Secure File Transfer Protocol)
6 | Allows the administrator to define actions permitted for each user
7 | Auto-logout function to logout the idle session
(G) | TransPonder/Muxponder/Line Module 100G
1 | Specify equipped Bit Rates:
2 | Spectral Characteristics(Maximum -20 dB spectral width)
3 | Laser Class
4 | Data rate
5 | FEC %
6 | B2B
7 | Input frequency tolerance
8 | Framing Baud Rate
9 | Modulation format
10 | Pulse shaping
11 | Eye Pattern Mask
12 | Extinction ratio
13 | Channel spacing
14 | Central Frequency Deviation
15 | FEC coding gain
16 | Wavelength range:
17 | Wavelength locking time
18 | Absolute wavelength stability(over life & temperature)
19 | Laser line width (unmodulated)
20 | Side mode suppression ratio
21 | Tx power
22 | output power stability
23 | Chromatic Dispersion tolerance
24 | PMD tolerance
25 | Rx input power range
26 | Receiver reflectance at RS
27 | Pre-FEC BER
28 | BER / error floor (post-FEC) < 1e-15
(H) | 10G DWDM XFP/SFP+
1 | Bit Rate
2 | Frequency Range
3 | Frequency Spacing
4 | Frequency Stability
5 | Transmission Distance
6 | Connector Type
7 | Transmitter
8 | Laser Type
9 | Mean Output Power(Max)
10 | Mean Output Power(Min)
11 | Minimum Extinction ratio
12 | Eye Mask
13 | SBS Suppression
14 | Optical Path
15 | Dispersion(Max)
16 | Optocal retun Loss(Min)
17 | Discrete reflectance (Max)
18 | DGD(Max)
19 | Receiver
20 | Mean input power Load
21 | Reflectance of receiver
22 | Sensitivity path panelty
(I) | Grey Interface
1 | Application Code
2 | Fiber type
3 | Modulation
4 | Supported Distance Range [km]
5 | Laser Types
6 | Central Wavelength [nm]
7 | Max. Spectral Width [nm]
8 | Average Launch Power [dBm]
9 | Extinction Ratio [dB]
10 | Receiver Types
11 | Mini. Overload [dBm]
12 | Receiver Sensitivity @BOL [dBm]
13 | Receiver Sensitivity @EOL [dBm]
14 | Optical Path Penalty [dB]
15 | Max. Reflect. of receiver [dB]
16 | Digital Diagnostics Function
17 | ITU-T G.691 Mask Margin
(J) | E1 Interface
1 | Bit Rate
2 | Code
3 | Connector Type
4 | Symmetry
5 | Load Impendance
6 | Peak Voltage (Signal Transfer)
7 | Peak Voltage (No Signal)
8 | Return Loss
9 | Input jitter acceptance
10 | Maximum output jitter in the absence of i/p jitter
11 | Jitter transfer characteristic:
(K) | Mode of operation: | Yes/No
1 | Unidirectional
2 | Bidirectional (single fibre operation)
(L) | Amplifiers
1 | Output power Range
2 | Receive Maximum/Minimum power
3 | Laser class
4 | Wavelength range
5 | Gain
6 | Gain ripple
7 | EDFA tilt for minimum gain ripple
8 | Noise figure
9 | Gain flatness
10 | Multichannel Gain Variation
11 | Multichannel Gain-change difference
12 | Raman Amplifier safey precations and measure
13 | VOA range
14 | Amplifier management
15 | OPTICAL SUPERVISORY CHANNEL MODULE
15.1 | OSC transmitter wavelength (nm)
15.2 | OSC transmitter output (dBm)
15.3 | OSC receiver sensitivity (dBm)
15.4 | Insertion loss of return path (dB)
15.5 | Network Management
(M) | POWER SUPPLY UNIT
1 | Nominal supply voltage:
2 | Power supply variation
3 | Guaranteed performance:
4 | Operation without damage:
5 | Polarity:
6 | Whether 220 Vac mains operation capability inbuilt
7 | List derived DC voltages:
8 | Module cut of power values
9 | Total power consumption (Fully equipped incl. service channels)
10 | Unprotected terminal:
11 | 1+1 Protected terminal:
12 | 1+1 APS protection provided?
13 | MTBF of power supply unit:
14 | Ultimate power delivery capacity
15 | Are the following protections provided?
a | Overvoltage?
b | Undervoltage?
c | Overload?
d | Reverse polarity?
e | Other (specify)?
16 | Whether proposed equipment has distributed Power Supply?
17 | Provide AC & DC power supply requirement for each of the proposed equipment.
18 | Provide Procedure to convert OLA and Repeaters to Add Drop Multiplexer
19 | Power Distribution in Subrack by power module
20 | Expected life of Equipment
(N) | Specify Maximum span length with and without OA, Repeater for
a) 10G on G.652 and G.653 Fiber
(O) | Certifications
1 | MEF CE 2.0 Compliant: E-Line, E-LAN,E-Tree, E-Access
2 | ETSI 300 019
3 | ETSI EN 300 386 V1.6.1/EN 55022(2010)
4 | EN 60950-1
5 | Others
(P) | Equipment-level Protection
1 | PROTECTION SWITCHING
List the type of Protection Schemes supported by the Equipment
Discuss the proposed protection scheme
2 | Switching modes available(For Modules) | Yes/No
Auto?
Manual?
Remote/network management?
Switching priority:
switchover & switchback criteria:
Switch option mode & status indicators:
Switching Time
| Nominal: | ms
| Maximum: | ms
(Q) | Alarms
List all alarms supported by Equipment:
Q) | MECHANICAL AND ENVIRONMENTAL PARAMETERS
Number of Sub-Racks (including DC/DC converters, O/W muldem etc.) required for Unprotected Terminal:
1:1 Protected Terminal:
Sub-Rack mounting options:
Sub-Rack clearance requirements
Top * Bottom * Sides:
Front Access:
Rear Access:
Sub-Rack color and finish
Cabinet options available
19" ETSI?
Slim rack?
Others (specify)?
Whether Truncated Cabinet Available?
Fill for all Cabinet Types Proposed
Protection Class (IP Class):
Rack Color and Finish:
Altitude Installed:
Air flow in subrack (diagram required)
Describe Ventilation requirements:
Describe dustproofing provisions:
Electromagnetic compatibility (List standards & severity levels) (Submit Test Reports)
Noise Standards supported (Submit Test Reports )
Environmental standards supported (Submit Test Reports)

## Amplifiers
DATA REQUIREMENT SHEETS FOR OPTICAL AMPLIFIERS
Manufacturer: ______________________________
Part #: ______________________________
GENERAL PARAMETERS
(Fill for All Type of Amplifiers requred for 10G, 100G, 200G and above line rates in DWDM & DCI Box)
Seq | Parameter: | Units: | Particulars:
1 | Type of Amplifier:
2 | Source Power Supply requirements
Volts:
Current:
3 | Gain medium:
4 | Small Signal Gain:
5 | Connection loss to transmission fibre: | dB
6 | Insertion Loss: | dB
7 | System Noise Figure:
8 | Type of pump laser:
9 | Pumping Wavelength:
10 | Bit-Rate distance product:
11 | Type of optical coupler:
12 | Type of optical isolator:
13 | Operating optical bandwidth:
14 | Polarisation Gain Dependence:
15 | Can the same optical amplifier Operate at: | Yes/No
STM-1?
STM-4?
STM-16?
STM-64?
1 Gbps?
10 Gbps?
40 Gbps?
100 Gbps?
200 Gbps?
16 | Operating Bit Rates
Lower Limit:
Upper Limit:
17 | "F" Type interface? | Yes/No
POWER AMPLIFIER, PRE AMPLIFIER, LINE AMPLIFIER (ALL PROPOSED TYPES)
18 | Optical Input:
Signal wavelength:
Signal input power (max):
Signal input power (min):
End of Life :
Spectral width (-20 dB from peak):
Connector type:
Pulse shape:
Optical Reflectance:
19 | Optical Output:
Signal output power (max):
Signal output power (min):
End of Life:
Connector type:
20 | List and describe Monitor, Control and Alarm Points:
21 | Describe Network Management Interface provisions:
22 | Complete Accessibility from TMN | Yes/No
Accessibility as a Modules/ Card of the main Equipment in NMS?
Accessibility as a Sub-Equipment in the NMS?
Input Power Measurement via NMS?
Output Power Measurement via NMS?
Unreachability Alarm in NMS?

## Router
Data Requirement Sheet for IP/MPLS Routers
General Requirements of Routers
Manufacturer: _____________________________
Model Name & #:_____________________________
Sl. No. | Item Description | Core Router |  | Edge Router |  | Route Reflector |  | DC/ NOC Router
|  | Details | Remarks | Details | Remarks | Details | Remarks | Details | Remarks
1 | Switch route processing
2 | Packet forwarding rates
3 | IP logical interfaces
4 | Max. Packet size (Frame, MTU, etc)
5 | VLANs per router
6 | VLANs per interface
7 | Number of logical interfaces per port and per router
8 | Number of routes per Router
9 | Number of FIB per Router or per line card
10 | Number of L3 VPN instance per Router
11 | Number of VPLS instance per Router
12 | Number of L2VPN instance per Router
13 | Number of L3 Multicast VPN instance per router
14 | Separate routing and control plane(Y/N)
15 | Nos. of processors & its processing power with respect to the Switching plane
16 | Nos. of processors & its processing power with respect to each interface cards
17 | Nos. of processors & its processing power with respect to the control plane
18 | Nos. of VRFs per Router
19 | Nos. of routes per VRF

## TMN
Data Requirement Sheet for TMN
Sl. No | Parameter | Available -Yes/No | Particulars
Manufacturer:
Version #:
1 | What is the database software (RDBMS) offered with the EMS/NMS?
2 | Specify the Operating System of the offered EMS/NMS?
3 | What is the floor space requirement for New Delhi & Bangalore NoC?
4 | What is the AC/DC power requirement for New Delhi & Bangalore NoC?
Fault Management System:
Sl. No | Parameter | Available – Yes/No | Particulars
Manufacturer:
Version #:
Function of the software:
1 | Does the Fault Management System have inbuilt capability to (FMS) display equipment status in a graphical topological, map-type display? Is the status displayed in different colours based on status?
2 | Can the operator acknowledge and clear alarms individually as a group?
3 | Does the system provide the feature of maintaining a historical data of alarms?
4 | Are the events processed on real time basis?
5 | Is the database of FMS an in-memory database?
6 | Does the offered FMS have inbuilt capability to support alarm reduction through correlation & suppression based on object modelling?
7 | Does offered FMS allow turning the correlation rule on and off? And does it also provide pre-defined correlation rule support?
8 | Does the offered FMS have inbuilt capability to provide accessibility to affected and affected alarm details from a single point?
9 | Does the offered FMS have inbuilt capability to collect alarm and fault data from devices and EMS/EMS/NMS systems and unifiedly map, filter and process this data?
10 | Does the system support collection data over TL1, CMIP/Q3, CORBA and SNMP? Does it support original alarm data collection in modes of SYSLOG, SNMP TRAPD and probe?
11 | Does the offered FMS have inbuilt capability to convert alarm information in different data and information formats into a unified format?
12 | Does the offered FMS have high performance engine to meet requirement of integrated alarm system, and can guarantee normal running when event storm occurs. Please provide details of any benchmarks if available.
13 | Does the system support the original redundancy fault information compression and centralized alarm information processing and be able to consolidate the repetitive alarm events?
14 | Does the system provide APIs so that various scripts and small tools can be developed and executed to enhance the system functions?
15 | Can the system display alarms collected from EMSs over a network topology?
16 | No of users configurable in the offered system to allow to operate the system at the same time?
17 | No of current alarms (active alarms) can be handled at the same time?
18 | Does the system have inbuilt network failure diagnosis tools?
19 | Does the system provide the topology map view from a single central console?
20 | Does the system provide network asset inventory reports and SLA reporting for the managed network infrastructure?
Configuration Management System:
Sl. No | Parameter | Available – Yes/No | Particulars
Manufacturer:
Version #:
Function of the software:
1 | Does the offered Configuration Management System (CMS) Provide tools to establish and maintain the backbone topology and configuration information and provide graphical maps depicting the configurations? Is it possible to inspect and configure all the appropriate parameters of the Network Elements through the Graphical User Interface?
2 | Does the offered system gather descriptive information about the current configuration of the equipment, provide operator displays and prepare reports?
3 | Does the system provide tools for planning, establishing, and changing the static equipment configuration and also provide tool for changes to the equipment configuration in response to equipment failures, planned upgrades, and operator requests to take equipment offline for testing?
4 | Does the offered system provide verification testing to support new equipment installation?
5 | Does the offered CMS provide tools for downloading software upgrades from remote using EMS/NMS?
6 | Does the inventory management module have inbuilt capability to indicate complete view of the network elements and interconnecting links?
7 | Does the inventory management module have inbuilt capability to track any change in network inventory and report chronologically?
8 | Does the inventory management module generate report based on query e.g. module type, network element location etc.? Please provide details of available predefined reports.
9 | Does the offered CMS have inbuilt capability to view and edit configuration of managed devices?
10 | Does the offered system provide a inbuilt feature to view and compare different versions of the configuration files?
11 | Can privileged users select a specific version of the configuration file and restore it on the device?
12 | Does the offered system come with a feature to create common configuration as templates and applied to multiple devices? Does it provide pre-defined configuration templates ?
13 | Does the system offer inbuilt features of “intelligent roll back” while restoring previous configuration to a device where in, rather than pushing an entire old configuration back to a device, the tool should compares the current configuration with the previous configuration and calculates the commands necessary to return the device to its previous state.
14 | Does the offered system have inbuilt capability to keep a configuration history of all configurations on all devices under management, for both auditing purposes as well as to automate rollback of configurations to historical configurations?
15 | Does the offered system have inbuilt capability to support policy based configuration management with the ability to achieve total network compliance to regulatory, industry, security and operational requirements.
Provisioning Management System:
Sl. No | Parameter | Available – Yes/No | Particulars
Manufacturer:
Version #:
Function of the software:
1 | Does the offered system provide a single point of provisioning platform to handle end-to-end service provisioning (across the Core, aggregation and access)?
2 | Is the system capable of configuring the physical and logical connections of the core, aggregation and access?
Accounts Management System:
Sl. No | Parameter | Available – Yes/No | Particulars
Manufacturer:
Version #:
Function of the software:
1 | Is the offered system capable of managing physical and logical inventory of managed devices?
Performance Management System:
Sl. No | Parameter | Available – Yes/No | Particulars
Manufacturer:
Version #:
Function of the software:
1 | Does the offered system provide a feature for operator to initiate, collect, and terminate performance metrics under both normal and degraded conditions?
2 | What period (months/days) of performance history is maintained by the system?
3 | Does the offered system monitor point to point & end to end signal quality and history for individual circuits/ LSP’s?
4 | Does the system provide operator controls to monitor performance of specified events, measures, and resources?
5 | Does the system have multi tier architecture? If yes, provide details of the system architecture,
6 | Does the offered system monitor the performance and QoS of the customer, and then produce reports according to the monitoring data?
7 | Does the offered performance management system collect and report the following SLA parameters:
§ Packet delay and packet loss ratio
§ Link usage rate of the operator
§ User bandwidth usage rate
§ Network availability rate
§ CPU usage rate
§ Input/Output traffic through physical ports
§ Input/Output traffic through logical ports
§ Amount and type of unused resources in the network
8 | Does the system provide a feature to configure the frequency of data collection from network devices or EMSs?
9 | Does the system maintain the raw data and aggregated data in one database for future reporting or data input for other applications? Does the system provide manual dump or auto dump feature?
10 | Does the offered system provide feature of generating service performance reports for every customer and provide customized services tailored to each customer?
11 | Does the offered system provide flexible report generation feature in flexible formats, and with formula to analyze collected data customizable?
12 | Does the system provide different report templates for different levels of personnel e.g. system admin, marketing, sales etc. Can the system administrator reconfigure the report templates and content of the report?
13 | Does the offered performance management system provide diversified expression modes such as diagram, histogram, pie chart and table?
14 | Does the offered system provide feature to report traffic changes (including traffic of the entire network, traffic of a certain device, link utilization, type of service and application type)?
15 | Does the offered monitor the network performance threshold based on the SLA, and report alarms in the case of threshold-crossing?
16 | Does the offered system provide a GUI to import, edit and browse the new MIB, to establish new rules, to generate performance reports for newly added devices and to modify and customize new reports?
17 | Does the offered system provide a centralized API for mass data extraction, like XML or SQL form so as to integrate with other information sources (such as the NE management system or other devices not supporting the SNMP)?
18 | Does the offered system provide inbuilt feature of computation and aggregation of KPI and KQI metrics indicative of the quality of service (QoS) for various services and applications delivered over the IP/MPLS infrastructure?
19 | Does the offered system have inbuilt feature to derive KPI and KQI metrics from performance statistics, fault management data and xDR data collected from the EMS? Does it also support derivation of KPI and KQI metrics from additional sources of service performance data instrumented within the network such as signalling probes or test systems?
20 | Does the offered EMS/NMS system provide inbuilt feature of correlation and aggregation of service performance metrics from multiple sources?
21 | Does the offered system have inbuilt feature to populate resource models using inventory data obtained for EMS or other OSS platforms?
22 | Does the offered system have inbuilt support for representation of the relationships between logical and physical network resources and the subscriber services supported by those resources?
23 | Does the offered system provide inbuilt feature of monitoring defined thresholds of KPI/KQI metrics and generate alarm notifications when thresholds are violated?
24 | Does the offered system have inbuilt feature of providing root cause analysis of QoS violations through drill down feature?
25 | Does the offered system have inbuilt feature of historical reporting of KQI and KPI metric data?
26 | Does the offered system have inbuilt capability of monitoring of service availability and QoS through near real-time dynamically updated dashboard views?
27 | Does the offered system come with inbuilt features of seamless bi-directional integration to helpdesk or trouble ticketing system in future? Please provide details of supported interfaces.
Servers for EMS/NMS:
Sl. No | Parameter | Available -Yes/No | Particulars
Manufacturer:
Model #:
Function of server:
Quantity
CPU
1 | What are the number of CPUs
2 | What is the clock speed of the processor?
RAM, Cache and HDD
1 | What is the RAM in offered server?
2 | What is the cache provided in offered server?
3 | How many hard disks are configured in offered server? What is the maximum number of hard disks supported by the offered server?
General features
1 | Does the offered system have redundant power supply?
Operating System
1 | Is the offered Operating System based on 64 bit Unix or Linux platform?
2 | Is the offered operating system licensed for unlimited users?
RAS features
1 | Does the offered server have inbuilt service processor?
2 | Are the following components hot swappable – disks, power supplies, fans?
3 | Does the offered system have redundancy of critical units – processor, disk drives, fan and power supply?
SAN Storage:
Sl. No | Parameter | Available -Yes/No | Particulars
Manufacturer:
Model #:
Quantity:
1 | Does the offered SAN storage have full 4 Gbps fiber channel end-to-end architecture, and dual-ported fiber channel drives?
2 | Does the offered SAN storage support all leading operating systems? Please provide the list of supported operating systems.
3 | How many disks are configured with offered SAN Storage? Please provide details.
4 | What is the maximum number of disks supported by offered SAN storage?
5 | Does the storage support intermix of fiber channel and SATA/FATA disk drives?
6 | How many front end ports have been configured in offered SAN storage?
7 | How many back end ports have been configured in offered SAN storage?
8 | What is the minimum dedicated cache offered by offered SAN storage? What is the minimum dedicated cache offered per controller of the SAN storage?
9 | What is the cache IOPS and sequential output delivered with offered configuration of SAN storage?
10 | What are the RAID levels supported by offered SAN storage?
11 | What is the cache data battery backup provided by offered SAN storage?
12 | What is the minimum number of LUNs that can be created with offered configuration, and the maximum number of LUNs supported by offered SAN storage?
13 | Does the offered SAN storage include a management software and performance monitoring software?
14 | Does the offered SAN storage support synchronous and asynchronous replication? Please provide details.
SAN Switch:
Sl. No | Parameter | Available -Yes/No | Particulars
Manufacturer:
Model #:
Quantity:
1 | How many ports are configured in the offered SAN switch? What is the maximum scalability of the offered SAN switch?
2 | Does the SAN switch support ACL-based Port Security, Virtual Fabrics or Virtual SANs (VSANs), Port Zoning and LUN Zoning?
3 | Does the offered SAN switch support Switch-embedded applications for device management and full fabric management?
4 | Does the SAN switch support SNMP v3 via Ethernet port?
Tape Library:
Sl. No | Parameter | Available -Yes/No | Particulars
Manufacturer:
Model #:
Quantity:
1 | How many LTO Gen4 fibre drives are configured in offered tape library? What is the maximum scalability of fibre drives?
2 | How many slots are available in the offered tape library? What is the maximum scalability of slots?
3 | What is the minimum and maximum data transfer rate that can be delivered by offered tape library?
4 | Does the tape media offer read after write verify features?
5 | Does the offered tape library support remote management software? Please provide details.
6 | Is a bar code reader configured in the offered tape library?
7 | What is the native capacity of the offered cartridges?
8 | Is the offered tape library SNMP and SMI-S compliant?