| S.No | Document Volume /Section & Page no | Reference Clause | Description in Bidding documents | CLARIFICATIONS RAISED BY BIDDER | POWERGRID’s REPLY |
| --- | --- | --- | --- | --- | --- |
| Volume-II: Technical Specifications |  |  |  |  |  |
| 1 | Vol-II, # Section Project | Cl. No. 3 Exclusions | # The following items are specifically excluded from the scope of Transformer Package TR- 27 | # We Understand the same is Typo error and it is to be referred as TR - 10, Kindly confirm | Confirmed. The same is to be read as “The following items are specifically excluded from the scope of Transformer Package TR-10)..” |
| 2 | Vol-II, # Section Project | # Section Project/ Specific Requirement/ Clause no.8 | # Make and model of Digital RTCC relay shall be decided during detailed Engineering | # We request you to please confirm the same at present as the same is cost implication item. | # Make and model of Digital RTCC relay shall be decided during detailed Engineering. Bidders are to quote as per Bidding documents. |