| **S.No** | **Document**  **Volume**  **/Section &**  **Page no** | **Reference Clause** | **Description in Bidding documents** | **CLARIFICATIONS RAISED BY BIDDER** | **POWERGRID’s REPLY** |
| --- | --- | --- | --- | --- | --- |
| **Volume-II: Technical Specifications** | | | | |  |
| 1 | Vol-II,  Section Project | Clause no.2.1. a/Page no. 3 of 5 | “Design, engineering, manufacture, testing at manufacturers works, supply, transportation, unloading and delivery at site including insurance & storage, erection, testing and pre- commissioning at site for 500MVA, 400/220/33kV, 1-phase Transformers, as per BPS.”  &  Section Project/ Specific Exclusion/ Clause no.3 / Sl No: (i)/Page no. 3 of 5  “Storage platform/Foundation Block & associated civil works.” | With reference to the scope, we understand that bidder has to store the accessories at storage area subject to PCC platform for storage arrangement shall be provided by customer.  Please Confirm. | Technical requirement of storage platform is ample clear in Bidding documents.  Storage platform/Foundation Block & associated civil works are not envisaged under present scope. However, storage of spare unit in compliance to clause 9 of Section Project is under present scope. |
| 2 | Vol-II,  Section Project | Clause no.3 / Sl No: (iv) / Page no. 3 of 5 | Civil works for Road within the boundary of all substations. | We understand that the Internal Access Roads Until the Site / Plot (including necessary maintenance / clearance from obstructions due to natural or local events or weather or any strengthening of roads or modification of any culverts/drains/firefighting pipe line/street lighting system / road/fence, to make the road accessible / motorable/ making of any difference in FGL) are made available by the Owner (or by Owner through relevant authorities) to the Contractor for the Project Works i.e. Movement of Heavy Vehicles / Construction Vehicles, Transportation of project Personnel, Equipment etc.  Please Confirm. | Specification is amply clear. In line with Clause 3(iv) of Section Project, Civil works for Road within the boundary of all substations is under specific exclusion.  Bidders are also to refer to Clause no. 8.3.19 of Technical Specification: GTR & Quote accordingly. |