| Sl. No. | Clause/ Drg. No. | Existing provision | Amended provision |
| --- | --- | --- | --- |
| Volume-III (Bid Price Schedule) |  |  |  |
|  | Schedule -3 (Civil Portion) in BPS in Vol-III | Description; Unit; Quantity. Antiweed Treatment; Sqm; 14,200. | Description; Unit; Quantity. Antiweed Treatment; Sqm; 16,200. |
|  | Schedule -3 (Civil Portion) in BPS in Vol-III | - | Description; Unit; Quantity. Removing, cleaning and washing of existing stones and respreading of stones in switchyard after doing Anti-weed treatment; Sqm; 2,000. |
|  | The existing excel file ‘SS45-BPS’ stands replaced with ‘SS45-BPS rev-I’ after incorporating the above modification. |  |  |
|  | Safety Pact enclosed |  |  |
| Volume-II; TECHNICAL SPECIFICATIONS |  |  |  |
|  | Section Project Clause no . 2.3.1.1 (D) | D. Erection, Testing & commissioning of owner supplied Wave traps (including associated Bus Post Insulators and support structure) (to be pedestal mounted). | D. Supply, Erection, Testing & commissioning of Wave traps (including associated Bus Post Insulators and support structure) (to be pedestal mounted). |
|  | Vol-II Technical Specification, Section GTR Rev 14 Clause No. 24.1(ii) (b) | Technical requirements for 765/400/220/132/110kV* Air Insulated Switchgear (AIS) Equipment* (i.e Circuit Breaker, Isolator, Current Transformer, Capacitive Voltage transformer, Inductive Voltage transformer, Surge Arrester and Wave Trap) Contractor shall furnish performance guarantee for an amount of 10% of the ex-works cost of the equipments(s)* and this performance guarantee shall be in addition to the contract performance guarantee to be submitted by the contractor. | Technical requirements for 765/400/220/132/110kV* Air Insulated Switchgear (AIS) Equipment* (i.e Circuit Breaker, Isolator, Current Transformer, Capacitive Voltage transformer, Inductive Voltage transformer, Surge Arrester and Wave Trap) Contractor shall furnish performance guarantee for an amount of 3% of the ex-works cost of the equipments(s)* and this performance guarantee shall be in addition to the contract performance guarantee to be submitted by the contractor. |
|  | Vol-II Technical Specification, Section GTR Rev 14 Clause No. 24.1(ii) (c) | Technical Requirement for 765kV class Transformer the collaborator shall furnish performance guarantee for an amount of 10% of the ex-works cost of such equipment(s) and this performance guarantee shall be in addition to contract performance guarantee to be submitted by the contractor | Technical Requirement for 765kV class Transformer the collaborator shall furnish performance guarantee for an amount of 3% of the ex-works cost of such equipment(s) and this performance guarantee shall be in addition to contract performance guarantee to be submitted by the contractor |
|  | Vol-II Technical Specification, Section GTR Rev 14 Clause No. 24.3(ii) (c) | Technical Requirement for 765kV class Reactor the collaborator shall furnish performance guarantee for an amount of 10% of the ex-works cost of such equipment(s) and this performance guarantee shall be in addition to contract performance guarantee to be submitted by the contractor. | Technical Requirement for 765kV class Reactor the collaborator shall furnish performance guarantee for an amount of 3% of the ex-works cost of such equipment(s) and this performance guarantee shall be in addition to contract performance guarantee to be submitted by the contractor. |
|  | Vol-II Technical Specification Section GTR Rev 14 Clause No. 24.4(ii) (c) | Technical Requirement for 400kV, 220kV, 132kV and 110kV class Transformer the collaborator shall furnish performance guarantee for an amount of 10% of the ex-works cost of such equipment(s) and this performance guarantee shall be in addition to contract performance guarantee to be submitted by the contractor. | Technical Requirement for 400kV, 220kV, 132kV and 110kV class Transformer the collaborator shall furnish performance guarantee for an amount of 3% of the ex-works cost of such equipment(s) and this performance guarantee shall be in addition to contract performance guarantee to be submitted by the contractor. |
|  | Vol-II Technical Specification, Section GTR Rev 14 Clause No. 24.5(ii) (c) | Technical Requirement for 400kV, 220kV and 132kV class Reactor the collaborator shall furnish performance guarantee for an amount of 10% of the ex-works cost of such equipment(s) and this performance guarantee shall be in addition to contract performance guarantee to be submitted by the contractor. | Technical Requirement for 400kV, 220kV and 132kV class Reactor the collaborator shall furnish performance guarantee for an amount of 3% of the ex-works cost of such equipment(s) and this performance guarantee shall be in addition to contract performance guarantee to be submitted by the contractor. |
|  | Vol-II Technical Specification Section GTR Rev 14 Clause No. 24.15(ii) (b) | Technical Requirements for LT Transformer the contractor shall furnish performance guarantee for an amount of 10% of the ex-works cost of the equipment(s) and this performance guarantee shall be in addition to contract performance guarantee to be submitted by the contractor. | Technical Requirements for LT Transformer the contractor shall furnish performance guarantee for an amount of 3% of the ex-works cost of the equipment(s) and this performance guarantee shall be in addition to contract performance guarantee to be submitted by the contractor. |
|  | Vol-II Technical Specification Section GTR Rev 14 Clause No. 24.16(ii) (b) | Technical Requirements for Composite Long Rod Polymer Insulator (765kV & 400kV) Contractor shall furnish performance guarantee for an amount of 10% of the exworks cost of the equipments(s)* and this performance guarantee shall be in addition to the contract performance guarantee to be submitted by the contractor. | Technical Requirements for Composite Long Rod Polymer Insulator (765kV & 400kV) Contractor shall furnish performance guarantee for an amount of 3% of the exworks cost of the equipments(s)* and this performance guarantee shall be in addition to the contract performance guarantee to be submitted by the contractor. |
|  | Vol-II Technical Specification Section GTR Rev 14 Clause No. 24.18(ii) (b) | Technical Requirements for Analog and Digital PLCC panels (765kV, 400kV, 220kV& 132kV) contractor shall furnish performance guarantee for an amount of 10% of the ex-works cost of the equipment(s) and this performance guarantee shall be in addition to contract performance guarantee to be submitted by the contractor. | Technical Requirements for Analog and Digital PLCC panels (765kV, 400kV, 220kV& 132kV) contractor shall furnish performance guarantee for an amount of 3% of the ex-works cost of the equipment(s) and this performance guarantee shall be in addition to contract performance guarantee to be submitted by the contractor. |