| ### Sr. No | ### Clause No. | ### Existing Clause | ### Bidder’s Query | ### Clarification |
| --- | --- | --- | --- | --- |
| 1. | Sl. No. B.3 (ii) (Appendix -2, Section-VI- Sample forms & procedures, Volume-I- conditions of contracts. | B.3 Conductor and Earthwire Accessories: (ii) Mid Span Compression Joint, Repair Sleeve, Spacer Damper/Bundle Spacer/Vibration Damper and Rigid Spacer for Conductor and T-Connector for Conductor. EC1 = EC0 [0.20 + a x (A1/A0) + l x (L1/L0)] - EC0 Where, a =Co-efficient of EC Grade Aluminum Ingots, Value of which shall be between 0.63 & 0.67. l = Co-efficient of labour, Value of which shall be between 0.13 & 0.17. and the sum of a & l shall be 0.80. | As per appendix -2 Price adjustment PV is applicable on Vibration Damper for ACSR Lapwing Conductor, However as per the formula the raw material on which PV is applicable is mentioned as EC Grade Aluminium Ingots and labour, whereas, as per earlier tenders and standard practice, the raw material on which PV is applicable should be Electrolytic High Grade Zinc, Basic Metal & Labour. We request you to kindly modify the same & confirm. | Refer Amendment no. III. |
| 2 | Section-I Technical specification – Clause- 1.1.5 | In case, part quantity of Tower/Tower Parts and other line material viz. insulators, earthwire, hardware fittings, conductor & earthwire accessories etc. are supplied by the Employer or other Supplier, the contractor shall take delivery, carry out (unloading & stacking), ensure safe custody of materials at their stores including insurance cover as required &install the same in the transmission lines as stipulated in this specification. Some quantity of owner supplied transmission line items i.e Tower / Towers parts, Conductors, Insulators, hardware fittings and accessories for conductor & earth wire will be available in the existing stores located at: 1) Kherbari Biswanath Chariali Dist : Biswanath, Assam 2) Bihapukhuri Biswanath Chariali Dist: Biswanath, Assam 3) Kasamari North Lakhimpur Dist : Lakhimpur, Assam 4) Pathali pahar North Lakhimpur Dist : Lakhimpur, Assam Dist : Lakhimpur, Assam The contractor, upon direction from Employer shall use the same for execution of the transmission line. In this regard, the responsibility of loading - unloading, transportation etc of these items from the existing stores till use on the line shall be that of the contractor and no additional cost shall be paid by Employer. | As per the Cl No. 1.1.5, Section-I Technical Specification, it is mentioned that some quantity of owner supplied transmission line items i.e. tower/tower parts, conductor, insulators, hardware fittings and accessories for conductor & earth wire will be available in the existing stores. However, as per price schedule, we have to quote for transportation rates for Tower, Earthwire, Insulator and Hardware fittings to be transported from POWERGRID designated store to designated site, but conductor is inadvertently missing in price schedule. We understand that the transportation of conductor to our designated site store will be in scope POWERGRID. Please confirm | It is confirmed that the transportation of conductor to designated site store is in the scope of POWERGRID |
|  |  |  | As per the Cl No. 1.1.5, Section-I Technical Specification, it is mentioned that some quantity of owner supplied transmission line items i.e. tower/tower parts, conductor, insulators, hardware fittings and accessories for conductor & earth wire will be available in the existing stores. We understand that, if any test to be conducted of all line material items, will be in POWERGRID’s scope. Please confirm | While issuing material from POWERGRID’s stores, only healthy and good condition material verified from site shall be issued to the contractor. |
|  |  |  | As per the Cl No. 1.1.5, Section-I Technical Specification, it is mentioned that some quantity of owner supplied transmission line items i.e. tower/tower parts, conductor, insulators, hardware fittings and accessories for conductor & earth wire will be available in the existing stores. We understand that after any defects arising out of items issued from POWERGRID store will be in POWERGRID’s scope and hardware fittings and insulators would be issued in complete set. Please confirm | While issuing material from stores, only healthy and good condition material verified from site shall be issued to the contractor for transportation to the designated sites. The contractor has the responsibility of proper loading, transportation, unloading and stacking of material. The hardware fittings shall be issued in full set and the disc insulators shall be issued on number basis. |