| ### Sr. No | ### Clause No./Doc. Ref. | ### Existing Provisions of the Bidding Documents | ### Amended as |
| --- | --- | --- | --- |
| 1 | Section-XI of Technical Specification, Volume-II | Bid Drawings for tower packages TW2B | Following drawings of hardware fittings for 400kV twin ACSR Lapwing conductor have been added. Sl. No; Description; Drawing No. 1; Single suspension hardware fittings; CC/ENGG/TL/400kV/TWIN/LAPWING/SSI. 2; Double Tension hardware fittings; CC/ENGG/TL/400kV/TWIN/LAPWING/DT. 3; Single Tension hardware fittings; CC/ENGG/TL/400kV/TWIN/LAPWING/ST. 4; Single suspension pilot hardware fittings; CC/ENGG/TL/400kV/TWIN/LAPWING/SSPI. |