| Sl. No | Ref Section | Provision in bidding document | Bidders Queries | POWERGRID Reply |
| --- | --- | --- | --- | --- |
|  | General | General | GA & SLD of Existing Sub-Station We have not received GA & SLD drawing of Existing S/S. Request you to kindly provide the same for all three sub-station i.e. 400/220kV Kolar S/s., 400/220kV Palakkad S/s, 400/230kV Tuticorin-II GIS S/s with markup of present scope. | Kindly refer to Amendment no. 1 Sl. 1 for inclusion of GA and SLD in bidding document. Further bidder is advised to visit site to assess any input |
|  | General | General | Limitation of Space Are there any space constraints for the subjected transformers at site? Please confirm. | There is no space constraint for placing transformers at site. No special compact design is envisaged, however radiator bank location etc. shall be decided during detailed engineering to suit site conditions. |
|  | General | General | Internal Site Access Roads We understand that the Internal Site Access Roads Until the plinth of the transformer are made available by the Owner (or by Owner through relevant authorities) to the Contractor for the Project Works i.e. Movement of Construction Vehicles, Transportation of project Personnel, Equipment etc. Please confirm | Internal substation roads are not envisaged under bidder’s scope in present Contract. However, readiness of road/rail upto plinth shall not be constraint for contractor to complete scope of work as per TS. |
|  | General | General | Details Site Contact Person We would like to do the site visit, request you to please kindly share the contact person details of respective sites as below mentioned: - 400/220kV Kolar S/s 400/220kV Palakkad S/s 400/230kV Tuticorin-II GIS S/s | Details of Contact Person is as follows: Sh. Praveen Kumar T V S Senior GM (Engg.) SR-II-RHQ-Bangalore, Mob. No. 7042499401 |
|  | General | General | Request For EMD Exemption We would like to bring in your kind notice that Covid-19 pandemic situation is not over yet and again there is third wave. In this regard, we request you to kindly confirm EMD exemption as per OFFICE MEMORANDUM of Government of India Dated 12th Nov’2020 will be applicable for this tender also. Please kindly confirm. | No change. Bidders to quote in line with the provision of the bidding documents. |
|  | General | General | Due to the ongoing severe 3rd wave of the pandemic Covid – 19, it is extremely challenging and difficult to submit hard copies of our bids in the current scenario. We hence request you to kindly allow submission of all the bids online in soft format as was being allowed by M/s. POWERGRID till very recently. We trust you will consider our request and help us in safe submission of bids for all packages which would be due within next 1-2 months. | No change. Bidders to quote in line with the provision of the bidding documents. |