| Sl. No. | Ref Section | Provision in bidding document | Bidders Queries | POWERGRID Reply |
| --- | --- | --- | --- | --- |
| 1. | General | General | We also request you to kindly clarify requirement of Fiber Optic Temperature Sensors and measuring unit, it is not mentioned anywhere in Rev- 13 specifications however it has mentioned in standard testing procedure hence kindly reconfirm if it is in scope or not. | As per Technical specification of subject project, it is to confirm that Fiber Optic temperature sensors and measuring unit is not envisaged under present scope of work. |