| S. No. | CLAUSE Ref | Bidder Query | Clarification |
| --- | --- | --- | --- |
|  | Volume-II | Technical Datasheet of existing GIS substations at Padiabili and Rajgarh. | Rajgarh: Bidder to refer 2.2.1(b) of Section project where it is amply clear that existing 220kV GIS at Rajgarh SS is of M/s SIEMENS Ltd. Make, which is being extended in a separate package. The present scope extension is to be carried out after the said extension. The details of the Existing 220kV GIS will be provided to the successful bidder during detail engineering. Bidder to quote as per BPS items. Pandiabili: Bidder to refer 2.4.1(A) of Section project where it is ample clear that Existing GIS is of M/s Hyosung make, which is being extended for termination of 400/220kV ICT (Bay No-413) in a separate package. The present scope extension is to be carried out after the said extension. The details of the Existing 400kV GIS will be provided to the successful bidder during detail engineering. Bidder to quote accordingly. |
|  | Volume-II | End Flange Drawings, gas pressure and clearance from surrounding equipment for 400kV GIS Busduct extension at Padiabili S/s. | Pandiabili: Please refer clause 1.27 of FAQ attached at Annexure-IV for clearance. Further Existing available GIS drawings will be shared with the successful bidder during detailed Engineering. Bidders are advised to visit the substation site and acquaint themselves with the topography, infrastructure and the design philosophy. |
|  | Volume-II | Bus Bar details as per IEEE C.37 Standard for designing the adapter. | Rajgarh/ Pandiabili : Please refer reply at Sl. No.1. |
|  | Volume-II | CAD file of existing GIS (if available) for following details: - Building & existing section and OGA of Substation. - Detail dimension for BB height. - Phase-phase distance of Busbar. - Bay distances and clearance in building are also required to access further. - EOT crane bottom of hook height, working envelope/reach, load bearing capacity. - Civil details of existing project along with details of HVCO, CCO, Wall opening, floor beams, GIS mounting anchor plates (if any), etc. - Loading/unloading platform details and Rolling shutter details inside building. - Earthing drawing of Existing project. | Rajgarh/ Pandiabili : The Civil & Electrical drawings have already been provided as part of Tender drawings. Existing available GIS drawings will be shared with the successful bidder during detailed Engineering. Further, as per clause no 1.5 of section projects, bidders are advised to visit the substation site and acquaint themselves with the topography, infrastructure, and the design philosophy. |