| Sl. No. | Clause ref | Queries asked by the bidder | POWERGRID’s clarification |
| --- | --- | --- | --- |
| 1. | General | As per the Amendment No-I Technical, SI NO 13, sag of top phase circuit shall not be less than 9.62m. Please confirm that this value is applicable for both normal and narrow base multi-circuit towers. | Bidder understanding is correct. It is clarified that minimum conductor sag of 9.62 m is applicable for Normal towers as well as Narrow base towers. |