| Sl. No. | Clause ref | Queries asked by the bidder | POWERGRID’s clarification |
| --- | --- | --- | --- |
| 1. | General | As per the clarification-I (Technical), We can envisage the type of foundations will be Isolated and Raft type. Kindly confirm. | The type of foundation i.e. isolated or raft type shall be depending on tower type/soil classification/soil investigations etc., which is to be finalized during execution. |