## Basic (hidden)
Package Name | Construction of Substation store at 400 kV Gadag sub-station.
Package Code | Civil Works
Specification No. | SRTS-II/C&M/ WC-4534/2025

## Cover
REV_01
Price Schedules | Construction of Substation store at 400 kV Gadag sub-station. |  | Civil Works
SRTS-II/C&M/ WC-4534/2025
| 1 | Fill up only green shaded cells in Sch-3, Sch-5, Sch-6 and Bid Form of price bid
| 2 | All the cells in Sch-5 & Sch-6 are auto filled, therefore no cell is required to be filled up there.
| 3 | Instructions / error messages, if any, will be displayed automatically after selecting the cell.
| 4 | After filling up all the schedues, save the file, take print out of all the schedules and Bid form and sign & stamp and submit them as hard copy of the 2nd envelope (Price part) of the bid. Also ensure to submit the soft copy of the the same file on CD/ DVD.
Click to skip Instructions & Proceed
Click for Detailed General Instructions
General guidelines for filling up the Price Schedules, Sch-1 to Sch-7

## Instructions
General Instruction to the Bidders for filling up this workbook of Price Schedules for Package SS01
I | While filling up the worksheets following may please be observed :
| (i) | Fill up only green shaded cells.
| (ii) | Certain data type entries have been restricted, such as Numeric values or limits of numeric values.
| (iii) | Select only the options provided in pull down menus.
| (iv) | Do not link any cell of this work book with any other work book.
| (v) | Do not use copy & paste or cut & paste options for filling up the data.
| (vi) | Do not reformat any of the cell of the work book.
II | This Workbook consists of following worksheets :
Cover :
Opening page of the workbook.
Names of Bidder :
| ● | Select Sole Bidder or JV (Joint Venture) from the pull down menu. Do not leave this cell blank.
| ● | Select nos. of the JV Partners other than the Lead Partner from drop down menu.
| ● | In case of JV partners more than 2, enter details of 3rd & more partners along with details of 2nd partner.
| ● | Fill up names and address of the Sole Bidder and /or Joint Venture.
| ● | Fill up date in dd-mmm-yyyy format from drop down menu.
| ● | Click for proceed given at the right top of the worksheet and go to Sch-3.
Sch-1 (Ex-works Prices) :
| ● | Fill up unit rates for all the items in numeric values greater than 0 (zero). If unit rate is left blank, the corresponding item shall be deemed to be included in the total price.
| ● | Corresponding cell for mode of transaction shall be come enable only after filling up the unit rate, therefore first fill up the unit rate and then mode of transaction for the corresponding item.
●
| ● | Total amount shall get calculated automatically.
| ● | Type Test charges shall appear automatically after filling up Sch-7 appropriately.
Sch-2 (Freight & Insurance Charges) :
| ● | Fill up unit rates for all the items in numeric values greater than 0 (zero). If unit rate is left blank, the corresponding item shall be deemed to be included in the total price.
| ● | Total amount shall get calculated automatically.
Sch-3 (Service Contract) :
| ● | Fill up unit rates for all the items in numeric values greater than 0 (zero). If unit rate is left blank, the corresponding item shall be deemed to be included in the total price.
| ● | Total amount shall get calculated automatically.
Sch-4 (Training Charges) :
| ● | Not applicable, hence no cell is required to be filled up.
Sch-5 (Summary of Taxes and Duties applicable on the Goods and Services) :
| ● | No cell is required to be filled in by the bidder in this worksheet.
Sch -6 :
| ● | Summary of all the Schedules without considering discount (mentioned in the work sheet discount) shall be displayed automatically.
| ● | No cell is required to be filled in by the bidder in this worksheet.
Sch-7 (Type Test Charges) :
| ● | Fill up the rates & location where type tests are proposed.
| ● | Total of this Sch-7 shall automatically appear in Sch-1.
Bid from of price bid :
| ● | Fill up ref. no. as bidder's ref no. of this letter.
| ● | This letter shall consider the net price as per Sch-6 (After Discount).
| ● | Fill up names & Designation of the representatives of other JV partner(s) if the bidder is JV (Joint Venture) .
| ● | Fill up additional information as required.
* * *
Happy Bidding !
Click to Proceed

## Names of Bidder
Construction of Substation store at 400 kV Gadag sub-station.
SRTS-II/C&M/ WC-4534/2025 |  |  |  | Sole Bidder | 1
|  |  |  | JV (Joint Venture) | 2 or More
Enter following details of the bidder
Specify type of Bidder [Select from drop down menu] | Sole Bidder |  |  | 0
2 or More
Name of Bidder
Address of Bidder
Name of other Partner - 1
Address of other Partner - 1
…….. …….. …….. …….. …….. ……..
…….. …….. …….. …….. …….. ……..
Name of other Partner - 2 (more, if any) | …….. …….. …….. …….. …….. ……..
Address of other Partner - 2 (more, if any) | …….. …….. …….. …….. …….. ……..
…….. …….. …….. …….. …….. ……..
…….. …….. …….. …….. …….. ……..
Printed Name
Designation
email ID of Bid Signatory
Mobile No. of Bid Signatory
Tel No. of Bid Signatory
Fax No. of Bid Signatory
Date |  | 2025 | 31
Place
Click for Sch-3

## Sch-1 (hidden)
SRTS-II/C&M/ WC-4534/2025 | [12 empty] | Schedule - 1
Construction of Substation store at 400 kV Gadag sub-station.
(SCHEDULE OF RATES AND PRICES)
Bidder’s Name and Address (Bidder) : | [11 empty] | To:
Sr.GM , Contracts & Materials Department,
Name : | [11 empty] | Power Grid Corporation of India Ltd.,
Address : | [11 empty] | SRTS-II, RHQ
Singanayakanahalli
Bengaluru-560064
Construction of Storage platform for spares of ±320 kV HVDC Line Materials at Palakkad SS
All Prices are in Indian Rupees.
SI. No. | PR No | PR Line Item No | Activity Description | Material Code | HSN Code | Whether HSN in column ‘6’ is confirmed. If not indicate applicable the HSN code * | Rate of GST applicable ( in %) | Whether rate of GST in column ‘8’ is confirmed. If not indicate applicable rate of GST * | Item Description | Unit | Qty. | Unit Ex-works price (excluding GST) | Total Ex-works price (excluding GST) | GST
1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 = 12x13 | 11
1 | 7000005840 | 20 | FABRICATION AND SUPPLY |  | 76169990 |  | 18% |  | Supply of Galvanised Steel PG Clamps for Sheild / Earth wire of dia 10.98 mm in line with the drawing enclosed | Nos | 1300 |  | Included | 0 | 0 | 0
2 |  |  |  |  | 76169990 |  | 18% |  | Supply of Galvanised Steel PG clamps suitable to accommodate Earthwire of 10.98 mm in one groove and 12 mm OPGW cable in the other groove, in line with the tentative drawing enclosed. | Nos | 1300 |  | Included | 0 | 0 | 0
3 |  |  |  |  | 76169990 |  | 18% |  | Supply of 1.5 mm thickness Galvanised steel 'C' / 'U' clamp suitable for 10.98 mm earthwire / shield wire,in line with the drawing enclosed. | Nos | 23400 |  | Included | 0 | 0 | 0
[9 empty] | Total Ex-Works Price |  |  |  | 0 | 0
[9 empty] | Total Type Test charges as per Schedule-7 |  |  |  | 0
[9 empty] | Total Ex-works Price including Type Test charges |  |  |  | 0 | 0 |  |  | Total GST
Note : |  | Specify amount of GST on the transaction between the Contractor and the Employer.
* |  | In case the bidder leaves the cell for confirmation of the HSN code and/or GST rate “blank”, the HSN code and corresponding GST rate indicated by the Employer shall be deemed to be the one confirmed by the Bidder.
Date : |  |  |  |  | --2025
Place : | [9 empty] | Printed Name :
Designation :
Click for Sch-2

## Sch-1 dis (hidden)
SRTS-II/C&M/ WC-4534/2025 | [5 empty] | Schedule - 1 |  |  |  | Direct Total | 0 | Sole Bidder | `
[10 empty] | BO Total | #REF! | 0
Construction of Substation store at 400 kV Gadag sub-station.
(SCHEDULE OF RATES AND PRICES : EX-WORKS PRICES)
Bidder’s Name and Address (Bidder) : |  |  |  | To:
Contract Services
Name : |  |  |  | Power Grid Corporation of India Ltd., | [7 empty] | , & …….. …….. …….. …….. …….. ……..
Address : |  |  |  | "Saudamini", Plot No.-2
Sector-29,
Gurgaon (Haryana) - 122001
Plant and Equipment (including Mandatory Spares Parts) to be supplied, including Type Test Charges for Tests to be conducted. | [10 empty] | Direct
[6 empty] | All Prices are in Indian Rupees. |  |  |  |  | Bought-Out
SI. No. | Item Description | Unit | Qty. | Unit Ex-works price | Total Ex-works price | Mode of Transaction (Direct / Bought-out)
1 | 2 | 3 | 4 | 5 | 6 = 4 x 5 | 7
#REF! | #REF!
#REF! | #REF!
#REF! | #REF!
#REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
#REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
#REF! | #REF!
#REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
#REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
#REF! | #REF!
#REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
#REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
#REF! | #REF!
#REF! | #REF!
#REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
#REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
#REF! | #REF!
#REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
#REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
#REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
#REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
#REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
#REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
#REF! | #REF!
#REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
#REF! | #REF!
#REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
#REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
#REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
#REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
#REF! | #REF!
#REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
#REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
#REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
#REF! | #REF!
#REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
#REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
#REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
#REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
#REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
#REF! | #REF!
| #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
#REF!
| #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
| #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
| Total Ex-Works Price Direct |  |  |  | 0 | Direct
| Total Ex-Works Price Bought Out |  |  |  | 0
| Total Ex-Works Price |  |  |  | 0
| Total Type Test charges as per Schedule-7 |  |  |  | #REF! |  |  | #REF! |  | #REF!
| Total Ex-works Price including Type Test charges |  |  |  | #REF! |  |  | #REF! |  | #REF!
[7 empty] | Discount Sch-1 | #REF! | MPD Sch-1 | #REF!
[7 empty] | Dis Alert | #REF!
Note : | Specify amount of Excise Duty, Sales Tax/'VAT and other taxes payable on the transaction between the Contractor and the Employer and octroi/entry tax as applicable for destination site/state on all items of supply including bought-out finished items (to be identified in the Contract), which shall be dispatched directly from the sub-vendor’s works to the Employer’s site (sale-in-transit), separately in Schedule-5. Excise Duty, Sales tax and other levies for all the bought-out items are to be included in the EXW Price (Col. No. 5) only and not to be indicated in Schedule-5.
Date : | --2025
Place : |  |  | Printed Name :
Designation :
Click for Sch-2

## Sch-2 (hidden)
SRTS-II/C&M/ WC-4534/2025 | [8 empty] | Schedule - 2
Construction of Substation store at 400 kV Gadag sub-station.
(SCHEDULE OF RATES AND PRICES :Transportation, In-transit insurance, loading and unloading.)
Bidder’s Name and Address (Bidder) : | [7 empty] | To:
Sr.GM , Contracts & Materials Department,
Name : | [7 empty] | Power Grid Corporation of India Ltd.,
Address : | [7 empty] | SRTS-II, RHQ
Singanayakanahalli
Bengaluru-560064
All Prices are in Indian Rupees.
SI. No. | PR No | PR Line Item No | Activity Description | Material Code | Description | Unit | Quantity | Unit Prices F&I including packing and forwading Including taxes | Total Prices
1 | 2 | 3 | 4 | 5 | 6 | 7 | 9 | 10 | 11= 9 x 10
1 | 7000005840 | 20 | FABRICATION AND SUPPLY | 1000015274 | Supply of Galvanised Steel PG Clamps for Sheild / Earth wire of dia 10.98 mm in line with the drawing enclosed | Nos | 1300 |  | Included
2 |  |  |  |  | Supply of Galvanised Steel PG clamps suitable to accommodate Earthwire of 10.98 mm in one groove and 12 mm OPGW cable in the other groove, in line with the tentative drawing enclosed. | Nos | 1300 |  | Included
3 |  |  |  |  | Supply of 1.5 mm thcikness Galvanised steel 'C' / 'U' clamp suitable for 10.98 mm earthwire / shield wire,in line with the drawing enclosed. | Nos | 23400 |  | Included
[5 empty] | Total F&I Price |  |  |  | 0
Date : |  |  |  |  | --2025
Place : | [6 empty] | Printed Name :
Designation :
Click for Sch-3

## Sche-1
SRTS-II/C&M/ WC-4534/2025 | [9 empty] | Schedule - 3
Construction of Substation store at 400 kV Gadag sub-station. | [13 empty] | As per Lum-sum |  | 0%
(SCHEDULE OF RATES AND PRICES ) | [13 empty] | AS per Percent |  | #REF!
[14 empty] | As per lum-sum on Sch-3 |  | 0%
Bidder’s Name and Address (Sole Bidder) : | [8 empty] | To: |  |  |  |  | As per Percent on Sch-3 |  | #REF!
[9 empty] | C&M Department |  |  |  |  | Total Discount |  | #REF!
Name : | [8 empty] | Power Grid Corporation of India Ltd.
Address : | [8 empty] | SR-II, RHQ
[9 empty] | Singanayakkanahalli, Yelahanka |  |  |  |  | Multipackage lum-sum |  | #REF!
Bangalore
[15 empty] | Amount after Discount (Rs.) |  | Dis Alert | Amount after MPD (Rs.)
All Prices are in Indian Rupees.
SI. No. | DSR-2023 Ref | SAC (Service Accounting Codes) | Whether SAC in column '2’ is confirmed. If not indicate applicable the SAC * | Rate of GST applicable ( in %) | Whether rate of GST in column ‘ 4 ’ is confirmed. If not indicate applicable rate of GST * | Description | Unit | Quantity | Unit Rate in Rs. | Total in Rs. | GST TAX as confirmed by Bidder |  |  |  | Unit Erection Charges | Total Erection Charges |  | Unit Erection Charges | Total Erection Charges
1 |  | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 = 8 x 9 | 11 |  |  |  | 5 | 6 = 4 x 5 |  | 5 | 6 = 4 x 5
Part A :Civil Works
1 | 2.6.1 | 995413 |  | 18% | confirmed | Earth work in excavation by mechanical means (Hydraulic excavator)/manual means over areas (exceeding 30 cm in depth, 1.5 m in width as well as 10 sqm on plan) including getting out and disposal of excavated earth lead upto 50 m and for all lift, as directed by Engineer-incharge. All kind of soil | cum | 344 |  | 0 | 0 | 0 | 0
2 | 2.25 | 995413 |  | 18% | confirmed | Filling available excavated earth (excluding rock) in trenches, plinth, sides of foundations etc. in layers not exceeding 20cm in depth: consolidating each deposited layer by ramming and watering, lead up to 50m and for all lift. | cum | 281 |  | 0 | 0 | 0 | 0
3 | 2.27 | 995413 |  | 18% | confirmed | Supplying and filling in plinth with sand under floors including watering, ramming consolidating and dressing complete. | cum | 54 |  | 0 | 0 | 0 | 0
4 | 2.28.1 | 995413 |  | 18% | confirmed | Surface dressing of the ground including removing vegetation and in-equalities not exceeding 15cm deep and disposal of rubbish, lead upto 50m and lift upto 1.5m: All kind of soil. | sqm | 690 |  | 0 | 0 | 0 | 0
5 | 2.34.1 | 995413 |  | 18% | confirmed | Supplying chemical emulsion in sealed containers including delivery as specified - Chlorpyriphos/Lindane emulsifiable concentrate of 20% | Litre | 190 |  | 0 | 0 | 0 | 0
7 | 4.1.8 | 995413 |  | 18% | confirmed | Providing and laying in position cement concrete of specified grade excluding the cost of centring and shuttering - All work up to plinth level: 1:4:8 (1 cement: 4 coarse sand: 8 graded stone aggregate 40mm nominal size). | cum | 60.01 |  | 0 | 0 | 0 | 0
8 | 4.2.3 | 995413 |  | 18% | confirmed | Providing and laying cement concrete in retaining walls, return walls, walls (any thickness) including attached pilasters, columns, piers, abutments, pillars posts, struts, buttresses, string or lacing courses, parapets, coping, bed blocks, anchor blocks, plain window sills, fillets etc upto floor five level, excluding the cost of centring, shuttering and finishing: 1:2:4 (1 cement: 2 coarse sand: 4 graded stone aggregate 20mm nominal size). | cum | 1 |  | 0 | 0 | 0 | 0
9 | 4.2.5 | 995413 |  | 18% | confirmed | Providing and laying cement concrete in retaining walls, return walls, walls (any thickness) including attached pilasters, columns, piers, abutments, pillars posts, struts, buttresses, string or lacing courses, parapets, coping, bed blocks, anchor blocks, plain window sills, fillets etc upto floor five level, excluding the cost of centring, shuttering and finishing: 1:3:6 (1 cement: 3 coarse sand: 6 graded stone aggregate 20mm nominal size). | cum | 1 |  | 0 | 0 | 0 | 0
10 | 4.3.1 | 995413 |  | 18% | confirmed | Centring and shuttering including strutting, propping etc and removal of formwork for: Foundations, footings, bases of columns | sqm | 40 |  | 0 | 0 | 0 | 0
11 | 4.10 | 995413 |  | 18% | confirmed | Providing and laying damp-proof course 40mm thick with cement concrete 1:2:4 (1 cement: 2 coarse sand: 4 graded stone aggregate 12.5mm nominal size). | sqm | 26 |  | 0 | 0 | 0 | 0
12 | 4.13 | 995413 |  | 18% | confirmed | Applying a coat of residual petroleum bitumen of penetration 80/100 of approved quality using 1.7 kg per square metre on damp proof course after cleaning the surface with brushes and finally with a piece of cloth lightly soaked in kerosene oil. | sqm | 28 |  | 0 | 0 | 0 | 0
14 | 5.1.2 | 995413 |  | 18% | confirmed | Providing and laying in position specified grade of reinforced cement concrete excluding the cost of centring, shuttering, finishing and reinforcement - All work up to plinth level 1:1.5:3 (1 cement: 1.5 coarse sand: 3 graded stone aggregate 20mm nominal size). | cum | 56 |  | 0 | 0 | 0 | 0
15 | 5.2.2 | 995413 |  | 18% | confirmed | Reinforced cement concrete work in walls (any thickness), including attached pilasters, buttresses, plinth and string course, fillets, columns, pillars, piers, abutments, posts and struts, etc. up to floor five level excluding cost of centring, shuttering, finishing and reinforcement: 1:1.5:3 (1 cement: 1.5 coarse sand: 3 graded stone aggregate 20mm nominal size). | cum | 35 |  | 0 | 0 | 0 | 0
16 | 5.3 | 995413 |  | 18% | confirmed | Reinforced cement concrete work in beams, suspended floors, roofs, having slope up to 15 degree, landings, balconies, shelves, chajjas, lintels, bands, plain window sills, staircase and spiral staircases up to floor five level excluding the cost of centring, shuttering, finishing and reinforcement with 1:1.5:3 (1 cement: 1.5 coarse sand: 3 graded stone aggregate 20mm nominal size). | cum | 126 |  | 0 | 0 | 0 | 0
17 | 5.8 | 995413 |  | 18% | confirmed | Reinforced cement concrete work in Vertical and horizontal fins individually or forming box louvers, facias and eaves boards upto floor five level excluding cost of centring, shuttering, finishing and reinforcement with 1:1.5:3 (1 cement: 1.5 coarse sand: 3 graded stone aggregate 20mm nominal size). | cum | 3 |  | 0 | 0 | 0 | 0
18 | 5.9.1 | 995413 |  | 18% | confirmed | Centring and shuttering including strutting, propping etc. and removal of form for: Foundations, footings, bases of columns etc. for mass concrete. | sqm | 62.45 |  | 0 | 0 | 0 | 0
19 | 5.9.3 | 995413 |  | 18% | confirmed | Centring and shuttering including strutting, propping etc. and removal of form for: Suspended floors, roofs, landings, balconies and access platform. | sqm | 429.37 |  | 0 | 0 | 0 | 0
20 | 5.9.4 | 995413 |  | 18% | confirmed | Centring and shuttering including strutting, propping etc. and removal of form for: Shelves (Cast in Situ) | sqm | 160 |  | 0 | 0 | 0 | 0
21 | 5.9.5 | 995413 |  | 18% | confirmed | Centring and shuttering including strutting, propping etc. and removal of form for: lintels, beam, plinth beams, girders, bressumers and cantilevers. | sqm | 392.73 |  | 0 | 0 | 0 | 0
22 | 5.9.6 | 995413 |  | 18% | confirmed | Centring and shuttering including strutting, propping etc. and removal of form for: columns, pillars, piers, abutments, posts and struts. | sqm | 260 |  | 0 | 0 | 0 | 0
23 | 5.9.13 | 995413 |  | 18% | confirmed | Centring and shuttering including strutting, propping etc. and removal of form for: Vertical and horizontal fins individually or forming box louvers band, facias and eaves boards | sqm | 30 |  | 0 | 0 | 0 | 0
24 | 5.9.19 | 995413 |  | 18% | confirmed | Centring and shuttering including strutting, propping etc. and removal of form for: Weather shade, Chajjas, corbels etc including edges. | sqm | 17 |  | 0 | 0 | 0 | 0
25 | 5.11.1 | 995413 |  | 18% | confirmed | Extra for additional height in centring, shuttering where ever required with adequate bracing, propping etc. including cost of de-shuttering and decentring at all levels, over a height of 3.5m, for every additional height of 1 metre or part thereof (Plan area to be measured): Suspended floors, roofs, landing, beams and balconies (Plan area to be measured). | sqm | 659.73 |  | 0 | 0 | 0 | 0
26 | 5.22.6/5.22A.6 | 995413 |  | 18% | confirmed | Steel reinforcement for R.C.C. work including straightening, cutting, bending, placing in position and binding all complete at all level: Thermo- Mechanically Treated bars of grade Fe-500D or more | kg | 28392 |  | 0 | 0 | 0 | 0
27 | 5.30 | 995413 |  | 18% | confirmed | Add or deduct for plaster drip course/ groove in plastered surface or moulding to R.C.C. projections. | metre | 70 |  | 0 | 0 | 0 | 0
28 | 6.1.2 | 995413 |  | 18% | confirmed | Brick work with common burnt clay F.P.S. (non modular) bricks of class designation 7.5 in foundation and plinth in: Cement mortar 1:6 (1 cement : 6 coarse sand) | cum | 13.47 |  | 0 | 0 | 0 | 0
29 | 6.4.2 | 995413 |  | 18% | confirmed | Brick work with common burnt clay F.P.S. (non modular) bricks of class designation 7.5 in superstructure above plinth level up to floor V level in all shapes and sizes in : Cement mortar 1:6 (1 cement : 6 coarse sand) | cum | 69 |  | 0 | 0 | 0 | 0
30 | 6.12.2 | 995413 |  | 18% | confirmed | Half brick masonry with common burnt clay F.P.S. (non modular) bricks of class designation 7.5 in foundations and plinth in. cement mortar 1:4 (1 cement : 4 coarse sand) | sqm | 51 |  | 0 | 0 | 0 | 0
31 | 6.13.2 | 995413 |  | 18% | confirmed | Half brick masonry with common burnt clay F.P.S. (non modular) bricks of class designation 7.5 in superstructure above plinth level up to floor V level. Cement mortar 1:4 (1 cement :4 coarse sand) | sqm | 125 |  | 0 | 0 | 0 | 0
32 | 6.15 | 995413 |  | 18% | confirmed | Extra for providing and placing in position 2 Nos. 6mm MS bars at every third course of brick masonry (with F.P.S bricks) | sqm | 51 |  | 0 | 0 | 0 | 0
33 | 9.21.2 | 995413 |  | 18% | confirmed | Providing and fixing ISI marked flush door shutters non-decorative type, core of block board construction with frame of Ist class hard wood and well matched commercial 3 ply veneering with vertical grains or cross bands and face veneers on both faces of shutters: 30mm thick including ISI marked Stainless Steel butt hinges with necessary screws. | sqm | 5 |  | 0 | 0 | 0 | 0
34 | 9.23 | 995413 |  | 18% | confirmed | Extra for providing lipping with 2nd class teak wood battens 25mm minimum depth on all edges of shutters (overall area of door shutter to be measured) | sqm | 5 |  | 0 | 0 | 0 | 0
35 | 9.42 | 995413 |  | 18% | confirmed | Providing and fixing 18mm thick 150mm wide pelmet of flat pressed 3 layer (like Novapan, Ecoboard etc) or graded wood particle board (like Bhutan Board) medium density Grade 1, IS:3087 marked including top cover of 6mm commercial ply wood, nickel plated M.S. pipe 20mm dia (heavy type) curtain rod with nickel plated brackets including fixing with 25x3mm M.S. flat 10cm long and rawl plugs 50mm long (designation 10 no.) etc. all complete. | metre | 2 |  | 0 | 0 | 0 | 0
36 | 9.96.1 | 995413 |  | 18% | confirmed | Providing and fixing aluminium sliding door bolts ISI marked anodised (anodic coating not less than grade AC 10 as per IS: 1868) transparent or dyed to required colour or shade with nuts and screws etc. complete: Size 300 x 16mm | each | 1 |  | 0 | 0 | 0 | 0
37 | 9.96.2 | 995413 |  | 18% | confirmed | Providing and fixing aluminium sliding door bolts ISI marked anodised (anodic coating not less than grade AC 10 as per IS: 1868) transparent or dyed to required colour or shade with nuts and screws etc. complete: Size 250 x 16mm | each | 2 |  | 0 | 0 | 0 | 0
38 | 9.97.2 | 995413 |  | 18% | confirmed | Providing and fixing aluminium tower bolts ISI marked anodised (anodic coating not less than grade AC 10 as per IS:1868) transparent or dyed to required colour or shade with necessary screws etc. complete: Size 250 x 10mm | each | 4 |  | 0 | 0 | 0 | 0
39 | 9.97.3 | 995413 |  | 18% | confirmed | Providing and fixing aluminium tower bolts ISI marked anodised (anodic coating not less than grade AC 10 as per IS:1868) transparent or dyed to required colour or shade with necessary screws etc. complete: Size 200 x 10mm | each | 2 |  | 0 | 0 | 0 | 0
40 | 9.100.1 | 995413 |  | 18% | confirmed | Providing and fixing aluminium handles ISI marked anodised (anodic coating not less than grade AC 10 as per IS: 1868) transparent or dyed to required colour or shade with necessary screws etc. complete: Size: 125mm | each | 4 |  | 0 | 0 | 0 | 0
41 | 9.100.2 | 995413 |  | 18% | confirmed | Providing and fixing aluminium handles ISI marked anodised (anodic coating not less than grade AC 10 as per IS: 1868) transparent or dyed to required colour or shade with necessary screws etc. complete: Size 100mm | each | 2 |  | 0 | 0 | 0 | 0
42 | 9.101.2 | 995413 |  | 18% | confirmed | Providing and fixing aluminium hanging floor door stopper ISI marked anodised (anodic coating not less than grade AC 10 as per IS: 1868) transparent or dyed to required colour or shade with necessary screws etc. complete: Twin rubber stopper | each | 2 |  | 0 | 0 | 0 | 0
43 | 10.6.1 | 995413 |  | 18% | confirmed | Supplying and fixing rolling shutters of approved make, made of required size M.S. laths interlocked together through their entire length and jointed together at the end by end locks mounted on specially designed pipe shaft with brackets, side guides and arrangements for inside and outside locking with push and pull operation complete including the cost of providing and fixing necessary 27.5cm long wire springs manufactured from high tensile steel wire of adequate strength conforming to IS:4454-part 1 and MS top cover of required thickness for rolling shutters. : 80 x 1.25mm M.S. laths with 1.25mm thick top cover | sqm | 12.5 |  | 0 | 0 | 0 | 0
44 | 10.7 | 995413 |  | 18% | confirmed | Providing and fixing ball bearing for rolling shutters. | each | 2 |  | 0 | 0 | 0 | 0
45 | 10.14.1.1 | 995413 |  | 18% | confirmed | Providing and fixing pressed steel door frames conforming to IS:4351, manufactured from commercial mild steel sheet of 1.60 mm thickness, including hinges jamb, lock jamb, bead and if required angle threshold of mild steel angle of section 50x25mm ,or base ties of 1.60 mm pressed mild steel welded or rigidly fixed together by mechanical means, including M.S. pressed butt hinges 2.5mm thick with mortar guards, lock strikeplate and shock absorbers as specified and applying a coat of approved steel primer after pre-treatment of the surface as directed by Engineer-in-charge: Profile B. Fixing with adjustable lugs with split end tail to each jamb. | metre | 17 |  | 0 | 0 | 0 | 0
46 | 10.17 | 995413 |  | 18% | confirmed | Providing and fixing MS fan clamp type I or II of 16mm dia MS bar, bent to shape with hooked ends in RCC slabs or beams during laying including painting the exposed portion of loop, all as per standard design complete | each | 1 |  | 0 | 0 | 0 | 0
47 | 10.25.2 | 995413 |  | 18% | confirmed | Steel work welded in built up sections/ framed work including cutting hoisting, fixing in position and applying a priming coat of approved steel primer using structural steel etc. as required: In gratings, frames, guard bars, ladders, railings, brackets, gates and similar works. | kg | 550 |  | 0 | 0 | 0 | 0
49 | 11.4 | 995413 |  | 18% | confirmed | 52mm thick cement concrete flooring with concrete hardener topping ,under layer 40mm thick cement concrete 1:2:4 (1 cement: 2 coarse sand: 4 graded stone aggregate 20mm nominal size) and top layer 12mm thick concrete hardener consisting of mix 1:2 (1 cement hardener mix: 2 graded stone aggregate 6mm nominal size) by volume hardening compound mixed @ 2 litre per 50kg of cement or as per manufacturer's specifications. This includes cement slurry, but excluding the cost of nosing of steps etc. complete. | sqm | 359 |  | 0 | 0 | 0 | 0
50 | 11.6.1 | 995413 |  | 18% | confirmed | Cement plaster skirting up to 30cm height, with cement mortar 1:3 (1 cement: 3 coarse sand), finished with a floating coat of neat cement: 18mm thick | sqm | 17 |  | 0 | 0 | 0 | 0
52 | 8.31 | 995413 |  | 18% | confirmed | Providing and fixing Ist quality ceramic glazed wall tiles conforming to IS: 15622 (thickness to be specified by the manufacturer), of approved make, in all colours, shades except burgundy, bottle green, black of any size as approved by Engineer-in-Charge, in skirting, risers of steps and dados, over 12 mm thick bed of cement mortar 1:3 (1 cement : 3 coarse sand) and jointing with grey cement slurry @ 3.3kg per sqm, including pointing in white cement mixed with pigment of matching shade complete | sqm | 14 |  | 0 | 0 | 0 | 0
53 | 11.37 | 995413 |  | 18% | confirmed | Providing and laying Ceramic glazed floor tiles of size 300x300 mm (thickness to be specified by the manufacturer) of 1st quality conforming to IS : 15622 of approved make in colours such as White, Ivory, Grey, Fume Red Brown, laid on 20 mm thick cement mortar 1:4 (1 Cement : 4 Coarse sand), Jointing with grey cement slurry @ 3.3 kg/sqm including pointing the joints with white cement and matching pigment etc., complete.. | sqm | 3 |  | 0 | 0 | 0 | 0
54 | 13.1.2 | 995413 |  | 18% | confirmed | 12mm cement plaster of mix: 1:6 (1 cement: 6 fine sand) | sqm | 569 |  | 0 | 0 | 0 | 0
55 | 13.2.2 | 995413 |  | 18% | confirmed | 15mm cement plaster on the rough side of single or half brick wall of mix 1:6 (1 cement: 6 fine sand) | sqm | 511 |  | 0 | 0 | 0 | 0
56 | 13.16 | 995413 |  | 18% | confirmed | 6mm cement plaster to ceiling of mix: 1:3 (1 cement: 3 find sand) | sqm | 553 |  | 0 | 0 | 0 | 0
57 | 13.17 | 995413 |  | 18% | confirmed | 6mm cement plaster 1:3 (1 cement: 3 find sand) finished with a floating coat of neat cement and thick coat of lime wash on top of walls when dry for bearing of RCC slabs and beams | sqm | 300 |  | 0 | 0 | 0 | 0
58 | 13.41.1 | 995413 |  | 18% | confirmed | Distempering with 1st quality acrlic distemper(ready mixed) having VOC content less than 50gram/litre,of approved manufacturer and of required shade and colour all complete to achieve even shade and colour: New work (two or more coats) over and including water thinnable priming coat with cement primer having VOC content less than 50gram/litre. | sqm | 875 |  | 0 | 0 | 0 | 0
59 | 13.46.1 | 995413 |  | 18% | confirmed | Finishing walls with Acrylic Smooth exterior paint of required shade :New work (Two or more coat applied @ 1.67 ltr/10 sqm over and including priming coat of exterior primer applied @ 0.9ltr/10 sqm) | sqm | 696 |  | 0 | 0 | 0 | 0
60 | 13.62.1 | 995413 |  | 18% | confirmed | Painting with synthetic enamel paint of approved brand and manufacture of required colour to given an even shade: Two or more coats on new work over an under coat of suitable shade with ordinary paint of approved brand and manufacture. | sqm | 120 |  | 0 | 0 | 0 | 0
61 | 17.2.1 | 995413 |  | 18% | confirmed | Providing and fixing white vitreous china pedestal type water closet (European type W.C. pan) with seat and lid, 10 litre low level white P.V.C. flushing cistern, including flush pipe, with manually controlled device (handle lever), conforming to IS : 7231, with all fittings and fixtures complete, including cutting and making good the walls and floors wherever required :W.C. pan with ISI marked white solid plastic seat and lid. | each | 1 |  | 0 | 0 | 0 | 0
62 | 17.7.3 | 995413 |  | 18% | confirmed | Providing and fixing wash basin with C.I. brackets, 15 mm C.P. brass pillar taps, 32 mm C.P. brass waste of standard pattern, including painting of fittings and brackets, cutting and making good the walls wherever require:White Vitreous China Wash basin size 630x450 mm with a single 15 mm C.P. brass pillar tap | each | 1 |  | 0 | 0 | 0 | 0
63 | 17.28.1.1 | 995413 |  | 18% | confirmed | Providing and fixing PVC waste pipe for sink or wash basin including PVC waste fittings complete: Semi rigid pipe: 32mm dia | each | 1 |  | 0 | 0 | 0 | 0
64 | 17.32.2 | 995413 |  | 18% | confirmed | Providing and fixing mirror of superior quality thickness of required shape and size with plastic moulded frame of approved make and shade with 6mm thick hard board backing. Rectangular shape 453x357mm | each | 1 |  | 0 | 0 | 0 | 0
65 | 18.7.2 | 995413 |  | 18% | confirmed | Providing and fixing Chlorinated Polyvinyl Chloride (CPVC) pipes, having thermal stability for hot & cold water supply, including all CPVC plain & brass threaded fittings, including fixing the pipe with clamps at 1.00 m spacing. This includes jointing of pipes & fittings with one step CPVC solvent cement and testing of joints complete as per direction of Engineer in Charge.20 mm nominal dia Pipes | metre | 20 |  | 0 | 0 | 0 | 0
66 | 18.7.3 | 995413 |  | 18% | confirmed | Providing and fixing Chlorinated Polyvinyl Chloride (CPVC) pipes, having thermal stability for hot & cold water supply, including all CPVC plain & brass threaded fittings, including fixing the pipe with clamps at 1.00 m spacing. This includes jointing of pipes & fittings with one step CPVC solvent cement and testing of joints complete as per direction of Engineer in Charge.25 mm nominal dia Pipes | metre | 20 |  | 0 | 0 | 0 | 0
67 | 18.8.1 | 995413 |  | 18% | confirmed | Providing and fixing Chlorinated Polyvinyl Chloride (CPVC) pipes, having thermal stability for hot & cold water supply, including all CPVC plain & brass threaded fittings, i/c fixing the pipe with clamps at 1.00 m spacing. This includes jointing of pipes & fittings with one step CPVC solvent cement and the cost of cutting chases and making good the same including testing of joints complete as per direction of Engineer in Charge. Concealed work, including cutting chases and making good the walls:15 mm nominal dia Pipes | metre | 10 |  | 0 | 0 | 0 | 0
68 | 18.8.2 | 995413 |  | 18% | confirmed | Providing and fixing Chlorinated Polyvinyl Chloride (CPVC) pipes, having thermal stability for hot & cold water supply, including all CPVC plain & brass threaded fittings, i/c fixing the pipe with clamps at 1.00 m spacing. This includes jointing of pipes & fittings with one step CPVC solvent cement and the cost of cutting chases and making good the same including testing of joints complete as per direction of Engineer in Charge. Concealed work, including cutting chases and making good the walls:20 mm nominal dia Pipes | metre | 15 |  | 0 | 0 | 0 | 0
69 | 18.9.3 | 995413 |  | 18% | confirmed | Providing and fixing Chlorinated Polyvinyl Chloride (CPVC) pipes, having thermal stability for hot & cold water supply including all CPVC plain & brass threaded fittings This includes jointing of pipes & fittings with one step CPVC solvent cement, trenching, refilling & testing of joints complete as per direction of Engineer in Charge. External work,25 mm nominal dia Pipes | metre | 10 |  | 0 | 0 | 0 | 0
70 | 18.15.1 | 995413 |  | 18% | confirmed | Providing and fixing brass bib cock of approved quality: 15mm nominal bore | each | 2 |  | 0 | 0 | 0 | 0
71 | 18.17.1 | 995413 |  | 18% | confirmed | Providing and fixing gun metal gate valve with C.I. wheel of approved quality (screwed end): 25mm nominal bore | each | 1 |  | 0 | 0 | 0 | 0
72 | 18.18.3 | 995413 |  | 18% | confirmed | Providing and fixing ball valve (brass) of approved quality complete. High or low pressure with plastic floats: 25mm nominal bore | each | 1 |  | 0 | 0 | 0 | 0
73 | 18.21.2.1 | 995413 |  | 18% | confirmed | Providing and fixing unplasticised PVC connection pipe with brass unions. 45cm length. 15mm nominal bore | each | 1 |  | 0 | 0 | 0 | 0
74 | 18.32.1 | 995413 |  | 18% | confirmed | Constructing masonry chamber 30x30x50cm inside ,in brick work in cement mortar 1:4 (1 cement: 4coarse sand) for stop cock, with C.I. surface box 100x100x75mm (inside) with hinged cover fixed in cement concrete slab 1:1.5:3 mix (1 cement: 1.5 course sand: 3 graded stone aggregate 20mm nominal size) including necessary excavation, foundation concrete 1:5:10 (1 cement: 5 fine sand: 10 graded stone aggregate 40mm nominal size) and inside plastering with cement mortar 1:3 (1 cement: 3 coarse sand) 12mm thick finished with a floating coat of neat cement complete as per standard design: With common burnt clay F.P.S.(Non Modular) bricks of class designation 7.5 | each | 1 |  | 0 | 0 | 0 | 0
75 | 18.48 | 995413 |  | 18% | confirmed | Providing and placing on terrace (at all floor levels) polyethylene water storage tank, IS : 12701 marked, with cover and suitable locking arrangement and making necessary holes for inlet, outlet and overflow pipes but without fittings and the base support for tank | per litre | 500 |  | 0 | 0 | 0 | 0
76 | 18.52.1 | 995413 |  | 18% | confirmed | Providing and fixing C.P. brass stop cock (concealed) of standard design and of approve make conforming to IS:8931: 15mm nominal bore | each | 1 |  | 0 | 0 | 0 | 0
77 | 19.4.1.1 | 995413 |  | 18% | confirmed | Providing and fixing square-mouth S.W. gully trap class SP-1 complete with C.I. grating brick masonry chamber with water tight C.I. cover with frame of 300 x300 mm size (inside) the weight of cover to be not less than 4.50 kg and frame to be not less than 2.70 kg as per standard design:100x100 mm size P type With common burnt clay F.P.S. (non modular) bricks of class designation 7.5 | each | 1 |  | 0 | 0 | 0 | 0
78 | 19.7.1.1 | 995413 |  | 18% | confirmed | Constructing brick masonry manhole in cement mortar 1:4 ( 1 cement : 4 coarse sand ) with R.C.C. top slab with 1:1.5:3 mix (1 cement : 1.5 coarse sand (zone-III) : 3 graded stone aggregate 20 mm nominal size), foundation concrete 1:4:8 mix (1 cement : 4 coarse sand (zone-III) : 8 graded stone aggregate 40 mm nominal size), inside plastering 12 mm thick with cement mortar 1:3 (1 cement : 3 coarse sand) finished with floating coat of neat cement and making channels in cement concrete 1:2:4 (1 cement : 2 coarse sand : 4 graded stone aggregate 20 mm nominal size) finished with a floating coat of neat cement complete as per standard design : Inside size 90x80 cm and 45 cm deep including C.I. cover with frame (light duty) 455x610 mm internal dimensions, total weight of cover and frame to be not less than 38 kg (weight of cover 23 kg and weight of frame 15 kg) With common burnt clay F.P.S. (non modular) bricks of class designation 7.5 | each | 1 |  | 0 | 0 | 0 | 0
79 | 19.32.1 | 995413 |  | 18% | confirmed | Making soak pit 2.5 m diameter 3.0 metre deep with 45 x 45 cm dry brick honey comb shaft with bricks and S.W. drain pipe 100 mm diameter, 1.8 m long complete as per standard design. With common burnt clay F.P.S. (non modular) bricks of class designation 7.5 | each | 1 |  | 0 | 0 | 0 | 0
80 | 21.1 | 2: 995413; 4: 18%; 5: confirmed; 6: Providing and fixing aluminium work for doors, windows, ventilators and partitions with extruded built up standard tubular sections/ appropriate Z sections and other sections of approved make conforming to IS: 733 and IS: 1285, fixing with dash fasteners of required dia and size, including necessary filling up the gaps at junctions, i.e. at top, bottom and sides with required EPDM rubber/ neoprene gasket etc. Aluminium sections shall be smooth, rust free,straight, mitred and jointed mechanically wherever required including cleat angle, Aluminium snap beading for glazing / paneling, C.P. brass / stainless steel screws, all complete as per architectural drawings and the directions of Engineer-in-charge. (Glazing, paneling and dash fasteners to be paid for separately) : | 0 | 0 | 0 | 0
a | 21.1.1.1 | 995413 |  | 18% | confirmed | For fixed portion:Anodised aluminium (anodised transparent or dyed to required shade according to IS: 1868, Minimum anodic coating of grade AC 15) | kg | 240 |  | 0 | 0 | 0 | 0
b | 21.1.2.1 | 995413 |  | 18% | confirmed | For shutters of doors, windows & ventilators including providing and fixing hinges/ pivots and making provision for fixing of fittings wherever required including the cost of EPDM rubber / neoprene gasket required (Fittings shall be paid for separately)Anodised aluminium (anodised transparent or dyed to required shade according to IS: 1868,Minimum anodic coating of grade AC 15) | kg | 200 |  | 0 | 0 | 0 | 0
81 | 21.3.2 | 995413 |  | 18% | confirmed | Providing and fixing glazing in aluminium door, window, ventilator shutters and partitions etc. with EPDM rubber / neoprene gasket etc. complete as per the architectural drawings and the directions of engineer-in-charge . (Cost of aluminium snap beading shall be paid in basic item):With float glass panes of 5 mm thickness (weight not less than 12.50 kg/sqm) | sqm | 42 |  | 0 | 0 | 0 | 0
82 | 21.8.1 | 995413 |  | 18% | confirmed | Filling the gap in between aluminium frame & adjacent RCC/ Brick/ Stone work by providing weather silicon sealant over backer rod of approved quality as per architectural drawings and direction of Engineer-in-charge complete:Upto 5mm depth and 5 mm width | metre | 105 |  | 0 | 0 | 0 | 0
83 | 22.23.2 | 995413 |  | 18% | confirmed | Providing and applying integral crystalline slurry of hydrophilic in nature for waterproofing treatment to the RCC structures like retaining walls of the basement, water tanks, roof slabs, podiums, reservior, sewage & water treatment plant, tunnels / subway and bridge deck etc., prepared by mixing in the ratio of 5 : 2 (5 parts integral crystalline slurry : 2 parts water) for vertical surfaces and 3 : 1 (3 parts integral crystalline slurry : 1 part water) for horizontal surfaces and applying the same from negative (internal) side with the help of synthetic fiber brush. The material shall meet the requirements as specified in ACI- 212-3R-2010 i.e by reducing permeability of concrete by more than 90% compared with control concrete as per DIN 1048 and resistant to 16 bar hydrostatic pressure on negative side. The crystalline slurry shall be capable of self-healing of cracks up to a width of 0.50mm. The work shall be carried out all complete as per specification and the direction of the engineer-in-charge. The product performance shall carry guarantee for 10 years against any leakage. For horizontal surface one coat @1.10 kg per sqm. | sqm | 520 |  | 0 | 0 | 0 | 0
|  | 6: Non schedule item(Civil) |  | 0 | 0 | 0
84 | NS-1 | 995413 |  | 18% | confirmed | Diluting and injecting chemical emulsion (excluding of the cost of the chemical emulsion) for PRE-CONSTRUCTIONAL ANTI-termite treatment and creating a continuous chemical barrier under and all-round the column pits, wall trenches, basement excavation, top surface of plinth filling, junction of wall and floor, along the external perimeter of building, expansion joints, over the top surface of consolidated earth on which apron is to be laid, surroundings of pipes and conduits etc. complete as per specifications (Plinth area of the building at ground floor only shall be measured for payment). (Only application charges shall be paid under this item) Chlorpyriphos / Lindane Emulsifiable concentrate 20% with 1% concentration. | sqm | 703 |  | 0 | 0 | 0 | 0
85 | NS-2 | 995413 |  | 18% | confirmed | Providing and fixing stainless steel gratings with or with out hole for waste pipe for floor/nahni traps 100mm dia. | Each | 1 |  | 0 | 0 | 0 | 0
86 | NS-3 | 995413 |  | 18% | confirmed | Supplying, laying,jointing ,testing and commisioning approved make upvc pipes SWR grade B conforming to IS 13592.The quoted rates shall include necessary fittings like Tees, bends, offsets etc. including MS angle with GI clamps complete: 110 mm dia | Metre | 50 |  | 0 | 0 | 0 | 0
87 | NS-4 | 995413 |  | 18% | confirmed | Supplying, laying,jointing ,testing and commisioning approved make upvc pipes SWR grade B conforming to IS 13592.The quoted rates shall include necessary fittings like Tees, bends, offsets etc. including MS angle with GI clamps complete: 75 mm dia | Metre | 20 |  | 0 | 0 | 0 | 0
88 | NS-5 | 995413 |  | 18% | confirmed | Supplying,installing,testing and commissioning approved make 15 mm CP health faucet with CP flexible tube 1.0 m long,CP crutch,nozzle and 2- way Bib Cock with wall flange etc. complete. Jaquar Model No. 573 and 041 or equivalent. | Nos | 1 |  | 0 | 0 | 0 | 0
|  | 6: PART[B]: Electrical |  | 0 | 0 | 0
1 | 1.21 | 2: 995413; 4: 18%; 5: confirmed; 6: Supply and fixing of following sizes of PVC conduit alongwith the accessories in surface/ recess including cutting the wall and making good the same in case of recessed conduit as required: 20 mm | 0 | 0 | 0 | 0
(i) | 1.21.1 | 995413 |  | 18% | confirmed | 20 mm | Metre | 39 |  | 0 | 0 | 0 | 0
(ii) | 1.21.2 | 995413 |  | 18% | confirmed | 25 mm | Metre | 88 |  | 0 | 0 | 0 | 0
|  | 2: 995413; 4: 18%; 5: confirmed; 6: POINT WIRING: | 0 | 0 | 0 | 0
2 | 1.10. | 2: 995413; 4: 18%; 5: confirmed; 6: Wiring for light point/ fan point/ exhaust fan point/ call bell point with 1.5sq.mm FR PVC insulated copper conductor cable single core cable in surface/ recessed PVC conduit with modular plate, suitable GI box and earthing the point with 1.5 sqmm FR PVC insulated copper conductor single core cable etc as required: | 0 | 0 | 0 | 0
(i) | 1.10.2 | 995413 |  | 18% | confirmed | Group B | Point | 30 |  | 0 | 0 | 0 | 0
(ii) | 1.10.3 | 995413 |  | 18% | confirmed | Group C | Point | 25 |  | 0 | 0 | 0 | 0
3 | 1.5 | 995413 |  | 18% | confirmed | Wiring for light/ power plug wiring with 2x4 sq.mm. PVC insulated copper conductor, single core cable in surface/ recessed PVC conduit alongwith 1 number 4 sqmm FR PVC insulated copper conductor single core cable for loop earthing as required. | Metre | 110 |  | 0 | 0 | 0 | 0
|  | 2: 995413; 4: 18%; 5: confirmed; 6: CIRCUIT/SUB MAIN WIRING | 0 | 0 | 0 | 0
4 | 1.7 | 2: 995413; 4: 18%; 5: confirmed; 6: Wiring for circuit/submain wiring alongwith earth wire with the following sizes of PVC insulated copper conductor, single core cable in surface/recessed PVC conduit etc as required. | 0 | 0 | 0 | 0
(i) | 1.7.1 | 995413 |  | 18% | confirmed | 2X1.5 Sqmm + 1X 1.5 sqmm Earth wire | Metre | 50 |  | 0 | 0 | 0 | 0
(ii) | 1.7.2 | 995413 |  | 18% | confirmed | 2X2.5 Sqmm + 1X 2.5 sqmm Earth wire | Metre | 140 |  | 0 | 0 | 0 | 0
|  | 2: 995413; 4: 18%; 5: confirmed; 6: SWITCHES AND ACCESSORIES | 0 | 0 | 0 | 0
5 | 1.24 | 2: 995413; 4: 18%; 5: confirmed; 6: Supplying and fixing of following modular switch/socket on the existing modular plate and switch box inclduing connections but excluding modular plare etc as required. (for incharge room) | 0 | 0 | 0 | 0
(i) | 1.24.1 | 995413 |  | 18% | confirmed | 5/6 amp switch | Each | 5 |  | 0 | 0 | 0 | 0
(ii) | 1.24.4 | 995413 |  | 18% | confirmed | 3 pin 5/6 amp socket outlet | Each | 5 |  | 0 | 0 | 0 | 0
(iii) | 1.24.3 | 995413 |  | 18% | confirmed | .15/16 amp switch | Each | 3 |  | 0 | 0 | 0 | 0
(iv) | 1.24.5 | 995413 |  | 18% | confirmed | 6 pin 15/16 amp socket outlet | Each | 3 |  | 0 | 0 | 0 | 0
6 | 1.27 | 2: 995413; 4: 18%; 5: confirmed; 6: Supplying and fixing following size / module, GI Box along with modular base & cover plate of modular switches in recess etc. as required | 0 | 0 | 0 | 0
(i) | 1.27.1 | 995413 |  | 18% | confirmed | 1 or 2 Module (75 x 75 mm) | NO | 5 |  | 0 | 0 | 0 | 0
(ii) | 1.27.2 | 995413 |  | 18% | confirmed | 3 Module (100 x 75 mm) | NO | 5 |  | 0 | 0 | 0 | 0
(iii) | 1.27.3 | 995413 |  | 18% | confirmed | 4 Module (125 x 75 mm) | NO | 10 |  | 0 | 0 | 0 | 0
(iv) | 1.27.5 | 995413 |  | 18% | confirmed | 8 Module (125mmX125mm) | NO | 2 |  | 0 | 0 | 0 | 0
7 | 1.31 | 995413 |  | 18% | confirmed | Supply and fixing suitable size GI box with modular plate and cover in front on surface or in recess, including providing and fixing 3 pin 5/6 amps modular socket outlet and 5/6 amps modular switch, connection, painting etc as required (for main store and incharge room) | Each | 8 |  | 0 | 0 | 0 | 0
8 | 1.41 | 995413 |  | 18% | confirmed | Installation, testing and commissioning of pre-wired, fluorescent fittings, of all types complete with all accessories and tubes etc. directly on ceiling/wall, including connections with 1.5 sq.mm PVC insulated copper conductor, single core cable and earthing etc. as required. | Each | 6 |  | 0 | 0 | 0 | 0
9 | 1.42 | 995413 |  | 18% | confirmed | Installation, testing and commissioning of pre-wired, fluorescent fittings, of all types complete with all accessories and tubes etc. including supplying and fixing ball and socket arrangement, 2 nos. down-rods of 20 mm dia. x 1.6mm thick steel conduit upto 30 cm length, painting and wiring the down rods and connections with 1.5 sq.mm FR PVC insulated copper conductor, single core cable and earthing etc as required. | Each | 30 |  | 0 | 0 | 0 | 0
10 | 1.43 | 995413 |  | 18% | confirmed | Providing and fixing extra conduit down rod of 20 mm dia, 2 X 10 cm length, wiring with 2 X 1.5 sq. mm FRLS PVC insulated, copper conductor, single core cable including painting etc. as required. (Note : More than 5 cm length shall be rounded to the nearest 10 cm and 5 cm or less shall be ignored) | Each | 70 |  | 0 | 0 | 0 | 0
11 | 1.50.1 | 995413 |  | 18% | confirmed | Installation of exhaust fan upto 450 mm sweep in the existing opening including making the hole to suit the size of the above fan, making good the damage . Conenction , testing and comissioning etc as required. | each | 6 |  | 0 | 0 | 0 | 0
12 | 1.57 | 995413 |  | 18% | confirmed | Supplying & fixing suitable size GI box wih modular plate and cover in front on surface or in recess including providing and fixing 25 A modular socket outlet and 25 A modular SP MCB, "C" curve including connections, painting etc. as required. | Nos. | 10 |  | 0 | 0 | 0 | 0
|  | 2: 995413; 4: 18%; 5: confirmed; 6: DISTRIBUTION PANELS / BOARDS : |  |  | 0 | 0
13 | 2.3 | 2: 995413; 4: 18%; 5: confirmed; 6: Supplying and fixing following way, single pole and neutral, sheet steel, MCB distribution board, 240 V, on surface/ recess, complete with tinned copper bus bar, neutral bus bar, earth bar, din bar, interconnections, powder painted including earthing etc. as required. (But without MCB/RCCB/Isolator) |  |  | 0 | 0
(i) | 2.3.3 | 995413 |  | 18% | confirmed | 12 way, double door | Each | 1 |  | 0 | 0 | 0 | 0
14 | 2.1 | 2: 995413; 4: 18%; 5: confirmed; 6: Supplying and fixing 5 A to 32 A rating, 240/415 V, 10 kA, "C" curve, miniature circuit breaker suitable for inductive load of following poles in the existing MCB DB complete with connections, testing and commissioning etc. as required. | 0 | 0 | 0 | 0
(i) | 2.10.1 | 995413 |  | 18% | confirmed | Single pole | Each | 10 |  | 0 | 0 | 0 | 0
(ii) | 2.10.2 | 995413 |  | 18% | confirmed | Single pole and Neutral | Each | 1 |  | 0 | 0 | 0 | 0
15 | 19.1 | 995413 |  | 18% | confirmed | Supply, installation, testing and commissioning of 1200 mm sweep, BEE 5 STAR rated, ceiling fan with brushless direct current (BLDC) motor, class of insulation :B, 3 Nos blades, 30 cm long down rod, 2 nos canopies, shackle kit, safety rope, copper winding, power factor not less than 0.9, service value(CM/M/W) minimum 6.00, air delivary minimum 210 cum/ min, 350 rpm(tolerance as per IS:374-2019), THD less than 10%, remote or electronic regulator unit for speed control and all remaining accessoris including safety pins, nut bolts, washers, temperature rise =75 degreeC (max), insulation resistance, more than 2 Mega ohm, suitable for 230V, 50 Hz, single phase AC supply, earthing etc. complete as required. | Each | 5 |  | 0 | 0 | 0 | 0
|  | 6: Non scheduled items for electrical |  |  | 0 | 0
1 | NS | 995413 |  | 18% | confirmed | Supply of Surface mounted linear LED tube 20W LED Tube Light of approved make. | Nos | 32 |  | 0 | 0 | 0 | 0
2 | NS | 995413 |  | 18% | confirmed | Supply of Wall mounted exhaust fan (12" dia.) of approved make. | Nos | 4 |  | 0 | 0 | 0 | 0
|  | 6: Total for Civil & Electrical Portion | 0
|  | 6: Total GST Tax as confirmed by Bidder |  | 0
|  | 6: Grand Total including GST | 0
Click for Sch-4

## Sch-2 Dis (hidden)
SRTS-II/C&M/ WC-4534/2025 |  |  |  |  | Schedule - 2 Dis
Construction of Substation store at 400 kV Gadag sub-station. | [5 empty] | As per Lum-sum |  | 0
(SCHEDULE OF RATES AND PRICES : FREIGHT & INSURANCE CHARGES) | [5 empty] | AS per Percent |  | #REF!
[6 empty] | As per lum-sum on Sch-2 |  | 0%
Bidder’s Name and Address (Bidder) : |  |  |  | To: |  | As per Percent on Sch-2 |  | #REF!
|  |  |  | Sr.GM , Contracts & Materials Department, |  | Total Discount |  | #REF!
Name : |  |  |  | Power Grid Corporation of India Ltd.,
Address : |  |  |  | SRTS-II, RHQ
|  |  |  | Singanayakanahalli |  | Multipackage Discount |  | #REF!
Bengaluru-560064
[5 empty] | All Prices are in Indian Rupees. |  | Amount after Discount (Rs.) |  | Dis Alert | Amount after MPD (Rs.)
SI. No. | Description | Unit | Quantity | Unit Freight & Insurance Charges | Total Freight & Insurance Charges |  | Unit Freight & Insurance Charges | Total Freight & Insurance Charges |  | Unit Freight & Insurance Charges | Total Freight & Insurance Charges
1 | 2 | 3 | 4 | 5 | 6 = 4 x 5 |  | 5 | 6 = 4 x 5 |  | 5 | 6 = 4 x 5
#REF! | #REF!
#REF! | #REF! | #REF! | #REF! | #REF! | #REF!
#REF! | #REF! | #REF! | #REF! | #REF! | #REF!
#REF! | #REF!
#REF! | #REF! | #REF! | #REF! | #REF! | #REF!
#REF! | #REF! | #REF! | #REF! | #REF! | #REF!
#REF! | #REF!
#REF! | #REF! | #REF! | #REF! | #REF! | #REF!
#REF! | #REF! | #REF! | #REF! | #REF! | #REF!
#REF! | #REF! | #REF! | #REF! | #REF! | #REF!
#REF! | #REF! | #REF! | #REF! | #REF! | #REF!
#REF! | #REF! | #REF! | #REF! | #REF! | #REF!
#REF! | #REF! | #REF! | #REF! | #REF! | #REF!
#REF! | #REF!
#REF! | #REF! | #REF! | #REF! | #REF! | #REF!
#REF! | #REF!
#REF! | #REF! | #REF! | #REF! | #REF! | #REF!
#REF! | #REF! | #REF! | #REF! | #REF! | #REF!
#REF! | #REF! | #REF! | #REF! | #REF! | #REF!
#REF! | #REF! | #REF! | #REF! | #REF! | #REF!
#REF! | #REF!
#REF! | #REF! | #REF! | #REF! | #REF! | #REF!
#REF! | #REF! | #REF! | #REF! | #REF! | #REF!
#REF! | #REF! | #REF! | #REF! | #REF! | #REF!
#REF! | #REF! | #REF! | #REF! | #REF! | #REF!
#REF! | #REF! | #REF! | #REF! | #REF! | #REF!
#REF! | #REF! | #REF! | #REF! | #REF! | #REF!
#REF! | #REF! | #REF! | #REF! | #REF! | #REF!
#REF! | #REF! | #REF! | #REF! | #REF! | #REF!
#REF! | #REF!
| #REF! | #REF! | #REF! | #REF! | #REF!
#REF! | #REF! | #REF! | #REF! | #REF! | #REF!
#REF! | #REF! | #REF! | #REF! | #REF! | #REF!
| Total F&I Price |  |  |  | #REF!
Date : | --2025
Place : |  |  | Printed Name :
Designation :
Click for Sch-3

## Sch-3 Dis (hidden)
SRTS-II/C&M/ WC-4534/2025 |  |  |  |  | Schedule - 3
Construction of Substation store at 400 kV Gadag sub-station. | [7 empty] | As per Lum-sum |  | 0%
(SCHEDULE OF RATES AND PRICES : ERECTION CHARGES) | [7 empty] | AS per Percent |  | #REF!
[8 empty] | As per lum-sum on Sch-3 |  | 0%
Bidder’s Name and Address (Bidder) : |  |  |  | To: |  |  |  | As per Percent on Sch-3 |  | #REF!
|  |  |  | Sr.GM , Contracts & Materials Department, |  |  |  | Total Discount |  | #REF!
Name : |  |  |  | Power Grid Corporation of India Ltd.,
Address : |  |  |  | SRTS-II, RHQ
|  |  |  | Singanayakanahalli |  |  |  | Multipackage lum-sum |  | #REF!
Bengaluru-560064
[5 empty] | All Prices are in Indian Rupees. |  |  |  | Amount after Discount (Rs.) |  | Dis Alert | Amount after MPD (Rs.)
SI. No. | Description | Unit | Quantity | Unit Erection Charges | Total Erection Charges |  |  |  | Unit Erection Charges | Total Erection Charges |  | Unit Erection Charges | Total Erection Charges
1 | 2 | 3 | 4 | 5 | 6 = 4 x 5 |  |  |  | 5 | 6 = 4 x 5 |  | 5 | 6 = 4 x 5
#REF! | #REF!
#REF! | #REF!
| #REF! | #REF! | #REF! | #REF! | #REF!
| #REF! | #REF! | #REF! | #REF! | #REF!
#REF! | #REF! |  |  |  |  | (a) | Detailed Soil Investigation
| #REF! | #REF! | #REF! | #REF! | #REF! | (b) | All kinds of soil except fissured rock & hard rock
| #REF! | #REF! | #REF! | #REF! | #REF! | (e) | River Crossing Location
| #REF! | #REF! | #REF! | #REF! | #REF! | (f)
#REF! | #REF!
| #REF! | #REF! | #REF! | #REF! | #REF!
| #REF! | #REF! | #REF! | #REF! | #REF!
| #REF! | #REF! | #REF! | #REF! | #REF!
#REF! | #REF!
#REF! | #REF!
| #REF! | #REF! | #REF! | #REF! | #REF!
| #REF! | #REF! | #REF! | #REF! | #REF!
| #REF! | #REF! | #REF! | #REF! | #REF!
| #REF! | #REF! | #REF! | #REF! | #REF!
| #REF! | #REF! | #REF! | #REF! | #REF!
#REF! | #REF!
| #REF! | #REF! | #REF! | #REF! | #REF!
| #REF! | #REF! | #REF! | #REF! | #REF!
#REF! | #REF! | #REF! | #REF! | #REF! | #REF!
#REF! | #REF! | #REF! | #REF! | #REF! | #REF!
#REF! | #REF!
| #REF! | #REF! | #REF! | #REF! | #REF!
#REF! | #REF!
| #REF! | #REF! | #REF! | #REF! | #REF!
| #REF! | #REF! | #REF! | #REF! | #REF!
#REF! | #REF!
| #REF! | #REF! | #REF! | #REF! | #REF!
| #REF! | #REF! | #REF! | #REF! | #REF!
| #REF! | #REF! | #REF! | #REF! | #REF!
| #REF! | #REF! | #REF! | #REF! | #REF!
| #REF! | #REF! | #REF! | #REF! | #REF!
| #REF! | #REF! | #REF! | #REF! | #REF!
#REF!
| #REF! | #REF! | #REF! | #REF! | #REF!
| #REF! | #REF! | #REF! | #REF! | #REF!
| #REF! | #REF! | #REF! | #REF! | #REF!
| #REF! | #REF! | #REF! | #REF! | #REF!
#REF! | #REF!
#REF!
| #REF! | #REF! | #REF! | #REF! | #REF!
#REF! | #REF!
#REF! | #REF! | #REF! | #REF! | #REF! | #REF!
#REF! | #REF!
#REF! | #REF! | #REF! | #REF! | #REF! | #REF!
#REF! | #REF! | #REF! | #REF! | #REF! | #REF!
#REF! | #REF!
| #REF! | #REF! | #REF! | #REF! | #REF!
| Total Erection Price (A+B) |  |  |  | #REF!
Date : | --2025
Place : |  |  | Printed Name :
Designation :
Click for Sch-4

## Sch-4 (hidden)
SRTS-II/C&M/ WC-4534/2025 |  |  |  | Schedule - 4
Construction of Substation store at 400 kV Gadag sub-station.
(SCHEDULE OF RATES AND PRICES )
Bidder’s Name and Address (Bidder) : |  |  | To:
Sr.GM , Contracts & Materials Department,
Name : |  |  | Power Grid Corporation of India Ltd.,
Address : |  |  | SRTS-II, RHQ
Singanayakanahalli
Bengaluru-560064
AMC Charges
| TOTAL TRAINING CHARGES |  |  | 0
Date : | -- | Printed Name :
Place : |  | Designation :
Click for Sch-5

## Sche-2
SRTS-II/C&M/ WC-4534/2025 |  |  |  | Schedule - 5
Construction of Substation store at 400 kV Gadag sub-station.
(SUMMARY OF TAXES & DUTIES APPLICABLE ON PLANT & EQUIPMENT)
Bidder’s Name and Address (Bidder) : |  |  | To:
Sr.GM , Contracts & Materials Department,
Name : |  |  | Power Grid Corporation of India Ltd.,
Address : |  |  | SRTS-II, RHQ
Singanayakanahalli
Bengaluru-560064
Sl. No. | Item Nos. |  | Total Price (INR) |  | After Discount |  | After MPDiscount
1 | TOTAL GST ON Service |  |  |  | Excise Duty | #REF! | Excise Duty | #REF!
| Total GST for Supply of Services between the Contractor and the Employer (identified in Schedule 1') which are not included in the Unit price as per the provision of the Bidding Documents, as applicable. |  | 0
2 | TOTAL GST ON GOODS
Total GST on AMC charges
Date : | --2025 | Printed Name :
Place : |  | Designation :
Click for Sch-6

## Sch-5 Dis (hidden)
SRTS-II/C&M/ WC-4534/2025 |  |  |  | Schedule - 5
Construction of Substation store at 400 kV Gadag sub-station.
SUMMARY OF TAXES & DUTIES APPLICABLE ON GOODS
Bidder’s Name and Address (Bidder) : |  |  | To:
Sr.GM , Contracts & Materials Department,
Name : |  |  | Power Grid Corporation of India Ltd.,
Address : |  |  | SRTS-II, RHQ
Singanayakanahalli
Bengaluru-560064
Sl. No. | Item Nos. |  | Total Price (INR)
1 | TOTAL GST ON GOODS |  | #REF!
Total GST for Supply of Goods (inter-alia including Type Test Charges) between the Contractor and the Employer (identified in Schedule 1') which are not included in the Ex-works price as per the provision of the Bidding Documents, as applicable.
2 | TOTAL GST ON SERVICES |  | #REF!
Total GST on Installation Services (Schedule-3) and Training to be imparted in India (Schedule-4)
| GRAND TOTAL [1+2] |  | #REF!
Date : | --2025 | Printed Name :
Place : |  | Designation :
Click for Sch-6

## Sche-3
SRTS-II/C&M/ WC-4534/2025 |  |  | Schedule - 6
Construction of Substation store at 400 kV Gadag sub-station.
(GRAND SUMMARY)
Bidder’s Name and Address (Bidder) : |  |  | To:
Sr.GM , Contracts & Materials Department,
Name : |  |  | Power Grid Corporation of India Ltd.,
Address : |  |  | SRTS-II, RHQ
Singanayakanahalli
Bengaluru-560064
Sl. No. | Description |  | Total Price (INR)
1 | TOTAL SCHEDULE NO. 1 |  | 0
Ex-works price of Plant and Equipment
2 | TOTAL SCHEDULE NO. 2 |  | 0
RATES AND PRICES : FREIGHT & INSURANCE CHARGES
1 | TOTAL SCHEDULE NO. 3 |  | 0
Service/ Installation
2 | TOTAL SCHEDULE NO. 5 |  | 0
GST
6 | TOTAL SCHEDULE NO. 7 |  | 0
Type Test Charges [Total of this Schedule is included in Schedule - 1 above.]
| GRAND TOTAL [1+2] |  | 0
Date : | --2025 | Printed Name :
Place : |  | Designation :
Click for Sch-7

## Sch-7 (hidden)
SRTS-II/C&M/ WC-4534/2025 |  |  |  |  | Schedule 7
Construction of Substation store at 400 kV Gadag sub-station. | [7 empty] | As per Lum-sum |  | 0%
(SCHEDULE OF RATES AND PRICES ) | [7 empty] | AS per Percent |  | #REF!
[8 empty] | As per lum-sum on Sch-7 |  | 0%
Bidder’s Name and Address (Bidder) : |  |  | To: |  |  |  |  | As per Percent on Sch-7 |  | #REF!
|  |  | Sr.GM , Contracts & Materials Department, |  |  |  |  | Total Discount |  | #REF!
Name : |  |  | Power Grid Corporation of India Ltd.,
Address : |  |  | SRTS-II, RHQ
|  |  | Singanayakanahalli |  |  |  |  | Multipackage Discount |  | #REF!
Bengaluru-560064
Type test Charges
SL. NO. | Description of Test | Unit | Quantity | Unit Test Charge | Total Test Charges (Rs.) |  | #REF! |  | Total Test Charges After Discount (Rs.) |  | Dis Alert | Total Test Charges After MPD (Rs.)
NOT APPLICABLE
#REF!
#REF!
#REF!
| TOTAL TYPE TEST CHARGES |  |  |  | 0
[8 empty] | Dis Alert | #REF!
Date : | --2025 | Printed Name :
Place : |  | Designation :
Note : | Bidder should indicate the name of test laboratories where type tests are proposed to be conducted
SRTS-II/C&M/ WC-4534/2025
Construction of Substation store at 400 kV Gadag sub-station. | 0 | 0 |  |  |  | 0
(SCHEDULE OF RATES AND PRICES ) | 0 | 0 |  |  |  | 0
Bidder’s Name and Address (Bidder) : | [5 empty] | 0
| 0 | 0 |  |  |  | 0
Name : |  | 0 |  |  |  | 0
Address : |  | 0 |  |  |  | 0
|  | 0 |  |  |  | 0
|  | 0 |  |  |  | 0
SL. NO. | Description of Test | 0
#REF! | #REF! | #REF!
#REF! | #REF!
#REF! | #REF! | #REF!
#REF! | #REF! | #REF!
| #REF! | #REF!
#REF! | #REF!
#REF! | #REF!
#REF! | #REF!
#REF! | #REF! | #REF!
#REF! | #REF! | #REF!
#REF! | #REF! | #REF!
#REF! | #REF! | #REF!
| #REF! | #REF!
#REF! | #REF!
#REF! | #REF! | #REF!
#REF! | #REF! | #REF!
#REF! | #REF! | #REF!
#REF! | #REF! | #REF!
| #REF! | #REF!
#REF! | #REF!
#REF! | #REF! | #REF!
#REF! | #REF! | #REF!
#REF! | #REF! | #REF!
| #REF! | #REF!
#REF! | #REF!
#REF! | #REF! | #REF!
#REF! | #REF! | #REF!
#REF! | #REF! | #REF!
| #REF! | #REF!
#REF! | #REF!
#REF! | #REF! | #REF!
#REF! | #REF! | #REF!
#REF! | #REF! | #REF!
#REF! | #REF! | #REF!
| #REF! | #REF!
| #REF! | #REF!
#REF! | #REF!
#REF! | #REF!
#REF! | #REF! | #REF!
#REF! | #REF! | #REF!
#REF! | #REF! | #REF!
| #REF! | #REF!
| #REF! | #REF!
#REF! | #REF!
#REF! | #REF!
#REF! | #REF! | #REF!
#REF! | #REF! | #REF!
#REF! | #REF! | #REF!
#REF! | #REF! | #REF!
#REF! | #REF! | #REF!
| #REF! | #REF!
#REF! | #REF!
#REF! | #REF! | #REF!
#REF! | #REF! | #REF!
#REF! | #REF! | #REF!
#REF! | #REF! | #REF!
#REF! | #REF! | #REF!
#REF! | #REF! | #REF!
| #REF! | #REF!
#REF! | #REF!
#REF! | #REF! | #REF!
#REF! | #REF! | #REF!
#REF! | #REF! | #REF!
#REF! | #REF! | #REF!
#REF! | #REF! | #REF!
#REF! | #REF! | #REF!
#REF! | #REF! | #REF!
#REF! | #REF! | #REF!
#REF! | #REF! | #REF!
| #REF! | #REF!
#REF! | #REF!
#REF! | #REF! | #REF!
#REF! | #REF! | #REF!
#REF! | #REF! | #REF!
| #REF! | #REF!
#REF! | #REF!
#REF! | #REF! | #REF!
#REF! | #REF! | #REF!
#REF! | #REF! | #REF!
| #REF! | #REF!
#REF! | #REF!
#REF! | #REF! | #REF!
#REF! | #REF! | #REF!
| #REF! | #REF!
#REF! | #REF!
#REF! | #REF! | #REF!
#REF! | #REF! | #REF!
#REF! | #REF! | #REF!
#REF! | #REF! | #REF!
#REF! | #REF! | #REF!
#REF! | #REF! | #REF!
| #REF! | #REF!
#REF! | #REF!
#REF! | #REF! | #REF!
#REF! | #REF! | #REF!
#REF! | #REF! | #REF!
#REF! | #REF! | #REF!
#REF! | #REF!
#REF! | #REF! | #REF!
#REF! | #REF! | #REF!
#REF! | #REF! | #REF!
#REF! | #REF! | #REF!
| #REF! | #REF!
| #REF! | #REF!
| #REF! | #REF!
Click for Bid Form 2nd Envelope

## Sch-7 Dis (hidden)
SRTS-II/C&M/ WC-4534/2025
Construction of Substation store at 400 kV Gadag sub-station. | [6 empty] | As per Lum-sum |  | 0%
(SCHEDULE OF RATES AND PRICES : TYPE TEST CHARGES) | [6 empty] | AS per Percent |  | #REF!
[7 empty] | As per lum-sum on Sch-7 |  | 0%
Bidder’s Name and Address (Bidder) : |  |  |  | To: |  |  | As per Percent on Sch-7 |  | #REF!
|  |  |  | Sr.GM , Contracts & Materials Department, |  |  | Total Discount |  | #REF!
Name : |  |  |  | Power Grid Corporation of India Ltd.,
Address : |  |  |  | SRTS-II, RHQ
|  |  |  | Singanayakanahalli |  |  | Multipackage Discount |  | #REF!
Bengaluru-560064
Type Tests on Earthwire
SL. NO. | Description of Test | Unit | Quantity | Unit Test Charge | Total Test Charges (Rs.) |  |  | Total Test Charges After Discount (Rs.) |  | Dis Alert | Total Test Charges After MPD (Rs.)
I | 0
(a) | #REF! | #REF! | #REF! | #REF! | #REF!
(b) | #REF! | #REF! | #REF! | #REF! | #REF!
| Sub-Total (I) |  |  |  | #REF!
| TOTAL TEST CHARGES (I) |  |  |  | #REF!
[7 empty] | Discount Sche-7 | #REF! |  | MPD Sche-7 | #REF!
[7 empty] | Dis Alert | #REF!
Signature :
Date : | --2025 | Printed Name :
Place : |  | Designation :
Common Seal :
Note : | Bidder should indicate the name of test laboratories where type tests are proposed to be conducted
SRTS-II/C&M/ WC-4534/2025
Construction of Substation store at 400 kV Gadag sub-station. | 0 | 0 |  |  |  | 0
(SCHEDULE OF RATES AND PRICES : TYPE TEST CHARGES) | 0 | 0 |  |  |  | 0
Bidder’s Name and Address (Bidder) : | [5 empty] | 0
| 0 | 0 |  |  |  | 0
Name : |  | 0 |  |  |  | 0
Address : |  | 0 |  |  |  | 0
|  | 0 |  |  |  | 0
|  | 0 |  |  |  | 0
SL. NO. | Description of Test | 0
#REF! | #REF! | #REF!
#REF! | #REF!
#REF! | #REF! | #REF!
#REF! | #REF! | #REF!
| #REF! | #REF!
#REF! | #REF!
#REF! | #REF!
#REF! | #REF!
#REF! | #REF! | #REF!
#REF! | #REF! | #REF!
#REF! | #REF! | #REF!
#REF! | #REF! | #REF!
| #REF! | #REF!
#REF! | #REF!
#REF! | #REF! | #REF!
#REF! | #REF! | #REF!
#REF! | #REF! | #REF!
#REF! | #REF! | #REF!
| #REF! | #REF!
#REF! | #REF!
#REF! | #REF! | #REF!
#REF! | #REF! | #REF!
#REF! | #REF! | #REF!
| #REF! | #REF!
#REF! | #REF!
#REF! | #REF! | #REF!
#REF! | #REF! | #REF!
#REF! | #REF! | #REF!
| #REF! | #REF!
#REF! | #REF!
#REF! | #REF! | #REF!
#REF! | #REF! | #REF!
#REF! | #REF! | #REF!
#REF! | #REF! | #REF!
| #REF! | #REF!
| #REF! | #REF!
#REF! | #REF!
#REF! | #REF!
#REF! | #REF! | #REF!
#REF! | #REF! | #REF!
#REF! | #REF! | #REF!
| #REF! | #REF!
| #REF! | #REF!
#REF! | #REF!
#REF! | #REF!
#REF! | #REF! | #REF!
#REF! | #REF! | #REF!
#REF! | #REF! | #REF!
#REF! | #REF! | #REF!
#REF! | #REF! | #REF!
| #REF! | #REF!
#REF! | #REF!
#REF! | #REF! | #REF!
#REF! | #REF! | #REF!
#REF! | #REF! | #REF!
#REF! | #REF! | #REF!
#REF! | #REF! | #REF!
#REF! | #REF! | #REF!
| #REF! | #REF!
#REF! | #REF!
#REF! | #REF! | #REF!
#REF! | #REF! | #REF!
#REF! | #REF! | #REF!
#REF! | #REF! | #REF!
#REF! | #REF! | #REF!
#REF! | #REF! | #REF!
#REF! | #REF! | #REF!
#REF! | #REF! | #REF!
#REF! | #REF! | #REF!
| #REF! | #REF!
#REF! | #REF!
#REF! | #REF! | #REF!
#REF! | #REF! | #REF!
#REF! | #REF! | #REF!
| #REF! | #REF!
#REF! | #REF!
#REF! | #REF! | #REF!
#REF! | #REF! | #REF!
#REF! | #REF! | #REF!
| #REF! | #REF!
#REF! | #REF!
#REF! | #REF! | #REF!
#REF! | #REF! | #REF!
| #REF! | #REF!
#REF! | #REF!
#REF! | #REF! | #REF!
#REF! | #REF! | #REF!
#REF! | #REF! | #REF!
#REF! | #REF! | #REF!
#REF! | #REF! | #REF!
#REF! | #REF! | #REF!
| #REF! | #REF!
#REF! | #REF!
#REF! | #REF! | #REF!
#REF! | #REF! | #REF!
#REF! | #REF! | #REF!
#REF! | #REF! | #REF!
#REF! | #REF!
#REF! | #REF! | #REF!
#REF! | #REF! | #REF!
#REF! | #REF! | #REF!
#REF! | #REF! | #REF!
| #REF! | #REF!
| #REF! | #REF!
| #REF! | #REF!
Click for Bid Form 2nd Envelope

## Octroi (hidden)
Details of Octroi
Sl No. | Description of Items | Amount on which Octroi is applicable | Rate of Octroi | Octroi
(1) | (2) | (3) | (4) | (5) =(3) x (4)
1 |  |  |  | 0
2 |  |  |  | 0
3 |  |  |  | 0
4 |  |  |  | 0
5 |  |  |  | 0
6 |  |  |  | 0
7 |  |  |  | 0
8 |  |  |  | 0
9 |  |  |  | 0
10 |  |  |  | 0
| Total |  |  | 0
Back to Sch 5

## Entry Tax (hidden)
Details of Entry Tax
Sl No. | Description of Items | Amount on which Entry Tax is applicable | Rate of Entry Tax | Entry Tax
(1) | (2) | (3) | (4) | (5) =(3) x (4)
1 |  |  |  | 0
2 |  |  |  | 0
3 |  |  |  | 0
4 |  |  |  | 0
5 |  |  |  | 0
6 |  |  |  | 0
7 |  |  |  | 0
8 |  |  |  | 0
9 |  |  |  | 0
10 |  |  |  | 0
| Total |  |  | 0
Back to Sch 5

## Other Taxes & Duties (hidden)
Details of Other Taxes & Duties
Sl No. | Description of Items | Amount on which Other Taxes & Duties are applicable | Description of Taxes & Duties | Rate of Taxes & Duties | Amount of Taxes & Duties
(1) | (2) | (3) | (4) | (5) | (6) =(3) x (4)
1 |  |  |  |  | 0
2 |  |  |  |  | 0
3 |  |  |  |  | 0
4 |  |  |  |  | 0
5 |  |  |  |  | 0
6 |  |  |  |  | 0
7 |  |  |  |  | 0
8 |  |  |  |  | 0
9 |  |  |  |  | 0
10 |  |  |  |  | 0
| Total |  |  |  | 0
Back to Sch 5

## Bid Form
SRTS-II/C&M/ WC-4534/2025 |  |  |  |  | Bid Form | Sole Bidder |  | 1 | st |  | 1 | January
[6 empty] | 0 |  | 2 | nd |  | 2 | February
BID FORM (Price bid) | [7 empty] | 3 | rd |  | 3 | March
[8 empty] | 4 | th |  | 4 | April
Bid Proposal Ref. No. | [7 empty] | 5 | th |  | 5 | May
Date : | --2025 | [6 empty] | 6 | th | #VALUE! | 6 | June
[8 empty] | 7 | th | #VALUE! | 7 | July
To: | [7 empty] | 8 | th | #VALUE! | 8 | August
Sr.GM , Contracts & Materials Department, | [7 empty] | 9 | th | #VALUE! | 9 | September
Power Grid Corporation of India Ltd., | [7 empty] | 10 | th |  | 10 | October
SRTS-II, RHQ | [7 empty] | 11 | th |  | 11 | November
Singanayakanahalli | [7 empty] | 12 | th |  | 12 | December
Bengaluru-560064 | [7 empty] | 13 | th
[8 empty] | 14 | th
Name of Contract : |  | Construction of Substation store at 400 kV Gadag sub-station. | [5 empty] | 15 | th
Dear Ladies and/or Gentlemen, | [7 empty] | 16 | th
1 | In continuation of Techno commercial part of our Bid, we hereby submit the price schedules of the Bid, both of which shall be read together and in conjunction with each other, and shall be construed as an integral part of our Bid. Accordingly, we the undersigned, offer to design, manufacture, test, deliver, under the above-named package in full conformity with the said Bidding Documents as may be determined in accordance with the terms and conditions of the Bidding Documents. |  |  |  |  | In continuation of Techno commercial part of our Bid, we hereby submit the price schedules of the Bid, both of which shall be read together and in conjunction with each other, and shall be construed as an integral part of our Bid. Accordingly, we the undersigned, offer to design, manufacture, test, deliver, under the above-named package in full conformity with the said Bidding Documents | as may be determined in accordance with the terms and conditions of the Bidding Documents. | 17 | th
| The above amounts are in accordance with the price schedules attached herewith and are made part of this bid. | [6 empty] | 18 | th
2 | Price Schedules | [6 empty] | 19 | th
2.1 | In line with the requirements of the Bidding documents, we enclose herewith the following Price Schedules, duly filled - in as per your proforma: | [6 empty] | 20 | th
| Schedule 1 |  | Plant and Equipment |  |  |  |  | 21 | st
| Schedule 2 |  | Local Transportation, In-transit Insurance, loading and unloading |  |  |  |  | 22 | th
| Schedule 4 |  | Training charges for training to be imparted. |  |  |  |  | 24 | th
| Schedule 5 |  | Taxes and Duties not included in Schedule 1 |  |  |  |  | 25 | th
| Schedule 6 |  | Grand Summary [Schedule 1to 5] |  |  |  |  | 26 | th
| Schedule 7 |  | Break-up of Type Test Charges for Type Tests to be conducted |  |  |  |  | 27 | th
2.2 | We are aware that the Price Schedules do not generally give a full description of the Work to be performed under each item and we shall be deemed to have read the Technical Specifications and other sections of the Bidding Documents and Drawings to ascertain the full scope of Work included in each item while filling-in the rates and prices. We agree that the entered rates and prices shall be deemed to include for the full scope as aforesaid, including overheads and profit. | [6 empty] | 28 | th
2.3 | We declare that as specified in Clause 11.5, Section –II:ITB, Vol.-I of the Bidding Documents, prices quoted by us in the Price Schedules shall be in line with the bid documents & Contract Agreement. | [6 empty] | 29 | th
2.4 | We understand that in the price schedules, where there are errors between the total of the amounts given under the column for the price Breakdown and the amount given under the Total Price, the former shall prevail and the latter will be corrected accordingly. We further understand that where there are discrepancies between amounts stated in figures and amounts stated in words, the amount stated in words shall prevail. Similarly, any discrepancy in the total bid price and that of the summation of Schedule price (price indicated in a Schedule indicating the total of that schedule), the total bid price shall be corrected to reflect the actual summation of the Schedule prices. | [6 empty] | 30 | th
2.5 | We declare that items left blank in the Schedules will be deemed to have been included in other items. The TOTAL for each Schedule and the TOTAL of Grand Summary shall be deemed to be the total price for executing the Facilities and sections thereof in complete accordance with the Contract, whether or not each individual item has been priced. | [6 empty] | 31 | st
3 | We confirm that except as otherwise specifically provided our Bid Prices in this Second Envelope include all taxes, duties, levies and charges as may be assessed on us/our Associate (applicable for Foreign Bidder), our Sub-Contractor/Sub-Vendor or their employees by all municipal, state or national government authorities in connection with the Facilities, in and outside of India.
3.1 | 100% of applicable Taxes and Duties i.e GST, which are payable by the Employer under the Contract, shall be reimbursed by the Employer on production of satisfactory documentary evidence by the Contractor in accordance with the provisions of the Bidding Documents.
3.2 | We further understand that notwithstanding 3.0 above, in case of award on us, you shall also bear and pay/reimburse to us, GST applicable on supplies by us to you, imposed on the Plant & Equipment to be incorporated into the Facilities of the Price Schedule in this Second Envelope; by the Indian Laws.
3.3 | We confirm that we have also registered/we shall also get registered in the GST Network with a GSTIN, in all the states where the project is located and the states from which we shall make our supply of goods.
4 | # (For Joint Venture only) We, the partners of Joint Venture submitting this bid, do agree and confirm that in case of Award of Contract on the Joint Venture, we shall be jointly and severally liable and responsible for the execution of the Contract in accordance with Contract terms and conditions.
5 | We, hereby, declare that only the persons or firms interested in this proposal as principals are named here and that no other persons or firms other than those mentioned herein have any interest in this proposal or in the Contract to be entered into, if the award is made on us, that this proposal is made without any connection with any other person, firm or party likewise submitting a proposal is in all respects for and in good faith, without collusion or fraud.
Thanking you, we remain,
Yours faithfully,
For and on behalf of
Signature :
Date : | --2025 |  |  | Printed Name :
Place : |  |  |  | Designation :
Common Seal :
Please provide additional information of the Bidder
Business Address :
Country of Incorporation :
State/Province to be indicated :
Name of Principal Officer :
Address of Principal Officer :
Note: Bidders may note that no prescribed proforma has been enclosed for Attachment 2 : Power of Attorney. Bidders may use their own proforma for furnishing the required information with the bid.
* * *
Back to Cover Page

## Q & C (2) (hidden)
STATEMENT OF QUOTED / CORRECTED PRICES
All Figures are in Rupees
Bidder |  | #VALUE!
Sl. No. | Price Component | Quoted Price | Corrected Price
1 | TOTAL SCHEDULE NO. 1:Ex-Works Price of Plant and Equipment including Type Test Charges | 0 |  | 0
2 | TOTAL SCHEDULE NO.2: Local Transportation, Insurance and other Incidental Services. | 0 |  | 0
3 | TOTAL SCHEDULE NO.3: Installation Charges | #REF! |  | #REF!
4 | TOTAL SCHEDULE NO.4: Training Charges | Not Applicable |  | Not Applicable
5 | TOTAL BID PRICE: (Excluding Taxes & Duties) | #REF! |  | #REF!
6 | DISCOUNT | #REF! |  | #REF! | #REF!
7 | NET BID PRICE (Excluding Taxes & Duties) | #REF! |  | #REF!
8 | TAXES & DUTIES PAYABLE ADDITIONALLY
| A) EXCISE DUTY | #REF! |  | 0
| B) CENTRAL SALES TAX | #REF! |  | 0
| C) VAT | #REF! |  | 0
| D) ENTRY TAX / OCTROI | #REF! |  | 0
E) OTHERS
| F) TOTAL TAXES & DUTIES | #REF! |  | 0
8 | TOTAL BID PRICE (INCLUDING TAXES & DUTIES) | #REF! |  | #REF!
9 | TOTAL SCHEDULE NO.7: Type Test Charges [Total of this Schedule is included in Schedule-1 above] | 0 |  | 0
I) | Bidder has indicated the following taxes and duties additionally applicable for their bid:
| #REF! |  |  |  | Excise Duty | #REF! | #REF!
| #REF! |  |  |  | CST | #REF! | #REF!
| #REF! |  |  |  | VAT | #REF! | #REF!
| #REF! |  |  |  | Entry Tax/ Octroi | #REF! | #REF!
| Others as |  |  |  | Others
II) | With regard to Entry Tax, it may be mentioned that the substations covered under the subject pacakge falls in State of MP, where an entry tax @ 2% of Purchase Price is applicable. In view of the above, the taxes and duties inter-alia including entry tax applicable for the bids are calculated :
a) | Ex-Works Price of Direct Supplies (after discount, if any) |  | Rs. | 0
b) | Excise Duty, as applicable on (a) above at the rate : | 10% | Rs. | 0
c) | Amount on which Sales Tax is applicable | 0 |  | 0
d) | CST, as applicable on (a) + ED (b) above at the rate : | 2% | Rs. | 0
e) | VAT, as applicable on (a) + ED (b) above at the rate : | 1% |  | 0
f) | Others [……………………………………………] |  | Rs.
g) | Purchase Price for Entry Tax (Total Ex-Works+F&I+ED+CST+Others) |  | Rs. | 0
h) | Entry Tax, as applicable on (e) above at the rate : |  | Rs. | 0
Construction of Substation store at 400 kV Gadag sub-station. |  | Statement of Quoted / Corrected Prices |  | Page
Spec. No. | SRTS-II/C&M/ WC-4534/2025

## Q & C (hidden)
STATEMENT OF QUOTED / CORRECTED PRICES
All Figures are in Rupees
Bidder
Sl. No. | Price Component | Quoted Price | Corrected Price
1 | TOTAL SCHEDULE NO. 1:Ex-Works Price of Plant and Equipment including Type Test Charges | 0 |  | 0
2 | TOTAL SCHEDULE NO.2: Local Transportation, Insurance and other Incidental Services. | 0 |  | 0
3 | TOTAL SCHEDULE NO.3: Installation Charges | #REF! |  | #REF!
4 | TOTAL SCHEDULE NO.4: Training Charges | Not Applicable |  | Not Applicable
5 | TOTAL BID PRICE: (Excluding Taxes & Duties) | #REF! |  | #REF!
6 | DISCOUNT | #REF! |  | #REF!
7 | NET BID PRICE (Excluding Taxes & Duties) | #REF! |  | #REF!
8 | TAXES & DUTIES PAYABLE ADDITIONALLY
| A) EXCISE DUTY | #REF! |  | #REF!
| B) CENTRAL SALES TAX /VAT | #REF! |  | #REF!
| C) ENTRY TAX / OCTROI | #REF! |  | #REF!
| D) OTHERS | #REF! |  | 0
| E) TOTAL TAXES & DUTIES | #REF! |  | #REF!
8 | TOTAL BID PRICE (INCLUDING TAXES & DUTIES) | #REF! |  | #REF!
9 | TOTAL SCHEDULE NO.7: Type Test Charges [Total of this Schedule is included in Schedule-1 above] | 0 |  | 0
I) | Bidder has indicated the following taxes and duties additionally applicable for their bid:
a) | Excise Duty |  | Rs. | #REF!
b) | CST /VAT |  | Rs. | #REF!
c) | Entry Tax / Octroi |  | Rs. | #REF!
d) | Others |  | Rs. | #REF!
II) | Bidder has offered following discount(s)
III) | With regard to Entry Tax, it may be mentioned that the substations covered under the subject pacakge falls in State of MP, where an entry tax @ 1% of Purchase Price is applicable. In view of the above, the taxes and duties inter-alia including entry tax applicable for the bids are calculated : |  |  |  | Details of dicounts
a) | Ex-Works Price of Direct Supplies (after discount, if any) |  | Rs. | #REF! | Gross LS | #REF! | #REF! | #REF! | Gross % | #REF! | #REF! | #REF!
b) | Excise Duty @ 10.3% of (a) above |  | Rs. | #REF! |  |  |  | #REF! |  |  |  | #REF!
c) | CST / VAT @ 2% of Ex-Works of Direct Supplies (a) + ED (b) above |  | Rs. | #REF! | Sch-1 Direct LS | #REF! | #REF! | #REF! | Sch-1 Direct % | #REF! | #REF! | #REF!
d) | Others |  | Rs. |  | Sch-1 BO LS | #REF! | #REF! | #REF! | Sch-1 BO % | #REF! | #REF! | #REF!
e) | Purchase Price for Entry Tax (Total Ex-Works+F&I+ED+CST+Others) |  | Rs. | #REF! | Sch-2 LS | #REF! | #REF! | #REF! | Sch-2 % | #REF! | #REF! | #REF!
f) | Entry Tax @ 1% of (e) above |  | Rs. | #REF! | Sch-3 LS | #REF! | #REF! | #REF! | Sch-3 % | #REF! | #REF! | #REF!
[5 empty] | Sch-7 LS | #REF! | #REF! | #REF! | Sch-7 % | #REF! | #REF! | #REF!
Construction of Substation store at 400 kV Gadag sub-station. |  | Statement of Quoted / Corrected Prices |  | Page | Different Manner | #REF!
[5 empty] | Text for Discount | #REF!
#REF!
#REF!

## N to W (hidden)
0
Rs. Zero Only
0
0
0
0
0
0
1 | One
2 | Two
3 | Three
4 | Four
5 | Five
6 | Six
7 | Seven
8 | Eight
9 | Nine
10 | Ten
11 | Eleven
12 | Twelve
13 | Thirteen
14 | Fourteen
15 | Fifteen
16 | Sixteen
17 | Seventeen
18 | Eighteen
19 | Nineteen
20 | Twenty
21 | Twenty One
22 | Twenty Two
23 | Twenty Three
24 | Twenty Four
25 | Twenty Five
26 | Twenty Six
27 | Twenty Seven
28 | Twenty Eight
29 | Twenty Nine
30 | Thirty
31 | Thirty One
32 | Thirty Two
33 | Thirty Three
34 | Thirty Four
35 | Thirty Five
36 | Thirty Six
37 | Thirty Seven
38 | Thirty Eight
39 | Thirty Nine
40 | Forty
41 | Forty One
42 | Forty Two
43 | Forty Three
44 | Forty Four
45 | Forty Five
46 | Forty Six
47 | Forty Seven
48 | Forty Eight
49 | Forty Nine
50 | Fifty
51 | Fifty One
52 | Fifty Two
53 | Fifty Three
54 | Fifty Four
55 | Fifty Five
56 | Fifty Six
57 | Fifty Seven
58 | Fifty Eight
59 | Fifty Nine
60 | Sixty
61 | Sixty One
62 | Sixty Two
63 | Sixty Three
64 | Sixty Four
65 | Sixty Five
66 | Sixty Six
67 | Sixty Seven
68 | Sixty Eight
69 | Sixty Nine
70 | Seventy
71 | Seventy One
72 | Seventy Two
73 | Seventy Three
74 | Seventy Four
75 | Seventy Five
76 | Seventy Six
77 | Seventy Seven
78 | Seventy Eight
79 | Seventy Nine
80 | Eighty
81 | Eighty One
82 | Eighty Two
83 | Eighty Three
84 | Eighty Four
85 | Eighty Five
86 | Eighty Six
87 | Eighty Seven
88 | Eighty Eight
89 | Eighty Nine
90 | Ninety
91 | Ninety One
92 | Ninety Two
93 | Ninety Three
94 | Ninety Four
95 | Ninety Five
96 | Ninety Six
97 | Ninety Seven
98 | Ninety Eight
99 | Ninety Nine
100 | One Hundred