|  | ## Qualification Criteria |
| --- | --- |
| 1.0 | ## Qualification of Bidder will be based on meeting the minimum pass/fail criteria specified below regarding the Bidder’s technical experience and financial position as demonstrated by the Bidder’s responses in the corresponding Bid Schedules. Technical experience and financial resources of any proposed subcontractor(s) shall not be taken into account in determining the Bidder's compliance with the qualifying criteria. ## The bid can be submitted by an individual firm or a Joint Venture of two or more firms (Specific requirements for Joint Ventures are given under Para no.2.3 below). ## The Employer may assess the capacity and capability of the bidder, to successfully execute the scope of work covered under the package within stipulated completion period. This assessment shall inter-alia include (i) document verification; (ii) bidders work/manufacturing facilities visit; (iii) manufacturing capacity, details of works executed, works in hand , anticipated in future & the balance capacity available for the present scope of work; (iv) details of plant and machinery, manufacturing and testing facilities, manpower and financial resources; (v) details of quality systems in place ; (vi) past experience and performance ; (vii) customer feedback ; (viii) banker’s feedback etc. |
| 2.1 | ## Technical Experience |
| 2.1.1 | ## The bidder must be a manufacturer of Voltage Source Converter (VSC) High voltage Direct Current Transmission equipment for the last seven (7) years or more as on the originally scheduled last date of bid submission (soft copy) i.e. 04.02.2025 and who has implemented a contract wherein the scope involves engineering, manufacturing, supply, erection, testing and commissioning of at least one long distance VSC based HVDC transmission converter station or a VSC based Back-to Back HVDC system of a unit rating of at least 250MW, along with associated auxiliary equipment and ancillary works and the VSC HVDC system should have been in Satisfactory Operation* for a period of not less than one year as on the originally scheduled last date of bid submission (soft copy) mentioned above. ## OR |
| 2.1.2 | (a) The bidder must have established manufacturing/ assembly and testing facilities in India for HVDC thyristor/Insulated Gate Bipolar Transistor (IGBT) Valve(s) or HVDC Control & protection (C&P) system or Converter transformer, based on the technological support of the Parent/Principal /Group Company and the bidder must have manufactured/ assembled, tested and supplied at least HVDC thyristor/ Insulated Gate Bipolar Transistor (IGBT) Valve(s) or HVDC Control & protection or Converter transformer for at least one long distance HVDC converter station or a Back-to-Back HVDC system of a unit rating of at least 250 MW for HVDC Project and the same must be in satisfactory operation* as on the originally scheduled last date of bid submission (soft copy) mentioned above. (b) The Parent/ Principal/ Group Company of the bidder must meet qualification requirements mentioned at para 2.1.1 above. (c) The bidder shall also submit a legally enforceable undertaking (jointly with Parent/ Principal/ Group Company) to guarantee quality, timely supply, commissioning, performance and warranty obligations for HVDC System of present scope. ## Note-1 (*): satisfactory operation means Certificate issued by the employer certifying the operation without any adverse remark. ## Note-2: In case of works executed under a contract that had been awarded on a Joint Venture, the experience of individual Joint Venture Partner shall be considered limited to the scope of that partner under the said contract. ## Note -3: In case, Bidder is a holding company, the technical experience referred to in para 2.1 above shall be of that holding company only (i.e. excluding its subsidiary/group companies). In case Bidder is a subsidiary of a holding company, the technical experience referred to in para 2.1 above shall be of that subsidiary company only (i.e. excluding its holding company). ## Note-4: Parent/Principal Company shall be the company who have maintained an equity participation of at least 51% in the bidder`s Company 7 (Seven) days prior to originally scheduled last date of bid submission mentioned above. ## Note-5: The Group Company means the Contractor and the Group Company shall have a common source of control, directly or indirectly, so as to exercise a minimum equity participation of 26% or appoint more than 50% of members of Board of Directors in the Group Company 7 (Seven) days prior to originally scheduled last date of bid submission mentioned above. |
| 2.2 | Financial Position |
|  | For the purpose of this particular bid, bidder shall meet the following minimum criteria: |
| a) | Net Worth for last 3 financial years should be positive. |
| b) | Minimum Average Annual Turnover** (MAAT) of the bidder for best three years i.e. 36 months out of last five financial years as annualized should be INR 27390.0 Million or USD 316.21 Million or equivalent **Note: Annual gross revenue from operations/ gross operating income as incorporated in the profit and loss account excluding other operative income/ other income. |
| c) | Bidder shall have liquid assets (L.A.) or/and evidence of access to or availability of credit facilities of not less than INR 4565.0 Million or USD 52.70 Million or equivalent Note: - In case bidder is a holding company, the Financial Position criteria referred to in para 2.2 above shall be that of holding company only (i.e. excluding its subsidiary / group companies). In case bidder is a subsidiary of a holding company, the Financial Position criteria referred to in para 2.2 above shall be that of subsidiary company only ( i.e excluding its holding company). - In case bidder has established manufacturing/ assembling and testing facility in India and yet to complete three (3) financial years, the Net Worth and average of the turnover as per financial statement for completed financial years shall be considered for the purpose of compliance to the specified Net Worth and MAAT requirements. - In case of bidder qualifying through Para 2.1.2 above, who has established manufacturing/ assembling and testing facility in India as based on the technological support of the Parent/Principal/Group company but not meeting the Financial Position requirement as per note (i) read along with note (ii) above, the following shall be applicable: In case bidder is yet to complete five (5) years from the date of commercial production of such equipment(s) as on the originally scheduled last date of bid submission mentioned above, the financial position requirement as per para 2.2 (b) & (c) of Parent/Principal company providing collaboration for technological support shall be considered. However, once he completes five (5) years from the date of commercial production of such equipment in India as on the originally scheduled last date of bid submission mentioned above, the financial position requirements as specified at 2.2 (b) and (c) above shall also be required to be met by such bidder on their own as per note (i) above and not based on their Parent/Principal company. Further, in case the bidder is yet to complete one (1) financial year, the Net worth requirement as per para 2.2 (a) above of parent/principal shall be considered. - Relaxation for Start-Ups^^/ MSEs Start-Ups^^/MSEs, meeting the specified requirements at Para 2.2 (a) above in Financial Position shall also be considered qualified if they meet Eighty (80) % of the requirement specified at Para 2.2 (b) & 2.2 (c) above in Financial Position. ^^Start-Ups as defined by DIPP, applicable as on the originally scheduled date of bid opening. |
| 2.3 | Joint Venture Bids |
| 2.3.1 | In case a bid is submitted by a Joint Venture (JV) of two or more firms as partners, joint venture must comply the following minimum criteria as per 2.3.1.1 as below. |
| 2.3.1.1 | i) All the partners of the JV shall meet individually the financial position criteria given at para 2.2 a) above. ii) The lead partner shall meet the minimum criteria stipulated at para 2.1.1 or 2.1.2. Further, the lead partner shall also meet not less than 40% of the minimum criteria given at para 2.2 (b) and (c). iii) Each of the other partner(s): - Must meet the minimum criteria stipulated at para 2.1.1. OR - Should have manufactured/ assembled, tested and supplied HVDC equipment such as HVDC Thyristor Valve(s)/ Insulated Gate Bipolar Transistor(IGBT) Valve(s) or Converter transformer or HVDC control and protection (C&P) system for at least one long distance HVDC converter station or a Back-to-Back HVDC station which has been in satisfactory operation* for at least one (1) year as on the originally scheduled last date of bid submission (soft copy) mentioned above. Further, each of the other partner(s) shall also meet not less than 25% of the minimum criteria given at para 2.2 b) and c) above. |
| 2.3.1.2 | The joint venture must satisfy collectively the Criteria of para 2.2 b) and c) for which purpose the relevant figure of average annual turnover and liquid assets/credit facilities for each of the partners of the JV shall be added together to arrive at the Joint Venture total capacity. |
| 2.4 | The bidder shall submit documentary evidence in support of meeting the qualification requirement stipulated above. |