| Sl. No. | Clause ref. | Existing Provision | Amendment Provision |
| --- | --- | --- | --- |
| 1. | Clause No. 3.1, IFB, Section-I, Vol-I of the Bidding Documents | The following transmission lines are included in the scope of Transmission Line Package – TL02: - 400KV D/C line with Quad Moose Conductor from Kolar sub-station to proposed 400/220 KV Doddathaggalli sub-station. - 220KV D/C line with Twin Zebra Conductor from proposed 400/220 KV Doddathaggalli sub-station to existing 220/66KV Malur sub-station. - 220KV D/C line with Twin Zebra Conductor from proposed 400/220 KV Doddathaggalli sub-station to existing 220KV Ekarajapura sub-station (Overhead portion of the line). This Specification covers the following scope of works: ………………………………………………….. ………………………………………………….. | The following transmission lines are included in the scope of Transmission Line Package – TL02: - 400KV D/C line with Quad Moose Conductor from Kolar sub-station to proposed 400/220 KV Doddathaggalli sub-station. - 220KV D/C line with Single Zebra Conductor from proposed 400/220 KV Doddathaggalli sub-station to existing 220KV Ekarajapura sub-station (Overhead portion of the line). This Specification covers the following scope of works: ………………………………………………….. ………………………………………………….. |

*********End of Amendment No-II to IFB*********