QUALIFICATION REQUIREMENTS FOR

Power Supply arrangement comprising Solar and BESS as a pilot project for meeting the construction power supply requirement at Pang HVDC station; Specification No.: CC/NT/W-SOLAR/DOM/A01/25/06750. Qualification Criteria. Qualification of bidder will be based on meeting the minimum pass/fail criteria specified below regarding the bidder’s technical experience and financial position as demonstrated by the Bidder’s responses in the corresponding Bid Schedules.. Technical experience and financial resources of any proposed subcontractor shall not be taken into account in determining the Bidder’s compliance with the qualifying criteria. The bid shall be submitted by an individual firm or a joint venture of two or more firms (Specific requirements for Joint Venture are given under Para 1.3 below).. The Employer may assess the capacity and capability of the bidder, to successfully execute the scope of work covered under the package within stipulated completion period. This assessment shall inter-alia include (i) document verification; (ii) Bidder’s works / manufacturing facilities visit; (iii) manufacturing capacity, details of works executed, works in hand, anticipated in future & the balance capacity available for the present scope of work; (iv) Details of plant and machinery, manufacturing & testing facilities, manpower and financial resources; (v) Details of quality systems in place; (vi) past experience and performance; (vii) customer feedback; (viii) Banker’s feedback; etc.. 1.0; Experience. 1.1; Technical Experience - The bidder must have designed, supplied, erected and commissioned at least one Solar Photo Voltaic (PV) based grid connected power plant of 1 MW or higher capacity as a prime contractor. The reference plant of 1 MW or higher capacity must have been in satisfactory operation# for at least six (6) months as on the originally scheduled last date of bid submission (soft copy) i.e. 27/06/2025.. Notes for clause 1.1 {i} The reference Solar PV based grid-connected power plant of 1 MW or above capacity should be at a single location developed by bidder or any other client. {ii}Solar PV based Floating solar power projects, which are grid connected, shall also be considered eligible for QR purposes. {iii} In case the bidder has executed the work under a contract that had been awarded on a Joint Venture wherein the bidder was one of the partners, the experience of the bidder shall be considered limited to the scope executed by the bidder as partner under the said contract {iv} # Satisfactory operation means certificate issued by the Employer/Owner (as the case may be) certifying the operation without any adverse remark. {v} Engineering, Procurement & Construction (EPC) projects with solar PV module supplied by developer/ owner as free issue item to EPC contractor shall also be considered eligible for clause 1.1A of QR.. 1.2; Financial Position. a); Net Worth for last 3 financial years of the bidder should be positive.. b); Minimum Average Annual Turnover *(MAAT) for the best three years i.e 36 months out of last five financial years of the bidder should be Rs. 17.07 crores.. c); Bidder shall have liquid assets (L.A.) or/and evidence of access to or availability of credit facilities of not less than Rs. 2.85 crores.. Notes for clause 1.2: {i} (*) “Annual gross revenue from operations/gross operating income as incorporated in the profit & loss account excluding other operative income/other income”. {ii} In case, bidder is a holding company, the Financial Position criteria referred to in clause 1.2 above shall be that of Holding company only (i.e. excluding its subsidiary / group companies). In case, bidder is a subsidiary company of a holding company, the Financial Position criteria referred to in clause 1.2 above shall be that of subsidiary company only (i.e. excluding its holding company). {iii}Relaxation for Start-Ups^/ MSEs Start-Ups^/ MSEs, meeting the specified requirements at Para 1.2 (a) above in Financial Position shall also be considered qualified if they meet Eighty (80) % of the requirement specified at Para 1.2 (b) & 1.2 (c) above in Financial Position. ^ Start-Ups as defined by DPIIT, applicable as on the originally scheduled last date of bid submission (soft copy).. 1.3; Joint Venture Bids. In case a bid is submitted by a Joint Venture (JV) of two or more firms as partners, joint venture must comply with the following minimum criteria: - The lead partner shall meet, - Shall meet the Financial Position criteria given at 1.2 (a) above. - Not less than 40% of the Financial Position criteria given at para 1.2 (b) & (c) above - The lead partner shall meet 100% of the Technical Experience criteria given at 1.1 A above. Or - Must have manufactured and supplied Solar Photo Voltaic Modules for a grid connected Solar PV plant of 500 KW or higher capacity as a prime contractor. The reference plant of 500 KW or higher capacity must have been in satisfactory operation# for at least six (6) months as on the originally scheduled last date of bid submission (soft copy) mentioned above. - Each of the other partner (s) individually - Must meet individually the Financial Position criteria given at 1.2 (a) above. - Meet not less than 25% of the Financial Position criteria given at 1.2 (b) & (c) above. - If lead Partner meets 1.3.1. iii). A), each of the other Partner(s) - must have manufactured and supplied Solar Photo Voltaic Modules for a grid connected Solar PV plant of 500 KW or higher capacity as a prime contractor. The reference plant of 500 KW or higher capacity must have been in satisfactory operation# for at least six (6) months as on the originally scheduled last date of bid submission (soft copy) mentioned above. Or - must have designed, supplied, erected and commissioned at least one Solar Photo Voltaic (PV) based grid connected power plant of 500 KW or higher capacity as a prime contractor. The reference plant of 500 KW or higher capacity must have been in satisfactory operation# for at least six (6) months as on the originally scheduled last date of bid submission (soft copy) mentioned above. Or - must have manufactured and supplied grid connected Battery Energy Storage Systems of 300 KWh or higher capacity as a prime contractor. The reference plant of 300 KWh or higher capacity must have been in satisfactory operation# for at least six (6) months as on the originally scheduled last date of bid submission (soft copy) mentioned above Or - must have supplied, installed and commissioned grid connected Battery Energy Storage Systems of 300 KWh or higher capacity as a prime contractor. The reference plant of 300 KWh or higher capacity must have been in satisfactory operation# for at least six (6) months as on the originally scheduled last date of bid submission (soft copy) mentioned above - If lead Partner meets 1.3.1.iii). B), each of the other Partner(s), must have designed, supplied, erected and commissioned at least one Solar Photo Voltaic (PV) based grid connected power plant of 500 KW or higher capacity as a prime contractor. The reference plant of 500 KW or higher capacity must have been in satisfactory operation# for at least six (6) months as on the originally scheduled last date of bid submission (soft copy) mentioned above. - The Joint Venture must satisfy collectively the Criteria of clause 1.2(b) & (c) above for which purpose the relevant figure of average annual turnover and liquid assets / credit facilities for each of the partners of the JV shall be added together to arrive at Joint Venture total capacity. Notes for clause 1.3: {i} The reference Solar PV based grid-connected power plant of 500 KW or above capacity should be at a single location developed by bidder for itself or any other client. {ii} Solar PV based Floating solar power projects, which are grid connected, shall also be considered eligible for QR purposes. {iii} In case of works executed under a contract that had been awarded on a Joint Venture, the experience of individual Joint Venture partner shall be considered limited to the scope of that partner under the said contract. {iv} ( #) Satisfactory operation means certificate issued by the Employer/Owner (as the case may be) certifying the operation without any adverse remark. {v} EPC projects with solar PV module supplied by developer/ owner as free issue item to EPC contractor shall also be considered eligible for sub-clause 2. (iii). B) and 2. (iv) of clause 1.3 of QR. {vi} Grid connected Battery Energy Storage System means BESS integrated with grid for power drawls or feed to the grid at point of common coupling (AC/DC side).. 1.4; The bidder shall furnish documentary evidence in support of fulfilling the qualifying requirement stipulated as above..

***