| Sl. No. | Ref Section | Provision in bidding document | Bidders Queries | POWERGRID Reply |
| --- | --- | --- | --- | --- |
| 01. | Volume I, Section-I Invitation for Bids (IFB) Clause Ref.4 & Clause no. 2.2 of Section Project. | Section Project Clause no. 2.2: The Scope shall also cover transportation and insurance of Equipment to the destination specified by employer. During supply stage, Employer shall specify the final destination of Line Traps. The final destination can be any of project sites of POWERGRID. In case the Line Traps are not required in any Project site, Employer shall specify a store location in Northern Region – I /Western Region-II and respective Line Traps are to be supplied at that location. For the purpose of bidding, a distance of 500 KM from manufacture’s works may be considered by the bidder and the bidder may quote accordingly. During execution stage, the payment of F&I charges shall be paid for actual distance for shortest route from manufacturing works to actual destination. | We understand that supervision of erection, testing & commissioning of the tendered equipment is excluded from Bidder’s scope of work. Please confirm. We understand that the tendered equipment are marked for delivery to sites/ stores in Northern Region-I only. Please confirm. | Supervision of erection, testing & commissioning is not envisaged under present scope. In line with Clause No 2.2 of Technical Specification, Section – Project of Line Trap package LT-01: “The final destination can be any of project sites of POWERGRID” Bidders are to quote as per the bidding documents. |
| 02 | Volume I ,Section-I Invitation for Bids (IFB) Clause Ref.4 Volume I ,Section-III Bid Data Sheets (BDS) Clause Ref ITB 11.4(b) |  | As transportation rate per kM will vary from one Indian State to the other & also with respect to lot size of each shipment, we request you to please provide site/ store wise equipment quantities. | Bidders are to refer to Clause No 2.2 of Technical Specification, Section– Project: Bidders are to quote as per the bidding documents. |
| 03 | Volume I ,Section-IV General Conditions of Contract (GCC) Clause Ref. 20.2, 20.3 |  | We understand that supervision of erection, testing & commissioning of tendered equipment is excluded from Bidder’s scope of work. Please confirm. | Refer to Clarification at Sr. no.1 above. |
| 04 | Volume I ,Section-V Special Conditions of Contract (SCC) Clause Ref. GCC 22.1 |  | In case supervision of erection, testing & commissioning is excluded from Bidder’s scope of work, defect liability/ warranty period of the tendered equipment should only be reckoned from the date of supply of such equipment under Contract at Project Site (not from the date of Commissioning of the facilities wherein, such equipment under the Contract are installed). Please confirm. | Provisions of Bidding Documents shall prevail and remain unchanged. |
| 05 | Volume I ,Section-VI Forms & Procedures Clause Ref. Appendix – 1: 1.1 |  | Considering the substantial Indicative Estimated Cost of the Bid, we request you to consider providing Bidder the option to claim both 10% interest bearing advance & 10% interest bearing engineering advance. | Provisions of Bidding Documents shall prevail and remain unchanged. |
| 06 | Volume I ,Section-VI Forms & Procedures Clause Ref. Appendix – 2: 1.2 |  | Considering that the contractual delivery schedule is 15 months which is sizeable (unlikely to remain immune to commodity price escalations) & IEEMA has already published Price Variation formula (enclosed) for Line Trap, we request incorporation of the same. | Provisions of Bidding Documents shall prevail and remain unchanged. |
| 07 | Volume II , Part-1 Section-GTR Clause Ref. 9.2 |  | We understand that type test reports as per CEA’s latest guidelines (enclosed) shall be acceptable. Please confirm. | Bidder is to refer to clause no 9.2 of Section GTR Rev 15 of Technical Specification. |
| 08 | Volume II, Part-2 Section-PLCC Clause Ref. 6.9 4 |  | We understand that only those bids will be considered for technical qualification wherein, the offered equipment have been successfully type tested as per IS/IEC or equivalent standard including availability of IEC 60353 compliant type test reports for short time current tests (both mechanical strength & thermal behaviour) as on May 16, 2023: a) Mechanical strength: 2.55 times short-time current Ikn for atleast 5 cycles (100 ms) b) Thermal behaviour: Short-time current Ikn for 1 s Please confirm. | Type test requirement shall be as per clause 6.9 of section PLCC, Rev 05 & clause 9.2 of Section GTR, Rev 15 of Technical specification. |