| Clarification No-I dated 02.03.2020 for Bidding documents of Reactor package-RT18 for 6x80MVAr 765kV Switchable Line Reactor (1-Ph) at Extension of 765/400/220kV Fatehgarh-II PS under Transmission scheme for solar energy zones in Rajasthan. Spec no. CC-CS/912-NR1/RT-4096/3/G2 |  |  |  |  |
| --- | --- | --- | --- | --- |
| S.No | REFERENCE DOCUMENT | Clause Description | Bidder’s Query/Comments | POWERGRID’s Reply/Clarification |
|  | Section/ Clause No./ PAGE No. |  |  |  |
|  | Section project Clause 1.3 (a), Page 2 of 9 Clause 2.1 (I) b, page 3 of 9 Clause 3.0 page 5 of 9 | a) substations: i) Establishment of new 765/400 kV Bhadla-II PS. ii) Establishment of new 765/400 kV Fatehgarh-II PS Cabling | We understand that 6 nos reactors are required for new substations. As per clause no 2.1 (I)-b: Section projects ask that 1 no. 80MVAR 765kV reactor will be used as spare for existing substation. Kindly clarify where reactors required is for new substation or for existing substation. Kindly provide site layout for this project to estimate cable connections. Kindly provide distance between new CMB to control and protection panel to provide cables however Auxiliary Power and control cables from control room / Bay Switchyard Panel room to Common marshalling box has been excluded from bidder scope. Kindly clarify requirement of connection cables for spare unit. | Reactors are required for existing substation with existing spare reactor. For tendering purpose latest approved SLD & Layout for existing substation portion is included along with this clarification. However, final actual layout drawings shall be provided in the event of award. Bidder to quote accordingly. Refer Clause 2.2.1 b.ii. of Section Project. Bidder to quote accordingly. |
|  | Clause 2.2.1 d, page 4 of 9 | Fittings, accessories, clamps and connectors (including terminal connectors for all bushings) and all other materials for Reactors along with spares. | Kindly provide drawings for terminal connectors for all bushings | Terminal Connectors shall be under the scope of the bidder and shall be finalized during detailed engineering. |
|  | General/ Section project page 8 of 9 | Fittings, accessories, clamps and connectors (including terminal connectors for all bushings) and all other materials for Reactors along with spares. | Request you to share General arrangement drawing and SLD | For tendering purpose latest approved SLD & Layout for existing substation portion is included along with this clarification. However, final actual layout drawings shall be provided in the event of award. Bidder to quote accordingly. |