## Basic
:: COVER PAGE ::
Name of Package: Execution of Balance Civil works for 33/11kV Khonsa Substation constructed under Comprehensive Scheme , Arunachal Pradesh (PKG-A)
Specification No. NER/NT/W-DMS/DOM/H03/26/03920 [Rfx No. 5002005188]
Address of Purchaser/ Employer | Contracts & Materials Dept.
Power Grid Corporation of India Limited.
Comprehensive Scheme, Project Manager Office,
4th-Level, Osor M. Tayeng Building, Nitivihar,
Itanagar (Arunachal Pradesh) – 791111.
Mobile: +91 9435560898 / 9706247800
Email Address: surajit@powergrid.in/hchoudhury@powergrid.in

## Cover
General guidelines for filling up the Attachments
: Attachments : | Name of Package: Execution of Balance Civil works for 33/11kV Khonsa Substation constructed under Comprehensive Scheme , Arunachal Pradesh (PKG-A) |  | Name of Package: Execution of Balance Civil works for 33/11kV Khonsa Substation constructed under Comprehensive Scheme , Arunachal Pradesh (PKG-A)
Specification No.:Specification No. NER/NT/W-DMS/DOM/H03/26/03920 [Rfx No. 5002005188]
| 1 | Fill up only green shaded cells in Sch-1 and Bid Form 2nd Envelope.
| 2 | All the cells in Sch-2 & Sch-3 are auto filled, therefore no cell is required to be filled up there.
| Note : | Enable the Active X Control & Macros. Also ensure to keep option of "Trust acess to VBA project object Model" cheched [√]. Ensure that you work on MS Excel 2007 or higher version.
पावर ग्रिड कारपोरेशन ऑफ इण्डिया लिमिटेड
(भारत सरकार का उद्यम)
Power Grid Corporation of India Limited
(A Government of India Enterprises)
Click for Detailed General Instructions
Click for Detailed General Instructions

## Instructions
General Instruction to the Bidders for filling up this workbook for :
Name of Package: Execution of Balance Civil works for 33/11kV Khonsa Substation constructed under Comprehensive Scheme , Arunachal Pradesh (PKG-A)
I | While filling up the worksheets following may please be observed :
| (i) | Fill up only green shaded cells.
| (ii) | Certain data type entries have been restricted, such as Numeric values or limits of numeric values.
| (iii) | Select only the options provided in pull down menus.
| (iv) | Do not link any cell of this work book with any other work book.
| (v) | Do not use copy & paste or cut & paste options for filling up the data.
| (vi) | Do not reformat any of the cell of the work book.
* * *
Happy Bidding !
Click to Proceed

## Names of Bidder
Name of Package: Execution of Balance Civil works for 33/11kV Khonsa Substation constructed under Comprehensive Scheme , Arunachal Pradesh (PKG-A)
| Specification No. NER/NT/W-DMS/DOM/H03/26/03920 [Rfx No. 5002005188] | [7 empty] | Sole Bidder | 1
[9 empty] | JV (Joint Venture) | 2 or More
Enter following details of the bidder
FALSE
| Specify type of Bidder [Select from drop down menu] |  | Sole Bidder | 1 | Sole Bidder | 1 | 2 |  | 0
|  |  | 1 |  | JV (Joint Venture) | 2 or More
Micro and Small Enterprise (MSE)
Name of Sole Bidder
| Address of Sole Bidder | Principal place of business
|  |  |  | FALSE |  |  |  | .
| Name of other Partner |  | 1
Address of other Partner
Name of other Partner - 2 (more, if any)
Name of other Partner - 2
Address of other Partner - 2
Name of other Partner - 2 (more, if any)
Address of other Partner - 2 (more, if any)
| MSE Bidder ? |  |  | FALSE
| Enter the name of Registration Authority. |  | Udyam Registered Bidder
| Whether Medium/Small/Micro |  | Micro
Udyam Registeration No.:
Type of Enterprise
Major Activity
Social Category of Enterpreneur
| Gender |  | Male
Contact Person
Email-ID_1
Email-ID_2
Mobile No.
Printed Name
Designation
| Date : |  |  |  | 31
Place :
#REF!
YES
Click for Bid Form 2nd Envelope

## Sch-1
Specification No. NER/NT/W-DMS/DOM/H03/26/03920 [Rfx No. 5002005188] | [10 empty] | Schedule - 3
Name of Package: Execution of Balance Civil works for 33/11kV Khonsa Substation constructed under Comprehensive Scheme , Arunachal Pradesh (PKG-A) | [14 empty] | As per Lum-sum |  | 0%
(SCHEDULE OF RATES AND PRICES ) | [14 empty] | AS per Percent |  | #REF!
[15 empty] | As per lum-sum on Sch-3 |  | 0%
Bidder's Name and Addresss | [7 empty] | To: | [6 empty] | As per Percent on Sch-3 |  | #REF!
[8 empty] | Contracts and Materials Deptt. | [6 empty] | Total Discount |  | #REF!
Name : |  | 0 | 0 | 0 | 0 |  |  | Power Grid Corporation of India Ltd.,
Address : |  | 0 | 0 | 0 | 0 |  |  | Comprehensive Scheme, Project Manager Office,
|  | 0 | 0 | 0 | 0 |  |  | 4th-Level, Osor M. Tayeng Building, Nitivihar, | [6 empty] | Multipackage lum-sum |  | 0%
|  | 0 | 0 | 0 | 0 |  |  | Itanagar (Arunachal Pradesh) – 791111.
|  |  | INSTALLATION CHARGES | [12 empty] | Amount after Discount (Rs.) |  | Dis Alert | Amount after MPD (Rs.)
All Prices are in Indian Rupees.
SI. No. | DSR/Non-Scheduled | Service Code | SAC (Service Accounting Codes) | Whether SAC in column '4’ is confirmed. If not indicate applicable the SAC * | Rate of GST applicable ( in %) | Whether rate of GST in column ‘6’ is confirmed. If not indicate applicable rate of GST * | Description | Unit | Quantity | Unit Erection Charges | Total Erection Charges | Total GST as confirmed by Bidder |  |  |  | Unit Erection Charges | Total Erection Charges |  | Unit Erection Charges | Total Erection Charges
1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 |  |  |  | 5 | 6 = 4 x 5 |  | 5 | 6 = 4 x 5
A. | Boundary Wall (painting) | [11 empty] | 0 | 0
1 | 13.39 | [5 empty] | Colour washing such as green, blue or bluff to give an even shade | [5 empty] | 0 | 0
| 13.39.2 | 120001459 | 995473 |  | 18 |  | New work (two or more coats) with a base coat of white washing with lime | Sqm | 1281 | 1 | 1281 | 230.58 | 1281 | 230.58
2 | 13.5 | [5 empty] | Applying priming coat: | [5 empty] | 0 | 0
| 13.50.3 | 120001473 | 995473 |  | 18 |  | with ready mixed red oxide zinc chromate primer of approved brand and manufacture on steel galvanised iron/ steel works | Sqm | 30 | 1 | 30 | 5.4 | 30 | 5.4
3 | 13.62 | [5 empty] | Painting with synthetic enamel paint of approved brand and manufacture of required colour to give an even shade:
| 13.62.1 | 120001491 | 995473 |  | 18 |  | Two or more coats on new work over and under coat of suitable shade with ordinary paint of approved brand and manufacture | Sqm | 30 | 1 | 30 | 5.4 | 30 | 5.4
B. | CRB Building | (Septic tank+cable trench+control room)
4 | 2.6.1 | 120000345 | 995433 |  | 18 |  | Earth work in excavation by mechanical means (Hydraulic excavator)/manual means over areas (exceeding 30 cm in depth, 1.5 m in width as well as 10 sqm on plan) including getting out and disposal of excavated earth lead upto 50 m and for all lift, as directed by Engineer-in-charge. All kinds of soil | Cum | 20.592 | 1 | 20.592 | 3.7066 | 20.592 | 3.7066
5 | 2.27 | 120000394 | 995433 |  | 18 |  | Supplying and filling in plinth with sand under floors, including watering, ramming, consolidating and dressing complete. | cum | 75.588 | 1 | 75.588 | 13.6058 | 75.588 | 13.6058
6 | 4.1.3 | 120000437 | 995454 |  | 18 |  | 1:2:4 (1 cement : 2 coarse sand (zone-III) derived from natural sources : 4 graded stone aggregate 20 mm nominal size derived from natural sources) | cum | 1.031 | 1 | 1.031 | 0.18558 | 1.031 | 0.18558
7 | 4.1.8 | 120000442 | 995454 |  | 18 |  | 1:4:8 (1 Cement : 4 coarse sand (zone-III) derived from natural sources : 8 graded stone aggregate 40 mm nominal size derived from natural sources) | cum | 21.4 | 1 | 21.4 | 3.852 | 21.4 | 3.852
8 | 6.1.2 | 120000601 | 995456 |  | 18 |  | Brick work with common burnt clay F.P.S. (non modular) bricks of class designation 7.5 in foundation and plinth in: Cement mortar 1:6 (1 cement : 6 coarse sand) | cum | 5.838 | 1 | 5.838 | 1.0508 | 5.838 | 1.0508
9 | 5.1.2 | 120000488 | 995454 |  | 18 |  | Providing and laying in position specified grade of reinforced cement concrete, excluding the cost of centering, shuttering, finishing and reinforcement - All work up to plinth level : 1:1.5:3 (1 cement : 1.5 coarse sand (zone-III) derived from natural sources : 3 graded stone aggregate 20 mm nominal size derived from natural sources) | cum | 2 | 1 | 2 | 0.36 | 2 | 0.36
10 | 5.9.1 | 120000499 | 995457 |  | 18 |  | Centering and shuttering including strutting, propping etc. and removal of form for Foundations, footings, bases of columns, etc. for mass concrete | sqm | 5 | 1 | 5 | 0.9 | 5 | 0.9
11 | 5.9.20 | 120000519 | 995457 |  | 18 |  | Centering and shuttering including strutting, propping etc. and removal of form for Suspended floors, roofs, landings, balconies and access platform with water proof ply 12 mm thick | sqm | 2.52 | 1 | 2.52 | 0.4536 | 2.52 | 0.4536
12 | 5.22.6 | 120000543 | 995454 |  | 18 |  | Thermo-Mechanically Treated bars of grade Fe-500D or more | kg | 150.616 | 1 | 150.616 | 27.1109 | 150.616 | 27.1109
13 | 13.9.2 | 120001416 | 995472 |  | 18 |  | Cement plaster 1:3 (1 cement: 3 coarse sand) finished with a floating coat of neat cement.20 mm cement plaster | Sqm | 17.15 | 1 | 17.15 | 3.087 | 17.15 | 3.087
14 | 19.32.1 | 120002731 | 995424 |  | 18 |  | Making soak pit 2.5 m diameter 3.0 metre deep with 45 x 45 cm dry brick honey comb shaft with bricks and S.W. drain pipe 100 mm diameter, 1.8 m long complete as per standard design. With common burnt clay F.P.S. (non modular) bricks of class designation 7.5 | Each | 1 | 1 | 1 | 0.18 | 1 | 0.18
15 | 10.1 | 120001115 | 995476 |  | 18 |  | Structural steel work in single section, fixed with or without connecting plate, including cutting, hoisting, fixing in position and applying a priming coat of approved steel primer all complete. | Kg | 1200 | 1 | 1200 | 216 | 1200 | 216
16 | 13.65.1 | 120001494 | 995473 |  | 18 |  | Painting with black anti-corrosive bitumastic paint of approved brand and manufacture to give an even shade :Two or more coats on new work | sqm | 75 | 1 | 75 | 13.5 | 75 | 13.5
C. | Roof Treatment
17 | 22.7.1 | 120002837 | 995453 |  | 18 |  | Providing and laying integral cement based water proofing treatment including preparation of surface as required for treatment of roofs, balconies, terraces etc consisting of following operations: (a) Applying a slurry coat of neat cement using 2.75 kg/sqm of cement admixed with water proofing compound conforming to IS. 2645 and approved by Engineer-in-charge over the RCC slab including adjoining walls upto 300 mm height including cleaning the surface before treatment. (b) Laying brick bats with mortar using broken bricks/brick bats 25 mm to 115 mm size with 50% of cement mortar 1:5 (1 cement : 5 coarse sand) admixed with water proofing compound conforming to IS : 2645 and approved by Engineer-in-charge over 20 mm thick layer of cement mortar of mix 1:5 (1 cement :5 coarse sand admixed with water proofing compound conforming to IS : 2645 and approved by Engineer-in-charge to required slope and treating similarly the adjoining walls upto 300 mm height including rounding of junctions of walls and slabs. (c) After two days of proper curing applying a second coat of cement slurry using 2.75 kg/ sqm of cement admixed with water proofing compound conforming to IS : 2645 and approved by Engineer-in-charge.(d) Finishing the surface with 20 mm thick jointless cement mortar of mix 1:4 (1 cement :4 coarse sand) admixed with water proofing compound conforming to IS : 2645 and approved by Engineer-in-charge including laying glass fibre cloth of approved quality in top layer of plaster and finally finishing the surface with trowel with neat cement slurry and making pattern of 300x300 mm square 3 mm deep. (e) The whole terrace so finished shall be flooded with water for a minimum period of two weeks for curing and for final test.“All above operations to be done in order and as directed and specified by the Engineer-in- Charge: With average thickness of 120 mm and minimum thickness at khurra as 65 mm. | Sqm | 213.916 | 1 | 213.916 | 38.5049 | 213.916 | 38.5049
18 | 12.21.1 | 120001318 | 995453 |  | 18 |  | Providing gola 75x75 mm in cement concrete 1:2:4 (1 cement : 2 coarse sand : 4 stone aggregate 10 mm and down gauge), including finishing with cement mortar 1:3 (1 cement : 3 fine sand) as per standard design In 75x75 mm deep chase | MTR | 50 | 1 | 50 | 9 | 50 | 9
19 | 12.22 | 120001319 | 995453 |  | 18 |  | Making khurras 45x45 cm with average minimum thickness of 5 cm cement concrete 1:2:4 (1 cement : 2 coarse sand : 4 graded stone aggregate of 20 mm nominal size) over P.V.C. sheet 1 m x1 m x 400 micron, finished with 12 mm cement plaster 1:3 (1 cement : 3 coarse sand) and a coat of neat cement, rounding the edges and making and finishing the outlet complete. | NOS | 2 | 1 | 2 | 0.36 | 2 | 0.36
20 | 13.11 | 120001418 | 995472 |  | 18 |  | 18 mm cement plaster in two coats under layer 12 mm thick cement plaster 1:5 (1 cement : 5 coarse sand) finished with a top layer 6 mm thick cement plaster 1:6 (1 cement : 6 fine sand). | Sq.M | 50 | 1 | 50 | 9 | 50 | 9
D. | For Toilet and Water Connections
21 | 17.31 | 120001941 | 995478 |  | 18 |  | Providing and fixing 600x450 mm beveled edge mirror of superior glass (of approved quality) complete with 6 mm thick hard board ground fixed to wooden cleats with C.P. brass screws and washers complete. | Each | 1 | 1 | 1 | 0.18 | 1 | 0.18
22 | 17.4.1 | 120001874 | 995478 |  | 18 |  | Providing and fixing white vitreous china flat back or wall corner type lipped front urinal basin of 430x260x350 mm and 340x410x265 mm sizes respectively with automatic flushing cistern with standard flush pipe and C.P. brass spreaders with brass unions and G.I clamps complete, including painting of fittings and brackets, cutting and making good the walls and floors wherever required : One urinal basin with 5 litre white P.V.C. automatic flushing cistern | Each | 1 | 1 | 1 | 0.18 | 1 | 0.18
23 | 17.3.1 | 120001872 | 995478 |  | 18 |  | Providing and fixing white vitreous china pedestal type water closet (European type) with seat and lid, 10 litre low level white vitreous china flushing cistern & C.P. flush bend with fittings & C.I. brackets, 40 mm flush bend, overflow arrangement with specials of standard make and mosquito proof coupling of approved municipal design complete, including painting of fittings and brackets, cutting and making good the walls and floors wherever required :W.C. pan with ISI marked white solid plastic seat and lid | Each | 1 | 1 | 1 | 0.18 | 1 | 0.18
24 | 18.48 | 120002286 | 995424 |  | 18 |  | Providing and placing on terrace (at all floor levels) polyethylene water storage tank, IS : 12701 marked, with cover and suitable locking arrangement and making necessary holes for inlet, outlet and overflow pipes but without fittings and the base support for tank. | Per Litre | 500 | 1 | 500 | 90 | 500 | 90
| 18.8 | [5 empty] | Providing and fixing Chlorinated Polyvinyl Chloride (CPVC) pipes, having thermal stability for hot & cold water supply, including all CPVC plain & brass threaded fittings, i/c fixing the pipe with clamps at 1.00 m spacing. This includes jointing of pipes & fittings with one step CPVC solvent cement and the cost of cutting chases and making good the same including testing of joints complete as per direction of Engineer in Charge.
| 18.8.1 | [5 empty] | Concealed work, including cutting chases and making good the walls etc.
25 | 18.8.2 | 120002109 | 995424 |  | 18 |  | 20 mm nominal dia Pipes | meter | 50 | 1 | 50 | 9 | 50 | 9
26 | 18.8.3 | 120002110 | 995424 |  | 18 |  | 25 mm nominal dia Pipes | meter | 50 | 1 | 50 | 9 | 50 | 9
| 18.9 | [5 empty] | Providing and fixing Chlorinated Polyvinyl Chloride (CPVC) pipes, having thermal stability for hot & cold water supply including all CPVC plain & brass threaded fittings This includes jointing of pipes & fittings with one step CPVC solvent cement, trenching, refilling & testing of joints complete as per direction of Engineer in Charge.
27 | 18.9.4 | 120002115 | 995424 |  | 18 |  | 32 mm nominal dia Pipes | metre | 100 | 1 | 100 | 18 | 100 | 18
28 | 17.29 | 120001939 | 995478 |  | 18 |  | Providing and fixing 100 mm sand cast Iron grating for gully trap | nos | 2 | 1 | 2 | 0.36 | 2 | 0.36
29 | 17.35.1.3 | 120003201 | 995478 |  | 18 |  | Providing and fixing soil, waste and vent pipes : 100 mm dia Hubless centrifugally cast (spun) iron pipes epoxy coated inside & outside IS:15905 | Metre | 50 | 1 | 50 | 9 | 50 | 9
| 17.38 | [5 empty] | Providing and fixing bend of required degree with access door, insertionrubber washer 3 mm thick, bolts and nuts complete.
30 | 17.38.1.3 | 120003203 | 995478 |  | 18 |  | 100 mm dia Hubless centrifugally cast (spun) iron epoxy coated inside & outside as per IS:15905 | Each | 5 | 1 | 5 | 0.9 | 5 | 0.9
31 | 19.1.1 | 120002624 | 995424 |  | 18 |  | Providing, laying and jointing glazed stoneware pipes class SP-1 with stiff mixture of cement mortar in the proportion of 1:1 (1 cement : 1 fine sand) including testing of joints etc. complete :100 mm diameter | Metre | 54 | 1 | 54 | 9.72 | 54 | 9.72
32 | 17.7.1 | 120001886 | 995478 |  | 18 |  | Providing and fixing wash basin with C.I. brackets, 15 mm C.P. brass pillar taps, 32 mm C.P. brass waste of standard pattern, including painting of fittings and brackets, cutting and making good the walls wherever require:White Vitreous China Wash basin size 630x450 mm with a pair of 15 mm C.P. brass pillar taps | Each | 1 | 1 | 1 | 0.18 | 1 | 0.18
33 | 17.34.1 | 120001947 | 995478 |  | 18 |  | Providing and fixing toilet paper holder :CP Brass | Each | 1 | 1 | 1 | 0.18 | 1 | 0.18
34 | 18.15.1 | 120002141 | 995424 |  | 18 |  | Providing and fixing brass bib cock of approved quality : 15mm nominal bore | Each | 1 | 1 | 1 | 0.18 | 1 | 0.18
E. For Plinth Protection and Drain
35 | 4.17 | 120000477 | 995454 |  | 18 |  | Making plinth protection 50 mm thick of cement concrete 1:3:6 (1 cement : 3 coarse sand (zone-III) derived from natural sources : 6 graded stone aggregate 20 mm nominal size derived from natural sources) over 75 mm thick bed of dry brick ballast 40 mm nominal size,well rammed and consolidated and grouted with fine sand, including necessary excavation, levelling & dressing & finishing the top smooth. | Sq.M | 55 | 1 | 55 | 9.9 | 55 | 9.9
36 | 6.13.2 | 120000618 | 995456 |  | 18 |  | Half brick masonry with common burnt clay F.P.S. (non modular) bricks of class designation 7.5 in superstructure above plinth level up to floor V level. Cement mortar 1:4 (1 cement :4 coarse sand) | Sq.M | 45.65 | 1 | 45.65 | 8.217 | 45.65 | 8.217
37 | 4.1.3 | 120000437 | 995454 |  | 18 |  | Providing and laying in position cement concrete of specified grade excluding the cost of centering and shuttering - All work up to plinth level : 1:2:4 (1 cement : 2 coarse sand (zone-III) derived from natural sources : 4 graded stone aggregate 20 mm nominal size derived from natural sources) | CuM | 3.975 | 1 | 3.975 | 0.7155 | 3.975 | 0.7155
38 | 4.1.8 | 120000442 | 995454 |  | 18 |  | 1:4:8 (1 Cement : 4 coarse sand (zone-III) derived from natural sources : 8 graded stone aggregate 40 mm nominal size derived from natural sources) | cum | 2.915 | 1 | 2.915 | 0.5247 | 2.915 | 0.5247
39 | 13.7.2 | 120001412 | 995472 |  | 18 |  | 12mm cement plaster finished with a floating coat of neat cement of mix: 1:4 (1cement:4fine sand) | Sq.M | 38.5 | 1 | 38.5 | 6.93 | 38.5 | 6.93
F. For Cement putty CRB (Inside+ out side)
40 | 13.8 | 120001511 | 995472 |  | 18 |  | Providing and applying white cement based putty of average thickness 1 mm, of approved brand and manufacturer, over the plastered wall surface to prepare the surface even and smooth complete.. | Sq.M | 830 | 1 | 830 | 149.4 | 830 | 149.4
G. For Painting (CRB Inside)
41 | 13.41.1 | 120001461 | 995473 |  | 18 |  | Distempering with 1st quality acrylic distemper (ready mixed) having VOC content less than 50 gram/litre, of approved manufacturer and of required shade and colour all complete to achieve even shade and colour :New work (two or more coats) over and including water thinnable priming coat with cement primer having VOC content less than 50 gram/litre. | Sq.M | 450 | 1 | 450 | 81 | 450 | 81
42 | 13.64.1 | 120001493 | 995473 |  | 18 |  | Painting with acid proof paint of approved brand and manufacture of required colour to give an even shade :Two or more coats on new work | Sq.M | 34.76 | 1 | 34.76 | 6.2568 | 34.76 | 6.2568
H. For Painting (CRB Outside)
43 | 13.46.1 | 120001466 | 995473 |  | 18 |  | Finishing walls with Acrylic Smooth exterior paint of required shade : New work (Two or more coat applied @ 1.67 ltr/10 sqm over and including priming coat of exterior primer applied @ 0.90 litre/10 sqm) | Sq.M | 380 | 1 | 380 | 68.4 | 380 | 68.4
I. For Tiles :-
45 | 11.21.1.1 | 120001220 | 995474 |  | 18 |  | Providing and fixing 10 mm thick acid and/or alkali resistant tiles of approved make and colour using acid and/or alkali resisting mortar bedding, and joints filled with acid and/or alkali resisting cement as per IS : 4457, complete as per the direction of Engineer-in- Charge. In flooring on a bed of 10 mm thick mortar 1:4 (1 acid proof cement : 4 coarse sand). Acid and alkali resistant tile | sqm | 8.14 | 1 | 8.14 | 1.4652 | 8.14 | 1.4652
46 | 11.21.2.1 | 120001221 | 995474 |  | 18 |  | In dado/skirting on 12 mm thick mortar 1:4 (1 acid proof cement : 4 coarse sand). Acid and alkali resistant tile | sqm | 12.54 | 1 | 12.54 | 2.2572 | 12.54 | 2.2572
47 | 8.31 | 120001245 | 995474 |  | 18 |  | Providing and fixing Ist quality ceramic glazed wall tiles conforming to IS: 15622 (thickness to be specified by the manufacturer), of approvedmake, in all colours, shades except burgundy, bottle green, black of any size as approved by Engineer-in-Charge, in skirting, risers of steps anddados, over 12 mm thick bed of cement mortar 1:3 (1 cement : 3 coarsesand) and jointing with grey cement slurry @ 3.3kg per sqm, including pointing in white cement mixed with pigment of matching shade complete | Sq.M | 16.04 | 1 | 16.04 | 2.8872 | 16.04 | 2.8872
48 | 11.41.2 | 120001251 | 995474 |  | 18 |  | Providing and laying vitrified floor tiles in different sizes (thickness to be specified by the manufacturer) with water absorption less than 0.08% and conforming to IS: 15622, of approved make, in all colours and shades, laid on 20 mm thick cement mortar 1:4 (1 cement : 4 coarse sand), jointing with grey cement slurry @ 3.3 kg/ sqm including grouting the joints with white cement and matching pigments etc., complete. Size of Tile 600x600 mm | Sq.M | 140.79 | 1 | 140.79 | 25.3422 | 140.79 | 25.3422
49 | 11.38 | 120001247 | 995474 |  | 18 |  | Providing and laying Ceramic glazed floor tiles of size 300x300 mm (thickness to be specified by the manufacturer), of 1st quality conforming to IS : 15622, of approved make, in all colours, shades, except White, Ivory, Grey, Fume Red Brown, laid on 20 mm thick bed of cement mortar 1:4 (1 Cement : 4 Coarse sand), jointing with grey cement slurry @ 3.3 kg/ sq.m including pointing the joints with white cement and matching pigments etc., complete. | sqm | 4.554 | 1 | 4.554 | 0.81972 | 4.554 | 0.81972
| J. For CRB Door & Window :- | [11 empty] | 0 | 0
50 | 21.1.1.2 | 120002791 | 995476 |  | 18 |  | Providing and fixing aluminium work for doors, windows, ventilators and partitions with extruded built up standard tubular sections/ appropriate Z sections and other sections of approved make conforming to IS: 733 and IS: 1285, fixing with dash fasteners of required dia and size, including necessary filling up the gaps at junctions, i.e. at top, bottom and sides with required EPDM rubber/ neoprene gasket etc. Aluminium sections shall be smooth, rust free, straight, mitred and jointed mechanically wherever required including cleat angle, Aluminium snap beading for glazing / panelling, C.P. brass / stainless steel screws, all complete as per architectural drawings and the directions of Engineer-in-charge. (Glazing, paneling and dash fasteners to be paid for separately) :For fixed portion :Powder coated aluminium (minimum thickness of powder coating 50 micron) | Kg | 93.41 | 1 | 93.41 | 16.8138 | 93.41 | 16.8138
| 21.1.2.2 | [5 empty] | For shutters of doors, windows & ventilators including providing and fixing hinges/ pivots and making provision for fixing of fittings wherever required including the cost of EPDM rubber / neoprene gasket required (Fittings shall be paid for separately)Powder coated aluminium (minimum thickness of powder coating 50 micron) | [5 empty] | 0 | 0
51 | 21.1.2.2 | 120002794 | 995476 |  | 18 |  | Powder coated aluminium (minimum thickness of powder coating 50 micron) | Kg | 133.27 | 1 | 133.27 | 23.9886 | 133.27 | 23.9886
52 | 21.3.2 | 120002799 | 995476 |  | 18 |  | Providing and fixing glazing in aluminium door, window, ventilator shutters and partitions etc. with EPDM rubber / neoprene gasket etc. complete as per the architectural drawings and the directions of engineer-in-charge . (Cost of aluminium snap beading shall be paid in basic item):With float glass panes of 5 mm thickness (weight not less than 12.50 kg/sqm) | Sq.M | 27.51 | 1 | 27.51 | 4.9518 | 27.51 | 4.9518
53 | 21.4.1 | 120002801 | 995476 |  | 18 |  | Providing and fixing double action hydraulic floor spring of approved brand and manufacture conforming to IS : 6315, having brand logo embossed on the body / plate with double spring mechanism and door weight upto 125 kg, for doors, including cost of cutting floors, embedding in floors as required and making good the same matching to the existing floor finishing and cover plates with brass pivot and single piece M.S. sheet outer box with slide plate etc. complete as per the direction of Engineerin-charge.With stainless steel cover plate minimum 1.25 mm thickness | Each | 5 | 1 | 5 | 0.9 | 5 | 0.9
54 | 21.13 | 120002819 | 995476 |  | 18 |  | Providing and fixing Brass 100 mm mortice latch and lock with 6 levers without pair of handles (best make of approved quality) for aluminium doors including necessary cutting and making good etc. complete. | Each | 2 | 1 | 2 | 0.36 | 2 | 0.36
55 | 9.118.3 | 120001027 | 995476 |  | 18 |  | 25 mm thick PVC flush door shutters made out of a one piece Multi chamber extruded PVC section of the size of 762 mm X 25 mm or less as per requirement with an average wall thickness of 1 mm (± 0.3 mm). PVC foam end cap of size 23x10 mm are provided on both vertical edges to ensure the overall thickness of 25 mm. M.S. tube having dimensions 19 mm x 19 mm and 1.0 mm (± 0.1 mm) is inserted along the hinge side of the door. Core of the door shutter should be filled with High Density Polyurethane foam. The Top & Bottom edges of the shutter are covered with an end-cap of the size 25 mm X 11 mm. Door shutter shall be reinforced with special polymeric reinforcements as per manufacturer’s specification and direction of Engineer-in-charge to take up necessary hardware and fixtures. Stickers indicating the locations of hardware will be pasted at appropriate places | sqm | 1.6 | 1 | 1.6 | 0.288 | 1.6 | 0.288
56 | 9.96.1 | 120000987 | 995476 |  | 18 |  | Providing and fixing aluminium sliding door bolts, ISI marked anodised (anodic coating not less than grade AC 10 as per IS : 1868),transparent or dyed to required colour or shade, with nuts and screws etc. complete :300x16 mm | nos | 6 | 1 | 6 | 1.08 | 6 | 1.08
57 | 9.97.3 | 120000991 | 995476 |  | 18 |  | Providing and fixing aluminium tower bolts, ISI marked, anodised (anodic coating not less than grade AC 10 as per IS : 1868 ) transparent or dyed to required colour or shade, with necessary screws etc. complete :200*100 | nos | 6 | 1 | 6 | 1.08 | 6 | 1.08
58 | 9.100.1 | 120000996 | 995476 |  | 18 |  | Providing and fixing aluminium handles, ISI marked, anodised (anodic coating not less than grade AC 10 as per IS : 1868) transparent or dyed to required colour or shade, with necessary screws etc. complete :125 mm | nos | 8 | 1 | 8 | 1.44 | 8 | 1.44
| K. for uncompleted tranformer and VCB foundation | [11 empty] | 0 | 0
59 | 5.1.2 | 120000488 | 995454 |  | 18 |  | Providing and laying in position specified grade of reinforced cement concrete, excluding the cost of centering, shuttering, finishing and reinforcement - All work up to plinth level : 1:1.5:3 (1 cement : 1.5 coarse sand (zone-III) derived from natural sources : 3 graded stone aggregate 20 mm nominal size derived from natural sources) | cum | 10 | 1 | 10 | 1.8 | 10 | 1.8
60 | 4.1.8 | 120000442 | 995454 |  | 18 |  | 1:4:8 (1 Cement : 4 coarse sand (zone-III) derived from natural sources : 8 graded stone aggregate 40 mm nominal size derived from natural sources) | cum | 2 | 1 | 2 | 0.36 | 2 | 0.36
61 | 5.9.1 | 120000499 | 995457 |  | 18 |  | Centering and shuttering including strutting, propping etc. and removal of form for Foundations, footings, bases of columns, etc. for mass concrete | sqm | 20 | 1 | 20 | 3.6 | 20 | 3.6
62 | 5.9.2 | 120000500 | 995457 |  | 18 |  | Centering and shuttering including strutting, propping etc. and removal of form for Walls (any thickness) including attached pilasters, butteresses, plinth and string courses etc. | sqm | 80 | 1 | 80 | 14.4 | 80 | 14.4
63 | 5.22.6 | 120000543 | 995454 |  | 18 |  | Thermo-Mechanically Treated bars of grade Fe-500D or more | kg | 500 | 1 | 500 | 90 | 500 | 90
64 | 2.25 | 120000391 | 995433 |  | 18 |  | Filling available excavated earth (excluding rock) in trenches, plinth, sides of foundations etc. in layers not exceeding 20cm in depth, consolidating each deposited layer by ramming and watering, lead up to 50 and for all lift. | cum | 10 | 1 | 10 | 1.8 | 10 | 1.8
L. Rain water pipe
65 | 12.41.2 | 120001351 | 995453 |  | 18 |  | Providing and fixing on wall face unplasticised Rigid PVC rain water pipes conforming to IS : 13592 Type A, including jointing with seal ring conforming to IS : 5382, leaving 10 mm gap for thermal expansion, (i) Single socketed pipes. 110 mm diameter | meter | 17 | 1 | 17 | 3.06 | 17 | 3.06
66 | 12.43.2 | 120001365 | 995453 |  | 18 |  | Providing and fixing unplasticised -PVC pipe clips of approved design to unplasticised - PVC rain water pipes by means of 50x50x50 mm hard wood plugs, screwed with M.S. screws of required length, including cutting brick work and fixing in cement mortar 1:4 (1 cement : 4 coarse sand) and making good the wall etc. complete.110 mm | NOS | 10 | 1 | 10 | 1.8 | 10 | 1.8
67 | 12.42.5.2 | 120001361 | 995453 |  | 18 |  | Providing and fixing on wall face unplasticised - PVC moulded fittings/ accessories for unplasticised Rigid PVC rain water pipes conforming to IS : 13592 Type A, including jointing with seal ring conforming to IS : 5382, leaving 10 mm gap for thermal expansion. Bend 87.5° 110 mm bend | Each | 4 | 1 | 4 | 0.72 | 4 | 0.72
M. | Sump pit
68 | 2.6.1 | 120000345 | 995433 |  | 18 |  | Earth work in excavation by mechanical means (Hydraulic excavator)/ manual means over areas (exceeding 30 cm in depth, 1.5 m in width as well as 10 sqm on plan) including getting out and disposal of excavated earth lead upto 50 m and for all lift, as directed by Engineer-in-charge. | cum | 34.445 | 1 | 34.445 | 6.2001 | 34.445 | 6.2001
69 | 4.1.8 | 120000442 | 995454 |  | 18 |  | Providing and laying in position cement concrete of specified grade excluding the cost of centering and shuttering - All work up to plinth level : 1:4:8 (1 Cement : 4 coarse sand (zone-III) derived from natural sources : 8 graded stone aggregate 40 mm nominal size derived from natural sources) | cum | 0.709 | 1 | 0.709 | 0.12762 | 0.709 | 0.12762
70 | 5.1.2 | 120000488 | 995454 |  | 18 |  | Providing and laying in position specified grade of reinforced cement concrete, excluding the cost of centering, shuttering, finishing and reinforcement - All work up to plinth level :1:1.5:3 (1 cement : 1.5 coarse sand (zone-III) derived from natural sources : 3 graded stone aggregate 20 mm nominal size derived from natural sources) | cum | 7.875 | 1 | 7.875 | 1.4175 | 7.875 | 1.4175
71 | 5.9.1 | 120000499 | 995457 |  | 18 |  | Centering and shuttering including strutting, propping etc. and removal of form for Foundations, footings, bases of columns, etc. for mass concrete | sqm | 3.6 | 1 | 3.6 | 0.648 | 3.6 | 0.648
72 | 5.9.2 | 120000500 | 995457 |  | 18 |  | Centering and shuttering including strutting, propping etc. and removal of form for Walls (any thickness) including attached pilasters, butteresses, plinth and string courses etc. | sqm | 48 | 1 | 48 | 8.64 | 48 | 8.64
73 | 5.22.6 | 120000543 | 995454 |  | 18 |  | Steel reinforcement for R.C.C. work including straightening, cutting, bending, placing in position and binding all complete upto plinth level.Thermo-Mechanically Treated bars of grade Fe-500D or more. | kg | 750 | 2 | 1500 | 270 | 1500 | 270
74 | 10.1 | 120001115 | 995476 |  | 18 |  | Structural steel work in single section, fixed with or without connecting plate, including cutting, hoisting, fixing in position and applying a priming coat of approved steel primer all complete | kg | 200 | 1 | 200 | 36 | 200 | 36
N. Non-Scheudled items
75 | NS | 150000004 | 995429 |  | 18 |  | Foundation of new 33 kV , 1250 Amp VCBs as per approved drawing.(Item includes excavation,backfilling,pcc,rcc,shuttering,steel reiforecement supply cutting and binding,bolting)(bolts will be given by POWERGRID and to be lifted from TATA store),nothing extra payable | EA | 2 | 1 | 2 | 0.36 | 2 | 0.36
76 | NS | 150000008 | 995451 |  | 18 |  | Foundation of new 33 kV , 630 Amp DBCR Isolator without earth switch as per approved drawing.(Item includes excavation,backfilling,pcc,rcc,shuttering,steel reiforecement supply cutting and binding,bolting)(bolts will be given by POWERGRID and to be lifted from TATA store),nothing extra payable | EA | 4 | 1 | 4 | 0.72 | 4 | 0.72
77 | NS | 150000006 | 995451 |  | 18 |  | Foundation of new 33 kV , 630 Amp DBCR Isolator with earth switch as per approved drawing.(Item includes excavation,backfilling,pcc,rcc,shuttering,steel reiforecement supply cutting and binding,bolting)(bolts will be given by POWERGRID and to be lifted from TATA store),nothing extra payable | EA | 1 | 1 | 1 | 0.18 | 1 | 0.18
78 | NS | 150000011 | 995429 |  | 18 |  | Foundation for 33 kV, 1 phase, 10 KA porcelain LA s per approved drawing (One combined foundation for 3 LA) for transformer.(Item includes excavation,backfilling,pcc,rcc,shuttering,steel reiforecement supply cutting and binding,bolting)(bolts will be given by POWERGRID and to be lifted from TATA store),nothing extra payable | EA | 2 | 1 | 2 | 0.36 | 2 | 0.36
79 | NS | 150000018 | 995451 |  | 18 |  | Foundation for 33 kV post insulator as per approved drawing.(Item includes excavation,backfilling,pcc,rcc,shuttering,steel reiforecement supply cutting and binding,bolting)(bolts will be given by POWERGRID and to be lifted from TATA store),nothing extra payable | EA | 6 | 1 | 6 | 1.08 | 6 | 1.08
80 | NS | 150000022 | 995455 |  | 18 |  | FOUNDATION OF BUS GANTRY TOWER AS PER APPROVED DRAWING.(Item includesexcavation,backfilling,pcc,rcc,shuttering,steel reiforecement supply cutting and binding,bolting)(bolts will be given by POWERGRID and to be lifted from TATA store) | EA | 6 | 1 | 6 | 1.08 | 6 | 1.08
81 | NS | 150000025 | 995454 |  | 18 |  | FOUNDATION OF LINE GANTRY TOWER AS PER APPROVED DRAWING & TS.(Item includes excavation,backfilling,pcc,rcc,shuttering,steel reiforecement supply cutting and binding,bolting)(bolts will be given by POWERGRID and to be lifted from TATA store),nothing extra payable | EA | 2 | 1 | 2 | 0.36 | 2 | 0.36
82 | NS | 100001328 | 995454 |  | 18 |  | Providing & laying of 75mm thick PCC (1:5:10) base layer in the switchyard area excluding cost of centering and shuttering. | Cum | 60 | 1 | 60 | 10.8 | 60 | 10.8
83 | NS | 150000061 | 995477 |  | 18 |  | CONSTRUCTION (INCLUDING SUPPLY OF ALL MATERIAL) ERECTION OF SECURITY FENCING WITH TOE WALL ALONGWITH ONE SWITCHYARD GATE AS PERAPPROVED DRAWINGS & TS.( The measurement shall be made in running metres of the fence provided as per drawing.The rate shall be inclusive of post, wire mesh, MS Flat,excavation ,pcc,brickwork,plaster etc. complete) ,nothing extra payable | M | 85 | 1 | 85 | 15.3 | 85 | 15.3
84 | NS | 150000057 | 995432 |  | 18 |  | CUTTING ,FILLING AND LEVELING OF SOIL INCLUDING COMPACTION(The quantity of excavation in all types of soil and soft/disintegrated rock shall be worked out by using initial and final levels. No void deduction shall be made to calculate net quantity of earth work. Only Excavation/cutting will be measured for payment purpose. | M3 | 3938 | 1 | 3938 | 708.84 | 3938 | 708.84
85 | NS | 150000149 | 998739 |  | 18 |  | Cutting and disposal upto lead of 2km as per instrcution of Site-Incharge. | M3 | 916.38 | 1 | 916.38 | 164.9484 | 916.38 | 164.9484
86 | NS | 150000059 | 995428 |  | 18 |  | Supply and Gravel filling in switchyard area excluding road, trenches etc.as per direction of Engineer in charge | M3 | 70 | 1 | 70 | 12.6 | 70 | 12.6
87 | NS | 150000176 | 995454 |  | 18 |  | Construction (including supply of all material) of Cable Trench alongwith pre- cast RCC Trench Cover, Brick Work wherever requiredall complete as approved Drawing & TS outside the control room building. - 0.5 Meter wide Trench ( 500mm deep) (Item includes excavation,backfilling,pcc,rcc,shuttering,steel reinforecement),nothing extra payable | M | 45 | 1 | 45 | 8.1 | 45 | 8.1
88 | NS | 150000065 | 995454 |  | 18 |  | Construction (including supply of all material) of Cable Trench alongwith pre- cast RCC Trench Cover, Brick Work wherever requiredall complete as approved Drawing & TS outside the control room building. - 0.75 Mtrs wide Trench ( 500mm deep) | M | 35 | 1 | 35 | 6.3 | 35 | 6.3
89 | NS | 150000174 | 995454 |  | 18 |  | Construction of Boundary Wall ( including supply of all material) with all as per approved drawing & TS (Measurementfor this purpose will include length of gate along boundary wall)- In complete (The rateshall be inclusive of earth work (excavation, backfilling, disposal etc., concrete (all type),steel reiforecement supply cutting and binding, MS steel, brick masonry, plastering barbed wire/ concertina, painting , fixing of MS angle & Barbed Wire fencing all along theboundary wall including supply and fixing of main gate - complete with painting etcetc. complete required for completion of boundary wall. ) ,nothing extra payable | M | 189 | 1 | 189 | 34.02 | 189 | 34.02
90 | NS | 150000062 | 995462 |  | 18 |  | Construction of Drainage System in the Substation premises all complete as approved Drawing.(Item includes excavation,backfilling,pcc,brickwork,plastering etc)nothing extra payable | M | 342 | 1 | 342 | 61.56 | 342 | 61.56
91 | NS | 150000175 | 995421 |  | 18 |  | Construction of 3.75 meter wide RCC Approach Road (including supply of all material) all complete as per approved drawing & TS.(Item includes excavation,backfilling,pcc,rcc,shuttering,steel reiforecement,supply and laying of WBM in layers etc ) | M | 90 | 1 | 90 | 16.2 | 90 | 16.2
92 | NS | 100006920 | 995456 |  | 18 |  | Random rubble masonry with hard stone in foundation and plinth including levelling up with cement concrete 1:6:12 (1 cement : 6coarse sand : 12 graded stone aggregate 20 mm nominal size) uptoplinth level with : Cement mortar 1:6 (1 cement : 6 coarse sand) . | M3 | 150 | 1 | 150 | 27 | 150 | 27
93 | NS | 100006921 | 995456 |  | 18 |  | Random rubble masonry with hard stone in superstructure above plinth level and upto floor five level, including leveling up withcement concrete 1:6:12 (1 cement : 6 coarse sand : 12 graded stone aggregate 20 mm nominal size) at window sills, ceiling level andthe like.:Cement mortar 1:6 (1 cement : 6 coarse sand) . | M3 | 350 | 1 | 350 | 63 | 350 | 63
94 | NS | 170002803 | 995473 |  | 18 |  | Providing and fixing 100mm UPVC pipes conforming to IS : 15328, for weep holes | M | 100 | 1 | 100 | 18 | 100 | 18
95 | NS | 120001452 | 995474 |  | 18 |  | 13.33.2 Pointing on stone work with cement mortar 1:3 (1 cement: 3 fine sand) : Raised and cut pointing | M2 | 449.55 | 1 | 449.55 | 80.919 | 449.55 | 80.919
96 | NS | 150000067 | 998739 |  | 18 |  | Sinking of Tubewell (boring 200mm dia,casing 100mm,100mtr depth) and installation of motor operated submersible pump of suitable capacity and reputed make (All items to besupplied by the contractor. Make of motor/pump to be approved by POWERGRID) | each | 1 | 1 | 1 | 0.18 | 1 | 0.18
[7 empty] | Total Installation Charges |  |  |  | 15649 |  | 15649 | 2816.7955
[7 empty] | Total GST as confirmed by Bidder |  |  |  |  | 2816.7955 | 0
Note* | [12 empty] | 0
0
Date : |  | 0 | [5 empty] | Printed Name: | 0 | 0 | 0 | 0 | 0
Place : |  | 0 | [5 empty] | Designation : | 0 | 0 | 0 | 0 | 0
[11 empty] | #VALUE! |  | #VALUE!
Click for Sch-4

## Sch-2
Specification No. NER/NT/W-DMS/DOM/H03/26/03920 [Rfx No. 5002005188] |  |  |  |  | Schedule -2
Name of Package: Execution of Balance Civil works for 33/11kV Khonsa Substation constructed under Comprehensive Scheme , Arunachal Pradesh (PKG-A)
(SUMMARY OF TAXES & DUTIES APPLICABLE ON PLANT & EQUIPMENT)
Bidder's Name and Addresss |  |  |  |  | To:
Contracts & Materials Dept.
Name : | 0 | 0 | 0 | 0 | Power Grid Corporation of India Limited.
Address : | 0 | 0 | 0 | 0 | Comprehensive Scheme, Project Manager Office,
| 0 | 0 | 0 | 0 | 4th-Level, Osor M. Tayeng Building, Nitivihar,
| 0 | 0 | 0 | 0 | Itanagar (Arunachal Pradesh) – 791111.
Sl. No. | Item Nos. |  |  |  | Total Price (INR) |  |  |  | After Discount |  | After MPDiscount
1 | TOTAL GST ON GOODS | [7 empty] | Excise Duty | #REF! | Excise Duty | #REF!
| Total GST for Supply of Goods (inter-alia including Type Test Charges) between the Contractor and the Employer (identified in Schedule 1') which are not included in the Ex-works price as per the provision of the Bidding Documents, as applicable. |  |  |  | 0
1 | TOTAL GST ON SERVICES | [7 empty] | Sales Tax | 0 | Sales Tax | 0
| Total GST on Installation Services (Schedule-1) |  |  |  | 2816.7955 |  |  |  | #REF! | 0 | #REF! | 0
| GRAND TOTAL |  |  |  | 2816.7955 |  |  |  | Grand Total after Discount | #REF! | Grand Total after MPD | #REF!
Date : | 0 |  |  | Printed Name : | 0 | 0 | 0 | 0
Place : | 0 |  |  | Designation : | 0 | 0 | 0 | 0
Click for Sch-3

## Sch-3
Specification No. NER/NT/W-DMS/DOM/H03/26/03920 [Rfx No. 5002005188] |  |  |  |  | Schedule - 3
Name of Package: Execution of Balance Civil works for 33/11kV Khonsa Substation constructed under Comprehensive Scheme , Arunachal Pradesh (PKG-A)
(GRAND SUMMARY)
Bidder's Name and Addresss |  |  |  |  | To:
Contracts & Materials Dept.
Name : | 0 | 0 | 0 | 0 | Power Grid Corporation of India Limited.
Address : | 0 | 0 | 0 | 0 | Comprehensive Scheme, Project Manager Office,
| 0 | 0 | 0 | 0 | 4th-Level, Osor M. Tayeng Building, Nitivihar,
| 0 | 0 | 0 | 0 | Itanagar (Arunachal Pradesh) – 791111.
Sl. No. | Description |  |  |  | Total Price (INR)
1 | TOTAL SCHEDULE NO. 1 |  |  |  | 15649
Installation Charges
2 | TOTAL SCHEDULE NO. 2 |  |  |  | 2816.7955
Taxes and Duties
6 | TOTAL SCHEDULE NO. 7 |  |  |  | 0
Type Test Charges [Total of this Schedule is included in Schedule - 1 above.]
| GRAND TOTAL [1+2] |  |  |  | 18466
Date : | #REF! |  |  | Printed Name : | 0 | 0 | 0 | 0
Place : | #REF! |  |  | Designation : | 0 | 0 | 0 | 0
Click for Bid Form 2nd Envelope

## Bid Form 2nd Envelope
Specification No. NER/NT/W-DMS/DOM/H03/26/03920 [Rfx No. 5002005188] |  |  |  |  | Bid Form 2nd Envelope |  | Sole Bidder | 1 | st |  | 1 | January
[7 empty] | 0 | 2 | nd |  | 2 | February
BID FORM (Second Envelope) | [7 empty] | 3 | rd |  | 3 | March
[8 empty] | 4 | th |  | 4 | April
[8 empty] | 7 | th | #REF! | 7 | July
To: | [7 empty] | 8 | th | #REF! | 8 | August
Contracts & Materials Dept. | [7 empty] | 9 | th | #REF! | 9 | September
Power Grid Corporation of India Limited. | [7 empty] | 10 | th |  | 10 | October
Comprehensive Scheme, Project Manager Office, | [7 empty] | 11 | th |  | 11 | November
4th-Level, Osor M. Tayeng Building, Nitivihar, | [7 empty] | 12 | th |  | 12 | December
Itanagar (Arunachal Pradesh) – 791111. | [7 empty] | 13 | th
[8 empty] | 14 | th
Name of Contract : |  | Name of Package: Execution of Balance Civil works for 33/11kV Khonsa Substation constructed under Comprehensive Scheme , Arunachal Pradesh (PKG-A) | [5 empty] | 15 | th
Dear Ladies and/or Gentlemen, | [7 empty] | 16 | th
1 | In continuation of First Envelope of our Bid, we hereby submit the Second Envelope of the Bid, both of which shall be read together and in conjunction with each other, and shall be construed as an integral part of our Bid. Accordingly, we the undersigned, offer to design, manufacture, test, deliver, install and commission (including carrying out Trial Operation, Performance & Guarantee Test as per provision of Technical Specification) under the above-named package in full conformity with the said Bidding Documents | [5 empty] | In continuation of First Envelope of our Bid, we hereby submit the Second Envelope of the Bid, both of which shall be read together and in conjunction with each other, and shall be construed as an integral part of our Bid. Accordingly, we the undersigned, offer to design, manufacture, test, deliver, install and commission (including carrying out Trial Operation, Performance & Guarantee Test as per provision of Technical Specification) under the above-named package in full conformity with the said Bidding Documents | 17 | th
| The above amounts are in accordance with the price schedules attached herewith and are made part of this bid. | [6 empty] | 18 | th
2 | Price Schedules | [6 empty] | 19 | th
2.1 | In line with the requirements of the Bidding documents, we enclose herewith the following Price Schedules, duly filled - in as per your proforma: | [6 empty] | 20 | th
| Schedule 1 |  | Installation Charges
| Schedule 2 |  | Taxes and Duties
| Schedule 3 |  | Grand Summary |  |  |  |  | 26 | th
2.2 | We are aware that the Price Schedules do not generally give a full description of the Work to be performed under each item and we shall be deemed to have read the Technical Specifications and other sections of the Bidding Documents and Drawings to ascertain the full scope of Work included in each item while filling-in the rates and prices. We agree that the entered rates and prices shall be deemed to include for the full scope as aforesaid, including overheads and profit. | [6 empty] | 28 | th
2.3 | We declare that as specified in SCC, Vol.-I of the Bidding Documents, prices quoted by us in the Price Schedules shall be subject to Price Adjustment during the execution of Contract. | [6 empty] | 29 | th
2.4 | We understand that in the price schedules, where there are errors between the total of the amounts given under the column for the price Breakdown and the amount given under the Total Price, the former shall prevail and the latter will be corrected accordingly. We further understand that where there are discrepancies between amounts stated in figures and amounts stated in words, the amount stated in words shall prevail. Similarly, any discrepancy in the total bid price and that of the summation of Schedule price (price indicated in a Schedule indicating the total of that schedule), the total bid price shall be corrected to reflect the actual summation of the Schedule prices. | [6 empty] | 30 | th
2.5 | We declare that items left blank in the Schedules will be deemed to have been included in other items. The TOTAL for each Schedule and the TOTAL of Grand Summary shall be deemed to be the total price for executing the Facilities and sections thereof in complete accordance with the Contract, whether or not each individual item has been priced. | [6 empty] | 31 | st
3 | We confirm that except as otherwise specifically provided our Bid Prices in this Second Envelope include all taxes, duties, levies and charges as may be assessed on us/our Associate (applicable for Foreign Bidder), our Sub-Contractor/Sub-Vendor or their employees by all municipal, state or national government authorities in connection with the Facilities, in and outside of India.
3.1 | 100% of applicable Taxes and Duties i.e GST, which are payable by the Employer under the Contract, shall be reimbursed by the Employer on production of satisfactory documentary evidence by the Contractor in accordance with the provisions of the Bidding Documents.
3.2 | We further understand that notwithstanding 3.0 above, in case of award on us, you shall also bear and pay/reimburse to us, GST applicable on supplies by us to you, imposed on the Plant & Equipment including Mandatory Spare Parts to be incorporated into the Facilities including Type Test charges for Type test to be conducted specified in Schedule No. 1, Installation Services (including Civil works) specified in Schedule No. 1 and Charges for Training to be imparted specified in Schedule No. 4 of the Price Schedule in this Second Envelope; by the Indian Laws.
3.3 | We confirm that we have also registered/we shall also get registered in the GST Network with a GSTIN, in all the states where the project is located and the states from which we shall make our supply of goods.
4 | # (For Joint Venture only) We, the partners of Joint Venture submitting this bid, do agree and confirm that in case of Award of Contract on the Joint Venture, we shall be jointly and severally liable and responsible for the execution of the Contract in accordance with Contract terms and conditions. |  |  |  |  | #REF!
5 | We, hereby, declare that only the persons or firms interested in this proposal as principals are named here and that no other persons or firms other than those mentioned herein have any interest in this proposal or in the Contract to be entered into, if the award is made on us, that this proposal is made without any connection with any other person, firm or party likewise submitting a proposal is in all respects for and in good faith, without collusion or fraud.
Thanking you, we remain,
Yours faithfully,
|  |  |  | For and on behalf of | 0
Signature :
Date : | 0 |  |  | Printed Name :
Place : | 0 |  |  | Designation :
Common Seal :
Please provide additional information of the Bidder
Business Address :
Country of Incorporation :
State/Province to be indicated :
Name of Principal Officer :
Address of Principal Officer :
Note: Bidders may note that no prescribed proforma has been enclosed for Attachment 2 : Power of Attorney. Bidders may use their own proforma for furnishing the required information with the bid.
* * *
Back to Cover Page