| Sl. No | Clause No | Existing clause | Proposed Revision |
| --- | --- | --- | --- |
| 1 | Vol. II Part-B Clause 8.1 of Section-8. Pg 3 of 10 | 8.1. System Configuration The VoIP system shall consist of VoIP Servers and IP phones connected over the IP network. The VoIP servers shall be configured in 1+1 configuration i.e. Main Server at Main STAMC and Stand By Server at Back up STAMC. | 8.1. System Configuration Replace with The VoIP system shall consist of VoIP Servers and IP phones connected over the IP network. The VoIP servers shall be configured in 1+1 configuration i.e. Main Server at Main STAMC and Stand By Server at Back up STAMC. The Contractor can offer Appliance based solution of the VoIP OEM which shall meet the functional and sizing requirements given in the specifications. In case of Server based solution, the minimum requirement of Servers shall be as per Appendix-P of Part-B. |
| 2 | Vol. II Part-A Clause 4.15 of Section-4. Pg 16 of 29 | Table – 4-2 Mandatory Spares inventory at Control centers | (newly added) (Insert a new line below the table) In case of appliance-based Solution for VoIP system, 01no spare appliance shall be provided at Main STAMC. |
| 3 | Vol. II Part-B Appendix-P Sr.no-10. Pg 17 of 28 | 10. 82” LED Screen Sr.no; Description of Feature; Minimum Features. 5; Type of monitor; LED Backlight. 6; Anti-glare & Anti-Static; Yes. 7; Colour Support; 200 Trillion. 8; Brightness; 1800 cd/m2. 9; Contrast Ratio; 8000:1. 11; Interfaces; HDMI IN x 2, Display Port IN x 2, HDMI OUT x 1, VGAIN x 1, AUDIO-IN x 1, LAN IN x 1, AV IN x 1, AV x 1. 12; Control; RS232-IN x 1, RS232-OUT x 1. | 10. 82” LED Screen Sr. no; Description of Feature; Minimum Features. 5; Type of monitor; LED Backlight / Direct LED. 6; Anti-glare & Anti-Static; Removed. 7; Colour Support; 16.7 Million. 8; Brightness; 300 cd/m2. 9; Contrast Ratio; 2000:1. 11; Interfaces; 2 x HDMI IN, 1 x Audio-Out. 12; Control; removed.. |