| Sl. No | Clause No | Existing clause | Proposed Revision |
| --- | --- | --- | --- |
| 1 | Vol. II Part-B Section-4 Clause 4.7.1. | 4.7.1 Auxiliary Memory Backup utility Software utility, to take backup of auxiliary memory files of server and workstation onto a user-selected archival device such as Tape library, shall be supplied. …………. The utility shall take image backup daily automatically of servers (physical and virtual) and selected workstations (1No. workstation of each type of Function/System envisaged which shall be finalized as per detail engineering) on SAN Storage. It shall keep minimum two set of image backup of all the workstations. SAN storage shall have sufficient space to meet the requirement of three image backups of all servers in addition to the SCADA and other systems data storage. The utility shall take image backup………….. any other software. | Insert a new Para at the end. Periodic offline image backups of selected Workstations (Operator and Maintenance), Voice Recorder & Failover NVR etc. shall be performed for RTAMC (South Zone & North Zone). These back up shall be maintained in different physical machines (workstations) available in respective control centre. The offline image backup shall be taken on every month. The contractor shall make the necessary arrangement for maintaining these backups. |