| Clause 2.13.2, Section-IA of Technical Specification TL03 | Guaranteed technical particulars of ACSR DEER conductor ………………….. --; --; --; --. 4.7; Linear mass of the conductor. a); -----. b); ----. c); Maximum; Kg/km; 2019. Other provisions as mentioned in Section VIIA shall remain unchanged. | Guaranteed technical particulars of ACSR DEER conductor ………………….. --; --; --; --. 4.7; Linear mass of the conductor. a); -----. b); ----. c); Maximum; Kg/km; 2019. 4.8; Sectional Area of conductor; Sqmm; 529.8. 4.9; Modulus of Elasticity; Kg/Sqmm; 8158. 4.10; Coefficient of linear expansion; Per Deg C; 0.0000178. Other provisions as mentioned in Section VIIA shall remain unchanged. |
| --- | --- | --- |