| Sl. No. | Clause ref. | Existing Provision of the Bidding Document | Query asked by the bidders | Powergrid Reply |
| --- | --- | --- | --- | --- |
| 1 | Form of Joint Deed of Undertaking by the Parent / Principal / Group Company alongwith the Bidder | Without in any way affecting the generality and total responsibility in terms of this Deed of Undertaking, the Parent/Principal/Group Company in particular hereby agrees to depute their technical experts from time to time to the Bidder’s/ Contractor’s Employer’s site/work/office as mutually considered necessary by the Employer, Bidder/ Contractor and the Parent/Principal/Group Company to ensure successful FEED study which includes but not limited to study of environmental conditions at Pang converter station and their impact on the equipment and HVDC system as a whole in accordance with Contract Specifications and If necessary, the Parent/Principal/Group Company shall advise the Contractor as well shall undertake necessary measures along with the Contractor to discharge the obligations under the contract. | Bidder’s earlier pre-bid Query Bidder requests deletion of this clause. Please refer Bidder's comment to ITB 11.3 and Vol-II in this regard. Bidder also requests Owner to correct the numbering, for example there is no clause 3.0 between clauses 2.0 and 4.0 of present template. |  |
|  |  |  | Bidder’s Query after Clarification – II Bidder notes that except of correcting the serial numbering, the requested changes have not been made by Owner. Bidder wishes to highlight that Clause 2.0 of revised form of JDU contradicts Owner's clarifications below: Bidder refers to pt. 1 of sr. no. 28 of Clarification-2: "Presently Owner do not envisage any expert travels, however in case any clarification/ discussion is required same shall be resolved/discussed through Online meeting with experts." As part of FEED-1 Study scope, Bidder has not considered any study of enviormental conditions at Pang converter station and also not their impact on the equipment and HVDC system as a whole. This work may be carried out later e.g. as part of FEED- 2 Study. At the same time, Bidder confirms compliance to sr. nos. 3, 12 & 15. In view of the above, Bidder again requests deletion of Clause 2.0. | Please Refer Amendment No.V, dated 17/12/2022 for (Revised JDU) to the Bidding Documents |
| 2 | Form of Joint Deed of Undertaking by the Parent / Principal / Group Company alongwith the Bidder | Without in any way affecting the generality and total responsibility in terms of this Deed of Undertaking, the Parent/Principal/Group Company in particular hereby agrees to depute their technical experts from time to time to the Bidder’s/ Contractor’s Employer’s site/work/office as mutually considered necessary by the Employer, Bidder/ Contractor and the Parent/Principal/Group Company to ensure successful FEED study which includes but not limited to study of environmental conditions at Pang converter station and their impact on the equipment and HVDC system as a whole in accordance with Contract Specifications and If necessary, the Parent/Principal/Group Company shall advise the Contractor as well shall undertake necessary measures along with the Contractor to discharge the obligations under the contract. | Bidder’s earlier pre-bid Query Bidder refers to its earlier pre-bid query wherein Bidder has requested deletion of this clause. In case Owner does not agree to delete this clause, then Bidder requests modification of this clause as follows: "Without in any way affecting the generality and total responsibility in terms of this Deed of Undertaking, the Parent/Principal/Group Company in particular hereby agrees to depute their technical experts (on chargeable basis) from time to time to the Bidder’s/ Contractor’s Employer’ssite/work/office as mutually considered necessary by the Employer, Bidder/ Contractor and the Parent/Principal/Group Company to ensure successful FEED-1 study which includes but not limited to study of environmental conditions at Pang converter station and their impact on the equipment and HVDC system as a whole in accordance with Contract Specifications and If necessary, the Parent/Principal/Group Company shall advise the Contractor as well shall undertake regarding any necessary measures to be undertaken by along with the Contractor to discharge the obligations under the contract." Please refer Bidder's comment to ITB 11.3 and Vol-II in this regard. Bidder also requests Owner to correct the numbering, for example there is no clause 3.0 between clauses 2.0 and 4.0 of present template. |  |
|  |  |  | Bidder’s Query after Clarification – II Bidder refers to sr. no. 2 of its pre-bid comment (post_Amd-3_Clar-2) wherein Bidder has requested deletion of clause 2.0. In case Owner does not agree to delete this clause, then Bidder requests modification of this clause as follows: "Without in any way affecting the generality and total responsibility in terms of this Deed of Undertaking, the Parent/Principal/Group Company in particular hereby agrees to depute make available via online meetings their technical experts from time to time to the Bidder’s Employer’s site/work/office as mutually considered necessary by the Employer, Bidder and the Parent/Principal/Group Company to ensure successful FEED-1 study which includes but not limited to study of environmental conditions at Pang converter station and their impact on the equipment and HVDC system as a whole in accordance with Contract Specifications and If necessary, the Parent/Principal/Group Company shall advise the Contractor as well shall undertake regarding any necessary measures to be undertaken by along with the Contractor to discharge the obligations under the contract." | Please Refer Amendment No.V, dated 17/12/2022 for (Revised JDU) to the Bidding Documents |
| 3 | Section VI Appendix 1 - Terms and Procedure of Payment | In accordance with the provisions of Condition of Contract, the Employer shall pay the Contractor in the following manner and at the following times, on the basis of the Price Breakdown given in the section on price schedules. The Contractor may make applications for payment in respect of part deliveries as work proceeds. | Bidder’s earlier pre-bid Query The Bidder proposes to submit the Price Breakdown (without prices) e.g. as % of total price, as part of First Envelope submission. This can be discussed and mutually agreed during the post-bid discussion, prior to issuance of the Notice of Award. |  |
|  |  |  | Bidder’s earlier pre-bid Query Owner is requested to clarify the procedure for submission of Price Breakdown for billing purpose i.e. Billing Break-up. Bidder requests that the Billing Break-up is discussed and mutually agreed during the post-bid discussion, prior to issuance of the Notice of Award. |  |
|  |  |  | Bidder’s Comment after Clarification-II Bidder refers to its original comment as well as post-Clarification-1 comment. Since the scope involves multiple number of engineering studies (refer Vol-II, Cl. 5.1) only and there is no provision for interest-free advance payment, the Bidder requests Owner's understanding that healthy cash flow is essential for smooth execution. Hence, Bidder again requests Owner to allow submission of notional billing break-up latest at the post-bid discussion phase (prior to contract finalization) to enable progressive billing on prorate basis. | Billing Breakup not envisaged in the Contract. |