Standard Models for STATCOM/SVC of NR

| Sl. No. | Location | Dynamic Compensation (STATCOM) | Dynamic Compensation (SVC) | Mechanically Switched Compensation (MVAR) |  |
| --- | --- | --- | --- | --- | --- |
|  |  |  |  | Reactor | Capacitor |
| Northern Region |  |  |  |  |  |
| 1 | Nalagarh | + 200 MVAR |  | 2 x 125 | 2 x 125 |
| 2 | New Lucknow | + 300 MVAR |  | 2 x 125 | 1 x 125 |
| 3 | New Wanpoh |  | (+)300/ (-)200 MVAR |  |  |
| 4 | Kankroli |  | (+)400/ (-)300 MVAR |  |  |
| 5 | Ludhiana |  | (+)600/ (-)400 MVAR |  |  |
| 6 | Kanpur |  | +2 x 140MVAR |  |  |

Standard Models for STATCOM/SVC of NR as provided above may be considered by the bidder at the tendering stage. Details of the dynamic models shall be discussed after finalization of the vendor.