## clarification A
Clarification No-1 to the Bidding Document of Transmission Line package TW01 for Diversion/modification of 400kV Transmission lines (i) 400KV D/C Vindhyachal – Sasan – Rewa - Jabalpur (Previously Vindhyachal – Jabalpur TL Ckt - 3&4) (ii) 400KV D/C Vindhyachal – Satna TL (Ckt – 1&2) and (iii) 400KV D/C Vindhyachal – Satna TL (Ckt – 3&4), under consultancy works due to upcoming Bandha Coal Block of M/s EMMRL. Spec. No.: 5002002388/TOWER/DOM/A00 - CC CS -1
Sl No: | TS Reference | Description as per Bid Document | Query / Clarification | POWERGRID Reply
1 | Volume II Section 1A Clause No. 1.1 & Price Schedule |  | Diversion of three number of transmission lines involved in the captioned tender. Please provide the BOQ quantities individually for three lines. | Provision of bidding document shall prevail.
2 | Volume II Section 1A Clause No. 1.2 (xi) |  | Kindly confirm the condition of the materials (i.e. dismantled tower parts , conductors , hardware fittings etc.) which needed to be returned to PGCIL after dismantling and de-stringing work. Kindly specify whether they are acceptable in scrap condition or reusable condition. | Kindly refer Clause 1.3 of section-IA of technical specification(Volume-II)