## Sheet1
BOM FOR THE WORK Construction of Store (25MTR *15MTR) at HVDC Rihand Sub Station
RFX NO | DSR 2018 Item No | Item Description | Unit | Qty
PART - A - SCHEDULE ITEMS:
1.AA | 1.1.2 | Carriage of material By Mechanical Transport including loading ,unloading and stacking upto 1 kmEarth | Cu.m. | 100
1.AB | 2.6.1 | Earth work in excavation by mechanical means (Hydraulic excavator) / manual means over areas (exceeding 30cm in depth. 1.5m in width as well as 10 sqm on plan) including disposal of excavated earth, lead upto 50m and lift upto 1.5m, disposed earth to be levelled and neatly dressed.All kinds of soil | Cu.m. | 286
1.AC | 2.8.1 | Earth work in excavation by mechanical means (Hydraulic excavator) / manual means in foundation trenches or drains (not exceeding 1.5 m in width or 10 sqm on plan) including dressing of sides and ramming of bottoms, lift upto 1.5 m, including getting out the excavated soil and disposal of surplus excavated soil as directed, within a lead of 50 m.All kinds of soil. | Cu.m. | 36
1.AD | 2.10.1.1 | Excavating trenches of required width for pipes, cables, etc including excavation for sockets, and dressing of sides, ramming of bottoms, depth upto 1.5 m including getting out the excavated soil, and then returning the soil as required, in layers not exceeding 20 cm in depth, including consolidating each deposited layer by ramming, watering, etc. and disposing of surplus excavated soil as directed, within a lead of 50 m :Pipes, cables etc, not exceeding 80 mm dia. | mtrs | 50
1.AE | 2.10.1.2 | Excavating trenches of required width for pipes, cables, etc including excavation for sockets, and dressing of sides, ramming of bottoms, depth upto 1.5 m including getting out the excavated soil, and then returning the soil as required, in layers not exceeding 20 cm in depth, including consolidating each deposited layer by ramming, watering, etc. and disposing of surplus excavated soil as directed, within a lead of 50 m :Pipes, cables etc. exceeding 80 mm dia. but not exceeding 300 mm dia. | mtrs | 25
1.AF | 2.25 | Filling available excavated earth (excluding rock) in trenches, plinth, sides of foundations etc. in layers not exceeding 20cm in depth, consolidating each deposited layer by ramming and watering, lead up to 50 m and lift upto 1.5 m. | Cu.m. | 300
1.AG | 2.26.1 | Extra for every additional lift of 1.5 m or part thereof in excavation /banking excavated or stacked materials.All kinds of Soil | Cu.m. | 62
1.AH | 2.31 | Clearing jungle including uprooting of rank vegetation, grass, brush wood, trees and saplings of girth upto 30cm measured at a height of 1m above ground level and removal of rubbish upto a distance of 50m outside the periphery of the area cleared. | sqm | 200
1.AJ | 2.34.1 | Supplying chemical emulsion in sealed containers including delivery as specified.Chlorpyriphos - Lindane emulsifiable concentrate of 20% | Litres | 120
1.AK | 2.35.3.1 | Diluting and injecting chemical emulsion for POST-CONSTRUCTIONAL anti-termite treatment (excluding the cost of chemical emulsion) treatment of soil under existing floors using chemical emulsion @ one litre per hole, 300 mm apart including drilling 12 mm diameter holes and plugging with cement mortar 1 :2 (1 cement : 2 Coarse sand) to match the existing floor:With Chlorpyriphos/Lindane E.C. 20% with 1% concentration | sqm | 400
1.AL | 4.1.3 | Providing and laying in position cement concrete of specified grade excluding the cost of centering and shuttering - All work up to plinth level : 1:2:4 (1 cement : 2 coarse sand (zone-III) : 4 graded stone aggregate 20 mm nominal size) | cum | 2
1.AM | 4.1.8 | Providing and laying in position cement concrete of specified grade excluding the cost of centering and shuttering - All work up to plinth level :1:4:8 (1 cement:4 coarse sand:8 graded stone aggregate:40mm nominal size) | Cu.m. | 60
1.AN | 4.3.1 | Centring and shuttering including strutting, propping etc. and removal of form work for Foundations, footings, bases of columns | sqm | 30
1.AP | 4.11 | Providing and laying damp-proof course 40 mm thick with cement concrete 1:2:4 (1 cement : 2 coarse sand : 4 graded stone aggregate 12.5 mm nominal size). | sqm | 20
1.AQ | 4.12 | Extra for providing and mixing water proofing material in cement concrete work in doses by weight of cement as per manufacturer’s specification. | per 50kg cement | 2
1.AR | 4.17 | Making plinth protection 50 mm thick of cement concrete 1:3:6 (1 cement: 3 coarse sand : 6 graded stone aggregate 20 mm nominal size) over 75mm thick bed of dry brick ballast 40 mm nominal size, well rammed and consolidated and grouted with fine sand, including finishing the top smooth. | sqm | 60
1.AS | 5.1.2 | Providing and laying in position specified grade of reinforced cement concrete excluding the cost of centering, shuttering, finishing and reinforcement - All work up to plinth level 1:1.5:3 (1 cement : 1.5 coarse sand : 3 graded stone aggregate 20 mm nominal size) | Cu.m. | 58
1.AT | 5.2.2 | Reinforced cement concrete work in walls (any thickness), including attached pilasters, buttresses, plinth and string courses, fillets, columns, pillars, piers, abutments, posts and struts etc. up to floor five level excluding cost of centering, shuttering, finishing and reinforcement :1:1.5:3 (1 cement : 1.5 coarse sand : 3 graded stone aggregate 20 mm nominal size) | Cu.m. | 20
1.AU | 5.3 | Reinforced cement concrete work in beams, suspended floors, roofs having slope up to 15° landings, balconies, shelves, chajjas, lintels, bands, plain window sills, staircases and spiral stair cases above plinth level up to floor five level, excluding the cost of centering, shuttering, finishing and reinforcement, with 1:1.5:3 (1 cement : 1.5 coarse sand (zone-III) : 3 graded stone aggregate 20 mm nominal size). | Cu.m. | 25
1.AV | 5.9.1 | Centering and shuttering including strutting, propping etc. and removal of form for :Foundations, footings, bases of columns, etc. for mass concrete | Sq.m. | 29
1.AW | 5.9.4 | Centring and shuttering including strutting, proping etc. and removal of form for :Shelves Cast in situ | Sq.m. | 30
1.AX | 5.9.5 | Centering and shuttering including strutting, propping etc. and removal of form for Lintels, beams, plinth beams, girders, bressumers & cantilevers | Sq.m. | 350
1.AY | 5.9.6 | Centering and shuttering including strutting, propping etc. and removal of form for Columns, pillars, piers abutments posts & struts | Sq.m. | 285
1.AZ | 5.9.19 | Centering and shuttering including strutting, propping etc. and removal of form for Weather shade, chajjas, corbels etc. including edges. | Sq.m. | 20
1.BA | M 5.22.6 &5.22A.6 | Steel reinforcement for R.C.C. work including straightening, cutting, bending, placing in position and binding all complete upto plinth level and above plinth Thermo-Mechanically Treated bars. | kilogram | 12000
1.BB | 5.3 | Add - Deduct for plaster drip course-groove in plastered surface or moulding to RCC projections. | Mtr. | 10
1.BC | 6.1.2 | Brick work with common burnt clay F.P.S. (non modular) bricks of class designation 7.5 in foundation and plinth in Cement mortar 1:6 (1 cement : 6 coarse sand) | Cum | 5
1.BD | 6.4.2 | Brick work with common burnt clay F.P.S. (non modular) bricks of class designation 7.5 in superstructure above plinth level up to floor V level in all shapes and sizes in Cement mortar 1:6 (1 cement : 6 coarse sand) | Cum | 125
1.BE | 6.12.2 | Half brick masonry with common burnt clay F.P.S. (non modular) bricks of class designation 7.5 in superstructure above plinth level up to floor V level.Cement mortar 1:4 (1 cement :4 coarse sand) | Sq.m. | 50
1.BF | 9.48.2 | Providing and fixing M.S. grills of required pattern in frames of windowsetc. with M.S. flats, square or round bars etc. including priming coat with approved steel primer all complete Fixed to openings /wooden frames with rawl plugs screws etc. | Kgs. | 100
1.BG | 10.6.1 | Supplying and fixing rolling shutters of approved make, made of required size M.S. laths, interlocked together through their entire length and jointed together at the end by end locks, mounted on specially designed pipe shaft with brackets, side guides and arrangements for inside and outside locking with push and pull operation complete, including the cost of providing and fixing necessary 27.5 cm long wire springs manufactured from high tensile steel wire of adequate strength conforming to IS: 4454 - part 1 and M.S. top cover of required thickness for rolling shutters80 x 1.25mm M.S laths with 1.25mm thick top cover | sqm | 20
1.BH | 10.7 | Providing and fixing ball bearings for rolling shutters | nos | 2
1.BJ | 11.6.1 | Cement plaster skirting upto 30cm height with cement mortar 1:3 (1cement: :3coarse sand) finished with a floating coat of neat cement.18mm thick | sqm | 20
1.BK | M12.41.2 | Providing and fixing on wall face unplasticised Rigid PVC rain water pipes including coupler conforming to IS: 13592 Type A, including jointing with seal ring conforming to IS: 5382, leaving 10mm gap for thermal expansion, (i) Single socketed pipes: 110mm diameter | metre | 32
1.BL | 12.42.5.2 | Providing and fixing on wall face unplasticised - PVC moulded fittings/ accessories for unplasticised Rigid PVC rain water pipes conforming to IS : 13592 Type A including jointing with seal ring conforming to IS : 5382 leaving 10 mm gap for thermal expansion.Bend 87.5,110 mm bend Shoe ,Plain, | Each | 4
1.BM | 12.42.6.2 | Providing and fixing on wall face unplasticised - PVC moulded fittings/ accessories for unplasticised Rigid PVC rain water pipes conforming to IS : 13592 Type A including jointing with seal ring conforming to IS : 5382 leaving 10 mm gap for thermal expansion.Shoe 110 mm | Each | 4
1.BN | 12.43.2 | Providing and fixing unplasticised -PVC pipe clips of approved design to unplasticised - PVC rain water pipes by means of 50x50x50mm hard wood plugs, screwed with M.S. screws of required length including cutting brick work and fixing in cement mortar 1:4 (1 cement : 4 coarse sand) and making good the wall etc. complete.110 mm | Each | 30
1.BP | 12.44 | Providing and fixing to the inlet mouth of rain water pipe cast iron grating 15 cm diametre and weighing not less than 440 grams. | Each | 4
1.BQ | 13.4.2 | 12 mm cement plaster of mix1:6 (1 cement - 6 coarse sand) | Sq.m. | 675
1.BR | 13.7.2 | 12 mm cement plaster finished with a floating coat of neat cement of mix1:4 (1 cement: 4 fine sand) | Sq.m. | 100
1.BS | 13.11 | 18mm cement plaster in two coats under layer 12mm thick cement plaster 1:5 (1Cement:5 Coarse sand) finished with top layer 6mm thick cement plaster 1:6 (1 Cement:6 Fine sand). | Sq.m. | 550
1.BT | 13.42.1 | Distempering with 1st quality acrylic distemper (ready mixed) of approved manufacturer, of required shade and colour complete, as per manufacturer's specification.Two or more coats on new work | Sq.m. | 625
1.BU | 13.43.1 | Applying one coat of cement primer of approved brand and manufacture on wall surfcaeWater thinnable cement primer. | Sq.m. | 625
1.BV | 13.47.1 | Finishing walls with Premium Acrylic Smooth exterior paint with Silicone additives of required shade:New work (Two or more coats applied @ 1.43 ltr/10 sqm over and including priming coat of exterior primer applied @ 2.20 kg/10 sqm) | Sq.m. | 550
1.BW | 13.62.1 | Painting with synthetic enamel paint of approved brand and manufacture of required colour to give an even shade:Two or more coats on new work over an under coat of suitable shade with ordinary paint of approved brand and manufacture. | Sq.m. | 100
1.BX | 16.1 | Preparation and consolidation of sub grade with power road roller of 8 to 12 tonne capacity after excavating earth to an average of 22.5 cm depth, dressing to camber and consolidating with road roller including making good the undulations etc. and re-rolling the sub grade and disposal of surplus earth with lead upto 50 metres. | Sq.m. | 187.5
1.BY | 16.3.1 | Supplying and stacking at site.90 mm to 45 mm size stone aggregate | Cum | 30
1.BZ | 16.3.2 | Supplying and stacking at site.63 mm to 45 mm size stone aggregate | Cum | 30
1.CA | 16.3.3 | Supplying and stacking at site.53 mm to 22.4 mm size stone aggregate | Cum | 30
1.CB | 16.3.6 | Supplying and stacking at site.Stone screening 13.2 mm nominal size (Type A | Cum | 20
1.CC | 16.4 | Laying, spreading and compacting stone aggregate of specified sizes to WBM specifications in uniform thickness, hand picking, rolling with 3 wheeled road / vibratory roller 8-10 tonne capacity in stages to proper grade and camber, applying and brooming requisite type of screening / binding material to fill up interstices of coarse aggregate, watering and compacting to the required density . | Cum | 60
1.CD | 16.45 | Providing and fixing in position pre-moulded joint filler in expansion joints. | per cm depth per cm width per m length | 800
1.CE | 16.46.1 | Providing and laying in position bitumen hot sealing compound for expansion joints etc. | per cm depth per cm width per m length | 200
1.CF | M16.75(16.75-5.37.1+5.1.2+16.43B) | Providing and laying C.C. pavement of mix1:1.5:3 concrete shall be laid and finished with screed board vibrator , vacuum dewatering process and finally finished by floating, brooming with wire brush etc. complete as per specifications and directions of Engineer-incharge.(The pannel steel (channel) shuttering is inclusive not to be paid sepreately) for road and flooring | Cum | 60
1.CG | 21.1.2.2 | Providing and fixing aluminium work for doors, windows, ventilators and partitions with extruded built up standard tubular sections/ appropriate Z sections and other sections of approved make conforming to IS: 733 and IS: 1285, fixing with dash fasteners of required dia and size, including necessary filling up the gaps at junctions, i.e. at top, bottom and sides with required EPDM rubber/ neoprene gasket etc. Aluminium sections shall be smooth, rust free, straight, mitred and jointed mechanically wherever required including cleat angle, Aluminium snap beading for glazing / paneling, C.P. brass / stainless steel screws, all complete as per architectural drawings and the directions of Engineer-in-charge. (Glazing, paneling and dash fasteners to be paid for separately) :For shutters of doors, windows & ventilators including providing and fixing hinges/ pivots and making provision for fixing of fittings wherever required including the cost of EPDM rubber / neoprene gasket required (Fittings shall be paid for separately)Powder coated aluminium (minimum thickness of powder coating 50 micron) | kg | 50
1.CH | 21.3.1 | Providing and fixing glazing in aluminium door, window, ventilator shutters and partitions etc. with EPDM rubber / neoprene gasket etc. complete as per the architectural drawings and the directions of engineer-in-charge . (Cost of aluminium snap beading shall be paid in basic item):With float glass panes of 4.0 mm thickness | sqm | 10
1.CJ | 21.8.1 | Filling the gap in between aluminium frame & adjacent RCC/ Brick/ Stone work by providing weather silicon sealant over backer rod of approved quality as per architectural drawings and direction of Engineer-in-charge complete.Upto 5mm depth and 5 mm width | metre | 20
2.AA | NS1 | Laying, spreading and compacting stone aggregate of specified sizes 63MM -90MM WBM specifications in uniform thickness of 02 layers 150mm each , hand picking, rolling with 3 wheeled road/vibratory roller 8-10 tonne capacity in stages to proper grade and camber, applying and brooming and filling interstices of coarse aggregate with sand ,watering and compacting . | Cu.m. | 140
2.AB | NS2 | providing and fixing self supported roof of proflex or eqivalent of color coated Galavalumne sheet of minimum base material thickness (BMT)of 0.80 mm and APT of 85 mm including all fixers and arrangements | sqm | 450
2.AC | NS3 | providing and fixing 24 inch diamenter aluminum turbo ventilator with 42 vanes of aluminium of 0.50 mm thick top and bottom ss 304 double z bearing permanently greased with all type of fixtures | each | 4
2.AD | NS4 | supply of hanger.clamp for fixing lamp and fans as per requirement | each | 10
2.AE | NS5 | providing and fixinmg 2 mm thick polycarbonate transparent sheet coated with 50 micron UV layer at top and bottom (each sheet shall be of 0.61 m wide and 2.0 long) for natural ventilation of light | each | 4
3.AA | 1.17.11 | Supplying and drawing following sizes of FRLS PVC insulated copper conductor, single core cable in the existing surface/ recessed steel/ PVC conduit as required 2 x 2.5 sq. mm | Mtrs. | 100
3.AB(1.17.11 IN RFX MAY BE READ AS 1.17.12) | 1.17.12 | Supplying and drawing following sizes of FRLS PVC insulated copper conductor, single core cable in the existing surface/ recessed steel/ PVC conduit as required 3 x 2.5 sq. mm | Mtrs. | 20
3.AC (1.17.11 IN RFX MAY BE READ AS 1.17.13) | 1.17.13 | Supplying and drawing following sizes of FRLS PVC insulated copper conductor, single core cable in the existing surface/ recessed steel/ PVC conduit as required 4 x 2.5 sq. mm | Mtrs. | 50
3.AD (1.17.11 IN RFX MAY BE READ AS 1.17.1) | 1.17.1 | Supplying and drawing following sizes of FRLS PVC insulated copper conductor, single core cable in the existing surface/ recessed steel/ PVC conduit as required 1 x 2.5 sq. mm | Mtrs. | 50
3.AE | 1.21.1 | Supplying and fixing of following sizes of medium class PVC conduit along with accessories in surface/recess including cutting the wall and making good the same in case of recessed conduit as required.- 20 mm | Mtrs. | 100
3.AF | 1.21.2 | Supplying and fixing of following sizes of medium class PVC conduit along with accessories in surface/recess including cutting the wall and making good the same in case of recessed conduit as required.- 25 mm | Mtrs. | 20
3.AG | 1.21.3 | Supplying and fixing of following sizes of medium class PVC conduit along with accessories in surface/recess including cutting the wall and making good the same in case of recessed conduit as required.- 32 mm | Mtrs. | 50
3.AH | 1.24.1 | Supply and fixing of following modular switch / socket on the existing modular plate & switch box including connections but excluding modular plate etc. as required : 5/6 A switch | Nos | 2
3.AJ | 1.32 | Supplying and fixing suitable size GI box with modular plate and cover in front on surface or in recess, including providing and fixing 6 pin 5/6 A & 15/16 A modular socket outlet and 15/16 A modular switch, connections etc. as required | Nos. | 2
3.AK | 9.1.33 | Supplying and making end termination with brass compression gland and aluminium lugs for following size of PVC insulated and PVC sheathed / XLPE aluminium conductor cable of 1.1 KV grade as required. 4 X 16 sq. mm (28mm) (For 2 runs of cable) | nos | 300
3.AL | 2.4.1 | Supplying and fixing following way, horizontal type three pole and neutral, sheet steel, MCB distribution board, 415 V, on surface/ recess, complete with tinned copper bus bar, neutral bus bar, earth bar, din bar, interconnections, powder painted including earthing etc. as required. (But without MCB/RCCB/ Isolator) 4 way (4 + 12), Double door | Nos | 1
3.AM | 2.15.2 | Supplying and fixing following rating, four pole, (three phase and neutral), 415 V, residual current circuit breaker (RCCB), having a sensitivity current 30 mA in the existing MCB DB complete with connections, testing and commissioning etc. as required. 40A | Nos. | 1
3.AN | 2.10.2 | Supplying and fixing 5 A to 32 A rating, 240/415 V, 10 kA, “C” curve, miniature circuit breaker suitable for inductive load of following poles in the existing MCB DB complete with connections, testing and commissioning etc. as required Single pole and neutral | Nos. | 8
3.AP | 5.9 | Supplying and laying 25 mm X 5 mm G.l strip at 0.50 meter below ground as strip earth electrode, including connection/ terminating with G.l. nut, bolt, spring, washer etc. as required. (Jointing shall be done by overlapping and with 2 sets of G.I. nut bolt & spring washer spaced at 50 mm) | mtrs. | 10
3.AQ | 5.4 | Earthing with G.I. earth plate 600 mm X 600 mm X 6 mm thick including accessories, and providing masonry enclosure with cover plate having locking arrangement and watering pipe of 2.7 meter long etc. with charcoal/ coke and salt as required | Set | 1
4.AA | NS-1 | Supply and installation of Indoor High Bay LED luminaire as per Annexue - I | Nos | 2
4.AB | NS-2 | Supply and installation of LED Tube - 16W | Nos. | 26