## Name of Bidder
Construction of parallel cable trench in 765kV yard at 765/400kV Raichur Substation
Specification No: Ref: SR-I/C&M/WC-4393/2025 Rfx no.: 5002004805
Enter the details of the bidder below:
Specify type of Bidder |  | Sole Bidder
Name of the Bidder |  |  | TRUE
Address of Registered Office |  |  | TRUE
TRUE
TRUE
email id |  |  | TRUE
Mobile no. | +91 |  | TRUE
Printed Name |  |  | TRUE
Designation |  |  | TRUE
Date |  |  | TRUE
Place |  |  | TRUE | False
ENTER DETAILS
Note on C20: Insert date in dd-MMM-yyyy format

## Attach 10 (hidden)
#REF! |  |  | ATTACHMENT-10
#REF!
Integrity Pact
#REF! |  |  | #REF!
Name : | #REF! |  | #REF!
Address : | #REF! |  | #REF!
| #REF! |  | #REF!
| #REF! |  | #REF!
Dear Sir,
Integrity Pact is annexed herewith this Volume.
Date : | 0 | Printed Name : | 0
Place : | 0 | Designation : | 0
Click for Next Attachment

## Attach 10 IP (hidden)
Instruction for printing & submitting Integrity Pact
1. | The requisite format of Integrity Pact is getting generated automatically and displayed here below.
2. | Take print out of first page on a non-judicial stamp paper of Rs. 100/- and other seven pages on plain A4 size paper. Such two sets shall be prepared by the bidder.
3. | All the pages of both the copies of the Integrity Pact shall be signed by the authorised representative of the bidder and duly stamped.
4. | Both the original copies shall be submitted by the bidder in the form of Hard Copy as part of the first envelope before due date & time of submission of the bid.
5. | For further details bidders may please refer ITB Clause 9.3 (n).
0
0
0
0
INTEGRITY PACT
Between | [5 empty] | 0 |  | #REF!
Power Grid Corporation of India Limited | [5 empty] | 0 |  | #REF!
having its Registered Office at B-9, Qutab Institutional Area, Katwaria Sarai, New Delhi – 110016 hereinafter referred to as | [5 empty] | #REF! |  | #REF!
"POWERGRID", | [5 empty] | #REF! |  | #REF!
and
0 | [5 empty] | #REF! | having its Registered Office at |  | ,
#REF!
#REF!
#REF!
hereinafter referred to as
"The Bidder/Contractor"
Preamble
#REF!
(Signature) |  |  | (Signature)
(For & On behalf of POWERGRID) |  |  | (For & On behalf of Bidder/ Contractor)
Integrity Pact |  |  |  |  | Page 1 of 8
#REF!
In order to achieve these goals, POWERGRID and the above named Bidder/Contractor enter into this agreement called 'Integrity Pact' which will form a part of the bid.
It is hereby agreed by and between the parties as under:
Section I - Commitments of POWERGRID
(1) | POWERGRID commits itself to take all measures necessary to prevent corruption and to observe the following principles :
| a) | No employee of POWERGRID, personally or through family members, will in connection with the tender, or the execution of the contract, demand, take a promise for or accept, for him/herself or third person, any material or other benefit which he/she is not legally entitled to.
| b) | POWERGRID will, during the tender process treat all Bidder(s) with equity and fairness. POWERGRID will in particular, before and during the tender process, provide to all Bidder(s) the same information and will not provide to any Bidder(s) confidential/ additional information through which the Bidder(s) could obtain an advantage in relation to the tender process or the contract execution.
| c) | POWERGRID will exclude from evaluation of Bids its such employee(s) who has any personnel interest in the Companies/Agencies participating in the Bidding/Tendering process.
(2) | If Chairman and Managing Director obtains information on the conduct of any employee of POWERGRID which is a criminal offence under the relevant Anti-Corruption Laws of India, or if there be a substantive suspicion in this regard, he will inform its Chief Vigilance Officer and in addition can initiate disciplinary actions under its Rules.
Section II - Commitments of the Bidder/Contractor
(1) | The Bidder/Contractor commits himself to take all measures necessary to prevent corruption. He commits himself to observe the following principles
(Signature) |  |  | (Signature)
(For & On behalf of POWERGRID) |  |  | (For & On behalf of Bidder/ Contractor)
Integrity Pact |  |  |  |  | Page 2 of 8
during his participation in the tender process and during the contract execution :
| a) | The Bidder/Contractor will not, directly or through any other person or firm, offer, promise or give to POWERGRID, or to any of POWERGRID's employees involved in the tender process or the execution of the contract or to any third person any material or other benefit which he/she is not legally entitled to, in order to obtain in exchange an advantage during the tender process or the execution of the contract.
| b) | The Bidder/Contractor will not enter into any illegal agreement or understanding, whether formal or informal with other Bidders/Contractors. This applies in particular to prices, specifications, certifications, subsidiary contracts, submission or non-submission of bids or actions to restrict competitiveness or to introduce cartelization in the bidding process.
| c) | The Bidder/Contractor will not commit any criminal offence under the relevant Anti-corruption Laws of India; further, the Bidder/Contractor will not use for illegitimate purposes or for purposes of restrictive competition or personal gain, or pass on to others, any information provided by POWERGRID as part of the business relationship, regarding plans, technical proposals and business details, including information contained or transmitted electronically.
| d) | The Bidder/Contractor of foreign origin shall disclose the name and address of the Agents/representatives in India, if any, involved directly or indirectly in the Bidding. Similarly, the Bidder/Contractor of Indian Nationality shall furnish the name and address of the foreign principals, if any, involved directly or indirectly in the Bidding.
| e) | The Bidder/Contractor will, when presenting his bid, disclose any and all payments he has made, or committed to or intends to make to agents, brokers or any other intermediaries in connection with the award of the contract and/or with the execution of the contract.
| f) | The Bidder/Contractor will not misrepresent facts or furnish false/forged documents/informations in order to influence the bidding process or the execution of the contract to the detriment of POWERGRID.
(2) | The Bidder/Contractor will not instigate third persons to commit offences outlined above or be an accessory to such offences.
(Signature) |  |  | (Signature)
(For & On behalf of POWERGRID) |  |  | (For & On behalf of Bidder/ Contractor)
Integrity Pact |  |  |  |  | Page 3 of 8
Section III- Disqualification from tender process and exclusion from future contracts
(1) | If the Bidder, before contract award, has committed a serious transgression through a violation of Section II or in any other form such as to put his reliability or credibility as Bidder into question, POWERGRID may disqualify the Bidder from the tender process or terminate the contract, if already signed, for such reason.
(2) | If the Bidder/Contractor has committed a serious transgression through a violation of Section II such as to put his reliability or credibility into question, POWERGRID may after following due procedures also exclude the Bidder/Contractor from future contract award processes. The imposition and duration of the exclusion will be determined by the severity of the transgression. The severity will be determined by the circumstances of the case, in particular the number of transgressions, the position of the transgressors within the company hierarchy of the Bidder/Contractor and the amount of the damage. The exclusion will be imposed for a minimum of 12 months and maximum of 3 years.
(3) | If the Bidder/Contractor can prove that he has restored/recouped the damage caused by him and has installed a suitable corruption prevention system, POWERGRID may revoke the exclusion prematurely.
Section IV - Liability for violation of Integrity Pact
(1) | If POWERGRID has disqualified the Bidder from the tender process prior to the award under Section III, POWERGRID may forfeit the Bid Guarantee under the Bid.
(2) | If POWERGRID has terminated the contract under Section III, POWERGRID may forfeit the Contract Performance Guarantee of this contract besides resorting to other remedies under the contract.
Section V- Previous Transgression
(1) | The Bidder shall declare in his Bid that no previous transgressions occurred in the last 3 years with any other Public Sector Undertaking or Government Department that could justify his exclusion from the tender process.
(Signature) |  |  | (Signature)
(For & On behalf of POWERGRID) |  |  | (For & On behalf of Bidder/ Contractor)
Integrity Pact |  |  |  |  | Page 4 of 8
(2) | If the Bidder makes incorrect statement on this subject, he can be disqualified from the tender process or the contract, if already awarded, can be terminated for such reason.
Section VI - Equal treatment to all Bidders / Contractors
(1) | POWERGRID will enter into agreements with identical conditions as this one with all Bidders.
(2) | POWERGRID will disqualify from the tender process any bidder who does not sign this Pact or violate its provisions.
Section VII - Punitive Action against violating Bidders / Contractors
If POWERGRID obtains knowledge of conduct of a Bidder or a Contractor or his subcontractor or of an employee or a representative or an associate of a Bidder or Contractor or his Subcontractor which constitutes corruption, or if POWERGRID has substantive suspicion in this regard, POWERGRID will inform the Chief Vigilance Officer (CVO).
(*)Section VIII - Independent External Monitor/Monitors
(1) | POWERGRID has appointed a panel of Independent External Monitors (IEMs) for this Pact with the approval of Central Vigilance Commission (CVC), Government of India, out of which one of the IEMs has been indicated in the NIT/IFB.
(2) | The IEM is to review independently and objectively, whether and to what extent the parties comply with the obligations under this agreement. He has right of access to all project documentation. The IEM may examine any complaint received by him and submit a report to Chairman-cum-Managing Director, POWERGRID, at the earliest. He may also submit a report directly to the CVO and the CVC, in case of suspicion of serious irregularities attracting the provisions of the PC Act. However, for ensuring the desired transparency and objectivity in dealing with the complaints arising out of any tendering process, the matter shall be referred to the full panel of IEMs, who would examine the records, conduct the investigations and submit report to Chairman-cum-Managing Director, POWERGRID, giving joint findings.
(Signature) |  |  | (Signature)
(For & On behalf of POWERGRID) |  |  | (For & On behalf of Bidder/ Contractor)
Integrity Pact |  |  |  |  | Page 5 of 8
(3) | The IEM is not subject to instructions by the representatives of the parties and performs his functions neutrally and independently. He reports to the Chairman-cum-Managing Director, POWERGRID.
(4) | The Bidder(s)/Contractor(s) accepts that the IEM has the right to access without restriction to all documentation of POWERGRID related to this contract including that provided by the Contractor/Bidder. The Bidder/Contractor will also grant the IEM, upon his request and demonstration of a valid interest, unrestricted and unconditional access to his documentation. The same is applicable to Subcontractors. The IEM is under contractual obligation to treat the information and documents of the Bidder(s)/Contractor(s)/Subcontractor(s) with confidentiality.
(5) | POWERGRID will provide to the IEM information as sought by him which could have an impact on the contractual relations between POWERGRID and the Bidder/Contractor related to this contract.
(6) | As soon as the IEM notices, or believes to notice, a violation of this agreement, he will so inform the Chairman-cum-Managing Director, POWERGRID and request the Chairman-cum-Managing Director, POWERGRID to discontinue or take corrective action, or to take other relevant action. The IEM can in this regard submit non-binding recommendations. Beyond this, the IEM has no right to demand from the parties that they act in a specific manner, refrain from action or tolerate action. However, the IEM shall give an opportunity to POWERGRID and the Bidder/Contractor, as deemed fit, to present its case before making its recommendations to POWERGRID.
(7) | The IEM will submit a written report to the Chairman-cum-Managing Director, POWERGRID within 8 to 10 weeks from the date of reference or intimation to him by POWERGRID and, should the occasion arise, submit proposals for correcting problematic situations.
(8) | If the IEM has reported to the Chairman-cum-Managing Director, POWERGRID, a substantiated suspicion of an offence under relevant Anti-Corruption Laws of India, and the Chairman-cum-Managing Director, POWERGRID has not, within the reasonable time taken visible action to proceed against such offence or reported it to the CVO, the Monitor may also transmit this information directly to the CVC, Government of India.
(Signature) |  |  | (Signature)
(For & On behalf of POWERGRID) |  |  | (For & On behalf of Bidder/ Contractor)
Integrity Pact |  |  |  |  | Page 6 of 8
(9) | The word ‘IEM’ would include both singular and plural.
(*) | This Section shall be applicable for only those packages wherein the IEMs have been identified in Section – I : Invitation for Bids and/or Clause ITB 9.3 in Section – III: Bid Data Sheets of Conditions of Contract, Volume-I of the Bidding Documents.
Section IX - Pact Duration
This Pact begins when both parties have legally signed it. It expires for the Contractor after the closure of the contract and for all other Bidder's six month after the contract has been awarded.
Section X - Other Provisions
(1) | This agreement is subject to Indian Law. Place of performance and jurisdiction is the establishment of POWERGRID. The Arbitration clause provided in the main tender document / contract shall not be applicable for any issue / dispute arising under Integrity Pact.
(2) | Changes and supplements as well as termination notices need to be made in writing.
(3) | If the Contractor is a partnership firm or a consortium or Joint Venture, this agreement must be signed by all partners, consortium members and Joint Venture partners.
(4) | Nothing in this agreement shall affect the rights of the parties available under the General Conditions of Contract (GCC) and Special Conditions of Contract (SCC).
(5) | Views expressed or suggestions/submissions made by the parties and the recommendations of the CVO/IEM# in respect of the violation of this agreement, shall not be relied on or introduced as evidence in the arbitral or judicial proceedings (arising out of the arbitral proceedings) by the parties in connection with the disputes/differences arising out of the subject contract.
# | CVO shall be applicable for packages wherein IEM are not identified in Section IFB/BDS of Condition of Contract, Volume-I. IEM shall be applicable for packages wherein IEM are identified in Section IFB/BDS of Condition of Contract, Volume-I.
(Signature) |  |  | (Signature)
(For & On behalf of POWERGRID) |  |  | (For & On behalf of Bidder/ Contractor)
Integrity Pact |  |  |  |  | Page 7 of 8
(6) | Should one or several provisions of this agreement turn out to be invalid, the remainder of this agreement remains valid. In this case, the parties will strive to come to an agreement to their original intentions.
| Signature |  |  | Signature
| (For & On behalf of POWERGRID) |  |  | (For & On behalf of Bidder/ Contractor)
| (Office Seal) |  |  | (Office Seal)
| Name : |  |  | Name :
| Designation : |  |  | Designation :
| Witness 1 : |  |  | Witness 1 :
| Name : |  |  | Name :
| Designation : |  |  | Designation :
| Witness 2 : |  |  | Witness 2 :
| Name : |  |  | Name :
| Designation : |  |  | Designation :
Integrity Pact |  |  |  |  | Page 8 of 8
Click for Next Attachment

## N-W (Cr.) (hidden)
USD
155885 |  |  | 4960 |  |  | 10352 |  |  | 691647 |  |  |  | EURO
RMB
INR
USD One Lac Fifty Five Thousand Eight Hundred Eighty Five Only |  |  | EURO Four Thousand Nine Hundred Sixty Only |  |  | RMB Ten Thousand Three Hundred Fifty Two Only |  |  | INR Six Lac Ninety One Thousand Six Hundred Forty Seven Only |  |  |  | USD 155885/- + EURO 4960/- + RMB 10352/- + INR 691647/-
USD One Lac Fifty Five Thousand Eight Hundred Eighty Five Only plus EURO Four Thousand Nine Hundred Sixty Only plus RMB Ten Thousand Three Hundred Fifty Two Only plus INR Six Lac Ninety One Thousand Six Hundred Forty Seven Only
85 | Eighty Five |  | 60 | Sixty |  | 52 | Fifty Two |  | 47 | Forty Seven
8 | Eight | Hundred | 9 | Nine | Hundred | 3 | Three | Hundred | 6 | Six | Hundred
55 | Fifty Five | Thousand | 4 | Four | Thousand | 10 | Ten | Thousand | 91 | Ninety One | Thousand | 0 | 0 | 0 | 0 | 0 |  | plus
1 | One | Lac | 0 |  |  | 0 |  |  | 6 | Six | Lac | 0 | 0 | 0 | 0 | 1
0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 | 0 | 0 | 1 | 0
0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 | 0 | 0 | 1 | 1
[12 empty] | 0 | 0 | 1 | 0 | 0
1 | One |  | 1 | One |  | 1 | One |  | 1 | One |  | 0 | 0 | 1 | 0 | 1
2 | Two |  | 2 | Two |  | 2 | Two |  | 2 | Two |  | 0 | 0 | 1 | 1 | 0
3 | Three |  | 3 | Three |  | 3 | Three |  | 3 | Three |  | 0 | 0 | 1 | 1 | 1
4 | Four |  | 4 | Four |  | 4 | Four |  | 4 | Four |  | 0 | 1 | 0 | 0 | 0
5 | Five |  | 5 | Five |  | 5 | Five |  | 5 | Five |  | 0 | 1 | 0 | 0 | 1
6 | Six |  | 6 | Six |  | 6 | Six |  | 6 | Six |  | 0 | 1 | 0 | 1 | 0
7 | Seven |  | 7 | Seven |  | 7 | Seven |  | 7 | Seven |  | 0 | 1 | 0 | 1 | 1
8 | Eight |  | 8 | Eight |  | 8 | Eight |  | 8 | Eight |  | 0 | 1 | 1 | 0 | 0
9 | Nine |  | 9 | Nine |  | 9 | Nine |  | 9 | Nine |  | 0 | 1 | 1 | 0 | 1
10 | Ten |  | 10 | Ten |  | 10 | Ten |  | 10 | Ten |  | 0 | 1 | 1 | 1 | 0
11 | Eleven |  | 11 | Eleven |  | 11 | Eleven |  | 11 | Eleven |  | 1 | 1 | 1 | 1 | 1 | USD One Lac Fifty Five Thousand Eight Hundred Eighty Five Only plus EURO Four Thousand Nine Hundred Sixty Only plus RMB Ten Thousand Three Hundred Fifty Two Only plus INR Six Lac Ninety One Thousand Six Hundred Forty Seven Only
12 | Twelve |  | 12 | Twelve |  | 12 | Twelve |  | 12 | Twelve
13 | Thirteen |  | 13 | Thirteen |  | 13 | Thirteen |  | 13 | Thirteen
14 | Fourteen |  | 14 | Fourteen |  | 14 | Fourteen |  | 14 | Fourteen
15 | Fifteen |  | 15 | Fifteen |  | 15 | Fifteen |  | 15 | Fifteen
16 | Sixteen |  | 16 | Sixteen |  | 16 | Sixteen |  | 16 | Sixteen |  | 0 | 0 | 0 | 0 | 0 |  | +
17 | Seventeen |  | 17 | Seventeen |  | 17 | Seventeen |  | 17 | Seventeen |  | 0 | 0 | 0 | 0 | 1 |  | /- +
18 | Eighteen |  | 18 | Eighteen |  | 18 | Eighteen |  | 18 | Eighteen |  | 0 | 0 | 0 | 1 | 0 |  | /-
19 | Nineteen |  | 19 | Nineteen |  | 19 | Nineteen |  | 19 | Nineteen |  | 0 | 0 | 0 | 1 | 1
20 | Twenty |  | 20 | Twenty |  | 20 | Twenty |  | 20 | Twenty |  | 0 | 0 | 1 | 0 | 0
21 | Twenty One |  | 21 | Twenty One |  | 21 | Twenty One |  | 21 | Twenty One |  | 0 | 0 | 1 | 0 | 1
22 | Twenty Two |  | 22 | Twenty Two |  | 22 | Twenty Two |  | 22 | Twenty Two |  | 0 | 0 | 1 | 1 | 0
23 | Twenty Three |  | 23 | Twenty Three |  | 23 | Twenty Three |  | 23 | Twenty Three |  | 0 | 0 | 1 | 1 | 1
24 | Twenty Four |  | 24 | Twenty Four |  | 24 | Twenty Four |  | 24 | Twenty Four |  | 0 | 1 | 0 | 0 | 0
25 | Twenty Five |  | 25 | Twenty Five |  | 25 | Twenty Five |  | 25 | Twenty Five |  | 0 | 1 | 0 | 0 | 1
26 | Twenty Six |  | 26 | Twenty Six |  | 26 | Twenty Six |  | 26 | Twenty Six |  | 0 | 1 | 0 | 1 | 0
27 | Twenty Seven |  | 27 | Twenty Seven |  | 27 | Twenty Seven |  | 27 | Twenty Seven |  | 0 | 1 | 0 | 1 | 1
28 | Twenty Eight |  | 28 | Twenty Eight |  | 28 | Twenty Eight |  | 28 | Twenty Eight |  | 0 | 1 | 1 | 0 | 0
29 | Twenty Nine |  | 29 | Twenty Nine |  | 29 | Twenty Nine |  | 29 | Twenty Nine |  | 0 | 1 | 1 | 0 | 1
30 | Thirty |  | 30 | Thirty |  | 30 | Thirty |  | 30 | Thirty |  | 0 | 1 | 1 | 1 | 0
31 | Thirty One |  | 31 | Thirty One |  | 31 | Thirty One |  | 31 | Thirty One |  | 1 | 1 | 1 | 1 | 1 | USD 155885/- + EURO 4960/- + RMB 10352/- + INR 691647/-
32 | Thirty Two |  | 32 | Thirty Two |  | 32 | Thirty Two |  | 32 | Thirty Two
33 | Thirty Three |  | 33 | Thirty Three |  | 33 | Thirty Three |  | 33 | Thirty Three
34 | Thirty Four |  | 34 | Thirty Four |  | 34 | Thirty Four |  | 34 | Thirty Four
35 | Thirty Fivr |  | 35 | Thirty Fivr |  | 35 | Thirty Fivr |  | 35 | Thirty Fivr
36 | Thirty Six |  | 36 | Thirty Six |  | 36 | Thirty Six |  | 36 | Thirty Six
37 | Thirty Seven |  | 37 | Thirty Seven |  | 37 | Thirty Seven |  | 37 | Thirty Seven
38 | Thirty Eight |  | 38 | Thirty Eight |  | 38 | Thirty Eight |  | 38 | Thirty Eight
39 | Thirty Nine |  | 39 | Thirty Nine |  | 39 | Thirty Nine |  | 39 | Thirty Nine
40 | Forty |  | 40 | Forty |  | 40 | Forty |  | 40 | Forty
41 | Forty One |  | 41 | Forty One |  | 41 | Forty One |  | 41 | Forty One
42 | Forty Two |  | 42 | Forty Two |  | 42 | Forty Two |  | 42 | Forty Two
43 | Forty Three |  | 43 | Forty Three |  | 43 | Forty Three |  | 43 | Forty Three
44 | Forty Four |  | 44 | Forty Four |  | 44 | Forty Four |  | 44 | Forty Four
45 | Forty Five |  | 45 | Forty Five |  | 45 | Forty Five |  | 45 | Forty Five
46 | Forty Six |  | 46 | Forty Six |  | 46 | Forty Six |  | 46 | Forty Six
47 | Forty Seven |  | 47 | Forty Seven |  | 47 | Forty Seven |  | 47 | Forty Seven
48 | Forty Eight |  | 48 | Forty Eight |  | 48 | Forty Eight |  | 48 | Forty Eight
49 | Forty Nine |  | 49 | Forty Nine |  | 49 | Forty Nine |  | 49 | Forty Nine
50 | Fifty |  | 50 | Fifty |  | 50 | Fifty |  | 50 | Fifty
51 | Fifty One |  | 51 | Fifty One |  | 51 | Fifty One |  | 51 | Fifty One
52 | Fifty Two |  | 52 | Fifty Two |  | 52 | Fifty Two |  | 52 | Fifty Two
53 | Fifty Three |  | 53 | Fifty Three |  | 53 | Fifty Three |  | 53 | Fifty Three
54 | Fifty Four |  | 54 | Fifty Four |  | 54 | Fifty Four |  | 54 | Fifty Four
55 | Fifty Five |  | 55 | Fifty Five |  | 55 | Fifty Five |  | 55 | Fifty Five
56 | Fifty Six |  | 56 | Fifty Six |  | 56 | Fifty Six |  | 56 | Fifty Six
57 | Fifty Seven |  | 57 | Fifty Seven |  | 57 | Fifty Seven |  | 57 | Fifty Seven
58 | Fifty Eight |  | 58 | Fifty Eight |  | 58 | Fifty Eight |  | 58 | Fifty Eight
59 | Fifty Nine |  | 59 | Fifty Nine |  | 59 | Fifty Nine |  | 59 | Fifty Nine
60 | Sixty |  | 60 | Sixty |  | 60 | Sixty |  | 60 | Sixty
61 | Sixty One |  | 61 | Sixty One |  | 61 | Sixty One |  | 61 | Sixty One
62 | Sixty Two |  | 62 | Sixty Two |  | 62 | Sixty Two |  | 62 | Sixty Two
63 | Sixty Three |  | 63 | Sixty Three |  | 63 | Sixty Three |  | 63 | Sixty Three
64 | Sixty Four |  | 64 | Sixty Four |  | 64 | Sixty Four |  | 64 | Sixty Four
65 | Sixty Five |  | 65 | Sixty Five |  | 65 | Sixty Five |  | 65 | Sixty Five
66 | Sixty Six |  | 66 | Sixty Six |  | 66 | Sixty Six |  | 66 | Sixty Six
67 | Sixty Seven |  | 67 | Sixty Seven |  | 67 | Sixty Seven |  | 67 | Sixty Seven
68 | Sixty Eight |  | 68 | Sixty Eight |  | 68 | Sixty Eight |  | 68 | Sixty Eight
69 | Sixty Nine |  | 69 | Sixty Nine |  | 69 | Sixty Nine |  | 69 | Sixty Nine
70 | Seventy |  | 70 | Seventy |  | 70 | Seventy |  | 70 | Seventy
71 | Seventy One |  | 71 | Seventy One |  | 71 | Seventy One |  | 71 | Seventy One
72 | Seventy Two |  | 72 | Seventy Two |  | 72 | Seventy Two |  | 72 | Seventy Two
73 | Seventy Three |  | 73 | Seventy Three |  | 73 | Seventy Three |  | 73 | Seventy Three
74 | Seventy Four |  | 74 | Seventy Four |  | 74 | Seventy Four |  | 74 | Seventy Four
75 | Seventy Five |  | 75 | Seventy Five |  | 75 | Seventy Five |  | 75 | Seventy Five
76 | Seventy Six |  | 76 | Seventy Six |  | 76 | Seventy Six |  | 76 | Seventy Six
77 | Seventy Seven |  | 77 | Seventy Seven |  | 77 | Seventy Seven |  | 77 | Seventy Seven
78 | Seventy Eight |  | 78 | Seventy Eight |  | 78 | Seventy Eight |  | 78 | Seventy Eight
79 | Seventy Nine |  | 79 | Seventy Nine |  | 79 | Seventy Nine |  | 79 | Seventy Nine
80 | Eighty |  | 80 | Eighty |  | 80 | Eighty |  | 80 | Eighty
81 | Eighty One |  | 81 | Eighty One |  | 81 | Eighty One |  | 81 | Eighty One
82 | Eighty Two |  | 82 | Eighty Two |  | 82 | Eighty Two |  | 82 | Eighty Two
83 | Eighty Three |  | 83 | Eighty Three |  | 83 | Eighty Three |  | 83 | Eighty Three
84 | Eighty Four |  | 84 | Eighty Four |  | 84 | Eighty Four |  | 84 | Eighty Four
85 | Eighty Five |  | 85 | Eighty Five |  | 85 | Eighty Five |  | 85 | Eighty Five
86 | Eighty Six |  | 86 | Eighty Six |  | 86 | Eighty Six |  | 86 | Eighty Six
87 | Eighty Seven |  | 87 | Eighty Seven |  | 87 | Eighty Seven |  | 87 | Eighty Seven
88 | Eighty Eight |  | 88 | Eighty Eight |  | 88 | Eighty Eight |  | 88 | Eighty Eight
89 | Eighty Nine |  | 89 | Eighty Nine |  | 89 | Eighty Nine |  | 89 | Eighty Nine
90 | Ninety |  | 90 | Ninety |  | 90 | Ninety |  | 90 | Ninety
91 | Ninety One |  | 91 | Ninety One |  | 91 | Ninety One |  | 91 | Ninety One
92 | Ninety Two |  | 92 | Ninety Two |  | 92 | Ninety Two |  | 92 | Ninety Two
93 | Ninety Three |  | 93 | Ninety Three |  | 93 | Ninety Three |  | 93 | Ninety Three
94 | Ninety Four |  | 94 | Ninety Four |  | 94 | Ninety Four |  | 94 | Ninety Four
95 | Ninety Five |  | 95 | Ninety Five |  | 95 | Ninety Five |  | 95 | Ninety Five
96 | Ninety Six |  | 96 | Ninety Six |  | 96 | Ninety Six |  | 96 | Ninety Six
97 | Ninety Seven |  | 97 | Ninety Seven |  | 97 | Ninety Seven |  | 97 | Ninety Seven
98 | Ninety Eight |  | 98 | Ninety Eight |  | 98 | Ninety Eight |  | 98 | Ninety Eight
99 | Ninety Nine |  | 99 | Ninety Nine |  | 99 | Ninety Nine |  | 99 | Ninety Nine
100 | One Hundred |  | 100 | One Hundred |  | 100 | One Hundred |  | 100 | One Hundred
BG VALUE:
#REF!
#REF!
#REF!
#REF! | #REF!
#REF! | #REF! | #REF!
#REF! | #REF! | #REF!
#REF! | #REF! | #REF!
#REF! | #REF! | #REF!
#REF! | #REF! | #REF!
1 | One
2 | Two
3 | Three
4 | Four
5 | Five
6 | Six
7 | Seven
8 | Eight
9 | Nine
10 | Ten
11 | Eleven
12 | Twelve
13 | Thirteen
14 | Fourteen
15 | Fifteen
16 | Sixteen
17 | Seventeen
18 | Eighteen
19 | Nineteen
20 | Twenty
21 | Twenty One
22 | Twenty Two
23 | Twenty Three
24 | Twenty Four
25 | Twenty Five
26 | Twenty Six
27 | Twenty Seven
28 | Twenty Eight
29 | Twenty Nine
30 | Thirty
31 | Thirty One
32 | Thirty Two
33 | Thirty Three
34 | Thirty Four
35 | Thirty Fivr
36 | Thirty Six
37 | Thirty Seven
38 | Thirty Eight
39 | Thirty Nine
40 | Forty
41 | Forty One
42 | Forty Two
43 | Forty Three
44 | Forty Four
45 | Forty Five
46 | Forty Six
47 | Forty Seven
48 | Forty Eight
49 | Forty Nine
50 | Fifty
51 | Fifty One
52 | Fifty Two
53 | Fifty Three
54 | Fifty Four
55 | Fifty Five
56 | Fifty Six
57 | Fifty Seven
58 | Fifty Eight
59 | Fifty Nine
60 | Sixty
61 | Sixty One
62 | Sixty Two
63 | Sixty Three
64 | Sixty Four
65 | Sixty Five
66 | Sixty Six
67 | Sixty Seven
68 | Sixty Eight
69 | Sixty Nine
70 | Seventy
71 | Seventy One
72 | Seventy Two
73 | Seventy Three
74 | Seventy Four
75 | Seventy Five
76 | Seventy Six
77 | Seventy Seven
78 | Seventy Eight
79 | Seventy Nine
80 | Eighty
81 | Eighty One
82 | Eighty Two
83 | Eighty Three
84 | Eighty Four
85 | Eighty Five
86 | Eighty Six
87 | Eighty Seven
88 | Eighty Eight
89 | Eighty Nine
90 | Ninety
91 | Ninety One
92 | Ninety Two
93 | Ninety Three
94 | Ninety Four
95 | Ninety Five
96 | Ninety Six
97 | Ninety Seven
98 | Ninety Eight
99 | Ninety Nine
100 | One Hundred

## Schedule-I
Construction of parallel cable trench in 765kV yard at 765/400kV Raichur Substation
Schedule-I : DSR Scheduled Items
To:
Bidder’s Name and Address (Sole Bidder) : |  | 0 | [10 empty] | Contract Services
Address : |  | 0 | [10 empty] | Power Grid Corporation of India Ltd.,
|  | 0 | [10 empty] | Southern Region Transmission system -I
|  | 0 | [10 empty] | Kavadiguda Main Raod, Secunderabad - 500080
All prices are in INR
Sl. No. | DSR 2023 Ref No: | Service Number | SAC (Service Accounting Codes) | Whether SAC in column ‘4’ is confirmed. If not indicate applicable the SAC # | Rate of GST applicable ( in %) | Whether rate of GST in column ‘6’ is confirmed. If not indicate applicable rate of GST # | Description (DSR'23 Items- Civil Works) | Unit | Quantity | Unit Erection Charges as per DSR incl. GST | Unit Erection Charges as per DSR excl. GST | Escalation @ 3% | Unit Erection Charges incl. Escl. excluding GST | GST % included in DSR 2023 | Amount excluding GST | GST
| Part-I | [5 empty] | CIVIL SCHEDULE ITEMS
1 | 15.2.2 | [5 empty] | Demolishing cement concrete manually/ by mechanical means including disposal of material within 50 metres lead as per direction of Engineer - in - charge. : Nominal concrete 1:4:8 or leaner mix (i/c equivalent design mix) | cum | 73.5 | 1503.6 | 1274.2373 | 3% | 1312.46 | 18% | 96465.81 | 17363.8458
2 | 15.2.1 | [5 empty] | Demolishing cement concrete manually/ by mechanical means including disposal of material within 50 metres lead as per direction of Engineer - in - charge.Nominal concrete 1:3:6 or richer mix (i/c equivalent design mix) | cum | 1.6 | 2434.25 | 2062.9237 | 3% | 2124.81 | 18% | 3399.696 | 611.9453
3 | 15.3 | [5 empty] | Demolishing R.C.C. work manually/ by mechanical means including stacking of steel bars and disposal of unserviceable material within 50 metres lead as per direction of Engineer - in- charge. | cum | 17.145 | 3551.25 | 3009.5339 | 3% | 3099.82 | 18% | 53146.4139 | 9566.3545
4 | 15.7.4 | [5 empty] | Demolishing brick work manually/ by mechanical means including stacking of serviceable material and disposal of unserviceable material within 50 metres lead as per direction of Engineer-in-charge.In cement mortar | cum | 4.752 | 2060.2 | 1745.9322 | 3% | 1798.31 | 18% | 8545.5691 | 1538.2024
5 | 2.8.1 | [5 empty] | Earth work in excavation by mechanical means (Hydraulic excavator) / manual means in foundation trenches or drains (not exceeding 1.5 m in width or 10 sqm on plan), including dressing of sides and ramming of bottoms, lift upto 1.5 m, including getting out the excavated soil and disposal of surplus excavated soil as directed, within a lead of 50 m. All kinds of soil. | cum | 1200.026 | 260.3 | 220.5932 | 3% | 227.21 | 18% | 272657.9075 | 49078.4233
6 | 4.1.8 | [5 empty] | Providing and laying in position cement concrete of specified grade excluding the cost of centering and shuttering - All work up to plinth level : 1:4:8 (1 Cement : 4 coarse sand (zone-III) derived from natural sources : 8 graded stone aggregate 40 mm nominal size derived from natural sources) | cum | 79.08 | 6812 | 5772.8814 | 3% | 5946.07 | 18% | 470215.2156 | 84638.7388
7 | 5.22.6 | [5 empty] | Steel reinforcement for R.C.C. work including straightening, cutting, bending, placing in position and binding all complete upto plinth level. : Thermo-Mechanically Treated bars of grade Fe-500D or more. | kg | 16912.069 | 107.85 | 91.3983 | 3% | 94.14 | 18% | 1592102.1757 | 286578.3916
8 | 5.1.2 | [5 empty] | Providing and laying in position specified grade of reinforced cement concrete, excluding the cost of centering, shuttering, finishing and reinforcement - All work up to plinth level : 1:1.5:3 (1 cement : 1.5 coarse sand (zone-III) derived from natural sources : 3 graded stone aggregate 20 mm nominal size derived from natural sources) | cum | 303.076 | 9045.75 | 7665.8898 | 3% | 7895.87 | 18% | 2393048.6961 | 430748.7653
9 | 5.9.1 | [5 empty] | Centering and shuttering including strutting, propping etc. and removal of form for Foundations, footings, bases of columns, etc. for mass concrete | sqm | 300.19 | 392.15 | 332.3305 | 3% | 342.3 | 18% | 102755.037 | 18495.9067
10 | 5.9.2 | [5 empty] | Centering and shuttering including strutting, propping etc. and removal of form for Walls (any thickness) including attached pilasters, butteresses, plinth and string courses etc. | sqm | 2613.47 | 842.5 | 713.9831 | 3% | 735.4 | 18% | 1921945.838 | 345950.2508
11 | 5.9.3 | [5 empty] | Centering and shuttering including strutting, propping etc. and removal of form for Suspended floors, roofs, landings, balconies and access platform | sqm | 4.68 | 927.25 | 785.8051 | 3% | 809.38 | 18% | 3787.8984 | 681.8217
12 | 5.12 | [5 empty] | Providing, hoisting and fixing above plinth level up to floor five level precast reinforced cement concrete work in string courses, bands, copings, bed plates, anchor blocks, plain window sills and the like, including the cost of required centering, shuttering but , excluding cost of reinforcement with 1:1.5:3 (1 cement : 1.5 coarse sand (zone-III) derived from natural sources : 3 graded stone aggregate 20 mm nominal size derived from natural sources). | cum | 46.123 | 10585.9 | 8971.1017 | 3% | 9240.23 | 18% | 426187.1283 | 76713.6831
13 | 10.1 | [5 empty] | Structural steel work in single section, fixed with or without connecting plate, including cutting, hoisting, fixing in position and applying a priming coat of approved steel primer all complete. | kg | 43872 | 117.35 | 99.4492 | 3% | 102.43 | 18% | 4493808.96 | 808885.6128
14 | 13.62.1 | [5 empty] | Painting with synthetic enamel paint of approved brand and manufacture of required colour to give an even shade : Two or more coats on new work over an under coat of suitable shade with ordinary paint of approved brand and manufacture | sqm | 1161.596 | 226.25 | 191.7373 | 3% | 197.49 | 18% | 229403.594 | 41292.6469
15 | 6.1.1 | [5 empty] | Brick work with common burnt clay F.P.S. (non modular) bricks of class designation 7.5 in foundation and plinth in: Cement mortar 1:4 (1 cement : 4 coarse sand) | cum | 7.976 | 7370.65 | 6246.3136 | 3% | 6433.7 | 18% | 51315.1912 | 9236.7344
16 | 4.1.3 | [5 empty] | Providing and laying in position cement concrete of specified grade excluding the cost of centering and shuttering - All work up to plinth level : 1:2:4 (1 cement : 2 coarse sand (zone-III) derived from natural sources : 4 graded stone aggregate 20 mm nominal size derived from natural sources) | cum | 68.06 | 7878.5 | 6676.6949 | 3% | 6877 | 18% | 468048.62 | 84248.7516
17 | 13.1.1 | [5 empty] | 12 mm cement plaster of mix : 1:4 (1 cement: 4 fine sand) | sqm | 33.768 | 347.05 | 294.1102 | 3% | 302.93 | 18% | 10229.3402 | 1841.2812
18 | 13.7.2 | [5 empty] | 12 mm cement plaster finished with a floating coat of neat cement of mix : 1:4 (1 cement: 4 fine sand) | sqm | 10.028 | 425.55 | 360.6356 | 3% | 371.45 | 18% | 3724.9006 | 670.4821
19 | 13.46.1 | [5 empty] | Finishing walls with Acrylic Smooth exterior paint of required shade : New work (Two or more coat applied @ 1.67 ltr/10 sqm over and including priming coat of exterior primer applied @ 0.90 litre/10 sqm) | sqm | 53.52 | 160.6 | 136.1017 | 3% | 140.18 | 18% | 7502.4336 | 1350.438
20 | 19.35.1 | [5 empty] | Providing and laying Non Pressure NP-3 class (Medium duty) R.C.C. pipes including collars/spigot jointed with stiff mixture of cement mortar in the proportion of 1:2 (1 cement : 2 fine sand) including testing of joints etc. complete 450 mm dia RCC pipes | mtr | 138 | 2676.55 | 2268.2627 | 3% | 2336.31 | 18% | 322410.78 | 58033.9404
21 | 19.6.3 | [5 empty] | Providing and Laying non-pressure NP2 class (light duty) R.C.C. pipes with collars jointed with stiff mixture of cement mortar in proportion of 1:2 (1 cement : 2 fine sand) including testing of joints etc. complete : 250 mm dia R.C.C. pipe | mtr | 27.8 | 899.8 | 762.5424 | 3% | 785.42 | 18% | 21834.676 | 3930.2417
22 | 2.25 | [5 empty] | Filling available excavated earth (excluding rock) in trenches, plinth, sides of foundations etc. in layers not exceeding 20cm in depth, consolidating each deposited layer by ramming and watering, lead up to 50 m and lift upto 1.5 m. | cum | 315.406 | 196 | 166.1017 | 3% | 171.08 | 18% | 53959.6585 | 9712.7385
23 | 1.1.1 | [5 empty] | Carriage of Materials By Mechanical transport including loading, unloading and stacking upto 1 KM : Lime,Moorum,Building Rubbish | cum | 96.997 | 174.04 | 147.4915 | 3% | 151.92 | 18% | 14735.7842 | 2652.4412
24 | 1.1.2 | [5 empty] | Carriage of Materials By Mechanical transport including loading, unloading and stacking upto 1 KM : Earth | cum | 884.621 | 217.55 | 184.3644 | 3% | 189.9 | 18% | 167989.5279 | 30238.115
[6 empty] | Total of Scheduled Items- Civil | [8 empty] | 13189220.8518 | 2374059.7533
SCHEDULE ITEMS (Electricals)
Not Applicable
[6 empty] | Total of Scheduled Items- Electrical | [8 empty] | 0 | 0
[6 empty] | Total of Scheduled Items- Civil + Electrical (Schedule-I) | [8 empty] | 13189220.8518 | 2374059.7533
Percentage (%) above/below +/- on DSR 2023 Rates excluding GST mentioned above (to be quoted by Bidder) | [15 empty] | 0%
Add Amount above/below +/- on the amount for DSR Items as per quoted percentage
Total of Schedule I excluding GST considering offered % Rebate
Total GST
As the %variation w.r.t total DSR Amount cell left Blank the bid is considered as Non-responsive

## Schedule-II
Construction of parallel cable trench in 765kV yard at 765/400kV Raichur Substation
Schedule-II : Non-Scheduled Items
Bidder’s Name |  |  | 0 | [5 empty] | To:
Address : |  |  | 0 | [5 empty] | Contract Services
|  |  | 0 | [5 empty] | Power Grid Corporation of India Ltd.,
|  |  | 0 | [5 empty] | Southern Region Transmission system -I
Kavadiguda Main Raod, Secunderabad - 500080
Sl. No. | Service Number | SAC Code | Whether SAC in column ‘2’ is confirmed. If not indicate applicable the SAC # | Rate of GST applicable ( in %) | Whether rate of GST in column ‘6’ is confirmed. If not indicate applicable rate of GST # | Description (Non Schedule Items) | Unit | Quantity | Unit Rate without GST | Total Amount excl. GST | GST | Remarks |  | 4
1 |  | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10= 8 x 9 | 11 = Appl GST% of 10 |  |  | 3
A |  | 6: NON-SCHEDULE ITEMS: CIVIL
NS_1 |  | 4: 18%; 6: Removing and stacking of switchyard metals and respreading of stones if required after cleaning , washing and doing antiweed treatment including shifting and stacking of excess metals left after respreading upto a radius of 1 KM .( No extra payment will be made for Antiweed treatment).; 7: sqm; 8: 1316 | 0 | 0 | Included in other item
NS_2 |  | 4: 18%; 6: Providing and laying in position cement concrete of specified grade excluding the cost of centering and shuttering - All work up to plinth level :1:5:10 (1 cement : 5 coarse sand (zone-III) derived from natural sources : 10 graded stone aggregate 40 mm nominal size derived from natural sources) and A layer of cement slurry of mix 1:6 (1 cement : 6 fine aggregate) shall be laid uniformly over cement concrete layer. The Cement consumption for cement slurry shall not be less than 150 kg for every 100 sqm.; 7: cum; 8: 18.9 | 0 | 0 | Included in other item
NS_3 |  | 4: 18%; 6: “Shifting and Placing 1300 x 340 x 50 mm Precast RCC Cable trench covers over cable trench walls within a radius of 1 KM by mechanical or manual means without any damage to Precast RCC cover (Any damage during shifting should be repair or replace by agency) and other requirements as per direction of Engineer in Charge.; 7: No; 8: 2087 | 0 | 0 | Included in other item
|  | 6: TOTAL FOR NON-SCHEDULE ITEMS: CIVIL | 0 | 0
B |  | 6: NON-SCHEDULE ITEMS:ELECTRICAL
NS_1 |  | 4: 18%; 6: NIL | 0 | 0
|  | 6: TOTAL FOR NON-SCHEDULE ITEMS: (Electrical) | 0 | 0
|  | 6: Total of Non-Schedule Items- Civil and E&M (Schedule - II) | 0 | 0 |  | Sheet OK
As all the line items are Left Blank the bid is considered as Non-responsive
Sheet OK

## Schedule-III-Summary
Construction of parallel cable trench in 765kV yard at 765/400kV Raichur Substation
(GRAND SUMMARY)
Bidder’s Name and Address (Sole Bidder) : |  | To:
Name : | 0 | Contract Services
Address : | 0 | Power Grid Corporation of India Ltd.,
| 0 | Southern Region Transmission system -I
| 0 | Kavadiguda Main Raod,
Secunderabad - 500080
Sl. No. | Description |  | Total Price (INR)
1.1 | TOTAL SCHEDULE NO. I
Supply & Installation Charges- Schedule Civil & Electrical Items for Construction of parallel cable trench in 765kV yard at 765/400kV Raichur Substation
1.2 | TOTAL SCHEDULE NO. II
| Supply & Installation Charges- Non-Schedule Civil & Electrical Items for Construction of parallel cable trench in 765kV yard at 765/400kV Raichur Substation |  | 0
I | Total of Service/Installation Charge (ITEMS TAB: Item 01 INSTALLATION FOR DCB (INR) : SRM ATB for BID PRICE SUMMARY Statement ) |  | Non-responsive Bid
II | GST
GST on Schedule-I
| GST on Schedule-II |  | 0
| Total GST for BID PRICE SUMMARY Statement ) |  | #VALUE!
III | GRAND TOTAL |  | Non-responsive Bid
Date : | 0 | Printed Name : | 0
Place : | 0 | Designation : | 0

## Bid Form
Specification No: Ref: SR-I/C&M/WC-4393/2025 Rfx no.: 5002004805 |  |  |  | Bid Form 2nd Envelope
BID FORM (Second Envelope)
Bid Proposal Ref. No.
Date :
To:
Contract Services
Power Grid Corporation of India Ltd.,
Southern Region Transmission System-I
Name of Contract : |  | Construction of parallel cable trench in 765kV yard at 765/400kV Raichur Substation
Dear Ladies and/or Gentlemen,
1 | In continuation of First Envelope of our Bid, we hereby submit the Second Envelope of the Bid, both of which shall be read together and in conjunction with each other, and shall be construed as an integral part of our Bid. Accordingly, we the undersigned, offer to undertake the above-named package in full conformity with the said Bidding Documents for the sum of Rs. Non-responsive Bid /- only or such other sums as may be determined in accordance with the terms and conditions of the Bidding Documents. |  |  |  | In continuation of First Envelope of our Bid, we hereby submit the Second Envelope of the Bid, both of which shall be read together and in conjunction with each other, and shall be construed as an integral part of our Bid. Accordingly, we the undersigned, offer to undertake the above-named package in full conformity with the said Bidding Documents for the sum of Rs. | /- only or such other sums as may be determined in accordance with the terms and conditions of the Bidding Documents. | Non-responsive Bid
The above amounts are in accordance with the price schedules attached herewith and are made part of this bid.
2 | Price Schedules
2.1 | In line with the requirements of the Bidding documents, we enclose herewith the following Price Schedules, duly filled - in as per your proforma:
| Sch-1 | Schedules Items as per DSR 2021 excluding GST
| Sch-2 | Non-Scheduled Items
| Sch-3 | Grand Summary
2.2 | We are aware that the Price Schedules do not generally give a full description of the Work to be performed under each item and we shall be deemed to have read the Technical Specifications and other sections of the Bidding Documents and Drawings to ascertain the full scope of Work included in each item while filling-in the rates and prices. We agree that the entered rates and prices shall be deemed to include for the full scope as aforesaid, including overheads and profit.
2.3 | We declare that as specified in Clause 4.6, ITB, Vol.-IA of the Bidding Documents, the prices of all the Services to be supplied under this contract shall be FIRM and doesnot subject to any price adjustment as per relevant clauses in bidding document.
2.4 | We understand that in the price schedules, where there are errors between the total of the amounts given under the column for the price Breakdown and the amount given under the Total Price, the former shall prevail and the latter will be corrected accordingly. We further understand that where there are discrepancies between amounts stated in figures and amounts stated in words, the amount stated in words shall prevail. Similarly, any discrepancy in the total bid price and that of the summation of Schedule price (price indicated in a Schedule indicating the total of that schedule), the total bid price shall be corrected to reflect the actual summation of the Schedule prices.
3 | We confirm that except as otherwise specifically provided our Bid Prices in this Second Envelope include all taxes, duties, levies and charges as may be assessed on us/our Associate (applicable for Foreign Bidder), our Sub-Contractor/Sub-Vendor or their employees by all municipal, state or national government authorities in connection with the Facilities, in and outside of India.
3.1 | 100% of applicable Taxes and Duties i.e GST , which are payable by the Employer under the Contract, shall be reimbursed by the Employer on production of satisfactory documentary evidence by the Contractor in accordance with the provisions of the Bidding Documents.
3.2 | We further understand that notwithstanding 3.0 above, in case of award on us, you shall also bear and pay/reimburse to us, GST applicable on Installation Services specified in Schedule No. I & II of the Price Schedule in this Second Envelope, by the Indian Laws.
3.3 | We confirm that we have also registered/we shall also get registered in the GST Network with a GSTIN, in all the states where the project is located and the states from which we shall make our supply of goods.
4 | # (For Joint Venture only) We, the partners of Joint Venture submitting this bid, do agree and confirm that in case of Award of Contract on the Joint Venture, we shall be jointly and severally liable and responsible for the execution of the Contract in accordance with Contract terms and conditions.
5 | We, hereby, declare that only the persons or firms interested in this proposal as principals are named here and that no other persons or firms other than those mentioned herein have any interest in this proposal or in the Contract to be entered into, if the award is made on us, that this proposal is made without any connection with any other person, firm or party likewise submitting a proposal is in all respects for and in good faith, without collusion or fraud.
Thanking you, we remain,
Yours faithfully,
For and on behalf of
Date : | 0 |  | Printed Name : | 0
Place : | 0 |  | Designation : | 0
Please provide additional information of the Bidder
Business Address :
Country of Incorporation :
State/Province to be indicated :
Name of Principal Officer :
Address of Principal Officer :
Note: Bidders may note that no prescribed proforma has been enclosed for Attachment 2 : Power of Attorney. Bidders may use their own proforma for furnishing the required information with the bid.
* * *