## Instruction
General Instruction to the Bidders for filling up this workbook of Price Schedules for Package Fire Fighting Pump House & Hydrant System Refurbishment Work under Add Cap Block 2024-29 at Satna SS
I | While filling up the worksheets following may please be observed :
| (i) | Fill up only green shaded cells.
| (ii) | Certain data type entries have been restricted, such as Numeric values or limits of numeric values.
| (iii) | Select only the options provided in pull down menus.
| (iv) | Do not link any cell of this work book with any other work book.
| (v) | Do not use copy & paste or cut & paste options for filling up the data.
| (vi) | Do not reformat any of the cell of the work book.
II | This Workbook consists of following worksheets :
Cover :
Opening page of the workbook.
Names of Bidder :
| ● | Select Sole Bidder or JV (Joint Venture) from the pull down menu. Do not leave this cell blank.
| ● | Select nos. of the JV Partners other than the Lead Partner from drop down menu.
| ● | In case of JV partners more than 2, enter details of 3rd & more partners along with details of 2nd partner.
| ● | Fill up names and address of the Sole Bidder and /or Joint Venture.
| ● | Fill up date in dd-mmm-yyyy format from drop down menu.
| ● | Click for Sch-1 given at the right top of the worksheet to go to Sch-1.
Sch -1 : (Abstract Of Cost)
| ● | Summary of all the Schedules shall be displayed automatically.
| ● | No cell is required to be filled in by the bidder in this worksheet.
Sch-2 (Schedule Items for Civil Works for FOR CONSTRUCTION OF TL STORE (50m x 10 m) FOR BANASKANTHA SUBSTATION ) :
| ● | Schedule Items: only % above/below DSR-2014 is to be filled up.
| ● | Total amount shall get calculated automatically.
Sch-3 (Non-Schedule Items for FOR CONSTRUCTION OF TL STORE (50m x 10 m) FOR BANASKANTHA SUBSTATION ) :
| ● | Non-Schedule Items: Fill up unit rates for all the items in numeric values greater than 0 (zero). If unit rate is left blank, the corresponding item shall be deemed to be included in the total price.
| ● | Total amount shall get calculated automatically.
| ● | The rate quoted shall be inclusive of the Service Tax.
Sch-4 (Schedule Items for CONSTRUCTION OF OPEN STORE YARD OF SIZE (110m x 40) m for BANASKANTHA SUBSTATION ) :
| ● | Schedule Items: only % above/below DSR-2014 is to be filled up.
| ● | Total amount shall get calculated automatically.
Sch-5 (Non-Schedule Items for CONSTRUCTION OF OPEN STORE YARD OF SIZE (110m x 40) m for BANASKANTHA SUBSTATION ) :
| ● | Non-Schedule Items: Fill up unit rates for all the items in numeric values greater than 0 (zero). If unit rate is left blank, the corresponding item shall be deemed to be included in the total price.
| ● | Total amount shall get calculated automatically.
| ● | The rate quoted shall be inclusive of the Service Tax.
Sch-6 ( INTERNAL ELECTRIFICATION WORKS OF 50x10 STORE SHED FOR BANASKANTHA SUBSTATION ) :
| ● | Fill up unit rates for all the items in numeric values greater than 0 (zero). If unit rate is left blank, the corresponding item shall be deemed to be included in the total price.
| ● | Total amount shall get calculated automatically.
| ● | The rate quoted shall be inclusive of the Service Tax.
Bid from 2nd Envelope :
| ● | Fill up ref. no. as bidder's ref no. of this letter.
| ● | This letter shall consider the net price as per Sch-3 .
| ● | Fill up names & Designation of the representatives of other JV partner(s) if the bidder is JV (Joint Venture) .
| ● | Fill up additional information as required.
* * *
Happy Bidding !

## BASICS
Name of Package : | Fire Fighting Pump House & Hydrant System Refurbishment Work under Add Cap Block 2024-29 at Satna SS
Package No : | WR2/NT/W-CIVIL/DOM/G01/26/03945
Specification No. : | 5002005271
Completion Period | 12 months

## Name of Bidder
Name of Package :
Fire Fighting Pump House & Hydrant System Refurbishment Work under Add Cap Block 2024-29 at Satna SS
Enter following details of the bidder
Specify type of Bidder [Select from drop down menu] | Individual Firm
Name of Sole Bidder [Individual Firm]
Address of Registered Office & Mobile Numbers | …….. …… ………. ……….
…….. …… ………. ……….
…….. …… ………. ……….
…….. …… ………. ……….
…….. …… ………. ……….
…….. …… ………. ……….
…….. …… ………. ……….
Printed Name
Designation
Date
Place

## Sch-3A S&I
पावर ग्रिड कारपोरेशन ऑफ इंडिया लिमिटेड
POWER GRID CORPORATION OF INDIA LTD.
WRTS-II,RHQ,VADODARA
BILL OF QUANTITIES FOR Construction of Residential Quarters , Guest House and Community Center including parking shed, concrete roads, Drains and Culverts, water supply & Sewerage system at Navsari S/s
Name of Package: Construction of Residential Quarters Type B1 & B2 AT NAVSARI
(SCHEDULE OF RATES AND PRICES)
Bidder’s Name and Address (Sole Bidder) :
Name :
Address :
पावर ग्रिड कारपोरेशन ऑफ इंडिया लिमिटेड
POWER GRID CORPORATION OF INDIA LTD.
WRTS-II,RHQ,VADODARA
BILL OF QUANTITIES FOR Construction of Drain Repairing work at the 400/220 kV Damoh Substation
Name of Package: Fire Fighting Pump House & Hydrant System Refurbishment Work under Add Cap Block 2024-29 at Satna SS
(SCHEDULE OF RATES AND PRICES)
Bidder’s Name and Address (Sole Bidder) :
Name :
Address :
Installation Charges- Sch 3A: -Fire Fighting Pump House & Hydrant System Refurbishment Work under Add Cap Block 2024-29 at Satna SS
Sl. No. | Service Code | SAC | Whether SAC in column ‘3’ is confirmed. If not indicate applicable the SAC # | Rate of GST applicable ( in %) |  | Description | Unit | Qty | Unit Charges Including S&I | Total Erection Charges Excl. GST | Total Tax GST @ 18% | Total Erection Charges incl. GST
(Service Accounting Codes)
1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 14
A | [5 empty] | FFPH Room
1 |  |  |  | 18% |  | Supply & Installation of Diesel Engine with centrifugal pump suitable for starting diesel engine with supply & installation of electrical panel and DC battery sets (02 nos.) with charging panel for starting Diesel Engine as per POWERGRID approved TS, including civil work, if required | EA | 1 |  | 0 | 0 | 0
2 |  |  |  | 18% |  | Supply, Installation, Testing & Commissioning of Pressure Switch of approved make for HVW Spray Pump, Hydrant Pump, Jockey Pump & Diesel Engine Driven Pump & Deluge Valve including necessary wiring and cut off valve up to central panel and other material as per POWERGRID TS. | EA | 27 |  | 0 | 0 | 0
3 |  |  |  | 18% |  | Supply, Installation, Testing & Commisioning of 300 mm dia flanged end basket strainer with all complete accessories as per POWERGRID approved TS. | EA | 2 |  | 0 | 0 | 0
4 | [5 empty] | Supply, Installation, Testing & Commisioning of dual plate non-return valve complete with nuts, bolts & washers | [5 empty] | 0
i |  |  |  | 18% |  | 80 mm Dia | EA | 2 |  | 0 | 0 | 0
ii |  |  |  | 18% |  | 150 mm Dia | EA | 1 |  | 0 | 0
iii |  |  |  | 18% |  | 250 mm Dia | EA | 2 |  | 0 | 0 | 0
5 | [5 empty] | Supply, Installation, Testing & Commissioning of Electrical Panel suitable for 415 V, 3 phase, 4 wires, 50 Hz as per POWERGRID approved TS. | [5 empty] | 0
i |  |  |  | 18% |  | for HVW spray pump | EA | 1 |  | 0 | 0 | 0
ii |  |  |  | 18% |  | for Hydrant pump | EA | 1 |  | 0 | 0 | 0
iii |  |  |  | 18% |  | AC distribution board | EA | 1 |  | 0 | 0 | 0
iv |  |  |  | 18% |  | DC Distribution Board | EA | 1 |  | 0 | 0 | 0
6 |  |  |  | 18% |  | 64 Windows Annunciation Panel for HVW spray pump inside FFPH room | EA | 1 |  | 0 | 0
7 |  |  |  | 18% |  | Supply & Installation of Gate Valves with flanges, nuts, bolts and washers complete as per IS and POWERGRID approved TS. |  |  |  | 0 | 0 | 0
i |  |  |  | 18% |  | 50 mm Dia | EA | 1 |  | 0 | 0 | 0
ii |  |  |  | 18% |  | 80 mm Dia | EA | 6 |  | 0 | 0 | 0
iii |  |  |  | 18% |  | 100 mm Dia | EA | 4 |  | 0 | 0 | 0
iv |  |  |  | 18% |  | 150 mm Dia | EA | 14 |  | 0 | 0
v |  |  |  | 18% |  | 200 mm Dia | EA | 4 |  | 0 | 0 | 0
vi |  |  |  | 18% |  | 250 mm Dia | EA | 6 |  | 0 | 0 | 0
vii |  |  |  | 18% |  | 300 mm Dia | EA | 6 |  | 0 | 0 | 0
8 |  |  |  | 18% |  | Supply & Installation of pressure gauges as per POWERGRID approved TS | EA | 23 |  | 0 | 0 | 0
9 |  |  |  | 18% |  | Supply & Installation of level switches for Water tank as per POWERGRID approved TS | EA | 2 |  | 0 | 0
10 |  |  |  | 18% |  | Supply & Installation of level switches for Fuel tank as per POWERGRID approved TS | EA | 1 |  | 0 | 0 | 0
11 |  |  |  | 18% |  | Supply & Installation of level gauge for Water tank as per POWERGRID approved TS | EA | 2 |  | 0 | 0 | 0
12 |  |  |  | 18% |  | Supply & Installation of Air Vessel as per POWERGRID approved TS, including civil work, if required | EA | 1 |  | 0 | 0 | 0
13 |  |  |  | 18% |  | Supply, Installation, Testing & Commissioning of 1100V grade PVC aluminium armored cable for electrical panel complete (laying, termination, glanding, lugging, ferulling etc.), body earthing of various equipment, motors, switchgear supplied by the bidder with suitably sized earthing strip/ wire as per site requirement and conditions as per approved TS. | LS | 1 |  | 0 | 0 | 0
14 |  |  |  | 18% |  | Supply & Installation of Local Control Panel for Deluge Valve as per TS | EA | 6 |  | 0 | 0 | 0
15 |  |  |  | 18% |  | Supply & Installation of Solenoid Valves for Deluge Valve as per TS | EA | 6 |  | 0 | 0 | 0
16 |  |  |  | 18% |  | Supply & Installation of Deluge Valve Detection Line Pressurization Tool Piece | Lot | 6 |  | 0 | 0 | 0
17 |  |  |  | 18% |  | Supply & Installation of Support Structures | Lot | 1 |  | 0 | 0 | 0
18 |  |  |  | 18% |  | Supply & Installation of Earthing Material | Lot | 1 |  | 0 | 0 | 0
19 |  |  |  | 18% |  | Supply & Installation of Control Cable from Deluge Valve to FFPH Room | Lot | 1 |  | 0 | 0 | 0
20 |  |  |  | 18% |  | Dismantling of old panels, pumps, switchgear, pressure switch, strainer, cables etc. | LS | 1 |  | 0 | 0 | 0
21 |  |  |  | 18% |  | Supply & Installation of Deluge Valve as per TS | EA | 6 |  | 0 | 0 | 0
B | [5 empty] | 400 kV Switchyard | [5 empty] | 0
21 |  |  |  | 18% |  | Supply, fabrication, erection, testing & commissioning of 200 mm Dia C-class heavy MS pipe of ISI mark, as per POWERGRID approved TS | MTR | 300 |  | 0 | 0 | 0
22 |  |  |  | 18% |  | Supply & Application of Anti Corrosive Treatment of buried pipe by Wrapping & Coating Material, 4 mm thick | SQ.MTR | 27 |  | 0 | 0 | 0
23 |  |  |  | 18% |  | Supply & Installation of MS fittinggs viz. elbows, tees, flanges, reducers, clamps, supports, fasteners etc. | LS | 1 |  | 0 | 0 | 0
24 |  |  |  | 18% |  | Civil Pedestals for Support of overground pipe along with TMT & ISMC, including PCC | EA | 100 |  | 0 | 0 | 0
25 |  |  |  | 18% |  | Excavation & Backfilling of underground pipe | LS | 1 |  | 0 | 0 | 0
26 |  |  |  | 18% |  | Dismantling of Pneumatic Tank, Strainers, Compressors, old pipes, any other dismantled material & shifting to scrap yard/ stores | LS | 1 |  | 0 | 0 | 0
[9 empty] | Total of Supply and Installation | 0 | 0 | 0
Date:
Place:

## Sch5 Taxes
Schedule-2
(SUMMARY OF TAXES & DUTIES)
To:
Name |  | Contract Services
Address | …….. …… ………. ………. | Power Grid Corporation of India Ltd.,
| …….. …… ………. ………. | Western Region Transmission syatem -II
| …….. …… ………. ………. | Plot No. 54, Near Riya revati resort ,
Sama - savli road, vadodara-390008
Sl. No. | Item Nos. |  | Total Price (in ₹)
1 | TOTAL GST on Services
a. | Total GST on Supply & Installation Services (indentified in Schedule-3A) which are not included in the Installationas per the provision of the Bidding Documents, as applicable |  | 0
2 | GRAND TOTAL |  | 0
Date : | #REF! | Printed Name : | #REF!
Place : | #REF! | Designation : | #REF!

## Sch6 Summary
Schedule-6
Grand Summary
To:
Name | #REF! | Contract Services
Address | …….. …… ………. ………. | Power Grid Corporation of India Ltd.,
| …….. …… ………. ………. | Western Region Transmission syatem -II
| …….. …… ………. ………. | Plot No. 54, Near Riya revati resort ,
Sama - savli road, vadodara-390008
Sl. No. | Description |  | Total Price (INR)
Service/Installation Charges
a. | TOTAL SCHEDULE NO.-3A
| Supply & Installation Charges- Fire Fighting Pump House & Hydrant System Refurbishment Work under Add Cap Block 2024-29 at Satna SS |  | 0
| Total of Service/Installation Charge (ITEMS TAB: Item 01 for BID PRICE SUMMARY Statement ) |  | 0
2 | Total GST against Service/Installation Charge (ITEMS TAB: Item 02 for BID PRICE SUMMARY Statement ) |  | 0
| Grand Total |  | 0
Date : | #REF! | Printed Name : | #REF!
Place : | #REF! | Designation : | #REF!